## BoQ1
eProcurement System Government of India Created By: Manoj kumar Joshi Created Date/Time: 23-Oct-2026 03:04 PM Tender Title: PROVIDING AND APPLYING WASHABLE PAINT IN INNER AND OUTER WALLS AND REPAIR TO SANITARY FITTING COMPLETE AT MOHD. MOMIN AND HAJI JAMAL TOMB, NAKODAR, PUNJAB Tender ID: 2026_ASI_928509_1
Tender Inviting Authority: Superintending Archaeologist, Archaeological Survey of India, Chandigarh Circle
Name of Work: PROVIDING AND APPLYING WASHABLE PAINT IN INNER AND OUTER WALLS AND REPAIR TO SANITARY FITTING COMPLETE AT MOHD. MOMIN AND HAJI JAMAL TOMB, NAKODAR, PUNJAB
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S N.K BUILDERS (GSTN-38DNKPK9770B1ZL) BID ID -3492251 |  | Parveen Kumar Contractor (GSTN-06AIZPK2859E1ZS) BID ID -3493826 |  | M/s Global Engineers (GSTN-NA) BID ID -3491437
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Description and specification of items of work to be executed (complete work)
1.01 | Dismantling doors, windows and clerestory windows (steel or wood)shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead of area 3 sq. metres and below | 3.08 | sqm | 100.00 | 375.00 | 1155.00 | 389.00 | 1198.12 | 365.00 | 1124.20 | 1124.20 | M/s Global Engineers
1.02 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level upto floor V level in all shapes and sizes in Cement mortar 1:4 (1 cement : 4 coarse sand) | 1.17 | cum | 100.00 | 9800.00 | 11466.00 | 9999.00 | 11698.83 | 9450.00 | 11056.50 | 11056.50 | M/s Global Engineers
1.03 | Dismantling tile work in floors and roofs laid in cement mortar includingstacking material within 50 metres lead. For thickness of tiles above 25 mm and up to 40 mm | 43.97 | sqm | 100.00 | 119.00 | 5232.43 | 125.00 | 5496.25 | 110.00 | 4836.70 | 4836.70 | M/s Global Engineers
1.04 | Dismantling/Taking out of damaged sanitary fitting & fixers with old GI pipe fitting. Providing &fixing of Sanitary items like Bib Cock Long Handle = 4 Nos, Wash Basin = 2 Nos, European type WC = 2 Nos, Angle Valve = 12 Nos , Bib Cock = 2 Nos, Wall Mixer = 2 Nos, Basin Mixer = 2 Nos, Sink mixer = 2 Nos, Towel Ring Big = 2 Nos, Rod, Towel Hanger = 4 Nos, Mirror = 3 Nos , Soap Case = 2 Nos , Shower head = 2 Nos , Sintax 1000 L = 1 Nos , 1’’ Pipe (PPR) = 25m , Elbow = 15, Union = 15, TEE 1’’ = 16 Nos, including all fitting charges all complete (Job work) | 1.00 | unit | 100.00 | 146000.00 | 146000.00 | 149000.00 | 149000.00 | 139500.00 | 139500.00 | 139500.00 | M/s Global Engineers
1.05 | Providing & applying of 15 mm cement plaster(1 cement : 4 fine sand) | 56.55 | sqm | 100.00 | 425.00 | 24033.75 | 439.00 | 24825.45 | 385.00 | 21771.75 | 21771.75 | M/s Global Engineers
1.06 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry@ 3.3kg per sqm, includingpointing in white cement mixed with pigment of matching shade complete | 77.39 | Sqm | 100.00 | 1285.00 | 99446.15 | 1299.00 | 100529.61 | 1250.00 | 96737.50 | 96737.50 | M/s Global Engineers
1.07 | Providing and laying matt finished vitrified tile of size 300x300x9.8 mm having with water absorption less than 0.5% and conforming to IS: 15622of approved make in all colours and shades in for outdoor floors such as footpath, court yard, multi modals location etc., laid on 20 mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matchingpigments etc. | 27.70 | sqm | 100.00 | 1525.00 | 42242.50 | 1599.00 | 44292.30 | 1400.00 | 38780.00 | 38780.00 | M/s Global Engineers
1.08 | Finishing with Deluxe Multi surface paint system for interiors and exteriors using Primer as per manufacturers specifications .Two or more coats applied on walls @ 1.25 ltr/10 sqm over and including one coat of Special primer applied @ 0.75 ltr/10 sqm | 765.03 | Sqm | 100.00 | 190.00 | 145355.70 | 220.00 | 168306.60 | 200.00 | 153006.00 | 145355.70 | M/S N.K BUILDERS
1.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 658.71 | Sqm | 100.00 | 239.00 | 157431.69 | 249.00 | 164018.79 | 220.00 | 144916.20 | 144916.20 | M/s Global Engineers
1.10 | Providing and fixing cctv Cameras4 mp IP Cameras with audio and colour night vision = 8 Nos, 2 mp PTZ Cameras 25 x = 2 Nos, 16 Channel NVR = 01 Nos, 4 Port Gigabyte POE Switch = 10 Nos, 8 Port Gigabyte Network Switch = 01 Nos, 4U Galvanized Rack = 01 Nos, 8 Tb Hard Disk = 01 Nos, Cat 6 Heavy Duty Full Copper Wire = 610 mtr, PVC Material L Bend Gitti Clump etrc = 450 mtr, 3U Galvanized Rack = 10 Nos, AC RF Radio Link= 12 Nos, 10 mm Aluminium Service Wire = 600 mtr, ISI Iron Pole 5 mtr = 10 Nos, HDMI Cable, Mouse = 01 Nos | 1.00 | unit | 100.00 | 1090000.00 | 1090000.00 | 1150000.00 | 1150000.00 | 985000.00 | 985000.00 | 985000.00 | M/s Global Engineers
1.11 | Providing and fixing of Curtains Rod with Brackets to Doors (3’) = 6 Nos , Windows (5’) = 8 Nos, and Curtains (Size 3.5’x 6.5’)= 32 Nos including all fitting charges all complete (Job work) | 1.00 | unit | 100.00 | 36900.00 | 36900.00 | 37500.00 | 37500.00 | 34000.00 | 34000.00 | 34000.00 | M/s Global Engineers
1.12 | Providing and Installation of 63 mm dia Pole 6 mtr height including 1 mtr depth below ground level with solar light 180-watt LED with lithium-ion battery of 25 Ah and inbuilt radar sensor for movement tracking with all necessary fitting and installation in cement concrete etc. complete [EACH] | 20.00 | Each | 100.00 | 24800.00 | 496000.00 | 24900.00 | 498000.00 | 22800.00 | 456000.00 | 456000.00 | M/s Global Engineers
1.13 | Providing and fixing of Plumbing Items Gate Valve 1 inch = 12 Nos, Gate Valve 1.25 inch = 12 Nos, Nipple 2 inch = 5 Nos, Nipple 3 inch = 5 Nos, Nipple 4 inch = 5 Nos, Nipple 6 inch = 5 Nos, Elbow 1 inch = 7 Nos, 90 degre Bend = 6 Nos, Teflon tape = 10 Nos, Plumbing Thread = 2 Nos, Reducer 1.25x1inch = 2 Nos, Socket = 2 Nos, Liquid pipe sealant = 2 Big Box. including all fitting charges all complete (Job work) | 1.00 | unit | 100.00 | 57500.00 | 57500.00 | 58500.00 | 58500.00 | 54000.00 | 54000.00 | 54000.00 | M/s Global Engineers
1.14 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservoir, sewage &water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1part water) for horizontal surfaces and applying the same from negative(internal) side with the help of synthetic fibre brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50 mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against anyleakage.22.23.2 For horizontal surface one coat @1.10 kg per sqm. | 158.79 | Sqm | 100.00 | 368.00 | 58434.72 | 378.00 | 60022.62 | 360.00 | 57164.40 | 57164.40 | M/s Global Engineers
1.15 | Providing and installation of 02 Nos Split AC 1.5 Ton 4 star (Blue star, Voltas, Lloyd) with stabilizer for office and guest house. | 2.00 | Nos | 100.00 | 69999.00 | 139998.00 | 71500.00 | 143000.00 | 60000.00 | 120000.00 | 120000.00 | M/s Global Engineers
| Total in Figures |  |  |  |  | 2511195.94 |  | 2616388.57 |  | 2317893.25
Lowest Amount Quoted BY: M/s Global Engineers(2317893.25)

## BOQ Summary
BOQ Summary Details Tender Title: PROVIDING AND APPLYING WASHABLE PAINT IN INNER AND OUTER WALLS AND REPAIR TO SANITARY FITTING COMPLETE AT MOHD. MOMIN AND HAJI JAMAL TOMB, NAKODAR, PUNJAB Tender ID: 2026_ASI_928509_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Global Engineers (BID ID -3491437) | 2317893.25 | L1
| 2 | M/S N.K BUILDERS (BID ID -3492251) | 2511195.94 | L2
| 3 | Parveen Kumar Contractor (BID ID -3493826) | 2616388.57 | L3

## BoQDefects
Consolidated BoQ Defects Detail Tender Title: PROVIDING AND APPLYING WASHABLE PAINT IN INNER AND OUTER WALLS AND REPAIR TO SANITARY FITTING COMPLETE AT MOHD. MOMIN AND HAJI JAMAL TOMB, NAKODAR, PUNJAB Tender ID: 2026_ASI_928509_1
Sl.No | Bidder Name | BoQ Defects
1 | Parveen Kumar Contractor | BoQ1-Error-Cell-AW14,BoQ1-Error-Cell-AW15,BoQ1-Error-Cell-AW16,BoQ1-Error-Cell-AW17,BoQ1-Error-Cell-AW18,BoQ1-Error-Cell-AW19,BoQ1-Error-Cell-AW20,BoQ1-Error-Cell-AW21,BoQ1-Error-Cell-AW22,BoQ1-Error-Cell-AW23,BoQ1-Error-Cell-AW24,BoQ1-Error-Cell-AW25,BoQ1-Error-Cell-AW26,BoQ1-Error-Cell-AW27,BoQ1-Error-Cell-AW28
2 | M/S N.K BUILDERS | BoQ1-Error-Cell-AW14,BoQ1-Error-Cell-AW15,BoQ1-Error-Cell-AW16,BoQ1-Error-Cell-AW17,BoQ1-Error-Cell-AW18,BoQ1-Error-Cell-AW19,BoQ1-Error-Cell-AW20,BoQ1-Error-Cell-AW21,BoQ1-Error-Cell-AW22,BoQ1-Error-Cell-AW23,BoQ1-Error-Cell-AW24,BoQ1-Error-Cell-AW25,BoQ1-Error-Cell-AW26,BoQ1-Error-Cell-AW27,BoQ1-Error-Cell-AW28
3 | M/s Global Engineers | BoQ1-Error-Cell-AW14,BoQ1-Error-Cell-AW15,BoQ1-Error-Cell-AW16,BoQ1-Error-Cell-AW17,BoQ1-Error-Cell-AW18,BoQ1-Error-Cell-AW19,BoQ1-Error-Cell-AW20,BoQ1-Error-Cell-AW21,BoQ1-Error-Cell-AW22,BoQ1-Error-Cell-AW23,BoQ1-Error-Cell-AW24,BoQ1-Error-Cell-AW25,BoQ1-Error-Cell-AW26,BoQ1-Error-Cell-AW27,BoQ1-Error-Cell-AW28