## BoQ1
Government eProcurement System Created By: MANISH KUMAR SINGH Created Date/Time: 15-Apr-2026 12:49 PM Tender Title: Supply and Fixing of Exhaust Fan in Heat Treatment Section with Complete Wiring Tender ID: 2026_AVNL_268702_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work: Supply and Fixing of Exhaust Fan in Heat Treatment Section with Complete Wiring
Contract No: 0503/14/2025-26/EO/MPF
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s R R ELECTRICALS (GSTN-27AGQPP4960N1ZG) BID ID -990797 |  | MARMINE ENTERPRISES (GSTN-NA) BID ID -992128
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply and Fixing of Exhaust Fan in Heat Treatment Section with Complete Wiring
1.10 | Materilal & Labour 4 core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 16 sq mm electric power cables (heavy duty) (Polycab / Finolex / CCI ) etc to be laid in trenches / fixed on walls all complete as directed by the Engg in Charge Note: Samples shall be got approved from the EIC before fixing. | 80.00 | Per RM | 193.50 | 212.00 | 16960.00 | 199.00 | 15920.00 | 15920.00 | MARMINE ENTERPRISES
2.10 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 450m sweep with, blades, and frame and louvers. (Make:Havells/Crompton/Almonard),etc all complete as directed by EIC | 56.00 | Each | 5448.02 | 5992.00 | 335552.00 | 5611.00 | 314216.00 | 314216.00 | MARMINE ENTERPRISES
3.10 | Supply & Fixing Sheet Metal Enclosure Single Pole & Neutral 16 way for 230 VAC Supply, (Make:Siemens/L&T/Standard), etc all complete as directed by EIC | 8.00 | Each | 2367.70 | 2604.00 | 20832.00 | 2439.00 | 19512.00 | 19512.00 | MARMINE ENTERPRISES
4.10 | Supply & Fixing of Isolator TPN MCB 63 Amps (Make Siemens/L&T/Standard/Legrand) , etc all complete as directed by EIC | 2.00 | Each | 1300.00 | 1430.50 | 2861.00 | 1339.00 | 2678.00 | 2678.00 | MARMINE ENTERPRISES
5.10 | Supply & Fixing of Isolator DP MCB 40 Amps (Make Siemens/L&T/Standard/Legrand) , etc all complete as directed by EIC | 14.00 | Each | 512.40 | 564.00 | 7896.00 | 528.00 | 7392.00 | 7392.00 | MARMINE ENTERPRISES
6.10 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 5 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: Siemens/L&T/Standard/Legrand), etc all complete as directed by EIC. | 55.00 | Each | 284.20 | 313.00 | 17215.00 | 293.00 | 16115.00 | 16115.00 | MARMINE ENTERPRISES
7.10 | Wiring for Circuit / Submain wiring along with earth wire with 2x4 sq. mm 1x4 sq. mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Casing & Caping (Make: Precision / Pressfit), etc all complete as directed by EIC | 360.00 | Rm | 211.58 | 234.00 | 84240.00 | 218.00 | 78480.00 | 78480.00 | MARMINE ENTERPRISES
8.10 | Wiring for circuit/submain wiring along with earth wire with the following sizes of FR is PVC insulated copper conductor, single core cable in surface/recessed as required, etc all complete as directed by EIC | 56.00 | Rm | 163.32 | 180.00 | 10080.00 | 168.00 | 9408.00 | 9408.00 | MARMINE ENTERPRISES
9.10 | Wiring for Circuit / Submain wiring along with earth wire with 2x2.5 sq. mm 1x2.5 sq. mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC conduit (Make: Precision / Pressfit), etc all complete as directed by EIC. | 1.00 | Each | 290.80 | 320.00 | 320.00 | 300.00 | 300.00 | 300.00 | MARMINE ENTERPRISES
| Total in Figures |  |  |  |  | 495956.00 |  | 464021.00
Lowest Amount Quoted BY: MARMINE ENTERPRISES(464021.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply and Fixing of Exhaust Fan in Heat Treatment Section with Complete Wiring Tender ID: 2026_AVNL_268702_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MARMINE ENTERPRISES (BID ID -992128) | 464021.00 | L1
| 2 | M/s R R ELECTRICALS (BID ID -990797) | 495956.00 | L2