## BoQ1
Government eProcurement System Created By: MANISH KUMAR SINGH Created Date/Time: 15-Apr-2026 12:58 PM Tender Title: Rewiring of DSC Platoon Building MPF and Quarters. Tender ID: 2026_AVNL_268711_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work: Rewiring of DSC Platoon Building (MPF) & Quarters.
Contract No: 0503/10/2025-26/EO/MPF
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s R R ELECTRICALS (GSTN-27AGQPP4960N1ZG) BID ID -990803 |  | MARMINE ENTERPRISES (GSTN-NA) BID ID -992621
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Rewiring of DSC Platoon Building (MPF) & Quarters.
1.10 | Supply & Fixing Sheet Metal Enclosure Single Pole & Neutral 16 way for 230 VAC Supply, (Make:Siemens/L&T/Havels), etc all complete as directed by EIC | 1.00 | Each | 2367.70 | 2650.00 | 2650.00 | 2710.00 | 2710.00 | 2650.00 | M/s R R ELECTRICALS
2.10 | Supply & Fixing of Isolator TPN MCB 100 Amps (MakeSiemens/L&T/Legrand), etc all complete as directed by EIC. | 1.00 | Each | 1700.50 | 1650.00 | 1650.00 | 1800.00 | 1800.00 | 1650.00 | M/s R R ELECTRICALS
3.10 | Supply & Fixing Sheet Metal Enclosure Single Pole & Neutral 8 way for 230 VAC Supply, (Make:Siemens/L&T/Havels), etc all complete as directed by EIC. | 1.00 | Each | 1578.70 | 1520.00 | 1520.00 | 1610.00 | 1610.00 | 1520.00 | M/s R R ELECTRICALS
4.10 | Supply & Fixing only 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: Siemens/L&T/Legrand), etc all complete as directed by EIC. | 16.00 | Each | 284.20 | 280.00 | 4480.00 | 295.00 | 4720.00 | 4480.00 | M/s R R ELECTRICALS
5.10 | Supply & Fixing of Piano (Modular) Type switches 1 way, 6A, flush type. (Make:Anchor/ Roma/GM/Legrand), etc all complete as directed by EIC. | 65.00 | Each | 120.80 | 65.00 | 4225.00 | 115.00 | 7475.00 | 4225.00 | M/s R R ELECTRICALS
6.10 | Wiring for Circuit / Submain wiring along with earth wire with 2x4 sq. mm 1x4 sq. mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Casing & Caping (Make: Precision / Pressfit) ), etc all complete as directed by EIC. | 150.00 | RM | 211.58 | 292.00 | 43800.00 | 298.00 | 44700.00 | 43800.00 | M/s R R ELECTRICALS
7.10 | Wiring for Circuit / Submain wiring along with earth wire with 2 x 2.5 sq.mm + 1 x 2.5 Sq.mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Casing N Caping (Make: Precision / Pressfit), etc all complete as directed by EIC. | 200.00 | RM | 181.78 | 218.00 | 43600.00 | 258.00 | 51600.00 | 43600.00 | M/s R R ELECTRICALS
8.10 | Wiring for Circuit / Submain wiring along with earth wire with 2 x 1.5 sq.mm + 1 x 1.5 Sq.mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Conduit (Make: Precision / Pressfit), etc all complete as directed by EIC. | 100.00 | RM | 159.90 | 183.00 | 18300.00 | 197.00 | 19700.00 | 18300.00 | M/s R R ELECTRICALS
9.10 | Wiring for Circuit / Submain wiring along with earth wire with 2 x 6 sq.mm + 1 x 6 Sq.mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Casing n Caping (Make: Precision / Pressfit), etc all complete as directed by EIC. | 60.00 | RM | 255.78 | 322.00 | 19320.00 | 346.00 | 20760.00 | 19320.00 | M/s R R ELECTRICALS
10.10 | One Light Point or one Fan point controlled by one switch with cables 1.5 Sq.mm copper multistrand wire, (Make: Polycab/ Finnolex/KEI/RR) Size in PVC Casing n Caping of thickness 2 mm, (Make:Pressfit/Prestige), etc all complete as directed by EIC. | 67.00 | Each | 721.31 | 765.00 | 51255.00 | 803.00 | 53801.00 | 51255.00 | M/s R R ELECTRICALS
11.10 | Supply and Fixing of MODULAR WHITE COVER PLATE WITH FRAME 6 Module, etc all complete as directed by EIC. | 16.00 | Each | 309.60 | 260.00 | 4160.00 | 302.00 | 4832.00 | 4160.00 | M/s R R ELECTRICALS
12.10 | Fixing only 20 Watts LED Tubelight fixtures (M.D supply), etc all complete as directed by EIC. | 54.00 | Each | 75.25 | 75.00 | 4050.00 | 93.00 | 5022.00 | 4050.00 | M/s R R ELECTRICALS
13.10 | S & F of Lamp holder, PVC/Polycarbonate type with back plate suitable for batten fittings/Casing Caping Wiring ®Angle or straight.(Make:Anchor/Roma/GM/Legrand), etc all complete as directed by EIC. | 6.00 | Each | 166.50 | 63.00 | 378.00 | 105.00 | 630.00 | 378.00 | M/s R R ELECTRICALS
14.10 | S & F of Switch socket Combination 6A, 3 pin, 3 module Flush type (Make:Anchor/Roma/GM/ Legrand), etc all complete as directed by EIC. | 50.00 | Each | 275.20 | 210.00 | 10500.00 | 238.00 | 11900.00 | 10500.00 | M/s R R ELECTRICALS
15.10 | S & F of Switch socket Combination 16A, 6 pin, 3 module (Make:Anchor/Roma/GM/ Legrand), etc all complete as directed by EIC. | 10.00 | Each | 392.20 | 293.00 | 2930.00 | 362.00 | 3620.00 | 2930.00 | M/s R R ELECTRICALS
16.10 | S & F of Ceiling Rose 6A, 3 Point polycarbonate isolated body(Make:Anchor/Roma/GM/Legrand), etc all complete as directed by EIC. | 73.00 | Each | 65.70 | 51.00 | 3723.00 | 59.00 | 4307.00 | 3723.00 | M/s R R ELECTRICALS
17.10 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator remote and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor(BLDC) (Make:Havels/Polycab/Automberg), etc all complete as directed by EIC. | 10.00 | Each | 2649.47 | 3100.00 | 31000.00 | 3310.00 | 33100.00 | 31000.00 | M/s R R ELECTRICALS
18.10 | Materials & labour with fixing metal saddel on every 18 inch of laying area 4 Core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 50sq. Mm (Make:Polycab/Havells/Finolex), etc all complete as directed by EIC. | 50.00 | RM | 368.58 | 390.00 | 19500.00 | 405.00 | 20250.00 | 19500.00 | M/s R R ELECTRICALS
19.10 | Materials & labour with fixing metal saddel on every 18 inch of laying area 4 Core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 4sq. Mm (Make:Polycab/Havells/Finolex), etc all complete as directed by EIC. | 70.00 | RM | 135.14 | 165.00 | 11550.00 | 181.00 | 12670.00 | 11550.00 | M/s R R ELECTRICALS
20.10 | Junction box, with cover and outlets 25 mm, etc all complete as directed by EIC. | 7.00 | Each | 26.80 | 22.00 | 154.00 | 24.00 | 168.00 | 154.00 | M/s R R ELECTRICALS
21.10 | Supply and fixing LED street light fitting 35 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics.(Make:Havells/Philips/Polycab), etc all complete as directed by EIC. | 7.00 | Each | 2966.25 | 2750.00 | 19250.00 | 2930.00 | 20510.00 | 19250.00 | M/s R R ELECTRICALS
22.10 | Cement plaster Rendering 10mm thick on fair faces of brick work or concrete surfaces, etc all complete as directed by EIC. | 200.00 | PSM | 207.87 | 275.00 | 55000.00 | 335.00 | 67000.00 | 55000.00 | M/s R R ELECTRICALS
23.10 | Cement plaster Add or deduct to/from the rates for rendering for each 5 mm thickness over or under 10mm), etc all complete as directed by EIC. | 200.00 | PSM | 62.63 | 70.00 | 14000.00 | 78.00 | 15600.00 | 14000.00 | M/s R R ELECTRICALS
24.10 | Taking down carefully copper/aluminium point wiring (light, fan, socket or power) complete, (fittings such as switches, ceiling roses, pendants, regulators sockets etc. to be measured separately), removing materials to store for keeping in safe custody for reuse at site and making good disturbed surfaces of walls, floors, etc all complete as directed by EIC. | 60.00 | Each | 235.60 | 80.00 | 4800.00 | 165.00 | 9900.00 | 4800.00 | M/s R R ELECTRICALS
25.10 | Supply & Fixing of Isolator TPN MCB 63 Amps (Make: Siemens/L&T/Legrand), etc all complete as directed by EIC. | 1.00 | Each | 1300.00 | 1350.00 | 1350.00 | 1630.00 | 1630.00 | 1350.00 | M/s R R ELECTRICALS
26.10 | Supply & Fixing Sheet Metal Enclosure Single Pole & Neutral 8 way for 230 VAC Supply, (Make:Siemens/L&T/Havels), etc all complete as directed by EIC. | 1.00 | Each | 1578.70 | 1520.00 | 1520.00 | 1610.00 | 1610.00 | 1520.00 | M/s R R ELECTRICALS
27.10 | Fixing only 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: Siemens/L&T/Legrand), etc all complete as directed by EIC. | 4.00 | Each | 284.20 | 280.00 | 1120.00 | 295.00 | 1180.00 | 1120.00 | M/s R R ELECTRICALS
28.10 | Supply & Fixing of Piano (Modular) Type switches 1 way, 6A, flush type (Make:Anchor/ Roma/GM/Legrand), etc all complete as directed by EIC. | 19.00 | Each | 120.80 | 65.00 | 1235.00 | 115.00 | 2185.00 | 1235.00 | M/s R R ELECTRICALS
29.10 | Wiring for Circuit / Submain wiring along with earth wire with 2x4 sq. mm 1x4 sq. mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Casing & Caping (Make: Precision / Pressfit), etc all complete as directed by EIC. | 40.00 | RM | 211.58 | 292.00 | 11680.00 | 298.00 | 11920.00 | 11680.00 | M/s R R ELECTRICALS
30.10 | Wiring for Circuit / Submain wiring along with earth wire with 2 x 2.5 sq.mm + 1 x 2.5 Sq.mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Casing N Caping (Make: Precision / Pressfit), etc all complete as directed by EIC. | 70.00 | RM | 181.78 | 218.00 | 15260.00 | 258.00 | 18060.00 | 15260.00 | M/s R R ELECTRICALS
31.10 | One Light Point or one Fan point controlled by one switch with cables 1.5 Sq.mm copper multistrand wire, (Make: Polycab/ Finnolex/KEI/RR) Size in PVC Casing n Caping of thickness 2 mm, (Make:Pressfit/Prestige), etc all complete as directed by EIC. | 19.00 | Each | 721.31 | 765.00 | 14535.00 | 803.00 | 15257.00 | 14535.00 | M/s R R ELECTRICALS
32.10 | Supply and Fixing of MODULAR WHITE COVER PLATE WITH FRAME 6 Module, etc all complete as directed by EIC. | 6.00 | Each | 309.60 | 260.00 | 1560.00 | 302.00 | 1812.00 | 1560.00 | M/s R R ELECTRICALS
33.10 | Fixing only 20 Watts LED Tubelight fixtures (M.D supply), etc all complete as directed by EIC. | 12.00 | Each | 75.25 | 75.00 | 900.00 | 93.00 | 1116.00 | 900.00 | M/s R R ELECTRICALS
34.10 | S & F of Lamp holder, PVC/Polycarbonate type with back plate suitable for batten fittings/Casing Caping Wiring ®Angle or straight (Make:Anchor/Roma/GM/Legrand), etc all complete as directed by EIC. | 2.00 | Each | 166.50 | 63.00 | 126.00 | 105.00 | 210.00 | 126.00 | M/s R R ELECTRICALS
35.10 | S & F of Switch socket Combination 6A, 3 pin, 3 module Flush type (Make:Anchor/Roma/GM/ Legrand), etc all complete as directed by EIC. | 16.00 | Each | 275.20 | 210.00 | 3360.00 | 238.00 | 3808.00 | 3360.00 | M/s R R ELECTRICALS
36.10 | S & F of Switch socket Combination 16A, 6 pin, 3 module (Make:Anchor/Roma/GM/ Legrand), etc all complete as directed by EIC | 2.00 | Each | 392.20 | 293.00 | 586.00 | 362.00 | 724.00 | 586.00 | M/s R R ELECTRICALS
37.10 | S & F of Ceiling Rose 6A, 3 Point (Make:Anchor/Roma/GM/Legrand), etc all complete as directed by EIC | 12.00 | Each | 65.70 | 51.00 | 612.00 | 59.00 | 708.00 | 612.00 | M/s R R ELECTRICALS
38.10 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator remote and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) (Make:Havels/Polycab/Automberg), etc all complete as directed by EIC. | 5.00 | Each | 2649.47 | 3100.00 | 15500.00 | 3310.00 | 16550.00 | 15500.00 | M/s R R ELECTRICALS
39.10 | Materials & labour with fixing metal saddel on every 18 inch of laying area 4 Core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 4sq. Mm (Make:Polycab/Havells/Finolex), etc all complete as directed by EIC. | 40.00 | RM | 135.14 | 165.00 | 6600.00 | 181.00 | 7240.00 | 6600.00 | M/s R R ELECTRICALS
40.10 | Taking down carefully copper/aluminium point wiring (light, fan, socket or power) complete, (fittings such as switches, ceiling roses, pendants, regulators sockets etc. to be measured separately), removing materials to store for keeping in safe custody for reuse at site and making good disturbed surfaces of walls, floors, etc all complete as directed by EIC. | 15.00 | Each | 235.60 | 80.00 | 1200.00 | 165.00 | 2475.00 | 1200.00 | M/s R R ELECTRICALS
41.10 | Supply & Fixing Sheet Metal Enclosure Single Pole & Neutral 2 way for 230 V AC Supply, (Make:Siemens/L&T/Havels), etc all complete as directed by EIC. | 20.00 | Each | 544.10 | 620.00 | 12400.00 | 641.00 | 12820.00 | 12400.00 | M/s R R ELECTRICALS
42.10 | Fixing only 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: Siemens/L&T/Legrand), etc all complete as directed by EIC. | 40.00 | Each | 284.20 | 280.00 | 11200.00 | 295.00 | 11800.00 | 11200.00 | M/s R R ELECTRICALS
43.10 | Supply & Fixing of Piano (Modular) Type switches 1 way, 5A (Make:Anchor/ Roma/GM/Legrand), etc all complete as directed by EIC. | 90.00 | Each | 120.80 | 65.00 | 5850.00 | 115.00 | 10350.00 | 5850.00 | M/s R R ELECTRICALS
44.10 | Wiring for Circuit / Submain wiring along with earth wire with 2x4 sq. mm 1x4 sq. mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Casing & Caping (Make: Precision / Pressfit), etc all complete as directed by EIC. | 200.00 | RM | 211.58 | 292.00 | 58400.00 | 298.00 | 59600.00 | 58400.00 | M/s R R ELECTRICALS
45.10 | Wiring for Circuit / Submain wiring along with earth wire with 2 x 2.5 sq.mm + 1 x 2.5 Sq.mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Casing N Caping (Make: Precision / Pressfit), etc all complete as directed by EIC. | 250.00 | RM | 181.78 | 218.00 | 54500.00 | 258.00 | 64500.00 | 54500.00 | M/s R R ELECTRICALS
46.10 | One Light Point or one Fan point controlled by one switch with cables 1.5 Sq.mm copper multistrand wire, (Make: Polycab/ Finnolex/KEI/RR) Size in PVC Casing n Caping of thickness 2 mm, (Make:Pressfit/Prestige), etc all complete as directed by EIC. | 90.00 | Each | 721.31 | 765.00 | 68850.00 | 803.00 | 72270.00 | 68850.00 | M/s R R ELECTRICALS
47.10 | Supply and Fixing of MODULAR WHITE COVER PLATE WITH FRAME 6 Module, etc all complete as directed by EIC. | 40.00 | Each | 309.60 | 260.00 | 10400.00 | 302.00 | 12080.00 | 10400.00 | M/s R R ELECTRICALS
48.10 | Fixing only 20 Watts LED Tubelight fixtures (M.D supply), etc all complete as directed by EIC. | 40.00 | Each | 75.25 | 75.00 | 3000.00 | 93.00 | 3720.00 | 3000.00 | M/s R R ELECTRICALS
49.10 | S & F of Lamp holder, PVC/Polycarbonate type with back plate suitable for batten fittings/Casing Caping Wiring ®Angle or straight (Make:Anchor/Roma/GM/Legrand), etc all complete as directed by EIC. | 60.00 | Each | 166.50 | 63.00 | 3780.00 | 105.00 | 6300.00 | 3780.00 | M/s R R ELECTRICALS
50.10 | S & F of Switch socket Combination 6A, 3 pin, 3 module Flash type (Make:Anchor/Roma/GM/ Legrand), etc all complete as directed by EIC. | 50.00 | Each | 275.20 | 210.00 | 10500.00 | 238.00 | 11900.00 | 10500.00 | M/s R R ELECTRICALS
51.10 | S & F of Switch socket Combination 16A, 6 pin, 3 module (Make:Anchor/Roma/GM/ Legrand), etc all complete as directed by EIC. | 10.00 | Each | 392.20 | 293.00 | 2930.00 | 362.00 | 3620.00 | 2930.00 | M/s R R ELECTRICALS
52.10 | S & F of Ceiling Rose 6A, 3 Point (Make:Anchor/Roma/GM/Legrand), etc all complete as directed by EIC. | 60.00 | Each | 65.70 | 51.00 | 3060.00 | 59.00 | 3540.00 | 3060.00 | M/s R R ELECTRICALS
53.10 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator remote and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) (Make:Havels/Polycab/Automberg), etc all complete as directed by EIC. | 20.00 | Each | 2649.47 | 3100.00 | 62000.00 | 3310.00 | 66200.00 | 62000.00 | M/s R R ELECTRICALS
54.10 | Taking down carefully copper/aluminium point wiring (light, fan, socket or power) complete, (fittings such as switches, ceiling roses, pendants, regulators sockets etc. to be measured separately), removing materials to store for keeping in safe custody for reuse at site and making good disturbed surfaces of walls, floors, etc all complete as directed by EIC. | 250.00 | Each | 235.60 | 80.00 | 20000.00 | 165.00 | 41250.00 | 20000.00 | M/s R R ELECTRICALS
| Total in Figures |  |  |  |  | 775809.00 |  | 884820.00
Lowest Amount Quoted BY: M/s R R ELECTRICALS(775809.00)

## BOQ Summary
BOQ Summary Details Tender Title: Rewiring of DSC Platoon Building MPF and Quarters. Tender ID: 2026_AVNL_268711_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s R R ELECTRICALS (BID ID -990803) | 775809.00 | L1
| 2 | MARMINE ENTERPRISES (BID ID -992621) | 884820.00 | L2