## BoQ1
Government eProcurement System Created By: SHALINI MEKALA Created Date/Time: 07-Jul-2026 04:24 PM Tender Title: Repairs and Renovation of substation buildings in estate area of OFMK Tender ID: 2026_AVNL_274995_1
Tender Inviting Authority: CHIEF GENERAL MANAGER ORDNANCE FACTORY MEDAK (A UNIT OF AVNL)
Name of Work: Repairs and renovation of substation buildings in estate area of OFMK.
Contract No: 73025/OFMK/TE -04/OFMK/EO/2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | yaralagadda ramesh (GSTN-37AEFPY3314J1Z7) BID ID -1018163 |  | GOVIND REDDY CONTRACTOR (GSTN-NA) BID ID -1019220 |  | SATYANARAYANA RAJU VEGESNA (GSTN-NA) BID ID -1021324 |  | T VENKATASWAMY CIVIL CONTRACTORS (GSTN-NA) BID ID -1021422 |  | HARIOM ENTERPRISES (GSTN-NA) BID ID -1019191 |  | P Ramkishan Contractor (GSTN-NA) BID ID -1020939
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Surface Excavation : Surface excavation in soft/loose soil n.exc (not exceeding) 30 cm deep and averaging 15cm deep and getting out | 8000.00 | Sqm |  | 50.00 | 400000.00 | 32.00 | 256000.00 | 35.00 | 280000.00 | 30.00 | 240000.00 | 93.00 | 744000.00 | 30.00 | 240000.00 | 240000.00 | P Ramkishan Contractor, T VENKATASWAMY CIVIL CONTRACTORS
2.00 | Removal : Removing excavated material(soils) exc. 250m but n.exc 500m and depositing where directed. | 444.90 | Cum |  | 330.00 | 146817.71 | 300.00 | 133470.65 | 250.00 | 111225.54 | 255.00 | 113450.05 | 65.00 | 28918.64 | 210.00 | 93429.45 | 28918.64 | HARIOM ENTERPRISES
3.00 | Demolition : Demolition of cement concrete (unreinforced) in ground floors and pavings n exc 15 cm thickness (below or above ground level) | 10.00 | Cum |  | 500.00 | 5000.00 | 600.00 | 6000.00 | 1200.00 | 12000.00 | 1250.00 | 12500.00 | 50.00 | 500.00 | 2600.00 | 26000.00 | 500.00 | HARIOM ENTERPRISES
4.00 | PCC 1:4:8 : (M&L) - Plain Cement concrete (1:4:8), type D2 with 40 mm graded aggregate, in foundation, filling and mass concrete complete all as specified. | 112.00 | Cum |  | 5000.00 | 560000.00 | 5300.00 | 593600.00 | 4800.00 | 537600.00 | 4500.00 | 504000.00 | 5485.00 | 614320.00 | 5300.00 | 593600.00 | 504000.00 | T VENKATASWAMY CIVIL CONTRACTORS
5.00 | Excavating In Post Holes: Excavating in post holes (or similar holes) in soft/loose soil each n exc 0.5 cu. m, getting out, returning, filling in and ramming earth or broken rubble mixed with earth around, in layers not exceeding 25 cm, | 800.00 | Each |  | 250.00 | 200000.00 | 180.00 | 144000.00 | 200.00 | 160000.00 | 200.00 | 160000.00 | 400.00 | 320000.00 | 210.00 | 168000.00 | 144000.00 | GOVIND REDDY CONTRACTOR
6.00 | Hardcore: (M&L) Hardcore (broken stone or boulders) of gauge n exc. 63 mm, deposited, spread and levelled in layers n exc. 15 cm thick, watered and rammed to a true surface | 400.00 | Cum |  | 1700.00 | 680000.00 | 1200.00 | 480000.00 | 1800.00 | 720000.00 | 1775.00 | 710000.00 | 2000.00 | 800000.00 | 1970.00 | 788000.00 | 480000.00 | GOVIND REDDY CONTRACTOR
7.00 | Moorum : Supply and filling of Moorum/Red Bajri, filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering complete all as specified and directed. | 400.00 | Cum |  | 900.00 | 360000.00 | 450.00 | 180000.00 | 1000.00 | 400000.00 | 975.00 | 390000.00 | 1200.00 | 480000.00 | 1160.00 | 464000.00 | 180000.00 | GOVIND REDDY CONTRACTOR
8.00 | Glass : (M&L) Sheet glass 4 mm thk., ordinary quality and glazing with oil putty in square n exc 0.5 sq. m in each pane | 125.00 | Sqm |  | 680.00 | 85000.00 | 600.00 | 75000.00 | 500.00 | 62500.00 | 550.00 | 68750.00 | 680.00 | 85000.00 | 750.00 | 93750.00 | 62500.00 | SATYANARAYANA RAJU VEGESNA
9.00 | PCC 1:2:4 : (M&L) Cement Concrete 1:2:4 type B2 with 40 mm graded aggregate in walls or retaining walls, any thickness, size or shape including pilasters, buttresses columns, pillars, boundary pillars and posts | 40.00 | Cum |  | 7000.00 | 280000.00 | 5300.00 | 212000.00 | 6000.00 | 240000.00 | 6000.00 | 240000.00 | 5600.00 | 224000.00 | 7100.00 | 284000.00 | 212000.00 | GOVIND REDDY CONTRACTOR
10.00 | Precast Concrete : Providing precast cement concrete Type B1, 1:2:4 with 20 mm graded aggregate set in Cm 1:6 in landings, cover slabs (for man holes etc.) chullah hoods, chajjas, water troughs, mangers, shelves and similar articles with plain faces | 10.00 | Cum |  | 8000.00 | 80000.00 | 8000.00 | 80000.00 | 11000.00 | 110000.00 | 11000.00 | 110000.00 | 9000.00 | 90000.00 | 9300.00 | 93000.00 | 80000.00 | yaralagadda ramesh, GOVIND REDDY CONTRACTOR
11.00 | Structural Steel : (M&L) Rolled mild steel (Fe 410 Gd E 250 Qlty A) in Joist, channel, angle, or tee sections, fixed independently, without connecting plates, etc. (cut to ordinary lengths i.e. within 20mm of the length indicated) | 9000.00 | Kg |  | 87.00 | 783000.00 | 103.00 | 927000.00 | 105.00 | 945000.00 | 110.00 | 990000.00 | 100.00 | 900000.00 | 120.00 | 1080000.00 | 783000.00 | yaralagadda ramesh
12.00 | Fixing of Chain Link fencing : Fixing only chain link fencing including line wires, any mesh, size and type to any type of standards, rails, straining bolts, etc. including provission of binding wire | 4200.00 | Sqm |  | 8.00 | 33600.00 | 6.00 | 25200.00 | 8.00 | 33600.00 | 6.00 | 25200.00 | 7.00 | 29400.00 | 12.00 | 50400.00 | 25200.00 | GOVIND REDDY CONTRACTOR, T VENKATASWAMY CIVIL CONTRACTORS
13.00 | Supply of Chain Link Fencing : Supply only of Chain link MS galvanisd fencing, any size or type | 13636.00 | Kg |  | 72.00 | 981792.26 | 80.00 | 1090880.29 | 80.00 | 1090880.29 | 78.00 | 1063608.28 | 100.00 | 1363600.36 | 93.00 | 1268148.34 | 981792.26 | yaralagadda ramesh
14.00 | Steel Windows : (M&L) Steel windows with side hung shutters including projecting type hinges with steel handle, and steel peg stay, complete with glazing bars, dovetailed or welded | 30.00 | Sqm |  | 2200.00 | 66000.00 | 1750.00 | 52500.00 | 2000.00 | 60000.00 | 2100.00 | 63000.00 | 1700.00 | 51000.00 | 2100.00 | 63000.00 | 51000.00 | HARIOM ENTERPRISES
15.00 | MS Door : (M&L) Steel door including projecting type hinges, steel handle, complete, with glazing bars, dovetailed or welded | 20.00 | Sqm |  | 2390.00 | 47800.00 | 1750.00 | 35000.00 | 2300.00 | 46000.00 | 2250.00 | 45000.00 | 2378.00 | 47560.00 | 2240.00 | 44800.00 | 35000.00 | GOVIND REDDY CONTRACTOR
16.00 | Cement Paint Of Walls : M&L : Cement painting on fair faced walls - previously treated surfaces incl. preparation of surfaces - TWO coats complete all as directed. Brand: Snocem/ Indocem | 200.00 | Sqm |  | 100.00 | 20000.00 | 62.00 | 12400.00 | 60.00 | 12000.00 | 62.00 | 12400.00 | 40.00 | 8000.00 | 71.00 | 14200.00 | 8000.00 | HARIOM ENTERPRISES
17.00 | Whitewash Of Walls : M&L : White washing on fair faced walls - previously treated surfaces incl. preparation of surfaces - TWO coats complete all as directed. | 200.00 | Sqm |  | 75.00 | 15000.00 | 21.00 | 4200.00 | 15.00 | 3000.00 | 13.00 | 2600.00 | 70.00 | 14000.00 | 17.00 | 3400.00 | 2600.00 | T VENKATASWAMY CIVIL CONTRACTORS
18.00 | Enamel Paint to Steel : (M&L) Synthetic Enamel Painting on previously treated Steel surfaces over 10 cm width or girth including preparation of surfaces, ONE coats complete all as specified and directed, Brand: Asian Paints Asian Paints Apcolite/ Berger Luxol Gloss/ Nerolac Impressions. | 150.00 | Sqm |  | 159.00 | 23850.00 | 79.00 | 11850.00 | 70.00 | 10500.00 | 65.00 | 9750.00 | 45.00 | 6750.00 | 71.00 | 10650.00 | 6750.00 | HARIOM ENTERPRISES
19.00 | Brickwork : (M&L) Brickwork with subclass B bricks straight or curved in plan exc 6m mean radius built in cement mortar 1:6 | 8.00 | Cum |  | 7100.00 | 56800.00 | 7245.00 | 57960.00 | 6000.00 | 48000.00 | 6500.00 | 52000.00 | 4000.00 | 32000.00 | 8000.00 | 64000.00 | 32000.00 | HARIOM ENTERPRISES
20.00 | Precast Block Masonry : (M&L) Pre-cast cement concrete block masonry with solid blocks Type C1, 1:3:6, 20 mm graded aggregate, set in CM 1:6, exc. 10 cm in width and setting in mortar, complete | 78.00 | Cum |  | 8000.00 | 623960.00 | 7200.00 | 561564.00 | 7500.00 | 584962.50 | 7400.00 | 577163.00 | 8500.00 | 662957.50 | 8000.00 | 623960.00 | 561564.00 | GOVIND REDDY CONTRACTOR
21.00 | Flush Pointing : (M&L) Flush pointing to block in course or ashlar masonry or concrete block walling with 1:4 cm | 126.00 | 10 sqm |  | 680.00 | 85680.00 | 589.00 | 74214.00 | 500.00 | 63000.00 | 490.00 | 61740.00 | 600.00 | 75600.00 | 930.00 | 117180.00 | 61740.00 | T VENKATASWAMY CIVIL CONTRACTORS
22.00 | Plastering : Rendering 10 mm thick cement plaster 1:6 on fair faces of brickwork or concrete surfaces. | 100.00 | Sqm |  | 210.00 | 21000.00 | 198.00 | 19800.00 | 250.00 | 25000.00 | 275.00 | 27500.00 | 180.00 | 18000.00 | 350.00 | 35000.00 | 18000.00 | HARIOM ENTERPRISES
23.00 | Taking Down carefully copper/Aluminium point wiring (Light, Fan, Socket, Power point) complete (fittings such as switches, ceiling roses, pendents, regulators, sockets, etc to be measured seperately) removing material to store for keeping in safe custody for reuse at site and making good disturbed surfaces of walls, floors etc. Complete all as specified and directed. | 350.00 | Each |  | 235.00 | 82250.00 | 40.00 | 14000.00 | 150.00 | 52500.00 | 150.00 | 52500.00 | 200.00 | 70000.00 | 170.00 | 59500.00 | 14000.00 | GOVIND REDDY CONTRACTOR
24.00 | Taking Down carefully by unscrewing from board /outlets boxes fittings and fixtures such as switches, sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tubelight fittings and regulators etc for reuse at site or carrying to the store (to be measured only when found serviceable in all respect complete for reuse). Complete all as specified and directed. | 600.00 | Each |  | 34.94 | 20964.00 | 50.00 | 30000.00 | 25.00 | 15000.00 | 30.00 | 18000.00 | 30.00 | 18000.00 | 30.00 | 18000.00 | 15000.00 | SATYANARAYANA RAJU VEGESNA
25.00 | Point wiring: Supply and fixing / Drawing of cables in PVC conduit of 1"or 3/4" Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of FR PVC single core, copper conductor, Each point should have seperate phase, neutral and earth wire. Make: Finolex/ Havells/ polycab/L&T in PVC conduit,includes all accessories like bends, tees,screws,clips ,plugs, clamps,junction boxes, cutting holes in or through walls,fixing of boards and grouted into the wall,earth wire etc and testing as specified. All connections to be given by copper Pin/eye type lugs including for earth connections. Complete all as specified and directed. | 350.00 | Each |  | 990.00 | 346500.00 | 1289.00 | 451150.00 | 1100.00 | 385000.00 | 1100.00 | 385000.00 | 995.00 | 348250.00 | 980.00 | 343000.00 | 343000.00 | P Ramkishan Contractor
26.00 | Point wiring: Supply and fixing /Drawing of cables in PVC conduit of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FR PVC.Each point should have seperate phase,neutral and earth wire. Make: Finolex/Havells/Polycab/L&T in PVC conduit, includes all accessories like bends,tees, screws, clips, plugs,clamps,junction boxes,cutting holes in or through walls,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections.Complete all as specified and directed. | 48.00 | Each |  | 1930.00 | 92640.00 | 1100.00 | 52800.00 | 2000.00 | 96000.00 | 2200.00 | 105600.00 | 1930.00 | 92640.00 | 2100.00 | 100800.00 | 52800.00 | GOVIND REDDY CONTRACTOR
27.00 | Ceiling Rose: Supply and fixing of ceiling rose, PVC/Polycorbonate, 3 terminal Make: Legrand/Schneider/Havells of ISI quality. Complete all as specified and directed. | 350.00 | Each |  | 80.00 | 28000.00 | 21.00 | 7350.00 | 50.00 | 17500.00 | 45.00 | 15750.00 | 30.00 | 10500.00 | 53.00 | 18550.00 | 7350.00 | GOVIND REDDY CONTRACTOR
28.00 | 6A Switch Modular: Supply and Fixing of modular switch 1 way, 6 amps, one module, Make: Legrand/Schneider/Havells of ISI quality. Complete all as specified and directed. | 368.00 | Each |  | 100.00 | 36800.00 | 79.00 | 29072.00 | 165.00 | 60720.00 | 160.00 | 58880.00 | 260.00 | 95680.00 | 170.00 | 62560.00 | 29072.00 | GOVIND REDDY CONTRACTOR
29.00 | 16A Switch Modular: Supply and Fixing of modular switch, one way 16 amps, one module. Make: Legrand/Schneider/Havells of ISI quality. Complete all as specified and directed. | 80.00 | Each |  | 160.00 | 12800.00 | 190.00 | 15200.00 | 250.00 | 20000.00 | 245.00 | 19600.00 | 343.00 | 27440.00 | 210.00 | 16800.00 | 12800.00 | yaralagadda ramesh
30.00 | 16A Socket Modular: Supply and Fixing of modular socket outlet 6/16 amps,3 pin, combined 2 module. Make: Legrand/Schneider/Havells of ISI quality. Complete all as specified and directed. | 48.00 | Each |  | 220.00 | 10560.00 | 225.00 | 10800.00 | 350.00 | 16800.00 | 350.00 | 16800.00 | 520.00 | 24960.00 | 300.00 | 14400.00 | 10560.00 | yaralagadda ramesh
31.00 | Covering Plates with frame: Supply and Fixing of modular white colour covering plates with frame of 8 module. Make: Legrand/Schneider/Havells. Complete all as specified and directed. | 16.00 | Each |  | 300.00 | 4800.00 | 200.00 | 3200.00 | 250.00 | 4000.00 | 280.00 | 4480.00 | 385.00 | 6160.00 | 210.00 | 3360.00 | 3200.00 | GOVIND REDDY CONTRACTOR
32.00 | Covering Plates with frame: Supply and Fixing of white colour covering plates with frame of 4 module. Make: Legrand/Schneider/Havells. Complete all as specified and directed. | 48.00 | Each |  | 180.00 | 8640.00 | 155.00 | 7440.00 | 200.00 | 9600.00 | 210.00 | 10080.00 | 247.00 | 11856.00 | 170.00 | 8160.00 | 7440.00 | GOVIND REDDY CONTRACTOR
33.00 | Metal Flush Box : Supply and Fixing of modular metal flush box, 4 module for mounting switches and sockets. cable terminations to be done neatly with lugs, grouted into the wall. Make: Legrand/Schneider/Havells. Complete all as specified and directed. | 48.00 | Each |  | 165.00 | 7920.00 | 125.00 | 6000.00 | 150.00 | 7200.00 | 150.00 | 7200.00 | 215.00 | 10320.00 | 170.00 | 8160.00 | 6000.00 | GOVIND REDDY CONTRACTOR
34.00 | Supply and fixing of Sheet Metal enclosures for DB(MCB DB), single pole and neutral 8 way with 200 Amps rated bus bar, 240V, Double Door Make: Schneider/Legrand/Havells/L&T. Complete all as specified and directed. | 16.00 | Each |  | 6000.00 | 96000.00 | 2019.00 | 32304.00 | 2500.00 | 40000.00 | 2400.00 | 38400.00 | 1900.00 | 30400.00 | 1740.00 | 27840.00 | 27840.00 | P Ramkishan Contractor
35.00 | Fixing of LED batten tube light fitting of 20 wattage, including connections. Complete all as specified and directed. (Material will be supplied by OFMK) | 256.00 | Each |  | 800.00 | 204800.00 | 65.00 | 16640.00 | 60.00 | 15360.00 | 60.00 | 15360.00 | 70.00 | 17920.00 | 53.00 | 13568.00 | 13568.00 | P Ramkishan Contractor
36.00 | Supply and Fixing of Galvanised steel tube 40mm dia light grade, on side walls of building suitable for fixing street light fitting including bending the pipe to the required shape, with clamps, with required welding, Painting the flat iron with primer and finish paint. Complete all as specified and directed. | 112.00 | RM |  | 450.00 | 50400.00 | 380.00 | 42560.00 | 250.00 | 28000.00 | 260.00 | 29120.00 | 380.00 | 42560.00 | 210.00 | 23520.00 | 23520.00 | P Ramkishan Contractor
37.00 | Supply and Fixing of miniature circuit breaker (MCB), SP, 5 To 32 AMP rating 240V, 10KA 'C' curve in the MCB DB complete with connection testing and commissioning. | 96.00 | Each |  | 210.00 | 20160.00 | 200.00 | 19200.00 | 200.00 | 19200.00 | 200.00 | 19200.00 | 280.00 | 26880.00 | 170.00 | 16320.00 | 16320.00 | P Ramkishan Contractor
38.00 | Supply and Fixing of miniature circuit breaker (MCB), SPN, 40 To 63 AMP rating 240V, 10KA 'C' curve in the MCB DB complete with connection testing and commissioning. | 16.00 | Each |  | 2000.00 | 32000.00 | 650.00 | 10400.00 | 700.00 | 11200.00 | 680.00 | 10880.00 | 1330.00 | 21280.00 | 980.00 | 15680.00 | 10400.00 | GOVIND REDDY CONTRACTOR
39.00 | SUB MAIN WIRING: Supply and fixing of wiring for Circuit/Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x10.0 Sq.mm + 1x10.0 sq.mm earth wire in PVC Conduit. Make Finolex/ Havells/ Polycab/ L&T. Complete all as specified and directed. | 480.00 | RM |  | 540.00 | 259200.00 | 600.00 | 288000.00 | 450.00 | 216000.00 | 460.00 | 220800.00 | 270.00 | 129600.00 | 390.00 | 187200.00 | 129600.00 | HARIOM ENTERPRISES
40.00 | Supply and fixing LED street light fitting 35 Watt 230 V, AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete . Make: Crompton/Wipro/Philips. | 112.00 | Each |  | 2650.00 | 296800.00 | 1250.00 | 140000.00 | 2300.00 | 257600.00 | 2400.00 | 268800.00 | 2800.00 | 313600.00 | 3000.00 | 336000.00 | 140000.00 | GOVIND REDDY CONTRACTOR
41.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 300mm sweep with, blades, and frame and louvers Make: Havells/ Crompton/ Bajaj/ Usha. Complete all as specified and directed. | 28.00 | Each |  | 3800.00 | 106400.00 | 2050.00 | 57400.00 | 2800.00 | 78400.00 | 2800.00 | 78400.00 | 3550.00 | 99400.00 | 3500.00 | 98000.00 | 57400.00 | GOVIND REDDY CONTRACTOR
42.00 | Cutting Chases: Cutting chases on brick walls for MCB DBS, wiring and MS boxes for mounting switches, MCBs exceeding 20 cm girth, pinning in, making good to facings where required and pointing in cement mortor 1:3 to ends or edges etc. Complete all as specified and directed. | 100.00 | RM |  | 150.00 | 15000.00 | 80.00 | 8000.00 | 80.00 | 8000.00 | 75.00 | 7500.00 | 50.00 | 5000.00 | 48.00 | 4800.00 | 4800.00 | P Ramkishan Contractor
43.00 | Earthing : Material and Labour for Earthing complete with galvanised steel earth plate electrode 60cmx60cmx6mm thick burried directly in ground (earth pit not less than 2.25 M deep below ground level) with top edges of plate not less than 1.5 M below normal ground level, connected to 25mmx4 mm GI strip as earthing lead by means of bolts, nuts, check nuts and washers of GI or steel connected to earthing test point all as specified including testing on completion. Complete all as specified and directed | 56.00 | Each |  | 7500.00 | 420000.00 | 5000.00 | 280000.00 | 8000.00 | 448000.00 | 8100.00 | 453600.00 | 7000.00 | 392000.00 | 7500.00 | 420000.00 | 280000.00 | GOVIND REDDY CONTRACTOR
44.00 | Earth continuity conductor: Main earthing lead fixing to wall on batten or recess or chases or buried in around or drawn in conduit pipe or fixing to poles or any other indicating situation for loop earthing etc as required 25mmx4mm GI strip. Complete all as specified and directed. | 100.00 | RM |  | 170.00 | 17000.00 | 90.00 | 9000.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 180.00 | 18000.00 | 170.00 | 17000.00 | 9000.00 | GOVIND REDDY CONTRACTOR
45.00 | Galvanised Steel Tube: Material and labour for galvanised steel tube medium grade 40 mm bore to protect earthing strip. Complete all as specified and directed. | 84.00 | RM |  | 400.00 | 33600.00 | 380.00 | 31920.00 | 225.00 | 18900.00 | 230.00 | 19320.00 | 380.00 | 31920.00 | 300.00 | 25200.00 | 18900.00 | SATYANARAYANA RAJU VEGESNA
46.00 | Galvanised Steel Tube: Material and labour for galvanised steel tube medium grade 20 mm bore for water pipe. Complete all as specified and directed. | 84.00 | RM |  | 250.00 | 21000.00 | 460.00 | 38640.00 | 110.00 | 9240.00 | 115.00 | 9660.00 | 140.00 | 11760.00 | 120.00 | 10080.00 | 9240.00 | SATYANARAYANA RAJU VEGESNA
47.00 | TMT Bars: Mild steel bars (TMT bars), 10mm dia and over, cut to desired length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire(annealed) not less than 0.9mm dia or securing with clips. Complete all as specified and directed. | 700.00 | KG |  | 82.60 | 57820.00 | 102.00 | 71400.00 | 80.00 | 56000.00 | 80.00 | 56000.00 | 85.00 | 59500.00 | 89.00 | 62300.00 | 56000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
48.00 | Excavation: Excavating in trenches, not exc 1.5 m wide and not exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. not exc 10 sq m on plan and not exc 1.5 m in depth and getting out. Complete all as specified and directed. | 140.00 | CU.M |  | 500.00 | 70000.00 | 298.00 | 41720.00 | 450.00 | 63000.00 | 475.00 | 66500.00 | 383.00 | 53620.00 | 350.00 | 49000.00 | 41720.00 | GOVIND REDDY CONTRACTOR
49.00 | Returning, Filling: Returning, filling in, in hard/dense soil including speading, levelling, watering and well ramming in layers not exc 25 cm. Complete all as specified and directed. | 140.00 | CU.M |  | 250.00 | 35000.00 | 250.00 | 35000.00 | 100.00 | 14000.00 | 100.00 | 14000.00 | 139.00 | 19460.00 | 120.00 | 16800.00 | 14000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
50.00 | Precast Hollow Concrete Blocks: Type B1 1:2:4 (20mm graded aggregate) in covers slabs set in cement mortar 1:6 for earth pits with plain faces size (40x40x5cm). Complete all as specied and directed. | 6.00 | Cu.M |  | 8000.00 | 48000.00 | 7500.00 | 45000.00 | 10000.00 | 60000.00 | 10200.00 | 61200.00 | 9000.00 | 54000.00 | 10700.00 | 64200.00 | 45000.00 | GOVIND REDDY CONTRACTOR
51.00 | Cement concrete : Providing cement concrete cast in situ for each pit chamber slightly rounded or chamfered angles including finishing by using type B1 1:2:4 (20mm graded aggregate). Complete all as specified by the EIC. | 8.00 | Cu.M |  | 7800.00 | 62400.00 | 6000.00 | 48000.00 | 8000.00 | 64000.00 | 8000.00 | 64000.00 | 5000.00 | 40000.00 | 7500.00 | 60000.00 | 40000.00 | HARIOM ENTERPRISES
52.00 | Supply and Fixing of 2 KVA inverter with tubular batteries(02 No's X 150Ah,24V )combo pure sine wave unit Make: Luminous Optimus 2300 or equivalent of Microtek/V-Guard. Complete all as specified and directed. | 13.00 | Each |  | 40000.00 | 520000.00 | 29000.00 | 377000.00 | 50000.00 | 650000.00 | 51000.00 | 663000.00 | 30000.00 | 390000.00 | 39000.00 | 507000.00 | 377000.00 | GOVIND REDDY CONTRACTOR
53.00 | Supply and Fixing of modular metal flush box, 12 module for mounting switches and sockets. cable terminations to be done neatly with lugs, grouted into the wall. Make: Legrand/Schneider/Havells. Complete all as specified and directed. | 32.00 | Each |  | 400.00 | 12800.00 | 396.00 | 12672.00 | 250.00 | 8000.00 | 260.00 | 8320.00 | 400.00 | 12800.00 | 210.00 | 6720.00 | 6720.00 | P Ramkishan Contractor
54.00 | Supply and Fixing of modular metal flush box, 8 module for mounting switches and sockets. cable terminations to be done neatly with lugs, grouted into the wall. Make: Legrand/Schneider/Havells. Complete all as specified and directed. | 16.00 | Each |  | 360.00 | 5760.00 | 171.00 | 2736.00 | 200.00 | 3200.00 | 210.00 | 3360.00 | 300.00 | 4800.00 | 210.00 | 3360.00 | 2736.00 | GOVIND REDDY CONTRACTOR
55.00 | Supply and Fixing of modular white colour covering plates with frame of 12 module. Make: Legrand/ Schneider/Havells. Complete all as specified and directed. | 32.00 | Each |  | 400.00 | 12800.00 | 190.85 | 6107.20 | 280.00 | 8960.00 | 290.00 | 9280.00 | 380.00 | 12160.00 | 305.00 | 9760.00 | 6107.20 | GOVIND REDDY CONTRACTOR
| Total in Figures |  |  |  |  | 8604113.97 |  | 7273350.14 |  | 8331648.33 |  | 8304251.33 |  | 9098072.50 |  | 8846155.79
Lowest Amount Quoted BY: GOVIND REDDY CONTRACTOR(7273350.14)

## BOQ Summary
BOQ Summary Details Tender Title: Repairs and Renovation of substation buildings in estate area of OFMK Tender ID: 2026_AVNL_274995_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GOVIND REDDY CONTRACTOR (BID ID -1019220) | 7273350.14 | L1
| 2 | T VENKATASWAMY CIVIL CONTRACTORS (BID ID -1021422) | 8304251.33 | L2
| 3 | SATYANARAYANA RAJU VEGESNA (BID ID -1021324) | 8331648.33 | L3
| 4 | yaralagadda ramesh (BID ID -1018163) | 8604113.97 | L4
| 5 | P Ramkishan Contractor (BID ID -1020939) | 8846155.79 | L5
| 6 | HARIOM ENTERPRISES (BID ID -1019191) | 9098072.50 | L6