## BoQ1
Government eProcurement System Created By: SHALINI MEKALA Created Date/Time: 07-Jul-2026 04:42 PM Tender Title: Provision of transparent cabins Aluminium enclosures for QA group sections of H and T, LMS, VA etc. inside factory area at OFMK Tender ID: 2026_AVNL_277086_1
Tender Inviting Authority: CHIEF GENERAL MANAGER ORDNANCE FACTORY MEDAK (A UNIT OF AVNL)
Name of Work: Provision of transparent cabins / Aluminium enclosures for QA group sections of H&T, LMS, VA etc. inside factory area at OFMK.
Contract No: 73025/OFMK/TE -01/OFMK/EO/2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | yaralagadda ramesh (GSTN-37AEFPY3314J1Z7) BID ID -1024930 |  | Samrat Engineering Works (GSTN-NA) BID ID -1024928 |  | P LAVAKUSHA REDDY CONTRACTORS (GSTN-NA) BID ID -1024918
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of reinforced cement concrete of any description and in any position not otherwise specifically provided for. complete all as specified and directed by EIC | 5.00 | Cum |  | 1000.00 | 5000.00 | 2000.00 | 10000.00 | 1800.00 | 9000.00 | 5000.00 | yaralagadda ramesh
2.00 | RCC : Reinforced Cement Concrete type B1, 1:2:4 mix by using 20 mm graded aggregate for foundations, including rafts, footings, foundation beams; plinth beams; bases for columns, etc.; basement slabs, under-reamed piles and massconcrete, complete all as directed and specified. | 5.00 | Cum |  | 8200.00 | 41000.00 | 6000.00 | 30000.00 | 6000.00 | 30000.00 | 30000.00 | P LAVAKUSHA REDDY CONTRACTORS, Samrat Engineering Works
3.00 | Structural steel work : Supply and erection of framed work as in doors or gates of angle or other section with gusset pla tes, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete. steel conforming to Fe.410 W .Gde-E-250 quality B. including application of of one coat of zinc chromate primer paint. Complete all as specified and directed | 1600.00 | Kg |  | 130.00 | 208000.00 | 110.00 | 176000.00 | 120.00 | 192000.00 | 176000.00 | Samrat Engineering Works
4.00 | Snap grid : Supply and fixing of 605x605 mm snap grid Gl frame work for seamless ceiling comprising of Gl perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre. complete all as specifiedand directed, Make : Armstrong | 325.00 | Sqm. |  | 435.00 | 141375.00 | 450.00 | 146250.00 | 425.00 | 138125.00 | 138125.00 | P LAVAKUSHA REDDY CONTRACTORS
5.00 | Supply and fixing of Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long complete all as specified. | 325.00 | Sqm |  | 100.00 | 32500.00 | 200.00 | 65000.00 | 100.00 | 32500.00 | 32500.00 | P LAVAKUSHA REDDY CONTRACTORS, yaralagadda ramesh
6.00 | Ceiling board : (M&L) S&F Exposed metal frame ceiling with calcium silicate board of siliceous and calcareous material 8 mm thk. reinforced with cellulose fibre for fixing in 600 mm x 600mm grid Make: Gyproc/ Lagyp | 325.00 | Sqm |  | 490.00 | 159250.00 | 500.00 | 162500.00 | 400.00 | 130000.00 | 130000.00 | P LAVAKUSHA REDDY CONTRACTORS
7.00 | ALUMINIUM PARTITIONS : Supply and fixing complete of anodised aluminium powder coated frames for partition frames and windows etc. all complete as directed by E.I.C. | 3770.00 | Kg |  | 510.00 | 1922700.00 | 600.00 | 2262000.00 | 550.00 | 2073500.00 | 1922700.00 | yaralagadda ramesh
8.00 | PARTICLE BOARDS : Supply and Fixing of Pre-laminated particle board of 12mm thick, exterior grade prelaminated one side with decorative choice lamination and other side balancing white lamination, fixed with screws to timber frame work, including all as specified and directed by EIC. | 470.00 | Sqm |  | 800.00 | 376000.00 | 800.00 | 376000.00 | 700.00 | 329000.00 | 329000.00 | P LAVAKUSHA REDDY CONTRACTORS
9.00 | Supply and fixing of Sheet glass, ordinary quality 4.0 mm thick and glazing with oil putty in square n exc 0.5 sq. m in each pane. Complete all as specified and directed by EIC. | 210.00 | Sqm |  | 675.00 | 141750.00 | 900.00 | 189000.00 | 650.00 | 136500.00 | 136500.00 | P LAVAKUSHA REDDY CONTRACTORS
10.00 | ALUMINIUM SHUTTERS : Supply and fixing complete of anodised aluminium Door / window / ventilator shutters powder coated fixed type without sash bar ,aluminium section weighing 0.55 kg/m including necessary jointig cleats, glazing clips, rubber neoprane packing, handles 2 nos. in each door, hinges/sliding rollers, anodised aluminium snap beading, screws etc. complete all as directed by E.I.C. | 45.00 | Sqm |  | 1550.00 | 69750.00 | 3500.00 | 157500.00 | 1450.00 | 65250.00 | 65250.00 | P LAVAKUSHA REDDY CONTRACTORS
11.00 | Lock : S & F of Mortice lock, vertical type, size 100 mm, aluminium body 4 levers. complete all as specified and directed. Make : Europa / Godrej | 20.00 | Each |  | 1500.00 | 30000.00 | 1000.00 | 20000.00 | 900.00 | 18000.00 | 18000.00 | P LAVAKUSHA REDDY CONTRACTORS
12.00 | PVC sheet : Supply and fixing of PVC tiles/ sheets, 2.0 mm thick laminated plain coloured, marbled mosaic or mottled finish, laid with approved rubbed based adhesive in floors. complete all as specified and directed | 325.00 | Sqm |  | 1100.00 | 357500.00 | 800.00 | 260000.00 | 850.00 | 276250.00 | 260000.00 | Samrat Engineering Works
13.00 | ENAMEL PAINTING : Rendering synthetic enamel painting on Steel surfaces surfaces of any description over 10 cm width or girth including application of one coat of red oxide zionc chrome primer - TWO coats of enamelpaint, Complete all as specified and directed | 200.00 | Sqm |  | 90.00 | 18000.00 | 100.00 | 20000.00 | 85.00 | 17000.00 | 17000.00 | P LAVAKUSHA REDDY CONTRACTORS
14.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/polycab in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 85.00 | Per point |  | 1150.00 | 97750.00 | 800.00 | 68000.00 | 1200.00 | 102000.00 | 68000.00 | Samrat Engineering Works
15.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/ polycab/ L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 25.00 | Per point |  | 1900.00 | 47500.00 | 1000.00 | 25000.00 | 2200.00 | 55000.00 | 25000.00 | Samrat Engineering Works
16.00 | point wiring: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable concealed conduit wiring Make Finolex/Havells/ polycab. complete all as specified and directed | 64.00 | Per point |  | 400.00 | 25600.00 | 950.00 | 60800.00 | 400.00 | 25600.00 | 25600.00 | P LAVAKUSHA REDDY CONTRACTORS, yaralagadda ramesh
17.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 Amp Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 55.00 | Each |  | 300.00 | 16500.00 | 300.00 | 16500.00 | 275.00 | 15125.00 | 15125.00 | P LAVAKUSHA REDDY CONTRACTORS
18.00 | MCB :Supply and fixing of MCB, 240 V, DP 40 amp. Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 10.00 | Each |  | 780.00 | 7800.00 | 1000.00 | 10000.00 | 400.00 | 4000.00 | 4000.00 | P LAVAKUSHA REDDY CONTRACTORS
19.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of single door of SPN, 8 way, 240 V, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/Schneider/Indoasian/ Havells. Complete all as specified by EIC. | 9.00 | Each |  | 1700.00 | 15300.00 | 2500.00 | 22500.00 | 1500.00 | 13500.00 | 13500.00 | P LAVAKUSHA REDDY CONTRACTORS
20.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x6.0 Sq.mm + 1x6.0 sq.mm earth wire in PVC concelead Conduit wiring .Make: Finolex/Havells /polycab complete all as specified by the EIC | 300.00 | RM |  | 425.00 | 127500.00 | 400.00 | 120000.00 | 380.00 | 114000.00 | 114000.00 | P LAVAKUSHA REDDY CONTRACTORS
21.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 150.00 | Each |  | 160.00 | 24000.00 | 150.00 | 22500.00 | 240.00 | 36000.00 | 22500.00 | Samrat Engineering Works
22.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 2/3 pin 6 amps combined 2 modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 65.00 | Each |  | 210.00 | 13650.00 | 280.00 | 18200.00 | 325.00 | 21125.00 | 13650.00 | yaralagadda ramesh
23.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 2/3 pin 16 amps combined 2 modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 30.00 | Each |  | 280.00 | 8400.00 | 300.00 | 9000.00 | 500.00 | 15000.00 | 8400.00 | yaralagadda ramesh
24.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 16 amps make Legrand/ Schneider/Havells of ISI quality complete all as specifies by the EIC | 30.00 | Each |  | 250.00 | 7500.00 | 170.00 | 5100.00 | 330.00 | 9900.00 | 5100.00 | Samrat Engineering Works
25.00 | Modular Fan Regulator: Material and Labour for fan step regulator, 120watt , 2 module Make Havells/ Schneider/ Legrand | 30.00 | Each |  | 900.00 | 27000.00 | 800.00 | 24000.00 | 875.00 | 26250.00 | 24000.00 | Samrat Engineering Works
26.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of make Legrand/ Schneider /Havells complete all as specified by the EIC | 18.00 | Each |  | 200.00 | 3600.00 | 300.00 | 5400.00 | 275.00 | 4950.00 | 3600.00 | yaralagadda ramesh
27.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 18.00 | Each |  | 150.00 | 2700.00 | 150.00 | 2700.00 | 150.00 | 2700.00 | 2700.00 | P LAVAKUSHA REDDY CONTRACTORS, Samrat Engineering Works, yaralagadda ramesh
28.00 | LED LUMINAIRE :Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete.Make: Philips/CG/Wipro/ Osram/ Havells/ Orient/ Halonix | 54.00 | Each |  | 3200.00 | 172800.00 | 2800.00 | 151200.00 | 3500.00 | 189000.00 | 151200.00 | Samrat Engineering Works
29.00 | Ceiling Fan(BLDC):Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) Make : CG/Havells/Orient/Usha | 30.00 | Each |  | 2700.00 | 81000.00 | 3000.00 | 90000.00 | 3000.00 | 90000.00 | 81000.00 | yaralagadda ramesh
30.00 | Fan Hook: Supply and Fixing of Fan hook with double anchor bolt complete fixing as per instructions of EIC. | 30.00 | Each |  | 200.00 | 6000.00 | 100.00 | 3000.00 | 125.00 | 3750.00 | 3000.00 | Samrat Engineering Works
31.00 | Switch board box with frame plate and cover plate , metal flush box18 module : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 18 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 15.00 | Each |  | 700.00 | 10500.00 | 1000.00 | 15000.00 | 550.00 | 8250.00 | 8250.00 | P LAVAKUSHA REDDY CONTRACTORS
| Total in Figures |  |  |  |  | 4197925.00 |  | 4543150.00 |  | 4183275.00
Lowest Amount Quoted BY: P LAVAKUSHA REDDY CONTRACTORS(4183275.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of transparent cabins Aluminium enclosures for QA group sections of H and T, LMS, VA etc. inside factory area at OFMK Tender ID: 2026_AVNL_277086_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P LAVAKUSHA REDDY CONTRACTORS (BID ID -1024918) | 4183275.00 | L1
| 2 | yaralagadda ramesh (BID ID -1024930) | 4197925.00 | L2
| 3 | Samrat Engineering Works (BID ID -1024928) | 4543150.00 | L3