## BoQ1
Government eProcurement System Created By: SHALINI MEKALA Created Date/Time: 29-Aug-2026 11:07 AM Tender Title: Construction of Toilet blocks for Industrial employees in H and T, LMS, Foundry, SMS and TR buildings inside factory area at OFMK. Tender ID: 2026_AVNL_277095_1
Tender Inviting Authority: CHIEF GENERAL MANAGER ORDNANCE FACTORY MEDAK (A UNIT OF AVNL)
Name of Work: Construction of Toilet blocks for Industrial employees in H&T, LMS, Foundry, SMS & TR buildings inside factory area at OFMK.
Contract No: 73025/OFMK/TE -02/OFMK/EO/2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Kranth Enterprises (GSTN-NA) BID ID -1024493 |  | P LAVAKUSHA REDDY CONTRACTORS (GSTN-NA) BID ID -1024916 |  | SATYANARAYANA RAJU VEGESNA (GSTN-NA) BID ID -1030830 |  | SRI SAI ENTERPRISES (GSTN-NA) BID ID -1031077 |  | SATYA SAI PROJECTS (GSTN-NA) BID ID -1030745
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | DEMOLITION OF BRICK WORK : Demolition of brick work or stone /boulder masonry built in cement mortal including all quoins, arches, pillars, etc. complete all as specified and directed by EIC | 5.00 | Cum |  | 1200.00 |  | 550.00 | 2750.00 | 879.00 | 4395.00 | 2000.00 | 10000.00 | 890.00 | 4450.00 | 2750.00 | P LAVAKUSHA REDDY CONTRACTORS
2.00 | DEMOLITION OF RCC : Demolition of reinforced cement concrete in ground floors and pavings n exc 15 cm thickness (below or above ground level) . Complete all as specified and directed by EIC | 3.00 | Cum |  | 2000.00 |  | 1800.00 | 5400.00 | 2427.00 | 7281.00 | 2000.00 | 6000.00 | 2400.00 | 7200.00 | 5400.00 | P LAVAKUSHA REDDY CONTRACTORS
3.00 | Surface excavation in hard/dense soil n.exc (not exceeding ) 30 cm deep and averaging 15CM deep and getting out inclulding all as specified and directed by EIC. | 1200.00 | Sqm |  | 95.00 |  | 150.00 | 180000.00 | 138.00 | 165600.00 | 150.00 | 180000.00 | 140.00 | 168000.00 | 165600.00 | SATYANARAYANA RAJU VEGESNA
4.00 | EXCAVATION : Excavation over areas in hard/dense soil not exceeding 1.5 m depth and getting out, spreading/levelled, complete all as specified and directed. | 200.00 | Cum |  | 455.00 |  | 200.00 | 40000.00 | 670.00 | 134000.00 | 300.00 | 60000.00 | 675.00 | 135000.00 | 40000.00 | P LAVAKUSHA REDDY CONTRACTORS
5.00 | EXCAVATION : Excavation over areas in hard rock not exceeding 1.5 m depth and getting out, spreading/levelled, complete all as specified and directed. | 30.00 | Cum |  | 1682.00 |  | 1800.00 | 54000.00 | 2502.00 | 75060.00 | 550.00 | 16500.00 | 2500.00 | 75000.00 | 16500.00 | SRI SAI ENTERPRISES
6.00 | EXCAVATION: Excavation in trenches in hard rock not exceeding 1.5m width and 1.5m depth and getting out and carting the same to the location as shown by EIC/SIC | 30.00 | Cum |  | 2500.00 |  | 2200.00 | 66000.00 | 3700.00 | 111000.00 | 600.00 | 18000.00 | 3700.00 | 111000.00 | 18000.00 | SRI SAI ENTERPRISES
7.00 | EXCAVATION: Excavation in trenches in in hard/dense soil not exceeding 1.5m width and 1.5m depth and getting out and carting the same to the location as shown by EIC/SIC | 250.00 | Cum |  | 670.00 |  | 200.00 | 50000.00 | 1004.00 | 251000.00 | 350.00 | 87500.00 | 1000.00 | 250000.00 | 50000.00 | P LAVAKUSHA REDDY CONTRACTORS
8.00 | FELLING OF TREE: Felling of tree exc.30 cm and not exc.100 cm girth including cutting of trunk and branches and stacking of serviceable material and disposal of unserviceable material to a distance n exc. 50m and clearing site. | 10.00 | Each |  | 1000.00 |  | 1200.00 | 12000.00 | 1858.00 | 18580.00 | 1000.00 | 10000.00 | 1800.00 | 18000.00 | 10000.00 | SRI SAI ENTERPRISES
9.00 | GRUBBING UP TREE TRUNK : Grubbing up tree trunk of girth exceeding 100 mm and not exceeding 150 mm, including cutting of trunk portion protruding over ground, digging out roots, filling holes and levelling off ground, stacking of serviceable materials and removing of unserviceable materials to a distance n. exc. 50 m and clearing site. | 10.00 | Each |  | 2500.00 |  | 2500.00 | 25000.00 | 4401.00 | 44010.00 | 1000.00 | 10000.00 | 4400.00 | 44000.00 | 10000.00 | SRI SAI ENTERPRISES
10.00 | REMOVING OF EXCAVATED MATERIAL Removal of excavated material to a distance exceeding 500M but not exceding 1.0 KM and deposting where directed, complete all specified and directed. | 300.00 | Cum |  | 670.00 |  | 330.00 | 99000.00 | 511.00 | 153300.00 | 200.00 | 60000.00 | 500.00 | 150000.00 | 60000.00 | SRI SAI ENTERPRISES
11.00 | MOORUM : Supply and filling of Moorum/Red Bajri, filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering complete all as specified and directed.. | 250.00 | Cum |  | 1000.00 |  | 1000.00 | 250000.00 | 1847.00 | 461750.00 | 400.00 | 100000.00 | 1800.00 | 450000.00 | 100000.00 | SRI SAI ENTERPRISES
12.00 | Hardcore of gauge n exc. 63 mm, using broken stone or boulders deposited, spread and levelled in layers n exc. 15 cm thick, watered and rammed to a true surface. | 70.00 | Cum |  | 2070.00 |  | 1900.00 | 133000.00 | 3085.00 | 215950.00 | 2000.00 | 140000.00 | 3000.00 | 210000.00 | 133000.00 | P LAVAKUSHA REDDY CONTRACTORS
13.00 | STONE MASONRY : Walling of squared rubble, regular coursed, well bonded, bedded and solidly hearted, built in cement mortar 1:6. | 25.00 | Cum |  | 6000.00 |  | 5550.00 | 138750.00 | 8570.00 | 214250.00 | 6500.00 | 162500.00 | 8500.00 | 212500.00 | 138750.00 | P LAVAKUSHA REDDY CONTRACTORS
14.00 | PCC : M&L - Plain Cement concrete (1:4:8), type D2 with 40 mm graded aggregate, in foundation, filling and mass concrete . | 30.00 | Cum |  | 5200.00 |  | 5200.00 | 156000.00 | 8169.00 | 245070.00 | 5800.00 | 174000.00 | 8000.00 | 240000.00 | 156000.00 | P LAVAKUSHA REDDY CONTRACTORS
15.00 | RCC : Reinforced Cement Concrete type B1, 1:2:4 mix by using 20 mm graded aggregate for foundations, including rafts, footings, foundation beams; plinth beams; bases for columns, etc.; basement slabs, under-reamed piles and massconcrete, complete all as directed and specified. | 60.00 | Cum |  | 6520.00 |  | 6000.00 | 360000.00 | 9675.00 | 580500.00 | 7500.00 | 450000.00 | 9500.00 | 570000.00 | 360000.00 | P LAVAKUSHA REDDY CONTRACTORS
16.00 | RCC :M&L - Reinforced Cement Concrete , Type B1, 1:2:4 Mix by using 20mm graded aggregate Slabs supported on walls, beams and columns in floors, roofs, landings, balconies, canopies, deck slabs and in shelves and the like, complete all as specified and directed | 120.00 | Cum |  | 7474.00 |  | 6300.00 | 756000.00 | 9000.00 | 1080000.00 | 7500.00 | 900000.00 | 1100.00 | 132000.00 | 132000.00 | SATYA SAI PROJECTS
17.00 | PCC : M&L - Plain Cement concrete 1:2:4 , type B2 with 40 mm graded aggregate, in foundation, filling and mass concrete, complete all as specified and directed. | 10.00 | Cum |  | 6477.00 |  | 5500.00 | 55000.00 | 9650.00 | 96500.00 | 6000.00 | 60000.00 | 9500.00 | 95000.00 | 55000.00 | P LAVAKUSHA REDDY CONTRACTORS
18.00 | REINFORCEMENT : Mild steel TMT bars 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9 mm dia or securing with clips. Make: Tata/ Jindal/ Vizag steel (SAIL). | 30000.00 | KG |  | 85.00 |  | 80.00 | 2400000.00 | 122.00 | 3660000.00 | 100.00 | 3000000.00 | 115.00 | 3450000.00 | 2400000.00 | P LAVAKUSHA REDDY CONTRACTORS
19.00 | FORMWORK : Formwork flat surfaces with fair finished surfaces to sides of concrete foundations, footings, bases of columns, raft and raft beams,slabs sides and soffits of foundations and plinth beams; and similar work; vertical or to batter. | 1100.00 | SQM |  | 350.00 |  | 400.00 | 440000.00 | 471.00 | 518100.00 | 200.00 | 220000.00 | 470.00 | 517000.00 | 220000.00 | SRI SAI ENTERPRISES
20.00 | BRICKWORK - Brickwork with sub class B bricks in 1:4 cement mortar, straight or curved in plan exc. 6 m mean radius, built in all as specified and directed. | 240.00 | Cum |  | 5570.00 |  | 6500.00 | 1560000.00 | 7750.00 | 1860000.00 | 6500.00 | 1560000.00 | 9000.00 | 2160000.00 | 1560000.00 | P LAVAKUSHA REDDY CONTRACTORS, SRI SAI ENTERPRISES
21.00 | HALF-BRICKWORK : Brickwork with sub class B bricks, built in 1:4 cement mortar, straight or curved in plan to any radius in half brick thick walls, built in all as specified and directed. | 150.00 | SQM |  | 652.00 |  | 800.00 | 120000.00 | 1002.00 | 150300.00 | 1200.00 | 180000.00 | 1000.00 | 150000.00 | 120000.00 | P LAVAKUSHA REDDY CONTRACTORS
22.00 | PLASTERING :Rendering 10 mm thick cement plaster 1:4 on fair faces of brick work or concrete surfaces on walls including provision of border and creation of raised portions etc. complete all as specified | 2500.00 | SQM |  | 235.00 |  | 190.00 | 475000.00 | 305.00 | 762500.00 | 200.00 | 500000.00 | 300.00 | 750000.00 | 475000.00 | P LAVAKUSHA REDDY CONTRACTORS
23.00 | PLASTERING : Setting Coat of 5mm thick, trowelled to even and smooth finish with ratio 1:2 on plastering serfaces including all as specified and direced by EIC. | 2500.00 | SQM |  | 160.00 |  | 160.00 | 400000.00 | 257.00 | 642500.00 | 200.00 | 500000.00 | 250.00 | 625000.00 | 400000.00 | P LAVAKUSHA REDDY CONTRACTORS
24.00 | PLASTERING :Rendering 12 mm thick cement plaster 1:4 on fair faces in ceiling concrete surfaces including provision of border and creation of raised portions etc. complete all as specified | 750.00 | SQM |  | 260.00 |  | 220.00 | 165000.00 | 378.00 | 283500.00 | 450.00 | 337500.00 | 370.00 | 277500.00 | 165000.00 | P LAVAKUSHA REDDY CONTRACTORS
25.00 | PCC FLOORING : Cement concrete of 100 mm thickness in floors, sub-floors, sub-bases, pavings etc. of type D-2, 1:4:8 (40 mm graded aggregate only) | 840.00 | Sqm |  | 500.00 |  | 500.00 | 420000.00 | 793.00 | 666120.00 | 800.00 | 672000.00 | 790.00 | 663600.00 | 420000.00 | P LAVAKUSHA REDDY CONTRACTORS
26.00 | PCC FLOORING : Cement concrete of 100 mm thickness in floors, sub-floors, sub-bases, pavings etc. of type B-1, 1:2:4 (20 mm graded aggregate) | 840.00 | Sqm |  | 620.00 |  | 600.00 | 504000.00 | 942.00 | 791280.00 | 800.00 | 672000.00 | 1000.00 | 840000.00 | 504000.00 | P LAVAKUSHA REDDY CONTRACTORS
27.00 | precast Cement Concrete solid building blocks of grade B1, 1:2:4 mix or slabs 10cm thick setting in CM (1:4)complete , all as directed and specified | 150.00 | Sqm |  | 1156.00 |  | 1000.00 | 150000.00 | 1640.00 | 246000.00 | 1000.00 | 150000.00 | 1650.00 | 247500.00 | 150000.00 | P LAVAKUSHA REDDY CONTRACTORS, SRI SAI ENTERPRISES
28.00 | GRANITE SLAB : Supply & Fixingof Granite tiles of any type for kitchen slab, 20 mm thick machine cut, bedded and jointed with grey cement slurry and pointed with white cement with admixure of pigment to match the shade of granite stone including grinding and polishing types and provision of holes for Cooking Gas pipe line complete all as specified and directed. | 60.00 | Sqm |  | 2397.00 |  | 3200.00 | 192000.00 | 3572.00 | 214320.00 | 4500.00 | 270000.00 | 3500.00 | 210000.00 | 192000.00 | P LAVAKUSHA REDDY CONTRACTORS
29.00 | FLOOR TILING :Supply & fixing Coloured non skid ceramic tiles in flooring, 7 to 8 mm thick area of each tile exceeding 0.06 Sqm but not exceeding 0.11 Sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match all as specified and directed. Make: Johnson/ Kajarai/ Orient Bell | 540.00 | Sqm |  | 1149.00 |  | 850.00 | 459000.00 | 1710.00 | 923400.00 | 1100.00 | 594000.00 | 1720.00 | 928800.00 | 459000.00 | P LAVAKUSHA REDDY CONTRACTORS
30.00 | SCREED BED: Screed bed or bedding layer of mortor 20 mm thick for laying floor tiles in CM 1:6 including roughening of existing floorsurface complete all as specified. | 540.00 | Sqm |  | 71.00 |  | 220.00 | 118800.00 | 381.00 | 205740.00 | 150.00 | 81000.00 | 370.00 | 199800.00 | 81000.00 | SRI SAI ENTERPRISES
31.00 | WALL TILES : Supply & fixing of Coloured glazed ceramic tiles in vertical surface 350x250x7 mm/ 450x350x7 mm thick set and jointed in neat cement slurry and pointed in white or coloured cement to match all as specified and directed. Make: Johnson/ Kajarai/ Orient Bell. | 1000.00 | Sqm |  | 1047.00 |  | 900.00 | 900000.00 | 1992.00 | 1992000.00 | 1200.00 | 1200000.00 | 1950.00 | 1950000.00 | 900000.00 | P LAVAKUSHA REDDY CONTRACTORS
32.00 | GROOVES: Fair cutting of grooves not exceeding 10 cm width or girth on exposed surfaces of brickwork or concrete surface for laying water supply lines or electrical lenes of concealed nature complete all as specified. | 600.00 | RM |  | 85.00 |  | 100.00 | 60000.00 | 126.00 | 75600.00 | 70.00 | 42000.00 | 240.00 | 144000.00 | 42000.00 | SRI SAI ENTERPRISES
33.00 | PVC PIPE : Supply and Fixing of 75 mm dia PVC (SWR) pipes single socketed, in any length with rubber ring joints laid or fixed to walls including necessary jointin with connected accessories like "T", "Y" junctions, sockets, bends etc. complete all as directed. Make: Sudhakar/ Nandi/ Supreme. | 183.10 | Rm |  | 220.00 |  | 150.00 | 27465.00 | 245.00 | 44859.50 | 300.00 | 54930.00 | 250.00 | 45775.00 | 27465.00 | P LAVAKUSHA REDDY CONTRACTORS
34.00 | PVC PIPE : Supply and Fixing of 110 mm dia PVC (SWR) pipes single socketed, in any length with rubber ring joints fixed to walls including necessary jointin with connected accessories like "T", "Y" junctions, sockets, bends etc. complete all as directed. Make: Sudhakar/ Nandi/ Supreme. | 180.00 | Rm |  | 250.00 |  | 170.00 | 30600.00 | 289.00 | 52020.00 | 300.00 | 54000.00 | 300.00 | 54000.00 | 30600.00 | P LAVAKUSHA REDDY CONTRACTORS
35.00 | CC BEDDING (M&L) : Providig Cement concrete bedding for Drain Pipes of internal dia 100 mm with PCC 1:4:8, type D2 including forming cradles etc. Thickness of PCC bed is 100 mm and width 400 mm complete all as specified. | 450.00 | RM |  | 300.00 |  | 250.00 | 112500.00 | 386.00 | 173700.00 | 180.00 | 81000.00 | 390.00 | 175500.00 | 81000.00 | SRI SAI ENTERPRISES
36.00 | SWG PIPE : Supply & fixing of 100 mm dia Salt Glazed Stoneware drain pipes Grade 'A', including laying in proper slopes, including jointing with cement and jute complete all as specified and directed. | 450.00 | Rm |  | 200.00 |  | 125.00 | 56250.00 | 188.00 | 84600.00 | 290.00 | 130500.00 | 185.00 | 83250.00 | 56250.00 | P LAVAKUSHA REDDY CONTRACTORS
37.00 | S & F of G.I. Tubes of Size 40 mm dia, medium grade including all fittings to walls and ceilings or in floors/trenches. | 75.00 | RM |  | 360.00 |  | 400.00 | 30000.00 | 610.00 | 45750.00 | 300.00 | 22500.00 | 600.00 | 45000.00 | 22500.00 | SRI SAI ENTERPRISES
38.00 | S & F of G.I. Tubes of Size 25 mm dia, medium grade including all fittings to walls and ceilings or in floors/trenches. | 250.00 | RM |  | 169.00 |  | 175.00 | 43750.00 | 291.00 | 72750.00 | 250.00 | 62500.00 | 290.00 | 72500.00 | 43750.00 | P LAVAKUSHA REDDY CONTRACTORS
39.00 | S & F of G.I. Tubes of Size 1/2‘’(15 mm), medium grade including all fittings to walls and ceilings or in floors/trenches. | 250.00 | RM |  | 120.00 |  | 125.00 | 31250.00 | 210.00 | 52500.00 | 250.00 | 62500.00 | 250.00 | 62500.00 | 31250.00 | P LAVAKUSHA REDDY CONTRACTORS
40.00 | Supply & Fixing Rotational moulded polyethylene water storage tanks (PVC cylindrical vertical with closed top) hoisted and fixed in position 1000 lit capacity. make : Syntex/Suprem/Nandi | 24.00 | Each |  | 9500.00 |  | 8500.00 | 204000.00 | 12200.00 | 292800.00 | 10000.00 | 240000.00 | 12000.00 | 288000.00 | 204000.00 | P LAVAKUSHA REDDY CONTRACTORS
41.00 | BALL VALVES : 25 mm Ball brass valves, high pressure, with polythene float and flynut complete, screwed for iron pipe or brass ferrule and fixed. Complete all as specified and directed. | 36.00 | Each |  | 480.00 |  | 500.00 | 18000.00 | 725.00 | 26100.00 | 1000.00 | 36000.00 | 720.00 | 25920.00 | 18000.00 | P LAVAKUSHA REDDY CONTRACTORS
42.00 | FLOAT VALVES : 25 mm Ball valves high pressure of PTMT with epoxy coated Aluminium rod & highdensity plastic ball screwed for iron pipe and fixed. (Minimum weight 15mm-142gms/ 20mm-210gms./ 25mm-455gms/ 40mm - 690 gms. Complete all as specified and directed. | 24.00 | Each |  | 600.00 |  | 700.00 | 16800.00 | 1092.00 | 26208.00 | 1000.00 | 24000.00 | 1050.00 | 25200.00 | 16800.00 | P LAVAKUSHA REDDY CONTRACTORS
43.00 | NAHANI TRAPS : Supply & Fixing of CI Nahani traps 100mm with grating including jointing to went pipe with CC 1:2:4 complete all as specified and directed at site. | 60.00 | Each |  | 300.00 |  | 370.00 | 22200.00 | 572.00 | 34320.00 | 500.00 | 30000.00 | 550.00 | 33000.00 | 22200.00 | P LAVAKUSHA REDDY CONTRACTORS
44.00 | GULLY TRAP : M&L for PVC/SWR gully traps, of size 125 mm x 110 mm all as directed and specified. | 30.00 | Each |  | 250.00 |  | 250.00 | 7500.00 | 394.00 | 11820.00 | 500.00 | 15000.00 | 390.00 | 11700.00 | 7500.00 | P LAVAKUSHA REDDY CONTRACTORS
45.00 | GRATING : Supply and fixing of grating doom 100 mm dia. Of PTMT (min. weight 25 gms) | 90.00 | Each |  | 60.00 |  | 50.00 | 4500.00 | 77.00 | 6930.00 | 500.00 | 45000.00 | 640.00 | 57600.00 | 4500.00 | P LAVAKUSHA REDDY CONTRACTORS
46.00 | PVC door frame : S & F of solid PVC Door Frame of size 50mm x47mm made out of 5mm plain colour PVC sheet reinforced with M.S. Square tube, suppling & fixing. | 240.00 | Rm |  | 500.00 |  | 470.00 | 112800.00 | 674.00 | 161760.00 | 1200.00 | 288000.00 | 7500.00 | 1800000.00 | 112800.00 | P LAVAKUSHA REDDY CONTRACTORS
47.00 | PVC door shutter : S & F of Factory Made Solid PVC Moulded Door Shutter with wood free EPS, 28 to 30mm thick (stiles), with 2, 4, or 6 raised panel design with 2mm thick Moulded PVC Sheet on the front face & 2mm plain colour PVC sheet on back face, supplying & fixing in frame at site as per specification & drawing. | 90.00 | Sqm |  | 4900.00 |  | 5000.00 | 450000.00 | 7515.00 | 676350.00 | 4000.00 | 360000.00 | 375.00 | 33750.00 | 33750.00 | SATYA SAI PROJECTS
48.00 | ALDROP : Supply and fixing of Aluminium alloy, anodised, sliding door bolt 200 mm long with hasp, staple (bolt type) and fixing clips of sheet, cast or extruded sections and fixing bolts and sliding bolts of extruded sections or cast aluminium alloy and fixed. All as specified and directed | 60.00 | Each |  | 200.00 |  | 250.00 | 15000.00 | 383.00 | 22980.00 | 400.00 | 24000.00 | 390.00 | 23400.00 | 15000.00 | P LAVAKUSHA REDDY CONTRACTORS
49.00 | HINGES : Supply and fixing of extruded Al. alloy with GI Mild Steel Hinge Pine anodised Butt Hinges and fixed type B-21 of size 125mm including all as specified and directed . | 180.00 | Each |  | 230.00 |  | 225.00 | 40500.00 | 399.00 | 71820.00 | 400.00 | 72000.00 | 400.00 | 72000.00 | 40500.00 | P LAVAKUSHA REDDY CONTRACTORS
50.00 | TOWER BOLT : Supply and fixing of Aluminium anodised, barrel tower bolts of extruded section of size 125 mm and fixed all as directed. | 60.00 | Each |  | 70.00 |  | 75.00 | 4500.00 | 102.00 | 6120.00 | 400.00 | 24000.00 | 100.00 | 6000.00 | 4500.00 | P LAVAKUSHA REDDY CONTRACTORS
51.00 | BOW HANDLE: Supply & fixing of Extruded aluminium alloy handles 150 mm long, fabricated type, anodised. Complete all as specified and directed | 120.00 | Each |  | 80.00 |  | 100.00 | 12000.00 | 130.00 | 15600.00 | 500.00 | 60000.00 | 125.00 | 15000.00 | 12000.00 | P LAVAKUSHA REDDY CONTRACTORS
52.00 | Supply and fixing factory made UPVC white colour fixed glazed window/ventilator made of (small series) frame 47 x 50 mm mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension . Complete alla s specified and directed. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, | 50.00 | Sqm |  | 6000.00 |  | 4000.00 | 200000.00 | 9531.00 | 476550.00 | 6000.00 | 300000.00 | 9500.00 | 475000.00 | 200000.00 | P LAVAKUSHA REDDY CONTRACTORS
53.00 | Supply and fixing of Sheet glass, ordinary quality 4.0 mm thick and glazing with oil putty in square n exc 0.5 sq. m in each pane. Complete all as specified and directed by EIC. | 50.00 | Sqm |  | 675.00 |  | 600.00 | 30000.00 | 1014.00 | 50700.00 | 1200.00 | 60000.00 | 1000.00 | 50000.00 | 30000.00 | P LAVAKUSHA REDDY CONTRACTORS
54.00 | Structural steel work : Supply and erection of framed work as in doors or gates of angle or other section with gusset pla tes, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete. steel conforming to Fe.410 W .Gde-E-250 quality B. including application of of one coat of zinc chromate primer paint. | 250.00 | Kg |  | 140.00 |  | 115.00 | 28750.00 | 177.00 | 44250.00 | 145.00 | 36250.00 | 150.00 | 37500.00 | 28750.00 | P LAVAKUSHA REDDY CONTRACTORS
55.00 | Snap grid : Supply and fixing Anodised aluminium snap grid frame work for false ceiling, grid size. 605x605 all as specified. | 540.00 | Sqm |  | 510.00 |  | 450.00 | 243000.00 | 727.00 | 392580.00 | 300.00 | 162000.00 | 725.00 | 391500.00 | 162000.00 | SRI SAI ENTERPRISES
56.00 | Supply and fixing of Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long complete all as specified. | 540.00 | Sqm |  | 100.00 |  | 100.00 | 54000.00 | 148.00 | 79920.00 | 300.00 | 162000.00 | 150.00 | 81000.00 | 54000.00 | P LAVAKUSHA REDDY CONTRACTORS
57.00 | Ceiling board : (M&L) Providing and fixing Gypsum Board 12mm thick in ceiling fixed with screw as per manufacturers instructions . | 540.00 | Sqm |  | 550.00 |  | 400.00 | 216000.00 | 660.00 | 356400.00 | 400.00 | 216000.00 | 650.00 | 351000.00 | 216000.00 | P LAVAKUSHA REDDY CONTRACTORS, SRI SAI ENTERPRISES
58.00 | INTERIOR EMULSION: (M&L) Applying Two coats of Interior emulsion on fair faces preparations of new surfaces of walls & ceilings, incliding One Coat of Primer plastered surfaces Make: Asian/ Berger / Nerolac | 1500.00 | Sqm |  | 100.00 |  | 120.00 | 180000.00 | 212.00 | 318000.00 | 100.00 | 150000.00 | 205.00 | 307500.00 | 150000.00 | SRI SAI ENTERPRISES
59.00 | ENAMEL PAINTING : Rendering synthetic enamel painting on Steel surfaces over one coat of zinc chrome red oxide - surfaces of any description over 10 cm width or girth including preparation - TWO coats Make: Asian / Burger / Nerolac | 300.00 | SQM |  | 90.00 |  | 90.00 | 27000.00 | 209.00 | 62700.00 | 110.00 | 33000.00 | 200.00 | 60000.00 | 27000.00 | P LAVAKUSHA REDDY CONTRACTORS
60.00 | External weather proof painting on walls : Material & Labour for applying Two or more coats of 100% Premium acrylic weather proof emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives @ 1.43 litre/ 10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/ 10 sqm over surfaces. all as specified and directed, Brand : Asian apex, Berger weather shield, Nerolac Rain coat. | 1200.00 | Sqm |  | 145.00 |  | 120.00 | 144000.00 | 207.00 | 248400.00 | 120.00 | 144000.00 | 210.00 | 252000.00 | 144000.00 | P LAVAKUSHA REDDY CONTRACTORS, SRI SAI ENTERPRISES
61.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/polycab in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 180.00 | Per point |  | 1020.00 |  | 950.00 | 171000.00 | 1477.00 | 265860.00 | 800.00 | 144000.00 | 1460.00 | 262800.00 | 144000.00 | SRI SAI ENTERPRISES
62.00 | point wiring: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps independent on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable concealed conduit wiring Make Finolex/Havells/ polycab as specified by EIC. | 12.00 | Per point |  | 700.00 |  | 300.00 | 3600.00 | 420.00 | 5040.00 | 1000.00 | 12000.00 | 425.00 | 5100.00 | 3600.00 | P LAVAKUSHA REDDY CONTRACTORS
63.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/polycab in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs, clamps, junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 12.00 | Per point |  | 1250.00 |  | 1050.00 | 12600.00 | 1590.00 | 19080.00 | 1000.00 | 12000.00 | 1500.00 | 18000.00 | 12000.00 | SRI SAI ENTERPRISES
64.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/ polycab/ L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 12.00 | Per point |  | 1250.00 |  | 1900.00 | 22800.00 | 2874.00 | 34488.00 | 1000.00 | 12000.00 | 2800.00 | 33600.00 | 12000.00 | SRI SAI ENTERPRISES
65.00 | ceiling rose :Supply and fixing of ceiling rose, PVC/Polycorbonate,3 phase terminal Make Anchor / Havells/Maru of ISI quality. | 180.00 | Each |  | 80.00 |  | 60.00 | 10800.00 | 97.00 | 17460.00 | 300.00 | 54000.00 | 95.00 | 17100.00 | 10800.00 | P LAVAKUSHA REDDY CONTRACTORS
66.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 Amp Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 30.00 | Each |  | 250.00 |  | 325.00 | 9750.00 | 535.00 | 16050.00 | 500.00 | 15000.00 | 520.00 | 15600.00 | 9750.00 | P LAVAKUSHA REDDY CONTRACTORS
67.00 | MCB :Supply and fixing of MCB, 415 V, TPN 63 Amp. Make legrand/ Schneider /Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 6.00 | Each |  | 2500.00 |  | 1200.00 | 7200.00 | 1932.00 | 11592.00 | 500.00 | 3000.00 | 1900.00 | 11400.00 | 3000.00 | SRI SAI ENTERPRISES
68.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of TPN, 6 way, 415 V, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/Schneider/Indoasian/ Havells complete all as specified by EIC. | 6.00 | Each |  | 3186.00 |  | 1900.00 | 11400.00 | 4740.00 | 28440.00 | 3000.00 | 18000.00 | 4500.00 | 27000.00 | 11400.00 | P LAVAKUSHA REDDY CONTRACTORS
69.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 4x6.0 Sq.mm + 1x6 sq.mm earth wire in PVC concelead Conduit wiring .Make: Finolex/Havells /polycab complete all as specified by the EIC | 600.00 | RM |  | 750.00 |  | 500.00 | 300000.00 | 584.00 | 350400.00 | 550.00 | 330000.00 | 590.00 | 354000.00 | 300000.00 | P LAVAKUSHA REDDY CONTRACTORS
70.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 210.00 | Each |  | 100.00 |  | 250.00 | 52500.00 | 387.00 | 81270.00 | 300.00 | 63000.00 | 380.00 | 79800.00 | 52500.00 | P LAVAKUSHA REDDY CONTRACTORS
71.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 2/3 pin 6 amps combined 2 modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 12.00 | Each |  | 250.00 |  | 320.00 | 3840.00 | 507.00 | 6084.00 | 300.00 | 3600.00 | 500.00 | 6000.00 | 3600.00 | SRI SAI ENTERPRISES
72.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 16 amps make Legrand/ Schneider/Havells of ISI quality complete all as specifies by the EIC | 12.00 | Each |  | 300.00 |  | 325.00 | 3900.00 | 510.00 | 6120.00 | 380.00 | 4560.00 | 500.00 | 6000.00 | 3900.00 | P LAVAKUSHA REDDY CONTRACTORS
73.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of make Legrand/ Schneider /Havells complete all as specified by the EIC | 36.00 | Each |  | 200.00 |  | 300.00 | 10800.00 | 366.00 | 13176.00 | 380.00 | 13680.00 | 360.00 | 12960.00 | 10800.00 | P LAVAKUSHA REDDY CONTRACTORS
74.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 36.00 | Each |  | 150.00 |  | 225.00 | 8100.00 | 316.00 | 11376.00 | 300.00 | 10800.00 | 300.00 | 10800.00 | 8100.00 | P LAVAKUSHA REDDY CONTRACTORS
75.00 | LED LUMINAIRE :Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete.Make: Philips/CG/Wipro/ Osram/ Havells/ Orient/Halonix | 90.00 | Each |  | 3290.00 |  | 3500.00 | 315000.00 | 6359.00 | 572310.00 | 3000.00 | 270000.00 | 6000.00 | 540000.00 | 270000.00 | SRI SAI ENTERPRISES
76.00 | EARTHING : Earthing complete with galvanised steel earth plate electrode 60×60cm.× 6mm thick, buried directly in ground (earth pit not less than 2.25 metres deep below ground level) with top edge of the plate not less'than 1.5 metres below normal ground level, connected to galvanised earth lead GI strip 25x4 mm by means of bolts, nuts, check nuts and washers of galvanised iron or steel all as shown in electrical plate No. 3 connected to earthing test point all as specified or indicated including testing on completion. | 12.00 | Each |  | 8200.00 |  | 7100.00 | 85200.00 | 10670.00 | 128040.00 | 10000.00 | 120000.00 | 12000.00 | 144000.00 | 85200.00 | P LAVAKUSHA REDDY CONTRACTORS
77.00 | Earth continuity conductor : Earth continuity conductor or main earthing lead fixed to wall on batten or recess or chases or buried in ground or drawn in conduit/pipe or fixed to poles or any other indicated situation for loop earthing etc. as required 25x4 mm GI strip . | 120.00 | RM |  | 170.00 |  | 175.00 | 21000.00 | 267.00 | 32040.00 | 250.00 | 30000.00 | 260.00 | 31200.00 | 21000.00 | P LAVAKUSHA REDDY CONTRACTORS
78.00 | LED Street Light :Supply and fixing LED street light fitting 35 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete.Make: Philips/CG/Wipro/ Osram/ Havells/ Orient/Halonix. | 30.00 | Each |  | 3000.00 |  | 3600.00 | 108000.00 | 4416.00 | 132480.00 | 3100.00 | 93000.00 | 4300.00 | 129000.00 | 93000.00 | SRI SAI ENTERPRISES
79.00 | Exhaust Fan: Supply and Fix Exhaust Fan made of sturdy Engineering plastic complete with Lauvers, Shutteers, voltage 230 V,50 HZ, RPM 1200, Copper winding of sweep 250mm. | 60.00 | Each |  | 2190.00 |  | 1750.00 | 105000.00 | 2391.00 | 143460.00 | 2800.00 | 168000.00 | 2400.00 | 144000.00 | 105000.00 | P LAVAKUSHA REDDY CONTRACTORS
80.00 | Switch board box with frame plate and cover plate , metal flush box18 module : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 18 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC. | 24.00 | Each |  | 1000.00 |  | 700.00 | 16800.00 | 967.00 | 23208.00 | 800.00 | 19200.00 | 900.00 | 21600.00 | 16800.00 | P LAVAKUSHA REDDY CONTRACTORS
81.00 | Street light fitting angular bracket pipe: : Street light fitting fixing pipe complete with 1.5 m long G.I. pipe 40 mm dia for security light complete all as specified by the EIC. | 30.00 | Each |  | 350.00 |  | 100.00 | 3000.00 | 177.00 | 5310.00 | 800.00 | 24000.00 | 175.00 | 5250.00 | 3000.00 | P LAVAKUSHA REDDY CONTRACTORS
82.00 | EWC : EWC floor standing with S trap and soft closing seat cover Make: Jaquar(Continental)/ Parryware(Prime)/ Cera(Clair). Complete all as specified and directed. | 12.00 | Each |  | 4500.00 |  | 5000.00 | 60000.00 | 5950.00 | 71400.00 | 5000.00 | 60000.00 | 5800.00 | 69600.00 | 60000.00 | P LAVAKUSHA REDDY CONTRACTORS, SRI SAI ENTERPRISES
83.00 | IWC : IWC of approved make fixed with P trap Make: Hindware/ Parryware(Prime)/ Cera(Clair). Complete all as specified and directed. | 18.00 | Each |  | 2000.00 |  | 2500.00 | 45000.00 | 2970.00 | 53460.00 | 5000.00 | 90000.00 | 2900.00 | 52200.00 | 45000.00 | P LAVAKUSHA REDDY CONTRACTORS
84.00 | URINAL : Sensor Urinal pan of approved make with auto flushing system including connection pipe, waste coupling and waste pipe Make: Jaquar(Aquisense)/ Parryware(Prime)/ Cera(Clair). Complete all as specified and directed. | 60.00 | Each |  | 7000.00 |  | 14000.00 | 840000.00 | 7590.00 | 455400.00 | 6000.00 | 360000.00 | 7400.00 | 444000.00 | 360000.00 | SRI SAI ENTERPRISES
85.00 | WASH BASIN : Under counter Wash basin of approved make along with waste coupling, waste pipe and connection pipe, brackets etc. Make: Jaquar(Continental)/ Cera(Clair)/ Parryware(Prime). Complete all as specified and directed. | 42.00 | Each |  | 3750.00 |  | 5000.00 | 210000.00 | 3570.00 | 149940.00 | 6000.00 | 252000.00 | 3100.00 | 130200.00 | 130200.00 | SATYA SAI PROJECTS
86.00 | PILLAR COCK : Pillar cock with auto closing system, for 15mm dia pipe of make: Jaquar(Solo)/ Parryware(Uno)/ Cera(Fountain) . Complete all as specified and directed. | 42.00 | Each |  | 3300.00 |  | 2500.00 | 105000.00 | 3100.00 | 130200.00 | 1300.00 | 54600.00 | 3000.00 | 126000.00 | 54600.00 | SRI SAI ENTERPRISES
87.00 | CONCEALED FLUSHING SYSTEM : Wall mounted concealed flushing system (including frame, control plate and installation kit) with dual flush mode of capacity 10 ltrs. Make: Jaquar(Solo)/ Parryware(Prime)/ Cera(Fountain). Complete all as specified and directed. | 25.00 | Each |  | 12000.00 |  | 10000.00 | 250000.00 | 11170.00 | 279250.00 | 1500.00 | 37500.00 | 10000.00 | 250000.00 | 37500.00 | SRI SAI ENTERPRISES
88.00 | 2 WAY ANGLE COCK : CP 2 way angle cock, for 15mm dia pipe, of make Parryware(Uno)/ Cera(Fountain)/ Jaquar(Solo) . Complete all as specified and directed. | 30.00 | Each |  | 1800.00 |  | 2500.00 | 75000.00 | 2680.00 | 80400.00 | 1500.00 | 45000.00 | 2600.00 | 78000.00 | 45000.00 | SRI SAI ENTERPRISES
89.00 | EWC JET FAUCET : EWC jet faucet for 15mm dia pipe of make: Jaquar(Solo)/ Parryware(Uno)/ Cera(Fountain) . Complete all as specified and directed. | 12.00 | Each |  | 1000.00 |  | 2400.00 | 28800.00 | 1782.00 | 21384.00 | 1500.00 | 18000.00 | 1700.00 | 20400.00 | 18000.00 | SRI SAI ENTERPRISES
90.00 | BIB COCK : CP Bib cock, for 15mm dia pipe of make: Jaquar(Solo)/ Parrywaare(Uno)/ Cera(Fountain) . Complete all as specified and directed. | 55.00 | Each |  | 1800.00 |  | 1600.00 | 88000.00 | 2009.00 | 110495.00 | 1500.00 | 82500.00 | 2000.00 | 110000.00 | 82500.00 | SRI SAI ENTERPRISES
91.00 | MIRROR : Mirror 5 mm thk. with bevelled edge fixed with concealed screws Make: Saint Gobain/ Nilkamal/ Casa Gold. Complete all as specified and directed. | 35.00 | Sqm |  | 2500.00 |  | 1200.00 | 42000.00 | 4164.00 | 145740.00 | 1500.00 | 52500.00 | 4000.00 | 140000.00 | 42000.00 | P LAVAKUSHA REDDY CONTRACTORS
92.00 | SOAP DISH : SS soap dish of make Jaquar(Solo)/ Parryware(Uno)/ Cera(Fountain). Complete all as specified and directed. | 60.00 | Each |  | 1000.00 |  | 1000.00 | 60000.00 | 520.00 | 31200.00 | 1500.00 | 90000.00 | 500.00 | 30000.00 | 30000.00 | SATYA SAI PROJECTS
93.00 | SHOWER : CP Overhead shower of size 100 mm dia of head Make: Parryware(Uno)/ Cera(Fountain) / Jaquar(Solo). Complete all as specified and directed. | 12.00 | Each |  | 1800.00 |  | 1600.00 | 19200.00 | 1410.00 | 16920.00 | 2000.00 | 24000.00 | 1400.00 | 16800.00 | 16800.00 | SATYA SAI PROJECTS
94.00 | CONCEALED STOP COCK : CP Concealed stop cock, for 15mm dia pipe, of make : Jaquar(Solo)/ Parryware(Uno)/ Cera(Fountain) . Complete all as specified and directed. | 25.00 | Each |  | 1200.00 |  | 2000.00 | 50000.00 | 2260.00 | 56500.00 | 2000.00 | 50000.00 | 2000.00 | 50000.00 | 50000.00 | P LAVAKUSHA REDDY CONTRACTORS, SATYA SAI PROJECTS, SRI SAI ENTERPRISES
| Total in Figures | [6 empty] | 16264355.00 |  | 24263666.50 |  | 18008120.00 |  | 24313355.00
Lowest Amount Quoted BY: P LAVAKUSHA REDDY CONTRACTORS(16264355.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Toilet blocks for Industrial employees in H and T, LMS, Foundry, SMS and TR buildings inside factory area at OFMK. Tender ID: 2026_AVNL_277095_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P LAVAKUSHA REDDY CONTRACTORS (BID ID -1024916) | 16264355.00 | L1
| 2 | SRI SAI ENTERPRISES (BID ID -1031077) | 18008120.00 | L2
| 3 | SATYANARAYANA RAJU VEGESNA (BID ID -1030830) | 24263666.50 | L3
| 4 | SATYA SAI PROJECTS (BID ID -1030745) | 24313355.00 | L4
| 5 | Kranth Enterprises (BID ID -1024493) |  | No Rank

## BoQDefects
Consolidated BoQ Defects Detail Tender Title: Construction of Toilet blocks for Industrial employees in H and T, LMS, Foundry, SMS and TR buildings inside factory area at OFMK. Tender ID: 2026_AVNL_277095_1
Sl.No | Bidder Name | BoQ Defects
1 | Kranth Enterprises | BoQ1-Error-Cell-BA13,BoQ1-Error-Cell-BB13,BoQ1-Error-Cell-BA14,BoQ1-Error-Cell-BB14,BoQ1-Error-Cell-BA15,BoQ1-Error-Cell-BB15,BoQ1-Error-Cell-BA16,BoQ1-Error-Cell-BB16,BoQ1-Error-Cell-BA17,BoQ1-Error-Cell-BB17,BoQ1-Error-Cell-BA18,BoQ1-Error-Cell-BB18,BoQ1-Error-Cell-BA19,BoQ1-Error-Cell-BB19,BoQ1-Error-Cell-BA20,BoQ1-Error-Cell-BB20,BoQ1-Error-Cell-BA21,BoQ1-Error-Cell-BB21,BoQ1-Error-Cell-BA22,BoQ1-Error-Cell-BB22,BoQ1-Error-Cell-BA23,BoQ1-Error-Cell-BB23,BoQ1-Error-Cell-BA24,BoQ1-Error-Cell-BB24,BoQ1-Error-Cell-BA25,BoQ1-Error-Cell-BB25,BoQ1-Error-Cell-BA26,BoQ1-Error-Cell-BB26,BoQ1-Error-Cell-BA27,BoQ1-Error-Cell-BB27,BoQ1-Error-Cell-BA28,BoQ1-Error-Cell-BB28,BoQ1-Error-Cell-BA29,BoQ1-Error-Cell-BB29,BoQ1-Error-Cell-BA30,BoQ1-Error-Cell-BB30,BoQ1-Error-Cell-BA31,BoQ1-Error-Cell-BB31,BoQ1-Error-Cell-BA32,BoQ1-Error-Cell-BB32,BoQ1-Error-Cell-BA33,BoQ1-Error-Cell-BB33,BoQ1-Error-Cell-BA34,BoQ1-Error-Cell-BB34,BoQ1-Error-Cell-BA35,BoQ1-Error-Cell-BB35,BoQ1-Error-Cell-BA36,BoQ1-Error-Cell-BB36,BoQ1-Error-Cell-BA37,BoQ1-Error-Cell-BB37,BoQ1-Error-Cell-BA38,BoQ1-Error-Cell-BB38,BoQ1-Error-Cell-BA39,BoQ1-Error-Cell-BB39,BoQ1-Error-Cell-BA40,BoQ1-Error-Cell-BB40,BoQ1-Error-Cell-BA41,BoQ1-Error-Cell-BB41,BoQ1-Error-Cell-BA42,BoQ1-Error-Cell-BB42,BoQ1-Error-Cell-BA43,BoQ1-Error-Cell-BB43,BoQ1-Error-Cell-BA44,BoQ1-Error-Cell-BB44,BoQ1-Error-Cell-BA45,BoQ1-Error-Cell-BB45,BoQ1-Error-Cell-BA46,BoQ1-Error-Cell-BB46,BoQ1-Error-Cell-BA47,BoQ1-Error-Cell-BB47,BoQ1-Error-Cell-BA48,BoQ1-Error-Cell-BB48,BoQ1-Error-Cell-BA49,BoQ1-Error-Cell-BB49,BoQ1-Error-Cell-BA50,BoQ1-Error-Cell-BB50,BoQ1-Error-Cell-BA51,BoQ1-Error-Cell-BB51,BoQ1-Error-Cell-BA52,BoQ1-Error-Cell-BB52,BoQ1-Error-Cell-BA53,BoQ1-Error-Cell-BB53,BoQ1-Error-Cell-BA54,BoQ1-Error-Cell-BB54,BoQ1-Error-Cell-BA55,BoQ1-Error-Cell-BB55,BoQ1-Error-Cell-BA56,BoQ1-Error-Cell-BB56,BoQ1-Error-Cell-BA57,BoQ1-Error-Cell-BB57,BoQ1-Error-Cell-BA58,BoQ1-Error-Cell-BB58,BoQ1-Error-Cell-BA59,BoQ1-Error-Cell-BB59,BoQ1-Error-Cell-BA60,BoQ1-Error-Cell-BB60,BoQ1-Error-Cell-BA61,BoQ1-Error-Cell-BB61,BoQ1-Error-Cell-BA62,BoQ1-Error-Cell-BB62,BoQ1-Error-Cell-BA63,BoQ1-Error-Cell-BB63,BoQ1-Error-Cell-BA64,BoQ1-Error-Cell-BB64,BoQ1-Error-Cell-BA65,BoQ1-Error-Cell-BB65,BoQ1-Error-Cell-BA66,BoQ1-Error-Cell-BB66,BoQ1-Error-Cell-BA67,BoQ1-Error-Cell-BB67,BoQ1-Error-Cell-BA68,BoQ1-Error-Cell-BB68,BoQ1-Error-Cell-BA69,BoQ1-Error-Cell-BB69,BoQ1-Error-Cell-BA70,BoQ1-Error-Cell-BB70,BoQ1-Error-Cell-BA71,BoQ1-Error-Cell-BB71,BoQ1-Error-Cell-BA72,BoQ1-Error-Cell-BB72,BoQ1-Error-Cell-BA73,BoQ1-Error-Cell-BB73,BoQ1-Error-Cell-BA74,BoQ1-Error-Cell-BB74,BoQ1-Error-Cell-BA75,BoQ1-Error-Cell-BB75,BoQ1-Error-Cell-BA76,BoQ1-Error-Cell-BB76,BoQ1-Error-Cell-BA77,BoQ1-Error-Cell-BB77,BoQ1-Error-Cell-BA78,BoQ1-Error-Cell-BB78,BoQ1-Error-Cell-BA79,BoQ1-Error-Cell-BB79,BoQ1-Error-Cell-BA80,BoQ1-Error-Cell-BB80,BoQ1-Error-Cell-BA81,BoQ1-Error-Cell-BB81,BoQ1-Error-Cell-BA82,BoQ1-Error-Cell-BB82,BoQ1-Error-Cell-BA83,BoQ1-Error-Cell-BB83,BoQ1-Error-Cell-BA84,BoQ1-Error-Cell-BB84,BoQ1-Error-Cell-BA85,BoQ1-Error-Cell-BB85,BoQ1-Error-Cell-BA86,BoQ1-Error-Cell-BB86,BoQ1-Error-Cell-BA87,BoQ1-Error-Cell-BB87,BoQ1-Error-Cell-BA88,BoQ1-Error-Cell-BB88,BoQ1-Error-Cell-BA89,BoQ1-Error-Cell-BB89,BoQ1-Error-Cell-BA90,BoQ1-Error-Cell-BB90,BoQ1-Error-Cell-BA91,BoQ1-Error-Cell-BB91,BoQ1-Error-Cell-BA92,BoQ1-Error-Cell-BB92,BoQ1-Error-Cell-BA93,BoQ1-Error-Cell-BB93,BoQ1-Error-Cell-BA94,BoQ1-Error-Cell-BB94,BoQ1-Error-Cell-BA95,BoQ1-Error-Cell-BB95,BoQ1-Error-Cell-BA96,BoQ1-Error-Cell-BB96,BoQ1-Error-Cell-BA97,BoQ1-Error-Cell-BB97,BoQ1-Error-Cell-BA98,BoQ1-Error-Cell-BB98,BoQ1-Error-Cell-BA99,BoQ1-Error-Cell-BB99,BoQ1-Error-Cell-BA100,BoQ1-Error-Cell-BB100,BoQ1-Error-Cell-BA101,BoQ1-Error-Cell-BB101,BoQ1-Error-Cell-BA102,BoQ1-Error-Cell-BB102,BoQ1-Error-Cell-BA103,BoQ1-Error-Cell-BB103,BoQ1-Error-Cell-BA104,BoQ1-Error-Cell-BB104,BoQ1-Error-Cell-BA105,BoQ1-Error-Cell-BB105,BoQ1-Error-Cell-BA106,BoQ1-Error-Cell-BB106