## BoQ1
Government eProcurement System Created By: SHALINI MEKALA Created Date/Time: 16-Jul-2026 11:41 AM Tender Title: Repairs/Renovation of Sarath Guest House at OFMK. Tender ID: 2026_AVNL_278785_1
Tender Inviting Authority: CHIEF GENERAL MANAGER ORDNANCE FACTORY MEDAK (A UNIT OF AVNL)
Name of Work: Repairs/Renovation of Sarath Guest House at OFMK.
Contract No: 73025/OFMK/TE - 08/OFMK/EO/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | yaralagadda ramesh (GSTN-37AEFPY3314J1Z7) BID ID -1036670 |  | Samrat Engineering Works (GSTN-NA) BID ID -1030543 |  | SATYANARAYANA RAJU VEGESNA (GSTN-NA) BID ID -1030960
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of Concrete : Demolition of cement concrete (unreinforced) in ground floors and pavings n exc 15 cm thickness (below or above ground level) | 5.00 | Cum |  | 710.00 |  | 1000.00 | 5000.00 | 1180.00 | 5900.00 | 5000.00 | Samrat Engineering Works
2.00 | Demolition of tiles: Demolition of Stone slabs and tiles of any description or thickness in floors, aprons etc laid, bedded and pointed in any mortar. | 18.00 | 10 sqm |  | 990.00 |  | 70.00 | 1260.00 | 500.00 | 9000.00 | 1260.00 | Samrat Engineering Works
3.00 | Dismantling steel : Dismantling structural steel work including doors, gates but excluding framed truss etc. | 2.00 | Qtl |  | 5000.00 |  | 500.00 | 1000.00 | 510.00 | 1020.00 | 1000.00 | Samrat Engineering Works
4.00 | Surface Excavation : Surface excavation in soft/loose soil n.exc (not exceeding) 30 cm deep and averaging 15cm deep and getting out | 140.00 | Sqm |  | 60.00 |  | 15.00 | 2100.00 | 30.00 | 4200.00 | 2100.00 | Samrat Engineering Works
5.00 | Removal : Removing excavated material(soils) exc. 250m but n.exc 500m and depositing where directed. | 10.00 | Cum |  | 375.00 |  | 100.00 | 1000.00 | 500.00 | 5000.00 | 1000.00 | Samrat Engineering Works
6.00 | Granite : Granite 25mm thick (of any type) work (table rubbed and polished) in steps, jambs, pillars, window- cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite | 3.00 | Sqm |  | 5500.00 |  | 3500.00 | 10500.00 | 4000.00 | 12000.00 | 10500.00 | Samrat Engineering Works
7.00 | PCC : (M&L) - Plain Cement concrete (1:4:8), type D2 with 40 mm graded aggregate, in foundation, filling and mass concrete complete all as specified. | 10.00 | Cum |  | 5000.00 |  | 5000.00 | 50000.00 | 5000.00 | 50000.00 | 50000.00 | Samrat Engineering Works, SATYANARAYANA RAJU VEGESNA
8.00 | Wall Tiles : Glazed coloured ceramic tiles in vertical surface min 350x 250x 7 mm/ 450X 350X 7mm thick set and jointed in neat cement slurry and pointed in white or colour cement to match Make: Johnson/ Kajaria/ Somany/ Orient Bell | 250.00 | Sqm |  | 1100.00 |  | 1100.00 | 275000.00 | 1100.00 | 275000.00 | 275000.00 | Samrat Engineering Works, SATYANARAYANA RAJU VEGESNA
9.00 | Non Skid Tiles : Non - skid coloured Ceramic tiles 7 to 8 mm thick (square/ rectangular) area of each tile exceeding 0.06 sqm but not exceeding 0.11 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match Make: Johnson/ Kajaria/ Somany/ Orient Bell | 60.00 | sqm |  | 1300.00 |  | 1100.00 | 66000.00 | 900.00 | 54000.00 | 54000.00 | SATYANARAYANA RAJU VEGESNA
10.00 | Industrial Tiles : S&F of Non skid industrial tiles 10-12 mm thick over screed bed, set, jointed and pointed in epoxy grout. Make: Johnson/ Kajaria/ Somany/ Orient Bell | 60.00 | sqm |  | 1200.00 |  | 1250.00 | 75000.00 | 1300.00 | 78000.00 | 75000.00 | Samrat Engineering Works
11.00 | Screed Bed : Screed bed with cement based polymer modified thin set tile fixing adhesive, min thickness of adhesive 3mm complete all as directed by EIC. Make: MYK Laticrete/ Roff/ Ultratech/ Birla/ Sika/ Fosroc | 180.00 | Sqm |  | 290.00 |  | 100.00 | 18000.00 | 150.00 | 27000.00 | 18000.00 | Samrat Engineering Works
12.00 | Vitrified Tiles : Double charged Virified Ceramic tiles light shade 10 mm thick (square/ rectangular) polished, area of each tiles exceeding 0.42 sqm but not exceeding 1.00 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match Make: Johnson/ Kajaria/ Somany/ Orient Bell/ RAK | 60.00 | Sqm |  | 1000.00 |  | 1300.00 | 78000.00 | 1500.00 | 90000.00 | 78000.00 | Samrat Engineering Works
13.00 | RCC : Reinforced Cement Concrete , Design Mix of grade M20 by using 20mm graded aggregate .complete all as specified and directed | 3.00 | Cum |  | 6000.00 |  | 7000.00 | 21000.00 | 5500.00 | 16500.00 | 16500.00 | SATYANARAYANA RAJU VEGESNA
14.00 | Reinforcement : Mild steel(TMT) bars 6-8 mm dia, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9 mm dia or securing with clips . | 150.00 | Kg |  | 90.00 |  | 85.00 | 12750.00 | 80.00 | 12000.00 | 12000.00 | SATYANARAYANA RAJU VEGESNA
15.00 | Enamel Paint : Enamel paint to steel surfaces of any description, not otherwise descri-bed, over 10cm width or girth with synthetic enamel ordinary tint 1 coats | 50.00 | Sqm |  | 170.00 |  | 100.00 | 5000.00 | 35.00 | 1750.00 | 1750.00 | SATYANARAYANA RAJU VEGESNA
16.00 | OBD on walls : M&L :Distempering walls with distemper oil emulsion(2 coats) all as specified. Brand: Asian Paints Tractor Uno/ Nerolac Beauty/ Berger Bison | 500.00 | m2 |  | 58.00 |  | 70.00 | 35000.00 | 45.00 | 22500.00 | 22500.00 | SATYANARAYANA RAJU VEGESNA
17.00 | Brickwork : Brickwork with subclass ‘B’ bricks, straight or curved on plan to any radius built in cement mortar 1:6 | 2.00 | Cum |  | 7000.00 |  | 6800.00 | 13600.00 | 6000.00 | 12000.00 | 12000.00 | SATYANARAYANA RAJU VEGESNA
18.00 | Plastering : Rendering 10 mm thick cement plaster 1:6 on fair faces of brickwork or concrete surfaces. | 400.00 | Sqm |  | 180.00 |  | 320.00 | 128000.00 | 200.00 | 80000.00 | 80000.00 | SATYANARAYANA RAJU VEGESNA
19.00 | 75mm PVC Pipe : PVC (SWR) pipes 75 mm single socketed, in any length with rubber ring joints, laid in trenches or in floors | 60.00 | rm |  | 230.00 |  | 150.00 | 9000.00 | 175.00 | 10500.00 | 9000.00 | Samrat Engineering Works
20.00 | Floor Trap : PVC (SWR) floor trap 75 mm, plain with grating including jointing with solvent cement | 25.00 | Each |  | 280.00 |  | 200.00 | 5000.00 | 200.00 | 5000.00 | 5000.00 | Samrat Engineering Works, SATYANARAYANA RAJU VEGESNA
21.00 | Shower Panel : S&F Shower panel Stainless Steel Grade SS 304, with integral mixer and min 4 faucets (overhead shower, hand shower, body shower, faucet). Make: Jaquar/ Parryware/ Hindware/ Cera | 5.00 | Each |  | 20000.00 |  | 38000.00 | 190000.00 | 21000.00 | 105000.00 | 105000.00 | SATYANARAYANA RAJU VEGESNA
22.00 | Wall Mixer : S&F of CP wall mixer 3 in 1 with L bend for overhead shower. Make: Parryware/Hindware/ Cera/ EssEss | 5.00 | Each |  | 6000.00 |  | 5500.00 | 27500.00 | 5000.00 | 25000.00 | 25000.00 | SATYANARAYANA RAJU VEGESNA
23.00 | Shower : S&F of 150mm Rain Shower with SS/CP shower arm of length 300 mm. Make: Parryware/ Hindware/ Cera/EssEss | 5.00 | Each |  | 3500.00 |  | 2500.00 | 12500.00 | 1700.00 | 8500.00 | 8500.00 | SATYANARAYANA RAJU VEGESNA
24.00 | Vanity Cabinet : S&F Bathroom vanity cabinet set 18" size with wash basin, waste fittings and necessary fixing accessories Min Sizes - Cabinet: 470x365x590 mm, Mirror: 480x600 mm, Basin: 475x365x120mm, Body Material: 11mm HDHMR PRELAM, Shutter Material : 16mm HDHMR PRELAM . Make: Parryware/ Jindal/ Cera/EssEss | 10.00 | Each |  | 10000.00 |  | 13800.00 | 138000.00 | 17000.00 | 170000.00 | 138000.00 | Samrat Engineering Works
25.00 | EWC : S&F EWC single piece model with flushing cistern. Make: Jaquar/ Parryware/ Hindware/ Cera/ EssEss | 10.00 | Each |  | 7900.00 |  | 12000.00 | 120000.00 | 12000.00 | 120000.00 | 120000.00 | Samrat Engineering Works, SATYANARAYANA RAJU VEGESNA
26.00 | 110mm PVC Pipe : S&F PVC (SWR) pipes 110 mm dia single socketed in any length with rubber ring joints fixed to walls | 30.00 | Rm |  | 270.00 |  | 200.00 | 6000.00 | 410.00 | 12300.00 | 6000.00 | Samrat Engineering Works
27.00 | 110mm PVC Bend : S&F PVC (SWR) bends of 110 mm bore | 10.00 | Each |  | 300.00 |  | 250.00 | 2500.00 | 100.00 | 1000.00 | 1000.00 | SATYANARAYANA RAJU VEGESNA
28.00 | 110mm PVC T : S&F PVC (SWR) junction single, (Single T) equal or unequal 110 mm bore | 10.00 | Each |  | 300.00 |  | 230.00 | 2300.00 | 450.00 | 4500.00 | 2300.00 | Samrat Engineering Works
29.00 | 25 mm GI Pipe : Tubes, 'medium grade' galvanised, 25 mm with all fitting and fixed complete to walls and ceilings or laid on floors Make: Tata/ Jindal/ Apollo | 30.00 | RM |  | 180.00 |  | 350.00 | 10500.00 | 180.00 | 5400.00 | 5400.00 | SATYANARAYANA RAJU VEGESNA
30.00 | 15 mm GI Pipe : Tubes, 'medium grade' galvanised, 15 mm with all fitting and fixed complete to walls and ceilings or laid on floors Make: Tata/ Jindal/ Apollo | 60.00 | RM |  | 125.00 |  | 270.00 | 16200.00 | 100.00 | 6000.00 | 6000.00 | SATYANARAYANA RAJU VEGESNA
31.00 | Pillar Cock : S&F of Chromium plated pillar cock of size 15mm Make: Jaquar/ Parryware/ Hindware/ Cera/ EssEss | 10.00 | Each |  | 1800.00 |  | 2000.00 | 20000.00 | 1600.00 | 16000.00 | 16000.00 | SATYANARAYANA RAJU VEGESNA
32.00 | 2 in 1 Bib Cock: S&F of chromium plated 2 in 1 bib cock 15mm with wall flange Make: Jaquar/ Parryware/ Hindware/ Cera/ Ess Ess | 12.00 | Each |  | 900.00 |  | 2000.00 | 24000.00 | 1600.00 | 19200.00 | 19200.00 | SATYANARAYANA RAJU VEGESNA
33.00 | Angle Cock : S&F of chromium plated angle cock 15mm with wall flange Make: Jaquar/ Parryware/ Hindware/ Cera/ EssEss | 24.00 | Each |  | 850.00 |  | 2000.00 | 48000.00 | 1000.00 | 24000.00 | 24000.00 | SATYANARAYANA RAJU VEGESNA
34.00 | Towel Ring : S&F of SS/CP towel ring 5" size including wall flange. Make: Jaquar/ Parryware/ Hindware/ EssEss/ Cera | 12.00 | Each |  | 1200.00 |  | 800.00 | 9600.00 | 500.00 | 6000.00 | 6000.00 | SATYANARAYANA RAJU VEGESNA
35.00 | Towel Rack: S&F of SS/CP towel rack 24" size including wall flange. Make: Jaquar/ Parryware/ Hindware/ EssEss/ Cera | 10.00 | Each |  | 3500.00 |  | 3000.00 | 30000.00 | 1250.00 | 12500.00 | 12500.00 | SATYANARAYANA RAJU VEGESNA
36.00 | Soap Dish :S&F of SS/CP soap dish including wall flange. Make: Jaquar/ Parryware/ Hindware/ EssEss/ Cera | 12.00 | Each |  | 1000.00 |  | 700.00 | 8400.00 | 250.00 | 3000.00 | 3000.00 | SATYANARAYANA RAJU VEGESNA
37.00 | Toilet Paper Holder: S&F of SS/CP toilet paper holder including wall flange. Make: Jaquar/ Parryware/ Hindware/ EssEss/ Cera | 10.00 | Each |  | 1000.00 |  | 600.00 | 6000.00 | 300.00 | 3000.00 | 3000.00 | SATYANARAYANA RAJU VEGESNA
38.00 | Kitchen Sink: Square double bowl sink stainless steel SS 304, 1.2mm thickness, of overall size 37"x18"x8" and bowl size 16"x14" including sink coupling and waste pipe Make: Jaquar/ Parryware/ Hindware/ EssEss/ Cera | 1.00 | Each |  | 10000.00 |  | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 4000.00 | SATYANARAYANA RAJU VEGESNA
39.00 | Coat Hook Twin: S&F of SS/CP twin coat hook. Make: Jaquar/ Parryware/ Hindware/ EssEss/ Cera | 10.00 | Each |  | 800.00 |  | 400.00 | 4000.00 | 200.00 | 2000.00 | 2000.00 | SATYANARAYANA RAJU VEGESNA
40.00 | D/E Pipe: SS AISI 304 15mm EPDM Braided Connection pipe 18" with brass nut for Hot and Cold water Make: Cera/ EssEss/ Prayag/ Watertec | 30.00 | Each |  | 500.00 |  | 200.00 | 6000.00 | 150.00 | 4500.00 | 4500.00 | SATYANARAYANA RAJU VEGESNA
41.00 | Health Faucet: S&F of SS CP Health faucet with 1m flexible tube and ABS hook. Make: Cera/ EssEss/ Parryware/ Jaquar/ Hindware | 10.00 | Each |  | 1500.00 |  | 2000.00 | 20000.00 | 650.00 | 6500.00 | 6500.00 | SATYANARAYANA RAJU VEGESNA
42.00 | Vertical Angle Grab Bar : S&F of SS 202 grade matt finish vertical angle grab bar of 1.25" dia, size 12" x 12" and with 90 degree angle and three wall supports. Make: EssEss/ Prayag/ Cera | 10.00 | Each |  | 1500.00 |  | 1000.00 | 10000.00 | 700.00 | 7000.00 | 7000.00 | SATYANARAYANA RAJU VEGESNA
43.00 | Corner Shelf SS : S&F of corner shelf, heavy duty Stainless Steel, perforated. Make: Parryware/ EssEss/ Cera/ Jaquar | 10.00 | Each |  | 1500.00 |  | 1000.00 | 10000.00 | 600.00 | 6000.00 | 6000.00 | SATYANARAYANA RAJU VEGESNA
44.00 | Grating : SS heavy duty drain cover plain/hole size 5"x5" square with cockroach trap Make: Parryware/ EssEss/ Cera/ Jaquar | 12.00 | Each |  | 400.00 |  | 100.00 | 1200.00 | 250.00 | 3000.00 | 1200.00 | Samrat Engineering Works
45.00 | Curtain Blinds : S&F of roller curtain blinds for windows, 250 GSM polyester of approved colour and pattern, fixed to windows with necessary fixtures. | 25.00 | Sqm |  | 3000.00 |  | 3500.00 | 87500.00 | 2300.00 | 57500.00 | 57500.00 | SATYANARAYANA RAJU VEGESNA
46.00 | Curtain Brackets : S&F of approved SS designer curtain brackets (pair) for 25mm dia curtain pipes to doors and windows as specified. | 60.00 | Each |  | 400.00 |  | 200.00 | 12000.00 | 100.00 | 6000.00 | 6000.00 | SATYANARAYANA RAJU VEGESNA
47.00 | Curtain Pipes : S&F of approved SS/powder coated curtain pipes 25mm dia to doors and windows as specified. | 70.00 | rm |  | 450.00 |  | 150.00 | 10500.00 | 80.00 | 5600.00 | 5600.00 | SATYANARAYANA RAJU VEGESNA
48.00 | Wallpaper : S&F of Vinyl/ PVC coated Wall paper of selected design/pattern, thickness 0.2-0.3mm, 200-220 GSM, fixed to prepared wall surface with approved quality adhesive as directed by EIC. | 240.00 | Sqm |  | 450.00 |  | 580.00 | 139200.00 | 200.00 | 48000.00 | 48000.00 | SATYANARAYANA RAJU VEGESNA
49.00 | TV ledge : S&F of TV ledge for 43" TV with Prelaminated MDF board 18/19mm thick, 4 nos of shelfs 6"x9" on one side and one long shelf at bottom. Design as approved by EIC. | 10.00 | Sqm |  | 2750.00 |  | 4000.00 | 40000.00 | 9000.00 | 90000.00 | 40000.00 | Samrat Engineering Works
50.00 | Aluminium Door Frame : Powder coated aluminium frame for doors, windows, ventilators with one or more rebates including joining cleat for fixing etc. complete all as specified | 75.00 | Kg |  | 200.00 |  | 800.00 | 60000.00 | 500.00 | 37500.00 | 37500.00 | SATYANARAYANA RAJU VEGESNA
51.00 | Aluminium Door Shutter : Powder coated aluminium door shutters, aluminium section weighing 0.55 kg/ m including necessary joining cleats, glazing clips, ruber neoprene packing, handles 2 Nos in each door, hinges, anodised aluminum snap beading screws etc. complete all as specified | 6.00 | Sqm |  | 1300.00 |  | 2500.00 | 15000.00 | 2000.00 | 12000.00 | 12000.00 | SATYANARAYANA RAJU VEGESNA
52.00 | Toughened Glass : Toughened glass 10mm thk as in hinged doors, partitions automatic doors and similar work including cutting to shape, drilling holes required. | 10.00 | Sqm |  | 3000.00 |  | 3000.00 | 30000.00 | 2000.00 | 20000.00 | 20000.00 | SATYANARAYANA RAJU VEGESNA
53.00 | Sheet Glass : Sheet glass 4.8mm thk , ordinary quality and glazing with oil putty in square n exc 0.5 sq. m in each pane | 7.00 | Sqm |  | 1800.00 |  | 1000.00 | 7000.00 | 800.00 | 5600.00 | 5600.00 | SATYANARAYANA RAJU VEGESNA
54.00 | Floor Spring : Double action floor spring hydraulically regulated made up of minimum 1.25 mm thick aluminium alloy sheet foundation box, main body with stainless steel cover, governing pivot made of brass, other parts made of mild steel heavy duty and fixed | 2.00 | Each |  | 7000.00 |  | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 6000.00 | Samrat Engineering Works
55.00 | Particle Board : S&F Prelaminated particle board 18/19mm, interior grade, prelaminated one side with decorative choice lamination & other side balancing white lamination, fixed with screws to timber frame work | 70.00 | Sqm |  | 759.00 |  | 1200.00 | 84000.00 | 800.00 | 56000.00 | 56000.00 | SATYANARAYANA RAJU VEGESNA
56.00 | UPVC Ventilator : Supply and fixing factory made uPVC white colour fixed glazed window/ventilator made of (small series) frame 47 x 50 mm mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area upto 0.75 sqm.) comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I. fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Glass shall be paidseparately). | 2.50 | Sqm |  | 7900.00 |  | 6000.00 | 15000.00 | 4500.00 | 11250.00 | 11250.00 | SATYANARAYANA RAJU VEGESNA
57.00 | ACP PANEL : Supply, fabrication and fixing of Aluminium Sandwich Panel structure for Entrance Arch with Aluminium panel of any colour and thickness 0.25mm (one on each side) over a 2.5 mm PVC core. The ACP panel is to be fixed over MS box frame with the help of screws/tacks and adhesive. (Rates include for MS frames) | 25.00 | Sqm |  | 2900.00 |  | 5500.00 | 137500.00 | 4500.00 | 112500.00 | 112500.00 | SATYANARAYANA RAJU VEGESNA
58.00 | False Ceiling: Providing and fixing Gypsum Board 12mm thick in ceiling fixed with screw as per manufacturers instruction | 150.00 | Sqm |  | 680.00 |  | 500.00 | 75000.00 | 500.00 | 75000.00 | 75000.00 | Samrat Engineering Works, SATYANARAYANA RAJU VEGESNA
59.00 | Snap Grid : S&F Anodised aluminium or colour coated snap grid frame work for false ceiling all as specified | 150.00 | Sqm |  | 670.00 |  | 500.00 | 75000.00 | 450.00 | 67500.00 | 67500.00 | SATYANARAYANA RAJU VEGESNA
60.00 | SS Railing : Material & Labour for providing and fixing stainless steel (Grade 304) railing made of hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (where ever required) and fitting the same with necessary stainless steel nuts and bolts complete, including fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size, on the top of floor or the side of waist slab with suitable arrangement. | 15.00 | kg |  | 650.00 |  | 900.00 | 13500.00 | 600.00 | 9000.00 | 9000.00 | SATYANARAYANA RAJU VEGESNA
61.00 | Flush Shutter: S&F Flush shutters 40mm thk., solid core construction, with block board core and plywood face panels, commercial type on both sides and covered with decorative face veneer on both sides with lipping/frame to match | 16.00 | Sqm |  | 1850.00 |  | 2500.00 | 40000.00 | 4000.00 | 64000.00 | 40000.00 | Samrat Engineering Works
62.00 | Tower bolt: S&F Aluminium anodised, 150mm barrel tower bolts of extruded section and fixed | 20.00 | Each |  | 120.00 |  | 200.00 | 4000.00 | 70.00 | 1400.00 | 1400.00 | SATYANARAYANA RAJU VEGESNA
63.00 | Door handle: S&F Extruded aluminium alloy handles, 125mm, fabricated type, anodised | 20.00 | Each |  | 120.00 |  | 200.00 | 4000.00 | 80.00 | 1600.00 | 1600.00 | SATYANARAYANA RAJU VEGESNA
64.00 | Dismantling door: Taking down shutters of any description n.exc. 1.0 sqm and removing to store as directed. | 10.00 | Per leaf |  | 1000.00 |  | 150.00 | 1500.00 | 100.00 | 1000.00 | 1000.00 | SATYANARAYANA RAJU VEGESNA
65.00 | TAKING DOWN: Taking Down carefully copper/Aluminium point wiring (Light ,Fan ,Socket, power point ) complete (fittings such as switches, ceiling roses, pendents, regulators, sockets, etc to be measured seperately) removing mateiral to store for keeping in safe custody for reuse at site and making good ,disturbed surfaces of walls ,floors etc as per the instructions of EIC. | 50.00 | Per point |  | 235.00 |  | 100.00 | 5000.00 | 200.00 | 10000.00 | 5000.00 | Samrat Engineering Works
66.00 | TAKING DOWN : Taking Down carefully by unscrewing from board /outlets boxes fittings and fixtures such as switches ,sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tubelight fittings and regulatorsetc for reuse at site or carrying to the store ( to be measured only when found serviciable in all respect). Complete for reuse as per instructions of EIC. | 500.00 | Per point |  | 40.00 |  | 90.00 | 45000.00 | 30.00 | 15000.00 | 15000.00 | SATYANARAYANA RAJU VEGESNA
67.00 | POINT WIRING : Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make: Finolex/Havells/Polycab/L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 140.00 | Per point |  | 920.00 |  | 700.00 | 98000.00 | 1000.00 | 140000.00 | 98000.00 | Samrat Engineering Works
68.00 | POINT WIRING : Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make: Finolex/Havells/polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 55.00 | Per point |  | 1240.00 |  | 800.00 | 44000.00 | 1100.00 | 60500.00 | 44000.00 | Samrat Engineering Works
69.00 | POINT WIRING : Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps on the same board, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make: Finolex/Havells/Polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 75.00 | Per point |  | 680.00 |  | 790.00 | 59250.00 | 300.00 | 22500.00 | 22500.00 | SATYANARAYANA RAJU VEGESNA
70.00 | POINT WIRING : Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make: Finolex/Havells/Polycab/L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 55.00 | Per point |  | 1235.00 |  | 1000.00 | 55000.00 | 2800.00 | 154000.00 | 55000.00 | Samrat Engineering Works
71.00 | CEILING ROSE : Supply and fixing of ceiling rose, PVC/Polycorbonate,3 phase terminal Make: Anchor / Havells/Maru/Cona of ISI quality. Complete all as specified and directed by EIC. | 500.00 | Each |  | 79.00 |  | 100.00 | 50000.00 | 45.00 | 22500.00 | 22500.00 | SATYANARAYANA RAJU VEGESNA
72.00 | BUZZER:Ding dong buzzer of AC 230Volt. Make: Legrand/Schneider/Havells/ Anchor/GM. Complete all as specified and directed by EIC. | 10.00 | Each |  | 475.00 |  | 600.00 | 6000.00 | 350.00 | 3500.00 | 3500.00 | SATYANARAYANA RAJU VEGESNA
73.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x10.0 Sq.mm + 1x10.0 sq.mm earth wire in PVC Conduit wiring . Make: Finolex/Havells /polycab/L&T Complete all as specified by the EIC | 1200.00 | RM |  | 510.00 |  | 650.00 | 780000.00 | 300.00 | 360000.00 | 360000.00 | SATYANARAYANA RAJU VEGESNA
74.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x4.0 Sq.mm + 1x4.0 sq.mm earth wire in PVC Conduit wiring . Make: Finolex/Havells /polycab/L&T. Complete all as specified by the EIC | 400.00 | RM |  | 300.00 |  | 280.00 | 112000.00 | 200.00 | 80000.00 | 80000.00 | SATYANARAYANA RAJU VEGESNA
75.00 | MODULAR BELL PUSH: Supply and Fixing of modular bell push 6 amps Modular type Make: Legrand/ Schneider/Havells | 15.00 | Each |  | 145.00 |  | 100.00 | 1500.00 | 250.00 | 3750.00 | 1500.00 | Samrat Engineering Works
76.00 | MODULAR FAN REGULATOR: Material and Labour for fan step regulator, 120watt , 2 module Make: Havells/ Schneider/Legrand. Complete all as specifies by the EIC | 45.00 | Each |  | 600.00 |  | 450.00 | 20250.00 | 950.00 | 42750.00 | 20250.00 | Samrat Engineering Works
77.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 6 amps with ON/OFF LED light indicator. Make: Legrand/Schneider/Havells of ISI quality. Complete all as specifies by the EIC | 550.00 | Each |  | 102.00 |  | 90.00 | 49500.00 | 150.00 | 82500.00 | 49500.00 | Samrat Engineering Works
78.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 2/3 pin 6 amps combined 2 modular type Make: Legrand/Schneider/Havells of ISI quality . Complete all as specifies by the EIC | 180.00 | Each |  | 140.00 |  | 150.00 | 27000.00 | 200.00 | 36000.00 | 27000.00 | Samrat Engineering Works
79.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 16 amps with ON/OFF LED light indicator Make: Legrand/Schneider/Havells of ISI quality. Complete all as specifies by the EIC | 80.00 | Each |  | 230.00 |  | 180.00 | 14400.00 | 200.00 | 16000.00 | 14400.00 | Samrat Engineering Works
80.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6/16 amps 2/3 pin combined 2 modular type Make: Legrand/ Schneider/Havells of ISI quality. Complete all as specified by the EIC | 80.00 | Each |  | 310.00 |  | 250.00 | 20000.00 | 350.00 | 28000.00 | 20000.00 | Samrat Engineering Works
81.00 | METAL FLUSH BOX : Supply and Fixing of 3 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make: Legrand/ Schneider/Havells. Complete all as specified by the EIC | 100.00 | Each |  | 165.00 |  | 90.00 | 9000.00 | 150.00 | 15000.00 | 9000.00 | Samrat Engineering Works
82.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 3 module of Make: Legrand/ Schneider/Havells. Complete all as specified by the EIC | 100.00 | Each |  | 170.00 |  | 150.00 | 15000.00 | 180.00 | 18000.00 | 15000.00 | Samrat Engineering Works
83.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of Make: Legrand/ Schneider/Havells. Complete all as specified by the EIC | 100.00 | Each |  | 185.00 |  | 200.00 | 20000.00 | 150.00 | 15000.00 | 15000.00 | SATYANARAYANA RAJU VEGESNA
84.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make: Legrand/ Schneider/Havells. Complete all as specified by the EIC | 100.00 | Each |  | 165.00 |  | 120.00 | 12000.00 | 170.00 | 17000.00 | 12000.00 | Samrat Engineering Works
85.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 6 module of Make: Legrand/ Schneider/Havells. Complete all as specified by the EIC | 50.00 | Each |  | 210.00 |  | 350.00 | 17500.00 | 250.00 | 12500.00 | 12500.00 | SATYANARAYANA RAJU VEGESNA
86.00 | METAL FLUSH BOX : Supply and Fixing of 6 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make: Legrand/ Schneider/Havells. Complete all as specified by the EIC | 50.00 | Each |  | 215.00 |  | 170.00 | 8500.00 | 225.00 | 11250.00 | 8500.00 | Samrat Engineering Works
87.00 | CUTTING CHASES: Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps,cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 20cm girth. Complete all as specified by the EIC | 500.00 | RM |  | 80.00 |  | 55.00 | 27500.00 | 50.00 | 25000.00 | 25000.00 | SATYANARAYANA RAJU VEGESNA
88.00 | CUTTING CHASES: Cutting chases , pinning in, making good to facings where required and pointing in cement mortor 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels etc; and cutting chases for concealed water tubing or concealed conduit wiring etc, and making good , cutting not exceding 10 cm girth. Complete all as specified by the EIC | 1000.00 | RM |  | 52.00 |  | 65.00 | 65000.00 | 50.00 | 50000.00 | 50000.00 | SATYANARAYANA RAJU VEGESNA
89.00 | MCB DB: Supply and Fixing of Sheet Metal enclosures for DB(MCB DB), Triple pole and neutral 12 way with 200 Amps rated bus bar, 415V, Double Door make: GM/Legrand/ Havells/L&T. Complete all as specified and directed. | 4.00 | Each |  | 5000.00 |  | 7000.00 | 28000.00 | 4000.00 | 16000.00 | 16000.00 | SATYANARAYANA RAJU VEGESNA
90.00 | MCB DB: Supply and Fixing of Sheet Metal enclosures for DB(MCB DB), single pole and neutral 16 way with 200 Amps rated bus bar, 240V, Double Door make: GM/Legrand/ Havells/L&T. Complete all as specified and directed. | 15.00 | Each |  | 5500.00 |  | 6000.00 | 90000.00 | 2500.00 | 37500.00 | 37500.00 | SATYANARAYANA RAJU VEGESNA
91.00 | MCB :Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. Make legrand/ Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections. Complete all as specified and directed by EIC. | 100.00 | Each |  | 250.00 |  | 400.00 | 40000.00 | 200.00 | 20000.00 | 20000.00 | SATYANARAYANA RAJU VEGESNA
92.00 | MCB :Supply and fixing of MCB, 240 V, DP 40 Amp. Make legrand/Schneider/ Indoasian/ Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections. Complete all as specified and directed by EIC. | 20.00 | Each |  | 550.00 |  | 300.00 | 6000.00 | 350.00 | 7000.00 | 6000.00 | Samrat Engineering Works
93.00 | MCB: Supply and fixing 415V 10KA 'B' curve miniature circuit breaker (MCB) of 4 poles and current carrying capacity 40 A to 100 A in the DB complete with connection testing and commissioning Make legrand/ Schneider/ Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections Complete all as specified and directed by EIC. | 4.00 | Each |  | 2500.00 |  | 4000.00 | 16000.00 | 3000.00 | 12000.00 | 12000.00 | SATYANARAYANA RAJU VEGESNA
94.00 | MCCB: Supply and Fixing of MCCB 4 Pole , 415 V, Adjustable type,160 Amps with breaking capacity 36 KA Make: legrand/ Schneider/ Indoasian/ Havells/ L&T Complete all as specified by the EIC | 4.00 | Each |  | 8500.00 |  | 1400.00 | 5600.00 | 12000.00 | 48000.00 | 5600.00 | Samrat Engineering Works
95.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 8 module of Make: Legrand/ Schneider /Havells. Complete all as specified by the EIC | 50.00 | Each |  | 240.00 |  | 400.00 | 20000.00 | 300.00 | 15000.00 | 15000.00 | SATYANARAYANA RAJU VEGESNA
96.00 | LED DOWN LIGHT:Supply and fixing round shape 15 watt ,CCT 3000-3500K, 220 volts AC recessed type with high efficiency PMMA diffuser soft glare free light complete with rivers, holders, LED lamp suitable for roof ceiling including connecting up with three core flexible copper conductor cable of suitable size complete. omplete with all accessories. Make: Crompton/ Orient/ Havells/ Wipro/ Philips. Complete all as specified and directed by EIC. | 20.00 | Each |  | 750.00 |  | 1600.00 | 32000.00 | 750.00 | 15000.00 | 15000.00 | SATYANARAYANA RAJU VEGESNA
97.00 | LED DOWN LIGHT: Supply and Fixing of surface mounting type round LED down lights, 18-20W, CCT 5000-6500K, with necessary driver, with aluminium pressure die-cast housing with heat dissipating fins for larger surface area for better thermal management , finishing in epoxy powder coated white color. Complete with all accessories. Make: Crompton/ Orient/Havells/ Wipro/ Philips. Complete all as specified and directed by EIC. | 20.00 | Each |  | 1350.00 |  | 1800.00 | 36000.00 | 1500.00 | 30000.00 | 30000.00 | SATYANARAYANA RAJU VEGESNA
98.00 | LED DOWN LIGHT: Supply and Fixing of surface mounting type round LED down lights, 18-20W, CCT 3000-3500K, with necessary driver, with aluminium pressure die-cast housing with heat dissipating fins for larger surface area for better thermal management , finishing in epoxy powder coated white color. Complete with all accessories. Make: Crompton/Orient/Havells/Wipro/Philips. Complete all as specified and directed by EIC. | 95.00 | Each |  | 1200.00 |  | 1800.00 | 171000.00 | 1500.00 | 142500.00 | 142500.00 | SATYANARAYANA RAJU VEGESNA
99.00 | LED LIGHT:Supply and Fixing of LED light 10 Watt, CCT 3000-3500 K, vertical wall decorative light , 2 way light ray, Wall surface mounting type. Make: Crompton/Orient/Havells/Wipro/Philips. Complete all as specified and directed by EIC. | 20.00 | Each |  | 600.00 |  | 700.00 | 14000.00 | 1500.00 | 30000.00 | 14000.00 | Samrat Engineering Works
100.00 | LED LIGHT:Supply and Fixing of LED light 6-8 Watt, rimless full glow round ,Downlighter for ceiling, surface mounting type, Green color light.Make: Crompton/Orient/Havells/Wipro/Philips. Complete all as specified and directed by EIC. | 25.00 | Each |  | 550.00 |  | 500.00 | 12500.00 | 800.00 | 20000.00 | 12500.00 | Samrat Engineering Works
101.00 | LED LIGHT:Supply and Fixing of LED light 6-8 Watt, rimless full glow round ,Downlighter for ceiling, surface mounting type, Red color light.Make: Crompton/Orient/Havells/Wipro/PhilipsComplete all as specified and directed by EIC. | 25.00 | Each |  | 550.00 |  | 500.00 | 12500.00 | 800.00 | 20000.00 | 12500.00 | Samrat Engineering Works
102.00 | LED LIGHT:Supply and Fixing of LED light 6-8 Watt, rimless full glow round ,Downlighter for ceiling, surface mounting type, Blue color light.Make: Crompton/Orient/Havells/Wipro/PhilipsComplete all as specified and directed by EIC. | 25.00 | Each |  | 550.00 |  | 600.00 | 15000.00 | 850.00 | 21250.00 | 15000.00 | Samrat Engineering Works
103.00 | DISMANTLING OF DBS: Dismantling of existing SPN/TPN 8way/12way DB, by removing MCB's, Wiring and surface restoration to be done as original. Complete all as specified and directed by EIC. | 15.00 | Each |  | 500.00 |  | 500.00 | 7500.00 | 900.00 | 13500.00 | 7500.00 | Samrat Engineering Works
104.00 | MCCB ENCLOSER: Supply and Fixing of MCCB Encloser for fixing of the 160 A & 125A MCCB,415V. Complete all as specified by the EIC | 3.00 | Each |  | 7500.00 |  | 1000.00 | 3000.00 | 2800.00 | 8400.00 | 3000.00 | Samrat Engineering Works
105.00 | PAR CAN LIGHTS: Supply and Fixing of LED CAN lights, Power 200W, Outdoor weather proof(IP 65), No.of LED's 54/60, each LED Wattage 3-4 W, RGB Color, No of wires 4(Power cables & 2 Dmax Cables), Dmax 512 control. All necessary wiring to be done for connection of Lights.These are to be fixed on the tower stand. Complete all as specified and directed by EIC. | 53.00 | Each |  | 4190.00 |  | 5500.00 | 291500.00 | 4500.00 | 238500.00 | 238500.00 | SATYANARAYANA RAJU VEGESNA
106.00 | LED MIRROR LIGHT: Supply and Fixing of 6-9 W LED mirror light, 3 in 1 color( Warm White, White, Cool White), 230V, Switch ON and OFF to change colors. Make: Murphy/Crompton/Philips/Ikea/Crescent. Complete all as specified by the EIC | 15.00 | Each |  | 500.00 |  | 2500.00 | 37500.00 | 2200.00 | 33000.00 | 33000.00 | SATYANARAYANA RAJU VEGESNA
107.00 | STAND FOR PARCAN LIGHTS:Supply and Fixing of Metal Tower stand for PAR CAN Lights, 5Ft Height(Minimum), Matt black finish, Triangular shape at bottom, shall have T-bar extension arms - 02 No's, for fixing PAR CAN LED lights. Each Extension arm shall have standrad holes-10 No's and clamps for fixing LED PAR CAN lights. Complete all as specified and directed by EIC. | 6.00 | Each |  | 10000.00 |  | 2000.00 | 12000.00 | 8500.00 | 51000.00 | 12000.00 | Samrat Engineering Works
108.00 | AIR CURTAIN: Supply and Fixing of Air Curtain for door (Top), length 5 Feet, Automatic operation when door opens & Manual method of operation also. 230V, Single phase, Motor winding copper, Minimum Velocity of Nozzle 20m/s (High), No of blowers 4(minimum), CFM-1800(Minimum), shall be able to control with remote also, Minimum 2 speed variation, Noise level 50-65 DB,With necesaary clamps and all accessories for fixing at top of door frame. Make: Mitzvah/Dolphy/Eureka/ Mitsubishi/Euronics. Complete all as specified by the EIC | 1.00 | Each |  | 62000.00 |  | 20000.00 | 20000.00 | 40000.00 | 40000.00 | 20000.00 | Samrat Engineering Works
109.00 | METAL FLUSH BOX : Supply and Fixing of modulal metal flush box, 8 module for mounting switches and sockets. cable terminations to be neatly with lugs, grouted with lugs, grouted into the wall complete. Make: Legrand/Schneider/ Havells. Complete all as specified by the EIC | 50.00 | Each |  | 235.00 |  | 360.00 | 18000.00 | 250.00 | 12500.00 | 12500.00 | SATYANARAYANA RAJU VEGESNA
110.00 | METAL FLUSH BOX : Supply and Fixing of modulal metal flush box, 12 module for mounting switches and sockets. cable terminations to be neatly with lugs, grouted with lugs, grouted into the wall complete. Make: Legrand/Schneider/ Havells. Complete all as specified by the EIC | 50.00 | Each |  | 305.00 |  | 400.00 | 20000.00 | 275.00 | 13750.00 | 13750.00 | SATYANARAYANA RAJU VEGESNA
111.00 | COVERING PLATES WITH FRAME : Supply and Fixing of modular white color covering plates with frames of 12 module for mounting swiches and sockets. Make: Legrand/Schneider/ Havells . Complete all as specified by the EIC | 50.00 | Each |  | 230.00 |  | 600.00 | 30000.00 | 400.00 | 20000.00 | 20000.00 | SATYANARAYANA RAJU VEGESNA
| Total in Figures | [6 empty] | 4896110.00 |  | 4142870.00
Lowest Amount Quoted BY: SATYANARAYANA RAJU VEGESNA(4142870.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairs/Renovation of Sarath Guest House at OFMK. Tender ID: 2026_AVNL_278785_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SATYANARAYANA RAJU VEGESNA (BID ID -1030960) | 4142870.00 | L1
| 2 | Samrat Engineering Works (BID ID -1030543) | 4896110.00 | L2
| 3 | yaralagadda ramesh (BID ID -1036670) |  | No Rank

## BoQDefects
Consolidated BoQ Defects Detail Tender Title: Repairs/Renovation of Sarath Guest House at OFMK. Tender ID: 2026_AVNL_278785_1
Sl.No | Bidder Name | BoQ Defects
1 | yaralagadda ramesh | BoQ1-Error-Cell-BA13,BoQ1-Error-Cell-BB13,BoQ1-Error-Cell-BA14,BoQ1-Error-Cell-BB14,BoQ1-Error-Cell-BA15,BoQ1-Error-Cell-BB15,BoQ1-Error-Cell-BA16,BoQ1-Error-Cell-BB16,BoQ1-Error-Cell-BA17,BoQ1-Error-Cell-BB17,BoQ1-Error-Cell-BA18,BoQ1-Error-Cell-BB18,BoQ1-Error-Cell-BA19,BoQ1-Error-Cell-BB19,BoQ1-Error-Cell-BA20,BoQ1-Error-Cell-BB20,BoQ1-Error-Cell-BA21,BoQ1-Error-Cell-BB21,BoQ1-Error-Cell-BA22,BoQ1-Error-Cell-BB22,BoQ1-Error-Cell-BA23,BoQ1-Error-Cell-BB23,BoQ1-Error-Cell-BA24,BoQ1-Error-Cell-BB24,BoQ1-Error-Cell-BA25,BoQ1-Error-Cell-BB25,BoQ1-Error-Cell-BA26,BoQ1-Error-Cell-BB26,BoQ1-Error-Cell-BA27,BoQ1-Error-Cell-BB27,BoQ1-Error-Cell-BA28,BoQ1-Error-Cell-BB28,BoQ1-Error-Cell-BA29,BoQ1-Error-Cell-BB29,BoQ1-Error-Cell-BA30,BoQ1-Error-Cell-BB30,BoQ1-Error-Cell-BA31,BoQ1-Error-Cell-BB31,BoQ1-Error-Cell-BA32,BoQ1-Error-Cell-BB32,BoQ1-Error-Cell-BA33,BoQ1-Error-Cell-BB33,BoQ1-Error-Cell-BA34,BoQ1-Error-Cell-BB34,BoQ1-Error-Cell-BA35,BoQ1-Error-Cell-BB35,BoQ1-Error-Cell-BA36,BoQ1-Error-Cell-BB36,BoQ1-Error-Cell-BA37,BoQ1-Error-Cell-BB37,BoQ1-Error-Cell-BA38,BoQ1-Error-Cell-BB38,BoQ1-Error-Cell-BA39,BoQ1-Error-Cell-BB39,BoQ1-Error-Cell-BA40,BoQ1-Error-Cell-BB40,BoQ1-Error-Cell-BA41,BoQ1-Error-Cell-BB41,BoQ1-Error-Cell-BA42,BoQ1-Error-Cell-BB42,BoQ1-Error-Cell-BA43,BoQ1-Error-Cell-BB43,BoQ1-Error-Cell-BA44,BoQ1-Error-Cell-BB44,BoQ1-Error-Cell-BA45,BoQ1-Error-Cell-BB45,BoQ1-Error-Cell-BA46,BoQ1-Error-Cell-BB46,BoQ1-Error-Cell-BA47,BoQ1-Error-Cell-BB47,BoQ1-Error-Cell-BA48,BoQ1-Error-Cell-BB48,BoQ1-Error-Cell-BA49,BoQ1-Error-Cell-BB49,BoQ1-Error-Cell-BA50,BoQ1-Error-Cell-BB50,BoQ1-Error-Cell-BA51,BoQ1-Error-Cell-BB51,BoQ1-Error-Cell-BA52,BoQ1-Error-Cell-BB52,BoQ1-Error-Cell-BA53,BoQ1-Error-Cell-BB53,BoQ1-Error-Cell-BA54,BoQ1-Error-Cell-BB54,BoQ1-Error-Cell-BA55,BoQ1-Error-Cell-BB55,BoQ1-Error-Cell-BA56,BoQ1-Error-Cell-BB56,BoQ1-Error-Cell-BA57,BoQ1-Error-Cell-BB57,BoQ1-Error-Cell-BA58,BoQ1-Error-Cell-BB58,BoQ1-Error-Cell-BA59,BoQ1-Error-Cell-BB59,BoQ1-Error-Cell-BA60,BoQ1-Error-Cell-BB60,BoQ1-Error-Cell-BA61,BoQ1-Error-Cell-BB61,BoQ1-Error-Cell-BA62,BoQ1-Error-Cell-BB62,BoQ1-Error-Cell-BA63,BoQ1-Error-Cell-BB63,BoQ1-Error-Cell-BA64,BoQ1-Error-Cell-BB64,BoQ1-Error-Cell-BA65,BoQ1-Error-Cell-BB65,BoQ1-Error-Cell-BA66,BoQ1-Error-Cell-BB66,BoQ1-Error-Cell-BA67,BoQ1-Error-Cell-BB67,BoQ1-Error-Cell-BA68,BoQ1-Error-Cell-BB68,BoQ1-Error-Cell-BA69,BoQ1-Error-Cell-BB69,BoQ1-Error-Cell-BA70,BoQ1-Error-Cell-BB70,BoQ1-Error-Cell-BA71,BoQ1-Error-Cell-BB71,BoQ1-Error-Cell-BA72,BoQ1-Error-Cell-BB72,BoQ1-Error-Cell-BA73,BoQ1-Error-Cell-BB73,BoQ1-Error-Cell-BA74,BoQ1-Error-Cell-BB74,BoQ1-Error-Cell-BA75,BoQ1-Error-Cell-BB75,BoQ1-Error-Cell-BA76,BoQ1-Error-Cell-BB76,BoQ1-Error-Cell-BA77,BoQ1-Error-Cell-BB77,BoQ1-Error-Cell-BA78,BoQ1-Error-Cell-BB78,BoQ1-Error-Cell-BA79,BoQ1-Error-Cell-BB79,BoQ1-Error-Cell-BA80,BoQ1-Error-Cell-BB80,BoQ1-Error-Cell-BA81,BoQ1-Error-Cell-BB81,BoQ1-Error-Cell-BA82,BoQ1-Error-Cell-BB82,BoQ1-Error-Cell-BA83,BoQ1-Error-Cell-BB83,BoQ1-Error-Cell-BA84,BoQ1-Error-Cell-BB84,BoQ1-Error-Cell-BA85,BoQ1-Error-Cell-BB85,BoQ1-Error-Cell-BA86,BoQ1-Error-Cell-BB86,BoQ1-Error-Cell-BA87,BoQ1-Error-Cell-BB87,BoQ1-Error-Cell-BA88,BoQ1-Error-Cell-BB88,BoQ1-Error-Cell-BA89,BoQ1-Error-Cell-BB89,BoQ1-Error-Cell-BA90,BoQ1-Error-Cell-BB90,BoQ1-Error-Cell-BA91,BoQ1-Error-Cell-BB91,BoQ1-Error-Cell-BA92,BoQ1-Error-Cell-BB92,BoQ1-Error-Cell-BA93,BoQ1-Error-Cell-BB93,BoQ1-Error-Cell-BA94,BoQ1-Error-Cell-BB94,BoQ1-Error-Cell-BA95,BoQ1-Error-Cell-BB95,BoQ1-Error-Cell-BA96,BoQ1-Error-Cell-BB96,BoQ1-Error-Cell-BA97,BoQ1-Error-Cell-BB97,BoQ1-Error-Cell-BA98,BoQ1-Error-Cell-BB98,BoQ1-Error-Cell-BA99,BoQ1-Error-Cell-BB99,BoQ1-Error-Cell-BA100,BoQ1-Error-Cell-BB100,BoQ1-Error-Cell-BA101,BoQ1-Error-Cell-BB101,BoQ1-Error-Cell-BA102,BoQ1-Error-Cell-BB102,BoQ1-Error-Cell-BA103,BoQ1-Error-Cell-BB103,BoQ1-Error-Cell-BA104,BoQ1-Error-Cell-BB104,BoQ1-Error-Cell-BA105,BoQ1-Error-Cell-BB105,BoQ1-Error-Cell-BA106,BoQ1-Error-Cell-BB106,BoQ1-Error-Cell-BA107,BoQ1-Error-Cell-BB107,BoQ1-Error-Cell-BA108,BoQ1-Error-Cell-BB108,BoQ1-Error-Cell-BA109,BoQ1-Error-Cell-BB109,BoQ1-Error-Cell-BA110,BoQ1-Error-Cell-BB110,BoQ1-Error-Cell-BA111,BoQ1-Error-Cell-BB111,BoQ1-Error-Cell-BA112,BoQ1-Error-Cell-BB112,BoQ1-Error-Cell-BA113,BoQ1-Error-Cell-BB113,BoQ1-Error-Cell-BA114,BoQ1-Error-Cell-BB114,BoQ1-Error-Cell-BA115,BoQ1-Error-Cell-BB115,BoQ1-Error-Cell-BA116,BoQ1-Error-Cell-BB116,BoQ1-Error-Cell-BA117,BoQ1-Error-Cell-BB117,BoQ1-Error-Cell-BA118,BoQ1-Error-Cell-BB118,BoQ1-Error-Cell-BA119,BoQ1-Error-Cell-BB119,BoQ1-Error-Cell-BA120,BoQ1-Error-Cell-BB120,BoQ1-Error-Cell-BA121,BoQ1-Error-Cell-BB121,BoQ1-Error-Cell-BA122,BoQ1-Error-Cell-BB122,BoQ1-Error-Cell-BA123,BoQ1-Error-Cell-BB123