## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 15-Jul-2026 02:39 PM Tender Title: CONSTRUCTION OF NEW CENTRALIZED AC GODOWN FOR STORAGE OF HIGH VALUE OPTICAL INSTRUMENTS AND ELECTRICAL UNITS AT T-90 SHOP, HVF, AVADI. Tender ID: 2026_AVNL_279347_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: CONSTRUCTION OF NEW CENTRALIZED AC GODOWN FOR STORAGE OF HIGH VALUE OPTICAL INSTRUMENTS AND ELECTRICAL UNITS AT T-90 SHOP, HVF, AVADI.
Tender No: HVF/TE/13025/CEO/2026-27/15
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BHANU PRAKASH SUREDDI (GSTN-NA) BID ID -1033488 |  | DY Infra & Projects Private Limited (GSTN-NA) BID ID -1033481 |  | SADH BUILDERS (GSTN-NA) BID ID -1033443
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Grubbing up tree trunk of girth execeeding 150cm and not execeeding 200 cm including cutting of trunk portion protruding over ground, digging out roots, filling holes and leveling off ground, stacking of serviceable material and removing of unserviceable material to a distance n exc. 50 m and clearing site | 10.00 | Each | 4009.56 | 1200.00 | 12000.00 | 1450.00 | 14500.00 | 3500.00 | 35000.00 | 12000.00 | BHANU PRAKASH SUREDDI
2.00 | Demolition of reinforced Cement Concrete structure of any description | 2.00 | CUM | 2260.44 | 3200.00 | 6400.00 | 950.00 | 1900.00 | 2000.00 | 4000.00 | 1900.00 | DY Infra & Projects Private Limited
3.00 | Demolition of Cement Concrete structure of any description. | 7.50 | CUM | 1957.56 | 3500.00 | 26250.00 | 950.00 | 7125.00 | 1450.00 | 10875.00 | 7125.00 | DY Infra & Projects Private Limited
4.00 | Demolition of brickwork or stone/boulder masonery, built in cement motar. | 10.00 | CUM | 1970.33 | 2500.00 | 25000.00 | 350.00 | 3500.00 | 1500.00 | 15000.00 | 3500.00 | DY Infra & Projects Private Limited
5.00 | Dismantling of Existing Galvalume sheet and stacking the sheets for reuse at site including return to the stores of unused sheets. | 50.00 | SQM | 33.84 | 160.00 | 8000.00 | 60.00 | 3000.00 | 30.00 | 1500.00 | 1500.00 | SADH BUILDERS
6.00 | Conducting field soil investigation by engaging reputed investigation firms and Submisssion of soil investigation report of proposed site conforming to IS code 14901,1842 and 1904 etc., inculding Designing foundation,beams and coulmns based on the soil reports and submission of structural drawing duly vetted by authorised structural engineer empaneled in the government of TamilNadu for execution of civil work etc., complete as desired aand directed | 1.00 | WJ | 140000.00 | 45000.00 | 45000.00 | 24500.00 | 24500.00 | 119000.00 | 119000.00 | 24500.00 | DY Infra & Projects Private Limited
7.00 | Excavating in post holes in Hard/dense soils (or similar holes) each n exc 0.5 cu.m, getting out, returning,filling in and ramming earth or broken rubble mixed with eart around,in layers not exceeding 25 cm, | 4.00 | Each | 457.68 | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 450.00 | 1800.00 | 1800.00 | SADH BUILDERS
8.00 | Material and labour for anti-termiteTreating the bottom and sides of excavation at the rate of 5 litres of emulsion per square metre of surface area | 500.00 | SQM | 80.16 | 600.00 | 300000.00 | 85.00 | 42500.00 | 75.00 | 37500.00 | 37500.00 | SADH BUILDERS
9.00 | Material and Labour for anti-termiteTreating the soil under plinth protection at the rate of 5 litres of emulsion per square metre of surface area | 150.00 | SQM | 80.16 | 600.00 | 90000.00 | 86.00 | 12900.00 | 75.00 | 11250.00 | 11250.00 | SADH BUILDERS
10.00 | Supply of liquid water proofing compound | 9.00 | Per Litre | 313.80 | 1000.00 | 9000.00 | 425.00 | 3825.00 | 320.00 | 2880.00 | 2880.00 | SADH BUILDERS
11.00 | M & L for Damp proof course in CM 1:2:4 type in 40 mm thick B0 to horizontal or vertical surfaces including necessary formwork | 30.00 | SQM | 340.09 | 580.00 | 17400.00 | 420.00 | 12600.00 | 340.00 | 10200.00 | 10200.00 | SADH BUILDERS
12.00 | Surface excavation in Hard/Dense soil n.exc (not exceeding) 30 cm deep and averaging 15cm deep and getting out | 200.00 | SQM | 111.84 | 280.00 | 56000.00 | 172.00 | 34400.00 | 110.00 | 22000.00 | 22000.00 | SADH BUILDERS
13.00 | Excavating over areas, n exc 1.5 m deep and getting out in hard/dense soil. | 60.00 | CUM | 540.00 | 385.00 | 23100.00 | 195.00 | 11700.00 | 540.00 | 32400.00 | 11700.00 | DY Infra & Projects Private Limited
14.00 | Earth work excavation in hard/ dense soil for foundation width and depth not exceeding 1.50 m and getting out. | 500.00 | CUM | 810.00 | 335.00 | 167500.00 | 185.00 | 92500.00 | 800.00 | 400000.00 | 92500.00 | DY Infra & Projects Private Limited
15.00 | Earth work excavation in hard/ dense soil for foundation width and depth exceeding 1.50 m and getting out. | 100.00 | CUM | 1000.44 | 335.00 | 33500.00 | 150.00 | 15000.00 | 1000.00 | 100000.00 | 15000.00 | DY Infra & Projects Private Limited
16.00 | Material and labour for hard core( broken stone or boulder) of gauge not exceeding 63 mm deposited, spread and levelled in layers not exceeding 15 cms thick watered and rammed to through surface. | 125.00 | CUM | 2484.96 | 2850.00 | 356250.00 | 1820.00 | 227500.00 | 1800.00 | 225000.00 | 225000.00 | SADH BUILDERS
17.00 | Laying and compacting 150 mm thick (compacted thickness) each layer not exceeding 150mm Granular Sub Base Course (GSB) grading as per Grade I as specified Table 400-1 of MoRTH specifications for Road and Bridge works, 2013, in a single layer over compacted subgrade with natural sand, crushed gravel, crushed stone, crushed slag, or combination thereof as per the grading required The materials are mechanically mixed, spread and leveling on the subgrade by using motor grader of adequate capacity, and rolling with vibratory roller of capacity 80-100 KN static weight for achieving required compaction density of atleast 98% of the Maximum Dry Density. Consolidating to required gradient and camber complete all as specified and directed with finished surface tolerances as per Table 900-1 of MoRTH specifications for Road and Bridge works, 2013. | 20.00 | 10SQM | 4724.05 | 4300.00 | 86000.00 | 545.00 | 10900.00 | 4700.00 | 94000.00 | 10900.00 | DY Infra & Projects Private Limited
18.00 | Laying and compacting 150mm thick (compacted thickness) Wet Mix Macadam (WMM)WMM laid in two Iayers of 75 mm each. grading as per table 400-13 of MoRTH :specifications for Road and Bridge works 2013 manufactured in WMM plant, material comprising of clean, crushed, graded aggregate and granular material premixed with water to a dense mass, spreading with sensor paver and rolling with vibratory roller of capacity 80-100KN static weight and consolidating to required gradient and camber complete all as specified and directed The finished surface tolerances to be as per Table 900-1 of MoRTH specifications for Road and Bridge works 2013 | 20.00 | 10SQM | 5309.42 | 4400.00 | 88000.00 | 650.00 | 13000.00 | 5300.00 | 106000.00 | 13000.00 | DY Infra & Projects Private Limited
19.00 | Supplying and laying 400 micron thick HDPE sheet (Virgin Quality) water proof, wrinkle free without puncture having minimum weight 390 gm/Sqm over tack coat/sand cushion as specified in the design with overlap between adjacent strips and at transverse joints as minimum 300mm. | 200.00 | SQM | 140.95 | 350.00 | 70000.00 | 140.00 | 28000.00 | 140.00 | 28000.00 | 28000.00 | SADH BUILDERS, DY Infra & Projects Private Limited
20.00 | M & L for P.C.C 1:4:8, D2 type using 40mm graded aggregated in foundation. | 100.00 | CUM | 6579.72 | 6950.00 | 695000.00 | 5110.00 | 511000.00 | 6500.00 | 650000.00 | 511000.00 | DY Infra & Projects Private Limited
21.00 | M&L for cement concrete in foundation ,filling and mass concrete typeB1 1:2:4 using 20mm aggregate. | 120.00 | CUM | 7840.00 | 7850.00 | 942000.00 | 6370.00 | 764400.00 | 7700.00 | 924000.00 | 764400.00 | DY Infra & Projects Private Limited
22.00 | Material and Labour for flat Formwork to faces of walls,retaining walls, abutments,parapets and staircase railings and similar work including attached pillasters, buttresses,etc.; vertical or to batter. | 500.00 | SQM | 592.26 | 900.00 | 450000.00 | 710.00 | 355000.00 | 590.00 | 295000.00 | 295000.00 | SADH BUILDERS
23.00 | Material and Labour for Providing precast slab using type B1 1:2:4 (20mm graded aggregate) in landing cover slab.. | 18.00 | CUM | 13264.56 | 9450.00 | 170100.00 | 6350.00 | 114300.00 | 10000.00 | 180000.00 | 114300.00 | DY Infra & Projects Private Limited
24.00 | M & L for R.C.C M25, 20mm graded aggregate in foundations, including rafts, footings, plinth beams etc., | 160.00 | CUM | 9168.72 | 9950.00 | 1592000.00 | 6050.00 | 968000.00 | 9000.00 | 1440000.00 | 968000.00 | DY Infra & Projects Private Limited
25.00 | M & L for R.C.C M25, 20mm graded aggregate in beams, cantilevers, bressummers, lintels over 1.50m span etc., | 35.00 | CUM | 9773.04 | 9950.00 | 348250.00 | 6500.00 | 227500.00 | 9700.00 | 339500.00 | 227500.00 | DY Infra & Projects Private Limited
26.00 | M & L for R.C.C M25, 20mm graded aggregate in Slabs supported on walls,beams and columns in floors,roofs, landings, balconies,canopies, deck slabs and in shelves and the like.etc. | 2.40 | CUM | 8866.08 | 10450.00 | 25080.00 | 6500.00 | 15600.00 | 8800.00 | 21120.00 | 15600.00 | DY Infra & Projects Private Limited
27.00 | S&F of mild steel reinforcement deformed or twisted bars 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips. | 11500.00 | KG | 98.24 | 98.00 | 1127000.00 | 105.00 | 1207500.00 | 98.00 | 1127000.00 | 1127000.00 | SADH BUILDERS, BHANU PRAKASH SUREDDI
28.00 | S&F of mild steel reinforcement deformed or twisted bars 6 to 8 mm dia , cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips . | 5000.00 | KG | 100.67 | 101.00 | 505000.00 | 102.00 | 510000.00 | 100.00 | 500000.00 | 500000.00 | SADH BUILDERS
29.00 | Supply and Fixing of Hard drawn steel wire fabric exceeding 4 Kg Per SQM cut to lengths, bent to shape required and tying with and including mild steel wire (annealed) not less than 0.9mm in dia supplied and fixed in reinforcemnt | 2000.00 | KG | 133.01 | 110.00 | 220000.00 | 95.00 | 190000.00 | 130.00 | 260000.00 | 190000.00 | DY Infra & Projects Private Limited
30.00 | Material and labour for painting steel surfaces of any description over 10cm width or grith with two coats of synthetic enamel paint over a coat of red oxide primer including preparing new surfaces . | 500.00 | SQM | 169.56 | 195.00 | 97500.00 | 150.00 | 75000.00 | 160.00 | 80000.00 | 75000.00 | DY Infra & Projects Private Limited
31.00 | S&F of Pre-painted galvalume aluminium zinc coating GI based corrugatted steel and plain sheet both 0.50mm (TCT) thick of an colour having tensile strength of 550Mpa with 50 mm thick PUF panelssandwitched between top and bottom galvalume sheets .50mm TCTas in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal/screw cap complete all as per manfacturers specifications and instructions and as approved and as directed, by considering the dimensions & consideing the dimension & height including all necessary scaffolding and safety aspects complete. | 620.00 | SQM | 767.01 | 1250.00 | 775000.00 | 850.00 | 527000.00 | 1900.00 | 1178000.00 | 527000.00 | DY Infra & Projects Private Limited
32.00 | S &F Pre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws/screw cap as specified . | 120.00 | SQM | 860.41 | 185.00 | 22200.00 | 880.00 | 105600.00 | 860.00 | 103200.00 | 22200.00 | BHANU PRAKASH SUREDDI
33.00 | Profiling of Pre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding or gutter,down take pipe,spouts,lintel level facesia and other aceesaries of PEB building. | 100.00 | SQM | 500.00 | 1000.00 | 100000.00 | 910.00 | 91000.00 | 400.00 | 40000.00 | 40000.00 | SADH BUILDERS
34.00 | M & L for providing Vaccum dewatering system to remove excess water from the laid/green concrete by providing suction mat on the freshly laid concrete which will not allow cement pater to flow out and the suction pump are then started immediately to remove the excess water. The suction time normally 20 to 30 minutes or as specified and as required at site and making the surface hard enough to enable carry the floating operation using mechancial trowel. The rate includes vaccum dewatering system and finshing the surface using mechanical trowel. | 600.00 | SQM | 93.00 | 550.00 | 330000.00 | 160.00 | 96000.00 | 70.00 | 42000.00 | 42000.00 | SADH BUILDERS
35.00 | Forming 25 mm width expansion joint in concrete slab for full depth of PQC. Early entry saw and subsequent cutting by using diamond bit cutter of appropriate size, straight and smooth edges. Joint cleaned thoroughly with application of compressed air. Joint shall be made dry, vacuum cleaned and free of dirt, oil, vegetation and other debris. The joint then filled with pre-molded 25 mm thick compressible polyethylene closed cell type filler board as specified, thereafter application of two coats of primer with thin brush by forward and backward movement at an interval of 30 minutes before placing the backup rod and pouring the sealant. Placing of closed cell, medium density, crossed linked polyethylene foam backup rod of 30 mm dia, over filler board and filled with polyurethane based sealant complying with BS- 5212, BS 4254 and EN-141gzc-2003 with minimum movement accommodation factor (MAF) of+/- 30% having minimum 10 year performance guarantee, applying masked tape on the edges of joints and removing the masking tape after filling of sealant as per the method specified by the manufacturer complete as specified and directed | 40.00 | 10 RM | 5356.68 | 1250.00 | 50000.00 | 1180.00 | 47200.00 | 5300.00 | 212000.00 | 47200.00 | DY Infra & Projects Private Limited
36.00 | Material and labour for brick work built in CM 1:6 using sub-class ''B'' bricks ,straight or curved on plain exc 6m mean radius. | 150.00 | CUM | 6500.00 | 8580.00 | 1287000.00 | 5260.00 | 789000.00 | 6700.00 | 1005000.00 | 789000.00 | DY Infra & Projects Private Limited
37.00 | M&L for Plastering with CM 1:4,15mm thick on faces of brick work and concrete surfaces finshed fair. | 1200.00 | SQM | 315.74 | 360.00 | 432000.00 | 360.00 | 432000.00 | 315.00 | 378000.00 | 378000.00 | SADH BUILDERS
38.00 | Providing and fixing factory made uPVC white colour fixed window made of extruded profiles with wall thickness of 2.3mm(+/-0.2mm). Window profile with hollow section with multi chamber. Frame (60mm x 58mm). T profile (Onevertical length in between two shutters) (60mm x 74mm). Glazing bead (35mm x 20mm) will be mitered cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc. making arrangement for fixing of hardware, EPDM gasket. 1.2( +/–0.2mm) thick, galvanized steel Frame (28mm x 21.5mm), T profile (27mm x 17 mrn) to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners- 5mm thick glazing with selected quality glass (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories Net opening will be measured for payment purpose. Area exceeding 2.00 sqm each | 20.00 | SQM | 6460.94 | 4800.00 | 96000.00 | 7898.00 | 157960.00 | 6400.00 | 128000.00 | 96000.00 | BHANU PRAKASH SUREDDI
39.00 | S & F of 6.3 mm thick Frosted Sheet glass, ordinary quality and glazing with oil putty in square exc 0.5 sq. m in each pane. | 20.00 | SQM | 1612.20 | 850.00 | 17000.00 | 1380.00 | 27600.00 | 1600.00 | 32000.00 | 17000.00 | BHANU PRAKASH SUREDDI
40.00 | Dismantling structural steel work including doors, windows, ventilators, gates but excluding framed truss etc and handing over to CE store. | 1.00 | Per Quintal | 748.32 | 3500.00 | 3500.00 | 10000.00 | 10000.00 | 740.00 | 740.00 | 740.00 | SADH BUILDERS
41.00 | Designing, providing, installing and fixing factory finished custom designed cold form Light Gauge Steel Framed super structure comprising of steel wall panel, trusses, purlins etc manufactured out of minimum 0.75mm thick steel sheet as per design requirements. The Steel sheet shall be galvanized ( AZ - 150 gms Aluminium Zinc Alloy coated steel having minimum yield strenghth 300-500 Mpa) conforming to AISI specifications and IBC 2009 for cold formed steel framing and construction and also as per IS:875-1987, ISO 800-1984 and IS:801-1975. the wind load shall be as per provisions of IS 875 (part III). LGSFS frame shall be designed as per IS:801 using commercially available software such as Frame CAD Pro-11.7/STAAD PRO-V8i/aRCHITEK V2.5.16/Revit architecture-2011 or equivalent. Proper usage of Connection Accessories like Heavy Duty Tension Ties, Light Duty Hold-ons, Twist Traps (to connect truss with wall frames), Strong Tie, Tie Rod, H-Brackets, Boxing Sections, L-Shaped Angles for better structural stability. The framing section shall be cold form C-type having minimum web depth 89mm x 39mm flange x 11mm lip in required length as per structural design requirement duly punched with dimple/slot at required locations as per approved drawings. The slots will be along center line of webs and shall be spaced minimum 250mm away from both ends of the member. The frame can be supplied in panelized or knock down condition in specific dimensions and fastened with screws extending through the steel beyond by minimum of three exposed threads. All self-drilling tapping screws for joining the members shall have a Type-II coating in accordance with ASTM B633(13) or equivalent corrosion protection of gauge 10 & 12 ,TPI 16 and 8 of length 20mm. The framed shall be fixed to RCC Slab or Tie beam over Neoprene rubber using self-expanding carbon steel anchor bolt of dia as per approved drawings and design subject to minimum 12 mm diameter and 121 mm length conforming to AISI 304 and 316 at 500mm c/c with minimum embedment of 100mm in RCC (RCC to be paid seperately) and located not more than 300mm from corners or termination of bottom tracks complete in all respects. The item also includes the submission of stability reports duly examined and issued by any NIT/IIT. The rate includes the concept design, detailed design, fabrication of sections, transportation, installation and all required fixing arrangement at site as described above. | 25650.00 | KG | 221.21 | 165.00 | 4232250.00 | 125.00 | 3206250.00 | 199.00 | 5104350.00 | 3206250.00 | DY Infra & Projects Private Limited
42.00 | Supply & fixing of powder coated anodised aluminium frame for partition,doors, windows, ventilators with one or more rebates including joining cleat for fixing and power coating etc. complete all as specified(minimum thickness of powder coating 50 micron). | 60.00 | KG | 656.29 | 850.00 | 51000.00 | 755.00 | 45300.00 | 655.00 | 39300.00 | 39300.00 | SADH BUILDERS
43.00 | Supply and fixing of Double action floor spring hydraulically regulated made up of minimum 1.25 mm thick aluminium alloy sheet foundation box, main body with stainless steel cover, governing pivot made of brass, other parts made of mild steel heavy duty and fixed. | 2.00 | Each | 4480.80 | 2500.00 | 5000.00 | 6550.00 | 13100.00 | 4000.00 | 8000.00 | 5000.00 | BHANU PRAKASH SUREDDI
44.00 | Material and Labour for pre-laminated particle board of 12 mm thick with both sides with decorative choice lamination. | 40.00 | SQM | 1022.40 | 1850.00 | 74000.00 | 470.00 | 18800.00 | 1000.00 | 40000.00 | 18800.00 | DY Infra & Projects Private Limited
45.00 | Providing and Fixing false ceiling at all heights with semi perforated 12mm thick GRG(Glass Fibre Reinforced Gypsum) flase ceiling tiles of size 595 X 595mm of approved texture design and pattern having moisture content less than 2%,humidity resistance of 99% NRCO 0.50 to 0.75 as per IS 8225:1987,noncombustible as per BS476(part-40-1970 and light reflectance of 85%(minimum) to be laid in true horizontal level suspended on interlocking metal T-grid of hot dipped GI section of 0.33mm thick(Galvanished @120 grams per sqm inculding both sides) comprising of main T runner of size15X32mmof length 3000mm,cross Tof size 15X32mm of length 600mm to form grid module of size 600X600mm suspended from ceiling using galvanished mild steel items(galvansing @80 gram perSQM)i.e 50mm long,8mm outer diameter M-6 dash fasteners,6mm dia fully threaded hanger rod upto 1000mm length and L shape level adjuster of 85X25X2mm galvanishediron perimeter wall angle of size 24x24x0.40mm of length 3000mm to be fixed on perimeter wall/parttion with the help of plastic rawl plugs at 450mm center to center and 40mm long dry wall wood screws.The work shall be carried out as per specification,drawing and as per dorection of E-I-C. | 510.00 | SQM | 1763.23 | 1950.00 | 994500.00 | 860.00 | 438600.00 | 1700.00 | 867000.00 | 438600.00 | DY Infra & Projects Private Limited
46.00 | Supply anf Fixing of structural steel Fe 410-W (Gde E- 250) quality A Roof trusses (framed), trussed, purlins, crane gantries, rails and fastenings and heavy bracket framing (Beam, tee, angle, channel or flat sections) including distance pieces, cleats etc. | 5000.00 | KG | 151.27 | 155.00 | 775000.00 | 125.00 | 625000.00 | 150.00 | 750000.00 | 625000.00 | DY Infra & Projects Private Limited
47.00 | Removal of excavated rocks exceeding 250 m but not exceeding 500 m and depositing where directed. | 20.00 | CUM | 894.96 | 350.00 | 7000.00 | 195.00 | 3900.00 | 250.00 | 5000.00 | 3900.00 | DY Infra & Projects Private Limited
48.00 | Removal of excavated soils exceeding 250 m but not exceeding 500 m and depositing where directed. | 720.00 | CUM | 699.12 | 280.00 | 201600.00 | 270.00 | 194400.00 | 200.00 | 144000.00 | 144000.00 | SADH BUILDERS
49.00 | Supply and Fixing of Framed work using Fe-290 (Gde E 165) as in doors or gates of angle or other section with gusset plates, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete | 3000.00 | KG | 139.49 | 165.00 | 495000.00 | 125.00 | 375000.00 | 139.00 | 417000.00 | 375000.00 | DY Infra & Projects Private Limited
50.00 | M & L for Granite 20mm thick machine cut, bedded and jointed with grey cement slurry and pointed with white cement with admixture of pigment to match the shade of granite stone including grinding and polishing complete | 137.00 | SQM | 2877.30 | 4200.00 | 575400.00 | 3680.00 | 504160.00 | 2870.00 | 393190.00 | 393190.00 | SADH BUILDERS
51.00 | Material and labour for Rounding to edges of stone slabs one edge, such as in steps, cooking platform, and other similar situation | 90.00 | RM | 58.20 | 380.00 | 34200.00 | 270.00 | 24300.00 | 58.00 | 5220.00 | 5220.00 | SADH BUILDERS
52.00 | Surface preparation of existing concrete flooring including scarfying, grinding or light shot blasting of concrete surface, proper cleaning, removing of loose particals, paint residuals, repairing of floor cracks and dents, removing the oil, grease, other contaminations in the flooring Two times washing the same using necessary chemicals. | 500.00 | SQM | 10.00 | 250.00 | 125000.00 | 260.00 | 130000.00 | 10.00 | 5000.00 | 5000.00 | SADH BUILDERS
53.00 | Supply and application of PU based filling material for repairing blowholes, Pin holes, bug holes and other surface undulations of distressed concrete in patches using Suitable polyurethane material. Applying of required thickness in single layer of approved product finished flush with existing surface inclusive of Manpower, Material and Equipment and necessary form work if required. Material should be of reputed (make like Master Builders Solutions / Dr.Cipy /Fosroc/ MYK arment) or suitably equivalient make as approved by EIC (Payment shall be made as per actual consumption of mortar in Kgs.). | 500.00 | KG | 157.50 | 250.00 | 125000.00 | 760.00 | 380000.00 | 130.00 | 65000.00 | 65000.00 | SADH BUILDERS
54.00 | M & L for mixing and laying of PU Sealant over concrete joints and to be sealed using over the Backer rod which shall be position on the filler board of the Expansion joints including surface preparation, providing backer rod of required dia. Approximate size of expansion joints are 25 mm x 50 mm. Material should be of reputed( make like Master Builders Solutions / Dr.Cipy /Fosroc/ MYK arment )or suitably equivalient make as approved by EIC . | 240.00 | RM | 157.50 | 120.00 | 28800.00 | 1450.00 | 348000.00 | 140.00 | 33600.00 | 28800.00 | BHANU PRAKASH SUREDDI
55.00 | Supply and application of 4mm thick (1 mm of Scratch Coat and 3 mm of Top Coat) self-smoothening polyurethane concrete Flooring system, including surface preparation before applicationof polyurethane concrete flooring like (U-crete MF of Master Builder Solutions / Nitofloor SL3000 UT of Fosroc/ Duracrete of Dr.Cipy/FloArm Top HPU 4 Plus of MYK arment)or suitably equivalient make, reputed flooring system only. Make and colour should be approved by EIC. The entire scope of the work are as follows: Surface Preparation: The surface of the substrate should be made absolutely dry & free from dust,oil,laitance to achieve the maximum bond strength between substrate & flooring system. Making necessary grooves of size 10mm X 10mm size all along the line of edge of the floor and creating mechanical bond with the existing flooring by cutting necessary grooves in the flooring, all around the existing flooring joints/ edges. Scratch Coat : The material must be applied to the prepared substrate @ minimum 1 mm thickenes (depending upon the floor condition) as a scratch coat to fill up the pores of existing flooring surface, after surface preparation and allowed to dry until it is tack free, prior to the application of the topping. All the damaged part of existing flooring system must be filled with above material. Floor Topping : Providing and application of self-smoothening Polyurethane Flooring system of 3 mm thickness with Mixed density 1.8 gm/cc and above, Adhesive pullout bond strenght above 1.5 Mpa, Tensile strength of 5-10 Mpa as per BS/ASTM Specification, compressive strength from 40 to 56 Mpa as BS/ASTM, Flexural strength of minimum 17 to 21 Mpa, Water absorption should be 0 to 0.06%, Chemical & slip resistance should be at desired level as per the specification of the manufacturer. (Make: Master Builders Solutions /Dr. Cipy / Fosroc/MYK arment)or suitably equivalient make as approved by EIC (Payment shall be made in square meters of the floor area for complete work as mentioned above.) The application should be done through authorised applicator of manufacturer. | 490.00 | SQM | 2182.95 | 350.00 | 171500.00 | 4890.00 | 2396100.00 | 1950.00 | 955500.00 | 171500.00 | BHANU PRAKASH SUREDDI
56.00 | M & L for applying polyurethane 100 - 150 mm width Line marking coating using of (Fosroc Nitoflor PUW100/Dr. Cipy FK 666 of Dr. Cipy/FloArm Top PUD of MYK arment./ U-crete of Master Builders solutions )or suitably equivalient make at 90/100 microns thick according to the lay out and width will be decided and as approved by EIC. | 50.00 | SQM | 122.00 | 360.00 | 18000.00 | 2550.00 | 127500.00 | 120.00 | 6000.00 | 6000.00 | SADH BUILDERS
57.00 | Material and labour for providing Thermally insulated PUF panels as required to size 75 mm thick colour coated plain galvalume sheet finish or laminated finish of approved colour and remaining height with PUF panels as mentioned above.The thickness of the galvalume sheet shall be 0.45 to 0.50 mm TCT including necessary covering plates to top surfaces,bottom surface ,ends,corners, and connecting joints wherver required at site . The rate is inclusive of the complete frame work required for the fixing of thermally insulated puff panels manufactured by the same manufacturer off the puff panels. | 16.00 | SQM | 2800.00 | 1650.00 | 26400.00 | 2960.00 | 47360.00 | 2750.00 | 44000.00 | 26400.00 | BHANU PRAKASH SUREDDI
58.00 | Material and labour for providing Thermally insulated PUF panels as required to size 75 mm thick colour coated plain galvalume sheet finish or laminated finish of approved colour . The glazing portion will be from 4 feet level running on all sides with 7 to 8 mm thick toughened glass 2 nos with vacum in between the two glass to be placed with a minium gap of 20 to 30 mm including all necessary fitting required for placing the glass in portion and remaining height with PUF panels as mentioned above.The thickness of the galvalume sheet shall be 0.45 to 0.50 mm TCT including necessary covering plates to top surfaces,bottom surface ,ends,corners, and connecting joints wherver required at site . The rate is inclusive of the complete frame work required for the fixing of thermally insulated puff panels manufactured by the same manufacturer off the puff panels. | 20.00 | SQM | 3850.00 | 350.00 | 7000.00 | 8500.00 | 170000.00 | 3840.00 | 76800.00 | 7000.00 | BHANU PRAKASH SUREDDI
59.00 | Supply and fixing of outdoor Rubbermatt tiles Coloured or black as approved fixed to the exisitng PU floor surface with glue as per the manufacturer instruction including provision of foam layer of 25 mm thick below the rubber matt for cushioning effect | 55.00 | SQM | 5000.00 | 800.00 | 44000.00 | 3110.00 | 171050.00 | 3200.00 | 176000.00 | 44000.00 | BHANU PRAKASH SUREDDI
60.00 | Formation of surface by power roller (Exc 8 but not exceeding 12T) for consolidating surfaces in cutting. | 20.00 | 10 SQM | 31.20 | 1350.00 | 27000.00 | 1860.00 | 37200.00 | 30.00 | 600.00 | 600.00 | SADH BUILDERS
61.00 | M & L for light shade Vitrified Ceramic tiles 10 mm thick (square/ rectangular) polished, area of each tiles exceeding 0.36 sqm , in floors/wall etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 25mm thick for laying floor finishes with for joint free | 30.00 | SQ.M | 2163.78 | 1650.00 | 49500.00 | 1610.00 | 48300.00 | 2150.00 | 64500.00 | 48300.00 | DY Infra & Projects Private Limited
62.00 | S & Fixing of door closer hydrauliclically regulated, designation no.1, universal type, suitable for door shutters upto 700mm in width and of weight not more than 35 kg and fixed with aluminium (extruded section body) | 1.00 | Each | 1397.40 | 1000.00 | 1000.00 | 1850.00 | 1850.00 | 1395.00 | 1395.00 | 1000.00 | BHANU PRAKASH SUREDDI
63.00 | M&L for applying for single coat of alkali resistant priming paint including preparation of Ceiling surfaces with 3mm thick wall care putty on gypsum board Ceiling (Make shall be of JK white putty or Birla white wall care putty) or suitably equivalent make | 500.00 | SQM | 160.76 | 230.00 | 115000.00 | 105.00 | 52500.00 | 160.00 | 80000.00 | 52500.00 | DY Infra & Projects Private Limited
64.00 | Material and labour for applying two coats of Exterior emulsion new External wall surfaces all complete (50.80+50.80=143.20)(MAKE:- ASIAN paint (Apex Ultima),NEROLAC(Excel Total) & BERGER(Weather coat long life 7) or suiably equivalent make. | 500.00 | SQM | 121.92 | 85.00 | 42500.00 | 170.00 | 85000.00 | 121.00 | 60500.00 | 42500.00 | BHANU PRAKASH SUREDDI
65.00 | Material and labour for applying two coat of oil bound distemper on internal wall surfaces (MAKE:- ASIAN, NEROLAC, BERGER) or suitably equivalent make | 480.00 | SQM | 77.52 | 235.00 | 112800.00 | 105.00 | 50400.00 | 77.00 | 36960.00 | 36960.00 | SADH BUILDERS
66.00 | Supply and install hi wall split units 2.0 TR indoor/outdoor complete with cordless remote control unit and with in built air ioniser and Plasma filter for better indoor air quality with minimum 3 star rating and EER 3.2 of capacity | 16.00 | Each | 73468.34 | 58000.00 | 928000.00 | 58500.00 | 936000.00 | 70000.00 | 1120000.00 | 928000.00 | BHANU PRAKASH SUREDDI
67.00 | Supply, install, commissioning and testing of commercial Air curtain unit 70" x 96"for prevention of dust and conditioned air losses, three phase 440 V, 50 Hz, made out of MS/ CRCA sheet of minimum thickness 18 gauge finished with two coats of red oxide primer and final coat of synthetic enamel paint (oven baked) with MS - CRC 18 gauge s q u a r e perforated suction grills, Aluminium alloy fans and single phase electric motor, nozzles etc, complete with fittings and accessories so as to produce 1- 1.5 m/sec air velocity at floor level for door opening as specified. | 2.00 | Each | 155134.31 | 12000.00 | 24000.00 | 72500.00 | 145000.00 | 120000.00 | 240000.00 | 24000.00 | BHANU PRAKASH SUREDDI
68.00 | Supply, install, commissioning and testing of commercial Air curtain unit 58" x 96"for prevention of dust and conditioned air losses, three phase 440 V, 50 Hz, made out of MS/ CRCA sheet of minimum thickness 18 gauge finished with two coats of red oxide primer and final coat of synthetic enamel paint (oven baked) with MS - CRC 18 gauge s q u a r e perforated suction grills, Aluminium alloy fans and single phase electric motor, nozzles etc, complete with fittings and accessories so as to produce 1- 1.5 m/sec air velocity at floor level for door opening as specified. | 2.00 | Each | 127373.42 | 11000.00 | 22000.00 | 78800.00 | 157600.00 | 99000.00 | 198000.00 | 22000.00 | BHANU PRAKASH SUREDDI
69.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. a) one light point or one fan point controlled by one switch with cables1.5 sqmm size. | 30.00 | Point | 1191.30 | 1350.00 | 40500.00 | 1680.00 | 50400.00 | 1200.00 | 36000.00 | 36000.00 | SADH BUILDERS
70.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. b) One 3 pin socket outlet 5 amps on the same board with other switches, with cables 2.5 sqmm size. | 10.00 | Point | 348.96 | 1300.00 | 13000.00 | 1680.00 | 16800.00 | 400.00 | 4000.00 | 4000.00 | SADH BUILDERS
71.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. C) One 3 pin socket outlet 5 amps on indepedent with cables 2.5 sqmm size. | 2.00 | Point | 1357.67 | 1250.00 | 2500.00 | 1680.00 | 3360.00 | 1355.00 | 2710.00 | 2500.00 | BHANU PRAKASH SUREDDI
72.00 | Supply & fixing and connecting to the system modular type switches 6A single pole one way(one module) (Make:Anchor Roma / LEGRAND / Anchor Roma / Crabtree) or Suitably equivalent make | 10.00 | Each | 312.60 | 350.00 | 3500.00 | 102.00 | 1020.00 | 300.00 | 3000.00 | 1020.00 | DY Infra & Projects Private Limited
73.00 | Supply & fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module (Make:Anchor Roma/LEGRAND / Crabtree) or Suitably equivalent make | 10.00 | Each | 408.65 | 450.00 | 4500.00 | 130.00 | 1300.00 | 400.00 | 4000.00 | 1300.00 | DY Infra & Projects Private Limited
74.00 | Supply & fixing and connecting to the system of socket, 16A-2/3 pin combined modular type 2 module (Make:Anchor Roma/HAVELLS/ LEGRAND / Crabtree) or Suitably equivalent make | 2.00 | Each | 634.08 | 550.00 | 1100.00 | 195.00 | 390.00 | 600.00 | 1200.00 | 390.00 | DY Infra & Projects Private Limited
75.00 | Supply and fixing ceiling fans complete with copper winding ,blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC), IS 374-2019 Make : (Atomberg / Havells/ Halonix) or suitable equivalent make | 2.00 | Each | 3179.36 | 3250.00 | 6500.00 | 4550.00 | 9100.00 | 3200.00 | 6400.00 | 6400.00 | SADH BUILDERS
76.00 | Supply & fixing of galvanised steel tubes, heavy grade 25mm dia for ceiling fan down rod. | 20.00 | RM | 408.00 | 650.00 | 13000.00 | 235.00 | 4700.00 | 400.00 | 8000.00 | 4700.00 | DY Infra & Projects Private Limited
77.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit a) 2x1.5 sqmm + 1x1.5 sqmm earth wire | 60.00 | RM | 195.98 | 750.00 | 45000.00 | 185.00 | 11100.00 | 195.00 | 11700.00 | 11100.00 | DY Infra & Projects Private Limited
78.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit b) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 100.00 | RM | 222.25 | 850.00 | 85000.00 | 255.00 | 25500.00 | 222.00 | 22200.00 | 22200.00 | SADH BUILDERS
79.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit c) 2x4.0 sqmm + 1x4.0 sqmm earth wire | 200.00 | RM | 258.00 | 950.00 | 190000.00 | 320.00 | 64000.00 | 258.00 | 51600.00 | 51600.00 | SADH BUILDERS
80.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit e) 4x6.0 sqmm + 1x6.0 sqmm earth wire | 150.00 | RM | 471.19 | 1050.00 | 157500.00 | 650.00 | 97500.00 | 471.00 | 70650.00 | 70650.00 | SADH BUILDERS
81.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit f) 4x10.0 sqmm + 1x10.0 sqmm earth wire | 50.00 | RM | 678.94 | 1150.00 | 57500.00 | 930.00 | 46500.00 | 675.00 | 33750.00 | 33750.00 | SADH BUILDERS
82.00 | Material & Labour PVC rectangular block for mounting, switches, sockets, fan regulator etc. with 3 mm thick plastic laminated sheet cover of size 350 x 300 x 50 mm deep. | 2.00 | Each | 207.84 | 650.00 | 1300.00 | 1680.00 | 3360.00 | 208.00 | 416.00 | 416.00 | SADH BUILDERS
83.00 | Supply & fixing of Switch socket combination 2 in 1, 3 pin, 6A flush type 240 volts AC (Make:, ANCHOR/HAVELLS /PHILIPS/PANASONIC) or suitable equivalent make. | 12.00 | Each | 446.64 | 650.00 | 7800.00 | 475.00 | 5700.00 | 441.00 | 5292.00 | 5292.00 | SADH BUILDERS
84.00 | Demolition of cement concrete unreinforced Concrete in ground floors and pavingc not exc 15 cm thickness (below or above ground level) | 5.00 | CUM | 1655.40 | 3200.00 | 16000.00 | 1150.00 | 5750.00 | 1600.00 | 8000.00 | 5750.00 | DY Infra & Projects Private Limited
85.00 | Supply and filling of cement concrete of where demolition work done in surface channels and drains 40mm graded aggregate. Type B2 ( 1:2:4) | 5.00 | CUM | 7903.32 | 7850.00 | 39250.00 | 6500.00 | 32500.00 | 7500.00 | 37500.00 | 32500.00 | DY Infra & Projects Private Limited
86.00 | Material and labour for Brick wall cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exceeding 20cm girth. | 40.00 | RM | 66.72 | 230.00 | 9200.00 | 165.00 | 6600.00 | 66.00 | 2640.00 | 2640.00 | SADH BUILDERS
87.00 | Supply & fixing Single pole and neutral enclosure with a two pin and earth plug and socket complete with one single pole MCB 20 amps 240 VOLTS . (Make: Legrand / Havells /Anchor) or suitable equivalent make | 10.00 | Each | 2181.36 | 600.00 | 6000.00 | 2150.00 | 21500.00 | 2100.00 | 21000.00 | 6000.00 | BHANU PRAKASH SUREDDI
88.00 | Supply and fixing of Single pole isolater , 240 V 40A (Make: Legrand / Havells /Anchor) or suitable equivalent make | 4.00 | Each | 432.17 | 2800.00 | 11200.00 | 510.00 | 2040.00 | 410.00 | 1640.00 | 1640.00 | SADH BUILDERS
89.00 | Supply & fixing 415 Volt,10KA 'C' curve MCB of TPN 40 To 100Amps in the MCB DB complete with connection testing and commissioning. (Make :Legrand/ Havells/ C&S) or suitable equivalent make | 6.00 | Each | 2832.89 | 3250.00 | 19500.00 | 2750.00 | 16500.00 | 3000.00 | 18000.00 | 16500.00 | DY Infra & Projects Private Limited
90.00 | Supply & fixing 240 Volt,10KA 'C' curve MCB of single pole 6 to 32Amps in the MCB DB complete with connection testing and commissioning. (Make Legrand/Havells/C&S ) or suitable equivalent make | 50.00 | Each | 352.80 | 600.00 | 30000.00 | 380.00 | 19000.00 | 352.00 | 17600.00 | 17600.00 | SADH BUILDERS
91.00 | Supply & fixing and connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Single pole & neutral 8 way,240 V with 200 Amps rated busbar, (Make: Legrand/Havells / ABB) or suitable equivalent make | 4.00 | Each | 2295.24 | 1500.00 | 6000.00 | 5520.00 | 22080.00 | 2290.00 | 9160.00 | 6000.00 | BHANU PRAKASH SUREDDI
92.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 6 way,415 V with 200 Amps rated busbar, (Make: Legrand/Havells / ABB) or suitable equivalent make | 2.00 | Each | 3823.44 | 1500.00 | 3000.00 | 6200.00 | 12400.00 | 3800.00 | 7600.00 | 3000.00 | BHANU PRAKASH SUREDDI
93.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 4 way,415 V with 200 Amps rated busbar, (Make: Legrand/Havells / ABB) or suitable equivalent make | 2.00 | Each | 3171.24 | 6500.00 | 13000.00 | 5510.00 | 11020.00 | 3100.00 | 6200.00 | 6200.00 | SADH BUILDERS
94.00 | Material & labour for .XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 3.5 core 150 sq.mm , U.G. cable with XLPE insulated aluminum conductor. (Make : Havells/Finolex/Orbit /Policab) or Suitably equivalent | 250.00 | RM | 911.06 | 950.00 | 237500.00 | 1680.00 | 420000.00 | 910.00 | 227500.00 | 227500.00 | SADH BUILDERS
95.00 | Excavating in trenches hard/dense soil not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 96.00 | CUM | 810.00 | 550.00 | 52800.00 | 211.00 | 20256.00 | 810.00 | 77760.00 | 20256.00 | DY Infra & Projects Private Limited
96.00 | Material & labour for sand filling for cushioning on U.G cable | 19.20 | CUM | 2369.16 | 2650.00 | 50880.00 | 211.00 | 4051.20 | 1700.00 | 32640.00 | 4051.20 | DY Infra & Projects Private Limited
97.00 | Materal & labour for Bricks; common burnt clay building bricks sub class B Old size designation 75 for protection to U.G cable | 2.16 | nos in 1000 | 6662.26 | 15000.00 | 32400.00 | 6990.00 | 15098.40 | 6660.00 | 14385.60 | 14385.60 | SADH BUILDERS
98.00 | Hard/dense soil Returning, refilling in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. Hard/dense soil. | 96.00 | CUM | 166.92 | 225.00 | 21600.00 | 185.00 | 17760.00 | 150.00 | 14400.00 | 14400.00 | SADH BUILDERS
99.00 | Supply & Fixing of modular Metal flush box, 4 module.(Make: Legrand / Havells /Anchor) or suitable equivalent make) | 2.00 | Each | 256.08 | 850.00 | 1700.00 | 98.00 | 196.00 | 250.00 | 500.00 | 196.00 | DY Infra & Projects Private Limited
100.00 | Supply & fixing of modular white cover plate with frame 4 module.(Make: Havells / Legrand/Anchor) or suitable equivalent make) | 2.00 | Each | 296.52 | 850.00 | 1700.00 | 168.00 | 336.00 | 290.00 | 580.00 | 336.00 | DY Infra & Projects Private Limited
101.00 | Material & Labour of Earthing complete with galvanised steel earth plate electrode 60×60cm.× 6mm thick, buried directly in ground (earth pit not less than 2.25 metres deep below ground level) with top edge of the plate not less'than 1.5 metres below normal ground level, connected to galvanised strip 32×6mm as earthing lead by means of bolts, nuts, check nuts and washers of galvanised iron or steel all as shown in electrical plate No. 3 connected to earthing test point all as specified or indicated including testing on completion. | 2.00 | EACH SET | 9087.48 | 18500.00 | 37000.00 | 6470.00 | 12940.00 | 9000.00 | 18000.00 | 12940.00 | DY Infra & Projects Private Limited
102.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete (Make: Havells/ Philips/ Wipro/ Bajaj/ CG) or suitably equivalent make. | 50.00 | Each | 5123.03 | 4200.00 | 210000.00 | 6400.00 | 320000.00 | 5000.00 | 250000.00 | 210000.00 | BHANU PRAKASH SUREDDI
103.00 | Material & Labour of Earth continuity conductor or main earthing lead fixed to wall on batten or recess or chases or buried in ground or drawn in conduit/pipe or fixed to poles or any other indicated situation for loop earthing etc. as required but 20x3mm copper strip. . | 18.00 | RM | 512.16 | 380.00 | 6840.00 | 3680.00 | 66240.00 | 500.00 | 9000.00 | 6840.00 | BHANU PRAKASH SUREDDI
104.00 | Demolition of cement concrete of any description and in any position | 4.80 | CUM | 1957.56 | 3200.00 | 15360.00 | 1150.00 | 5520.00 | 1900.00 | 9120.00 | 5520.00 | DY Infra & Projects Private Limited
105.00 | Material and labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete | 4.80 | CUM | 7840.00 | 7850.00 | 37680.00 | 6250.00 | 30000.00 | 7800.00 | 37440.00 | 30000.00 | DY Infra & Projects Private Limited
106.00 | Supply & fixing metal flush box for 8 module plate Make: Legrand / Havells /Anchor) or suitable equivalent make | 2.00 | Each | 125.00 | 1000.00 | 2000.00 | 205.00 | 410.00 | 126.00 | 252.00 | 252.00 | SADH BUILDERS
107.00 | Supply & fixing of 8 modular white cover plate with frame ( Make: Legrand / Havells /Anchor) or suitable equivalent make | 2.00 | Each | 360.00 | 1000.00 | 2000.00 | 205.00 | 410.00 | 350.00 | 700.00 | 410.00 | DY Infra & Projects Private Limited
108.00 | Supply & fixing of modular type Dummy plate.(Make: Legrand / Havells /Anchor) or suitable equivalent make | 10.00 | Each | 22.00 | 250.00 | 2500.00 | 295.00 | 2950.00 | 20.00 | 200.00 | 200.00 | SADH BUILDERS
109.00 | Provision of Horizontal Drilling of earth in not less than 1.5 mtr depth for road crossing along with supply and laying of DN110 HDPE pipe. | 40.00 | RM | 5000.00 | 385.00 | 15400.00 | 525.00 | 21000.00 | 4800.00 | 192000.00 | 15400.00 | BHANU PRAKASH SUREDDI
110.00 | Supply & fixing of 300 amps 4 pole TM MCCB in the existing panel by removing the 300 amps TPN FSU and replacing 300 amps 4 Pole TM MCCB with necessary modification in the copper busbar | 1.00 | SET | 49500.00 | 12000.00 | 12000.00 | 105900.00 | 105900.00 | 49000.00 | 49000.00 | 12000.00 | BHANU PRAKASH SUREDDI
111.00 | Supply, Fixing & connecting of the system cable end termination of size 120 sqmm 4 core including suitable cable end terminations. | 2.00 | SET | 1900.00 | 1650.00 | 3300.00 | 3650.00 | 7300.00 | 1850.00 | 3700.00 | 3300.00 | BHANU PRAKASH SUREDDI
| Total in Figures |  |  |  |  | 21545790.00 |  | 20060167.60 |  | 22456315.60
Lowest Amount Quoted BY: DY Infra & Projects Private Limited(20060167.60)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF NEW CENTRALIZED AC GODOWN FOR STORAGE OF HIGH VALUE OPTICAL INSTRUMENTS AND ELECTRICAL UNITS AT T-90 SHOP, HVF, AVADI. Tender ID: 2026_AVNL_279347_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DY Infra & Projects Private Limited (BID ID -1033481) | 20060167.60 | L1
| 2 | BHANU PRAKASH SUREDDI (BID ID -1033488) | 21545790.00 | L2
| 3 | SADH BUILDERS (BID ID -1033443) | 22456315.60 | L3