## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 21-Jul-2026 02:10 PM Tender Title: CONSTRUCTION OF TWO NEW VIP SUITES ABOVE NS1 AND NS2 IN AVNL GUEST HOUSE AT AVNL ESTATE Tender ID: 2026_AVNL_279485_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: CONSTRUCTION OF TWO NEW VIP SUITES ABOVE NS1 AND NS2 IN AVNL GUEST HOUSE AT AVNL ESTATE
Tender No: HVF/TE/13025/CEO/2026-27/19
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sri Lakshmi Industries (GSTN-NA) BID ID -1033964 |  | Santhosh Infrastructure (GSTN-NA) BID ID -1034011 |  | BRIDGE AND ROADS (GSTN-NA) BID ID -1033901
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of reinforced Concrete structure of any description | 2.10 | CUM | 2166.26 | 2275.00 | 4777.50 | 2166.00 | 4548.60 | 2000.00 | 4200.00 | 4200.00 | BRIDGE AND ROADS
2.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in columns, pillars, piers, posts and struts etc (concrete work should be use of Ready Mix Concrete (RMC) of M/S.ULTRA-TEC / M/S. BIRLA / M/S.RAMCO / M/S.ACC / M/S.COROMANDAL. / M/S.RMC. or Suitably Equivalent Make (minimum cement content shall be 350kg per cum) | 18.00 | CUM | 9546.27 | 10024.00 | 180432.00 | 9000.00 | 162000.00 | 9000.00 | 162000.00 | 162000.00 | BRIDGE AND ROADS, Santhosh Infrastructure
3.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in beams, cantilevers, bressummers, lintels over 1.50m span etc., (concrete work should be use of Ready Mix Concrete (RMC) of M/S.ULTRA-TEC / M/S. BIRLA / M/S.RAMCO / M/S.ACC / M/S.COROMANDAL. / M/S.RMC or Suitably Equivalent Make (minimum cement content shall be 350kg per cum). | 9.00 | CUM | 9077.53 | 9531.00 | 85779.00 | 9000.00 | 81000.00 | 8700.00 | 78300.00 | 78300.00 | BRIDGE AND ROADS
4.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in Slabs supported on walls,beams and columns in floors,roofs, landings, balconies,canopies, deck slabs and in shelves and the like.etc.(concrete work should be use of Ready Mix Concrete (RMC) of M/S.ULTRA-TEC / M/S. BIRLA / M/S.RAMCO / M/S.ACC / M/S.COROMANDAL. / M/S.RMC. or Suitably Equivalent Make (minimum cement content shall be 350kg per cum) | 25.00 | CUM | 8208.36 | 8619.00 | 215475.00 | 8000.00 | 200000.00 | 8000.00 | 200000.00 | 200000.00 | BRIDGE AND ROADS, Santhosh Infrastructure
5.00 | Supply and fixing of mild steel reinforcement deformed or twisted bars including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. Used RINL-VIZAG Steel/SAIL/TATA-TISCON/"BIS"MARKED or Suitably Equivalent Make | 5200.00 | KG | 94.15 | 99.00 | 514800.00 | 95.00 | 494000.00 | 95.00 | 494000.00 | 494000.00 | BRIDGE AND ROADS, Santhosh Infrastructure
6.00 | M & L for form work to side of RCC Member such as columns, pillars etc., and the finishing shall be of fair finished surface. | 90.00 | SQM | 780.24 | 819.00 | 73710.00 | 600.00 | 54000.00 | 750.00 | 67500.00 | 54000.00 | Santhosh Infrastructure
7.00 | M & L for form work to sides and soffits of floor or roof beam, beam, lintels, cantilevers, shelves, columns, slabs including supports, overhangs etc., and the finishing shall be of fair finished surface. | 150.00 | SQM | 624.67 | 656.00 | 98400.00 | 580.00 | 87000.00 | 650.00 | 97500.00 | 87000.00 | Santhosh Infrastructure
8.00 | M & L for form work to soffits rough, flat finish surfaces of suspended slabs such as roof slabs, floor slabs, landings and similar work not exceeding 200mm thick (Horizontal or sloping) and the finishing shall be of fair finished surface. | 180.00 | SQM | 662.00 | 695.00 | 125100.00 | 550.00 | 99000.00 | 650.00 | 117000.00 | 99000.00 | Santhosh Infrastructure
9.00 | M & L for Brick work built in CM.1:6 using Good quality modular bricks / solid Concrete bricks straight or curved on plan exc 6m mean radius. | 75.00 | CUM | 7200.00 | 7850.00 | 588750.00 | 5200.00 | 390000.00 | 7000.00 | 525000.00 | 390000.00 | Santhosh Infrastructure
10.00 | M & L for half Brick wall built in CM.1:4 using Sub-Class “B” Bricks. | 30.00 | SQM | 773.48 | 812.00 | 24360.00 | 600.00 | 18000.00 | 750.00 | 22500.00 | 18000.00 | Santhosh Infrastructure
11.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete surfaces. | 600.00 | SQM | 302.59 | 340.00 | 204000.00 | 240.00 | 144000.00 | 280.00 | 168000.00 | 144000.00 | Santhosh Infrastructure
12.00 | M & L for plastering in CM 1:4, 12mm thick on RCC Ceiling. | 300.00 | SQM | 291.77 | 340.00 | 102000.00 | 220.00 | 66000.00 | 280.00 | 84000.00 | 66000.00 | Santhosh Infrastructure
13.00 | Material and labour for two coats of exterior emulsion paint on surfaces of any description over 10cm girth or width, not otherwise described including preparation of new painted surface with one coat of primer. (Make : ASIAN/NEROLAC/BERGER or Suitably Equivalent Make) | 600.00 | SQM | 164.68 | 173.00 | 103800.00 | 140.00 | 84000.00 | 200.00 | 120000.00 | 84000.00 | Santhosh Infrastructure
14.00 | Material and labour for applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth. | 600.00 | SQM | 218.50 | 229.00 | 137400.00 | 220.00 | 132000.00 | 200.00 | 120000.00 | 120000.00 | BRIDGE AND ROADS
15.00 | M&L for applying two coats of plastic emulsion emulsion on ceiling/ internal wall surfaces including preparation of old wall surfaces complete all as directed. Make: Asian/Berger or Suitably Equivalent Make | 600.00 | SQM | 136.05 | 143.00 | 85800.00 | 120.00 | 72000.00 | 250.00 | 150000.00 | 72000.00 | Santhosh Infrastructure
16.00 | S&F of Vitrified Ceramic tiles 10 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bed or bedding layer ofcement mortar 1:3 , 15 mm thick for laying Bath room floor finishess. | 15.00 | SQM | 1982.20 | 2081.00 | 31215.00 | 2000.00 | 30000.00 | 2000.00 | 30000.00 | 30000.00 | BRIDGE AND ROADS, Santhosh Infrastructure
17.00 | S&F of Vitrified Ceramic tiles 10 mm thick of Dark Shade (square/ rectangular) polished, area of each tiles of size 1800x1200mm in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bed or bedding layer of mortar 15 mm thick for laying floor finishess. | 160.00 | SQM | 3900.00 | 4055.00 | 648800.00 | 3300.00 | 528000.00 | 2700.00 | 432000.00 | 432000.00 | BRIDGE AND ROADS
18.00 | Material and Labour for Gl frame work for seamless ceiling comprising of Gl perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre with Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long complete all as specified. complete as directed by EIC. | 85.00 | SQM | 684.51 | 719.00 | 61115.00 | 700.00 | 59500.00 | 650.00 | 55250.00 | 55250.00 | BRIDGE AND ROADS
19.00 | Material and Labour Providing and fixing 10mm thick plaster of paris ceiling (Gypsum anhydrous) to flat surface with metal frame work and reinforced with G.I. wire mesh (Fillets, metal frame work and G.I. wire mesh paid separately) including for any raised or sunk moulding & Including cornice at corners and applying of neeru finish/putty and one coat of primer and two coats of plastic emulsion on new surfaces complete as directed by EIC. and also making the provisions for electrical fittings etc by cutting the board as approved and complete. | 85.00 | SQM | 2126.10 | 2232.00 | 189720.00 | 2100.00 | 178500.00 | 2500.00 | 212500.00 | 178500.00 | Santhosh Infrastructure
20.00 | Material and Labour for providing cornice to the false ceiling at the corners of 15cm width and apply neeru finish/putty and one coat or primer and two coats of plastic emulsion complete ad directed by EIC. | 70.00 | RM | 355.00 | 373.00 | 26110.00 | 355.00 | 24850.00 | 500.00 | 35000.00 | 24850.00 | Santhosh Infrastructure
21.00 | S & F of I class hard wood door frame, wrought framed rebated on the solid rounded or chamfered put together with glue pined at joints. | .30 | CUM | 198690.45 | 208625.00 | 62587.50 | 200000.00 | 60000.00 | 150000.00 | 45000.00 | 45000.00 | BRIDGE AND ROADS
22.00 | S & F of plain, framed, panelled door shutters 40mm thick made out of I class hard wood. | 15.00 | SQM | 5364.29 | 5633.00 | 84495.00 | 5500.00 | 82500.00 | 6000.00 | 90000.00 | 82500.00 | Santhosh Infrastructure
23.00 | Providing and fixing factory made uPVG white colour Sliding window Three track made of extruded profiles with wall thickness of 2.3mm (+ - 0.2mm). Window profile with hollow section with multi chamber. Frame (88mm x 52mm), sliding sash (42mm x 67mm). Sliding mesh Sash (42mm x 57mm) Sliding interlock (One vertical length in each shutters) (45.5mm x 28mm), Glazing bead (24.5mm x 16mm) will be miterd cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc., making arrangement for fixing of hardware. EPDM gasket, 1.2+ -0.2mm thick galvanised steel Frame (30mm x 18mm) 2 nos, sliding sash (30mm x 18mm), sliding mesh sash (26mm x 10mm) profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners, Hardware [Touch Lock of zinc alloyed (white powder coated), steel roller system. Stainless steel wire cloth 0.36mm nominal dia of wire and average width of aperture(B) 1.40mm and required accessories directed by EIC) Area exceeding 2.00 sqm each | 8.00 | SQM | 11065.82 | 11619.00 | 92952.00 | 11100.00 | 88800.00 | 10500.00 | 84000.00 | 84000.00 | BRIDGE AND ROADS
24.00 | Supply and Fixing of sheet Glass 5.50mm quality and glazing with oil putty in square exc 0.5Sqm in each pane ground or obscured or tinted on one side and as approved and as directed by EIC | 7.00 | SQM | 1399.86 | 1470.00 | 10290.00 | 1400.00 | 9800.00 | 1100.00 | 7700.00 | 7700.00 | BRIDGE AND ROADS
25.00 | M & L for French polishing on surfaces of any description, width or girth including cleaning and preparing the surface including a coat of wood filler on new works with two or more coats | 20.00 | SQM | 137.37 | 144.00 | 2880.00 | 140.00 | 2800.00 | 150.00 | 3000.00 | 2800.00 | Santhosh Infrastructure
26.00 | Supply and Fixing of Brass Butt hinges type B-12 of 125mm length. | 18.00 | EACH | 268.99 | 282.00 | 5076.00 | 300.00 | 5400.00 | 250.00 | 4500.00 | 4500.00 | BRIDGE AND ROADS
27.00 | Supply and Fixingof brass barrel tower bolts with barrel of extruded section and rolled or cast bolts and fixed 200mm long. | 12.00 | EACH | 344.31 | 362.00 | 4344.00 | 350.00 | 4200.00 | 300.00 | 3600.00 | 3600.00 | BRIDGE AND ROADS
28.00 | Supply and Fixing of Extruded Brass Handles fabricated type polished of 150mm length | 12.00 | EACH | 308.09 | 323.00 | 3876.00 | 310.00 | 3720.00 | 300.00 | 3600.00 | 3600.00 | BRIDGE AND ROADS
29.00 | Supply and Fixing of Brass 4 levers Mortice lock vertical type of Size 100mm | 6.00 | EACH | 872.62 | 916.00 | 5496.00 | 900.00 | 5400.00 | 800.00 | 4800.00 | 4800.00 | BRIDGE AND ROADS
30.00 | Supply and Fixing of Brass door stopper 150mm length with hard drawn steel spring. | 6.00 | EACH | 320.16 | 336.00 | 2016.00 | 320.00 | 1920.00 | 300.00 | 1800.00 | 1800.00 | BRIDGE AND ROADS
31.00 | Supply and fixing of Door closer hydraulically regulated designation No.3 universal or hard drawn type of Aluminum extruded body. | 6.00 | EACH | 1733.05 | 1820.00 | 10920.00 | 1800.00 | 10800.00 | 1500.00 | 9000.00 | 9000.00 | BRIDGE AND ROADS
32.00 | Cutting holes in brick walls built in cement mortar Exc.half brick work but not exc.one brick for inserting hold fasts and making good dismantled portion in cement mortar 1:3 or cement concrete 1:2:4 type B1 as required. | 24.00 | EACH | 391.22 | 411.00 | 9864.00 | 400.00 | 9600.00 | 350.00 | 8400.00 | 8400.00 | BRIDGE AND ROADS
33.00 | S & F of PVC Bend 110mm dia any radius. | 6.00 | EACH | 143.75 | 151.00 | 906.00 | 145.00 | 870.00 | 120.00 | 720.00 | 720.00 | BRIDGE AND ROADS
34.00 | PVC (SWR) reducers 110mm dia any radius. | 6.00 | EACH | 155.25 | 163.00 | 978.00 | 160.00 | 960.00 | 150.00 | 900.00 | 900.00 | BRIDGE AND ROADS
35.00 | Supply and fixing of holdfast made out of 25 X 6 mm flat fixed to window frame. | 25.00 | KG | 208.24 | 219.00 | 5475.00 | 210.00 | 5250.00 | 200.00 | 5000.00 | 5000.00 | BRIDGE AND ROADS
36.00 | Supply and Fixing of 12mm thick solid surface (KOREAN TOP) as per required size and shape for wash basin top and mirror beading including polishing etc. | 8.00 | SQM | 14000.00 | 14700.00 | 117600.00 | 14000.00 | 112000.00 | 20000.00 | 160000.00 | 112000.00 | Santhosh Infrastructure
37.00 | Supply and Fixing of 12mm thick toughened glass partition with sliding / openable door with all necessary ss fittings such as hinges and handles in wash room for sepration of dray area and wet area | 8.00 | SQM | 15000.00 | 15750.00 | 126000.00 | 15000.00 | 120000.00 | 14000.00 | 112000.00 | 112000.00 | BRIDGE AND ROADS
38.00 | Providing and fixing of glass flim stickering of Generic forest lanscape any scenery god /godess etc., as approved and as ditrected with waranty as per the manufacturer specification and instructions. | 35.00 | SQM | 8000.00 | 8400.00 | 294000.00 | 7000.00 | 245000.00 | 2000.00 | 70000.00 | 70000.00 | BRIDGE AND ROADS
39.00 | Supply and Fixing of stair Case railing with ss balusters and 12mm toughened glass. | 20.00 | SQM | 12000.00 | 12600.00 | 252000.00 | 10000.00 | 200000.00 | 12000.00 | 240000.00 | 200000.00 | Santhosh Infrastructure
40.00 | Supply and Fixing of electronic access lock of godrej or equivalent make for main doors . | 2.00 | EACH | 22500.00 | 23625.00 | 47250.00 | 22500.00 | 45000.00 | 25000.00 | 50000.00 | 45000.00 | Santhosh Infrastructure
41.00 | Supply and Fixing of Granite 20mm thick (of any type) work (table rubbed and polished) in steps, jambs, pillars, window-cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite complete all as direced by EIC. | 20.00 | SQM | 5961.26 | 6259.00 | 125180.00 | 5100.00 | 102000.00 | 5000.00 | 100000.00 | 100000.00 | BRIDGE AND ROADS
42.00 | Material and Labour for Providing edge moulding for Granite stone of 18-20mm thick stone of counters vanities etc. including machine polishing to edge to give high gloss finish etc. complete. | 60.00 | RM | 432.69 | 454.00 | 27240.00 | 450.00 | 27000.00 | 400.00 | 24000.00 | 24000.00 | BRIDGE AND ROADS
43.00 | S & F of WPC (wood pvc composite panel) Plywood of thickness 18mm including necessary adhesives etc complete., | 10.00 | SQM | 3500.00 | 3675.00 | 36750.00 | 3500.00 | 35000.00 | 3400.00 | 34000.00 | 34000.00 | BRIDGE AND ROADS
44.00 | Supply and Fixing of Stainless steel Handle with pvd coating of Size 600mm/450 includign necessay screws etc complete. | 8.00 | EACH | 6500.00 | 6825.00 | 54600.00 | 6500.00 | 52000.00 | 6000.00 | 48000.00 | 48000.00 | BRIDGE AND ROADS
45.00 | Providing and fixing in position Toilet Wall mounted Coupled Closet, Including soft seat cover, concealed flush tank etc. Make : JAGUAR/KOHLER/DURAVIT or Suitably Equivalent Make . | 2.00 | EACH | 65000.00 | 68250.00 | 136500.00 | 65000.00 | 130000.00 | 75000.00 | 150000.00 | 130000.00 | Santhosh Infrastructure
46.00 | Diverter with hand shower and rain shower of 200mm dia of make Jaguar/Parryware/Cera or Suitably Equivalent Make. | 2.00 | EACH | 40000.00 | 42000.00 | 84000.00 | 40000.00 | 80000.00 | 15000.00 | 30000.00 | 30000.00 | BRIDGE AND ROADS
47.00 | Supply and Fixing of hot and cold Piller cock 15mm long body fixed on wash basin with all necessary fitting etc. (Make : Parryware/Jaguar/Kohler) or Suitably Equivalent Make. | 2.00 | Nos | 8500.00 | 8925.00 | 17850.00 | 8500.00 | 17000.00 | 8000.00 | 16000.00 | 16000.00 | BRIDGE AND ROADS
48.00 | Providing and fixing Counter sunk wash basins, waste coupling. Cost incl. of providing and fixing of bottle traps, angle valve, Teflon tape etc. complete as directed by the architects. Make : GUAR/KOHLER/DURAVIT or Suitably Equivalent Make. | 2.00 | EACH | 25000.00 | 26250.00 | 52500.00 | 25000.00 | 50000.00 | 20000.00 | 40000.00 | 40000.00 | BRIDGE AND ROADS
49.00 | Supply and fixing of Angle Cock (15mm) with pipe (Make : Jaguar/Parryware/Cera or Suitably Equivalent Make.) | 12.00 | EACH | 1545.00 | 1622.00 | 19464.00 | 1550.00 | 18600.00 | 1200.00 | 14400.00 | 14400.00 | BRIDGE AND ROADS
50.00 | Supply and fixing of PVC connections 15mm size with PTMT nuts of length 450mm. | 4.00 | EACH | 172.50 | 181.00 | 724.00 | 173.00 | 692.00 | 150.00 | 600.00 | 600.00 | BRIDGE AND ROADS
51.00 | Supply and fixing of Chromium Plated Health faucet (Make: ESS YES "VICTORIAN"/Parryware/CERA or Suitably Equivalent Make). | 2.00 | EACH | 3500.00 | 3675.00 | 7350.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 6000.00 | BRIDGE AND ROADS
52.00 | Supply and fixing of towel rake (Make : Jaguar/Paryware/CERA or Suitably Equivalent Make) | 2.00 | EACH | 3455.00 | 3628.00 | 7256.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 6000.00 | BRIDGE AND ROADS
53.00 | Supply and fixing of towel Ring of Make :Jaguar/Paryware/CERA or Suitably Equivalent Make | 2.00 | EACH | 1345.00 | 1412.00 | 2824.00 | 1400.00 | 2800.00 | 1000.00 | 2000.00 | 2000.00 | BRIDGE AND ROADS
54.00 | Supply and Fixing of Soap dish fixed with chromium plated brass screws and wooden/plastic cleats (Make: Parryware/Jaguar/CERA or Suitably Equivalent Make) | 2.00 | Nos | 1025.00 | 1076.00 | 2152.00 | 1100.00 | 2200.00 | 1000.00 | 2000.00 | 2000.00 | BRIDGE AND ROADS
55.00 | S & F of Looking Mirror of any size as required at site selected quality glass, mount on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass.Decorative type with LED lighting. | 5.00 | SQM | 5000.00 | 5250.00 | 26250.00 | 5000.00 | 25000.00 | 2500.00 | 12500.00 | 12500.00 | BRIDGE AND ROADS
56.00 | Supply and fixing of tubular towel rail 20mm D type 60cm long of Brass Chromium plated with and including chromium coated brass screws and wooden /plastic cleats. (Make: Kohler/Jaguar/Cera or Suitably Equivalent make) | 4.00 | EACH | 2900.00 | 3045.00 | 12180.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 10000.00 | BRIDGE AND ROADS
57.00 | Supply and Fixing of CPVC pipe 25 mm SDR11 & plain CPVC SDR 11 Fitting on concealed walls/ceiling or laying in floor complete all as specified. | 40.00 | RM | 406.41 | 427.00 | 17080.00 | 410.00 | 16400.00 | 350.00 | 14000.00 | 14000.00 | BRIDGE AND ROADS
58.00 | Supply and Fixing of CPVC pipe 20 mm SDR11 & plain CPVC SDR 11 Fitting on concealed walls/ceiling or laying in floor complete all as specified. | 45.00 | RM | 281.29 | 295.00 | 13275.00 | 300.00 | 13500.00 | 300.00 | 13500.00 | 13275.00 | Sri Lakshmi Industries
59.00 | M & L for SS Drain Channel/ floor trap of required shape and size as per side requirement. | 4.00 | EACH | 5200.00 | 5460.00 | 21840.00 | 5200.00 | 20800.00 | 4500.00 | 18000.00 | 18000.00 | BRIDGE AND ROADS
60.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 60.00 | RM | 464.19 | 487.00 | 29220.00 | 465.00 | 27900.00 | 450.00 | 27000.00 | 27000.00 | BRIDGE AND ROADS
61.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints fixed to walls. | 35.00 | RM | 545.97 | 573.00 | 20055.00 | 550.00 | 19250.00 | 550.00 | 19250.00 | 19250.00 | BRIDGE AND ROADS, Santhosh Infrastructure
62.00 | Cutting chasesin Brick walls, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth | 30.00 | RM | 58.02 | 61.00 | 1830.00 | 60.00 | 1800.00 | 400.00 | 12000.00 | 1800.00 | Santhosh Infrastructure
63.00 | Supply and Fixing of Tumbler Holder of Make: Jaguar, ESS ESS / Parryware or Suitably Equivalent make | 2.00 | Nos | 1255.00 | 1318.00 | 2636.00 | 1260.00 | 2520.00 | 1000.00 | 2000.00 | 2000.00 | BRIDGE AND ROADS
64.00 | Supply and Fixing of Toilet paper Holder of Make Jaguar, ESS ESS, Parryware or Suitably Equivalent make | 2.00 | Nos | 1255.00 | 1318.00 | 2636.00 | 1260.00 | 2520.00 | 1000.00 | 2000.00 | 2000.00 | BRIDGE AND ROADS
65.00 | M & L for providing 12mm thick Natural stone | 10.00 | SQM | 4200.00 | 4410.00 | 44100.00 | 4300.00 | 43000.00 | 4000.00 | 40000.00 | 40000.00 | BRIDGE AND ROADS
66.00 | M & L for providing 8MM thick Clay terracota tiles including necessary screed bed in cm 1:6 as per shape and size for front and side elevation works. | 30.00 | SQM | 4000.00 | 4200.00 | 126000.00 | 3500.00 | 105000.00 | 3500.00 | 105000.00 | 105000.00 | BRIDGE AND ROADS, Santhosh Infrastructure
67.00 | Supply and Fixing of pressure booster pump of 0.5 HP with necessary inlet and out let connection of make Grundfos / Crompton / CRI or Suitably Equivalent make | 2.00 | Nos | 24000.00 | 25200.00 | 50400.00 | 25000.00 | 50000.00 | 25000.00 | 50000.00 | 50000.00 | BRIDGE AND ROADS, Santhosh Infrastructure
68.00 | Obtaining structural design from qualified Structural Engineer. | 1.00 | WJ | 75000.00 | 78750.00 | 78750.00 | 85000.00 | 85000.00 | 100000.00 | 100000.00 | 78750.00 | Sri Lakshmi Industries
69.00 | Supply and Fixing of Rotational moulded polye?thylene water storage tanks (1000 Lit) (cylindrical vertical with closed top) hoisted and fixed in position all as specified | 2.00 | EACH | 9425.93 | 9897.00 | 19794.00 | 9500.00 | 19000.00 | 11000.00 | 22000.00 | 19000.00 | Santhosh Infrastructure
70.00 | Supply and application of seamless Polyurethane (PU) based elastomeric coating exposable to atmosphere. The work consisting: a) Supply &Application of PU based primer minimum of 100gms per SQM. b) supply and application of seamless PU based elastomeric coating over a primer coat to achieve a thickness of 1.5 mm DFT in two coats, with an application rate of minimum 2.1 kg/Sq.M, having minimum solid content (ASTM 836) of more than 85% and elongation also more than 400%. c) Supply & Application of Protective UV top coat @ 0.25 kg/sq.m. (The Contractor Shall use the material from the reputed manufacturers such as "Master Builders Solutions", "MYK Arment", "Dr. Fixit", "Alchimica", "Bostik", Asians Smartcare and "Tecnopol" or Suitably Equivalent make as approved by EIC) | 160.00 | SQM | 1075.00 | 1120.00 | 179200.00 | 1100.00 | 176000.00 | 1000.00 | 160000.00 | 160000.00 | BRIDGE AND ROADS
71.00 | M & L for cleaning on roof surfaces using hand buffing machine/mosaic polishing machine and depositng the removed materials to a distance not less than 1 KM . | 160.00 | SQM | 50.00 | 53.00 | 8480.00 | 50.00 | 8000.00 | 100.00 | 16000.00 | 8000.00 | Santhosh Infrastructure
72.00 | Removal of excavated (debris) exceeding 250m but not exceeding 500m and depositing where directed. | 2.10 | CUM | 857.67 | 901.00 | 1892.10 | 900.00 | 1890.00 | 650.00 | 1365.00 | 1365.00 | BRIDGE AND ROADS
73.00 | Material and labour for one light /fan/Bell push point controlled by one switch with cables1.5 sqmm size wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including copper earth continuity wire (same size of phase wire). (Make: Finolex/Orbit /Havells/ polycab or suitable equivalent make) | 60.00 | Point | 1141.66 | 1150.00 | 69000.00 | 1150.00 | 69000.00 | 1500.00 | 90000.00 | 69000.00 | Sri Lakshmi Industries, Santhosh Infrastructure
74.00 | Material and labour for One 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sqmm size wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including copper earth continuity wire (same size of phase wire) . (Make:Finolex/Orbit /Havells/ polycab or suitable equivalent make) | 35.00 | Point | 326.72 | 343.00 | 12005.00 | 350.00 | 12250.00 | 300.00 | 10500.00 | 10500.00 | BRIDGE AND ROADS
75.00 | Material and labour for One 3 pin socket outlet 5 amps independent, with cables 2.5 sqmm size wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall or roof including M.S. switch box concealed in the wall (made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including copper earth continuity wire (same size of phase wire). (Make:Finolex/Orbit /Havells/ polycab or suitable equivalent make) | 8.00 | Point | 1301.10 | 1355.00 | 10840.00 | 1300.00 | 10400.00 | 1100.00 | 8800.00 | 8800.00 | BRIDGE AND ROADS
76.00 | Material and labour for One light point controlled by two 2-way switches with cables 1.5 sqmm size wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including copper earth continuity wire (same size of phase wire). (Make:Finolex/Orbit /Havells/ polycab or suitable equivalent make) | 2.00 | Point | 1607.65 | 1688.00 | 3376.00 | 1600.00 | 3200.00 | 1500.00 | 3000.00 | 3000.00 | BRIDGE AND ROADS
77.00 | Supply fixing and connecting to the system modular switch, 1 way, 10A, 1 Module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 104.00 | Each | 299.58 | 315.00 | 32760.00 | 300.00 | 31200.00 | 300.00 | 31200.00 | 31200.00 | BRIDGE AND ROADS, Santhosh Infrastructure
78.00 | Supply, fixing and connecting to the system of Modular socket, 6A-2/3 pin combined, 2 module (Make: LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 44.00 | Each | 391.62 | 411.00 | 18084.00 | 400.00 | 17600.00 | 450.00 | 19800.00 | 17600.00 | Santhosh Infrastructure
79.00 | Supply, fixing and connecting to the system modular switch one way 16A, 1 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 8.00 | Each | 395.26 | 415.00 | 3320.00 | 400.00 | 3200.00 | 450.00 | 3600.00 | 3200.00 | Santhosh Infrastructure
80.00 | Supply, fixing and connecting to the system of Modular socket, 6/16A-2/3 pin combined modular, 2 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 8.00 | Each | 607.66 | 638.00 | 5104.00 | 610.00 | 4880.00 | 550.00 | 4400.00 | 4400.00 | BRIDGE AND ROADS
81.00 | Supply fixing and connecting to the system Modular switch 2 way 6A, 1 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 4.00 | Each | 353.40 | 371.00 | 1484.00 | 360.00 | 1440.00 | 350.00 | 1400.00 | 1400.00 | BRIDGE AND ROADS
82.00 | Supply,fixing and connecting modular bell push 6A, 1 module, 230V and connecting to the system. (Make:LEGRAND MYRIUS/ Litaski/ Crabtree or suitable equivalent make) | 6.00 | Each | 353.40 | 371.00 | 2226.00 | 360.00 | 2160.00 | 350.00 | 2100.00 | 2100.00 | BRIDGE AND ROADS
83.00 | Supply & fixing of modular white cover plate with frame 2 module | 20.00 | Each | 225.17 | 236.00 | 4720.00 | 225.00 | 4500.00 | 250.00 | 5000.00 | 4500.00 | Santhosh Infrastructure
84.00 | Supply & fixing metal flush box for 2 module plate | 20.00 | Each | 205.97 | 216.00 | 4320.00 | 210.00 | 4200.00 | 250.00 | 5000.00 | 4200.00 | Santhosh Infrastructure
85.00 | Supply & fixing of 4 module modular white cover plate with frame | 6.00 | Each | 284.17 | 298.00 | 1788.00 | 300.00 | 1800.00 | 250.00 | 1500.00 | 1500.00 | BRIDGE AND ROADS
86.00 | Supply & fixing of metal flush box for 4 module plate | 6.00 | Each | 245.41 | 258.00 | 1548.00 | 250.00 | 1500.00 | 250.00 | 1500.00 | 1500.00 | BRIDGE AND ROADS, Santhosh Infrastructure
87.00 | Supply & fixing of 6 module modular white cover plate with frame | 2.00 | Each | 356.04 | 374.00 | 748.00 | 360.00 | 720.00 | 350.00 | 700.00 | 700.00 | BRIDGE AND ROADS
88.00 | Supply & fixing of metal flush box for 6 module plate | 2.00 | Each | 326.72 | 343.00 | 686.00 | 330.00 | 660.00 | 350.00 | 700.00 | 660.00 | Santhosh Infrastructure
89.00 | Supply & fixing of 8 module modular white cover plate with frame | 4.00 | Each | 438.61 | 461.00 | 1844.00 | 450.00 | 1800.00 | 450.00 | 1800.00 | 1800.00 | BRIDGE AND ROADS, Santhosh Infrastructure
90.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body (Make: ANCHOR / LEGRAND/ HAVELLS or suitable equivalent make) | 26.00 | Each | 75.56 | 79.00 | 2054.00 | 80.00 | 2080.00 | 100.00 | 2600.00 | 2054.00 | Sri Lakshmi Industries
91.00 | Supply and fixing of buzzer ding dong type AC 230 Volts single pole. (Make:Anchor/Havells/ Orbit or suitable equivalent make) | 2.00 | Each | 494.96 | 520.00 | 1040.00 | 500.00 | 1000.00 | 450.00 | 900.00 | 900.00 | BRIDGE AND ROADS
92.00 | Supply & Fixing of wiring for circuit/sub main wiring with 2x2.5sqmm + 1x2.5sqmm with earth wire of FRLS PVC insulated copper conductor, single core cable along with PVC conduit and conduit accessories in surface/recessed as required. (Make: Finolex/ Orbit / Havells/ polycab or suitable equivalent make) | 250.00 | RM | 212.99 | 215.00 | 53750.00 | 220.00 | 55000.00 | 250.00 | 62500.00 | 53750.00 | Sri Lakshmi Industries
93.00 | Supply & Fixing of wiring for circuit/sub main wiring with 2x4.0 sq.mm + 1x4.0 sq.mm with earth wire of FRLS PVC insulated copper conductor, single core cable along with PVC conduit and conduit accessories in surface/recessed as required. (Make: Finolex/ Orbit / Havells/ polycab or suitable equivalent make) | 280.00 | RM | 247.25 | 250.00 | 70000.00 | 250.00 | 70000.00 | 250.00 | 70000.00 | 70000.00 | BRIDGE AND ROADS, Sri Lakshmi Industries, Santhosh Infrastructure
94.00 | Supply & Fixing of wiring for circuit/sub main wiring with 4x10.0 sq. mm + 1x10.0 sq. mm earth wire of FRLS PVC insulated copper conductor, single core cable along with PVC conduit and conduit accessories in surface/recessed as required. (Make: Finolex/ Orbit / Havells/ polycab or suitable equivalent make) | 15.00 | RM | 650.65 | 900.00 | 13500.00 | 650.00 | 9750.00 | 650.00 | 9750.00 | 9750.00 | BRIDGE AND ROADS, Santhosh Infrastructure
95.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 170.00 | RM | 59.92 | 63.00 | 10710.00 | 62.00 | 10540.00 | 150.00 | 25500.00 | 10540.00 | Santhosh Infrastructure
96.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 4 way with 200 Amps rated busbar, (Make: Legrand/Havells or suitably equivalent make) | 2.00 | Each | 3039.11 | 3191.00 | 6382.00 | 3050.00 | 6100.00 | 4500.00 | 9000.00 | 6100.00 | Santhosh Infrastructure
97.00 | Supply and fixing of TP (Triple pole) 25 To 63 AMP, 415V 10KA 'B' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning. (Make: legrand/ havells/ ABB or suitably equivalent make) | 4.00 | Each | 1952.24 | 2050.00 | 8200.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 8000.00 | Santhosh Infrastructure
98.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. ( Make: STANDARD /LEGRAND/ HAVELLS / ABB / Schneider or suitable equivalent make) | 24.00 | Each | 326.83 | 343.00 | 8232.00 | 330.00 | 7920.00 | 400.00 | 9600.00 | 7920.00 | Santhosh Infrastructure
99.00 | Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. Make: PHILIPS / CG /Havells / Wipro or suitable equivalent make | 4.00 | Each | 1501.21 | 1576.00 | 6304.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 6000.00 | BRIDGE AND ROADS, Santhosh Infrastructure
100.00 | Supply and fixing LED light fitting mirror type with high out put diffuser 2 feet, 10 watt 220 V AC decorative type with driver holder and LED lamp including connecting up with three core flexible copper conductor cable of suitable size complete. Make: PHILIPS / CG /Havells / Wipro/ Klite/ Bajaj / Luker or suitable equivalent make | 8.00 | Each | 1558.03 | 1636.00 | 13088.00 | 1600.00 | 12800.00 | 1500.00 | 12000.00 | 12000.00 | BRIDGE AND ROADS
101.00 | Supply, fixing & connecting of Fan step regulator modular type 120W, 2 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitable equivalent make) | 6.00 | Each | 1170.64 | 1229.00 | 7374.00 | 1300.00 | 7800.00 | 1000.00 | 6000.00 | 6000.00 | BRIDGE AND ROADS
102.00 | Supply and fix exhaust fan made of sturdy Engineering plastic complete with louvers shutter, voltage 230V, 50 Hz, RPM 1200, Copper winding of sweep 300m (Make: Almonard/ Kaitan/ Crompton or Suitably equivalent make) | 2.00 | Each | 2915.69 | 3061.00 | 6122.00 | 3200.00 | 6400.00 | 3000.00 | 6000.00 | 6000.00 | BRIDGE AND ROADS
103.00 | Supply and fixing of electric water heater, storage type steel/plastic body with copper inner tank and heating element upto 2 KW capacity 25 litre, BEE 5 Star rated, 8 bar pressure, complete with all accessories such as safety valve, thermostate, NRV, connection piece etc. (Make: Wipro/Havells/Racold or Suitably equivalent make) | 2.00 | Each | 11533.97 | 12111.00 | 24222.00 | 12000.00 | 24000.00 | 18000.00 | 36000.00 | 24000.00 | Santhosh Infrastructure
104.00 | Supply & fixing of galvanised steel tubes, medium grade 32mm dia | 12.00 | RM | 287.50 | 302.00 | 3624.00 | 300.00 | 3600.00 | 250.00 | 3000.00 | 3000.00 | BRIDGE AND ROADS
105.00 | Supply and fixing LED street light fitting 70 Watt 230 V AC outdoor type with high pressure die cast aluminum housing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. Make: PHILIPS / WIPRO /CG / BAJAJ/ HAVELLS or suitable equivalent make | 6.00 | Each | 6833.42 | 7175.00 | 43050.00 | 6850.00 | 41100.00 | 12000.00 | 72000.00 | 41100.00 | Santhosh Infrastructure
106.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete. Make: PHILIPS / WIPRO /CG / BAJAJ/ HAVELLS or suitable equivalent make | 8.00 | Each | 4909.57 | 5155.00 | 41240.00 | 5000.00 | 40000.00 | 5000.00 | 40000.00 | 40000.00 | BRIDGE AND ROADS, Santhosh Infrastructure
107.00 | Excavating of hard/dense soil in trenches not Exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 10.00 | cu .m | 776.25 | 815.00 | 8150.00 | 780.00 | 7800.00 | 650.00 | 6500.00 | 6500.00 | BRIDGE AND ROADS
108.00 | Material & labour for sand filling for cushioning on U.G cable | 1.80 | cu.m | 2270.45 | 2384.00 | 4291.20 | 2300.00 | 4140.00 | 2000.00 | 3600.00 | 3600.00 | BRIDGE AND ROADS
109.00 | Materal &labour for Bricks; common burnt clay building bricks sub class B designation 75, Old size bricks for protection to U.G cable | .40 | Nos in 1000 | 6384.66 | 6704.00 | 2681.60 | 6400.00 | 2560.00 | 12000.00 | 4800.00 | 2560.00 | Santhosh Infrastructure
110.00 | Returning, refilling of hard/dense soil in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 10.00 | cu.m | 159.97 | 168.00 | 1680.00 | 160.00 | 1600.00 | 150.00 | 1500.00 | 1500.00 | BRIDGE AND ROADS
111.00 | Demolition of cement concrete unreinforced of any description and in any position | .50 | Cum | 1876.00 | 1970.00 | 985.00 | 1900.00 | 950.00 | 2000.00 | 1000.00 | 950.00 | Santhosh Infrastructure
112.00 | Material and labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete. | .50 | Cum | 7513.33 | 7889.00 | 3944.50 | 7500.00 | 3750.00 | 8000.00 | 4000.00 | 3750.00 | Santhosh Infrastructure
113.00 | Supply and fixing of 25 mm rigid non-metallic PVC conduit exclusive of boxes (juncton / terminal) but inclusive of all tees, bends, elbows, reducers, bell mouthtube ends and fixing accessories such as couplers, lock nuts, saddles, pipe hooks etc. | 30.00 | RM | 96.95 | 102.00 | 3060.00 | 98.00 | 2940.00 | 120.00 | 3600.00 | 2940.00 | Santhosh Infrastructure
114.00 | Supply and fxing of LED decorative wall mounting fitting complete with suitable LED lamp and accessories, Wattage not more than 15 watts and minimum system output 1000 lumens. Make: PHILIPS / WIPRO /CG / BAJAJ/ HAVELLS or suitable equivalent make | 16.00 | Each | 1065.00 | 1118.00 | 17888.00 | 1100.00 | 17600.00 | 3000.00 | 48000.00 | 17600.00 | Santhosh Infrastructure
115.00 | Supply & fixing metal flush box for 8 module plate | 4.00 | Each | 152.00 | 160.00 | 640.00 | 155.00 | 620.00 | 350.00 | 1400.00 | 620.00 | Santhosh Infrastructure
116.00 | Supply & fixing of 12 module plate with frame and metal flush box | 14.00 | Each | 550.00 | 578.00 | 8092.00 | 550.00 | 7700.00 | 600.00 | 8400.00 | 7700.00 | Santhosh Infrastructure
117.00 | Supply & fixing of modular type Dummy plate | 20.00 | Nos | 25.00 | 26.00 | 520.00 | 25.00 | 500.00 | 20.00 | 400.00 | 400.00 | BRIDGE AND ROADS
118.00 | Supply and fxing of LED ceiling/Recessed mounting fitting complete with suitable LED lamp and accessories,Wattage 24 to 30 watts and minimum system output 1800 lumens. Make: PHILIPS / WIPRO /CG / BAJAJ/ HAVELLS or suitable equivalent make | 8.00 | Each | 3000.00 | 3150.00 | 25200.00 | 3000.00 | 24000.00 | 4500.00 | 36000.00 | 24000.00 | Santhosh Infrastructure
119.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric UG cable with copper conductor, 1100 volts grade, cross sectional area 2.5 sqmm, 4 core. (Make: Havells / Gloster / Polycab or Suitably equivalent make) | 400.00 | RM | 160.00 | 168.00 | 67200.00 | 160.00 | 64000.00 | 300.00 | 120000.00 | 64000.00 | Santhosh Infrastructure
120.00 | Supply, fixing and connecting to the system modular type switch one way 20A, Single pole 2 module. (Make:LEGRAND MYRIUS/ Litaski/ Crabtree or suitable equivalent make) | 6.00 | Each | 335.00 | 352.00 | 2112.00 | 335.00 | 2010.00 | 300.00 | 1800.00 | 1800.00 | BRIDGE AND ROADS
121.00 | Supply and Fixing of 1.5TR capacity inverter split type Air conditioner with 5 star rating copper core coil. Make: Blue star / LG/ Carrier/ Voltas or suitable equivalent make with all accerssories including 4 KVA stabilizer | 6.00 | Each | 56500.00 | 59325.00 | 355950.00 | 50000.00 | 300000.00 | 53000.00 | 318000.00 | 300000.00 | Santhosh Infrastructure
122.00 | Supply and Fixing of Modular type Telephone Socket. (Make:LEGRAND MYRIUS/ Litaski/ Crabtree or suitable equivalent make) | 6.00 | Each | 150.00 | 158.00 | 948.00 | 150.00 | 900.00 | 100.00 | 600.00 | 600.00 | BRIDGE AND ROADS
| Total in Figures |  |  |  |  | 6866644.40 |  | 6006960.60 |  | 6307835.00
Lowest Amount Quoted BY: Santhosh Infrastructure(6006960.60)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF TWO NEW VIP SUITES ABOVE NS1 AND NS2 IN AVNL GUEST HOUSE AT AVNL ESTATE Tender ID: 2026_AVNL_279485_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Santhosh Infrastructure (BID ID -1034011) | 6006960.60 | L1
| 2 | BRIDGE AND ROADS (BID ID -1033901) | 6307835.00 | L2
| 3 | Sri Lakshmi Industries (BID ID -1033964) | 6866644.40 | L3