## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 23-Jul-2026 12:37 PM Tender Title: SPECIAL REPAIRS TO THE PROOF FIRING CONTROL ROOM, FRONT ENTRANCE, SECURITY GUARD ROOM AND FIRE HYDRANTS AT PROOF RANGE COMPLEX AT HVF, AVADI Tender ID: 2026_AVNL_281574_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: SPECIAL REPAIRS TO THE PROOF FIRING CONTROL ROOM, FRONT ENTRANCE, SECURITY GUARD ROOM AND FIRE HYDRANTS AT PROOF RANGE COMPLEX AT HVF, AVADI.
Tender No: HVF/TE/13025/CEO/2026-27/31
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sri Lakshmi Industries (GSTN-NA) BID ID -1039563 |  | Sri Krishna Agencies (GSTN-NA) BID ID -1041515 |  | DEEPAM ENTERPRISES (GSTN-NA) BID ID -1041410
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of tiles/daddo with cement mortor of any description or any thickness in floors and walls. | 150.00 | 10 SQM | 708.75 | 700.00 | 105000.00 | 635.00 | 95250.00 | 600.00 | 90000.00 | 90000.00 | DEEPAM ENTERPRISES
2.00 | Dismantling structural steel work including doors, gates & windows but exculding framed truss etc. | 5.00 | Quintal | 717.14 | 650.00 | 3250.00 | 630.00 | 3150.00 | 700.00 | 3500.00 | 3150.00 | Sri Krishna Agencies
3.00 | Demolition of Brick work built in Cement Mortor of any description. | 50.00 | CUM | 1888.23 | 1500.00 | 75000.00 | 780.00 | 39000.00 | 1450.00 | 72500.00 | 39000.00 | Sri Krishna Agencies
4.00 | Taking down Chowkhats or frames exc 1.5 sq. m but n exc 4 sq. m each and handing over to CE (Fy) stores. | 8.00 | EACH | 347.42 | 300.00 | 2400.00 | 300.00 | 2400.00 | 300.00 | 2400.00 | 2400.00 | Sri Lakshmi Industries, DEEPAM ENTERPRISES, Sri Krishna Agencies
5.00 | Taking down Chowkhats or frames not exc 1.5 sq. m and handing over to CE(Fy) stores | 8.00 | EACH | 273.24 | 250.00 | 2000.00 | 250.00 | 2000.00 | 250.00 | 2000.00 | 2000.00 | Sri Lakshmi Industries, DEEPAM ENTERPRISES, Sri Krishna Agencies
6.00 | Taking down plastering on lathing (other than wirenetting), without removing lathing, in cement lime or cement mortar | 100.00 | SQM | 33.18 | 40.00 | 4000.00 | 36.00 | 3600.00 | 35.00 | 3500.00 | 3500.00 | DEEPAM ENTERPRISES
7.00 | Demolition of Reinforced Cement Concrete structure of any description | 3.00 | CUM | 2166.26 | 2000.00 | 6000.00 | 1800.00 | 5400.00 | 1750.00 | 5250.00 | 5250.00 | DEEPAM ENTERPRISES
8.00 | Earthwork excavation in hard/dense soil in trenches width and depth not exceeding 1.50 m and getting out in hard / dense soil. | 120.00 | CUM | 776.25 | 700.00 | 84000.00 | 700.00 | 84000.00 | 700.00 | 84000.00 | 84000.00 | Sri Lakshmi Industries, DEEPAM ENTERPRISES, Sri Krishna Agencies
9.00 | Material and labour for Quarry dust filling under foundation , flooring etc, including watering and consolidation. | 35.00 | CUM | 1000.00 | 1100.00 | 38500.00 | 1250.00 | 43750.00 | 1250.00 | 43750.00 | 38500.00 | Sri Lakshmi Industries
10.00 | M & L for P.C.C 1:3:6, C2 type using 40mm graded aggregated in foundation, grouting of steel structures. | 35.00 | CUM | 6741.30 | 6500.00 | 227500.00 | 5900.00 | 206500.00 | 6000.00 | 210000.00 | 206500.00 | Sri Krishna Agencies
11.00 | M & L for Design mix M-20 RCC 1:1.5:3, A1 Type using 20mm graded aggregated in foundations , filling in mass concrete. | 10.00 | CUM | 8498.41 | 8500.00 | 85000.00 | 8200.00 | 82000.00 | 7500.00 | 75000.00 | 75000.00 | DEEPAM ENTERPRISES
12.00 | M&L for Design mix M-20 RCC1:1.5:3 A1 Type using 20mm graded aggregated in column | 5.00 | CUM | 9546.27 | 9800.00 | 49000.00 | 8600.00 | 43000.00 | 8500.00 | 42500.00 | 42500.00 | DEEPAM ENTERPRISES
13.00 | M & L for Design mix M-20 RCC 1:1.5:3, A1 Type using 20mm graded aggregated in lintel beam , roof beam etc., | 10.00 | CUM | 9077.53 | 9500.00 | 95000.00 | 8200.00 | 82000.00 | 8000.00 | 80000.00 | 80000.00 | DEEPAM ENTERPRISES
14.00 | M & L for Design mix M-20 RCC 1:1.5:3, A1 Type using 20mm graded aggregated in fins / projections in the wall | 4.00 | CUM | 9600.66 | 9700.00 | 38800.00 | 9200.00 | 36800.00 | 8450.00 | 33800.00 | 33800.00 | DEEPAM ENTERPRISES
15.00 | M & L for Design mix M-20 RCC 1:1.5:3, A1 Type using 20mm graded aggregated in slabs supported on walls, beams. | 4.00 | CUM | 8208.36 | 8800.00 | 35200.00 | 9200.00 | 36800.00 | 7400.00 | 29600.00 | 29600.00 | DEEPAM ENTERPRISES
16.00 | Material and labour for Square, rectangular or polygonal formwork to the flat surfaces of concrete of footing, plinth beam etc., including fair finished surface. | 80.00 | SQM | 456.68 | 420.00 | 33600.00 | 450.00 | 36000.00 | 450.00 | 36000.00 | 33600.00 | Sri Lakshmi Industries
17.00 | Material and labour for formwork to the surfaces of concrete of Column etc., including fair finished surface. | 80.00 | SQM | 780.24 | 700.00 | 56000.00 | 700.00 | 56000.00 | 650.00 | 52000.00 | 52000.00 | DEEPAM ENTERPRISES
18.00 | Material and abour for formwork to the surfaces of concrete of beam etc., including fair finished surface. | 80.00 | SQM | 624.67 | 600.00 | 48000.00 | 545.00 | 43600.00 | 600.00 | 48000.00 | 43600.00 | Sri Krishna Agencies
19.00 | Material and abour for formwork to the surfaces of concrete roof slab etc., including fair finished surface. | 100.00 | SQM | 866.16 | 780.00 | 78000.00 | 750.00 | 75000.00 | 775.00 | 77500.00 | 75000.00 | Sri Krishna Agencies
20.00 | Material and labour for formwork to the surfaces of concrete of concrete fins etc., including fair finished surface. | 20.00 | SQM | 866.16 | 800.00 | 16000.00 | 750.00 | 15000.00 | 775.00 | 15500.00 | 15000.00 | Sri Krishna Agencies
21.00 | Supply and fixing of TMT MS Bars 10mm dia and over, cut to length bent to shape required including cranking, bending, spiraling for hoping for columns, hooking ends and binding with MS Wire not less than 0.9mm dia or securing with clips. | 560.00 | KG | 94.99 | 105.00 | 58800.00 | 90.00 | 50400.00 | 100.00 | 56000.00 | 50400.00 | Sri Krishna Agencies
22.00 | Material and labour for TMT mild steel bars 6mm dia to 8 mm dia, cut to length bent to shape required including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire not less than 0.9 mm dia or securin with clips | 380.00 | KG | 97.23 | 105.00 | 39900.00 | 90.00 | 34200.00 | 105.00 | 39900.00 | 34200.00 | Sri Krishna Agencies
23.00 | M & L for Brick work built in CM. 1:6 using SubClass "B" Bricks. | 90.00 | CUM | 5606.25 | 6900.00 | 621000.00 | 7650.00 | 688500.00 | 6000.00 | 540000.00 | 540000.00 | DEEPAM ENTERPRISES
24.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work, concrete surfaces and Door & Window Jamb plastering. | 180.00 | SQM | 302.59 | 330.00 | 59400.00 | 275.00 | 49500.00 | 295.00 | 53100.00 | 49500.00 | Sri Krishna Agencies
25.00 | M & L for plastering in CM 1:6 , 15 mm thick on fair faces of brick work, concrete surfaces and Door & Window Jamb lasterin . | 180.00 | SQM | 279.88 | 300.00 | 54000.00 | 260.00 | 46800.00 | 280.00 | 50400.00 | 46800.00 | Sri Krishna Agencies
26.00 | Material and labour for plastering in 1:3 12 mm thick on ceilngs of concrete surfaces. | 125.00 | SQM | 313.55 | 350.00 | 43750.00 | 285.00 | 35625.00 | 320.00 | 40000.00 | 35625.00 | Sri Krishna Agencies
27.00 | Complete removal of existing any type of treatment ( White wash / OBD/Cement paint / Synthetic enamel paint/ Aluminium paint/ polish) from walls surface till the complete exposure of old plastering surfaces are exposed. The contractor shall only use mechanized equipment while complete removal inside the office room and shop walls. The dust enamating while completeremoval shall be cleaned on daily basis so that no hindarence to production shall happen in shop floor and office area. The surface shall be fully scrubbed to have a uniform and levelled surfaces, The safety equipments requirements for the worker working shall be the responsiblity of the contractor.The rate is inclusive of covering of all the equipments in the office floor to protect from the dust particles using new taurpaulin sheets wherever required, | 1200.00 | SQM | 10.81 | 12.00 | 14400.00 | 12.00 | 14400.00 | 12.00 | 14400.00 | 14400.00 | Sri Lakshmi Industries, DEEPAM ENTERPRISES, Sri Krishna Agencies
28.00 | Material and labour for applying one coat of wall primer for exterior / Interior as required at site all complete Including preparation of complete removal surfaces and new surfaces. (MAKE:- ASIAN paints/NEROLAC/ BERGER) or suitably Equivalent make . | 1800.00 | SQM | 47.84 | 45.00 | 81000.00 | 42.00 | 75600.00 | 50.00 | 90000.00 | 75600.00 | Sri Krishna Agencies
29.00 | M&L for applying 3 mm thick wall care putty on wall (Make shall be of JK white putty or Birla white wall care putty ) or suitable Equivalent make . | 600.00 | SQM | 95.96 | 90.00 | 54000.00 | 80.00 | 48000.00 | 93.00 | 55800.00 | 48000.00 | Sri Krishna Agencies
30.00 | M&L for applying two coats of plastic emulsion on intemal wall surfaces including preparaition of old wall surfaces complete all as directed. The interior Emulsion shall be of luxury interior emulsion manufacurured by reputed companies such as (Asian paints / Berger / Nerolac) or suitably equivalent make . The brands shall be got approved by ElC. | 600.00 | SQM | 136.05 | 130.00 | 78000.00 | 120.00 | 72000.00 | 125.00 | 75000.00 | 72000.00 | Sri Krishna Agencies
31.00 | Material and labour for applying two coats of exterior emulsion on extemal wall surfaces all complete Including preparation of old untreated surfaces. (Asian / NEROLAC / BERGER) or suitably equivalent make . | 1200.00 | SQM | 136.05 | 130.00 | 156000.00 | 120.00 | 144000.00 | 125.00 | 150000.00 | 144000.00 | Sri Krishna Agencies
32.00 | M & L for SS 302 Grade Glass parapet railing with SS bracket on Floor, 10mm thick toughened Glass, 50mm thick SS Square Tubes with provision of groove for fixing the glass (with or without coating) at Top of glass including makingholes in existing parapet, welding, bracket fitttings, buffing, polishing etc., all complete as directed by EIC. The height of Glass should not be less than 750mm. The rate is inclusive of 8 mm toughened glass. | 18.00 | RM | 8364.00 | 8500.00 | 153000.00 | 7360.00 | 132480.00 | 9350.00 | 168300.00 | 132480.00 | Sri Krishna Agencies
33.00 | Material and labour for cement concrete type BO 1:2:4 using 12.5 mm graded aggregate for average 70 mm thick and finishing the top surface even and smooth and also to use liquid water proofing compound. The water proofing compound will be paid separetly | 100.00 | SQM | 550.16 | 520.00 | 52000.00 | 480.00 | 48000.00 | 520.00 | 52000.00 | 48000.00 | Sri Krishna Agencies
34.00 | Supply of Liquid waterproofing compound | 17.00 | LITRE | 300.73 | 250.00 | 4250.00 | 230.00 | 3910.00 | 250.00 | 4250.00 | 3910.00 | Sri Krishna Agencies
35.00 | Supply and laying of APP based polymeric membrane minimum weighing 3kg/sqm and minimum 3mm thick reinforced with polyster non woven fabric (wt. not less than 150 gms/sqm) land on bitumen surface by forced application complete all as specified includinå Applying evenly a tack coat of industrial bitumen 85/25 at the rate of 1.2 kg per sq.m including cleaningo the new surfaces. The App membrane shall be finished with two coats of aluminium paint. | 200.00 | SQM | 661.43 | 650.00 | 130000.00 | 530.00 | 106000.00 | 650.00 | 130000.00 | 106000.00 | Sri Krishna Agencies
36.00 | M & L for 20 mm thick granite (of any type) work (table rubbed and olished) in steps, jambs, pillars, window cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. | 33.00 | SQM | 5961.26 | 5800.00 | 191400.00 | 5200.00 | 171600.00 | 5500.00 | 181500.00 | 171600.00 | Sri Krishna Agencies
37.00 | Nosing of the granite steps and edges of the ranite to half round. | 50.00 | RM | 100.00 | 98.00 | 4900.00 | 125.00 | 6250.00 | 100.00 | 5000.00 | 4900.00 | Sri Lakshmi Industries
38.00 | Material and labour for cutting grooves in granite of size not exceeding 8mm and depth 6mm and fiinshing the surface clean all as specified and directed b EIC. | 100.00 | RM | 100.00 | 98.00 | 9800.00 | 125.00 | 12500.00 | 100.00 | 10000.00 | 9800.00 | Sri Lakshmi Industries
39.00 | M & L for Virified Ceramic tiles light Shade 10 mm thick in Floors and skirting (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors and side skirting etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 15mm thick for laying floor finishes. The shades/design will be approved by EIC | 100.00 | SQM | 1947.15 | 1700.00 | 170000.00 | 1750.00 | 175000.00 | 1750.00 | 175000.00 | 170000.00 | Sri Lakshmi Industries
40.00 | M & L for coloured Glazed ceramic tiles in vertical 250x 7 mm/ 350X 7mm thick set and jointed in neat cement slurry and pointed in White or colour cement to match surface | 120.00 | SQM | 1539.16 | 1900.00 | 228000.00 | 1700.00 | 204000.00 | 1450.00 | 174000.00 | 174000.00 | DEEPAM ENTERPRISES
41.00 | M & L for coloured Non - skid joint free non skid Ceramic tiles 7 to 8 mm thick(square/ rectangular) area of each tile exceeding 0.18 sqm but not exceeding 0.38 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 15mm thick for laying floor finishes. | 45.00 | SQM | 2013.39 | 1600.00 | 72000.00 | 1770.00 | 79650.00 | 1850.00 | 83250.00 | 72000.00 | Sri Lakshmi Industries
42.00 | Providing and fixing of factory made uPVG white colour Sliding window Three track made of extruded profiles with wall thickness of 2.3mm (+/ -0.2mm). Window profile with hollow section with multi chamber. Frame (88mm x 52mm), sliding sash (42mm x 67mm). Sliding mesh Sash (42mm x 57mm) Sliding interlock (One vertical length in each shutters) (45.5mm x 28mm), Glazing bead (24.5mm x 16mm) will be miterd cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc., making arrangement for fixing of hardware. EPDM gasket, 1.2 +/ -0.2mm thick galvanised steel Frame (30mm x 18mm) 2 nos, sliding sash (30mm x 18mm), sliding mesh sash (26mm x 10mm) profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners, Hardware [Touch Lock of zinc alloyed (white powder coated), steel roller system. Stainless steel wire cloth 0.36mm nominal dia of wire and average width of aperture 1.40mm and required accessories. (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net Opening will be measured lor payment purpose.) (A) Area not exceeding 2.00 sqm each and as approved and as directed. | 15.00 | SQM | 12967.85 | 9500.00 | 142500.00 | 9500.00 | 142500.00 | 12500.00 | 187500.00 | 142500.00 | Sri Lakshmi Industries, Sri Krishna Agencies
43.00 | Supply and Fixing of sheet Glass 5.50mm quality and glazing with oil putty in square exc 0.5Sqm in each pane ground or obscured or tinted on one side and as approved and as directed by EIC. | 14.00 | SQM | 1399.86 | 1100.00 | 15400.00 | 1150.00 | 16100.00 | 1350.00 | 18900.00 | 15400.00 | Sri Lakshmi Industries
44.00 | S&F of Framed work such as grills; gratings, etc.. with ends of bars shouldered and/or riveted, or forged into spikes; framed guard bars; barred iron doors; ladders; framed balusters; walk ways; railings; framework of water tanks and similar work conforming to Fe.290.Gde-E-165 | 400.00 | KG | 189.59 | 150.00 | 60000.00 | 140.00 | 56000.00 | 165.00 | 66000.00 | 56000.00 | Sri Krishna Agencies
45.00 | Material and labour for painting two coats of synthetic enamel over a coat of redoxide / zinc chromate paint on new steel surfaces including preparation of new steel surfaces. | 100.00 | SQM | 162.50 | 140.00 | 14000.00 | 130.00 | 13000.00 | 155.00 | 15500.00 | 13000.00 | Sri Krishna Agencies
46.00 | Material and labour for painting two coats of synthetic enamel paint over a coat of pink primer on new wooden surfaces including preparation of new wooden surfaces. | 50.00 | SQM | 161.23 | 135.00 | 6750.00 | 130.00 | 6500.00 | 155.00 | 7750.00 | 6500.00 | Sri Krishna Agencies
47.00 | Supply and fixing of 10mm Gypsum board False ceiling with Gl frame work for seamless ceiling comprising of GI perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1,2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre. including Hangers 6 mm dia. G.l. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.l. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long including 10mm thick plaster of paris ceiling and 2 coats of putty (Gypsum anhydrous) to flat surface over G.l, or metal frame work including any sunk or raised moulding and any cutting /opening for provision of any lighting fixtures etc. | 180.00 | SQM | 2100.00 | 1900.00 | 342000.00 | 1700.00 | 306000.00 | 2000.00 | 360000.00 | 306000.00 | Sri Krishna Agencies
48.00 | S&F of Pre-painted galvalume aluminium zinc coating Gl based corrugated steel sheet 0.50mm (TCT) thick of an colour having tensile strength of 550Mpa as in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal complete all as per manfacturers specifications and instructions and as approvedand as directed, by considering the dimensions & consideing the dimension & height including all necessary scaffolding and safety aspects complete. | 100.00 | SQM | 882.06 | 860.00 | 86000.00 | 775.00 | 77500.00 | 800.00 | 80000.00 | 77500.00 | Sri Krishna Agencies
49.00 | Supply and fixing Pre-painted galvalume aluminum zinc coating Gl based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self drilling / self tapping anti corrisive screws with EPDM seal complete all as per manfacturers specifications and instructions and as approved and as directed, by considering the dimensions & consideing the dimension & height including all necessary scaffolding and safety aspects complete. | 20.00 | SQM | 824.56 | 830.00 | 16600.00 | 775.00 | 15500.00 | 710.00 | 14200.00 | 14200.00 | DEEPAM ENTERPRISES
50.00 | M&L for cement concrete in foundation ,filling and mass concrete type B1 1:2:4 using 20mm aggregate. | 75.00 | CUM | 7513.33 | 7380.00 | 553500.00 | 7500.00 | 562500.00 | 6400.00 | 480000.00 | 480000.00 | DEEPAM ENTERPRISES
51.00 | Earthwork in post holes of not exceeding 0.50 Cu.m each and getting out in dense/hard soil including removal of earth from the site and filling the low lying area near by. | 8.00 | EACH | 438.61 | 400.00 | 3200.00 | 370.00 | 2960.00 | 420.00 | 3360.00 | 2960.00 | Sri Krishna Agencies
52.00 | Supply and fixing of First class hard wood Plain, solid, straight chowkats and frames, wrought, framed rebated on the solid, rounded or chamfered, put together with glue pinned at joints. | .20 | CUM | 198690.45 | 190000.00 | 38000.00 | 185000.00 | 37000.00 | 180000.00 | 36000.00 | 36000.00 | DEEPAM ENTERPRISES
53.00 | Supply and fixing of decorative flush door shutter 35 mm of size 0.9 X2.10 M thick with pvc lamination of all sides of the door to make it water proof / splash proof including all necessary fittings made out of brass suchas 04 nos of brass butt hinges 150 mm length, 150 mm brass decrative door handle on one side, 450 mm brass / stainlesssteek door handle on one side, Godrej or similar round door lock with inner locking facility including applying of touchwood polish of approved make three coats over a coat of filler material to make it level and uniform surface. | 5.00 | EACH | 12500.00 | 12950.00 | 64750.00 | 12500.00 | 62500.00 | 13500.00 | 67500.00 | 62500.00 | Sri Krishna Agencies
54.00 | Providing and fixing Commercial grade Wall Paper of approved shade with recommended Adhesive of approved make which have 100% washable, Scratch resistance, Peel proof, & fire retardant properties. The cost includes prepartion of exisitng surface, putty finish for smooth and even surface.The shades / make will be as per the dirctive of EIC | 90.00 | SQM | 1450.00 | 1200.00 | 108000.00 | 1100.00 | 99000.00 | 1500.00 | 135000.00 | 99000.00 | Sri Krishna Agencies
55.00 | S&F of frame size 65X100mm factory made single extruded WPC(wood polymer composite) solid door/ window/ ceosetory window & ceosetory other frames/chowkat comprising of virgin PVC polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood power)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for100mgs) fabricated with miter joints after applying PVS solvent cement screwed with full body threaded star headed SS screws having minimum frame density of 750kg/cum, screw withdrawl strength of 2200N (face)&l IOON (edge) minimum compressive strength of 58N/mm2, modulus of elasticity 900N/mm2 and resistence to spread of flame of class A category with property of being temite/borer proof,water/moisture proof and fire retardant and fixed in position with MS hold fast/lugs/SS dash fasteeners of required dia and length complete as per direction of engineer-incharge.(MS hold fast/lugs or SS fasteners shall be paid for separately. | 60.00 | RM | 1200.00 | 1100.00 | 66000.00 | 1150.00 | 69000.00 | 1050.00 | 63000.00 | 63000.00 | DEEPAM ENTERPRISES
56.00 | S&F of 30mm thick main door design engraved factory made single extruded WPC solid plain flush door shuttter or required size comprising of virgin polymer of k value 58-60 (suspension grade), calcium additives having minimum density of 650kg/cum, screw withdrawal strngth of 1800N (face) & 900N(edge) minimum compressive strength of 50N/mm2, modulus of elasticity 850N/mm2 and resistence to spread or flame of classA category with property of being termite /borer proof,water/moisture proof and fire retardent and fixing with stainless steel butt hinges of required size with neccessary full body threaded star head counter sunk ss screw, all as per direction of E.I.C | 15.00 | SQM | 3705.00 | 3500.00 | 52500.00 | 3650.00 | 54750.00 | 3250.00 | 48750.00 | 48750.00 | DEEPAM ENTERPRISES
57.00 | S/F of Mortice lock,vertical type, size 100 mm with four levers Brass body and fixed . | 4.00 | EACH | 872.62 | 900.00 | 3600.00 | 850.00 | 3400.00 | 800.00 | 3200.00 | 3200.00 | DEEPAM ENTERPRISES
58.00 | S/F of Brass barrel tower bolts, (200 mm )with cast or sheet barrel and rolled or cast bolts and fixed | 28.00 | EACH | 344.31 | 350.00 | 9800.00 | 340.00 | 9520.00 | 345.00 | 9660.00 | 9520.00 | Sri Krishna Agencies
59.00 | S/F of butt hinges (125mm) cast, brass with mild steel hinge pin,bright polished and fixed but type B12. | 42.00 | EACH | 311.77 | 330.00 | 13860.00 | 300.00 | 12600.00 | 275.00 | 11550.00 | 11550.00 | DEEPAM ENTERPRISES
60.00 | S/F of Brass skeleton tower bolts (450 MM) with cast brass plate and staples and rolled or drawn brass bolt and fixed. | 28.00 | EACH | 978.54 | 930.00 | 26040.00 | 780.00 | 21840.00 | 900.00 | 25200.00 | 21840.00 | Sri Krishna Agencies
61.00 | S/F of Floor door stopper of brass body Overall length of cover plate (140 mm)and tongue, anodised,with hard drawn steel spring,fixed in floor. | 4.00 | EACH | 240.58 | 230.00 | 920.00 | 200.00 | 800.00 | 315.00 | 1260.00 | 800.00 | Sri Krishna Agencies
62.00 | Supply and fixing of extructed brass handles fabricated and olished of size 150mm. | 10.00 | EACH | 308.09 | 320.00 | 3200.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 2500.00 | DEEPAM ENTERPRISES, Sri Krishna Agencies
63.00 | S/F of Aluminium anodised,Barrel tower bolts 150mm of extruded section and fixed. | 20.00 | EACH | 88.32 | 110.00 | 2200.00 | 85.00 | 1700.00 | 80.00 | 1600.00 | 1600.00 | DEEPAM ENTERPRISES
64.00 | S/F of Aluminium handles (150 mm), cast type anodised. | 20.00 | EACH | 87.29 | 130.00 | 2600.00 | 85.00 | 1700.00 | 80.00 | 1600.00 | 1600.00 | DEEPAM ENTERPRISES
65.00 | Supply and Fixing of Butt hinges 100mm size, heavy weight, cold rolled mild steel and fixed. | 27.00 | EACH | 106.49 | 90.00 | 2430.00 | 100.00 | 2700.00 | 105.00 | 2835.00 | 2430.00 | Sri Lakshmi Industries
66.00 | Supply and Fixing of 600mmx450mm bevelled edge mirror of selected quality glass, mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium lated brass screws and cup washers. | 3.00 | EACH | 637.79 | 650.00 | 1950.00 | 700.00 | 2100.00 | 600.00 | 1800.00 | 1800.00 | DEEPAM ENTERPRISES
67.00 | S & F of Aluminium (Die Cast) Door closer hydraulically regulated, designation No. 3, universal type, suitable for door shutters of 851 to 1000 mm in width and of weight between 61 to 80 kg and fixed. | 12.00 | EACH | 1497.30 | 1450.00 | 17400.00 | 1600.00 | 19200.00 | 1250.00 | 15000.00 | 15000.00 | DEEPAM ENTERPRISES
68.00 | S&F of frame size 65X100mm factory made single extruded WPC(wood polymer composite) solid door/ window/ ceosetory window & ceosetory other frames/chowkat comprising of virgin PVC polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood power)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for100mgs) fabricated with miter joints after applying PVS solvent cement screwed with full body threaded star headed SS screws having minimum frame density of 750kg/cum, screw withdrawl strength of 2200N (face)&l IOON (edge) minimum compressive strength of 58N/mm2, modulus of elasticity 900N/mm2 and resistence to spread of flame of class A category with property of being temite/borer proof,water/moisture proof and fire retardant and fixed in position with MS hold fast/lugs/SS dash fasteeners of required dia and length complete as per direction of engineer-incharge.(MS hold fast/lugs or SS fasteners shall be paid for separately. | 45.00 | RM | 1200.00 | 1200.00 | 54000.00 | 1150.00 | 51750.00 | 1150.00 | 51750.00 | 51750.00 | DEEPAM ENTERPRISES, Sri Krishna Agencies
69.00 | supply and fixing of WPC door factory made single extruded WPC(wood polymer composite) solid door/ window/ ceosetory window & ceosetory other frames/chowkat comprising of virgin PVC polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood power)/rice husk/wheat husk and non toxicadditives(maximum toxicity index of 12 for100mgs) fabricated with miter joints after applying PVS solvent cement screwed with full pody threaded star headed SS screws having minimum frame density of 750kg/cum, screw withdrawl strength of 2200N (face)&l IOON (edge) minimum compressive strength of 58N/mm2, modulus of elasticity 900N/mm2 and resistence to spread of flame of class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with MS holdfast/lugs/SS dash fasteeners of required dia and length complete as per direction of engineer-incharge. (MS hold fast/lugs or SS fasteners shall be paid for separately. | 10.00 | SQM | 3610.00 | 3600.00 | 36000.00 | 3500.00 | 35000.00 | 3250.00 | 32500.00 | 32500.00 | DEEPAM ENTERPRISES
70.00 | Taking up or down steel tubing 25 or 32 mm dia pipe and connections, including cleaning for refixing or removal to CE (Fy) store. | 60.00 | RM | 46.23 | 20.00 | 1200.00 | 30.00 | 1800.00 | 40.00 | 2400.00 | 1200.00 | Sri Lakshmi Industries
71.00 | Taking up or down steel tubing of bore 20mm and connection including cleaning for refixing or removal to CE/E store. Including all accessories | 50.00 | RM | 42.11 | 38.00 | 1900.00 | 30.00 | 1500.00 | 40.00 | 2000.00 | 1500.00 | Sri Krishna Agencies
72.00 | cutting chases, pinning in making good to facing where required and pointing in cement mortar 1:3 for water tubing etc., and making good , cutting not exceeding 10cm girth in brick wall. | 50.00 | RM | 58.02 | 60.00 | 3000.00 | 60.00 | 3000.00 | 55.00 | 2750.00 | 2750.00 | DEEPAM ENTERPRISES
73.00 | Supplying and laying of CPVC pipes 32 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors, trenches complete all as specified. | 100.00 | RM | 534.29 | 450.00 | 45000.00 | 465.00 | 46500.00 | 405.00 | 40500.00 | 40500.00 | DEEPAM ENTERPRISES
74.00 | Supplying and laying of CPVC pipes 20 mm outer diameter SDR 11 & Plain CPVC SDR 1 1 fittings on walls/ceiling or laying in floors, trenches complete all as specified. | 50.00 | RM | 253.81 | 248.00 | 12400.00 | 250.00 | 12500.00 | 205.00 | 10250.00 | 10250.00 | DEEPAM ENTERPRISES
75.00 | S & F of PVC SWR 75mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 92.00 | RM | 269.15 | 240.00 | 22080.00 | 230.00 | 21160.00 | 240.00 | 22080.00 | 21160.00 | Sri Krishna Agencies
76.00 | S & F of PVC (SWR) 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or Fixed to wall. | 50.00 | RM | 545.97 | 400.00 | 20000.00 | 360.00 | 18000.00 | 425.00 | 21250.00 | 18000.00 | Sri Krishna Agencies
77.00 | S & F of PVC (SWR) 160 mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in wall. | 20.00 | RM | 1300.00 | 1100.00 | 22000.00 | 1000.00 | 20000.00 | 1150.00 | 23000.00 | 20000.00 | Sri Krishna Agencies
78.00 | Supply and Fixing of PVC (SWR) multi floor trap 75mmwith grating including jointing with solvent cement. | 2.00 | EACH | 460.00 | 300.00 | 600.00 | 400.00 | 800.00 | 300.00 | 600.00 | 600.00 | Sri Lakshmi Industries, DEEPAM ENTERPRISES
79.00 | M & L for PVC (SWR) gully trap 125/110mm settin and jointing with solvent cement. | 2.00 | EACH | 304.75 | 310.00 | 620.00 | 260.00 | 520.00 | 200.00 | 400.00 | 400.00 | DEEPAM ENTERPRISES
80.00 | S & F of PVC Bend with door 75 mm dia any radius, | 13.00 | EACH | 166.75 | 140.00 | 1820.00 | 150.00 | 1950.00 | 160.00 | 2080.00 | 1820.00 | Sri Lakshmi Industries
81.00 | S & F of PVC Bend with door 110mm dia any radius, | 13.00 | EACH | 195.50 | 189.00 | 2457.00 | 190.00 | 2470.00 | 175.00 | 2275.00 | 2275.00 | DEEPAM ENTERPRISES
82.00 | S & F of single PVC Tee with door 110mm dia any radius, | 3.00 | EACH | 631.38 | 300.00 | 900.00 | 450.00 | 1350.00 | 450.00 | 1350.00 | 900.00 | Sri Lakshmi Industries
83.00 | S & F of gun metal 25mm , globe or gate valves,with iron wheel head, screwed both ends for iron pipe and fixed. | 4.00 | EACH | 675.33 | 700.00 | 2800.00 | 820.00 | 3280.00 | 650.00 | 2600.00 | 2600.00 | DEEPAM ENTERPRISES
84.00 | S & F of 1000 litres Rotational moulded polyethylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed in position all as specified in SSR Part- I | 3.00 | EACH | 9425.93 | 9500.00 | 28500.00 | 9200.00 | 27600.00 | 8800.00 | 26400.00 | 26400.00 | DEEPAM ENTERPRISES
85.00 | S & F of 20mm Ball valves set Ball valves high pressure of PTMT with epoxy coated Aluminium rod & highdensity plastic ball screwed for iron pipe and fixed. (Minimum weight 20 m m -2 1 0 g m s) | 2.00 | EACH | 491.12 | 500.00 | 1000.00 | 500.00 | 1000.00 | 400.00 | 800.00 | 800.00 | DEEPAM ENTERPRISES
86.00 | Supply and fixing of cast copper alloy screwed down, high pressure stop cock /angle cock fancy type chromium plated concealed type of size 15mm. | 6.00 | EACH | 828.16 | 780.00 | 4680.00 | 750.00 | 4500.00 | 800.00 | 4800.00 | 4500.00 | Sri Krishna Agencies
87.00 | Supply and Fixing of Vitreous China urinals, bowl type flat back of size 465X355X265mm white including providing and fixing plugs, bedding urinal against wall in cement mortar 1:2, securing urinal to plugs with and including 60mm long brass screws, pointing around urinal back in cement; inculding 32 mm connector pipe,stop volves 15mm, PVC connections 15mm size with PTMT nuts of length 300mm Waste coupling of PTMT (half or full threaded) .(Minimum weight 32mm-45 grms. | 3.00 | EACH | 2541.35 | 2800.00 | 8400.00 | 2350.00 | 7050.00 | 2550.00 | 7650.00 | 7050.00 | Sri Krishna Agencies
88.00 | Suypply and fixing of vitreous china squatt pan of pattem " long pan size 580mm white with "P" or "S" trap ,front or back inlet and foot rests ,any pattem including provision of lime concrete beddig PVC valveless 10 litres, syphonic action type , flushing cistem ,low level , white with inlet ,ball valves,float and handle including brackets Flush pipe of polyethylene of low of high density of PVC ,32 mm dia for low level cistern. | 2.00 | EACH | 3951.20 | 4200.00 | 8400.00 | 5500.00 | 11000.00 | 3200.00 | 6400.00 | 6400.00 | DEEPAM ENTERPRISES
89.00 | Supply and Fixing of EWC vitreous china wash down water closet pan (pedestal pattem) white with "P" or "S" trap including wash down water closet( pedestal pattem) complete high or low level flushing cistem and connections to pipes and fixing of chain and pull, or lever ,if PVC valveless syphonic action type, flushing cistem 10 liters capacity ,low level ,white with inlet ball valves ,flot and handle including bracket. | 1.00 | EACH | 3283.74 | 3500.00 | 3500.00 | 6500.00 | 6500.00 | 3000.00 | 3000.00 | 3000.00 | DEEPAM ENTERPRISES
90.00 | Supply & Fixing of PTMT heath facuet with 1.5 M long hose and apporoved colour | 1.00 | EACH | 495.00 | 540.00 | 540.00 | 520.00 | 520.00 | 520.00 | 520.00 | 520.00 | DEEPAM ENTERPRISES, Sri Krishna Agencies
91.00 | S & F of 15 mm fancy type bib tap to bore dia of 15 mm pipe standard of PTMT any colour high pressure screwed for iron pipe and fixed.Minimum weight 15mm-105 gms | 10.00 | EACH | 222.35 | 240.00 | 2400.00 | 380.00 | 3800.00 | 180.00 | 1800.00 | 1800.00 | DEEPAM ENTERPRISES
92.00 | Supply & fixing of Vitreous China wash basin, white, flat back, size wash basin. (for Hospilal use) excluding taps,waste, chain and plug and porcelain stopper but including brackets,Wash basins, Vitreous China (flat back or angle back type)any size, including cutting for and pinning in ends of brackets or erecting stand fixed in repair,32 mm Waste fittings, brass,chromium plated for glazed ware sinks, basins, etc.with long screwed shanks and flynuts, flange end bedded in red lead cement and other end fixed, 15 mm Pillar taps, cast copper alloy, with capstan heads,chromium plated,screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts,screwed for iron pipe and fixed. | 3.00 | EACH | 2757.76 | 3000.00 | 9000.00 | 3650.00 | 10950.00 | 2750.00 | 8250.00 | 8250.00 | DEEPAM ENTERPRISES
93.00 | M & fixing for French polishing on surfaces of any description, width or girth including cleaning and preparing the surface including a coat of wood filler on new works with two or more coats. | 15.00 | SQM | 137.37 | 200.00 | 3000.00 | 180.00 | 2700.00 | 100.00 | 1500.00 | 1500.00 | DEEPAM ENTERPRISES
94.00 | Providing and fixing 600mm wide Wash basin fixed in 750-900mm wide x 1 - 1.2m Length (as per the site condition) polished 19mm thick granite slab with cement mortar in between, Providing 200mm high front facia allaround & band above the counter top of same shade granite. All exposed surfaces of platform to be finished insame granite slab and all cut-out, exposed edges to be bull nosed with mirror polished. Also includemaking necessary cut-outs thru counter top. Cost to also include making MS farme to hold WB andGranite, which to be fixed in existing wall, necessary cut-outs for taking drainage pipes and Nahni traps in raised platform, all completed and finished to satisfactory conditions. (Make JAGUAR/KOHLER/ DURAVIT) or suitably equivalant make . Granite shades will be as per the directives of E-l-C. | 1.00 | EACH | 16950.00 | 17000.00 | 17000.00 | 14600.00 | 14600.00 | 18500.00 | 18500.00 | 14600.00 | Sri Krishna Agencies
95.00 | Providing and fixing in position Toilet Wall mounted Coupled Closet, Including soft seat cover, concealed flush tank etc. (Make JAGUAR/KOHLER/DURAVIT) or suitably equivalant make | 1.00 | EACH | 14100.00 | 14200.00 | 14200.00 | 17900.00 | 17900.00 | 15500.00 | 15500.00 | 14200.00 | Sri Lakshmi Industries
96.00 | Providing and fixing in position Piller cock for wash basin. (Make :JAGUAR/KOHLER/DURAVIT) or suitably equivalant make | 1.00 | EACH | 2700.00 | 2750.00 | 2750.00 | 3600.00 | 3600.00 | 2500.00 | 2500.00 | 2500.00 | DEEPAM ENTERPRISES
97.00 | Providing and fixing in position Toilet Health Facet with chromed flexible hose & Wall Bracket (Make JAGUAR/KOHLER/DURAVIT) or suitably equivalant make | 1.00 | EACH | 1600.00 | 1650.00 | 1650.00 | 2200.00 | 2200.00 | 1250.00 | 1250.00 | 1250.00 | DEEPAM ENTERPRISES
98.00 | Providing and fixing in position Toilet Bottle Trap of 32mm Size with 330mm & 110mm long connection pipes (Make: JAGUAR/KOHLER/DURAVIT) or suitably equivalant make. | 1.00 | EACH | 1200.00 | 1300.00 | 1300.00 | 1200.00 | 1200.00 | 1350.00 | 1350.00 | 1200.00 | Sri Krishna Agencies
99.00 | S & F of 15mm Angle cock (Make : JAGUAR/KOHLER/DURAVIT) or suitably equivalant make. | 4.00 | EACH | 950.00 | 900.00 | 3600.00 | 950.00 | 3800.00 | 950.00 | 3800.00 | 3600.00 | Sri Lakshmi Industries
100.00 | Providing and fixing in position Toilet Nahni Trap | 1.00 | EACH | 900.00 | 850.00 | 850.00 | 900.00 | 900.00 | 700.00 | 700.00 | 700.00 | DEEPAM ENTERPRISES
101.00 | Providing and fixing in position of Cockroach trap | 1.00 | EACH | 750.00 | 800.00 | 800.00 | 800.00 | 800.00 | 650.00 | 650.00 | 650.00 | DEEPAM ENTERPRISES
102.00 | Providing and fixing in position Toilet PaperHolder. (Make : JAGUAR/KOHLER/DURAVIT) or suitably equivalant make. | 1.00 | EACH | 1500.00 | 1450.00 | 1450.00 | 1450.00 | 1450.00 | 1500.00 | 1500.00 | 1450.00 | Sri Lakshmi Industries, Sri Krishna Agencies
103.00 | Providing and fixing robe hook (Make : JAGUAR/KOHLER/DURAVIT) or suitably equivalant make. | 2.00 | EACH | 750.00 | 800.00 | 1600.00 | 850.00 | 1700.00 | 600.00 | 1200.00 | 1200.00 | DEEPAM ENTERPRISES
104.00 | Providing and fixing in position liquid soap dispenser of approved shade. (Make Kimbedy/JAGUAR/KOHLER/ DURAVIT ) or suitably equivalant make. -Skincare Dispenser 800 ml. - Cost to be inclusive of Liquid soap pouch. | 1.00 | EACH | 2150.00 | 2100.00 | 2100.00 | 2100.00 | 2100.00 | 2200.00 | 2200.00 | 2100.00 | Sri Lakshmi Industries, Sri Krishna Agencies
105.00 | M & L for Cutting chases, pinning in. making good to Brick work / concrete facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth | 80.00 | EACH | 55.00 | 60.00 | 4800.00 | 60.00 | 4800.00 | 55.00 | 4400.00 | 4400.00 | DEEPAM ENTERPRISES
106.00 | S & F of PVC floor trap 75mm dia outlet of with grating and connecting PVC extension pipe including jointing with solvent cement etc., complete | 2.00 | EACH | 200.00 | 220.00 | 440.00 | 200.00 | 400.00 | 190.00 | 380.00 | 380.00 | DEEPAM ENTERPRISES
107.00 | S & F of Looking Mirror of 900 x 600mm as required at site selected quality glass, mount on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass | 2.00 | EACH | 1100.00 | 1050.00 | 2100.00 | 1140.00 | 2280.00 | 950.00 | 1900.00 | 1900.00 | DEEPAM ENTERPRISES
108.00 | S & F of Bib Taps, cast copper alloy with crutch or butterfly handle, screwed for iron pipe or for brass ferrule fancy type and chroumium plated (MAKE : JAGUAR/KOHLER/DURAVIT) or suitably equivalant make | 2.00 | EACH | 500.00 | 550.00 | 1100.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 1000.00 | DEEPAM ENTERPRISES, Sri Krishna Agencies
109.00 | Supply, erection, testing and commissioning of 2.0TR inverter type Cassette Air conditioner unit with refrigent gas, incoming power cables3xx2.5sq.mm with 4 polw 32 amps weather prrof MCB breaker, copper pipes and communication cables with insulation, condensing unit stand PVC drain pipes and all bye works complete as directed. (MAKE : BLUESTAR /LG /HITACHI /MITSUBISHI /VOLTAS) or suitably equivalant make including necessary tools kit, core cuttting | 2.00 | EACH | 128000.00 | 125000.00 | 250000.00 | 104000.00 | 208000.00 | 115000.00 | 230000.00 | 208000.00 | Sri Krishna Agencies
110.00 | S & F of 20mm Angle/Stop Taps, cast copper alloy fancy type, chromium plated with long shank and cup(concealed type). | 8.00 | EACH | 868.03 | 800.00 | 6400.00 | 820.00 | 6560.00 | 750.00 | 6000.00 | 6000.00 | DEEPAM ENTERPRISES
111.00 | S & F of PVC 110mm dia ipesSlngle socketed, in any length with rubber ring joints laid in trenches or in floors. | 42.00 | RM | 464.19 | 400.00 | 16800.00 | 375.00 | 15750.00 | 425.00 | 17850.00 | 15750.00 | Sri Krishna Agencies
112.00 | Supplying and laying of CPVC pipes outer dia 25mm dia SDR 11 including all fittings such as elbow, tee, etc., Plain CPVC SDR 11 fittings on walls /ceiling or laying in floors complete all as specified. | 42.00 | RM | 406.41 | 330.00 | 13860.00 | 360.00 | 15120.00 | 320.00 | 13440.00 | 13440.00 | DEEPAM ENTERPRISES
113.00 | Supplying and laying of CPVC pipes ouer dia 32mm dia SDR 11 including all fittings such as elbow, tee, etc., Plain CPVC SDR 11 fittings on walls /ceiling or laying in floors complete all as specified. | 42.00 | RM | 571.32 | 450.00 | 18900.00 | 480.00 | 20160.00 | 465.00 | 19530.00 | 18900.00 | Sri Lakshmi Industries
114.00 | M & L for Dubbing in CM 1:6, 10mm thick work concrete surfaces | 100.00 | SQM | 182.63 | 180.00 | 18000.00 | 170.00 | 17000.00 | 175.00 | 17500.00 | 17000.00 | Sri Krishna Agencies
115.00 | Removing excavated material/rocks exc. 250 m but n exc. 500 m and depoisiting where directed | 51.00 | CUM | 857.67 | 750.00 | 38250.00 | 680.00 | 34680.00 | 650.00 | 33150.00 | 33150.00 | DEEPAM ENTERPRISES
116.00 | Supply and fixing of laminated sandwich glasses for 16mm of two 8mm toughened glass for a height of eight feet single piece of available maximum width fixed with clamps required. Ths rate is inclusive of providing door as required at site. The clamps shall be dampner type which can take the shock arising due to firing. | 82.00 | SQM | 16000.00 | 15500.00 | 1271000.00 | 15900.00 | 1303800.00 | 16000.00 | 1312000.00 | 1271000.00 | Sri Lakshmi Industries
117.00 | Supply and fixing of Hydrant valve single headed | 6.00 | EACH SET | 33808.85 | 32000.00 | 192000.00 | 31800.00 | 190800.00 | 26500.00 | 159000.00 | 159000.00 | DEEPAM ENTERPRISES
118.00 | Supply and fixing of Hose box made of 18 gauge MS Sheet 800mm X 600mm X 250mm with double door with 4 mm thick glasses and door frame made of 16 gauge MS sheet painted fire red out side and brilliant white inside yard including hose reel drum 30m. | 6.00 | EACH SET | 12776.50 | 15000.00 | 90000.00 | 12500.00 | 75000.00 | 12500.00 | 75000.00 | 75000.00 | DEEPAM ENTERPRISES, Sri Krishna Agencies
119.00 | S & F of Pressure gauge 4"dial 0-14 kgs rating | 6.00 | EACH | 1453.60 | 1800.00 | 10800.00 | 1450.00 | 8700.00 | 1200.00 | 7200.00 | 7200.00 | DEEPAM ENTERPRISES
120.00 | S & F of Yard hydrant Post / Stand Post 80mm Dia Gl / MS both flanged type 1.5m. | 6.00 | EACH | 24888.30 | 24000.00 | 144000.00 | 22900.00 | 137400.00 | 20500.00 | 123000.00 | 123000.00 | DEEPAM ENTERPRISES
121.00 | S & F of 65 mm dia Sluice Valve Class PN 1.6 | 2.00 | EACH | 9430.00 | 9200.00 | 18400.00 | 9400.00 | 18800.00 | 8500.00 | 17000.00 | 17000.00 | DEEPAM ENTERPRISES
122.00 | S & F of 65 mm dia Butterfly Valve for fire hydrant | 6.00 | EACH | 4255.00 | 4350.00 | 26100.00 | 4200.00 | 25200.00 | 3500.00 | 21000.00 | 21000.00 | DEEPAM ENTERPRISES
123.00 | S & F of 65 mm dia MS ERW for fire hydrant pipe. | 250.00 | RM | 644.00 | 650.00 | 162500.00 | 680.00 | 170000.00 | 550.00 | 137500.00 | 137500.00 | DEEPAM ENTERPRISES
124.00 | Suply and fixing of gate with structural steel using 410-W-Gde-E250 ,quality A. | 1200.00 | KG | 135.36 | 140.00 | 168000.00 | 124.00 | 148800.00 | 125.00 | 150000.00 | 148800.00 | Sri Krishna Agencies
125.00 | M & L for 25mm thick granite (of any type) work (table rubbed and polished) in steps, jambs, pillars, window cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. | 60.00 | SQM | 6136.64 | 6100.00 | 366000.00 | 5400.00 | 324000.00 | 5500.00 | 330000.00 | 324000.00 | Sri Krishna Agencies
126.00 | M & L for Granite 20mm thick (of any type) work (table rubbed and polished) for wall lining (veneering to wall) 12mm thick in cement mortar (1:3) and pointing with white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. | 10.00 | SQM | 5271.14 | 5300.00 | 53000.00 | 5100.00 | 51000.00 | 5000.00 | 50000.00 | 50000.00 | DEEPAM ENTERPRISES
127.00 | Removing excavated soils exc. 250 m but n exc 500 m and depositing where directed. | 90.00 | CUM | 669.99 | 600.00 | 54000.00 | 580.00 | 52200.00 | 550.00 | 49500.00 | 49500.00 | DEEPAM ENTERPRISES
128.00 | Returning refilling in hard/dense soil in layer. spreading, levelling, watering and well ramming in layers not exc 25 cm. | 30.00 | CUM | 159.97 | 130.00 | 3900.00 | 135.00 | 4050.00 | 150.00 | 4500.00 | 3900.00 | Sri Lakshmi Industries
129.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5 sqmm & 2.5 sqmm bare copper earth continuity wire. a) one light point/one fan point controlled by one switch with cables1.5 sqmm size. | 80.00 | POINT | 1191.30 | 900.00 | 72000.00 | 1300.00 | 104000.00 | 1150.00 | 92000.00 | 72000.00 | Sri Lakshmi Industries
130.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5 sqmm & 2.5 sqmm bare copper earth continuity wire. b) One 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sqmm size. | 70.00 | POINT | 340.92 | 320.00 | 22400.00 | 340.00 | 23800.00 | 200.00 | 14000.00 | 14000.00 | DEEPAM ENTERPRISES
131.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5 sqmm & 2.5 sqmm bare copper earth continuity wire. c) One 3 pin socket outlet 5 amps independent, with cables 2.5 sqmm size. | 20.00 | POINT | 1357.67 | 1000.00 | 20000.00 | 1390.00 | 27800.00 | 1300.00 | 26000.00 | 20000.00 | Sri Lakshmi Industries
132.00 | Supply fixing and connecting to the system modular type switches 6A single pole one way (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree) or suitable equivalent make | 146.00 | EACH | 312.60 | 300.00 | 43800.00 | 200.00 | 29200.00 | 205.00 | 29930.00 | 29200.00 | Sri Krishna Agencies
133.00 | Supply, fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree) or suitable equivalent make | 66.00 | EACH | 408.65 | 380.00 | 25080.00 | 290.00 | 19140.00 | 295.00 | 19470.00 | 19140.00 | Sri Krishna Agencies
134.00 | Supply, fixing and connecting to the system modular type switch one way 16A, 1 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree) or suitable equivalent make | 40.00 | EACH | 412.44 | 400.00 | 16000.00 | 320.00 | 12800.00 | 335.00 | 13400.00 | 12800.00 | Sri Krishna Agencies
135.00 | Supply, fixing and connecting to the system of socket, 6/16A-2/3 pin combined modular type 2 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree) or suitable equivalent make | 48.00 | EACH | 634.08 | 600.00 | 28800.00 | 390.00 | 18720.00 | 505.00 | 24240.00 | 18720.00 | Sri Krishna Agencies
136.00 | Supply & fixing of modular white cover plate with frame 2 module | 15.00 | EACH | 234.96 | 210.00 | 3150.00 | 150.00 | 2250.00 | 180.00 | 2700.00 | 2250.00 | Sri Krishna Agencies
137.00 | Supply & fixing metal flush box for 2 module plate | 15.00 | EACH | 214.92 | 210.00 | 3150.00 | 160.00 | 2400.00 | 195.00 | 2925.00 | 2400.00 | Sri Krishna Agencies
138.00 | Supply & fixing of 4 module modular white cover plate with frame | 7.00 | EACH | 296.52 | 285.00 | 1995.00 | 250.00 | 1750.00 | 230.00 | 1610.00 | 1610.00 | DEEPAM ENTERPRISES
139.00 | Supply & fixing of metal flush box for 4 module plate | 7.00 | EACH | 256.08 | 245.00 | 1715.00 | 225.00 | 1575.00 | 215.00 | 1505.00 | 1505.00 | DEEPAM ENTERPRISES
140.00 | Supply & fixing of 6 module modular white cover plate with frame | 8.00 | EACH | 371.52 | 350.00 | 2800.00 | 315.00 | 2520.00 | 300.00 | 2400.00 | 2400.00 | DEEPAM ENTERPRISES
141.00 | Supply & fixing of metal flush box for 6 module plate | 8.00 | EACH | 340.92 | 320.00 | 2560.00 | 300.00 | 2400.00 | 270.00 | 2160.00 | 2160.00 | DEEPAM ENTERPRISES
142.00 | Supply & fixing of 8 module modular white cover plate with frame | 5.00 | EACH | 457.68 | 430.00 | 2150.00 | 400.00 | 2000.00 | 375.00 | 1875.00 | 1875.00 | DEEPAM ENTERPRISES
143.00 | Material & Labour for ceiling rose, 3 Phase/PVC /polycorbonate, isolated body (Make: ANCHOR / LEGRAND/ HAVELLS ) or suitably equivalent make. | 75.00 | EACH | 78.84 | 70.00 | 5250.00 | 58.00 | 4350.00 | 65.00 | 4875.00 | 4350.00 | Sri Krishna Agencies
144.00 | Hanging only ceiling fan (M.D. supply) and connecting up including provision of cable from ceiling rose or connector to fan | 18.00 | EACH | 204.72 | 150.00 | 2700.00 | 190.00 | 3420.00 | 170.00 | 3060.00 | 2700.00 | Sri Lakshmi Industries
145.00 | Supply and fixing LED light fitting 1x16 Watt flame proof, CMRI certified recommended for gas/ vapor group of IIA & IIIB, Zone 1 & 2 and IP 65 protection with die cast aluminum housing with heat resistant toughened glass with LED tube light fixtures driver, holders, connector etc. Complete with all accessories prewired and including connecting up with three core flexible copper conductor cable with suitable size. (Make: Philips / Wipro / CG / Havells ) or suitably equivalent make. | 8.00 | EACH | 9349.91 | 9000.00 | 72000.00 | 9300.00 | 74400.00 | 8000.00 | 64000.00 | 64000.00 | DEEPAM ENTERPRISES
146.00 | Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. (Make: Philips / Wipro / CG / Havells) or suitably equivalent make. | 35.00 | EACH | 1566.48 | 250.00 | 8750.00 | 1200.00 | 42000.00 | 1275.00 | 44625.00 | 8750.00 | Sri Lakshmi Industries
147.00 | Material & Labour for wiring with two runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan/ orbit) or suitably equivalent make. a) 2x2.5 sq.mm+1x2.5 sq.mm earth wire | 210.00 | RM | 222.25 | 300.00 | 63000.00 | 255.00 | 53550.00 | 215.00 | 45150.00 | 45150.00 | DEEPAM ENTERPRISES
148.00 | Material & Labour for wiring with two runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan/ orbit) or suitably equivalent make. b) 2x4.0 sq.mm+1x4.0 sq.mm earth wire | 80.00 | RM | 258.00 | 320.00 | 25600.00 | 390.00 | 31200.00 | 225.00 | 18000.00 | 18000.00 | DEEPAM ENTERPRISES
149.00 | Taking down carefully by unscrewing from boards/outlet boxes, fittings and fixtures such as switches, sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tube light fittings and regulators, etc. for reuse at site or carrying to the store (To be measured only when found serviceable in all respects complete for reuse) | 60.00 | POINT | 41.93 | 30.00 | 1800.00 | 40.00 | 2400.00 | 30.00 | 1800.00 | 1800.00 | Sri Lakshmi Industries, DEEPAM ENTERPRISES
150.00 | Demolition of cement concrete of any description and in any position not otherwise specifically provided for | 3.00 | CUM | 1957.56 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 1450.00 | 4350.00 | 4350.00 | DEEPAM ENTERPRISES
151.00 | Material & labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete. | 3.00 | CUM | 7840.00 | 7500.00 | 22500.00 | 7600.00 | 22800.00 | 6300.00 | 18900.00 | 18900.00 | DEEPAM ENTERPRISES
152.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 25 sqmm, 4 core.(Make: GLOSTER/ORBIT/POLYCAB) or suitably equivalent make | 450.00 | RM | 248.39 | 280.00 | 126000.00 | 340.00 | 153000.00 | 245.00 | 110250.00 | 110250.00 | DEEPAM ENTERPRISES
153.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: LEGRAND / HAVELLS / HEGAR) or suitably equivalent make. | 60.00 | EACH | 341.04 | 300.00 | 18000.00 | 360.00 | 21600.00 | 280.00 | 16800.00 | 16800.00 | DEEPAM ENTERPRISES
154.00 | Supply and fixing 415V 10KA 'B' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning. TP 25 To 63 AMP (Make: Legrand / Havells /ABB) or suitably equivalent make. | 6.00 | EACH | 2037.12 | 2450.00 | 14700.00 | 2100.00 | 12600.00 | 1850.00 | 11100.00 | 11100.00 | DEEPAM ENTERPRISES
155.00 | Supply, fixing & connecting to the system of 415V Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 4 way with 200 Amps rated busbar, (Make: Legrand /Havells / ABB) or suitably equivalent make . | 5.00 | EACH | 3171.24 | 3171.00 | 15855.00 | 3800.00 | 19000.00 | 3000.00 | 15000.00 | 15000.00 | DEEPAM ENTERPRISES
156.00 | Supply, fixing & connecting to the system of 240V, Sheet metal enclosures with single door DB's when MCB'S to be used single pole & neutral 8 way with 200 Amps rated busbar, (Make: Legrand/Havells / ABB) or suitably equivalent make. | 1.00 | EACH | 1894.44 | 2000.00 | 2000.00 | 2700.00 | 2700.00 | 1650.00 | 1650.00 | 1650.00 | DEEPAM ENTERPRISES
157.00 | Material and Labour for Brick walls Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 10 cm but not exc 20 cm girth | 175.00 | SQM | 62.52 | 65.00 | 11375.00 | 75.00 | 13125.00 | 52.10 | 9117.50 | 9117.50 | DEEPAM ENTERPRISES
158.00 | Excavating in trenches hard dense soil not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 160.00 | CUM | 810.00 | 750.00 | 120000.00 | 760.00 | 121600.00 | 525.00 | 84000.00 | 84000.00 | DEEPAM ENTERPRISES
159.00 | Material & labour for sand filling for cushioning on U.G cable | 24.00 | CUM | 2369.16 | 2200.00 | 52800.00 | 2200.00 | 52800.00 | 1700.00 | 40800.00 | 40800.00 | DEEPAM ENTERPRISES
160.00 | Materal & labour for Bricks; common burnt clay building bricks sub class B designation 75, Old size bricks for protection to U.G cable | 3.60 | Nos in 1000 | 6662.26 | 6200.00 | 22320.00 | 9000.00 | 32400.00 | 5400.00 | 19440.00 | 19440.00 | DEEPAM ENTERPRISES
161.00 | Returing, refilling of the hard/dense soil in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 160.00 | CUM | 166.92 | 130.00 | 20800.00 | 130.00 | 20800.00 | 120.00 | 19200.00 | 19200.00 | DEEPAM ENTERPRISES
162.00 | Supply and fixing LED flood light 210/200 watt 230 V AC outdoor type with thermal management in multiple optics and equipped with IP66 protection, with impact and corrosion resistant complete with driver and lamp. (Make: PHILIPS /GE/ WIPRO /CG/ OSRAM / BAJAJ/ HAVELLS/ SYSKA) or suitably equivalent make. | 4.00 | EACH | 24303.14 | 2500.00 | 10000.00 | 21000.00 | 84000.00 | 17500.00 | 70000.00 | 10000.00 | Sri Lakshmi Industries
163.00 | Supply & Fixing of Modular type MCB 20A, 240V, Single pole, in the MCB DB complete with connection testing and commissioning (Make: Legrand/ Havells/ ABB) or suitable equivalent make. | 10.00 | EACH | 2835.00 | 2800.00 | 28000.00 | 2700.00 | 27000.00 | 2250.00 | 22500.00 | 22500.00 | DEEPAM ENTERPRISES
164.00 | Supply & fixing metal flush box for 8 module plate | 5.00 | EACH | 125.00 | 120.00 | 600.00 | 125.00 | 625.00 | 125.00 | 625.00 | 600.00 | Sri Lakshmi Industries
165.00 | Supply & fixing of 12 module plate with frame and metal flush box | 20.00 | EACH | 455.00 | 420.00 | 8400.00 | 420.00 | 8400.00 | 455.00 | 9100.00 | 8400.00 | Sri Lakshmi Industries, Sri Krishna Agencies
166.00 | Supply & fixing of modular type Dummy plate | 15.00 | Nos | 25.00 | 20.00 | 300.00 | 22.00 | 330.00 | 35.00 | 525.00 | 300.00 | Sri Lakshmi Industries
167.00 | Supply and fxing of LED ceiling/Recessed mounting fitting complete with suitable LED lamp and accessories,Wattage 24 to 30 watts and minimum system output 1800 lumens. (Make: PHILIPS / Bajaj /CG /Havells / Wipro) or suitably equivalent make. | 16.00 | EACH | 3755.00 | 3800.00 | 60800.00 | 3400.00 | 54400.00 | 3275.00 | 52400.00 | 52400.00 | DEEPAM ENTERPRISES
168.00 | Supply, fixing & connecting of the system cable end termination of size 25 sqmm 4 core including with suitable cable gland & lugs. | 10.00 | EACH | 334.00 | 320.00 | 3200.00 | 290.00 | 2900.00 | 300.00 | 3000.00 | 2900.00 | Sri Krishna Agencies
| Total in Figures |  |  |  |  | 9251747.00 |  | 9087740.00 |  | 8847752.50
Lowest Amount Quoted BY: DEEPAM ENTERPRISES(8847752.50)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS TO THE PROOF FIRING CONTROL ROOM, FRONT ENTRANCE, SECURITY GUARD ROOM AND FIRE HYDRANTS AT PROOF RANGE COMPLEX AT HVF, AVADI Tender ID: 2026_AVNL_281574_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DEEPAM ENTERPRISES (BID ID -1041410) | 8847752.50 | L1
| 2 | Sri Krishna Agencies (BID ID -1041515) | 9087740.00 | L2
| 3 | Sri Lakshmi Industries (BID ID -1039563) | 9251747.00 | L3