## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 18-Aug-2026 12:09 PM Tender Title: EXTENSION OF AVANI AVISHKAR CENTRE AT HVF, AVADI AND CREATION OF OFFICE ACCOMMODATION FOR 50 DESIGNERS AT AVANI AVISHKAR CENTRE AT HVF, AVADI. Tender ID: 2026_AVNL_283099_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work : EXTENSION OF AVANI AVISHKAR CENTRE AT HVF AVADI AND CREATION OF OFFICE ACCOMMODATION FOR 50 DESIGNERS AT AVANI AVISHKAR CENTRE AT HVF, AVADI.
Tender No: HVF/TE/13025/CEO/2026-27/33
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vishnusurya Projects & Infra Limited (GSTN-NA) BID ID -1046830 |  | DEEPAM ENTERPRISES (GSTN-NA) BID ID -1047060 |  | Leela Constructions (GSTN-NA) BID ID -1052682
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling of floor,hearth or wall tiling including cement mortar bedding (but not backing),removing serviceable tiles to store and rubbish off the premises. | 570.00 | SQM | 102.93 | 101.00 | 57570.00 | 85.00 | 48450.00 | 110.00 | 62700.00 | 48450.00 | DEEPAM ENTERPRISES
2.00 | Demolition of un reinforced cement concrete in ground floors and paving not exceeding 15cm thick (below or above GL) . | 20.00 | CUM | 1586.43 | 1400.00 | 28000.00 | 1350.00 | 27000.00 | 1430.00 | 28600.00 | 27000.00 | DEEPAM ENTERPRISES
3.00 | Demolition of un reinforced cement concrete in ground floors and paving exceeding 15cm thick (below or above GL) . | 45.00 | CUM | 2754.37 | 2687.00 | 120915.00 | 1950.00 | 87750.00 | 2475.00 | 111375.00 | 87750.00 | DEEPAM ENTERPRISES
4.00 | Demolition of reinforced cement concrete in ground floors and paving not exceeding 15cm thick (below or above GL) . | 2.00 | CUM | 2464.11 | 2415.00 | 4830.00 | 1750.00 | 3500.00 | 2220.00 | 4440.00 | 3500.00 | DEEPAM ENTERPRISES
5.00 | Demolition of brickwork or stone/boulder masonry, built in cement mortar. | 12.50 | CUM | 1888.23 | 1792.00 | 22400.00 | 1350.00 | 16875.00 | 1700.00 | 21250.00 | 16875.00 | DEEPAM ENTERPRISES
6.00 | Dismantling structural steel work including doors, gates but excluding framed truss etc., | 12.00 | Quintal | 717.14 | 698.00 | 8376.00 | 610.00 | 7320.00 | 645.00 | 7740.00 | 7320.00 | DEEPAM ENTERPRISES
7.00 | Dismantling of movable rack, almarah and fixing at designated area with in 2.00Km lead with in Factory including transportation the same. | 1.00 | WJ | 75000.00 | 73450.00 | 73450.00 | 60000.00 | 60000.00 | 45000.00 | 45000.00 | 45000.00 | Leela Constructions
8.00 | Transporting to the lead of not less than 2.km and Fixing MS pipes any dia and any description in position as directed. | 75.00 | RM | 650.00 | 624.00 | 46800.00 | 625.00 | 46875.00 | 585.00 | 43875.00 | 43875.00 | Leela Constructions
9.00 | Taking down window frame with shutter not exceeding 1.5 sq.m and handing over the same to CE (Fy) stores. | 22.00 | Each | 415.84 | 402.00 | 8844.00 | 310.00 | 6820.00 | 375.00 | 8250.00 | 6820.00 | DEEPAM ENTERPRISES
10.00 | Taking down door shutters but exc 1 sq. m and n exc 2 sq. m each and handing over the same to CE (Fy) Stores, | 14.00 | Each | 245.99 | 209.00 | 2926.00 | 225.00 | 3150.00 | 225.00 | 3150.00 | 2926.00 | Vishnusurya Projects & Infra Limited
11.00 | Cutting openings, through brick walls built in CM for door, window and other openings or enlarging existing openings. converting window into door openings, etc. or cutting out defective brick work for under-pinning, including providing, fixing and removing shoring, cleaning and stacking bricks, removing surplus serviceable bricks, hard-core,etc.. to store and rubbish not exc. 50m | 6.50 | CUM | 832.14 | 824.00 | 5356.00 | 750.00 | 4875.00 | 750.00 | 4875.00 | 4875.00 | DEEPAM ENTERPRISES, Leela Constructions
12.00 | Hacking out plastering 15 cm vide on either side of the crack cutting of 6mm 'V' groove by inserting chicken mesh in gaps of wall PU filler material of reputed companies such as mastered builder solution, Fosroc. Alchemica, Dr Fixit, or equivalent make and finishing to the original shape as directed. The crack filling shall be carried out as per the OEM specifications specified by the OEM and the material to be used shall be freshly manufactured having a minimum life span of six months when brought out site. | 350.00 | RM | 85.55 | 470.00 | 164500.00 | 80.00 | 28000.00 | 75.00 | 26250.00 | 26250.00 | Leela Constructions
13.00 | Excavating over areas, n exc 1.5 m deep and getting out in hard/dense soil. | 70.00 | CUM | 517.50 | 498.00 | 34860.00 | 450.00 | 31500.00 | 670.00 | 46900.00 | 31500.00 | DEEPAM ENTERPRISES
14.00 | Earth work excavation in hard/ dense soil for foundation width and depth not exceeding 1.50m and getting out. | 80.00 | CUM | 776.25 | 756.00 | 60480.00 | 519.00 | 41520.00 | 700.00 | 56000.00 | 41520.00 | DEEPAM ENTERPRISES
15.00 | Earth work excavation in hard/ dense soil for foundation width and depth exceeding 1.50m and getting out. | 15.00 | CUM | 958.76 | 916.00 | 13740.00 | 895.00 | 13425.00 | 870.00 | 13050.00 | 13050.00 | Leela Constructions
16.00 | Excavating hard/dense soil in post holes (or similar holes) each n exc 0.5 cu. m, getting out, returning, filling in and ramming earth or broken rubble mixed with earth around, in layers not exceeding 25 cm, | 20.00 | EACH | 438.61 | 398.00 | 7960.00 | 430.00 | 8600.00 | 400.00 | 8000.00 | 7960.00 | Vishnusurya Projects & Infra Limited
17.00 | M&L for sand filling / quarry dust under foundations, flooring, etc, including watering and consolidation. | 95.00 | CUM | 2270.45 | 2160.00 | 205200.00 | 1900.00 | 180500.00 | 2270.00 | 215650.00 | 180500.00 | DEEPAM ENTERPRISES
18.00 | Material and labour for hard core using broken stone of gauge not exceeding 63 mm deposited, spread and levelled in layers not exceeding 15 cms thick watered and rammed to through surface. | 10.00 | CUM | 2381.42 | 2390.00 | 23900.00 | 2100.00 | 21000.00 | 2145.00 | 21450.00 | 21000.00 | DEEPAM ENTERPRISES
19.00 | M & L for P.C.C 1:4:8, D2 type using 40mm graded aggregated in foundation. | 15.00 | CUM | 6305.57 | 6150.00 | 92250.00 | 5700.00 | 85500.00 | 5675.00 | 85125.00 | 85125.00 | Leela Constructions
20.00 | M&L for cement concrete in foundation, filling and mass concrete type B2 1:2:4 using 20mm aggregate. | 145.00 | CUM | 7513.33 | 7800.00 | 1131000.00 | 7175.00 | 1040375.00 | 7000.00 | 1015000.00 | 1015000.00 | Leela Constructions
21.00 | M & L for providing RCC M20 Concrete design mix in Foundations, including rafts, footings, foundation beams; plinth beams; bases for columns, etc.; basement slabs, under-reamed piles and mass concrete | 12.00 | Cum | 8498.41 | 8800.00 | 105600.00 | 8150.00 | 97800.00 | 7650.00 | 91800.00 | 91800.00 | Leela Constructions
22.00 | M & L for providing RCC M20 Concrete design mix in Columns, pillars, piers, posts and struts | 2.50 | Cum | 9546.27 | 8800.00 | 22000.00 | 8750.00 | 21875.00 | 8600.00 | 21500.00 | 21500.00 | Leela Constructions
23.00 | M & L for providing RCC M20 Concrete design mix in Beams, cantilever bressummers, lintels over 1.5m span | 7.00 | Cum | 9077.53 | 8800.00 | 61600.00 | 8400.00 | 58800.00 | 8170.00 | 57190.00 | 57190.00 | Leela Constructions
24.00 | M & L for providing RCC M20 Concrete design mix in Slabs supported on walls, beams and columns in floors, roofs, landings, balconies, canopies, deck slabs and in shelves | 11.00 | Cum | 8208.36 | 8800.00 | 96800.00 | 8200.00 | 90200.00 | 7400.00 | 81400.00 | 81400.00 | Leela Constructions
25.00 | M & L for flat Formwork to sides of concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter add for fair finished surface | 80.00 | SQM | 456.68 | 950.00 | 76000.00 | 402.00 | 32160.00 | 410.00 | 32800.00 | 32160.00 | DEEPAM ENTERPRISES
26.00 | M & L for flat Square, Circular rectangular on plan or polyg- onal Formwork to sides of pillars, posts, struts, piers, columns and stanchions add fair finished surface | 30.00 | SQM | 780.24 | 950.00 | 28500.00 | 560.00 | 16800.00 | 700.00 | 21000.00 | 16800.00 | DEEPAM ENTERPRISES
27.00 | M & L for flat Formwork to sides and soffits of floor or roof beams, beam haunchings, girders, bressummers, lintels, cantilevers, shelves including sup-ports, overhangs, etc. also splays between floors and beams, etc. and add for fair finished surface | 60.00 | SQM | 624.67 | 950.00 | 57000.00 | 595.00 | 35700.00 | 565.00 | 33900.00 | 33900.00 | Leela Constructions
28.00 | M & L for flat Formwork to soffits of suspended slabs such as roof slabs, floor slabs, landings and similar work; not exceeding 200mm thick (Horizontal or sloping) and add for fair finished surface. | 90.00 | SQM | 662.00 | 950.00 | 85500.00 | 640.00 | 57600.00 | 600.00 | 54000.00 | 54000.00 | Leela Constructions
29.00 | S & F TMT Mild steel bars 10mm dia and over, cut to length, bent to shape required, including cranking, Bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips | 2500.00 | KG | 94.99 | 100.00 | 250000.00 | 95.00 | 237500.00 | 95.00 | 237500.00 | 237500.00 | DEEPAM ENTERPRISES, Leela Constructions
30.00 | S&F of mild steel bars (6 TO 8 MM) dia TMT bars dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips . | 1200.00 | KG | 97.23 | 100.00 | 120000.00 | 105.00 | 126000.00 | 100.00 | 120000.00 | 120000.00 | Vishnusurya Projects & Infra Limited, Leela Constructions
31.00 | Material and labour for Anti-termite treatment Treating the top surface of filled earth at the rate of 5 litres of emulsion per square metre of surface | 250.00 | SQM | 76.82 | 74.00 | 18500.00 | 70.00 | 17500.00 | 70.00 | 17500.00 | 17500.00 | DEEPAM ENTERPRISES, Leela Constructions
32.00 | Material and labouir for Anti-termite treatment along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc. in apron. | 15.00 | RM | 102.58 | 94.00 | 1410.00 | 95.00 | 1425.00 | 100.00 | 1500.00 | 1410.00 | Vishnusurya Projects & Infra Limited
33.00 | Material and labour for Anti-termite treatment at points of contact of wood work by chemical emulsion (in oil or kerosene based solution) @ 0.5 litre/hole by drilling 6mm dia holes at a downward angle of 45 degree at 150mm centre to centre and sealing the same. | 40.00 | RM | 92.92 | 85.00 | 3400.00 | 85.00 | 3400.00 | 85.00 | 3400.00 | 3400.00 | Vishnusurya Projects & Infra Limited, DEEPAM ENTERPRISES, Leela Constructions
34.00 | Material and labour for brick work built in CM 1:6 using sub-class ''B'' bricks ,straight or curved on plain exc 6m mean radius. | 23.00 | CUM | 5606.25 | 7800.00 | 179400.00 | 5800.00 | 133400.00 | 5700.00 | 131100.00 | 131100.00 | Leela Constructions
35.00 | Material and labour for Brickwork with subclass ‘B’ bricks, straight or curved on plan to any radius in half brick thick walls built in CM 1:4. | 75.00 | SQM | 773.48 | 1370.00 | 102750.00 | 750.00 | 56250.00 | 700.00 | 52500.00 | 52500.00 | Leela Constructions
36.00 | Cutting out bricks,forming toothing for,and bonding new into old work including cement mortar 1:4 value of new mat-erials entering old walls and jointing and pointing (measured on vertical face in contact with old wall only) | 15.00 | SQM | 736.46 | 990.00 | 14850.00 | 650.00 | 9750.00 | 665.00 | 9975.00 | 9750.00 | DEEPAM ENTERPRISES
37.00 | Providing and laying of Autoclaved aerated concrete(AAC) blocks masonry of approved sizes with grade -I AAC blocks of density 551 to 650 Kg/CUM conforming to IS:2185(part-3) in super structure above plinth level in CM1:4.The rate inculded providing and placing in postion 2 nos 6mm MS bars at every third course of masonry work. | 20.00 | CUM | 11050.00 | 9750.00 | 195000.00 | 10500.00 | 210000.00 | 9945.00 | 198900.00 | 195000.00 | Vishnusurya Projects & Infra Limited
38.00 | Material and labour for applying two coat of 3mm thick white cement based wall care putty in walls and as specified in SSR 2020 part-I specification clause 15.19.1 to 15.19.6.4(Make shall be of JK white putty / Birla white wall care putty) or suitably equivalent make. | 1150.00 | SQM | 191.91 | 103.00 | 118450.00 | 162.00 | 186300.00 | 175.00 | 201250.00 | 118450.00 | Vishnusurya Projects & Infra Limited
39.00 | Material and labour for dubbing out average (CM 1:6 )20 mm thick on irregular face off walls. | 600.00 | SQM | 336.56 | 254.00 | 152400.00 | 290.00 | 174000.00 | 310.00 | 186000.00 | 152400.00 | Vishnusurya Projects & Infra Limited
40.00 | Material and labour for dubbing out average (CM 1:6 )10 mm thick on irregular face off walls. | 80.00 | SQM | 182.63 | 127.00 | 10160.00 | 190.00 | 15200.00 | 165.00 | 13200.00 | 10160.00 | Vishnusurya Projects & Infra Limited
41.00 | Material & labour for plastering with CM(1:4) 12mm thick ceiling plastering. | 80.00 | SQM | 291.77 | 168.00 | 13440.00 | 290.00 | 23200.00 | 265.00 | 21200.00 | 13440.00 | Vishnusurya Projects & Infra Limited
42.00 | M&L for Plastering with CM 1:4,15mm thick on faces of brick work and concrete surfaces finshed fair. | 1050.00 | SQM | 302.59 | 203.00 | 213150.00 | 290.00 | 304500.00 | 300.00 | 315000.00 | 213150.00 | Vishnusurya Projects & Infra Limited
43.00 | M & L Forming jambs, etc. to openings (to foregoing item), including cutting, toothing and properly bonding into old work, also facing, jointing and pointing to match existing work, complete Cement mortar 1:4 | 40.00 | Sqm | 817.19 | 532.00 | 21280.00 | 730.00 | 29200.00 | 735.00 | 29400.00 | 21280.00 | Vishnusurya Projects & Infra Limited
44.00 | Material and labour for applying two coats of internal emulsion paint with one coat primer inculding preparation of surfaces on internal wall of painted new surfaces all complete. | 1300.00 | SQM | 164.68 | 151.00 | 196300.00 | 141.00 | 183300.00 | 150.00 | 195000.00 | 183300.00 | DEEPAM ENTERPRISES
45.00 | Material and labour for applying two coat of exterior plastic emulsion over the one caot of primer inculding preparation of surfaces on external wall surfaces all complete [MAKE:- ASIAN Paint (Apex Ultima) / NEROLAC (Excel Total), / BERGER (Weather Coat )] or suitably equivalent make. | 780.00 | SQM | 164.68 | 161.00 | 125580.00 | 147.00 | 114660.00 | 150.00 | 117000.00 | 114660.00 | DEEPAM ENTERPRISES
46.00 | S&F of Gl frame work for seamless ceiling comprising of G l perimeter channel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre. | 490.00 | SQM | 556.63 | 520.00 | 254800.00 | 515.00 | 252350.00 | 500.00 | 245000.00 | 245000.00 | Leela Constructions
47.00 | M&L for Seamless calcium silicate ceiling 8mm thick made out of 1800 x 1200 mm size board of siliceous and calcareous material reinforced with cellulose fibre fixed to the ceiling section with 25 mm long self drilling and tapping screws having phillips head with under headcutter at 200 mm centre to centre,including finshing the joint of face board with specially formulated jointing compound and 48 mm wide fibre tape to provide seam less finish (Frame work for ceiling shall be measured and paid separately) | 490.00 | SQM | 707.14 | 1070.00 | 524300.00 | 695.00 | 340550.00 | 635.00 | 311150.00 | 311150.00 | Leela Constructions
48.00 | Supply and Fixing of Gyspum cornice of size 90mm to 120mm ,box type /open type/closed type with desired design and pattern as directed. | 210.00 | RM | 178.00 | 186.00 | 39060.00 | 162.00 | 34020.00 | 160.00 | 33600.00 | 33600.00 | Leela Constructions
49.00 | M & L for Virified Ceramic tiles ( light shade) 10 mm thick (square/ rectangular) polished, area of each tiles exceeding 0.42 sqm but not exceeding 1.00 sqm, in floor etc. | 345.00 | SQ.M | 1841.38 | 1505.00 | 519225.00 | 1780.00 | 614100.00 | 1830.00 | 631350.00 | 519225.00 | Vishnusurya Projects & Infra Limited
50.00 | M & L for Virified Ceramic tiles 10 mm thick (square/ rectangular) light shade polished, area of each tiles exceeding 0.36 sqm not exceeding 0.42 sqm , in wall& floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 25mm thick for laying floor finishes with for joint free | 650.00 | SQ.M | 2081.10 | 1555.00 | 1010750.00 | 1750.00 | 1137500.00 | 1940.00 | 1261000.00 | 1010750.00 | Vishnusurya Projects & Infra Limited
51.00 | M & L for 20mm Granite (of any type) work (table rubbed and polished) for wall lining (veneering to wall) 12mm thick in cement mortar (1:3) and pointing with white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. | 45.00 | SQ.M | 5271.14 | 2970.00 | 133650.00 | 5200.00 | 234000.00 | 4745.00 | 213525.00 | 133650.00 | Vishnusurya Projects & Infra Limited
52.00 | Providing edge moulding to 18-20mm thick half nosing granite stone of counters vanities etc. including machine polishing to edge to give high gloss finish etc. complete. | 185.00 | RM | 432.69 | 413.00 | 76405.00 | 350.00 | 64750.00 | 390.00 | 72150.00 | 64750.00 | DEEPAM ENTERPRISES
53.00 | S & F of 2nd class hardwood plain,solid ,straight ,chowkats, and frames ,wrought,framed rebated on the solid ,rounded or chamfered,put together with glue pinned at joints, supplied and fixed. | .35 | CUM | 99345.22 | 270000.00 | 94500.00 | 105000.00 | 36750.00 | 89410.00 | 31293.50 | 31293.50 | Leela Constructions
54.00 | S & F of 40 mm thick Plain, framed, panelled shutters (any number of panels), with panels of timber flat on both sides (feather edged), or of veneered particle board medium density, wood particle board with commercial face veneers: supplied and fitted to chowkats | 8.00 | SQM | 5364.29 | 5200.00 | 41600.00 | 5050.00 | 40400.00 | 4380.00 | 35040.00 | 35040.00 | Leela Constructions
55.00 | Supply and fixing of Flush shutters 40 mm thick , solid core construction with particle board and plywood face panels, commercial type on both sides and both faces is covered with decorative face veneer with lipping/frame to match. | 13.00 | SQM | 3838.01 | 3750.00 | 48750.00 | 3600.00 | 46800.00 | 3460.00 | 44980.00 | 44980.00 | Leela Constructions
56.00 | Supply & Fixing of Factory made single extruded WPC (Wood Polymer Composite) solid door/ window/ Ceosetory windows & other Frames/Chowkhat of size 45 x 70 mm comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms)fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum comp-ressive strength of 58 N/mm2, modules of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof,water/ moisture proof and fire retardant and fixed in position with MS hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-in-Charge. (M.S. hold fast/ lugs or SS dash fasteners shall be paid for separately).Note: For WPC solid door/window frames,minus 5mm tolerance in dimension i.e.depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. | 120.00 | RM | 736.81 | 550.00 | 66000.00 | 625.00 | 75000.00 | 665.00 | 79800.00 | 66000.00 | Vishnusurya Projects & Infra Limited
57.00 | S&F of 30mm thick factory made single extruded WPC(wood polymer composite) solid plain flush door shutter or required size comprising of virgin polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood power)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for 100mgs) having minimum density of 650kg/cum, screw withdrawl strength of 1800N (face)& 900N (edge) minimum compressive strength of 50N/mm2, modulus of elasticity 850N/mm2 and resistence to spread of flame of class A category with property of being termite/borer proof,water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star head counter sunk SS screws, all as per direction of engineer-in-charge. | 50.00 | SQM | 3610.00 | 4100.00 | 205000.00 | 3325.00 | 166250.00 | 3250.00 | 162500.00 | 162500.00 | Leela Constructions
58.00 | S/F of Mortice lock,vertical type, size 100 mm with four levers, Brass body and fixed . | 6.00 | EACH | 872.62 | 1100.00 | 6600.00 | 850.00 | 5100.00 | 785.00 | 4710.00 | 4710.00 | Leela Constructions
59.00 | S/F of 375mm Brass skeleton tower bolts with cast brass plate and staples and rolled or drawn brass bolt and fixed. | 16.00 | EACH | 708.98 | 660.00 | 10560.00 | 700.00 | 11200.00 | 640.00 | 10240.00 | 10240.00 | Leela Constructions
60.00 | S & F of 150mm Brass barrel towerbolts, with cast or sheet barrel and rolled or cast bolts and fixed . | 28.00 | Each | 271.86 | 260.00 | 7280.00 | 265.00 | 7420.00 | 245.00 | 6860.00 | 6860.00 | Leela Constructions
61.00 | S/F of butt hinges (125mm) cast, brass with mild steel hinge pin,bright polished and fixed but type B-12. | 63.00 | EACH | 311.77 | 295.00 | 18585.00 | 310.00 | 19530.00 | 280.00 | 17640.00 | 17640.00 | Leela Constructions
62.00 | S/F of Floor door stopper of brass body Overall length of cover plate (140 mm)and tongue, anodised,with hard drawn steel spring,fixed in floor. | 7.00 | EACH | 240.58 | 220.00 | 1540.00 | 215.00 | 1505.00 | 220.00 | 1540.00 | 1505.00 | DEEPAM ENTERPRISES
63.00 | Supply and fixing of extruded brass handles fabricated and polished of size 150m | 41.00 | EACH | 308.09 | 300.00 | 12300.00 | 300.00 | 12300.00 | 280.00 | 11480.00 | 11480.00 | Leela Constructions
64.00 | S & F of aluminium (die cast) body Door closer hydraulically regulated, designation No. 3, universal type, suitable for door shutters of 851 to 1000 mm in width and of weight between 61 to 80 kg and fixed | 7.00 | Each | 1497.30 | 1800.00 | 12600.00 | 1300.00 | 9100.00 | 1350.00 | 9450.00 | 9100.00 | DEEPAM ENTERPRISES
65.00 | S & F of 300 mm Aluminium alloy, anodised, sliding door bolt with hasp, staple (bolt type) and fixing clips of sheet, cast or extruded sections and fixing bolts and sliding bolts of extruded sections or cast-aluminium alloy and fixed. | 5.00 | Each | 492.43 | 440.00 | 2200.00 | 430.00 | 2150.00 | 445.00 | 2225.00 | 2150.00 | DEEPAM ENTERPRISES
66.00 | Supply and fixing of holdfast , Bands, straps, supports or stays for rainwater, ventilating pipes,including bolts, if required:hooks (stay), heavy, for largegates; hook and pintle hinges:large hasps and staples; chains;hand made sliding bolts; clamps;hold fasts; wall ties; hooks forhanging fans; plain angle cleatsfor securing purlins to wood trusses or rafters; knee piecevinserts; two way and three way straps, plate washers and similar small articles conforming to Fe-290 Gde-E-165 | 23.00 | KG | 208.24 | 145.00 | 3335.00 | 188.00 | 4324.00 | 190.00 | 4370.00 | 3335.00 | Vishnusurya Projects & Infra Limited
67.00 | Material and Labour for French polishing on surfaces of any description, width or girth including cleaning and preparing the surface including a coat of wood filler on new works with two or more coatspolishing. | 41.00 | SQM | 137.37 | 250.00 | 10250.00 | 120.00 | 4920.00 | 125.00 | 5125.00 | 4920.00 | DEEPAM ENTERPRISES
68.00 | Supply and fixing factory-made uPVC white colour Three track three panels sliding window with fly proof S.S wire mesh (Two nos. glazed & one no. wire mesh panels) upto 1.50m height made of big series) frame 116 x 45 mm & sash 46 x 62 mm both having wall thickness of 2.3 ± 0.2 mm and single glazing bead /double glazing bead of appropriate dimension. (Area of window above 1.75 sqm) comprising of uPVC multi-chambered frame, with inbuilt roller track and sash extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), appropriate dimension of uPVC extruded glazing beads and uPVC extruded interlocks, EPDM gasket, wool pile, zinc alloy (white powder coated) touch locks with hook, zinc alloy body with single nylon rollers (weight bearing capacity to be 40 kg), G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, complete all as specified and directed by Engineer-in-Charge. (Glass or wiremesh shall be paid separately) Note: For uPVC frame and sash extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. | 42.00 | sqm | 10011.45 | 8450.00 | 354900.00 | 9100.00 | 382200.00 | 9000.00 | 378000.00 | 354900.00 | Vishnusurya Projects & Infra Limited
69.00 | Supply and fixing factory made uPVC white colour fixed glazed window/ventilator made of (small series) frame 47 x 50 mm mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area upto 0.75 sqm.) comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I. fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Glass shall be paid separately) Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. | 5.00 | SQM | 7360.61 | 4500.00 | 22500.00 | 6950.00 | 34750.00 | 6625.00 | 33125.00 | 22500.00 | Vishnusurya Projects & Infra Limited
70.00 | S & F of 5.5mm Sheet glass, ordinary quality and glazing rubber beading with in square exceeding 0.5 sq. m in each pane as required for the aluminium partition. | 45.00 | sqm | 1385.72 | 1150.00 | 51750.00 | 1215.00 | 54675.00 | 1250.00 | 56250.00 | 51750.00 | Vishnusurya Projects & Infra Limited
71.00 | Supply & fixing of powder coated anodised aluminium frame for partition,doors, windows, ventilators with one or more rebates including joining cleat for fixing and power coating etc. complete all as specified(minimum thickness of powder coating 50 micron). | 150.00 | KG | 628.95 | 520.00 | 78000.00 | 620.00 | 93000.00 | 565.00 | 84750.00 | 78000.00 | Vishnusurya Projects & Infra Limited
72.00 | Supply and Fixing of Stainless steel wire cloth. 0.36mm nominal dia of wire and average width of aperture 1.40mm and fixed with stainless steel wire staples | 100.00 | SQM | 837.55 | 540.00 | 54000.00 | 750.00 | 75000.00 | 755.00 | 75500.00 | 54000.00 | Vishnusurya Projects & Infra Limited
73.00 | Supply and fixing of Cement concrete tiles 20mm thick, machine pressed; set jointed and pointed in neat cement slurry in floors, and cut ,fininished with white cement & pigments and polished in CM 1:4,15 mm thick . | 100.00 | SQM | 1378.59 | 1350.00 | 135000.00 | 1250.00 | 125000.00 | 1245.00 | 124500.00 | 124500.00 | Leela Constructions
74.00 | S & F of Looking Mirror of any size as required at site selected quality glass, mount on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass. | 9.00 | SQM | 1200.00 | 1100.00 | 9900.00 | 1175.00 | 10575.00 | 1080.00 | 9720.00 | 9720.00 | Leela Constructions
75.00 | Taking up or down steel tubing 25 or 32 mm dia pipe and connections, including cleaning for refixing or removal to CE(Fy) store. | 55.00 | RM | 46.23 | 45.00 | 2475.00 | 35.00 | 1925.00 | 45.00 | 2475.00 | 1925.00 | DEEPAM ENTERPRISES
76.00 | Taking up or down steel tubing of bore 20mm and connection including cleaning for refixing or removal to CE(Fy) store.(Including all accessories). | 50.00 | RM | 42.11 | 47.00 | 2350.00 | 30.00 | 1500.00 | 40.00 | 2000.00 | 1500.00 | DEEPAM ENTERPRISES
77.00 | Taking down cement plaster on brick or stone walls tiles etc,including ranking out, joints ,hacking for keys scrubbing down with water,etc. | 40.00 | SQM | 109.18 | 60.00 | 2400.00 | 97.00 | 3880.00 | 100.00 | 4000.00 | 2400.00 | Vishnusurya Projects & Infra Limited
78.00 | cutting chases, pinning in making good to facing where required and pointing in cement mortar 1:3 for water tubing etc., and making good , cutting not exceeding 10cm girth in brick wall. | 60.00 | RM | 58.02 | 77.00 | 4620.00 | 58.00 | 3480.00 | 55.00 | 3300.00 | 3300.00 | Leela Constructions
79.00 | Supplying and laying of CPVC pipes 32 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors, trenches complete all as specified. | 65.00 | RM | 534.29 | 448.00 | 29120.00 | 503.00 | 32695.00 | 480.00 | 31200.00 | 29120.00 | Vishnusurya Projects & Infra Limited
80.00 | Supplying and laying of CPVC pipes 20 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors, trenches complete all as specified. | 90.00 | RM | 253.81 | 236.00 | 21240.00 | 237.00 | 21330.00 | 230.00 | 20700.00 | 20700.00 | Leela Constructions
81.00 | S & F of PVC 75mm dia( SWR )Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. Make: Finolex/Supreme/ Star or suitably equivalent make | 80.00 | RM | 269.15 | 310.00 | 24800.00 | 230.00 | 18400.00 | 145.00 | 11600.00 | 11600.00 | Leela Constructions
82.00 | S & F of PVC (SWR) 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in wall. Make: Finolex/Supreme/ Star or suitably equivalent make | 80.00 | RM | 545.97 | 507.00 | 40560.00 | 425.00 | 34000.00 | 490.00 | 39200.00 | 34000.00 | DEEPAM ENTERPRISES
83.00 | S & F of PVC (SWR) 160 mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in wall.Make: Finolex/Supreme/ Star or suitably equivalent make | 105.00 | RM | 1300.00 | 1100.00 | 115500.00 | 1210.00 | 127050.00 | 1170.00 | 122850.00 | 115500.00 | Vishnusurya Projects & Infra Limited
84.00 | Supply and Fixing of PVC (SWR) multi floor trap 75mmwith grating including jointing with solvent cement. | 13.00 | EACH | 460.00 | 378.00 | 4914.00 | 390.00 | 5070.00 | 415.00 | 5395.00 | 4914.00 | Vishnusurya Projects & Infra Limited
85.00 | M&L for PVC (SWR) gully trap 125/110mm setting and jointing with solvent cement. | 9.00 | EACH | 304.75 | 270.00 | 2430.00 | 260.00 | 2340.00 | 275.00 | 2475.00 | 2340.00 | DEEPAM ENTERPRISES
86.00 | S & F of PVC Bend with door 75 mm dia any radius | 11.00 | EACH | 166.75 | 156.00 | 1716.00 | 150.00 | 1650.00 | 150.00 | 1650.00 | 1650.00 | DEEPAM ENTERPRISES, Leela Constructions
87.00 | S & F of PVC Bend with door 110mm dia any radius | 8.00 | EACH | 195.50 | 190.00 | 1520.00 | 165.00 | 1320.00 | 175.00 | 1400.00 | 1320.00 | DEEPAM ENTERPRISES
88.00 | S & F of PVC Tee junction single,with door 110mm dia any radius | 7.00 | EACH | 631.38 | 550.00 | 3850.00 | 515.00 | 3605.00 | 570.00 | 3990.00 | 3605.00 | DEEPAM ENTERPRISES
89.00 | S & F of Gun-metal (15mm) , globe or gate valves,with iron wheel head, screwed both ends for iron pipe and fixed. | 7.00 | EACH | 581.27 | 600.00 | 4200.00 | 540.00 | 3780.00 | 525.00 | 3675.00 | 3675.00 | Leela Constructions
90.00 | S & F of Gun-metal (25mm) , globe or gate valves,with iron wheel head, screwed both ends for iron pipe and fixed. | 4.00 | EACH | 675.33 | 650.00 | 2600.00 | 595.00 | 2380.00 | 610.00 | 2440.00 | 2380.00 | DEEPAM ENTERPRISES
91.00 | S & F of 20mm Ball valves set Ball valves high pressure of PTMT with epoxy coated Aluminium rod & highdensity plastic ball screwed for iron pipe and fixed. (Minimum weight 20 mm - 210 gms | 5.00 | Each | 491.12 | 360.00 | 1800.00 | 425.00 | 2125.00 | 445.00 | 2225.00 | 1800.00 | Vishnusurya Projects & Infra Limited
92.00 | s&F of sensor pillar cock 15mm long body fixed on was hbasin with all necessary fittings ETC . Make: parryware or suitably equivalent make. | 2.00 | Each | 9000.00 | 7500.00 | 15000.00 | 8500.00 | 17000.00 | 8100.00 | 16200.00 | 15000.00 | Vishnusurya Projects & Infra Limited
93.00 | S & F of Pillar cock chromium plated to wash basin 15mm dia ditto, but fancy type, with capstan heads, screwed down high pressure with long screwed shanks for iron pipe. | 15.00 | Each | 777.91 | 810.00 | 12150.00 | 690.00 | 10350.00 | 700.00 | 10500.00 | 10350.00 | DEEPAM ENTERPRISES
94.00 | S& F of 15mm fancy type bib tap bore dia of 15mm pipe standard of PTMT any colour High pressure screwed foriron pipe and fixed in repairs. | 18.00 | EACH | 251.64 | 236.00 | 4248.00 | 225.00 | 4050.00 | 230.00 | 4140.00 | 4050.00 | DEEPAM ENTERPRISES
95.00 | S&F of Rotational moulded polye-thylene water storage tanks (cylindrical verticalwith closed top) hoistedand fixed in position all asspecified(1000 litres) | 5.00 | Each | 9425.93 | 9354.00 | 46770.00 | 9000.00 | 45000.00 | 8485.00 | 42425.00 | 42425.00 | Leela Constructions
96.00 | S & F of 15mm cast copper alloy, screwed down, high pressure stop cock/Angle cock fancy type chromium plated with long shank and cup (concealed type) | 27.00 | EACH | 828.16 | 768.00 | 20736.00 | 770.00 | 20790.00 | 745.00 | 20115.00 | 20115.00 | Leela Constructions
97.00 | Supply and fixing of Health facet chromium plated of make (Parryware / Cera / ESS YES - "VICTORIAN" or suitably equivalent make) | 12.00 | EACH | 950.00 | 930.00 | 11160.00 | 950.00 | 11400.00 | 855.00 | 10260.00 | 10260.00 | Leela Constructions
98.00 | Supply and Fixing of Soap dish fixed with chromium plate brass screws and wooden/plastic cleats (Make : parryware/Jaguar/Kohler or suitably equivalent make) | 14.00 | Nos | 955.00 | 896.00 | 12544.00 | 900.00 | 12600.00 | 860.00 | 12040.00 | 12040.00 | Leela Constructions
99.00 | Supply and fixing of tubular towel rail 20mm dia D type 60cm long of Brass Chromium plated with brass screws and wooden /plastic cleats. | 14.00 | EACH | 1003.84 | 925.00 | 12950.00 | 950.00 | 13300.00 | 910.00 | 12740.00 | 12740.00 | Leela Constructions
100.00 | Supply and Fixing of Toilet paper Holder of (Make Jaguar, ESS ESS, Parryware) or suitably equivalent make | 12.00 | Nos | 1200.00 | 1100.00 | 13200.00 | 1150.00 | 13800.00 | 1080.00 | 12960.00 | 12960.00 | Leela Constructions
101.00 | Suppy and fixing of steel work in tubular trusses, square tube,rectungalar tube, hollow section including special shaped washer etc. complete using ERW or induction butt welded tubes conforming to I. S.1161- 1979 grade St.-240 . | 10000.00 | KG | 142.73 | 141.00 | 1410000.00 | 131.00 | 1310000.00 | 130.00 | 1300000.00 | 1300000.00 | Leela Constructions
102.00 | Supply and fixing of Pre- painted galvalume aluminum zinc coating GI based corrugated steel sheet 0.50mm thick of an colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified | 460.00 | SQM | 882.06 | 920.00 | 423200.00 | 804.00 | 369840.00 | 790.00 | 363400.00 | 363400.00 | Leela Constructions
103.00 | S &F Pre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws/screw cap as specified . | 40.00 | SQM | 824.56 | 820.00 | 32800.00 | 739.00 | 29560.00 | 745.00 | 29800.00 | 29560.00 | DEEPAM ENTERPRISES
104.00 | Supply and Fixing of coloured double wall poly carbonate sheet 10mm in roofing including necessay fitting for jointing and fied to structure etc all complete as directed. | 70.00 | SQM | 1200.00 | 1700.00 | 119000.00 | 1199.00 | 83930.00 | 1080.00 | 75600.00 | 75600.00 | Leela Constructions
105.00 | S & F of IWC Squat pan (Orisa pattern) Size 580 x 440mm white / colour with integral foot rests providing lime concrete bed and finishing the top and PVC valveless 10 litre, syphonic action type, flushing cistern, low level, white, with inlet, ball valve, float and handle including brackets etc., | 5.00 | Each | 4072.53 | 4000.00 | 20000.00 | 3750.00 | 18750.00 | 3665.00 | 18325.00 | 18325.00 | Leela Constructions
106.00 | Supply and fixing of white /coloured EWC complete high or low level flushing cistern and connections to pipes and fixing of chain and pull, or lever ,if PVC valveless syphonic action type, flushing cistern 10 liters capacity ,low level ,white with inlet ball valves ,flot and handle including bracket. (Make:Cera/Jaquar/Parrryware/toto/Hindware/Kohler) or suitably equivalent make | 10.00 | EACH | 12500.00 | 13500.00 | 135000.00 | 12000.00 | 120000.00 | 11250.00 | 112500.00 | 112500.00 | Leela Constructions
107.00 | S & F of Vitreous China wash basin, white, flat back, size 580x450 Wash basins, Vitreous China (flat back or angle back type) any size, including cutting for and pinning in ends of brackets or erecting stand and 32mm Waste fittings, brass, chromium plated for glazed ware sinks, basins, etc. with long screwed shanks and fly-nuts, flange end bedded in red lead cement and other end fixed Pillar taps, cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts,screwed for iron pipe and fixed | 2.00 | EACH | 2757.76 | 2659.00 | 5318.00 | 2400.00 | 4800.00 | 2485.00 | 4970.00 | 4800.00 | DEEPAM ENTERPRISES
108.00 | Supply and fixing of counter top wash basin with necessary fittings and cabinet.(ROCA / BELMORE / KOHLER / DURAVIT OR SUITABLY EQUIVALENT MAKE) | 15.00 | EACH | 13200.00 | 13800.00 | 207000.00 | 13000.00 | 195000.00 | 11880.00 | 178200.00 | 178200.00 | Leela Constructions
109.00 | Material an labour for Providing and fixing in position in built automatic sencing urinal having integrated EF-S -smart-DC and the make shall be approved. | 20.00 | EACH | 32000.00 | 33500.00 | 670000.00 | 28375.00 | 567500.00 | 28800.00 | 576000.00 | 567500.00 | DEEPAM ENTERPRISES
110.00 | Supply and Fixing of Stainless steel sink with draining board, made out of 1.00mm thick sheet for kitchen or laboratory with plug, washers waste pipe, cast iron cantilever brackets, connecting union overall size 915mmx460mm with bowl size 410mm x 330mm x 160mm complete all as directed by EIC. | 1.00 | Each | 5182.05 | 5850.00 | 5850.00 | 5150.00 | 5150.00 | 4665.00 | 4665.00 | 4665.00 | Leela Constructions
111.00 | providing and fixing in position toilet wall mounted coupled closet includede soft seat cover concealed flush tank | 2.00 | EACH | 35000.00 | 36200.00 | 72400.00 | 31000.00 | 62000.00 | 31500.00 | 63000.00 | 62000.00 | DEEPAM ENTERPRISES
112.00 | Supply & Fixing of Health faucet (Make: Jaquar,ROCA, Kohler,SOCA) or Suitably Equivalent Make. | 2.00 | EACH | 3000.00 | 2100.00 | 4200.00 | 2750.00 | 5500.00 | 2700.00 | 5400.00 | 4200.00 | Vishnusurya Projects & Infra Limited
113.00 | Supply & Fixing of chromium plated bib tap | 2.00 | EACH | 1600.00 | 3100.00 | 6200.00 | 1100.00 | 2200.00 | 1440.00 | 2880.00 | 2200.00 | DEEPAM ENTERPRISES
114.00 | Supply & Fixing of toilet paper holder of recessed type | 2.00 | EACH | 2600.00 | 2550.00 | 5100.00 | 1900.00 | 3800.00 | 2340.00 | 4680.00 | 3800.00 | DEEPAM ENTERPRISES
115.00 | Supply & Fixing of SS Towel rail. | 2.00 | EACH | 2600.00 | 2550.00 | 5100.00 | 1950.00 | 3900.00 | 2340.00 | 4680.00 | 3900.00 | DEEPAM ENTERPRISES
116.00 | Supply & Fixing of coat hook.(Make: Jaquar,ROCA, Kohler,SOCA or Suitably Equivalent) | 2.00 | EACH | 870.00 | 810.00 | 1620.00 | 900.00 | 1800.00 | 785.00 | 1570.00 | 1570.00 | Leela Constructions
117.00 | Supply & Fixing of Chromiuam soap dish holder | 2.00 | EACH | 1500.00 | 1460.00 | 2920.00 | 1400.00 | 2800.00 | 1350.00 | 2700.00 | 2700.00 | Leela Constructions
118.00 | Providing and fixing Zebra blinds with fabric Finish with approved texture with top fixing brackets roller chains and finish as required at site | 55.00 | SQM | 1700.00 | 1910.00 | 105050.00 | 1375.00 | 75625.00 | 1530.00 | 84150.00 | 75625.00 | DEEPAM ENTERPRISES
119.00 | Removal of excavated debris/ rocks exceeding 250m but not exceeding 500m and depositing where directed. | 115.00 | CUM | 857.67 | 834.00 | 95910.00 | 650.00 | 74750.00 | 770.00 | 88550.00 | 74750.00 | DEEPAM ENTERPRISES
120.00 | Removal of excavated soils exceeding 500m but not exceeding 1.50Km and depositing where directed. | 100.00 | CUM | 716.91 | 704.00 | 70400.00 | 650.00 | 65000.00 | 645.00 | 64500.00 | 64500.00 | Leela Constructions
121.00 | Supply and fixing of door glazing consisting of 12 mm clear toughened glass (Saint gobain/Modi make )and fixing with Dorma/Ozone make single leg spider,ceiling/bottom to glass connector,glass to glass connector ,handle,doorset,floor spring,pivot etc,all the necessary fittings up to all height including scaffolding all complete and as per the direction of Engineer-in-charge. | 16.00 | SQM | 12200.00 | 12300.00 | 196800.00 | 12200.00 | 195200.00 | 10980.00 | 175680.00 | 175680.00 | Leela Constructions
122.00 | Supply and Fixing of ACP panels of wooden finish/dark colour finish with necessary aluminium frame work as approved ans as directed inculding removing existing ACP as directed and handing over to stores. | 112.00 | SQM | 8800.00 | 8200.00 | 918400.00 | 8475.00 | 949200.00 | 8400.00 | 940800.00 | 918400.00 | Vishnusurya Projects & Infra Limited
123.00 | Supply and Fixing of 12 mm thick Toughned glass laminated as in roofs , and similar work including necessary SS fitting / clamps complete set for the holding of glass with the structure cutting to shape, drilling holes required. | 30.00 | SQM | 4500.00 | 6100.00 | 183000.00 | 4500.00 | 135000.00 | 4050.00 | 121500.00 | 121500.00 | Leela Constructions
124.00 | Providing and fixing of glass film stickering of generic land scape any scenery /digital etc as approved and as directed with warranty as permanufacturerer specification and instruction. | 14.00 | SQM | 1600.00 | 1310.00 | 18340.00 | 1400.00 | 19600.00 | 1440.00 | 20160.00 | 18340.00 | Vishnusurya Projects & Infra Limited
125.00 | Supply and fixing of SS rolling shutter made up of 1.0mm slat,SS grade 304,corrugated with U or box type guide,bottom with angle stiffner ,side bracket SS bottom,finshing buffing/matt/natural SS finish,motorised and all completed. | 2.00 | SQM | 8600.00 | 12000.00 | 24000.00 | 8450.00 | 16900.00 | 7740.00 | 15480.00 | 15480.00 | Leela Constructions
126.00 | Supply and Fixing of Precast SRFC manhole covers with frame complete all as directed. | 4.50 | SQM | 4650.00 | 4300.00 | 19350.00 | 4650.00 | 20925.00 | 4185.00 | 18832.50 | 18832.50 | Leela Constructions
127.00 | Non- Sharing workstation (Desking type): Workstation size of 1500mm W X 600mm D X 750/1050mm ht (sharing workstation): 50mm square leg considered with adjustable leveler, below 1 tier wire tray with hanging 8mm thk MDF tile given on both side, wire raiser considered, 1 no of dump box with access flap considered, metal keyboard with mouse tray considered & table top considered in 25mm plpb with 2mm PVC edge tape finish considered 60mm thick aluminium partition considered on above table top in both main & return spine with combination of fabric tile & glass tile, perforated metal modesty considered in the Asile side, cost inclusive of supply,installation, shifting and etc, (3-drawer unit CPU trolley, not considered ) | 76.00 | Nos. | 20750.00 | 20700.00 | 1573200.00 | 20750.00 | 1577000.00 | 19000.00 | 1444000.00 | 1444000.00 | Leela Constructions
128.00 | Providing, supplying and placing of Mid Back Revolving Chair. SEAT/BACK ASSEMBLY: The seat base is made up of Mild steel frame. The seat is made up of PU form of density of 45 kg/m3, thickness >40<=50 seat upholstered using black mesh fabric. The Back with size >400<=450 should be made with injection moulded plastic, with upholstered using black mesh fabric and without headrest. SEAT SIZE: 50.0 cm (W) x 50.0 cm (D) BACK SIZE: 45.0 cm. (W) x 55.0 cm. (H) HIGH RESILIENCE (HR) POLYURETHANE FOAM: The HR polyurethane seat foam is moulded with density 45+/-2 kg/m° an d hardness 16 ± 2 kgf as per IS:7888 for 25% compression ARMRESTS: The adjustable armrest is designed with the following features • Adjustment-6 steps (8. 0 ± 0. Scm range) • Height adjustable armrest structure with Inner and top material with Polypropylene (PP). FIXED LUMBAR SUPPORT ASSEMBLY: The Lumbar support consists of polypropylene pad with moulded injection moulded plastic. FRONT PIVOT SYNCHRO MECHANISM: The adjustable tilting mechanism is designed with the following features. • 360° revolving type. • Single point control. • Front-pivot for tilt with feet resting on ground ensuring more comfort. • Multi position locking mechanism. • Tilt tension adjustment • Seat/back tilting ratio of 1.2 Pneumatic/ hydralic Height Adjustment: The pneumatic/ hydralic height adjustment has adjustment stroke for 90mm. PEDESTAL ASSEMBLY: The pedestal is fabricated from 0.2 ± 0.02 cm thick HR sheet, mild steel chrome plated and 5 nos. twin wheel castors dia of 50mm. TWIN WHEEL CASTORS: The twin wheel castors are injection moulded in black Nylon. The product should be certified by BIFMA Level 2, IAQ Gold, GreenPro (Make:Godrej Interio or suitably Equivalent make) | 76.00 | Nos. | 11040.00 | 10800.00 | 820800.00 | 11040.00 | 839040.00 | 9935.00 | 755060.00 | 755060.00 | Leela Constructions
129.00 | Supply & fixing and connecting to the system modular type switches 6A single pole one way(one module) (Make:Anchor Roma/LEGRAND MYRIUS/ Crabtree or Suitably equivalent make) | 335.00 | Each | 312.60 | 256.00 | 85760.00 | 200.00 | 67000.00 | 280.00 | 93800.00 | 67000.00 | DEEPAM ENTERPRISES
130.00 | Supply & fixing Modular switch 1 way 16A , 1 module single pole one way (Make:Anchor Roma/LEGRAND MYRIUS/ Crabtree or Suitably equivalent make) | 114.00 | Each | 412.44 | 238.00 | 27132.00 | 275.00 | 31350.00 | 370.00 | 42180.00 | 27132.00 | Vishnusurya Projects & Infra Limited
131.00 | Supply & fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module (Make:Anchor Roma/LEGRAND MYRIUS/ Crabtree or Suitably equivalent make) | 121.00 | Each | 408.65 | 369.00 | 44649.00 | 295.00 | 35695.00 | 370.00 | 44770.00 | 35695.00 | DEEPAM ENTERPRISES
132.00 | Supply & fixing Modular Fan Step Regulator 120watts 2 module (Make:Anchor Roma/LEGRAND MYRIUS/ Crabtree or Suitably equivalent make) | 22.00 | Each | 1221.54 | 1065.00 | 23430.00 | 1175.00 | 25850.00 | 1100.00 | 24200.00 | 23430.00 | Vishnusurya Projects & Infra Limited
133.00 | Supply & fixing and connecting to the system of socket, 16A-2/3 pin combined modular type 2 module (Make:,ANCHOR/HAVELLS/LEGRAND MYRIUS/ Litaski/ Crabtree or Suitably equivalent make) | 155.00 | Each | 634.08 | 586.00 | 90830.00 | 500.00 | 77500.00 | 570.00 | 88350.00 | 77500.00 | DEEPAM ENTERPRISES
134.00 | Supply & fixing of galvanised steel tubes, medium grade 25mm dia for ceiling fan down rod. | 34.00 | RM | 408.00 | 386.00 | 13124.00 | 200.00 | 6800.00 | 370.00 | 12580.00 | 6800.00 | DEEPAM ENTERPRISES
135.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. a)one light point or one fan point controlled by one switch with cables1.5 sqmm size. | 241.00 | Point | 1191.30 | 946.00 | 227986.00 | 1150.00 | 277150.00 | 1190.00 | 286790.00 | 227986.00 | Vishnusurya Projects & Infra Limited
136.00 | Supply and fixing ceiling fans complete with copper winding ,blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC), IS 374-2019 Make : (Atomberg / Havells/ Halonix or suitable equivalent make) | 54.00 | Each | 3179.36 | 3068.00 | 165672.00 | 3150.00 | 170100.00 | 3500.00 | 189000.00 | 165672.00 | Vishnusurya Projects & Infra Limited
137.00 | Supply & fixing of round shape 15 watt 220 volts AC recessed type with high efficiency PMMA diffuser soft glare free light complete with drivers,holders,LED lamp suitable for roof ceiling including connecting up with three core flexible copper conductor cable of suitable size complete.Make: ANCHOR/HAVELLS /PHILIPS or suitable equivalent make. | 20.00 | Each | 1274.18 | 880.00 | 17600.00 | 1035.00 | 20700.00 | 1145.00 | 22900.00 | 17600.00 | Vishnusurya Projects & Infra Limited
138.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit. a) 2x1.5 sqmm + 1x1.5 sqmm earth wire | 345.00 | RM | 195.98 | 248.00 | 85560.00 | 192.00 | 66240.00 | 175.00 | 60375.00 | 60375.00 | Leela Constructions
139.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit. b) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 690.00 | RM | 222.25 | 262.00 | 180780.00 | 215.00 | 148350.00 | 210.00 | 144900.00 | 144900.00 | Leela Constructions
140.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit. c) 2x4.0 sqmm + 1x4.0 sqmm earth wire | 640.00 | RM | 258.00 | 306.00 | 195840.00 | 255.00 | 163200.00 | 245.00 | 156800.00 | 156800.00 | Leela Constructions
141.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit. d) 2x6.0 sqmm + 1x6.0 sqmm earth wire | 370.00 | RM | 311.04 | 333.00 | 123210.00 | 355.00 | 131350.00 | 300.00 | 111000.00 | 111000.00 | Leela Constructions
142.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit. e) 4x4.0 sqmm + 1x4.0 sqmm earth wire | 30.00 | RM | 365.12 | 367.00 | 11010.00 | 415.00 | 12450.00 | 330.00 | 9900.00 | 9900.00 | Leela Constructions
143.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit. f) 4x6.0 sqmm + 1x6.0 sqmm earth wire | 30.00 | RM | 471.19 | 512.00 | 15360.00 | 525.00 | 15750.00 | 425.00 | 12750.00 | 12750.00 | Leela Constructions
144.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit. g) 4x10.0 sqmm + 1x10.0 sqmm earth wire | 30.00 | RM | 678.94 | 621.00 | 18630.00 | 775.00 | 23250.00 | 610.00 | 18300.00 | 18300.00 | Leela Constructions
145.00 | Demolition of cement concrete unreinforced Concrete in ground floors and pavingc not exc 15 cm thickness (below or above ground flevel) | 3.00 | Cum | 1655.40 | 1000.00 | 3000.00 | 1375.00 | 4125.00 | 1460.00 | 4380.00 | 3000.00 | Vishnusurya Projects & Infra Limited
146.00 | Supply and filling of cement concrete of where demolition work done in surface channels and drains 40mm graded aggregate. Type B2 ( 1:2:4) | 3.00 | Cum | 7903.32 | 6500.00 | 19500.00 | 6500.00 | 19500.00 | 7115.00 | 21345.00 | 19500.00 | Vishnusurya Projects & Infra Limited, DEEPAM ENTERPRISES
147.00 | Supply & fixing of MCCB 3 pole 415 Volt, fixed type 125 Amps, with breaking capacity 16KA. Make: L& T / Schneider/ ABB/Havells or suitable equivalent make | 8.00 | Each | 4304.52 | 7058.00 | 56464.00 | 6030.00 | 48240.00 | 3875.00 | 31000.00 | 31000.00 | Leela Constructions
148.00 | Supply and fixing LED light fitting mirror type with high out put diffuser 2 feet, 10 watt 220 V AC decorative type with driver holder and LED lamp including connecting up with three core flexible copper conductor cable of suitable size complete. (Make: PHILIPS / CG /Havells / Wipro or suitable equivalent make). | 8.00 | Each | 1625.77 | 1416.00 | 11328.00 | 1560.00 | 12480.00 | 1465.00 | 11720.00 | 11328.00 | Vishnusurya Projects & Infra Limited
149.00 | Supply & fixing 415 Volt,10KA 'C' curve MCB of TPN 40 To 100Amps in the MCB DB complete with connection testing and commissioning. (Make :Legrand/ Havells/ C&S or suitable equivalent make) | 9.00 | Each | 2832.89 | 3754.00 | 33786.00 | 3300.00 | 29700.00 | 2550.00 | 22950.00 | 22950.00 | Leela Constructions
150.00 | Supply & fixing 240 Volt,10KA 'C' curve MCB of single pole 6 to 32Amps in the MCB DB complete with connection testing and commissioning. Make Legrand/Havells/C&S or suitable equivalent make | 150.00 | Each | 352.80 | 553.00 | 82950.00 | 270.00 | 40500.00 | 320.00 | 48000.00 | 40500.00 | DEEPAM ENTERPRISES
151.00 | Supply and fixing of Sheet metal Enclosure for vertical DB when MCBs to be used triple pole and neutral, 16 way 200 amps rated bus bar, 240 volt, AC with double door. Make :HAVELS/ SIEMENS /LEGREND /Schneider /ABB /ANCHOR/L&T | 3.00 | Each | 3505.92 | 9594.00 | 28782.00 | 4010.00 | 12030.00 | 3155.00 | 9465.00 | 9465.00 | Leela Constructions
152.00 | Supply and fixing of Sheet metal Enclosure for DB when MCBs to be used triple pole and neutral, 8way 200 amps rated bus bar, 415 volt, AC with double door. Make :HAVELS/ SIEMENS /LEGREND /Schneider /ABB /ANCHOR/L&T | 4.00 | Each | 4306.44 | 8952.00 | 35808.00 | 4950.00 | 19800.00 | 3875.00 | 15500.00 | 15500.00 | Leela Constructions
153.00 | Supply and fixing of Sheet metal Enclosure for DB when MCBs to be used triple pole and neutral, 4way 200 amps rated bus bar, 415 volt, AC with double door. Make :HAVELS/ SIEMENS /LEGREND /Schneider /ABB /ANCHOR/L&T | 3.00 | Each | 3171.24 | 8165.00 | 24495.00 | 3600.00 | 10800.00 | 2855.00 | 8565.00 | 8565.00 | Leela Constructions
154.00 | Supply and fixing of Sheet metal Enclosure for vertical DB when MCBs to be used single pole and neutral, 8way 200 amps rated bus bar, 240 volt, AC with double door. Make :HAVELS/ SIEMENS /LEGREND /Schneider /ABB /ANCHOR/L&T | 2.00 | Each | 2295.24 | 7438.00 | 14876.00 | 2600.00 | 5200.00 | 2065.00 | 4130.00 | 4130.00 | Leela Constructions
155.00 | Supply and fixing of Sheet metal Enclosure for vertical DB when MCBs to be used single pole and neutral, 16 way 200 amps rated bus bar, 240 volt, AC with double door. Make :HAVELS/ SIEMENS /LEGREND /Schneider /ABB /ANCHOR/L&T | 5.00 | Each | 3505.92 | 8268.00 | 41340.00 | 3250.00 | 16250.00 | 3155.00 | 15775.00 | 15775.00 | Leela Constructions
156.00 | Material & Labour for laying of 3.5core 25 sq.mm 1100 voltage grade heavy duty, armoured, U.G. cable withPVC insulated aluminum conductor. (Make : Havells/Finolex/Orbit /Policab or Suitably equivalent ) | 100.00 | RM | 233.69 | 334.00 | 33400.00 | 215.00 | 21500.00 | 210.00 | 21000.00 | 21000.00 | Leela Constructions
157.00 | Material & Labour for laying of 3.5core 35 sq.mm 1100 voltage grade heavy duty, armoured, U.G. cable withPVC insulated aluminum conductor. (Make : Havells/Finolex/Orbit /Policab or Suitably equivalent ) | 220.00 | RM | 282.32 | 485.00 | 106700.00 | 295.00 | 64900.00 | 255.00 | 56100.00 | 56100.00 | Leela Constructions
158.00 | Material & Labour for laying of 3.5core 50 sq.mm 1100 voltage grade heavy duty, armoured, U.G. cable withPVC insulated aluminum conductor. (Make : Havells/Finolex/Orbit /Policab or Suitably equivalent ) | 145.00 | RM | 351.34 | 607.00 | 88015.00 | 415.00 | 60175.00 | 315.00 | 45675.00 | 45675.00 | Leela Constructions
159.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 300 mm sweep with, blades, and frame and louvers (Make: Almonard/ Khaitan/ Crompton or Suitably equivalent make) | 11.00 | Each | 4258.31 | 3640.00 | 40040.00 | 4250.00 | 46750.00 | 3835.00 | 42185.00 | 40040.00 | Vishnusurya Projects & Infra Limited
160.00 | Supply and fixing of One bell /buzzer point controlled by one push button on same board with others switches or indepedent with cables 1.5 sqmm size. pvc conduit (Legrand/Anchor/Havells/policab or suitable equivalent make.) | 2.00 | Point | 1191.30 | 900.00 | 1800.00 | 1000.00 | 2000.00 | 1070.00 | 2140.00 | 1800.00 | Vishnusurya Projects & Infra Limited
161.00 | Supply and fixing of multi music type bell AC 230V and connecting to the system.(Make: Philips / CG /Havells / Legrand/Anchor or suitable equivalent make) | 2.00 | Each | 673.80 | 950.00 | 1900.00 | 550.00 | 1100.00 | 610.00 | 1220.00 | 1100.00 | DEEPAM ENTERPRISES
162.00 | Supply & Fixing of modular Metal flush box, 2 module.(Make: Legrand / Havells /Anchor or suitable equivalent make) | 58.00 | Each | 214.92 | 130.00 | 7540.00 | 200.00 | 11600.00 | 195.00 | 11310.00 | 7540.00 | Vishnusurya Projects & Infra Limited
163.00 | Supply & Fixing of modular Metal flush box, 2 module.(Make: Legrand / Havells /Anchor or suitable equivalent make) | 1.00 | Each | 256.08 | 160.00 | 160.00 | 195.00 | 195.00 | 195.00 | 195.00 | 160.00 | Vishnusurya Projects & Infra Limited
164.00 | Supply & Fixing of modular Metal flush box, 6 module.(Make: Legrand / Havells /Anchor or suitable equivalent make) | 14.00 | Each | 340.92 | 222.00 | 3108.00 | 305.00 | 4270.00 | 230.00 | 3220.00 | 3108.00 | Vishnusurya Projects & Infra Limited
165.00 | Supply & fixing of modular white cover plate with frame 2 module.(Make: Havells / Legrand/Anchor or suitable equivalent make) | 58.00 | Each | 234.96 | 214.00 | 12412.00 | 195.00 | 11310.00 | 215.00 | 12470.00 | 11310.00 | DEEPAM ENTERPRISES
166.00 | Supply & fixing of modular white cover plate with frame 4 module.(Make: Havells / Legrand/Anchor or suitable equivalent make) | 1.00 | Each | 296.52 | 276.00 | 276.00 | 310.00 | 310.00 | 265.00 | 265.00 | 265.00 | Leela Constructions
167.00 | Supply & fixing of modular white cover plate with frame 6 module.(Make: Havells / Legrand/Anchor or suitable equivalent make) | 14.00 | Each | 371.52 | 354.00 | 4956.00 | 355.00 | 4970.00 | 335.00 | 4690.00 | 4690.00 | Leela Constructions
168.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete (Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker or suitable equivalent make.) | 56.00 | Each | 5123.03 | 4969.00 | 278264.00 | 4550.00 | 254800.00 | 5000.00 | 280000.00 | 254800.00 | DEEPAM ENTERPRISES
169.00 | Supply and fixing of LED light fittings 1x 22 watts 220 volt AC decorative box type with driver , holder including LED tubelight connecting up with three core flexible copper coductor cable of suitable size from ceiling rose complete. (Make:,LEGRAND MYRIUS / ANCHOR ROMA / GM suitable equivalent make. ) | 65.00 | Each | 1614.74 | 1200.00 | 78000.00 | 1520.00 | 98800.00 | 1455.00 | 94575.00 | 78000.00 | Vishnusurya Projects & Infra Limited
170.00 | Supply and fixing amp rating 240V 10KA 'C' curve miniature circuit breaker (MCB) of SPN 32 AMP current carrying capacity in the MCB DB complete with connection testing and commissioning. (Make:LEGRAND/ Havells/c&S or Suitably equivalent make) | 15.00 | Each | 1021.44 | 1115.00 | 16725.00 | 1055.00 | 15825.00 | 920.00 | 13800.00 | 13800.00 | Leela Constructions
171.00 | MCCB 3 Pole .415 V. fixed type, 25 to 100 Amps with breaking capacity 16 KA. (Make:LEGRAND/ Havells/L&T/Schneider/ABB/ Anchor or Suitably equivalent make) | 2.00 | Each | 4589.77 | 6750.00 | 13500.00 | 4400.00 | 8800.00 | 4130.00 | 8260.00 | 8260.00 | Leela Constructions
172.00 | MCCB 3 Pole .415 V. fixed type, 25 to 125 Amps with breaking capacity 16 KA. (Make:LEGRAND/ Havells/L&T/Schneider/ABB/ Anchor or Suitably equivalent make) | 1.00 | Each | 5487.58 | 7340.00 | 7340.00 | 5350.00 | 5350.00 | 3875.00 | 3875.00 | 3875.00 | Leela Constructions
173.00 | Fixing of exhaust fan (M.D. supply) and connecting up including provision of cable from ceiling rose/connector to fan | 8.00 | Each | 273.84 | 250.00 | 2000.00 | 240.00 | 1920.00 | 245.00 | 1960.00 | 1920.00 | DEEPAM ENTERPRISES
174.00 | Removal of post top laterns by demolishing the cement concrete and refixing the same with the cement concrete in new location. | 10.00 | Each | 1500.00 | 1450.00 | 14500.00 | 1500.00 | 15000.00 | 1350.00 | 13500.00 | 13500.00 | Leela Constructions
175.00 | Supply & fixing of wall mounting fan sweep 400mm, voltage 220-250, power 60W Max, RPM 1350 min | 5.00 | Each | 2267.28 | 3100.00 | 15500.00 | 2350.00 | 11750.00 | 2040.00 | 10200.00 | 10200.00 | Leela Constructions
176.00 | Supply and fixing of madular type single pole MCB & 32 Amps 10 KA , Make:Schneider Electric , Legrand / ABB or suitable equivalent make) | 22.00 | Each | 520.00 | 720.00 | 15840.00 | 600.00 | 13200.00 | 470.00 | 10340.00 | 10340.00 | Leela Constructions
177.00 | Supply of propeller type AC ventillating fan- exhaust conformity to Indian 1528341119 HVF4700-01902 | 8.00 | Each | 1200.00 | 2200.00 | 17600.00 | 1400.00 | 11200.00 | 1080.00 | 8640.00 | 8640.00 | Leela Constructions
178.00 | Suppiy & FIXING indcool Cooling & Heating 1.5 Ton 5 Star Inverter AC Variable Speed Wall Mount Split AC, Make: Godrej/ Indcool/Voltas/ LG or suitable equivalent make | 22.00 | Each | 42982.40 | 41500.00 | 913000.00 | 47000.00 | 1034000.00 | 43000.00 | 946000.00 | 913000.00 | Vishnusurya Projects & Infra Limited
179.00 | Supply & fixing of four pole isolater, 415 V, 100A, Make: Legrand / Havells /Anchor or suitable equivalent make | 6.00 | Each | 2100.00 | 3900.00 | 23400.00 | 1850.00 | 11100.00 | 1890.00 | 11340.00 | 11100.00 | DEEPAM ENTERPRISES
180.00 | Supply & fixing metal flush box for 8 module plate Make: Legrand / Havells /Anchor or suitable equivalent make) | 10.00 | Each | 125.00 | 315.00 | 3150.00 | 160.00 | 1600.00 | 110.00 | 1100.00 | 1100.00 | Leela Constructions
181.00 | Supply & fixing of 8 modular white cover plate with frame ( Make: Legrand / Havells /Anchor or suitable equivalent make) | 10.00 | Each | 360.00 | 230.00 | 2300.00 | 395.00 | 3950.00 | 325.00 | 3250.00 | 2300.00 | Vishnusurya Projects & Infra Limited
182.00 | Supply & fixing of 12 module plate with frame and metal flush box(Make: Philips / CG /Havells / Legrand/Anchor or any other suitable make | 16.00 | Each | 475.00 | 460.00 | 7360.00 | 520.00 | 8320.00 | 325.00 | 5200.00 | 5200.00 | Leela Constructions
183.00 | Supply & fixing of 16 module plate with frame and metal flush box(Make: Philips / CG /Havells / Legrand/Anchor or any other suitable make | 22.00 | Each | 520.00 | 525.00 | 11550.00 | 650.00 | 14300.00 | 470.00 | 10340.00 | 10340.00 | Leela Constructions
184.00 | Supply & fixing of modular type Dummy plate.(Make: Legrand / Havells /Anchor or suitable equivalent make) | 100.00 | Each | 22.00 | 20.00 | 2000.00 | 30.00 | 3000.00 | 20.00 | 2000.00 | 2000.00 | Vishnusurya Projects & Infra Limited, Leela Constructions
185.00 | Supply & fixing of modular regulator 2 module make Anchor roma/ Legrand Myrius/ Crabtree or suitable equivalent make | 32.00 | Each | 1300.00 | 950.00 | 30400.00 | 1250.00 | 40000.00 | 1100.00 | 35200.00 | 30400.00 | Vishnusurya Projects & Infra Limited
186.00 | Excavating in trenches in hard / dense soil, n exc 1.5 m wide and n exc 1.5 m in depth for laying of cable n exc 10 sq m on plan and n exc 1.5 m in depth and getting out. | 9.00 | CUM | 810.00 | 400.00 | 3600.00 | 675.00 | 6075.00 | 730.00 | 6570.00 | 3600.00 | Vishnusurya Projects & Infra Limited
187.00 | Supply &labour for filling of Sand under floors or in foundations including watering and consolidation for cushioning of UG cable. | 1.80 | CUM | 2369.16 | 1500.00 | 2700.00 | 1860.00 | 3348.00 | 2135.00 | 3843.00 | 2700.00 | Vishnusurya Projects & Infra Limited
188.00 | Returning, filling hard / dense soil in excavated trench after laying of cable including spreading, levelling, watering and well ramming in layers not exc 25 cm. | 9.00 | CUM | 166.92 | 158.00 | 1422.00 | 150.00 | 1350.00 | 150.00 | 1350.00 | 1350.00 | DEEPAM ENTERPRISES, Leela Constructions
189.00 | Supply & Laying of burnt Bricks common burnt clay building bricks sub class B designation 75, old size for protection to UG cable. | .32 | PTN | 6662.26 | 6638.00 | 2124.16 | 6500.00 | 2080.00 | 6000.00 | 1920.00 | 1920.00 | Leela Constructions
190.00 | Supply and fixing of 25mm rigid non-metallic PVC conduit exclusive of boxes (junction / terminal) but inclusive of all tees, bends, elbow, reductors, bell mouth, tube ends and fixing accessories such as couplers, locknuts, saddles, pipe hooks, etc. | 212.00 | RM | 160.73 | 135.00 | 28620.00 | 130.00 | 27560.00 | 145.00 | 30740.00 | 27560.00 | DEEPAM ENTERPRISES
191.00 | Supply & Installation of Mini Exchange (EPABX) configured with 4 Trunk Lines, 4 Digital Extns, 08 Analog Extns and 04 Nos digital Phones with 240x64 pixels LCD display and 16 DSS keys ( Make : Matrix Eternity PENX 6SAC for EPABX and EON510 for digital phone or suitably equialent make. | 3.00 | EACH | 89385.00 | 93000.00 | 279000.00 | 89000.00 | 267000.00 | 90000.00 | 270000.00 | 267000.00 | DEEPAM ENTERPRISES
192.00 | Material labour for cutting chases, pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good, cutting exc. 10cm but not exc. 20 cm grith | 120.00 | EACH | 66.00 | 66.00 | 7920.00 | 65.00 | 7800.00 | 60.00 | 7200.00 | 7200.00 | Leela Constructions
193.00 | supply and fixing of powder coated wall (Flush) mountable telephone distribution box including KRONE connetor strip 200 pairs | 2.00 | EACH | 7500.00 | 11000.00 | 22000.00 | 6750.00 | 13500.00 | 6750.00 | 13500.00 | 13500.00 | DEEPAM ENTERPRISES, Leela Constructions
194.00 | Supply and fixing modular white cover plate with frame 4 module. Make :ANCHOR/HAVELS/ Legrand/ Schneider/GM or suitably equialent make | 8.00 | EACH | 295.00 | 230.00 | 1840.00 | 280.00 | 2240.00 | 265.00 | 2120.00 | 1840.00 | Vishnusurya Projects & Infra Limited
195.00 | Supply and fixing modular metal flush box for 4 module plate. Make :ANCHOR/HAVELS/ Legrand/ Schneider/GM or suitably equialent make | 8.00 | EACH | 255.00 | 173.00 | 1384.00 | 255.00 | 2040.00 | 230.00 | 1840.00 | 1384.00 | Vishnusurya Projects & Infra Limited
196.00 | Supply of 5 pair PVC telephone cable with conductor size of 0.5 mm (Make: Finolex / Delton / Five star or equivalent acceptable) | 850.00 | RM | 30.00 | 36.00 | 30600.00 | 33.00 | 28050.00 | 30.00 | 25500.00 | 25500.00 | Leela Constructions
197.00 | Labour only for laying of 5 / 10 pair telephone cable in PVC / GI pipe. | 400.00 | RM | 15.00 | 13.00 | 5200.00 | 16.00 | 6400.00 | 15.00 | 6000.00 | 5200.00 | Vishnusurya Projects & Infra Limited
198.00 | Supply and fixing of12 module plate with frame and metal flush box. Make :ANCHOR/HAVELS/ Legrand/ Schneider/GM or suitably equialent make | 13.00 | EACH | 650.00 | 556.00 | 7228.00 | 710.00 | 9230.00 | 585.00 | 7605.00 | 7228.00 | Vishnusurya Projects & Infra Limited
199.00 | supply and fixing modular type dummy plate (12 modeule) | 13.00 | EACH | 20.00 | 50.00 | 650.00 | 22.00 | 286.00 | 20.00 | 260.00 | 260.00 | Leela Constructions
200.00 | Supply and fixing of modular type telephone socket. Make: ANCHOR/HAVELS/ Legrand/ Schneider/GM or suitably equialent make | 40.00 | EACH | 150.00 | 245.00 | 9800.00 | 165.00 | 6600.00 | 135.00 | 5400.00 | 5400.00 | Leela Constructions
201.00 | Supply and laying of 32mm HDPE pipe of pressure rate 6 KG/Sq.mt. | 1000.00 | Mtrs. | 94.40 | 90.00 | 90000.00 | 102.00 | 102000.00 | 75.00 | 75000.00 | 75000.00 | Leela Constructions
202.00 | Per Node Cost with supply of below material & Installation in structured way/Numbering/Network Connectivity Testing between server & Node of make: AMP/D-Link/TP-Link/Molex/Digisol a) CAT 6 Patch Cord 2 Mtrs. (Work station side) - 1 b) Single Face Plate with Back Box - 1 c) CAT 6 I/O (Workstation & jack panel) - 2 d) CAT 6 UTP Cable & Casing/caping/PVC conduit with all accessories Average 30 Mtr Per Node e) Jack Pannel 24 port Unloaded (per port) - 1 f) CAT 6 Patch Cord 1 Mtrs. (Rack side) - 1 | 76.00 | Mtrs. | 2747.63 | 3150.00 | 239400.00 | 2855.00 | 216980.00 | 2400.00 | 182400.00 | 182400.00 | Leela Constructions
203.00 | Supply & installation of SC to LC Fiber Patch Cord of Make: Uniprice/Pannet/AMP/D-Link/Digisol | 4.00 | Nos. | 1416.00 | 1346.00 | 5384.00 | 1445.00 | 5780.00 | 1080.00 | 4320.00 | 4320.00 | Leela Constructions
204.00 | Supply & Installation of C1300-24P-4G managed (or Equivalent) Switch with Gigabit Uplinks inclusing min gibic modules. | 4.00 | Nos. | 48970.00 | 51250.00 | 205000.00 | 51405.00 | 205620.00 | 41500.00 | 166000.00 | 166000.00 | Leela Constructions
205.00 | Supply & laying of 12 Core Single Mode Ruggedized Armored Cable (OFC) of make: AMP/Pannet/Finolex/Dlink/Digisol | 1200.00 | Mtrs. | 106.20 | 155.00 | 186000.00 | 110.00 | 132000.00 | 90.00 | 108000.00 | 108000.00 | Leela Constructions
206.00 | Supply & Installation of 6U Rack with Power Adaptor & Accessories of make: HCL/ABW/Ritel/Netrack/Digisol | 3.00 | Nos. | 4720.00 | 5120.00 | 15360.00 | 4850.00 | 14550.00 | 3600.00 | 10800.00 | 10800.00 | Leela Constructions
207.00 | Splicing work at ITC & D2C Building with all accessories like: Pigtail cable, OFC connector including Necessary LIU etc. with make: Uniprice/Pannet/AMP/Dlink/Digisol | 48.00 | Nos. | 59.00 | 100.00 | 4800.00 | 62.00 | 2976.00 | 80.00 | 3840.00 | 2976.00 | DEEPAM ENTERPRISES
| Total in Figures |  |  |  |  | 20335248.16 |  | 19401184.00 |  | 19014289.00
Lowest Amount Quoted BY: Leela Constructions(19014289.00)

## BOQ Summary
BOQ Summary Details Tender Title: EXTENSION OF AVANI AVISHKAR CENTRE AT HVF, AVADI AND CREATION OF OFFICE ACCOMMODATION FOR 50 DESIGNERS AT AVANI AVISHKAR CENTRE AT HVF, AVADI. Tender ID: 2026_AVNL_283099_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Leela Constructions (BID ID -1052682) | 19014289.00 | L1
| 2 | DEEPAM ENTERPRISES (BID ID -1047060) | 19401184.00 | L2
| 3 | Vishnusurya Projects & Infra Limited (BID ID -1046830) | 20335248.16 | L3