## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 23-Sep-2026 12:10 PM Tender Title: OPERATION AND MAINTENANCE OF REVERSE OSMOSIS PLANTS IN IB, FTH AND UNIT RUN CANTEEN FOR TWO YEARS AT HVF ESTATE. Tender ID: 2026_AVNL_285610_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: OPERATION AND MAINTENANCE OF REVERSE OSMOSIS PLANTS IN IB, FTH AND UNIT RUN CANTEEN FOR TWO YEARS AT HVF ESTATE
Tender No: HVF/TE/13025/CEO/2026-27/42
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KALAI ENTERPRISES (GSTN-NA) BID ID -1056681 |  | Leela Constructions (GSTN-NA) BID ID -1067231
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of RO plants 03 Nos with Skilled operator for day shift and the detail scope of work and locations of plants is mentioned in Annexure - D | 2.00 | Whole Job | 187000.00 | 189000.00 | 378000.00 | 208000.00 | 416000.00 | 378000.00 | KALAI ENTERPRISES
2.00 | Supply and Using of Chemicals as per the required qty and consumables required for O & M of R O plants like Antiscalant chemicals and Membrane cleaning chemical and other required chemicals and consumables as necessary for RO plants operation. | 200.00 | KG | 451.00 | 410.00 | 82000.00 | 450.00 | 90000.00 | 82000.00 | KALAI ENTERPRISES
3.00 | Supply and Replacement of Filter cartridge 1'' to 2 '' Dia 20'' long slim wound cartridge filters once in 2 months in 250 LPH capacity RO plants. | 45.00 | Nos | 154.00 | 140.00 | 6300.00 | 155.00 | 6975.00 | 6300.00 | KALAI ENTERPRISES
4.00 | Supply and Replacement of 4'' dia RO Membrane for 250 LPH RO plants. | 5.00 | Nos | 11550.00 | 10500.00 | 52500.00 | 11550.00 | 57750.00 | 52500.00 | KALAI ENTERPRISES
5.00 | Repair/Re-conditioning of Vertical high pressure motor, including re-winding, servicing of multi stage pump, and other mechanical and electrical accessories. | 2.00 | Nos | 2585.00 | 2350.00 | 4700.00 | 2590.00 | 5180.00 | 4700.00 | KALAI ENTERPRISES
6.00 | Repair/Re-conditioning of filter feed pump motor, Feeder pump, waste water pump including re-winding, servicing of multi stage pump, and other mechanical and electrical accessories. | 2.00 | Nos | 2585.00 | 2350.00 | 4700.00 | 2590.00 | 5180.00 | 4700.00 | KALAI ENTERPRISES
7.00 | Repair / Replacement of DOL starter and other electrical accessories for RO plants. | 2.00 | Nos | 2585.00 | 2350.00 | 4700.00 | 2600.00 | 5200.00 | 4700.00 | KALAI ENTERPRISES
8.00 | Repair/ Re -conditioning of instrumentations parts low pressure and high pressure switches, pressure gauges, Roto meters, dosing pumps and Level Indicators for smooth operation. | 2.00 | Nos | 2585.00 | 2350.00 | 4700.00 | 2600.00 | 5200.00 | 4700.00 | KALAI ENTERPRISES
9.00 | Servicing and replacement of filter medias of Pressure Sand Filter (PSF) once in a year during the contract period for two years. | 300.00 | KG | 96.80 | 88.00 | 26400.00 | 100.00 | 30000.00 | 26400.00 | KALAI ENTERPRISES
10.00 | Servicing and replacement of filter medias of Pressure Sand Filter (PSF) and Activated Carbon Filter (ACF) once in a year during the contract period for two years. | 180.00 | KG | 103.40 | 94.00 | 16920.00 | 105.00 | 18900.00 | 16920.00 | KALAI ENTERPRISES
11.00 | Testing of treated RO water through an NABL accredited lab or Government Approved lab Every six month, as directed by the EIC and submission of the test report to the department, | 12.00 | Nos | 1012.00 | 920.00 | 11040.00 | 1015.00 | 12180.00 | 11040.00 | KALAI ENTERPRISES
12.00 | Supply and fixing of 2 HP Single phase Vertical multistage high pressure pump. | 1.00 | Nos | 30800.00 | 32000.00 | 32000.00 | 35200.00 | 35200.00 | 32000.00 | KALAI ENTERPRISES
13.00 | Supply and Replacement of 1 HP single phase filter feed pump. | 2.00 | Nos | 5280.00 | 4800.00 | 9600.00 | 5300.00 | 10600.00 | 9600.00 | KALAI ENTERPRISES
14.00 | Supply and fixing of 1 HP single phase cleaning pump. | 1.00 | Nos | 5280.00 | 4800.00 | 4800.00 | 5300.00 | 5300.00 | 4800.00 | KALAI ENTERPRISES
15.00 | Supply and fixing of TDS (Conductivity) online meter. | 2.00 | Nos | 3960.00 | 3600.00 | 7200.00 | 4000.00 | 8000.00 | 7200.00 | KALAI ENTERPRISES
16.00 | Supply and fixing of Control Panel suitable for existing RO plants. | 1.00 | Nos | 8360.00 | 7600.00 | 7600.00 | 9000.00 | 9000.00 | 7600.00 | KALAI ENTERPRISES
17.00 | Supply and fixing of Flow meter for existing RO plants. | 3.00 | Nos | 1012.00 | 920.00 | 2760.00 | 1015.00 | 3045.00 | 2760.00 | KALAI ENTERPRISES
18.00 | Supply and fixing of Dosing pumps for existing RO plants. | 3.00 | Nos | 5060.00 | 4600.00 | 13800.00 | 5100.00 | 15300.00 | 13800.00 | KALAI ENTERPRISES
19.00 | Supply and fixing of Membrane Housing 4'' SE for existing RO plants. | 1.00 | Nos | 4180.00 | 3800.00 | 3800.00 | 4200.00 | 4200.00 | 3800.00 | KALAI ENTERPRISES
20.00 | Supply and fixing of End port 4" for existing RO plants. | 3.00 | Nos | 462.00 | 420.00 | 1260.00 | 470.00 | 1410.00 | 1260.00 | KALAI ENTERPRISES
21.00 | Pressure gauge 0 to 12 dia. Model Panel mount. | 12.00 | Nos | 682.00 | 620.00 | 7440.00 | 690.00 | 8280.00 | 7440.00 | KALAI ENTERPRISES
22.00 | Supply and fixing of Multiport Valve 25 NB for existing RO plants. | 6.00 | Nos | 968.00 | 880.00 | 5280.00 | 1000.00 | 6000.00 | 5280.00 | KALAI ENTERPRISES
23.00 | Supply and fixing of slim filter housing 20'' long for existing RO plants. | 3.00 | Nos | 1210.00 | 1100.00 | 3300.00 | 1300.00 | 3900.00 | 3300.00 | KALAI ENTERPRISES
24.00 | Victaulic coupling 1 "- Model; Double end. | 8.00 | Nos | 935.00 | 850.00 | 6800.00 | 950.00 | 7600.00 | 6800.00 | KALAI ENTERPRISES
| Total in Figures |  |  |  |  | 697600.00 |  | 770400.00
Lowest Amount Quoted BY: KALAI ENTERPRISES(697600.00)

## BOQ Summary
BOQ Summary Details Tender Title: OPERATION AND MAINTENANCE OF REVERSE OSMOSIS PLANTS IN IB, FTH AND UNIT RUN CANTEEN FOR TWO YEARS AT HVF ESTATE. Tender ID: 2026_AVNL_285610_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KALAI ENTERPRISES (BID ID -1056681) | 697600.00 | L1
| 2 | Leela Constructions (BID ID -1067231) | 770400.00 | L2