## BoQ1
Government eProcurement System Created By: YOGESH KUMAR Created Date/Time: 27-Aug-2026 04:17 PM Tender Title: Modification of Existing Office space to accommodate additional manpower in Central Planning section at EFA Tender ID: 2026_AVNL_286029_1
Tender Inviting Authority: The Chief General Manager, Engine Factory Avadi (A Unit of AVNL)
Name of Work: Modification of Existing office space to accomodate additional manpower in Central Planning Section at EFA
Contract No: EFA/EO(C)/1281/E/TE/10/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Intex Space Solutions Private Limited (GSTN-33AABCI6589E2ZH) BID ID -1056724 |  | S VINAYAGAMURTHY (GSTN-NA) BID ID -1057471 |  | HARI ENTERPRISES (GSTN-NA) BID ID -1056573
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking Down Shutters of any description exc 2 sq. m each and removing to store. | 10.00 | PER LEAF | 353.28 | 329.00 | 3290.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 3000.00 | HARI ENTERPRISES
2.00 | Taken down damaged wooden frame with shutters of exc. 1 sq.m and n.exc. 2 sq.m. each. | 26.00 | PER LEAF | 102.69 | 96.00 | 2496.00 | 100.00 | 2600.00 | 90.00 | 2340.00 | 2340.00 | HARI ENTERPRISES
3.00 | Demolition of Cement Concrete (reinforced) of any description and in any position not otherwise specificically provided for, and remove them. | 9.45 | CU.M | 2166.26 | 2015.00 | 19041.75 | 1800.00 | 17010.00 | 1400.00 | 13230.00 | 13230.00 | HARI ENTERPRISES
4.00 | Demolition of Brickwork or stone/ boulder masonry, built in cement mortar including all quoins, arches, pillars, etc, but excluding ashlar facings, dressed stonework and precast concrete articles built in cement morter. | 68.00 | CU.M | 1888.23 | 1756.00 | 119408.00 | 1650.00 | 112200.00 | 1200.00 | 81600.00 | 81600.00 | HARI ENTERPRISES
5.00 | Dismantling wrought iron or mild steel work of any description not otherwise provided for | 2.00 | QTL | 661.13 | 615.00 | 1230.00 | 710.00 | 1420.00 | 820.00 | 1640.00 | 1230.00 | Intex Space Solutions Private Limited
6.00 | M/L for Pre-cast cement concrete block masonry with solid blocks, exc. 10 cm in width and setting in mortar,complete Set in cement mortar 1:4 Type B1 1:2:4(20mm graded aggregate) | 8.00 | CU.M. | 10532.50 | 9795.00 | 78360.00 | 8900.00 | 71200.00 | 9000.00 | 72000.00 | 71200.00 | S VINAYAGAMURTHY
7.00 | Taking down Cement Plaster on brick walls etc. including raking out joints, hacking for key & scrubbing down with water etc. | 122.50 | SQM | 109.18 | 102.00 | 12495.00 | 95.00 | 11637.50 | 100.00 | 12250.00 | 11637.50 | S VINAYAGAMURTHY
8.00 | M/L for Rendering 15mm thick cement plaster, using cement Plaster (1:4) on wall/ceiling / concrete serfaces and finish the surface even and smooth without using extra cement including coat.(204.80+58.32+41.12) | 170.00 | SQM | 349.88 | 325.00 | 55250.00 | 315.00 | 53550.00 | 500.00 | 85000.00 | 53550.00 | S VINAYAGAMURTHY
9.00 | M/L for 3 mm thick wall care putty on wall surface. | 170.00 | SQM | 95.96 | 89.00 | 15130.00 | 105.00 | 17850.00 | 110.00 | 18700.00 | 15130.00 | Intex Space Solutions Private Limited
10.00 | M&L for applying two coats of Plastic emulsion paint on New surface of any description over 10cm girth or width over one coat of wall primer including surface preparation; Complete all as specified and as directed by the Engineer-in-Charge. (Make : ASIAN/ NEROLAC/ BERGER only)(9+32.60+2*50.80) | 170.00 | SQM | 164.68 | 153.00 | 26010.00 | 148.00 | 25160.00 | 130.00 | 22100.00 | 22100.00 | HARI ENTERPRISES
11.00 | Providing and fixing factory made uPVG white colour Sliding window Three track made of extruded profiles with wall thickness of 2.3mm (+ -0.2mm). Window profile with hollow section with multi chamber. Frame (88mm x 52mm), sliding sash (42mm x 67mm). Sliding mesh Sash (42mm x 57mm) Sliding interlock (One vertical length in each shutters) (45.5mm x 28mm), Glazing bead (24.5mm x 16mm) will be miterd cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc., making arrangement for fixing of hardware. EPDM gasket, 1.2+ -0.2mm thick galvanised steel Frame (30mm x 18mm) 2 nos, sliding sash (30mm x 18mm), sliding mesh sash (26mm x 10mm) profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners, Hardware [Touch Lock of zinc alloyed (white powder coated), steel roller system. Stainless steel wire cloth 0.36mm nominal dia of wire and average width of aperture 1.40mm and required accessories.(B) Area exceeding 2.00 sqm each | 52.50 | SQM | 11065.82 | 10291.00 | 540277.50 | 9300.00 | 488250.00 | 6900.00 | 362250.00 | 362250.00 | HARI ENTERPRISES
12.00 | Supply and fixing Sheet glass, thickness of 6.3mm, ordinary quality and glazing with oil putty in square exc 0.5 sq. m in each pane complete all as specified and as directed by Engineer-In--Charge. | 37.00 | SQM | 1530.88 | 1424.00 | 52688.00 | 1400.00 | 51800.00 | 900.00 | 33300.00 | 33300.00 | HARI ENTERPRISES
13.00 | Toughend glass double doors with necessary patch fittings (such as top hang, floor spring, 300mm long SS handle with locking arrengements and finish with frosted flm as er approved pattern. | 4.00 | SQM | 9000.00 | 8370.00 | 33480.00 | 9500.00 | 38000.00 | 16000.00 | 64000.00 | 33480.00 | Intex Space Solutions Private Limited
14.00 | Filling the gap in between aluminium frame/upvc frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete upto 5mm depth and 5mm width | 92.50 | RM | 96.75 | 90.00 | 8325.09 | 85.00 | 7862.59 | 80.00 | 7400.08 | 7400.08 | HARI ENTERPRISES
15.00 | Providing and installing 6 mm thick Nylon Carpet Tiles (Size: 50 cm × 50 cm) with a heavy-duty loop pile and stable PVC backing. The tiles must , suitable for high-traffic areas. Installation includes cleaning the existing floor, applying premium floor adhesive, and cutting tiles neatly along walls and borders. Rate includes all materials, labor, wastage, and tools." MAKE : HAIMALAYAN ACOUSTIC / BARTONE/ECOTONE /ARMSTRONG /ANUTONE / Harrington / Welspun or Equivalent as approved by E-in-c | 231.00 | SQM | 3050.00 | 2837.00 | 655347.00 | 3100.00 | 716100.00 | 2900.00 | 669900.00 | 655347.00 | Intex Space Solutions Private Limited
16.00 | M/L for P.C.C.in foundations filling and mass concrete, with 1:2:4 Type B1, M 15 with 20mm graded aggregate,. | 2.00 | CU.M. | 6130.42 | 5701.00 | 11402.00 | 6400.00 | 12800.00 | 6000.00 | 12000.00 | 11402.00 | Intex Space Solutions Private Limited
17.00 | S & FGl frame work for seamless ceiling comprising of Gl perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre. complete all as specified and as directed by the Engineer-in-Charge (Make : SAINT GOBAIN (GypSerra)/INDIA only) | 231.00 | SQ.M. | 556.63 | 518.00 | 119658.00 | 606.00 | 139986.00 | 600.00 | 138600.00 | 119658.00 | Intex Space Solutions Private Limited
18.00 | Material and Labour for Seamless calcium silicate ceiling 12mm made out of 1800 x 1200 mm size board of siliceous and calcareous material reinforced with cellulose fibre fixed to the ceiling section with 25 mm long self drilling and tapping screws having phillips head with under head cutter at 200 mm centre to centre, including finshing the joint of face board with specially formulated jointing compound and 48 mm wide fibre tape to provide seam less finish (Frame work for ceiling shall be measured and paid separately) | 231.00 | SQ.M | 778.09 | 724.00 | 167244.00 | 850.00 | 196350.00 | 750.00 | 173250.00 | 167244.00 | Intex Space Solutions Private Limited
19.00 | Material and Labour for applying two coats of plastic emulsion over one coat of primer over the new prepared surface of any description over 10cm girth or width, not otherwise described for false ceiling boards. Complete all as specified and as directed by the Engineer-in-Charge. | 230.00 | SQM | 164.68 | 153.00 | 35190.00 | 145.00 | 33350.00 | 130.00 | 29900.00 | 29900.00 | HARI ENTERPRISES
20.00 | M/L20mm thick Granite (of any type) tiles machine cut, in skirting/ dado laid over cement screed and jointed with grey cement slurry, and pointed with white cement with admixture of pigment to match the shade of granite stone including grinding and polishing complete | 41.00 | SQM, | 2809.16 | 2613.00 | 107133.00 | 3100.00 | 127100.00 | 3350.00 | 137350.00 | 107133.00 | Intex Space Solutions Private Limited
21.00 | Rendering screed bed or bedding layer of cement plaster 1:4 having 25mm thick over floor/wall for floor finishes as directed by E-In-Charge Including M&L complete.(223.37+54.99) | 41.00 | SQM | 320.11 | 298.00 | 12218.00 | 320.00 | 13120.00 | 250.00 | 10250.00 | 10250.00 | HARI ENTERPRISES
22.00 | M& L for Rounding to edges of stone slabs one edge, such as in steps, cooking platform, and other similar situations | 102.00 | RM | 55.77 | 52.00 | 5304.00 | 60.00 | 6120.00 | 150.00 | 15300.00 | 5304.00 | Intex Space Solutions Private Limited
23.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of stepsand dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete and beading to be provided wherever applicable. | 100.00 | SQM | 1267.95 | 1179.00 | 117900.00 | 1450.00 | 145000.00 | 1400.00 | 140000.00 | 117900.00 | Intex Space Solutions Private Limited
24.00 | M&L for one light point Controlled by one switch and wiring with 1.5 SQMm size PVC sheathed, stranded Copper Conductor Cables FRLS in PVC Conduit Complete all as Specified and as directed by the Engineer-in-Charge | 44.00 | POINT | 1141.66 | 1062.00 | 46728.00 | 1100.00 | 48400.00 | 1150.00 | 50600.00 | 46728.00 | Intex Space Solutions Private Limited
25.00 | M&L for light points Add item 19305 for each additional light point on the same switch circuit Complete all as Specified and as directed by the Engineer-in-Charge in pvc single core | 44.00 | POINT | 559.41 | 520.00 | 22880.00 | 490.00 | 21560.00 | 300.00 | 13200.00 | 13200.00 | HARI ENTERPRISES
26.00 | M&L One 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sqmm size Complete as directed by Engineer-in-charge. Wiring with Copper Counductor cables FRLS In PVC Counduit , PVC single core, sheathed cable. | 7.00 | EACH | 326.71 | 304.00 | 2128.00 | 310.00 | 2170.00 | 300.00 | 2100.00 | 2100.00 | HARI ENTERPRISES
27.00 | M&L of 10Amps one way modular switch as directed by the Engineer-in-Charge. | 70.00 | EACH | 299.57 | 279.00 | 19530.00 | 240.00 | 16800.00 | 220.00 | 15400.00 | 15400.00 | HARI ENTERPRISES
28.00 | Supply &fixing of Socket, 6A - 2/3 pin combined, 2 module .Complete as directed by Engineer-in-charge. | 111.00 | EACH | 391.62 | 364.00 | 40404.00 | 320.00 | 35520.00 | 450.00 | 49950.00 | 35520.00 | S VINAYAGAMURTHY
29.00 | M&L of 16Amps one way modular switch as directed by the Engineer-in-Charge. | 56.00 | EACH | 395.25 | 368.00 | 20608.00 | 340.00 | 19040.00 | 300.00 | 16800.00 | 16800.00 | HARI ENTERPRISES
30.00 | Supply &fixing of Socket 6A/16A - 2/3 pin combined, 2 module Complete as directed by Engineer-in-charge. | 28.00 | EACH | 607.66 | 565.00 | 15820.00 | 560.00 | 15680.00 | 550.00 | 15400.00 | 15400.00 | HARI ENTERPRISES
31.00 | S&F Modular Metal flush box 1/2 module as directed by the Engg.-in-charge | 40.00 | EACH | 205.97 | 192.00 | 7680.00 | 190.00 | 7600.00 | 200.00 | 8000.00 | 7600.00 | S VINAYAGAMURTHY
32.00 | S&F Modular Metal flush Box 3 module as directed by the Engineer-in-charge | 28.00 | EACH | 206.77 | 192.00 | 5376.00 | 190.00 | 5320.00 | 250.00 | 7000.00 | 5320.00 | S VINAYAGAMURTHY
33.00 | S&F Modular Metal flush Box 6 module as directed by the Engineer-in-charge | 38.00 | EACH | 326.71 | 304.00 | 11552.00 | 300.00 | 11400.00 | 380.00 | 14440.00 | 11400.00 | S VINAYAGAMURTHY
34.00 | S&F Modular White Cover Plate With Frame, 2 module. as directed by the Engineer-in-charge | 40.00 | EACH | 225.17 | 209.00 | 8360.00 | 210.00 | 8400.00 | 160.00 | 6400.00 | 6400.00 | HARI ENTERPRISES
35.00 | S&F Modular White Cover Plate With Frame, 3 module. as directed by the Engineer-in-charge | 28.00 | EACH | 250.35 | 233.00 | 6524.00 | 210.00 | 5880.00 | 220.00 | 6160.00 | 5880.00 | S VINAYAGAMURTHY
36.00 | S&F Modular White Cover Plate With Frame, 6 module. as directed by the Engineer-in-charge | 5.00 | EACH | 356.04 | 331.00 | 1655.00 | 330.00 | 1650.00 | 290.00 | 1450.00 | 1450.00 | HARI ENTERPRISES
37.00 | S&F Modular White Cover Plate With Frame, 8 module. as directed by the Engineer-in-charge | 33.00 | EACH | 438.61 | 408.00 | 13464.00 | 390.00 | 12870.00 | 400.00 | 13200.00 | 12870.00 | S VINAYAGAMURTHY
38.00 | S&F of Wiring for circuit/submain wiring along with earth wire with the following sizes of FR is PVC insulated copper conductor, single core cable in surface/ recessed as required 2x2.5 sq. mm + 1x2.5 sq. mm earth wire green wire as earth Continuity Concealed on Wall /fixed on Ceiling With Suitable in PVC conduit &accessories. Complete as directed by Engineer-in-charge. | 560.00 | RMTR | 212.99 | 198.00 | 110880.00 | 230.00 | 128800.00 | 300.00 | 168000.00 | 110880.00 | Intex Space Solutions Private Limited
39.00 | S&F of Wiring for circuit/submain wiring along with earth wire with the following sizes of FR is PVC insulated copper conductor, single core cable in surface/ recessed as required 2x4.0 sq. mm + 1x4.0sq. mm earth wire green wire as earth Continuity Concealed on Wall /fixed on Ceiling With Suitable PVCconduit &accessories. Complete as directed by Engineer-in-charge. | 280.00 | RMTR | 247.25 | 230.00 | 64400.00 | 270.00 | 75600.00 | 400.00 | 112000.00 | 64400.00 | Intex Space Solutions Private Limited
40.00 | S&F of Wiring for circuit/submain wiring along with earth wire with the following sizes of FR is PVC insulated copper conductor, single core cable in surface/ recessed as required 2x6.0 sq. mm + 1x6.0sq. mm earth wire green wire as earth Continuity Concealed on Wall /fixed on Ceiling With Suitable PVC conduit &accessories. Complete as directed by Engineer-in-charge. | 220.00 | RMTR | 298.08 | 277.00 | 60940.00 | 305.00 | 67100.00 | 580.00 | 127600.00 | 60940.00 | Intex Space Solutions Private Limited
41.00 | S&F of Wiring for circuit/submain wiring along with earth wire with the following sizes of FR is PVC insulated copper conductor, single core cable in surface/ recessed as required 4x6.0 sq. mm + 1x6.0sq. mm earth wire green wire as earth Continuity Concealed on Wall /fixed on Ceiling With Suitable PVC conduit &accessories. Complete as directed by Engineer-in-charge. | 200.00 | RMTR | 451.56 | 420.00 | 84000.00 | 390.00 | 78000.00 | 630.00 | 126000.00 | 78000.00 | S VINAYAGAMURTHY
42.00 | S&F of Wiring for circuit/submain wiring along with earth wire with the following sizes of FR is PVC insulated copper conductor, single core cable in surface/ recessed as required 4x16.0 sq. mm + 1x16.0sq. mm earth wire green wire as earth Continuity Concealed on Wall /fixed on Ceiling With Suitable PVC conduit & accessories. Complete as directed by Engineer-in-charge. | 100.00 | RMTR | 961.32 | 894.00 | 89400.00 | 1030.00 | 103000.00 | 1400.00 | 140000.00 | 89400.00 | Intex Space Solutions Private Limited
43.00 | Supply and fixing LED luminaire 600 mm x 600 mm,40 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size Complete as directed by Engineer-in-charge. | 63.00 | EACH | 5242.54 | 4876.00 | 307188.00 | 4650.00 | 292950.00 | 3700.00 | 233100.00 | 233100.00 | HARI ENTERPRISES
44.00 | Supply and fixing SP 6 To 32 AMP rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning Complete as directed by Engineer-in-charge. | 10.00 | EACH | 338.10 | 314.00 | 3140.00 | 300.00 | 3000.00 | 250.00 | 2500.00 | 2500.00 | HARI ENTERPRISES
45.00 | Supplying and fixing of 4 Way (4+12), Double door DB surface /recess mounting, vertical type, 415 V, TPN MCB (Incomer) distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200A tinned copper bus bar, common neutral link, earth bar, tin bar for mounting MCBs (but without MCBs and incomer) as required.(Note: Vertical type MCB TPDB is normally used where 3 phase outlets are required.) Complete as directed by Engineer-in-charge. | 4.00 | EACH | 7951.00 | 7394.00 | 29576.00 | 11000.00 | 44000.00 | 12000.00 | 48000.00 | 29576.00 | Intex Space Solutions Private Limited
46.00 | Supply and fixing SP 6 To 32 AMP rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning Complete as directed by Engineer-in-charge. | 48.00 | EACH | 338.10 | 314.00 | 15072.00 | 300.00 | 14400.00 | 250.00 | 12000.00 | 12000.00 | HARI ENTERPRISES
47.00 | Supply and fixing 415V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning of (I) TPN 40 To 100 AMP Complete as directed by Engineer-in-charge. | 3.00 | EACH | 2714.85 | 2525.00 | 7575.00 | 2900.00 | 8700.00 | 5000.00 | 15000.00 | 7575.00 | Intex Space Solutions Private Limited
48.00 | M&L of MCCB 4 Pole , 415 V, Adjustable type,100 Amps with breaking capacity 16KA. Complete as directed by Engineer-in-charge. | 1.00 | EACH | 4978.01 | 4630.00 | 4630.00 | 5200.00 | 5200.00 | 7000.00 | 7000.00 | 4630.00 | Intex Space Solutions Private Limited
49.00 | Taking down carefully copper/aluminium point wiring (light, fan, socket or power) complete, (fittings such as switches, ceiling roses, pendants, regulators sockets etc. to be measured separately), removing materials to store for keeping in safe custody for reuse at site and making good disturbed surfaces of walls, floors, etc.Complete as directed by Engineer-in-charge. | 90.00 | EACH | 270.94 | 252.00 | 22680.00 | 250.00 | 22500.00 | 180.00 | 16200.00 | 16200.00 | HARI ENTERPRISES
50.00 | Supplied & fixed of Rigid non-metallic 25 mm PVC conduit exclusive of boxes (junction/ terminal) but inclusive of all tees, bends, elbows, reducers, bell mouth tube ends and fixing accessories such as couplers, lock nuts, saddles, pipe hooks etc. | 200.00 | RMTR | 96.94 | 90.00 | 18000.00 | 90.00 | 18000.00 | 120.00 | 24000.00 | 18000.00 | Intex Space Solutions Private Limited, S VINAYAGAMURTHY
51.00 | Supplied & fixed of Rigid non-metallic 32 mm PVC conduit exclusive of boxes (junction/ terminal) but inclusive of all tees, bends, elbows, reducers, bell mouth tube ends and fixing accessories such as couplers, lock nuts, saddles, pipe hooks etc. | 150.00 | RMTR | 147.89 | 138.00 | 20700.00 | 145.00 | 21750.00 | 170.00 | 25500.00 | 20700.00 | Intex Space Solutions Private Limited
52.00 | M&L Wall cutting channels,grooves or rebates not exc15 cm girth,and trimming surface with or without Reinforcement Complete as directed by Engineer-in-charge. | 200.00 | RMTR | 133.28 | 124.00 | 24800.00 | 125.00 | 25000.00 | 170.00 | 34000.00 | 24800.00 | Intex Space Solutions Private Limited
53.00 | Extra over rendering or plastering for work in isolated widths or in widths not forming part of general plastering such as in bands, sunk panels,cornices, skirtings, drip moulds and similar work exc 15 cm but n exc 30 cm in width or girth; including cutting to edges, all mitres and stopped ends etc.Complete as directed by Engineer-in-charge. | 200.00 | RMTR | 65.15 | 61.00 | 12200.00 | 60.00 | 12000.00 | 80.00 | 16000.00 | 12000.00 | S VINAYAGAMURTHY
54.00 | Supply and fixing of modular planking plate(dummy plate) on the existing modular plate & switch box excluding modular plate as required. | 40.00 | EACH | 40.00 | 37.00 | 1480.00 | 40.00 | 1600.00 | 40.00 | 1600.00 | 1480.00 | Intex Space Solutions Private Limited
55.00 | Supplying and fixing of 25 Amps modular socket for A/C with modular box Complete as directed by Engineer-in-charge. | 10.00 | EACH | 1100.00 | 1023.00 | 10230.00 | 980.00 | 9800.00 | 1000.00 | 10000.00 | 9800.00 | S VINAYAGAMURTHY
56.00 | Suply and Fixing of wall mounting fan 450mm 230 volt 110 watts Medium Speed MAKE : HAVELLS / BAJAJ / CG/ Almonard Complete as directed by Engineer-in-charge. | 20.00 | EACH | 5475.00 | 5092.00 | 101840.00 | 5380.00 | 107600.00 | 5200.00 | 104000.00 | 101840.00 | Intex Space Solutions Private Limited
57.00 | S & F of 18W LED Chip on board ( COB ) RECESSED FCOUS LIGHT LUKER LCOB18N or Equivalent in HAVELLS / BAJAJ Complete as directed by Engineer-in-charge. | 25.00 | EACH | 2150.00 | 2000.00 | 50000.00 | 1900.00 | 47500.00 | 2080.00 | 52000.00 | 47500.00 | S VINAYAGAMURTHY
58.00 | Supply of 2.0 TR Ceiling Mounted Cassette Type Inverter Environmental Control Unit (ECU), 3-Star Energy Rated, comprising indoor and outdoor units with standard accessories, suitable for 415/230 V, 50 Hz power supply. Approved Make: Blue Star or equivalent. | 10.00 | EACH | 81999.99 | 76260.00 | 762600.00 | 80000.00 | 800000.00 | 96000.00 | 960000.00 | 762600.00 | Intex Space Solutions Private Limited
59.00 | FIxing of 2.0 TR Ceiling Mounted Cassette Type Inverter Environmental Control Unit (ECU), 3-Star Energy Rated, comprising indoor and outdoor units with standard accessories, suitable for 415/230 V, 50 Hz power supply. Approved Make: Blue Star or equivalent. | 10.00 | EACH | 5310.00 | 4938.00 | 49380.00 | 5000.00 | 50000.00 | 5300.00 | 53000.00 | 49380.00 | Intex Space Solutions Private Limited
60.00 | Supply of Refrigerant Copper Piping for Environmental Control Unit | 105.00 | RMTR | 2006.00 | 1866.00 | 195930.00 | 1900.00 | 199500.00 | 1900.00 | 199500.00 | 195930.00 | Intex Space Solutions Private Limited
61.00 | Supply of Drain Pipe for Environmental Control Unit | 125.00 | RMTR | 236.00 | 219.00 | 27375.00 | 230.00 | 28750.00 | 340.00 | 42500.00 | 27375.00 | Intex Space Solutions Private Limited
62.00 | Supply of communication cable for Environmental Control Unit | 115.00 | RMTR | 295.00 | 274.00 | 31510.00 | 285.00 | 32775.00 | 380.00 | 43700.00 | 31510.00 | Intex Space Solutions Private Limited
63.00 | Supply of stands for OD Units for Environmental Control Unit | 10.00 | NO.S | 1298.00 | 1207.00 | 12070.00 | 1300.00 | 13000.00 | 3000.00 | 30000.00 | 12070.00 | Intex Space Solutions Private Limited
64.00 | Removing of Building material like debris up to a distance at 1.0 km including , lead , lift transportation etc. as directed by the E-in- charge .Complete all as specified and as directed by the E-in -charge. | 120.00 | LOAD | 269.10 | 250.00 | 30000.00 | 250.00 | 30000.00 | 500.00 | 60000.00 | 30000.00 | Intex Space Solutions Private Limited, S VINAYAGAMURTHY
| Total in Figures |  |  |  |  | 4569182.34 |  | 4744781.09 |  | 4988660.08
Lowest Amount Quoted BY: Intex Space Solutions Private Limited(4569182.34)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of Existing Office space to accommodate additional manpower in Central Planning section at EFA Tender ID: 2026_AVNL_286029_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Intex Space Solutions Private Limited (BID ID -1056724) | 4569182.34 | L1
| 2 | S VINAYAGAMURTHY (BID ID -1057471) | 4744781.09 | L2
| 3 | HARI ENTERPRISES (BID ID -1056573) | 4988660.08 | L3