## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 03-Sep-2026 12:51 PM Tender Title: REPLACEMENT OF DEFECTIVE UG CABLE TO HIGH MAST LIGHT POLE (INSIDE THE PLAYGROUND) OPPOSITE TO KRISHNA MANDIR AT HVF ESTATE. Tender ID: 2026_AVNL_286586_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: REPLACEMENT OF DEFECTIVE UG CABLE TO HIGH MAST LIGHT POLE (INSIDE THE PLAYGROUND) OPPOSITE TO KRISHNA MANDIR AT HVF ESTATE.
Tender No: HVF/TE/13025/CEO/2026-27/52
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SENTHIL ENGINEERING CONTRACTORS (GSTN-33AADHM1672F1ZI) BID ID -1059187 |  | Thirumalai Enterprises (GSTN-34AAGFT7137H1Z2) BID ID -1059357 |  | Limra Electricals (GSTN-33CIVPS8740L1ZA) BID ID -1059371 |  | M/s. CHANDRA REDDY ELECTRICALS (GSTN-37ALMPK9299A1ZM) BID ID -1059410 |  | M/s Prime Electriks and Machinery Services Pvt Ltd (GSTN-NA) BID ID -1057314 |  | C R ELECTRICALS (GSTN-NA) BID ID -1059445 |  | DEEPAM ENTERPRISES (GSTN-NA) BID ID -1059177 |  | VIJAYALAKSHMI ENETERPRISES (GSTN-NA) BID ID -1059228
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavating of hard/dense soil in trenches not Exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 120.00 | CUM | 776.25 | 3000.00 | 360000.00 | 300.00 | 36000.00 | 750.00 | 90000.00 | 1171.00 | 140520.00 | 425.00 | 51000.00 | 1115.00 | 133800.00 | 600.00 | 72000.00 | 589.30 | 70716.00 | 36000.00 | Thirumalai Enterprises
2.00 | Material & labour for sand filling for cushioning on U.G cable | 24.00 | CUM | 2270.45 | 3000.00 | 72000.00 | 1600.00 | 38400.00 | 4300.00 | 103200.00 | 3424.00 | 82176.00 | 3890.00 | 93360.00 | 3261.00 | 78264.00 | 1750.00 | 42000.00 | 1999.00 | 47976.00 | 38400.00 | Thirumalai Enterprises
3.00 | Material & labour for Bricks; common burnt clay building bricks sub class B designation 75, Old size bricks for protection to U.G cable | 5.00 | Nos in 1000 | 6384.66 | 9000.00 | 45000.00 | 10000.00 | 50000.00 | 25000.00 | 125000.00 | 16800.00 | 84000.00 | 14500.00 | 72500.00 | 16000.00 | 80000.00 | 5000.00 | 25000.00 | 6500.00 | 32500.00 | 25000.00 | DEEPAM ENTERPRISES
4.00 | Returning, refilling of hard/dense soil in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 120.00 | CUM | 159.97 | 500.00 | 60000.00 | 135.00 | 16200.00 | 100.00 | 12000.00 | 158.00 | 18960.00 | 90.00 | 10800.00 | 150.00 | 18000.00 | 105.00 | 12600.00 | 125.00 | 15000.00 | 10800.00 | M/s Prime Electriks and Machinery Services Pvt Ltd
5.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 70 sqmm, 3.5core. (Make: Gloster/Nicco/ Havells/ Finolex/ Orbit/ Polycab/ Paragan) or suitably equivalent make | 150.00 | RM | 439.69 | 450.00 | 67500.00 | 385.00 | 57750.00 | 900.00 | 135000.00 | 769.00 | 115350.00 | 1180.00 | 177000.00 | 732.00 | 109800.00 | 425.00 | 63750.00 | 425.00 | 63750.00 | 57750.00 | Thirumalai Enterprises
6.00 | Supply and laying or fixing or passing through pipe, 1100 volts grade heavy duty cable with PVC insulated aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed 16 sq. mm nominal cross section in service connections stranded conductor 4 core. (Make: Gloster/Nicco/ Havells/ Finolex/ Orbit/ Polycab/ Paragan) or suitably equivalent make | 1150.00 | RM | 247.25 | 250.00 | 287500.00 | 205.00 | 235750.00 | 350.00 | 402500.00 | 478.00 | 549700.00 | 515.00 | 592250.00 | 455.00 | 523250.00 | 225.00 | 258750.00 | 225.00 | 258750.00 | 235750.00 | Thirumalai Enterprises
7.00 | Supply and laying or fixing for Steel tubular swaged poles complete with cast iron base plate, finial taper plug, bolts, nuts & screws as specified type 410 SP-22 (9 metres long) | 3.00 | EACH | 13223.85 | 23000.00 | 69000.00 | 23500.00 | 70500.00 | 24780.00 | 74340.00 | 19144.00 | 57432.00 | 23780.00 | 71340.00 | 18232.00 | 54696.00 | 12750.00 | 38250.00 | 16000.00 | 48000.00 | 38250.00 | DEEPAM ENTERPRISES
8.00 | Material & labour for Brick work with subclass 'B' bricks straight/curved on plan exc 6m mean radius built in (Cement mortar 1:4) | .70 | CUM | 6176.08 | 3500.00 | 2450.00 | 7000.00 | 4900.00 | 2500.00 | 1750.00 | 9316.00 | 6521.20 | 8655.00 | 6058.50 | 8872.00 | 6210.40 | 5650.00 | 3955.00 | 6500.00 | 4550.00 | 1750.00 | Limra Electricals
9.00 | Rendering 10mm thick on fair faces of brick work or concrete surfaces. (cement plaster 1:4) | 3.50 | SQM | 235.52 | 6000.00 | 21000.00 | 200.00 | 700.00 | 500.00 | 1750.00 | 355.00 | 1242.50 | 4150.00 | 14525.00 | 338.00 | 1183.00 | 200.00 | 700.00 | 250.00 | 875.00 | 700.00 | DEEPAM ENTERPRISES, Thirumalai Enterprises
10.00 | Supply and fixing LED flood light 210 watt 230 V AC outdoor type with thermal management in multiple optics and equipped with IP66 protection, with impact and corrosion resistant complete with driver and lamp (Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker) or suitably equivalent make | 16.00 | EACH | 23290.51 | 9000.00 | 144000.00 | 12500.00 | 200000.00 | 12000.00 | 192000.00 | 35129.00 | 562064.00 | 5350.00 | 85600.00 | 33456.00 | 535296.00 | 17900.00 | 286400.00 | 15000.00 | 240000.00 | 85600.00 | M/s Prime Electriks and Machinery Services Pvt Ltd
11.00 | Material and labour for cement concrete 1:2:4 Type B2 using 20mm graded aggregate in foundations, filling and mass concrete. ((6477.80 + 0.90(1665.60-1603.90) | 3.00 | CUM | 7513.33 | 9000.00 | 27000.00 | 8500.00 | 25500.00 | 11500.00 | 34500.00 | 14126.00 | 42378.00 | 9150.00 | 27450.00 | 13453.00 | 40359.00 | 6000.00 | 18000.00 | 6900.00 | 20700.00 | 18000.00 | DEEPAM ENTERPRISES
12.00 | Demolition of cement concrete of any description and in any position not otherwise specifically provided for | 2.00 | CUM | 1876.00 | 4000.00 | 8000.00 | 1500.00 | 3000.00 | 3000.00 | 6000.00 | 2826.00 | 5652.00 | 11600.00 | 23200.00 | 2694.00 | 5388.00 | 1400.00 | 2800.00 | 1250.00 | 2500.00 | 2500.00 | VIJAYALAKSHMI ENETERPRISES
13.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required, along with PVC conduit. (Make: Finolux/Havells/Polycab/ Kundan or suitably equivalent make) a) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 150.00 | RM | 212.99 | 200.00 | 30000.00 | 165.00 | 24750.00 | 265.00 | 39750.00 | 584.00 | 87600.00 | 234.00 | 35100.00 | 556.00 | 83400.00 | 173.00 | 25950.00 | 215.00 | 32250.00 | 24750.00 | Thirumalai Enterprises
14.00 | Supply and fixing LED street light fitting 35 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. | 24.00 | EACH | 3411.19 | 2500.00 | 60000.00 | 2250.00 | 54000.00 | 4000.00 | 96000.00 | 5145.00 | 123480.00 | 1860.00 | 44640.00 | 4900.00 | 117600.00 | 2600.00 | 62400.00 | 3150.00 | 75600.00 | 44640.00 | M/s Prime Electriks and Machinery Services Pvt Ltd
15.00 | Material and labour for Framed work as in doors or gates of angle or other section with gusset plates, rails braces etc., complete, drilled for fixing of steel sheeting or other covering, Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings(exclusive of steel sheeting or other covering, running rails and guides) and hanging also fastening and fixing complete and similar work confirming to Fe-290Gde E-165. | 50.00 | KG | 133.68 | 1500.00 | 75000.00 | 130.00 | 6500.00 | 180.00 | 9000.00 | 202.00 | 10100.00 | 166.00 | 8300.00 | 192.00 | 9600.00 | 107.00 | 5350.00 | 125.00 | 6250.00 | 5350.00 | DEEPAM ENTERPRISES
16.00 | Formwork to flat sides of concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter | 8.00 | SQM | 364.23 | 5000.00 | 40000.00 | 250.00 | 2000.00 | 1800.00 | 14400.00 | 549.00 | 4392.00 | 4150.00 | 33200.00 | 523.00 | 4184.00 | 290.00 | 2320.00 | 350.00 | 2800.00 | 2000.00 | Thirumalai Enterprises
17.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 35 sq. mm (32mm) | 5.00 | SET | 437.00 | 1300.00 | 6500.00 | 300.00 | 1500.00 | 400.00 | 2000.00 | 735.00 | 3675.00 | 1890.00 | 9450.00 | 700.00 | 3500.00 | 395.00 | 1975.00 | 2500.00 | 12500.00 | 1500.00 | Thirumalai Enterprises
18.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 25 sq. mm (28mm) | 5.00 | EACH | 373.00 | 1300.00 | 6500.00 | 250.00 | 1250.00 | 400.00 | 2000.00 | 630.00 | 3150.00 | 1360.00 | 6800.00 | 600.00 | 3000.00 | 315.00 | 1575.00 | 525.00 | 2625.00 | 1250.00 | Thirumalai Enterprises
19.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm (28mm) | 56.00 | EACH | 366.00 | 1300.00 | 72800.00 | 200.00 | 11200.00 | 350.00 | 19600.00 | 630.00 | 35280.00 | 1360.00 | 76160.00 | 600.00 | 33600.00 | 250.00 | 14000.00 | 425.00 | 23800.00 | 11200.00 | Thirumalai Enterprises
20.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 120 sq. mm (45mm) | 1.00 | SET | 710.00 | 2000.00 | 2000.00 | 400.00 | 400.00 | 500.00 | 500.00 | 1050.00 | 1050.00 | 3150.00 | 3150.00 | 1000.00 | 1000.00 | 600.00 | 600.00 | 395.00 | 395.00 | 395.00 | VIJAYALAKSHMI ENETERPRISES
21.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 70 sq. mm (38mm) | 2.00 | SET | 542.00 | 1800.00 | 3600.00 | 400.00 | 800.00 | 400.00 | 800.00 | 735.00 | 1470.00 | 2870.00 | 5740.00 | 700.00 | 1400.00 | 500.00 | 1000.00 | 750.00 | 1500.00 | 800.00 | Thirumalai Enterprises, Limra Electricals
22.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for 3½ X 35 sq. mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 6.00 | EACH | 2286.20 | 2000.00 | 12000.00 | 2000.00 | 12000.00 | 4000.00 | 24000.00 | 6300.00 | 37800.00 | 3455.00 | 20730.00 | 6000.00 | 36000.00 | 2200.00 | 13200.00 | 575.00 | 3450.00 | 3450.00 | VIJAYALAKSHMI ENETERPRISES
23.00 | Supply & fixing of outdoor street light terminal box size of 300mm X 400mm X 200mm of 3mm thick. The box shall be dust and vermin proof. The joints of the box shall be fully welded. The box should have heavy duty hinges and front door should open by using panel key. The box and door should have the metal beading width of 10mm and 15mm respectively. the rubber / PVC beading should be provided around the box cover for water proof. the box shall be provided with teak wood plate fixed inside the box. The wooden plate should not have more than one joint. the size of wooden plate shall be fitted with welded brackets inside the box with 4 Nos of 6mm counter sunk screws. The box shall be provided with 2 Nos of 6mm earthing bolts 2 nos of plain washers and one spring washer with nut at both side, two nos of brackets (flat size of 30mm x 6mm) and two nos clamps( 40mm width x 6mm thick) of required shape for mounting the box on pole. The box shall be provided with 6Amps MCB and 4 numbers of DIN rail connector model CBT-110, make-Elmex, 50sqmm to be fixed on the wooden plate along with suitable channel. | 3.00 | EACH | 8300.00 | 9999.00 | 29997.00 | 8500.00 | 25500.00 | 4000.00 | 12000.00 | 10500.00 | 31500.00 | 11780.00 | 35340.00 | 10000.00 | 30000.00 | 7475.00 | 22425.00 | 8500.00 | 25500.00 | 12000.00 | Limra Electricals
24.00 | Supply and fixing of GI Pipe 32mm Dia of class "B" grade 2 meter length 3mm thick. At one metre length it has to be made 135 degree bend without any damage and shape for fixing street light fittings. | 3.00 | EACH | 875.00 | 3000.00 | 9000.00 | 900.00 | 2700.00 | 2000.00 | 6000.00 | 1575.00 | 4725.00 | 1294.00 | 3882.00 | 1500.00 | 4500.00 | 740.00 | 2220.00 | 990.00 | 2970.00 | 2220.00 | DEEPAM ENTERPRISES
25.00 | Supply & fixing of Outdoor control pillar box for high mast light. The size of box shall be minimum 500x500x300 mm of 2 mm thick CRCA sheet, IP55 protection & epoxy powder coated. The box equipped with the following pre wired accessories. A) incomer: 32A MCB 4P - 1 Nos (make: L&T/legrand/ schneider). B)R,Y,B indication Lamp - 1 Set, C)Lighting control : power contactor, 25A, TP - 1 No's (Make:L&T/legrand/ schneider), D)Digital Timer for the automatic switching of luminaries, E)Auto/Manual selector switch for lighting control (Make:L&T /Salzer/Kaycee), F)power Tool Control: Power contactor (for forward and reverse of motor), 9A, TP - 2 No's,(Make:L&T/ legrand/ schneider), G)Pendent Push Buttons with cable for raising & lowering lantern carriage ring, H)Terminal connectors : 4 No's suitable for 16Sqmm for incomer, 8 Nos 10Sqmm for Motor power supply, 4 Nos 2.5Sqmm for Motor raise/Lower control (Make: Elmex/ Phonix/ Connectwell), I) suitable size of separate flexible cable for lights and motor to be provided from panel to highmast | 1.00 | EACH | 50000.00 | 43000.90 | 43000.90 | 40500.00 | 40500.00 | 50000.00 | 50000.00 | 42000.00 | 42000.00 | 21600.00 | 21600.00 | 40000.00 | 40000.00 | 45450.00 | 45450.00 | 52500.00 | 52500.00 | 21600.00 | M/s Prime Electriks and Machinery Services Pvt Ltd
26.00 | Supply and fixing of GI Pipe 32mm Dia of class "B" grade 4 meter length 3mm thick. At 0.5 metre length it has to be made 150 degree bend without any damage and shape for fixing street light fittings. | 24.00 | EACH | 1800.00 | 3000.00 | 72000.00 | 1300.00 | 31200.00 | 2500.00 | 60000.00 | 3675.00 | 88200.00 | 1810.00 | 43440.00 | 3500.00 | 84000.00 | 1510.00 | 36240.00 | 1950.00 | 46800.00 | 31200.00 | Thirumalai Enterprises
27.00 | Supply and fixing of MS flat iron support clamp/ bracket for street light arm of 40mm width, 6mm thick cut into 4x0.45m lenth for each pole including bolts, washers, nuts and bending, drilling any shape or size n. exc 10 kg each. | 12.00 | KG | 668.00 | 2500.00 | 30000.00 | 990.00 | 11880.00 | 160.00 | 1920.00 | 210.00 | 2520.00 | 136.00 | 1632.00 | 200.00 | 2400.00 | 455.00 | 5460.00 | 650.00 | 7800.00 | 1632.00 | M/s Prime Electriks and Machinery Services Pvt Ltd
28.00 | Supply & fixing of GI Pipe 2.5 inch (50mm) Dia of class "B" grade 1.5 mtr length 3mm thick. At one mtr length it has to be made 120 degree offset for cable entry purpose in coping of poles. | 3.00 | EACH | 910.00 | 2000.00 | 6000.00 | 900.00 | 2700.00 | 1500.00 | 4500.00 | 2100.00 | 6300.00 | 1455.00 | 4365.00 | 2000.00 | 6000.00 | 810.00 | 2430.00 | 980.00 | 2940.00 | 2430.00 | DEEPAM ENTERPRISES
29.00 | Material and Labour for horizontal drilling hole (trench less boring) at a depth of 1.5 meter below the normal ground level and supply and insert including materials 150mm bore HDPE pipe across the road cross the horizontal position at different locations using special drilling machine as per trade practive and as directed. | 100.00 | RM | 2990.00 | 450.00 | 45000.00 | 3110.00 | 311000.00 | 4000.00 | 400000.00 | 3150.00 | 315000.00 | 1355.00 | 135500.00 | 3000.00 | 300000.00 | 3100.00 | 310000.00 | 3250.00 | 325000.00 | 45000.00 | SENTHIL ENGINEERING CONTRACTORS
30.00 | OUT DOOR FPB consisting of 200A MCCB-1 No for incomiong, outgoing feeders are 63A MCCB-6 Nos. Specifcation sheet enclosed as annexure -1(1.0.1 to 1.0.9.5). | 2.00 | SET | 335000.00 | 160000.09 | 320000.18 | 335000.00 | 670000.00 | 400000.00 | 800000.00 | 748230.00 | 1496460.00 | 172000.00 | 344000.00 | 712600.00 | 1425200.00 | 325900.00 | 651800.00 | 345000.00 | 690000.00 | 320000.18 | SENTHIL ENGINEERING CONTRACTORS
31.00 | Supply & fixing of outdoor street light terminal box size of 200mm X 200mm X 150mm of 3mm thick. The box shall be dust, vermin & water proof, front door should open by using panel key. the box should be powder coated and door should have the metal beading width of 10mm. the box shall be provided with teak wood plate fixed inside the box on welded bracket with 4 No of 6mm counter sink screws. 2 Nos of 6mm earthing bolts with proper washers and nut at both side. two nos of mounting brackets (flat size of 30mm x 6mm) shall be welded and two nos clamps( 30mm width x 6mm thick) for mounting the box on pole. The box shall be provided with 6Amps SP MCB and four numbers of DIN rail connector model CBT-110, make-Elmex, Fixed on the wooden plate along with suitable channel. | 24.00 | EACH | 4475.00 | 6900.90 | 165621.60 | 6000.00 | 144000.00 | 4000.00 | 96000.00 | 15750.00 | 378000.00 | 1670.00 | 40080.00 | 15000.00 | 360000.00 | 4350.00 | 104400.00 | 5000.00 | 120000.00 | 40080.00 | M/s Prime Electriks and Machinery Services Pvt Ltd
| Total in Figures |  |  |  |  | 2192469.68 |  | 2092580.00 |  | 2816510.00 |  | 4338697.70 |  | 2098192.50 |  | 4131630.40 |  | 2133000.00 |  | 2239997.00
Lowest Amount Quoted BY: Thirumalai Enterprises(2092580.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPLACEMENT OF DEFECTIVE UG CABLE TO HIGH MAST LIGHT POLE (INSIDE THE PLAYGROUND) OPPOSITE TO KRISHNA MANDIR AT HVF ESTATE. Tender ID: 2026_AVNL_286586_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Thirumalai Enterprises (BID ID -1059357) | 2092580.00 | L1
| 2 | M/s Prime Electriks and Machinery Services Pvt Ltd (BID ID -1057314) | 2098192.50 | L2
| 3 | DEEPAM ENTERPRISES (BID ID -1059177) | 2133000.00 | L3
| 4 | SENTHIL ENGINEERING CONTRACTORS (BID ID -1059187) | 2192469.68 | L4
| 5 | VIJAYALAKSHMI ENETERPRISES (BID ID -1059228) | 2239997.00 | L5
| 6 | Limra Electricals (BID ID -1059371) | 2816510.00 | L6
| 7 | C R ELECTRICALS (BID ID -1059445) | 4131630.40 | L7
| 8 | M/s. CHANDRA REDDY ELECTRICALS (BID ID -1059410) | 4338697.70 | L8