## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 09-Sep-2026 03:45 PM Tender Title: REPAIRS TO THE EXISTING DAMAGED REST ROOMS AND TOILETS BLOCK IN RG SHOP-I AT HVF, AVADI Tender ID: 2026_AVNL_286587_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: REPAIRS TO THE EXISTING DAMAGED REST ROOMS AND TOILETS BLOCK IN RG SHOP- I AT HVF, AVADI.
Tender No: HVF/TE/13025/CEO/2026-27/53
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Siva Enterprises (GSTN-NA) BID ID -1059175 |  | DEEPAM ENTERPRISES (GSTN-NA) BID ID -1059172 |  | Leela Constructions (GSTN-NA) BID ID -1059223
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down door shutters and frame exc 1.5sqm but not exc 4 sqm without taking shutters from frame and handing over to CE(Fy) stores. | 40.00 | EACH | 523.94 | 455.00 | 18200.00 | 465.00 | 18600.00 | 520.00 | 20800.00 | 18200.00 | Siva Enterprises
2.00 | Earth work excavation in hard/dense soil over areas not exceeding 1.5 m deep and getting out. | 37.00 | CUM | 517.50 | 545.00 | 20165.00 | 510.00 | 18870.00 | 520.00 | 19240.00 | 18870.00 | DEEPAM ENTERPRISES
3.00 | Demolition of Brickwork or stone/ boulder masonry, built in cement mortar including all quoins, arches, pillars, etc. but excluding ashlar facings, dressed stonework and precast concrete articles. | 23.00 | CUM | 1888.23 | 1955.00 | 44965.00 | 1675.00 | 38525.00 | 1900.00 | 43700.00 | 38525.00 | DEEPAM ENTERPRISES
4.00 | Demolition of reinforced Cement Concrete structure of any description and in any position not otherwise specifically provided. | 3.80 | CUM | 2166.26 | 2255.00 | 8569.00 | 1950.00 | 7410.00 | 2200.00 | 8360.00 | 7410.00 | DEEPAM ENTERPRISES
5.00 | Demolition of Unreinforced Cement Concrete structure of any description and in any position not otherwise specifically provided. | 11.00 | CUM | 1876.00 | 1955.00 | 21505.00 | 1950.00 | 21450.00 | 1800.00 | 19800.00 | 19800.00 | Leela Constructions
6.00 | Dismantling floor, hearth or wall tiling including cement mortar bedding (but not backing), removing serviceable tiles to store and rubbish off the premises. | 345.00 | SQM | 102.93 | 95.00 | 32775.00 | 115.00 | 39675.00 | 110.00 | 37950.00 | 32775.00 | Siva Enterprises
7.00 | Taking down cement plaster on brick or stone walls, etc. including raking out joints, hacking for key, scrubbing down with water, etc. | 110.00 | SQM | 109.18 | 105.00 | 11550.00 | 110.00 | 12100.00 | 110.00 | 12100.00 | 11550.00 | Siva Enterprises
8.00 | M & L for Cutting chases in Brick walls pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth. | 90.00 | RM | 58.02 | 60.00 | 5400.00 | 65.00 | 5850.00 | 60.00 | 5400.00 | 5400.00 | Siva Enterprises, Leela Constructions
9.00 | M & L for Sand filling under floors or in foundations including watering and consolidation | 11.00 | CUM | 2270.45 | 2355.00 | 25905.00 | 2300.00 | 25300.00 | 2270.00 | 24970.00 | 24970.00 | Leela Constructions
10.00 | M & L for P.C.C 1:3:6, C-2 type using 40mm graded aggregate in foundation, filling and mass concrete. | 8.50 | CUM | 6741.30 | 6755.00 | 57417.50 | 6850.00 | 58225.00 | 6800.00 | 57800.00 | 57417.50 | Siva Enterprises
11.00 | M & L Cement concrete in foundations, filling and mass concrete type B1 1:2:4 using 20mm graded aggregate. | 14.00 | CUM | 7513.33 | 7655.00 | 107170.00 | 7850.00 | 109900.00 | 7600.00 | 106400.00 | 106400.00 | Leela Constructions
12.00 | M & L for providing RCC M20 Concrete (1:1.5:3) in Foundations, including rafts, footings, foundation beams; plinth beams; bases for columns, etc.; basement slabs, under-reamed piles and mass concrete. | 1.30 | CUM | 8498.41 | 8655.00 | 11251.50 | 8350.00 | 10855.00 | 8000.00 | 10400.00 | 10400.00 | Leela Constructions
13.00 | M & L for providing RCC M20 Concrete (1:1.5:3) in Beams, cantilever bressummers, lintels over 1.5m span | .80 | CUM | 9077.53 | 8955.00 | 7164.00 | 9150.00 | 7320.00 | 8100.00 | 6480.00 | 6480.00 | Leela Constructions
14.00 | M & L for flat Formwork to sides of concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter for fair finished surface. | 37.00 | SQM | 456.68 | 475.00 | 17575.00 | 470.00 | 17390.00 | 460.00 | 17020.00 | 17020.00 | Leela Constructions
15.00 | Hacking out plastering 15 cm vide on either side of the crack cutting of 6mm 'V' groove by inserting chicken mesh in the gaps of wall PU filler material of reputed companies such as mastered builder solution, Fosroc, Alchemica, Dr Fixit or equivalent make and finishing to the original shape as directed. The crack filling shall be carried out as per the OEM specifications specified by the OEM and the material to be used shall be freshly manufacured having a minimum life span of six months when brought out site. | 25.00 | RM | 85.55 | 85.00 | 2125.00 | 95.00 | 2375.00 | 85.00 | 2125.00 | 2125.00 | Siva Enterprises, Leela Constructions
16.00 | M & L for Brickwork built in CM 1:6 using subclass ‘B’ bricks, straight or curved on plan exc 6m mean radius. | 10.00 | CUM | 5606.25 | 5655.00 | 56550.00 | 6100.00 | 61000.00 | 6000.00 | 60000.00 | 56550.00 | Siva Enterprises
17.00 | M & L for Brickwork with subclass ‘B’ bricks, straight or curved on plan to any radius in half brick thick walls built in CM 1:4 | 112.00 | SQM | 773.48 | 795.00 | 89040.00 | 850.00 | 95200.00 | 800.00 | 89600.00 | 89040.00 | Siva Enterprises
18.00 | S & F of TMT Mild steel bars 10mm dia and over, cut to length, bent to shape required, including cranking, Bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips. | 311.00 | KG | 94.99 | 97.00 | 30167.00 | 102.00 | 31722.00 | 95.00 | 29545.00 | 29545.00 | Leela Constructions
19.00 | S & F of Mild steel TMT bars 8mm to 6mm dia , cut to length, bent to shape required, including cranking, Bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips | 150.00 | KG | 97.23 | 97.00 | 14550.00 | 105.00 | 15750.00 | 95.00 | 14250.00 | 14250.00 | Leela Constructions
20.00 | M & L For precast cement concrete set in cement mortar 1:6 type B1 (1:2:4) 20mm graded aggregate in landings, cover slabs (for man holes etc.) chullah hoods, chajjas, water troughs, mangers, shelves and similar articles with plain faces. | .80 | CUM | 12692.32 | 12500.00 | 10000.00 | 12650.00 | 10120.00 | 12700.00 | 10160.00 | 10000.00 | Siva Enterprises
21.00 | M & L for Dubbing out 10mm thick in CM 1:4 on irregular face of walls. | 148.20 | SQM | 195.66 | 195.00 | 28899.00 | 210.00 | 31122.00 | 200.00 | 29640.00 | 28899.00 | Siva Enterprises
22.00 | Material & labour for cement plastering with CM(1:4) 15 mm thick wall plastering on fair faces of brick wall or concrete surfaces. | 500.00 | SQM | 302.59 | 305.00 | 152500.00 | 315.00 | 157500.00 | 300.00 | 150000.00 | 150000.00 | Leela Constructions
23.00 | Material & labour for plastering with CM(1:4) 12mm thick ceiling plastering. | 160.00 | SQM | 291.77 | 295.00 | 47200.00 | 295.00 | 47200.00 | 310.00 | 49600.00 | 47200.00 | DEEPAM ENTERPRISES, Siva Enterprises
24.00 | S & F Non - skid Ceramic coloured tiles 7 to 8 mm thick area of each tile exceeding 0.18 sqm but not exceeding 0.38 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match, Joint free non skid tiles and screed bed or bedding layer in cement mortar 1:4 15 mm thick for laying floor finishes. | 165.00 | SQM | 2013.39 | 1955.00 | 322575.00 | 2000.00 | 330000.00 | 2200.00 | 363000.00 | 322575.00 | Siva Enterprises
25.00 | M & L for Vitrified Ceramic tiles (Dark shade/Double charged / Ultracharged) 10 mm thick (square/ rectangular) polished, area of each tiles exceeding 0.42 sqm but not exceeding 1.00 sqm, in floors/wall, etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match. | 600.00 | SQM | 2255.96 | 2355.00 | 1413000.00 | 2250.00 | 1350000.00 | 2350.00 | 1410000.00 | 1350000.00 | DEEPAM ENTERPRISES
26.00 | Supply and fixing of Cement concrete Tiles 20cmx20cmx20mm thick with white cement and pigments machine pressed with screed bed or bedding layer in CM 1:3, 15mm thick set jointed and pointed in neat cement slurry in floors and cut polished. | 35.00 | SQM | 1399.38 | 1455.00 | 50925.00 | 1425.00 | 49875.00 | 1400.00 | 49000.00 | 49000.00 | Leela Constructions
27.00 | Supply and fixing factory made uPVC white colour fixed glazed window/ventilator made of (small series) frame 47 x 50 mm mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area upto 0.75 sqm.) comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I. fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Glass shall be paid separately) Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. | 17.00 | SQM | 7360.61 | 7855.00 | 133535.00 | 7850.00 | 133450.00 | 8000.00 | 136000.00 | 133450.00 | DEEPAM ENTERPRISES
28.00 | S & F of 5.5mm Sheet glass, ordinary quality and glazing with oil putty in square exceeding 0.5 sq. m in each pane as required and Extra over sheet glass, ordinary quality, if sheet glass is ground or obscured or frosted on one side. | 18.00 | SQM | 1399.86 | 1455.00 | 26190.00 | 1375.00 | 24750.00 | 1400.00 | 25200.00 | 24750.00 | DEEPAM ENTERPRISES
29.00 | Supply and fixing of 45x70 mm Factory made single extruded WPC (Wood Polymer Composite) solid door/ window/Ceosetory Windows & other Frames/ Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/ wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modules of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/ moisture proof and fire retardant and fixed in position with MS hold fast/ lugs/SS dash fasteners of required dia and length complete as per Direction of Engineer-in-Charge. (M.S. hold fast/ lugs or SS dash fasteners shall be paid for separately. Note: For WPC solid door/window frames, minus 5mm tolerance in dimension i.e. depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. | 160.00 | RM | 736.81 | 795.00 | 127200.00 | 712.00 | 113920.00 | 750.00 | 120000.00 | 113920.00 | DEEPAM ENTERPRISES
30.00 | S & F of 30mm thick factory made single extruded WPC(wood polymer composite) solid plain flush door shutter or required size comprising of virgin polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood powder/rice husk/wheat husk) and non toxic additives(maximum toxicity index of 12 for 100mgs) having minimum density of 650kg/cum, screw withdrawal strength of 1800N (face)& 900N (edge) minimum compressive strength of 50N/mm2, modulus of elasticity 850N/mm2 and resistance to spread of flame of class A category with property of being termite/borer proof,water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star head counter sunk SS screws, all as per direction of engineer-in-charge. | 40.00 | SQM | 3610.00 | 3655.00 | 146200.00 | 3675.00 | 147000.00 | 3800.00 | 152000.00 | 146200.00 | Siva Enterprises
31.00 | S & F of 30mm thick main door design engraved factory made single extruded WPC(wood polymer composite) solid plain flush door shutter or required size comprising of virgin polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood powder)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for 100mgs) having minimum density of 650kg/cum, screw withdrawal strength of 1800N (face)& 900N (edge) minimum compressive strength of 50N/mm2, modulus of elasticity 850N/mm2 and resistance to spread of flame of class A category with property of being termite/borer proof,water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star head counter sunk SS screws, all as per direction of engineer-in-charge. | 7.00 | SQM | 3705.00 | 3755.00 | 26285.00 | 3900.00 | 27300.00 | 3700.00 | 25900.00 | 25900.00 | Leela Constructions
32.00 | Providing & fixing false ceiling at heights with GRG (Glass Fibre Reinforced Gypsum) false ceiling tiles of size 595 x 595 mm of approved texture, design and patterns having moisture content less than 2%, humidity resistance of 99%, NRCO 0.50 to 0.75 as per IS 8225:1987, Non combustible as per BS 476 (part 4)-1970 and light reflectance of 85% (minimum) to be laid in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanized iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main T runners of size 15 x 32 mm of length 3000mm,cross-T of size 15x32mm of length 1200mm and secondary intermediate cross-T of size 15 x 32mm of length 600mm to form grid module of size 600x600mm, suspended from ceiling using galvanized mild steel items (galvanizing @ 80 grams per sqm) i.e 50mm long, 8mm outer diameter M-6 dash fasteners, 6mm dia fully threaded hanger rod upto 1000mm length and L-shape level adjuster of size 85x25x2mm. Galvanised iron perimeter wall angle of size 24x24x0.40mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450mm centre to centre and 40mm long dry wall wood screws. The work shall be carried out as per specifications, drawing and as per directions of the engineer-in-Charge. (A) With Semi perforated 12mm thick micro tegular edged GRG false ceiling tiles. | 128.00 | SQM | 1689.76 | 1655.00 | 211840.00 | 1680.00 | 215040.00 | 1700.00 | 217600.00 | 211840.00 | Siva Enterprises
33.00 | S & F of Aluminium anodised, barrel tower bolts (150mm) of extruded section and fixed. | 68.00 | EACH | 88.32 | 75.00 | 5100.00 | 105.00 | 7140.00 | 90.00 | 6120.00 | 5100.00 | Siva Enterprises
34.00 | S & F of butt hinges (125mm) cast brass with mild steel hinge pin, bright polished and fixing but type B-12. | 76.00 | EACH | 311.77 | 305.00 | 23180.00 | 325.00 | 24700.00 | 315.00 | 23940.00 | 23180.00 | Siva Enterprises
35.00 | S & F of Aluminium handles(150mm), cast Type , anodised. | 72.00 | EACH | 87.29 | 75.00 | 5400.00 | 90.00 | 6480.00 | 90.00 | 6480.00 | 5400.00 | Siva Enterprises
36.00 | S & F Aluminium alloy 250mm length, anodised, sliding door bolt with hasp, staple (bolt type) and fixing clips of sheet, cast or extruded sections and fixing bolts and sliding bolts of extruded sections or cast-aluminium alloy and fixed. | 4.00 | EACH | 430.33 | 415.00 | 1660.00 | 425.00 | 1700.00 | 430.00 | 1720.00 | 1660.00 | Siva Enterprises
37.00 | S & F of Looking Mirror of any size as required at site selected quality glass, mount on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass. | 3.00 | SQM | 1200.00 | 1255.00 | 3765.00 | 1200.00 | 3600.00 | 1400.00 | 4200.00 | 3600.00 | DEEPAM ENTERPRISES
38.00 | S & F of vitreous china urinals, half stall type flat back of white including providing and fixing plugs, bedding urinals against wall in cement mortar 1:2, securing urinal back in cement. Including 32mm connector pipe, stop cock 15mm size with PTMT nuts 15mm PVC connections of length 300mm and waste coupling and removing old damaged urinal, 15mm dia pipe urinal spreader Minimum weight 60gms complete etc | 20.00 | EACH | 3213.39 | 3255.00 | 65100.00 | 3215.00 | 64300.00 | 3200.00 | 64000.00 | 64000.00 | Leela Constructions
39.00 | M & L for 20mm thick granite (of any type) work (table rubbed and polished) in steps, jambs, pillars, window cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. | 25.00 | SQM | 5961.26 | 5955.00 | 148875.00 | 6300.00 | 157500.00 | 6200.00 | 155000.00 | 148875.00 | Siva Enterprises
40.00 | Providing edge moulding to 18-20mm thick granite stone of counters vanities etc. including machine polishing to edge to give high gloss finish etc. complete. | 200.00 | RM | 432.69 | 395.00 | 79000.00 | 445.00 | 89000.00 | 250.00 | 50000.00 | 50000.00 | Leela Constructions
41.00 | S & F of IWC Squatt pan (Orissa pattern) Size 580 x 440mm white / colour with integral foot rests providing lime concrete bedding and finishing the top and PVC valveless 10 litre, syphonic action type, flushing cistern, low level, white, with inlet, ball valve, float and handle including brackets etc., | 8.00 | Each | 4417.53 | 4555.00 | 36440.00 | 4500.00 | 36000.00 | 4500.00 | 36000.00 | 36000.00 | DEEPAM ENTERPRISES, Leela Constructions
42.00 | Supply of EWC with "P" or "S" trap including bedding valveless syphonic action type 10 litres flushing cistern, low level, white with inlet, ball valve, float and handle including brackets Plastic water closet seat, black, closed pattern with flat bottom, and cover and mild steel chromium plated or aluminised hinging device and etc., | 12.00 | EACH | 6034.21 | 6455.00 | 77460.00 | 6150.00 | 73800.00 | 6000.00 | 72000.00 | 72000.00 | Leela Constructions
43.00 | S & F of PVC connections 15mm size with PTMT nuts of length 600mm | 32.00 | EACH | 230.00 | 195.00 | 6240.00 | 197.00 | 6304.00 | 230.00 | 7360.00 | 6240.00 | Siva Enterprises
44.00 | Health faucet (ABS Body) mild steel chromium plated suitable for 15 mm dia pipe with 1.25 metre long flexible tube and ABS wall hook including making connections and fixed in position complete in all respect as specified & Health faucet fixing in pipe etc complete. | 8.00 | EACH | 507.32 | 425.00 | 3400.00 | 515.00 | 4120.00 | 600.00 | 4800.00 | 3400.00 | Siva Enterprises
45.00 | S& F of 15mm fancy type bib tap of bore dia 15mm-105gms, pipe standard of PTMT any colour High pressure screwed for iron pipe and fixed. | 40.00 | EACH | 251.64 | 245.00 | 9800.00 | 250.00 | 10000.00 | 250.00 | 10000.00 | 9800.00 | Siva Enterprises
46.00 | S & F of Vitreous China wash basin, white, flat back, size 580x450 (flat back or angle back type) any size, including cutting and pinning in ends of brackets or erecting stand and 32mm Waste fittings, brass, chromium plated for glazed ware sinks, basins, etc. with long screwed shanks and fly-nuts, flange end bedded in red lead cement and other end fixed Pillar taps, cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts, screwed for iron pipe and fixed. | 12.00 | EACH | 2757.76 | 2755.00 | 33060.00 | 3100.00 | 37200.00 | 8000.00 | 96000.00 | 33060.00 | Siva Enterprises
47.00 | M & L for PVC (SWR) gully trap 125/110 mm, setting and jointing with solvent cement. | 12.00 | EACH | 304.75 | 300.00 | 3600.00 | 310.00 | 3720.00 | 350.00 | 4200.00 | 3600.00 | Siva Enterprises
48.00 | S & F of PVC (SWR) 75mm outlet dia floor trap, plain with grating including jointing with solvent cement. | 32.00 | EACH | 258.75 | 215.00 | 6880.00 | 260.00 | 8320.00 | 300.00 | 9600.00 | 6880.00 | Siva Enterprises
49.00 | Supply and Fixing of Precast SRFC manhole covers with frame complete all as directed by EIC. | 5.00 | SQM | 4000.00 | 4255.00 | 21275.00 | 3875.00 | 19375.00 | 2800.00 | 14000.00 | 14000.00 | Leela Constructions
50.00 | S & F of Gun-metal (32mm), globe or gate valves, with iron wheel head, screwed both ends for iron pipe and fixed. | 8.00 | EACH | 770.80 | 725.00 | 5800.00 | 825.00 | 6600.00 | 800.00 | 6400.00 | 5800.00 | Siva Enterprises
51.00 | Supply and fixing of Stop valves, cast copper alloy, screwed down, high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed but fancy type, chromium plated with long shank and cup (concealed type) | 64.00 | EACH | 828.16 | 855.00 | 54720.00 | 915.00 | 58560.00 | 850.00 | 54400.00 | 54400.00 | Leela Constructions
52.00 | S & F of Towel Rail 600mm long of PTMT fixed with and including Chromium plated brass screws and wooden/plastic cleats. (Minimum weight 190gms) | 12.00 | EACH | 280.52 | 450.00 | 5400.00 | 640.00 | 7680.00 | 300.00 | 3600.00 | 3600.00 | Leela Constructions
53.00 | S & F of Swivel shower of PTMT any colour for fixing with 15mm pipe. (Minimum weight 40gms) | 12.00 | EACH | 129.93 | 125.00 | 1500.00 | 124.00 | 1488.00 | 150.00 | 1800.00 | 1488.00 | DEEPAM ENTERPRISES
54.00 | S & F of Shower arm 15 mm size, 195mm long with bend of 45degree with flange of PTMT any colour.(Minimum weight 40gms) | 12.00 | EACH | 126.73 | 125.00 | 1500.00 | 120.00 | 1440.00 | 150.00 | 1800.00 | 1440.00 | DEEPAM ENTERPRISES
55.00 | Supply and fixing of soap dish fixed to plugs with chromium plated brass screws size 160x 160x90mm | 12.00 | EACH | 266.60 | 225.00 | 2700.00 | 237.00 | 2844.00 | 300.00 | 3600.00 | 2700.00 | Siva Enterprises
56.00 | Supplying and laying of CPVC pipes 32mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors, in trenches complete all as specified. | 40.00 | RM | 534.29 | 495.00 | 19800.00 | 529.00 | 21160.00 | 535.00 | 21400.00 | 19800.00 | Siva Enterprises
57.00 | Supplying and laying of CPVC pipes 20mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors, in trenches complete all as specified. | 180.00 | RM | 253.81 | 255.00 | 45900.00 | 240.00 | 43200.00 | 260.00 | 46800.00 | 43200.00 | DEEPAM ENTERPRISES
58.00 | Supplying and laying of CPVC pipes 16mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors, in trenches complete all as specified. | 80.00 | RM | 159.97 | 165.00 | 13200.00 | 150.00 | 12000.00 | 170.00 | 13600.00 | 12000.00 | DEEPAM ENTERPRISES
59.00 | S & F of PVC (SWR) 75mm dia pipes single sockets, in any length with rubber ring joints laid in trenches or in floor. | 90.00 | RM | 269.15 | 275.00 | 24750.00 | 255.00 | 22950.00 | 270.00 | 24300.00 | 22950.00 | DEEPAM ENTERPRISES
60.00 | S& F of PVC (SWR) 110mm dia pipes single sockets, in any length with rubber ring joints fixed to wall. | 130.00 | RM | 545.97 | 525.00 | 68250.00 | 523.00 | 67990.00 | 550.00 | 71500.00 | 67990.00 | DEEPAM ENTERPRISES
61.00 | S & F of PVC(SWR) Bend with door 75 mm dia any radius & provided with access door. | 32.00 | EACH | 166.75 | 155.00 | 4960.00 | 170.00 | 5440.00 | 170.00 | 5440.00 | 4960.00 | Siva Enterprises
62.00 | S & F of PVC (SWR) Bend with door 110mm dia any radius & provided with access door. | 20.00 | EACH | 195.50 | 165.00 | 3300.00 | 204.00 | 4080.00 | 195.00 | 3900.00 | 3300.00 | Siva Enterprises
63.00 | Supply and fixing PVC (SWR) vent cowl 110 mm dia. | 16.00 | EACH | 132.25 | 95.00 | 1520.00 | 129.00 | 2064.00 | 135.00 | 2160.00 | 1520.00 | Siva Enterprises
64.00 | Supply and fixing PVC (SWR) vent cowl 75 mm dia. | 12.00 | EACH | 109.25 | 75.00 | 900.00 | 100.00 | 1200.00 | 110.00 | 1320.00 | 900.00 | Siva Enterprises
65.00 | S & F of Rotational moulded polyethylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed 1000 litres in position and all as specified. | 8.00 | EACH | 9425.93 | 9500.00 | 76000.00 | 9325.00 | 74600.00 | 11000.00 | 88000.00 | 74600.00 | DEEPAM ENTERPRISES
66.00 | S & F of 20mm Ball valves high pressure of PTMT with epoxy coated Aluminium rod & high density plastic ball screwed for iron pipe and fixed. (Minimum weight 15mm-142gms/20mm-210gms./ 25mm-455gms/ 40mm- 690 gms) | 8.00 | EACH | 491.12 | 455.00 | 3640.00 | 490.00 | 3920.00 | 500.00 | 4000.00 | 3640.00 | Siva Enterprises
67.00 | Complete removal of wall existing treatment. | 140.38 | SQM | 10.81 | 9.55 | 1340.63 | 10.00 | 1403.80 | 10.00 | 1403.80 | 1340.63 | Siva Enterprises
68.00 | Complete removal of ceiling existing treatment. | 167.00 | SQM | 14.15 | 12.55 | 2095.85 | 18.00 | 3006.00 | 15.00 | 2505.00 | 2095.85 | Siva Enterprises
69.00 | M & L for applying two coats of plastic emulsion paint with one coat primer on internal & exterior wall on old painted surfaces of any description over 10cm girth or width, not otherwise described all complete on old surfaces including preparation of old surface. | 508.00 | SQM | 173.54 | 165.00 | 83820.00 | 175.00 | 88900.00 | 180.00 | 91440.00 | 83820.00 | Siva Enterprises
70.00 | M & L for White washing on ceiling with two coats on old ceiling surfaces. | 175.00 | SQM | 27.26 | 25.00 | 4375.00 | 26.00 | 4550.00 | 30.00 | 5250.00 | 4375.00 | Siva Enterprises
71.00 | Removal of existing roof treatment of any type including the weathering course of any depth provided in any type of concrete by demolition till the mother concrete old R.C.C roof top is visible and removal of the top coating/bitumen/lime concrete track from the roof so that the old concrete top surfaces is fully clam/fresh to receive any further new treatment. This rate including complete work as specified above including removal of the debris from the roof top and cleaning the area neat and clean, removal of the debris to a location specified (Not less than 1km from the site) and filling the low laying area including spreading of heaps to have uniform surface which will not affect the flow of water to nearby low being area/catchment area. | 200.00 | SQM | 210.00 | 215.00 | 43000.00 | 229.00 | 45800.00 | 210.00 | 42000.00 | 42000.00 | Leela Constructions
72.00 | Supply and application of seamless Polyurethane (PU) based elastomeric coating exposable to atmosphere. The work consisting a) Supply & Application of PU based primer minimum of 100 gms per SQM b) Supply and Application of seamless PU based elastomeric coating over a primer coat to achieve a thickness of 1.50mm DFT in two coats, with an application rate of minimum 2.1kg/sq.m, Having minimum solid content (ASTM 836) of more than 85% and elongation also more than 400% c) Supply & application of protective UV top coat @ 0.25kg/sq.m (The contrator shall use material from the reputed manufacturers such as "Master Builders Solutions" "MYK Arment", "DR fixit", Alchimice, bostik and Tecnopol or suitably equivalent make. Only as approved by EIC). | 200.00 | SQM | 1100.00 | 1155.00 | 231000.00 | 1073.00 | 214600.00 | 1100.00 | 220000.00 | 214600.00 | DEEPAM ENTERPRISES
73.00 | Returning, filling in Hard/dense soil, including spreading, levelling, watering and well ramming in layers not exc 25 cm. | 22.00 | CUM | 159.97 | 155.00 | 3410.00 | 142.00 | 3124.00 | 160.00 | 3520.00 | 3124.00 | DEEPAM ENTERPRISES
74.00 | Removal of excavated Soil to a lead exceeding 250 m but not exceeding 500 m and depositing. | 15.00 | CUM | 669.99 | 655.00 | 9825.00 | 645.00 | 9675.00 | 700.00 | 10500.00 | 9675.00 | DEEPAM ENTERPRISES
75.00 | Removing excavated (rocks) material exceeding 1.50 km but not exceeding 5 km and depositing where directed. | 45.00 | CUM | 990.73 | 955.00 | 42975.00 | 970.00 | 43650.00 | 1000.00 | 45000.00 | 42975.00 | Siva Enterprises
76.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. a)one light point or one fan point controlled by one switch with cables1.5 sqmm size. | 48.00 | Point | 1191.30 | 1155.00 | 55440.00 | 1210.00 | 58080.00 | 1100.00 | 52800.00 | 52800.00 | Leela Constructions
77.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit. a) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 120.00 | RM | 222.25 | 195.00 | 23400.00 | 245.00 | 29400.00 | 225.00 | 27000.00 | 23400.00 | Siva Enterprises
78.00 | Material & Labour for connecting to the system 1 module modular type switches 6A single pole one way (Make:,LEGRAND /ANCHOR/ Litaski/ Crabtree or Suitably equivalent make) | 48.00 | Each | 312.60 | 275.00 | 13200.00 | 307.00 | 14736.00 | 80.00 | 3840.00 | 3840.00 | Leela Constructions
79.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete (Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker or suitably equivalent make). | 12.00 | Each | 5123.03 | 3955.00 | 47460.00 | 5150.00 | 61800.00 | 5200.00 | 62400.00 | 47460.00 | Siva Enterprises
80.00 | Supply and fixing LED light fitting mirror type with high out put diffuser 2 feet, 10 watt 220 V AC decorative type with driver holder and LED lamp including connecting up with three core flexible copper conductor cable of suitable size complete.(Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker or suitably equivalent make). | 12.00 | Each | 1625.77 | 1355.00 | 16260.00 | 1600.00 | 19200.00 | 1600.00 | 19200.00 | 16260.00 | Siva Enterprises
81.00 | Supply and fixing of LED ceiling/Recessed mounting fitting complete with suitable LED lamp and acessories 24 to 30 watts and minimum system output 1800 lumens.(Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker or suitably equivalent make). | 24.00 | Each | 3000.00 | 2955.00 | 70920.00 | 2950.00 | 70800.00 | 2000.00 | 48000.00 | 48000.00 | Leela Constructions
82.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 300mm sweep with, blades, and frame and louvers. | 8.00 | Each | 4258.31 | 3255.00 | 26040.00 | 4250.00 | 34000.00 | 4000.00 | 32000.00 | 26040.00 | Siva Enterprises
83.00 | Supply & fixing of 8 module modular white cover plate with frame. | 8.00 | Each | 457.68 | 375.00 | 3000.00 | 450.00 | 3600.00 | 200.00 | 1600.00 | 1600.00 | Leela Constructions
84.00 | Supply & fixing of metal flush box for 8 module plate | 8.00 | Each | 152.00 | 155.00 | 1240.00 | 158.00 | 1264.00 | 150.00 | 1200.00 | 1200.00 | Leela Constructions
85.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycarbonate, isolated body. | 16.00 | Each | 78.84 | 65.00 | 1040.00 | 80.00 | 1280.00 | 80.00 | 1280.00 | 1040.00 | Siva Enterprises
86.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's 240 V when MCB'S to be used single pole & neutral 8 way with 200 amps rated busbar, (Make: Legrand/Havells/ Hager/ABB or Suitably equivalent make). | 4.00 | Each | 2295.24 | 1955.00 | 7820.00 | 3550.00 | 14200.00 | 4000.00 | 16000.00 | 7820.00 | Siva Enterprises
87.00 | Supply and fixing of SP 6 to 32 amp rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning. (Make: ABB/Legrand/ Havells/Hager or Suitably equivalent make). | 8.00 | Each | 352.80 | 305.00 | 2440.00 | 340.00 | 2720.00 | 300.00 | 2400.00 | 2400.00 | Leela Constructions
88.00 | Supply and fixing 415V 10KA 'C' curve miniature circuit breaker (MCB) of TPN 16 to 32 AMP current carrying capacity in the MCB DB complete with connection testing and commissioning. | 4.00 | Each | 2065.25 | 1755.00 | 7020.00 | 2200.00 | 8800.00 | 1000.00 | 4000.00 | 4000.00 | Leela Constructions
89.00 | Material and labour for Earth continuity conductor or main earthing lead fixed to wall on batten or recess or chases or buried in ground or drawn in conduit/pipe or fixed to poles or any other indicated situation for loop earthing etc. as required 6mm dia galvanised iron or steel wire. | 80.00 | RM | 103.32 | 85.00 | 6800.00 | 105.00 | 8400.00 | 80.00 | 6400.00 | 6400.00 | Leela Constructions
90.00 | Supply, laying or fixing with suitable clamps or passing through pipe , 1100 volts grade heavy duty cable with PVC insulated aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed Stranded conductor, 4 core, 16 sqmm nominal cross section in service connections. | 92.00 | RM | 258.00 | 225.00 | 20700.00 | 260.00 | 23920.00 | 220.00 | 20240.00 | 20240.00 | Leela Constructions
91.00 | Taking down copper/ Aluminium point wiring (light, fan, socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendants, regulators, sockets, light fitting etc. removing materials to store for keeping in safe custody for taking credit and making good disturbed surfaces of wall, floors, etc. | 40.00 | Point | 182.40 | 145.00 | 5800.00 | 190.00 | 7600.00 | 80.00 | 3200.00 | 3200.00 | Leela Constructions
92.00 | Material and labour for Brick walls cutting chases,pinning in, making good to facing where required and pointing in cement mortar 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm girth. | 80.00 | RM | 62.52 | 55.00 | 4400.00 | 65.00 | 5200.00 | 90.00 | 7200.00 | 4400.00 | Siva Enterprises
| Total in Figures |  |  |  |  | 4877289.48 |  | 4904977.80 |  | 4973858.80
Lowest Amount Quoted BY: Siva Enterprises(4877289.48)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIRS TO THE EXISTING DAMAGED REST ROOMS AND TOILETS BLOCK IN RG SHOP-I AT HVF, AVADI Tender ID: 2026_AVNL_286587_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Siva Enterprises (BID ID -1059175) | 4877289.48 | L1
| 2 | DEEPAM ENTERPRISES (BID ID -1059172) | 4904977.80 | L2
| 3 | Leela Constructions (BID ID -1059223) | 4973858.80 | L3