## BoQ1
eProcurement System Government of India Created By: Gaurav Savla Created Date/Time: 16-Oct-2026 01:34 PM Tender Title: SITC of LT panel for EV station Tender ID: 2026_BARC_924774_1
Tender Inviting Authority: Project Engineer(EWS) & Head, Electrical Works Section, Technical Services Division
Name of Work: Supply, installation, testing and commissioning of LT panel and associated works to provide power supply for EV bus charging station at BARC, Trombay, Mumbai 400085.
Contract No: BARC/TSD/ET/25/2026-2027
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ELITE ELECTRICALS AND GROUP OF ENGINEERING SERVICES (GSTN-NA) BID ID -3482136 |  | SG MARINE ELECTRICALS (GSTN-NA) BID ID -3480848 |  | MEGHA ELECTRICAL ENGINEERING (GSTN-NA) BID ID -3482618 |  | TRINITY ENGINEERS (GSTN-NA) BID ID -3478831 |  | VEENY INTERNATIONAL (GSTN-NA) BID ID -3481201 |  | PMW INFRATECH PRIVATE LIMITED (GSTN-NA) BID ID -3481876
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | LT Panel - Design, manufacture, supply, installation, testing and commissioning of LT PCC panel as per TSS01 of tender specifications. | 1.00 | Nos |  | 627273.00 | 627273.00 | 760000.00 | 760000.00 | 825000.00 | 825000.00 | 534444.00 | 534444.00 | 760000.00 | 760000.00 | 374390.00 | 374390.00 | 374390.00 | PMW INFRATECH PRIVATE LIMITED
2.00 | LT power cable - Supply, installation, testing and commissioning of following 1.1 KV,Copper conductor, XLPE insulated, PVC sheathed FRLS cables as per TSS02 of tender specifications.
2.10 | Underground laying of 4C x 185 sq. mm Copper conductor cable | 25.00 | M |  | 15286.00 | 382150.00 | 14500.00 | 362500.00 | 15000.00 | 375000.00 | 14707.00 | 367675.00 | 14000.00 | 350000.00 | 14690.00 | 367250.00 | 350000.00 | VEENY INTERNATIONAL
2.20 | Underground laying of 4C x 50 sq. mm Copper conductor cable | 25.00 | M |  | 4131.00 | 103275.00 | 3500.00 | 87500.00 | 4450.00 | 111250.00 | 4429.00 | 110725.00 | 4000.00 | 100000.00 | 4360.00 | 109000.00 | 87500.00 | SG MARINE ELECTRICALS
3.00 | End termination of cables - End termination of following copper/Al conductor, XLPE insulated, PVC sheathed cables with copper lugs, single compression type brass glands, earthing etc as per TSS03 tender specifications.
3.10 | 3.5C x 300 sq. mm Al conductor cable | 2.00 | Each |  | 2100.00 | 4200.00 | 4500.00 | 9000.00 | 6000.00 | 12000.00 | 11170.00 | 22340.00 | 7500.00 | 15000.00 | 2950.00 | 5900.00 | 4200.00 | ELITE ELECTRICALS AND GROUP OF ENGINEERING SERVICES
3.20 | 4C x 185 sq. mm Copper conductor cable | 2.00 | Each |  | 1900.00 | 3800.00 | 3500.00 | 7000.00 | 5000.00 | 10000.00 | 13297.00 | 26594.00 | 5000.00 | 10000.00 | 2070.00 | 4140.00 | 3800.00 | ELITE ELECTRICALS AND GROUP OF ENGINEERING SERVICES
3.30 | 4C x 50 sq. mm Copper conductor cable | 2.00 | Each |  | 1700.00 | 3400.00 | 1200.00 | 2400.00 | 1200.00 | 2400.00 | 7978.00 | 15956.00 | 1500.00 | 3000.00 | 1640.00 | 3280.00 | 2400.00 | SG MARINE ELECTRICALS, MEGHA ELECTRICAL ENGINEERING
4.00 | Earthing stations - Supply, installation, testing and commissioning of earthing station consisting of 600 x 600 x 3.15 mm thick tinned copper earth plate, GI pipe, funnel, masonary chamber etc as per tender TSS04 of tender specifications. | 4.00 | Nos |  | 51575.00 | 206300.00 | 45000.00 | 180000.00 | 48000.00 | 192000.00 | 32700.00 | 130800.00 | 50000.00 | 200000.00 | 30900.00 | 123600.00 | 123600.00 | PMW INFRATECH PRIVATE LIMITED
5.00 | Earthing Conductor - Supply and installation of bare copper earth strip/wire of 32 x 6 mm to be installed in trenches, under ground, wall, RCC, slab, above false ceiling, trenches etc. as per TSS05 of tender specifications. | 75.00 | M |  | 4375.00 | 328125.00 | 2100.00 | 157500.00 | 3000.00 | 225000.00 | 3452.00 | 258900.00 | 3100.00 | 232500.00 | 3510.00 | 263250.00 | 157500.00 | SG MARINE ELECTRICALS
6.00 | Removal of cables - Removal of 3.5C x 300 sq.mm cable from underground cable trenche as per TSS06 of tender specifications. | 200.00 | M |  | 250.00 | 50000.00 | 120.00 | 24000.00 | 1000.00 | 200000.00 | 213.00 | 42600.00 | 200.00 | 40000.00 | 135.00 | 27000.00 | 24000.00 | SG MARINE ELECTRICALS
7.00 | Installation, testing and commissioning of cables - Installation, testing and commissioning of 3.5C x 300 sq.mm.cables in underground trenche as per TSS07 of tender specifications. | 200.00 | M |  | 600.00 | 120000.00 | 350.00 | 70000.00 | 200.00 | 40000.00 | 665.00 | 133000.00 | 1200.00 | 240000.00 | 410.00 | 82000.00 | 40000.00 | MEGHA ELECTRICAL ENGINEERING
8.00 | M S item - Supply & installation of MS items fabricated out of MS angles/channels as per TSS08 of tender specification. | 100.00 | Kg |  | 320.00 | 32000.00 | 180.00 | 18000.00 | 200.00 | 20000.00 | 399.00 | 39900.00 | 300.00 | 30000.00 | 385.00 | 38500.00 | 18000.00 | SG MARINE ELECTRICALS
9.00 | TRS Wire/Flexible cable: SITC of Wiring with PVC FRLS of 4C x 2.5 sq.mm Flexible cable wire as per TSS 09 of tender specifications. | 100.00 | M |  | 394.00 | 39400.00 | 210.00 | 21000.00 | 225.00 | 22500.00 | 362.00 | 36200.00 | 750.00 | 75000.00 | 225.00 | 22500.00 | 21000.00 | SG MARINE ELECTRICALS
10.00 | Lighting Fixtures :Supply, installation, testing and commissioning of Lighting Fixtures as per TSS10 of tender specifications | 4.00 | Nos. |  | 2086.00 | 8344.00 | 1200.00 | 4800.00 | 2500.00 | 10000.00 | 1596.00 | 6384.00 | 3000.00 | 12000.00 | 1870.00 | 7480.00 | 4800.00 | SG MARINE ELECTRICALS
11.00 | RCC Hume pipe - Supply and installation of 150 mm dia. size RCC Hume Pipe to be laid in ground as per TSS11 of tender specifications. | 20.00 | M |  | 1333.00 | 26660.00 | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 851.00 | 17020.00 | 1200.00 | 24000.00 | 900.00 | 18000.00 | 17020.00 | TRINITY ENGINEERS
12.00 | Excavation/cutting of PCC as per TSS12 of tender specifications. | 150.00 | Cu.M |  | 1150.00 | 172500.00 | 1020.00 | 153000.00 | 1600.00 | 240000.00 | 266.00 | 39900.00 | 2000.00 | 300000.00 | 1000.00 | 150000.00 | 39900.00 | TRINITY ENGINEERS
13.00 | Plain Cement Concrete (PCC) - Casting of plain cement concrete (PCC 1:2:4) with supply of cement, metal, sand etc as reqd at site and as directed by EIC as per TSS15 of tender specifications. Necessary frame and shuttering required is to be arranged by the contractor as per TSS13 of tender specifications.. | 7.00 | Cu.M |  | 10512.00 | 73584.00 | 10200.00 | 71400.00 | 8000.00 | 56000.00 | 21276.00 | 148932.00 | 6000.00 | 42000.00 | 7800.00 | 54600.00 | 42000.00 | VEENY INTERNATIONAL
14.00 | 6 way PPI TPN DB: Supply, installation, testing and commissioning of 6 way PPI TPN DB | 1.00 | Nos. |  | 28024.00 | 28024.00 | 36500.00 | 36500.00 | 50000.00 | 50000.00 | 25074.00 | 25074.00 | 40000.00 | 40000.00 | 32700.00 | 32700.00 | 25074.00 | TRINITY ENGINEERS
| Total in Figures |  |  |  |  | 2209035.00 |  | 1988600.00 |  | 2415150.00 |  | 1956444.00 |  | 2473500.00 |  | 1683590.00
Lowest Amount Quoted BY: PMW INFRATECH PRIVATE LIMITED(1683590.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of LT panel for EV station Tender ID: 2026_BARC_924774_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PMW INFRATECH PRIVATE LIMITED (BID ID -3481876) | 1683590.00 | L1
| 2 | TRINITY ENGINEERS (BID ID -3478831) | 1956444.00 | L2
| 3 | SG MARINE ELECTRICALS (BID ID -3480848) | 1988600.00 | L3
| 4 | ELITE ELECTRICALS AND GROUP OF ENGINEERING SERVICES (BID ID -3482136) | 2209035.00 | L4
| 5 | MEGHA ELECTRICAL ENGINEERING (BID ID -3482618) | 2415150.00 | L5
| 6 | VEENY INTERNATIONAL (BID ID -3481201) | 2473500.00 | L6