## BoQ1
Government eProcurement System Created By: Ravinder Sheokand Created Date/Time: 07-Feb-2026 02:10 PM Tender Title: Repair and Renovation of D-II/95 for conference hall and waiting Room at BBMB Kaka Nagar, New Delhi Tender ID: 2026_BBMB_262270_1
Tender Inviting Authority: Dy. Secretary Co-ordination, Kaka Nagar New Delhi
Name of Work: Repair and Renovation of D-II/95 for conference hall and waiting Room at BBMB Kaka Nagar, New Delhi
Contract No: 02/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | THE SALAIMPUR CO-OP L/C SOCIETY LIMITED (GSTN-03AAAJS0265K1Z7) BID ID -962581 |  | The Khan Coop. L&C Society Ltd. (GSTN-NA) BID ID -963769 |  | UCCOTECH (GSTN-NA) BID ID -963056 |  | M/s Liak Ahmed (GSTN-NA) BID ID -962448
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Repair and Renovation of D-II/95 for conference hall and waiting Room at BBMB Kaka Nagar, New Delhi
1.01 | Providing and fixing 15 mm thick false ceiling tiles at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991,in true horizontal level on the existing frame work consisting of T-sections and Lsections suitably fixed according to tile size as per direction of Engineer-in-charge. 26.25 of DSR 2023 | 28.61 | sqm | 26.25 of DSR 2023 | 56676.41 | 56676.41 | 40768.11 | 40768.11 | 41484.50 | 41484.50 | 50832.82 | 50832.82 | 40768.11 | The Khan Coop. L&C Society Ltd. | 40768.11 | The Khan Coop. L&C Society Ltd.
1.02 | Providing & Fixing of 36W LED Ceiing Light 600X600 mm complete in all respect as per direction of Engineer in charge NS item | 10.00 | Nos | NS item 1 | 34000.00 | 34000.00 | 17592.00 | 17592.00 | 27000.00 | 27000.00 | 21935.00 | 21935.00 | 17592.00 | The Khan Coop. L&C Society Ltd. | 17592.00 | The Khan Coop. L&C Society Ltd.
1.03 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. Group B 1.15.2 of DSR 2022 (E&M) | 25.00 | Nos | 1.15.2 of DSR 2022 (E&M) | 20000.00 | 20000.00 | 12740.00 | 12740.00 | 35000.00 | 35000.00 | 15885.25 | 15885.25 | 12740.00 | The Khan Coop. L&C Society Ltd. | 12740.00 | The Khan Coop. L&C Society Ltd.
1.04 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch 1.24.1 of DSR 2022 (E&M) | 49.00 | Nos | 1.24.1 of DSR 2022 (E&M) | 5880.00 | 5880.00 | 4037.60 | 4037.60 | 63700.00 | 63700.00 | 5034.26 | 5034.26 | 4037.60 | The Khan Coop. L&C Society Ltd. | 4037.60 | The Khan Coop. L&C Society Ltd.
1.05 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 A socket outlet 1.24.4 of DSR 2022 (E&M) | 20.00 | Nos | 1.24.4 of DSR 2022 (E&M) | 2600.00 | 2600.00 | 1952.00 | 1952.00 | 25000.00 | 25000.00 | 2434.00 | 2434.00 | 1952.00 | The Khan Coop. L&C Society Ltd. | 1952.00 | The Khan Coop. L&C Society Ltd.
1.06 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Bell push 1.24.8 of DSR 2022 (E&M) | 4.00 | Nos | 1.24.8 of DSR 2022 (E&M) | 760.00 | 760.00 | 448.00 | 448.00 | 6000.00 | 6000.00 | 558.60 | 558.60 | 448.00 | The Khan Coop. L&C Society Ltd. | 448.00 | The Khan Coop. L&C Society Ltd.
1.07 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A Switch 1.24.3 of DSR 2022 (E&M) | 4.00 | Nos | 1.24.3 of DSR 2022 (E&M) | 680.00 | 680.00 | 499.20 | 499.20 | 6400.00 | 6400.00 | 622.44 | 622.44 | 499.20 | The Khan Coop. L&C Society Ltd. | 499.20 | The Khan Coop. L&C Society Ltd.
1.08 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.6 pin 15/16 A socket outlet 1.24.5 of DSR 2022 (E&M) | 4.00 | Nos | 1.24.5 of DSR 2022 (E&M) | 840.00 | 840.00 | 630.40 | 630.40 | 5000.00 | 5000.00 | 786.04 | 786.04 | 630.40 | The Khan Coop. L&C Society Ltd. | 630.40 | The Khan Coop. L&C Society Ltd.
1.09 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 3 Module (100mmX75mm) 1.27.2 of DSR 2022 (E&M) | 10.00 | Nos | 1.27.2 of DSR 2022 (E&M) | 3500.00 | 3500.00 | 2616.00 | 2616.00 | 9000.00 | 9000.00 | 3261.80 | 3261.80 | 2616.00 | The Khan Coop. L&C Society Ltd. | 2616.00 | The Khan Coop. L&C Society Ltd.
1.10 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 8 Module (125mmX125mm) 1.27.5 of DSR 2022 (E&M) | 4.00 | Nos | 1.27.5 of DSR 2022 (E&M) | 1480.00 | 1480.00 | 1452.80 | 1452.80 | 4800.00 | 4800.00 | 1811.48 | 1811.48 | 1452.80 | The Khan Coop. L&C Society Ltd. | 1452.80 | The Khan Coop. L&C Society Ltd.
1.11 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 4 Module (125mmX75mm) 1.27.3 of DSR 2022 (E&M) | 9.00 | Nos | 1.27.3 of DSR 2022 (E&M) | 4230.00 | 4230.00 | 2469.60 | 2469.60 | 6300.00 | 6300.00 | 3079.26 | 3079.26 | 2469.60 | The Khan Coop. L&C Society Ltd. | 2469.60 | The Khan Coop. L&C Society Ltd.
1.12 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. 3 Module 1.28.2 of DSR 2022 (E&M) | 10.00 | Nos | 1.28.2 of DSR 2022 (E&M) | 1700.00 | 1700.00 | 1208.00 | 1208.00 | 17000.00 | 17000.00 | 1506.20 | 1506.20 | 1208.00 | The Khan Coop. L&C Society Ltd. | 1208.00 | The Khan Coop. L&C Society Ltd.
1.13 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. 4 Module 1.28.3 of DSR 2022 (E&M) | 9.00 | Nos | 1.28.3 of DSR 2022 (E&M) | 1485.00 | 1485.00 | 1137.60 | 1137.60 | 10800.00 | 10800.00 | 1418.49 | 1418.49 | 1137.60 | The Khan Coop. L&C Society Ltd. | 1137.60 | The Khan Coop. L&C Society Ltd.
1.14 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. 8 Module 1.28.4 of DSR 2022 (E&M) | 4.00 | Nos | 1.28.4 of DSR 2022 (E&M) | 840.00 | 840.00 | 675.20 | 675.20 | 3200.00 | 3200.00 | 841.88 | 841.88 | 675.20 | The Khan Coop. L&C Society Ltd. | 675.20 | The Khan Coop. L&C Society Ltd.
1.15 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole 2.10.3 of DSR 2022 (E&M) | 12.00 | Nos | 2.10.3 of DSR 2022 (E&M) | 8280.00 | 8280.00 | 6297.60 | 6297.60 | 20400.00 | 20400.00 | 7852.32 | 7852.32 | 6297.60 | The Khan Coop. L&C Society Ltd. | 6297.60 | The Khan Coop. L&C Society Ltd.
1.16 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole 2.10.1 of DSR 2022 (E&M) | 4.00 | Nos | 2.10.1 of DSR 2022 (E&M) | 1040.00 | 1040.00 | 819.20 | 819.20 | 7200.00 | 7200.00 | 1021.44 | 1021.44 | 819.20 | The Khan Coop. L&C Society Ltd. | 819.20 | The Khan Coop. L&C Society Ltd.
1.17 | Supplying and fixing following rating, double pole, 240 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A 2.12.2 of DSR 2022 (E&M) | 2.00 | Nos | 2.12.2 of DSR 2022 (E&M) | 1060.00 | 1060.00 | 843.20 | 843.20 | 8000.00 | 8000.00 | 1051.36 | 1051.36 | 843.20 | The Khan Coop. L&C Society Ltd. | 843.20 | The Khan Coop. L&C Society Ltd.
1.18 | Removing of doors/window shutter from existing door/ window frame NS item | 15.00 | Nos | NS2 | 1800.00 | 1800.00 | 12.00 | 12.00 | 7500.00 | 7500.00 | 15.00 | 15.00 | 12.00 | The Khan Coop. L&C Society Ltd. | 12.00 | The Khan Coop. L&C Society Ltd.
1.19 | Providing and fixing wire gauge shutters using galvanized M.S. wire gauge of average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm, for doors, windows and clerestory windows with hinges and necessary screws : 30 mm thick shutters with ISI marked M.S. pressed butt hinges bright finished of required size Second class teak wood 9.27.2.1.1 of DSR 2023 | 1.42 | sqm | 9.27.2.1.1 of DSR 2023 | 7810.00 | 7810.00 | 4914.34 | 4914.34 | 2556.00 | 2556.00 | 6127.57 | 6127.57 | 2556.00 | UCCOTECH | 2556.00 | UCCOTECH
1.20 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Float glass panes 5.0 mm thick glass panes (weight not less than 12.50 kg/sqm). 9.7.7.2 of DSR 2023 | 5.91 | sqm | 9.7.7.2 of DSR 2023 | 17730.00 | 17730.00 | 12294.93 | 12294.93 | 20685.00 | 20685.00 | 15330.24 | 15330.24 | 12294.93 | The Khan Coop. L&C Society Ltd. | 12294.93 | The Khan Coop. L&C Society Ltd.
1.21 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete 9.83 of DSR 2023. | 6.00 | Nos | 9.83 of DSR 2023. | 7500.00 | 7500.00 | 5399.28 | 5399.28 | 18000.00 | 18000.00 | 6732.24 | 6732.24 | 5399.28 | The Khan Coop. L&C Society Ltd. | 5399.28 | The Khan Coop. L&C Society Ltd.
1.22 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete 9.82 of DSR 2023 | 10.00 | Nos | 9.82 of DSR 2023 | 1350.00 | 1350.00 | 973.20 | 973.20 | 3000.00 | 3000.00 | 1213.50 | 1213.50 | 973.20 | The Khan Coop. L&C Society Ltd. | 973.20 | The Khan Coop. L&C Society Ltd.
1.23 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. 9.88 of DSR 2023 | 2.00 | Nos | 9.88 of DSR 2023 | 2300.00 | 2300.00 | 1581.36 | 1581.36 | 6000.00 | 6000.00 | 1971.76 | 1971.76 | 1581.36 | The Khan Coop. L&C Society Ltd. | 1581.36 | The Khan Coop. L&C Society Ltd.
1.24 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: 125 mm 9.92.1 of DSR 2023 | 10.00 | Nos | 9.92.1 of DSR 2023 | 2500.00 | 2500.00 | 1848.40 | 1848.40 | 3000.00 | 3000.00 | 2304.70 | 2304.70 | 1848.40 | The Khan Coop. L&C Society Ltd. | 1848.40 | The Khan Coop. L&C Society Ltd.
1.25 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: 100 mm 9.92.2 of DSR 2023 | 10.00 | Nos | 9.92.2 of DSR 2023 | 2100.00 | 2100.00 | 1650.00 | 1650.00 | 6000.00 | 6000.00 | 2057.30 | 2057.30 | 1650.00 | The Khan Coop. L&C Society Ltd. | 1650.00 | The Khan Coop. L&C Society Ltd.
1.26 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm 9.74.1 of DSR 2023 | 6.00 | Nos | 9.74.1 of DSR 2023 | 2760.00 | 2760.00 | 2119.68 | 2119.68 | 3000.00 | 3000.00 | 2643.00 | 2643.00 | 2119.68 | The Khan Coop. L&C Society Ltd. | 2119.68 | The Khan Coop. L&C Society Ltd.
1.27 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 150x10 mm 9.74.3 of DSR 2023 | 6.00 | Nos | 9.74.3 of DSR 2023 | 1860.00 | 1860.00 | 1378.80 | 1378.80 | 1800.00 | 1800.00 | 1719.18 | 1719.18 | 1378.80 | The Khan Coop. L&C Society Ltd. | 1378.80 | The Khan Coop. L&C Society Ltd.
1.28 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S.pressed butt hinges bright finished of required size with necessary screws. Second class teak wood 30 mm thick 9.9.1.2 of DSR 2023 | 1.42 | sqm | 9.9.1.2 of DSR 2023 | 7242.00 | 7242.00 | 5138.58 | 5138.58 | 1704.00 | 1704.00 | 6407.17 | 6407.17 | 1704.00 | UCCOTECH | 1704.00 | UCCOTECH
1.29 | Extra for providing heavy sheet float glass panes instead of ordinary float glass in glazed doors, windows and clerestory window shutters. (Area of opening for glass panes excluding portion inside rebate shall be measured) 5.0 mm thick instead of 4 mm thick 9.11 of DSR 2023 | .98 | sqm | 9.11 of DSR 2023 | 303.80 | 303.80 | 231.99 | 231.99 | 5880.00 | 5880.00 | 289.26 | 289.26 | 231.99 | The Khan Coop. L&C Society Ltd. | 231.99 | The Khan Coop. L&C Society Ltd.
1.30 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture with matching wood beading 9.7.8 of DSR 2023 | 7.26 | sqm | 9.7.8 of DSR 2023 | 15972.00 | 15972.00 | 10457.01 | 10457.01 | 13068.00 | 13068.00 | 13038.60 | 13038.60 | 10457.01 | The Khan Coop. L&C Society Ltd. | 10457.01 | The Khan Coop. L&C Society Ltd.
1.31 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. 14.1.1 of DSR 2023 | 10.42 | sqm | 14.1.1 of DSR 2023 | 6460.40 | 6460.40 | 4563.13 | 4563.13 | 5835.20 | 5835.20 | 5689.63 | 5689.63 | 4563.13 | The Khan Coop. L&C Society Ltd. | 4563.13 | The Khan Coop. L&C Society Ltd.
1.32 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. 13.91 of DSR 2023 | 146.36 | sqm | 13.91 of DSR 2023 | 4390.80 | 4390.80 | 2944.76 | 2944.76 | 2927.20 | 2927.20 | 3672.17 | 3672.17 | 2927.20 | UCCOTECH | 2927.20 | UCCOTECH
1.33 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. 13.80 of DSR 2023 | 146.36 | sqm | 13.80 of DSR 2023 | 27808.40 | 27808.40 | 18271.58 | 18271.58 | 13172.40 | 13172.40 | 22782.40 | 22782.40 | 13172.40 | UCCOTECH | 13172.40 | UCCOTECH
1.34 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre 13.85.3 of DSR 2023 | 146.36 | sqm | 13.85.3 of DSR 2023 | 10977.00 | 10977.00 | 8658.66 | 8658.66 | 19026.80 | 19026.80 | 10796.98 | 10796.98 | 8658.66 | The Khan Coop. L&C Society Ltd. | 8658.66 | The Khan Coop. L&C Society Ltd.
1.35 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats 13.83.2 of DSR 2023 | 292.73 | sqm | 13.83.2 of DSR 2023 | 42445.85 | 42445.85 | 33441.48 | 33441.48 | 52691.40 | 52691.40 | 41696.46 | 41696.46 | 33441.48 | The Khan Coop. L&C Society Ltd. | 33441.48 | The Khan Coop. L&C Society Ltd.
1.36 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture 13.62.1 of DSR 2023 | 87.69 | sqm | 13.62.1 of DSR 2023 | 20168.70 | 20168.70 | 15871.89 | 15871.89 | 14030.40 | 14030.40 | 19789.88 | 19789.88 | 14030.40 | UCCOTECH | 14030.40 | UCCOTECH
1.37 | Providing and fixing Bamboo jaffery/ fencing consisting of superior quality 25mm dia (Average) half cut bamboo placed vertically and fixed together with three numbers horizontal running members of hollock wood in scantling of section 50X25 mm, fixed with nails and G.I wire on existing support complete as per direction of Engineer-in-charge. 9.110 of DSR 2023 | 7.25 | sqm | 9.110 of DSR 2023 | 5292.50 | 5292.50 | 3998.52 | 3998.52 | 8700.00 | 8700.00 | 4985.68 | 4985.68 | 3998.52 | The Khan Coop. L&C Society Ltd. | 3998.52 | The Khan Coop. L&C Society Ltd.
1.38 | Earth work in rough excavation, banking excavated earth in layers not exceeding 20cm in depth, breaking clods, watering, rolling each layer with ½ tonne roller or wooden or steel rammers, and rolling every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing up in embankments for roads, flood banks, marginal banks and guide banks or filling up ground depressions, lead upto 50 m and lift upto 1.5 m : All kinds of soil 2.2.1 of DSR 2023 | .81 | cum | 2.2.1 of DSR 2023 | 324.00 | 324.00 | 256.15 | 256.15 | 729.00 | 729.00 | 319.39 | 319.39 | 256.15 | The Khan Coop. L&C Society Ltd. | 256.15 | The Khan Coop. L&C Society Ltd.
1.39 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) 1:1½:3 (1 Cement: 1½ coarse sand(zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). 4.1.10 of DSR 2023 | 1.76 | cum | 4.1.10 of DSR 2023 | 12320.00 | 12320.00 | 9178.19 | 9178.19 | 14080.00 | 14080.00 | 11444.05 | 11444.05 | 9178.19 | The Khan Coop. L&C Society Ltd. | 9178.19 | The Khan Coop. L&C Society Ltd.
1.40 | Providing and fixing at or near ground level precast cement concrete in kerbs, edgings etc. as per approved pattern and setting in position with cement mortar 1:3 (1 Cement : 3 coarse sand), including the cost of required centering, shuttering complete. 4.6.1 of DSR 2023 | .44 | cum | 4.6.1 of DSR 2023 | 4400.00 | 4400.00 | 3071.85 | 3071.85 | 3520.00 | 3520.00 | 3830.21 | 3830.21 | 3071.85 | The Khan Coop. L&C Society Ltd. | 3071.85 | The Khan Coop. L&C Society Ltd.
1.41 | Providing and laying matt finished vitrified tile of size 300x300x9.8mm having with water absorption less than 0.5% and conforming to IS:15622 of approved make in all colours and shades in for outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge 16.89 of DSR 2023 | 20.31 | sqm | 16.89 of DSR 2023 | 30465.00 | 30465.00 | 23651.40 | 23651.40 | 32496.00 | 32496.00 | 29490.32 | 29490.32 | 23651.40 | The Khan Coop. L&C Society Ltd. | 23651.40 | The Khan Coop. L&C Society Ltd.
1.42 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) 6.4.1 of DSR 2023 | .10 | cum | 6.4.1 of DSR 2023 | 1000.00 | 1000.00 | 747.55 | 747.55 | 900.00 | 900.00 | 932.10 | 932.10 | 747.55 | The Khan Coop. L&C Society Ltd. | 747.55 | The Khan Coop. L&C Society Ltd.
1.43 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete.10.1 of DSR 2023 | 37.65 | kg | 10.1 of DSR 2023 | 4706.25 | 4706.25 | 3534.58 | 3534.58 | 5271.00 | 5271.00 | 4407.31 | 4407.31 | 3534.58 | The Khan Coop. L&C Society Ltd. | 3534.58 | The Khan Coop. L&C Society Ltd.
1.44 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete.10.2 of DSR 2023 | 270.96 | Kg | 10.2 of DSR 2023 | 37934.40 | 37934.40 | 28981.88 | 28981.88 | 37934.40 | 37934.40 | 36137.94 | 36137.94 | 28981.88 | The Khan Coop. L&C Society Ltd. | 28981.88 | The Khan Coop. L&C Society Ltd.
1.45 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more 5.22.6 of DSR 2023 | 10.06 | Kg | 5.22.6 of DSR 2023 | 1156.90 | 1156.90 | 867.98 | 867.98 | 1207.20 | 1207.20 | 1082.25 | 1082.25 | 867.98 | The Khan Coop. L&C Society Ltd. | 867.98 | The Khan Coop. L&C Society Ltd.
1.46 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) 4.1.3 of DSR 2023 | .14 | cum | 4.1.3 of DSR 2023 | 1120.00 | 1120.00 | 882.39 | 882.39 | 1120.00 | 1120.00 | 1100.23 | 1100.23 | 882.39 | The Khan Coop. L&C Society Ltd. | 882.39 | The Khan Coop. L&C Society Ltd.
1.47 | Cleaning of exposed concrete surface of sticking material including loose and foreign material by sand blasting with coarse sand followed by and including cleaning with oil free air blast as per direction of Engineer in charge.26.37 of DSR 2023 | 9.36 | sqm | 26.37 of DSR 2023 | 4539.60 | 4539.60 | 2863.41 | 2863.41 | 561.60 | 561.60 | 3570.28 | 3570.28 | 561.60 | UCCOTECH | 561.60 | UCCOTECH
1.48 | Providing and fixing one piece construction white vitreous china squatting plate with an integral longitudinal flushing pipe, white P.V.C. automatic flushing cistern, with fittings, standard size G.I. / PVC flush pipe for back and front flush with standard spreader pipes with fittings, G.I clamps and C.P. brass coupling complete, including painting of fittings and cutting and making good the walls and floors etc. wherever required : Range of two squatting plates with 5 litre P.V.C. automatic flushing cistern 17.6.2 of DSR 2023 | 1.00 | Nos | 17.6.2 of DSR 2023 | 18000.00 | 18000.00 | 10781.08 | 10781.08 | 15000.00 | 15000.00 | 13442.66 | 13442.66 | 10781.08 | The Khan Coop. L&C Society Ltd. | 10781.08 | The Khan Coop. L&C Society Ltd.
1.49 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. 15.52 of DSR 2023 | 1.00 | Nos | 15.52 of DSR 2023 | 120.00 | 120.00 | 89.64 | 89.64 | 1200.00 | 1200.00 | 111.77 | 111.77 | 89.64 | The Khan Coop. L&C Society Ltd. | 89.64 | The Khan Coop. L&C Society Ltd.
1.50 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 15 mm nominal dia Pipes 18.7.1 of DSR 2023 | 30.00 | m | 18.7.1 of DSR 2023 | 9300.00 | 9300.00 | 6883.20 | 6883.20 | 6900.00 | 6900.00 | 8582.40 | 8582.40 | 6883.20 | The Khan Coop. L&C Society Ltd. | 6883.20 | The Khan Coop. L&C Society Ltd.
1.51 | Providing and fixing PTMT grating of approved quality and colour. Rectangular type with openable circular lid 150 mm nominal size square 100 mm diameter of the inner hinged round grating 18.58.2.1 of DSR 2023 | 2.00 | Nos | 18.58.2.1 of DSR 2023 | 420.00 | 420.00 | 315.12 | 315.12 | 392.00 | 392.00 | 392.92 | 392.92 | 315.12 | The Khan Coop. L&C Society Ltd. | 315.12 | The Khan Coop. L&C Society Ltd.
1.52 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. 17.31 of DSR 2023 | 2.00 | Nos | 17.31 of DSR 2023 | 3600.00 | 3600.00 | 2572.72 | 2572.72 | 3200.00 | 3200.00 | 3207.86 | 3207.86 | 2572.72 | The Khan Coop. L&C Society Ltd. | 2572.72 | The Khan Coop. L&C Society Ltd.
1.53 | Manufacturing & installation of conference table T- Type ( Size 12'X3'2.5' Height) (Size 6'X2'X2.5' Height) 40mm thickness Board, Action TESA Prelimated Board with 5 POP POP Box (Wire manager electric) with one Pedistal size (16X12) complete in all respect as per direction by Engineer-in-charge NS item | 1.00 | Nos | NS3 | 190000.00 | 190000.00 | 123900.00 | 123900.00 | 60000.00 | 60000.00 | 154487.81 | 154487.81 | 60000.00 | UCCOTECH | 60000.00 | UCCOTECH
1.54 | Providing and Installation of PA Wireless Conference System Complete in all respect , (including all necessary Accessories) As per direction by Engineer in Charge A) Chairman Unit (Wireleass type) - Ahuja Model DCW - 8501C NS item | 1.00 | Nos | NS4 | 22000.00 | 22000.00 | 14716.80 | 14716.80 | 15000.00 | 15000.00 | 18350.01 | 18350.01 | 14716.80 | The Khan Coop. L&C Society Ltd. | 14716.80 | The Khan Coop. L&C Society Ltd.
1.55 | Providing and Installation of PA Wireless Conference System Complete in all respect , (including all necessary Accessories) As per direction by Engineer in Charge B) Delegate Unit (Wireless type) - Ahuja Model DCW - 8502D | 6.00 | Nos | NS5 | 126000.00 | 126000.00 | 78768.00 | 78768.00 | 84000.00 | 84000.00 | 98213.88 | 98213.88 | 78768.00 | The Khan Coop. L&C Society Ltd. | 78768.00 | The Khan Coop. L&C Society Ltd.
1.56 | Providing and Installation of PA Wireless Conference System Complete in all respect , (including all necessary Accessories) As per direction by Engineer in Charge C) Controller/Host Unit Ahuja Model DCW -8503 R NS item | 1.00 | Nos | NS6 | 110000.00 | 110000.00 | 62443.20 | 62443.20 | 64000.00 | 64000.00 | 77858.87 | 77858.87 | 62443.20 | The Khan Coop. L&C Society Ltd. | 62443.20 | The Khan Coop. L&C Society Ltd.
1.57 | Providing and Installation of PA Wireless Conference System Complete in all respect , (including all necessary Accessories) As per direction by Engineer in Charge D) Shot Gun Mic Length - Ahuja Make SGM 40 NS item | 7.00 | Nos | NS7 | 40600.00 | 40600.00 | 28133.56 | 28133.56 | 35000.00 | 35000.00 | 35079.03 | 35079.03 | 28133.56 | The Khan Coop. L&C Society Ltd. | 28133.56 | The Khan Coop. L&C Society Ltd.
1.58 | Providing and Installation of PA Wireless Conference System Complete in all respect , (including all necessary Accessories) As per direction by Engineer in Charge E) Audio Interfance ( for online streaming audio) with patch cable and connectors NS item | 1.00 | Nos | NS8 | 15500.00 | 15500.00 | 10001.60 | 10001.60 | 6000.00 | 6000.00 | 12470.75 | 12470.75 | 6000.00 | UCCOTECH | 6000.00 | UCCOTECH
1.59 | Providing and Installation of PA Wireless Conference System Complete in all respect , (including all necessary Accessories) As per direction by Engineer in Charge F) Ceiling Speaker - 6 Watt - Ahuja Make - CS 5061T NS item | 4.00 | Nos | NS9 | 7368.00 | 7368.00 | 4616.16 | 4616.16 | 7200.00 | 7200.00 | 5755.76 | 5755.76 | 4616.16 | The Khan Coop. L&C Society Ltd. | 4616.16 | The Khan Coop. L&C Society Ltd.
1.60 | Providing and Installation of PA Wireless Conference System Complete in all respect , (including all necessary Accessories) As per direction by Engineer in Charge G) PA Amplifier - Ahuja Model - 30 Watt NS item | 1.00 | Nos | NS10 | 8000.00 | 8000.00 | 6069.92 | 6069.92 | 8000.00 | 8000.00 | 7568.43 | 7568.43 | 6069.92 | The Khan Coop. L&C Society Ltd. | 6069.92 | The Khan Coop. L&C Society Ltd.
1.61 | Providing and Installation of PA Wireless Conference System Complete in all respect , (including all necessary Accessories) As per direction by Engineer in Charge H) Supply & Laying of two core speaker cable to be laid down in PVC Condits - Per running meter NS item | 50.00 | Mtr | NS11 | 6060.50 | 6060.50 | 4083.00 | 4083.00 | 18000.00 | 18000.00 | 5090.50 | 5090.50 | 4083.00 | The Khan Coop. L&C Society Ltd. | 4083.00 | The Khan Coop. L&C Society Ltd.
1.62 | Providing and Installation of PA Wireless Conference System Complete in all respect , (including all necessary Accessories) As per direction by Engineer in Charge I) Installation & Commissioning Charges ( with patch / Aux cable & required accessories) NS item | 1.00 | Job | NS12 | 15000.00 | 15000.00 | 9204.00 | 9204.00 | 10000.00 | 10000.00 | 11476.24 | 11476.24 | 9204.00 | The Khan Coop. L&C Society Ltd. | 9204.00 | The Khan Coop. L&C Society Ltd.
1.63 | Providing & Fixing Fiberoul pet panel 9mm colour as per choice of Architect/Person incharge panel having size 2440X1220mm and panel has excellent noise absorption up to 0.9 nrc and density up to 200 kg/m3 , This is made of 100 % polyster, it will we direct pasted on wall with the help of rubber adhasive. complete in all respect as per direction of Enineer in charge NS item | 59.90 | sqm | NS13 | 191680.00 | 191680.00 | 129339.67 | 129339.67 | 47920.00 | 47920.00 | 161269.97 | 161269.97 | 47920.00 | UCCOTECH | 47920.00 | UCCOTECH
| Total in Figures |  |  |  | 1195437.51 | 1195437.51 | 797889.15 | 797889.15 | 984492.10 | 984492.10 | 994868.30 | 994868.30

## BOQ Summary
BOQ Summary Details Tender Title: Repair and Renovation of D-II/95 for conference hall and waiting Room at BBMB Kaka Nagar, New Delhi Tender ID: 2026_BBMB_262270_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | The Khan Coop. L&C Society Ltd. (BID ID -963769) | 797889.15 | L1
| 2 | UCCOTECH (BID ID -963056) | 984492.10 | L2
| 3 | M/s Liak Ahmed (BID ID -962448) | 994868.30 | L3
| 4 | THE SALAIMPUR CO-OP L/C SOCIETY LIMITED (BID ID -962581) | 1195437.51 | L4