## BoQ1
Government eProcurement System Created By: CHANDERMANI SHARMA Created Date/Time: 16-Feb-2026 04:12 PM Tender Title: Providing Drinking Water to CISF at Pandoh Dam Site-installation of centrifugal pump 10HP Tender ID: 2026_BBMB_264003_1
Tender Inviting Authority: Addl.Superintending Engineer, Pandoh Dam Division,BBMB, Pandoh (H.P).
Name of Work: Providing Drinking Water to CISF at Pandoh Dam Site-installation of centrifugal pump 10HP.
Contract No: NIT No. 12/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KAMAL CONTRACTOR (GSTN-NA) BID ID -975271 |  | GAURI RAM (GSTN-NA) BID ID -975334 |  | Sajan govt cont (GSTN-NA) BID ID -975550
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Centrifugal Pump 10 HP Three Phase, 415 Volts size 65 mm X 50 mm of Minimum Head 70 Meter | 1.00 | No | 1.00 | 116572.00 | 116572.00 | 113608.50 | 113608.50 | 107681.00 | 107681.00 | 107681.00 | Sajan govt cont
2.00 | Star Delta Starter for 10 HP Three Phase | 1.00 | No | 1.00 | 27848.00 | 27848.00 | 27140.00 | 27140.00 | 25724.00 | 25724.00 | 25724.00 | Sajan govt cont
3.00 | 03 core Copper Cable 6 Sq-mm | 140.00 | Mtr | 1.00 | 372.00 | 52080.00 | 362.00 | 50680.00 | 343.00 | 48020.00 | 48020.00 | Sajan govt cont
4.00 | 65 mm dia G.I. Pipe 6 mtr length | 10.00 | No | 1.00 | 2952.00 | 29520.00 | 2877.00 | 28770.00 | 2727.00 | 27270.00 | 27270.00 | Sajan govt cont
5.00 | 50 mm dia G.I. Pipe 6 mtr length | 20.00 | No | 1.00 | 2372.00 | 47440.00 | 2312.00 | 46240.00 | 2190.00 | 43800.00 | 43800.00 | Sajan govt cont
6.00 | 50 mm G.I. Socket | 22.00 | No | 1.00 | 236.00 | 5192.00 | 230.00 | 5060.00 | 218.00 | 4796.00 | 4796.00 | Sajan govt cont
7.00 | 50mm G.I. Flenze | 4.00 | No | 1.00 | 708.00 | 2832.00 | 690.00 | 2760.00 | 654.00 | 2616.00 | 2616.00 | Sajan govt cont
8.00 | 50 mm dia G.I. Union | 2.00 | No | 1.00 | 590.00 | 1180.00 | 575.00 | 1150.00 | 545.00 | 1090.00 | 1090.00 | Sajan govt cont
9.00 | 25 mm dia G.I. Pipe 6 mtr length | 58.00 | No | 1.00 | 652.00 | 37816.00 | 1610.00 | 93380.00 | 1526.00 | 88508.00 | 37816.00 | KAMAL CONTRACTOR
10.00 | 25 mm G.I. Socket | 60.00 | No | 1.00 | 253.00 | 15180.00 | 253.00 | 15180.00 | 239.00 | 14340.00 | 14340.00 | Sajan govt cont
11.00 | 25 mm dia G.I. Elbow | 20.00 | No | 1.00 | 372.00 | 7440.00 | 362.00 | 7240.00 | 343.00 | 6860.00 | 6860.00 | Sajan govt cont
12.00 | 25 mm dia G.I. Union | 10.00 | No | 1.00 | 531.00 | 5310.00 | 518.00 | 5180.00 | 490.00 | 4900.00 | 4900.00 | Sajan govt cont
13.00 | 15 mm dia G.I. Pipe 6 mtr length | 20.00 | Mtr. | 1.00 | 1121.00 | 22420.00 | 1093.00 | 21860.00 | 1035.00 | 20700.00 | 20700.00 | Sajan govt cont
14.00 | 15 mm dia G.I. Socket | 20.00 | No. | 1.00 | 142.00 | 2840.00 | 138.00 | 2760.00 | 130.00 | 2600.00 | 2600.00 | Sajan govt cont
15.00 | 15 mm dia G.I. Elbow | 12.00 | No | 1.00 | 142.00 | 1704.00 | 138.00 | 1656.00 | 130.00 | 1560.00 | 1560.00 | Sajan govt cont
16.00 | 15 mm dia G.I. Union | 8.00 | No | 1.00 | 248.00 | 1984.00 | 242.00 | 1936.00 | 228.00 | 1824.00 | 1824.00 | Sajan govt cont
17.00 | Water Tank 5000 Ltr Capacity | 4.00 | Ltr. | 1.00 | 33040.00 | 132160.00 | 32200.00 | 128800.00 | 30520.00 | 122080.00 | 122080.00 | Sajan govt cont
18.00 | 5-layer PVC Water Tank 1000 Ltr | 4.00 | No | 1.00 | 6136.00 | 24544.00 | 5980.00 | 23920.00 | 5668.00 | 22672.00 | 22672.00 | Sajan govt cont
19.00 | Tank connection 50 mm | 4.00 | No | 1.00 | 944.00 | 3776.00 | 920.00 | 3680.00 | 872.00 | 3488.00 | 3488.00 | Sajan govt cont
20.00 | Tank connection 20 mm | 2.00 | No | 1.00 | 708.00 | 1416.00 | 690.00 | 1380.00 | 654.00 | 1308.00 | 1308.00 | Sajan govt cont
21.00 | Tank connection 15 mm | 2.00 | No | 1.00 | 590.00 | 1180.00 | 575.00 | 1150.00 | 545.00 | 1090.00 | 1090.00 | Sajan govt cont
22.00 | Automatic brass ball cock with road and plastic ball 20 mm | 5.00 | No | 1.00 | 472.00 | 2360.00 | 460.00 | 2300.00 | 436.00 | 2180.00 | 2180.00 | Sajan govt cont
23.00 | GI Reducer Tee 50 mm to 25 mm | 1.00 | No | 1.00 | 413.00 | 413.00 | 403.00 | 403.00 | 381.00 | 381.00 | 381.00 | Sajan govt cont
24.00 | Automatic brass ball cock with road and plastic ball 15 mm | 5.00 | No | 1.00 | 413.00 | 2065.00 | 402.00 | 2010.00 | 381.00 | 1905.00 | 1905.00 | Sajan govt cont
25.00 | NRV valve 2" dia | 1.00 | No | 1.00 | 2596.00 | 2596.00 | 2530.00 | 2530.00 | 2398.00 | 2398.00 | 2398.00 | Sajan govt cont
26.00 | 15 mm Brass Bib Tap | 25.00 | No | 1.00 | 708.00 | 17700.00 | 690.00 | 17250.00 | 654.00 | 16350.00 | 16350.00 | Sajan govt cont
27.00 | Installation and commissioning of Pump and Starter including Pipe Line fitting and Threading of pipes Charges at site | 1.00 | Job | 1.00 | 44250.00 | 44250.00 | 43000.00 | 43000.00 | 40875.00 | 40875.00 | 40875.00 | Sajan govt cont
| Total in Figures |  |  |  |  | 609818.00 |  | 651023.50 |  | 617016.00
Lowest Amount Quoted BY: KAMAL CONTRACTOR(609818.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing Drinking Water to CISF at Pandoh Dam Site-installation of centrifugal pump 10HP Tender ID: 2026_BBMB_264003_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KAMAL CONTRACTOR (BID ID -975271) | 609818.00 | L1
| 2 | Sajan govt cont (BID ID -975550) | 617016.00 | L2
| 3 | GAURI RAM (BID ID -975334) | 651023.50 | L3