## BoQ1
Government eProcurement System Created By: GULSHAN MANN Created Date/Time: 25-Mar-2026 12:01 PM Tender Title: Renovation of Central office complex at BBMB Colony Sundernagar Phase-IV. Tender ID: 2026_BBMB_267423_1
Tender Inviting Authority: Addl Superintending Engineer, Township Division, BBMB, Sundernagar (H.P).
Name of Work: Renovation of Central office complex at BBMB Colony Sundernagar Phase-IV.
Contract No: NIT No.25/2025-26.
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LEKH RAJ (GSTN-NA) BID ID -996411 |  | M/s Sharma Electrical Works (GSTN-NA) BID ID -996559 |  | SHIV KUMAR (GSTN-NA) BID ID -996654 |  | RAKESH KUMAR (GSTN-NA) BID ID -996336 |  | Rajat Soni (GSTN-NA) BID ID -996406 |  | Sanjeev Thakur (GSTN-NA) BID ID -996570
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling asbestos cement celotax or other hard board ceiling or partition walls including supporting timber | 413.47 | sqm | 1.00 | 60.00 | 24808.20 | 40.00 | 16538.80 | 70.00 | 28942.90 | 50.00 | 20673.50 | 55.00 | 22740.85 | 200.00 | 82694.00 | 16538.80 | M/s Sharma Electrical Works
2.00 | Providing and fixing ( PPGL) precoated painted galvalume sheet roofing (size, shape and pitch of corrugation as approved by Engineer-in-charge) The end rib shall have anti cappillary groove and return leg. The steel sheet must be having yield strength of 550 MPa ( Fy= 550 MPa) metallic coated with Zinc- Aluminium alloy ( i.e. 55% Al, 43.4%Zinc, 1.6% Si-Zincalume) AZ150 ( Min. 150 bm/mm2 total on both sides), pre painted with super Durable Polyster XRW quality paint includes inorganic infrared reflective pigment. The sheet confirms to general requirement of AS/NZS 2728 type 4/ IS 15965 class 3 durability and gloss value of 25%-40%. should be supplied in single length upto 12 metre or as desired by Engineer-in charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required.0.60 mm (+ 0.05 %) thick | 458.58 | sqm | 1.00 | 1200.00 | 550296.00 | 1100.00 | 504438.00 | 1100.00 | 504438.00 | 1200.00 | 550296.00 | 1300.00 | 596154.00 | 1250.00 | 573225.00 | 504438.00 | M/s Sharma Electrical Works, SHIV KUMAR
3.00 | Providing and fixing Gutter 250mm wide with PPGL 0.50 thick (TCT) manufactured from zinc / aluminium alloy coated high tensile steel, having minimum yield strength of 550 MPa of approved colour fixed by means of self drilling screws limped washers as per the manufactures guidelines complete in all respect and to the entire satisfaction of engineer in charge. | 30.00 | Mtr. | 1.00 | 1950.00 | 58500.00 | 1800.00 | 54000.00 | 250.00 | 7500.00 | 1200.00 | 36000.00 | 1800.00 | 54000.00 | 700.00 | 21000.00 | 7500.00 | SHIV KUMAR
4.00 | Kota stone slab 20-25 mm thick flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | 153.94 | sqm | 1.00 | 1400.00 | 215511.80 | 1200.00 | 184724.40 | 1500.00 | 230905.50 | 1700.00 | 261692.90 | 1350.00 | 207814.95 | 1300.00 | 200118.10 | 184724.40 | M/s Sharma Electrical Works
5.00 | Dismantling cement conglomerate floors 25mm to 50mm thick including concrete base. | 312.61 | sqm | 1.00 | 150.00 | 46891.95 | 130.00 | 40639.69 | 150.00 | 46891.95 | 400.00 | 125045.20 | 250.00 | 78153.25 | 350.00 | 109414.55 | 40639.69 | M/s Sharma Electrical Works
6.00 | Providing and laying 80 mm thick factory made cement concrete interlocking Paving blocks of M-40 grade manufactured by block making machine equipped with steel mould clamped to a strong vibratory table with hydraulic pressure for compaction of concrete as per IRC SP 63 -2014 and of approved size and design / shape laid in Ordinary Grey Colour and pattern over and including 40 mm thick compacted bed of coarse sand, filling the joints with fine sand etc, all complete as per directions of Engineer-in- Charge. | 687.03 | sqm | 1.00 | 1100.00 | 755737.40 | 1100.00 | 755737.40 | 950.00 | 652682.30 | 1200.00 | 824440.80 | 900.00 | 618330.60 | 1550.00 | 1064902.70 | 618330.60 | Rajat Soni
7.00 | Cement concrete 1:5:10 With stone aggregate 40mm gauge mixing by mechanical means using concrete mixer volumetric type | 105.11 | cum | 1.00 | 4500.00 | 473008.50 | 4200.00 | 441474.60 | 4500.00 | 473008.50 | 4000.00 | 420452.00 | 4600.00 | 483519.80 | 4000.00 | 420452.00 | 420452.00 | RAKESH KUMAR, Sanjeev Thakur
8.00 | Steel work fixed independently without connecting plates including cutting hoisting and fixing in position Tees angles & channels | 56.69 | Qtl | 1.00 | 11000.00 | 623579.00 | 11000.00 | 623579.00 | 8500.00 | 481856.50 | 10000.00 | 566890.00 | 12000.00 | 680268.00 | 109.00 | 6179.10 | 6179.10 | Sanjeev Thakur
9.00 | Providing and laying vitrified floor tiles in different sizes inlight colour shade smade using Full BodyTechnology (thickness tobespecified bythemanufacturer)withwaterabsorption’sless than 0.08%and conforming to IS : 15622 of approved make in all colours and shades, laidon 20mmthickcementmortar1:4(1cement:4fine sand), complete. ( Full body vitrified tiles have pigment in entire body / thickness of tile which makes chipsandscratches less notice able and make na ideal choice for high traffic zones.) a Size 600x600 mm | 346.85 | sqm | 1.00 | 1600.00 | 554955.20 | 130.00 | 45090.11 | 1700.00 | 589639.90 | 1200.00 | 416216.40 | 1700.00 | 589639.90 | 1300.00 | 450901.10 | 45090.11 | M/s Sharma Electrical Works
10.00 | Nicking cement concrete surface (over 28 days old including preparation and laying slurry | 1693.47 | sqm | 1.00 | 45.00 | 76206.15 | 40.00 | 67738.80 | 35.00 | 59271.45 | 20.00 | 33869.40 | 45.00 | 76206.15 | 250.00 | 423367.50 | 33869.40 | RAKESH KUMAR
11.00 | 12.5 mm thick cement plaster 1:4 | 1816.82 | sqm | 1.00 | 260.00 | 472373.20 | 260.00 | 472373.20 | 250.00 | 454205.00 | 300.00 | 545046.00 | 269.00 | 488724.58 | 250.00 | 454205.00 | 454205.00 | Sanjeev Thakur, SHIV KUMAR
12.00 | Supplying Pressed steel sheet frames(chowkhat) consisting of 18 gauge (1.25mm thick steel sheet of the specified section, including iron lugs (hold fast) iron hinges conforming to PWD specification including bolts for fixing stops lock notch provision for receiving tower bolts and finished with 1 primer coat approved quality, fixed in position excluding the cost of cement concrete 1:3:6 for fillings in the frame and cement concrete 1:2:4 for lugs complete d) Doors and windows frame of size 161mm x 60mm with 40 mm wide double rebate weighing 4.05 kg per meter. | 475.00 | meter | 1.00 | 950.00 | 451250.00 | 1100.00 | 522500.00 | 750.00 | 356250.00 | 700.00 | 332500.00 | 710.00 | 337250.00 | 250.00 | 118750.00 | 118750.00 | Sanjeev Thakur
13.00 | Factory manufactured solid flush door fixed in position iron hinges, etc (excluding the cost of any fittings other than specified abovebut including labour for fixing the same in position Decorative with teak facing on both sides edges lipped with teak with laminated core iv)35mm thick | 52.80 | Sqm | 1.00 | 4500.00 | 237600.00 | 3800.00 | 200640.00 | 4100.00 | 216480.00 | 4000.00 | 211200.00 | 2900.00 | 153120.00 | 2900.00 | 153120.00 | 153120.00 | Rajat Soni, Sanjeev Thakur
14.00 | Wire gauze door shutter with Kail wood without springs housed in chowkats (Single Leaf) 35mm thick | 52.80 | sqm | 1.00 | 4000.00 | 211200.00 | 4200.00 | 221760.00 | 3700.00 | 195360.00 | 5000.00 | 264000.00 | 4999.00 | 263947.20 | 2500.00 | 132000.00 | 132000.00 | Sanjeev Thakur
15.00 | RECESSED HDPE PIPE WIRING SYSTEM WITH MODULAR SWITCHES: Wiring in PVC insulated copper conductor single core FR cable (ISI marked), overall 1.5sq. mm, 1100volts grade to be laid in HDPE electrical conduit pipe 20mm/25mm dia. ISI Marked, recessed in wall etc., complete with powder coated/anodized concealed metal boxes (1.6mm thick with Brass lugs) required for suitable number of modules (Modular accessories) for having Step type electronic fan regulators (two module) 100watts, bell push, 6Amp. 2/3 universal socket (shuttered), 16/20Amp. combined/ universal Socket (shuttered), 6/10Amp. Switches, 16/20Amp. switches with indicator etc. and covered with Frame Plate etc., PVC connector (For Fan Box and Call Bell), PVC Bush, Steel Hooks, Sheet metal fan box (1.6mm thick shape hexagonal), CI Circular junction Boxes (Four way 1½" deep for walls and 3" deep for ceiling), bonding to earth with PVC insulated copper conductor single core FR cable (ISI marked) 1sq. mm, 1100volts grade (For 6Amp. wall socket & plug control point) and other petty material etc., including the cost of above material, cutting and filling up of chases (with finishing the surface):- (i) a Wiring fan point (Without fan box) | 30.00 | No | 1.00 | 1350.00 | 40500.00 | 1120.00 | 33600.00 | 1200.00 | 36000.00 | 700.00 | 21000.00 | 1250.00 | 37500.00 | 500.00 | 15000.00 | 15000.00 | Sanjeev Thakur
16.00 | (ii)Wiring light point | 65.00 | No | 1.00 | 1286.00 | 83590.00 | 900.00 | 58500.00 | 800.00 | 52000.00 | 700.00 | 45500.00 | 950.00 | 61750.00 | 40.00 | 2600.00 | 2600.00 | Sanjeev Thakur
17.00 | (iii)Wiring call-bell point | 10.00 | No | 1.00 | 1300.00 | 13000.00 | 800.00 | 8000.00 | 900.00 | 9000.00 | 700.00 | 7000.00 | 850.00 | 8500.00 | 150.00 | 1500.00 | 1500.00 | Sanjeev Thakur
18.00 | (iv) Wiring 6Amp. Wall socket point | 70.00 | No | 1.00 | 750.00 | 52500.00 | 800.00 | 56000.00 | 800.00 | 56000.00 | 700.00 | 49000.00 | 500.00 | 35000.00 | 100.00 | 7000.00 | 7000.00 | Sanjeev Thakur
19.00 | (vi) Wiring 16/20Amp. power plug control point | 40.00 | No | 1.00 | 650.00 | 26000.00 | 600.00 | 24000.00 | 600.00 | 24000.00 | 700.00 | 28000.00 | 600.00 | 24000.00 | 300.00 | 12000.00 | 12000.00 | Sanjeev Thakur
20.00 | PVC INSULATED FR COPPER CONDUCTOR CABLES: Supply and erection of PVC insulated FR single core Unsheathed copper conductor cable (ISI marked) suitable upto 1100 volts grade confirm to IS:694/1990 left bare in pipe or casing of suitable size complete in all respect as desired by the Engineer-in-charge:- (v) Overall size 6sq.mm (Un-sheathed) | 750.00 | m | 1.00 | 95.00 | 71250.00 | 110.00 | 82500.00 | 120.00 | 90000.00 | 120.00 | 90000.00 | 101.00 | 75750.00 | 150.00 | 112500.00 | 71250.00 | LEKH RAJ
21.00 | (iv) Overall size 4sq.mm (Un-sheathed | 720.00 | m | 1.00 | 85.00 | 61200.00 | 80.00 | 57600.00 | 75.00 | 54000.00 | 100.00 | 72000.00 | 75.00 | 54000.00 | 120.00 | 86400.00 | 54000.00 | Rajat Soni, SHIV KUMAR
22.00 | (iii) Overall size 2.5sq.mm (Un-sheathed) | 750.00 | m | 1.00 | 55.00 | 41250.00 | 60.00 | 45000.00 | 55.00 | 41250.00 | 80.00 | 60000.00 | 55.00 | 41250.00 | 60.00 | 45000.00 | 41250.00 | Rajat Soni, LEKH RAJ, SHIV KUMAR
23.00 | MINIATURE CIRCUIT BREAKERS/ RCBO's/ RCCB's: MINIATURE CIRCUIT BREAKERS: Supply and erection of Miniature Circuit Breaker MCB's for circuit protection against overload and short circuit current fault suitable for 240/ 415 volts 50cycles AC supply with breaking capacity of 10kA, Curve-C and low watt losses as per IS/IEC 60898-1, energy limitation class-3, true contact indication, label holder facility in the existing MCB distribution board as per PWD General Specifications including connections with suitable size of thimbles/lugs:- (A) (i) MCB Single Pole 0.5-4amp. (10kA, CurveC) | 15.00 | No | 1.00 | 350.00 | 5250.00 | 350.00 | 5250.00 | 390.00 | 5850.00 | 800.00 | 12000.00 | 450.00 | 6750.00 | 150.00 | 2250.00 | 2250.00 | Sanjeev Thakur
24.00 | (A) (ii) MCB Single Pole 6-32amp. (10kA, Curve-C) | 15.00 | No | 1.00 | 450.00 | 6750.00 | 250.00 | 3750.00 | 300.00 | 4500.00 | 800.00 | 12000.00 | 500.00 | 7500.00 | 150.00 | 2250.00 | 2250.00 | Sanjeev Thakur
25.00 | (A) viii) MCB Double Pole 50, 63amp. (10kA, CurveC) | 20.00 | No | 1.00 | 550.00 | 11000.00 | 1600.00 | 32000.00 | 1200.00 | 24000.00 | 1000.00 | 20000.00 | 1600.00 | 32000.00 | 550.00 | 11000.00 | 11000.00 | LEKH RAJ, Sanjeev Thakur
26.00 | (A) (vii)MCB Double Pole 40amp. (10kA, Curve-C) | 20.00 | No | 1.00 | 600.00 | 12000.00 | 1000.00 | 20000.00 | 1100.00 | 22000.00 | 800.00 | 16000.00 | 1200.00 | 24000.00 | 500.00 | 10000.00 | 10000.00 | Sanjeev Thakur
27.00 | SHEET METAL DOUBLE DOOR DISTRIBUTION BOARD FOR MCB's/ RCBO's/ RCCB's: Supply and erection of sheet metal Double Door Distribution Boards IP 43- IK09 metal door (dust protected) as per IS 8623-1&3, IEC 61439-1&3 suitable for flush mounting with fully insulated copper busbars, shrouded neutral bars, earth bars, cement spill protector, colorcoded interconnecting wire set, cable ties, blanking plates and circuit identifications label and of required no. of ways for mounting miniature circuit breakers/ RCBO's/ RCCB's in the distribution board (For SP&N distribution board with provision DP MCB's/ RCCB's/ RCBO's as incomer and SP MCB's as outgoings and for TP&N horizontal distribution board with provision TPN/ FP MCB's/ RCCB's/ RCBO's as incomer and SP MCB's as outgoings) as per PWD General specifications including connections with suitable size of thimbles and bonding to existing earth etc:- (ii) SP&N Double Door Distribution Board 8 way each | 4.00 | No | 1.00 | 2200.00 | 8800.00 | 1800.00 | 7200.00 | 1700.00 | 6800.00 | 1600.00 | 6400.00 | 1650.00 | 6600.00 | 8500.00 | 34000.00 | 6400.00 | RAKESH KUMAR
28.00 | (iii) SP&N Double Door Distribution Board 12 way each | 4.00 | No | 1.00 | 2600.00 | 10400.00 | 2000.00 | 8000.00 | 2200.00 | 8800.00 | 2400.00 | 9600.00 | 2500.00 | 10000.00 | 1350.00 | 5400.00 | 5400.00 | Sanjeev Thakur
29.00 | Distempering with dry distemper of approved manufacture two or more coats over one priming coat to give an even shade | 1816.82 | sqm | 1.00 | 80.00 | 145345.60 | 80.00 | 145345.60 | 95.00 | 172597.90 | 100.00 | 181682.00 | 95.00 | 172597.90 | 75.00 | 136261.50 | 136261.50 | Sanjeev Thakur
30.00 | Preparation of plastered surfaces for distempering including surface, applying filling with approved quality filler consisting of plaster of paris and chalk mitti including finishing the surface to the required finish complete | 1816.82 | sqm | 1.00 | 90.00 | 163513.80 | 80.00 | 145345.60 | 98.00 | 178048.36 | 110.00 | 199850.20 | 85.00 | 154429.70 | 110.00 | 199850.20 | 145345.60 | M/s Sharma Electrical Works
31.00 | Providing and fixing hydraulic door closer ISI mark with necessary screw etc. complete I.S.I Designation No. III (size ofdoor 851mm to 1000mm) | 40.00 | no | 1.00 | 1600.00 | 64000.00 | 1500.00 | 60000.00 | 1550.00 | 62000.00 | 500.00 | 20000.00 | 1650.00 | 66000.00 | 1500.00 | 60000.00 | 20000.00 | RAKESH KUMAR
32.00 | Providing and fixing aluminum sliding door bolts ISI marked anodized (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete : 300mm x 16mm | 30.00 | no | 1.00 | 300.00 | 9000.00 | 250.00 | 7500.00 | 300.00 | 9000.00 | 400.00 | 12000.00 | 400.00 | 12000.00 | 380.00 | 11400.00 | 7500.00 | M/s Sharma Electrical Works
33.00 | Providing and fixing aluminum sliding door bolts ISI marked anodized (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete : 250mm x 16mm | 30.00 | no | 1.00 | 250.00 | 7500.00 | 250.00 | 7500.00 | 300.00 | 9000.00 | 300.00 | 9000.00 | 300.00 | 9000.00 | 350.00 | 10500.00 | 7500.00 | LEKH RAJ, M/s Sharma Electrical Works
34.00 | Cost of aluminum fittings complete for doors, windows such as tower bolts, handles,Stoppers and screw etc. for these fittings (Excluding sliding bolt) For shutter area above 0.50 sqm | 246.40 | sqm | 1.00 | 350.00 | 86240.00 | 150.00 | 36960.00 | 250.00 | 61600.00 | 700.00 | 172480.00 | 260.00 | 64064.00 | 700.00 | 172480.00 | 36960.00 | M/s Sharma Electrical Works
35.00 | Providing & fixing 6" stainless steel handles ISI marked on door & window frames complete in all respect as per the directions of Engineer-in-charge. | 30.00 | no | 1.00 | 100.00 | 3000.00 | 100.00 | 3000.00 | 150.00 | 4500.00 | 150.00 | 4500.00 | 200.00 | 6000.00 | 100.00 | 3000.00 | 3000.00 | LEKH RAJ, M/s Sharma Electrical Works, Sanjeev Thakur
36.00 | Providing & fixing 8" stainless steel tower bolts ISI marked on door & window frames complete in all respect as per the directions of Engineer-in-charge. | 30.00 | no | 1.00 | 150.00 | 4500.00 | 350.00 | 10500.00 | 450.00 | 13500.00 | 150.00 | 4500.00 | 500.00 | 15000.00 | 100.00 | 3000.00 | 3000.00 | Sanjeev Thakur
37.00 | Supplying openable steel windows, of standard rolled steel Z sections, joints mitered and Electrically flash-welded, with iron fittings including necessary iron handles, Peg-stay catchers bolts, iron plugs and pressed steel projected hinges and glazing clips, complete (Excluding glazing ) and finished with two coats of ready mixed paint red lead non setting primer Above one sqm Area | 440.00 | kg | 1.00 | 135.00 | 59400.00 | 150.00 | 66000.00 | 200.00 | 88000.00 | 120.00 | 52800.00 | 160.00 | 70400.00 | 120.00 | 52800.00 | 52800.00 | RAKESH KUMAR, Sanjeev Thakur
38.00 | Providing & fixing ACP Sheets of various thickness High Class ISI marked complete in all respect as per the directions of Engineer-in-charge. 3mm thick ACP Sheet | 38.07 | sqm | 1.00 | 3000.00 | 114210.00 | 2800.00 | 106596.00 | 3000.00 | 114210.00 | 500.00 | 19035.00 | 4200.00 | 159894.00 | 700.00 | 26649.00 | 19035.00 | RAKESH KUMAR
39.00 | Supplying and fixing glass panes with glazingclips and special metal sash putty of approved make. Glass panes 3mm or 8.44 kg per sqm upto 0.4 sqm area | 45.33 | sqm | 1.00 | 1100.00 | 49863.00 | 650.00 | 29464.50 | 750.00 | 33997.50 | 800.00 | 36264.00 | 750.00 | 33997.50 | 70.00 | 3173.10 | 3173.10 | Sanjeev Thakur
40.00 | Applying priming coat with metal primer on new steel or iron work including preparation of surface. | 165.00 | sqm | 1.00 | 39.00 | 6435.00 | 75.00 | 12375.00 | 40.00 | 6600.00 | 50.00 | 8250.00 | 45.00 | 7425.00 | 100.00 | 16500.00 | 6435.00 | LEKH RAJ
41.00 | Painting two or more coats excluding priming coat with synthetic enamel paint inall shades onwoodwork,metallic or plastered,concrete surface to give an even shade. | 376.20 | sqm | 1.00 | 90.00 | 33858.00 | 32.00 | 12038.40 | 85.00 | 31977.00 | 100.00 | 37620.00 | 65.00 | 24453.00 | 80.00 | 30096.00 | 12038.40 | M/s Sharma Electrical Works
42.00 | Applying pink primer or aluminum priming coat on wood work including preparationof surface knotting and stopping etc. | 168.96 | sqm | 1.00 | 45.00 | 7603.20 | 750.00 | 126720.00 | 45.00 | 7603.20 | 50.00 | 8448.00 | 42.00 | 7096.32 | 70.00 | 11827.20 | 7096.32 | Rajat Soni
43.00 | Providing & Fixing of 10 gauge welded mesh of 25mm x 25mm size fixed on steel glazing with MS flat 20mm x 6mm beeding complete in all respect including painting two coats with Synthetic Enamel Paint and Priming Coat | 80.62 | sqm | 1.00 | 900.00 | 72562.50 | 90.00 | 7256.25 | 900.00 | 72562.50 | 700.00 | 56437.50 | 700.00 | 56437.50 | 750.00 | 60468.75 | 7256.25 | M/s Sharma Electrical Works
44.00 | Finishing walls with cement based water soluble exterior paint such as snowcem, robbiacem etc. two or more coats to give an even shade | 471.01 | sqm | 1.00 | 90.00 | 42390.90 | 30.00 | 14130.30 | 105.00 | 49456.05 | 100.00 | 47101.00 | 85.00 | 40035.85 | 100.00 | 47101.00 | 14130.30 | M/s Sharma Electrical Works
45.00 | Repairs to plaster in patches of Area 2.5 sqm and under including cutting the patch in proper shape and preparing and plastering the surface of the walls complete including disposal of rubbish to the dumping ground within 50 Metres lead With cement mortar 1:4 (1 cement:4 sand) Taking area 2.5 sqm | 108.00 | sqm | 1.00 | 250.00 | 27000.00 | 180.00 | 19440.00 | 190.00 | 20520.00 | 250.00 | 27000.00 | 195.00 | 21060.00 | 260.00 | 28080.00 | 19440.00 | M/s Sharma Electrical Works
46.00 | Earth work in excavation of foundations of bridges culverts, buildings including handling of material with a combined lead of 15 metres dressing of bed and sides stacking the excavated soil from the edge of excavation and subsequent filling around:- For ordinary gravel soil involving pick work | 82.89 | cum | 1.00 | 380.00 | 31498.20 | 350.00 | 29011.50 | 400.00 | 33156.00 | 300.00 | 24867.00 | 350.00 | 29011.50 | 300.00 | 24867.00 | 24867.00 | RAKESH KUMAR, Sanjeev Thakur
| Total in Figures |  |  |  |  | 6123327.60 |  | 5431817.15 |  | 5699960.51 |  | 5978656.90 |  | 6023371.55 |  | 5455282.80
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words (Iteration 0)
|  |  | Bidder Price | Amount in Words
1 | M/s Sharma Electrical Works (BID ID -996559) | 5431817.00 | Not Quoted | Not Quoted
2 | LEKH RAJ (BID ID -996411) | 5431817.00 | 4345457.00 | Forty Three Lakh Forty Five Thousand Four Hundred and Fifty Seven
3 | Rajat Soni (BID ID -996406) | 5431817.00 | 4454093.00 | Forty Four Lakh Fifty Four Thousand Ninety Three
4 | SHIV KUMAR (BID ID -996654) | 5431817.00 | Not Quoted | Not Quoted
5 | RAKESH KUMAR (BID ID -996336) | 5431817.00 | Not Quoted | Not Quoted
6 | Sanjeev Thakur (BID ID -996570) | 5431817.00 | 5187386.00 | Fifty One Lakh Eighty Seven Thousand Three Hundred and Eighty Six
Lowest Amount Quoted BY: LEKH RAJ(4345457.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Central office complex at BBMB Colony Sundernagar Phase-IV. Tender ID: 2026_BBMB_267423_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Sharma Electrical Works (BID ID -996559) | 5431817.15 | L1
| 2 | Sanjeev Thakur (BID ID -996570) | 5455282.80 | L2
| 3 | SHIV KUMAR (BID ID -996654) | 5699960.51 | L3
| 4 | RAKESH KUMAR (BID ID -996336) | 5978656.90 | L4
| 5 | Rajat Soni (BID ID -996406) | 6023371.55 | L5
| 6 | LEKH RAJ (BID ID -996411) | 6123327.60 | L6