## BoQ1
Government eProcurement System Created By: Kushal Chandel Created Date/Time: 17-Apr-2026 05:21 PM Tender Title: Providing of Partition, False ceiling with smoke detectors and LED and 16.5 tonn ACs in control room at 220KV Substation Barnala Tender ID: 2026_BBMB_269079_1
Tender Inviting Authority: Addl. Superintending Engineer, O&M Division, BBMB, Jamalpur
Name of Work: E-Tender for Providing of Partition, False ceiling with smoke detectors& LED’s, and 16.5 tonn ACs in control room at 220KV Substation Barnala
Contract No: 9/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ATUL SHARMA GOVT CONTRACTOR (GSTN-NA) BID ID -1009010 |  | ss construction company (GSTN-NA) BID ID -1009325 |  | Shree Udho Construction (GSTN-NA) BID ID -1009461
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing aluminum work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate z sections and other sections conforming to Is: 733 and IS : 1285 of Jindal, Hindalco, Mahavir or equivalent make approved by Engineer in Charge , fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC Plug/neoprene felt etc. aluminum sections shall be smooth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle, aluminum snap beading for glazing/paneling, C.P.brass/stainless steel screws, all complete as per architectural drawings and the directions of Engineer-InCharge. (Glazing and paneling to be paid for separately) : (a) For fixed portion and chawkhats T/R (CSR Ref no. 17.45 (a)) | 97.42 | Kg |  | 400.00 | 38968.00 | 450.00 | 43839.00 | 420.00 | 40916.40 | 38968.00 | ATUL SHARMA GOVT CONTRACTOR
2.00 | Providing and fixing aluminum work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate z sections and other sections conforming to Is: 733 and IS : 1285 of Jindal, Hindalco, Mahavir or equivalent make approved by Engineer in Charge , fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC Plug/neoprene felt etc. aluminum sections shall be smooth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle, aluminum snap beading for glazing/paneling, C.P.brass/stainless steel screws, all complete as per architectural drawings and the directions of Engineer-InCharge. (Glazing and paneling to be paid for separately) : (b) For shutters of doors, windows & ventilators including providing and fixing hinges/pivots and labour for fixing of fittings wherever required including the cost of PVC Plug / neoprene gasket required T/R (CSR Ref no. 17.45 (b)) | 19.99 | Kg |  | 400.00 | 7996.00 | 440.00 | 8795.60 | 420.00 | 8395.80 | 7996.00 | ATUL SHARMA GOVT CONTRACTOR
3.00 | Providing and fixing glazing in aluminum door, window, ventilator shutters and partitions etc. with PVC Plug/ neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminum snap beading shall be paid in basic item) (i) Float glass panes of 5 mm thickness T/R (CSR Ref no. 17.47(i)) | 29.68 | Sqm |  | 1100.00 | 32648.00 | 1250.00 | 37100.00 | 1100.00 | 32648.00 | 32648.00 | ATUL SHARMA GOVT CONTRACTOR, Shree Udho Construction
4.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS-12823 grade I Type –II in paneling fixed in aluminium doors windows shutters and partition frames with CP brass/Stainless steel screws etc complete as per architectural drawings and directions of engineer in charge. Pre laminated particle board with decorative lamination on both sides T/R (CSR Ref no. 17.46(ii)) | 7.95 | Sqm |  | 1250.00 | 9937.50 | 1300.00 | 10335.00 | 1200.00 | 9540.00 | 9540.00 | Shree Udho Construction
5.00 | Cost of Aluminium fittings complete for doors windows such as tower bolts,handless stoppers and screws etc for these fittings (Exculding sliding bolt) (ii) For shutter area above 0.50 sqm T/R (CSR Ref no. 17.23(ii)) | 4.84 | sqm |  | 150.00 | 726.00 | 100.00 | 484.00 | 90.00 | 435.60 | 435.60 | Shree Udho Construction
6.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture IS : 6315 marked, for doors including cost of cutting floors as required, embedding in floors and cover plates with brass pivot and single piece MS sheet outer box with slide plate and with stainless steel cover plate etc. complete as per the direction of engineer-in-charge T/R (CSR Ref no. 17.48) | 2.00 | No. |  | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 1950.00 | 3900.00 | 3900.00 | Shree Udho Construction
7.00 | Providing and fixing bright finished brass door latch with necessary screws etc. complete : 300x16x5 mm T/R (CSR Ref no. 17.22(ii)) | 1.00 | No. |  | 1200.00 | 1200.00 | 1450.00 | 1450.00 | 1190.00 | 1190.00 | 1190.00 | Shree Udho Construction
8.00 | Providing Polyester Powder coating 50 micron any coloured specified to alumnum section of various sizes including carriage of material from market to workshop & workshop to site of work. T/R (CSR Ref no. 18.48) | 117.41 | Kg |  | 85.00 | 9979.85 | 69.00 | 8101.29 | 70.00 | 8218.70 | 8101.29 | ss construction company
9.00 | Providing and fixing tiled false ceiling at height up to 4 mtr of specified materials of size 595x595 mm ( GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns(minimum), including factory painted after bending.) in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all Tsections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. T/R (CSR Ref no. 13.80) | 194.98 | Sqm |  | 1500.00 | 292470.00 | 1390.00 | 271022.20 | 1355.00 | 264197.90 | 264197.90 | Shree Udho Construction
10.00 | Supply and erection of PVC insulated FR single core Unsheathed copper conductor cable (ISI marked) suitable up to 1100 volts grade confirm to IS:694/1990 left bare in pipe or casing of suitable size complete in all respect as desired by the Engineer-in-charge (ii) Overall size1.5 Sq.mm, (Un-sheathed) T/R As per CSR item 34.09 ( ii) | 552.00 | m. |  | 35.00 | 19320.00 | 23.00 | 12696.00 | 24.50 | 13524.00 | 12696.00 | ss construction company
11.00 | PVC, HDPE PIPES & PVC FLEXIBLE PIPES: Supply & erection of PVC Conduit Pipes (ISI marked) as per IS9537:Part-III & HDPE pipes (ISI marked) as per IS:4984:1995 for wiring purposes including bends, junction boxes, Steel hooks, M.S. saddle clamps and other petty materials etc., as per PWD General Specifications:- (i)Heavy Gauge PVC Conduit Pipe 20mm dia. (On Surface) (CSR Ref no. 34.12(i)) | 450.00 | m. |  | 50.00 | 22500.00 | 36.00 | 16200.00 | 48.00 | 21600.00 | 16200.00 | ss construction company
12.00 | Supply of Smoke detector based fire alarm system NS item | 1.00 | No. |  | 17000.00 | 17000.00 | 20000.00 | 20000.00 | 15900.00 | 15900.00 | 15900.00 | Shree Udho Construction
13.00 | Supply of photoelectric Smoke detector NS item | 20.00 | No. |  | 9000.00 | 180000.00 | 8490.00 | 169800.00 | 8505.00 | 170100.00 | 169800.00 | ss construction company
14.00 | Supply of Manual Call point NS item | 2.00 | No. |  | 6000.00 | 12000.00 | 7000.00 | 14000.00 | 5600.00 | 11200.00 | 11200.00 | Shree Udho Construction
15.00 | Supply of electronic hooter NS item | 1.00 | No. |  | 8000.00 | 8000.00 | 9500.00 | 9500.00 | 10000.00 | 10000.00 | 8000.00 | ATUL SHARMA GOVT CONTRACTOR
16.00 | Supply of cat 6 cable. NS item | 200.00 | m. |  | 200.00 | 40000.00 | 220.00 | 44000.00 | 170.00 | 34000.00 | 34000.00 | Shree Udho Construction
17.00 | Rating of Recess type LED Luminaire/System Wattage/Rated Power36W Type of fixture (in feet)2x2(30W to 48W) NS item | 46.00 | No. |  | 2800.00 | 128800.00 | 2800.00 | 128800.00 | 2770.00 | 127420.00 | 127420.00 | Shree Udho Construction
18.00 | Labour for LED light NS item | 46.00 | No. |  | 500.00 | 23000.00 | 650.00 | 29900.00 | 485.00 | 22310.00 | 22310.00 | Shree Udho Construction
19.00 | Copper coated Ductable Air - Conditioner Capacity 16600 Kcal/Hr.(for 5.5 ton) 5.5 TR Nominal Capacity NS item | 3.00 | No. |  | 200000.00 | 600000.00 | 211000.00 | 633000.00 | 199500.00 | 598500.00 | 598500.00 | Shree Udho Construction
20.00 | Supplying and laying in ground/ducts/pipes or on cable trays of following PVC insulated aluminium/copper conductor armoured cables of 1.1 KV grade confirming to IS complete with cable tray, clamps, saddles etc. including effecting proper connection to the equipment all as required complete all as specified (a) Supply of 4C x 10 sqm NS item | 30.00 | m. |  | 580.00 | 17400.00 | 630.00 | 18900.00 | 578.00 | 17340.00 | 17340.00 | Shree Udho Construction
21.00 | Supplying and laying in ground/ducts/pipes or on cable trays of following PVC insulated aluminium/copper conductor armoured cables of 1.1 KV grade confirming to IS complete with cable tray, clamps, saddles etc. including effecting proper connection to the equipment all as required complete all as specified (b) Supply of PVC Flexible insulated copper cable cux3c x 2.5mm NS item | 115.00 | m. |  | 250.00 | 28750.00 | 229.00 | 26335.00 | 300.00 | 34500.00 | 26335.00 | ss construction company
22.00 | Supplying and laying in ground/ducts/pipes or on cable trays of following PVC insulated aluminium/copper conductor armoured cables of 1.1 KV grade confirming to IS complete with cable tray, clamps, saddles etc. including effecting proper connection to the equipment all as required complete all as specified (c) Supply of 4C x 35 sqm NS item | 50.00 | m. |  | 1800.00 | 90000.00 | 1500.00 | 75000.00 | 1700.00 | 85000.00 | 75000.00 | ss construction company
23.00 | Installation work for item no 19 to 22. NS item | 1.00 | Lot/job |  | 110000.00 | 110000.00 | 118000.00 | 118000.00 | 120000.00 | 120000.00 | 110000.00 | ATUL SHARMA GOVT CONTRACTOR
24.00 | Cement concrete 1:8:16 (a)With brick ballast 20mm gauge (i)mixing by manual means T/R (CSR Ref no. 10.7 (a)(i)) | .14 | Cum. |  | 99.00 | 14.26 | 100.00 | 14.40 | 4000.00 | 576.00 | 14.26 | ATUL SHARMA GOVT CONTRACTOR
25.00 | First class burnt brick work laid in cement sand mortar 1:3 in foundation and plinth. T/R (CSR Ref no. 11.9) | .29 | Cum. |  | 110.00 | 31.90 | 120.00 | 34.80 | 6000.00 | 1740.00 | 31.90 | ATUL SHARMA GOVT CONTRACTOR
26.00 | 12.5 mm thick cement plaster 1:3 T/R (CSR Ref no. 15.8) | 3.00 | Sqm. |  | 220.00 | 660.00 | 200.00 | 600.00 | 205.00 | 615.00 | 600.00 | ss construction company
| Total in Figures |  |  |  |  | 1695401.51 |  | 1703907.29 |  | 1653767.40
Lowest Amount Quoted BY: Shree Udho Construction(1653767.40)

## BOQ Summary
BOQ Summary Details Tender Title: Providing of Partition, False ceiling with smoke detectors and LED and 16.5 tonn ACs in control room at 220KV Substation Barnala Tender ID: 2026_BBMB_269079_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Shree Udho Construction (BID ID -1009461) | 1653767.40 | L1
| 2 | ATUL SHARMA GOVT CONTRACTOR (BID ID -1009010) | 1695401.51 | L2
| 3 | ss construction company (BID ID -1009325) | 1703907.29 | L3