## BoQ1
Government eProcurement System Created By: GULSHAN MANN Created Date/Time: 09-Apr-2026 04:17 PM Tender Title: Renovation of girls toilets of Punjab School at BBMB Sundernagar,BSL Colony. Tender ID: 2026_BBMB_269772_1
Tender Inviting Authority: Addl Superintending Engineer, Township Division, BBMB, Sundernagar (H.P).
Name of Work: Renovation of girls toilets of Punjab School at BBMB Sundernagar,BSL Colony.
Contract No: NIT No.28/2025-26.
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHIV KUMAR (GSTN-NA) BID ID -1006830 |  | LEKH RAJ (GSTN-NA) BID ID -1007060 |  | M/s Sharma Electrical Works (GSTN-NA) BID ID -1006876
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling of wall tiles at any floor of the building, laid in cement mortar including scraping of cement plaster and disposal of malba at a suitable place within a distance of 100 Mtrs of the complex complete in all respect | 35.72 | Sqm | 1.00 | 40.00 | 1428.80 | 38.00 | 1357.36 | 35.00 | 1250.20 | 1250.20 | M/s Sharma Electrical Works
2.00 | Dismantling of floor tiles at any floor of the building, laid in cement mortar including dismantling of cement concrete base and disposal of malba at a suitable place within a distance of 100 Mtrs of the complex complete in all respect. | 16.46 | Sqm | 1.00 | 40.00 | 658.40 | 35.00 | 576.10 | 35.00 | 576.10 | 576.10 | M/s Sharma Electrical Works, LEKH RAJ
3.00 | 115mm thick brick wall in cement sand mortar 1:4 without reinforcement in superstructure | 8.97 | Sqm | 1.00 | 6500.00 | 58305.00 | 6400.00 | 57408.00 | 6300.00 | 56511.00 | 56511.00 | M/s Sharma Electrical Works
4.00 | Cement concrete 1:4:8 (a) with stone ballast 20mm gauge (ii) mixing by mechanical means using concrete mixer volumetric type | 2.97 | cum | 1.00 | 5000.00 | 14850.00 | 4500.00 | 13365.00 | 4800.00 | 14256.00 | 13365.00 | LEKH RAJ
5.00 | 12.5 mm thick cement plaster 1:5 | 16.65 | Sqm | 1.00 | 250.00 | 4162.50 | 280.00 | 4662.00 | 230.00 | 3829.50 | 3829.50 | M/s Sharma Electrical Works
6.00 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | 24.78 | Sqm | 1.00 | 90.00 | 2230.20 | 89.00 | 2205.42 | 70.00 | 1734.60 | 1734.60 | M/s Sharma Electrical Works
7.00 | Providing and laying Anti-skid Ceramic floor tiles of size 300x300 mm x 10 mm thick of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on flooring skirting and dado in 12.5mm thick cement plaster 1:3 in base and jointed with @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete white cement slurry in joints including corners angles and beading. | 18.80 | Sqm | 1.00 | 1100.00 | 20680.00 | 1087.00 | 20435.60 | 700.00 | 13160.00 | 13160.00 | M/s Sharma Electrical Works
8.00 | Providing and fixing1st quality ceramic glazed wall tiles Matt/Semi Matt/Glosy/Highly Gloss finish/Highlighter/emboss conforming to IS : 15622 (thickness to be specified by the manufacture of approved make in all colours, shades except burgundy, bottle green, black of size200x300mm, 100x200mm, 200x200mm as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12mm thick bed of cement Mortar1:4 (1cement:4 fine sand) and jointing with grey cement slurry @3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 49.27 | Sqm | 1.00 | 1100.00 | 54197.00 | 1087.00 | 53556.49 | 700.00 | 34489.00 | 34489.00 | M/s Sharma Electrical Works
9.00 | Distempering with dry distemper of approved manufacture two or more coats over one priming coat to give an even shade | 24.78 | Sqm | 1.00 | 80.00 | 1982.40 | 80.00 | 1982.40 | 60.00 | 1486.80 | 1486.80 | M/s Sharma Electrical Works
10.00 | Providing and fixing aluminum work for doors ,windows, ventilator sand partitions with extruded built up standard tubular sections/appropriates section sand other sections conforming to Is: 733and IS : 1285 of Jindal, Hindalco, Mahavir or equivalent make approved by Engineer in Charge, fixed with raw plug sand screws or with fixing clips ,or with expansion hold fasteners including necessary filling up of gap sat junctions ,at top ,bottom and sides with required PVC Plug/neoprene etc. Aluminum sections hall best mouth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle, aluminums nap beading for glazing/paneling ,C.P. brass/stainless-steel screws, all complete asper architectural drawing sand the directions of Engineer-In Charge. (Glazing and paneling to be paid for separately) : | 26.70 | Kg. | 1.00 | 650.00 | 17355.00 | 620.00 | 16554.00 | 480.00 | 12816.00 | 12816.00 | M/s Sharma Electrical Works
11.00 | Providing and fixing of 30mm thick factory made Polyvinyl Chloride (PVC) door shutter without chowkhat) made of styles and rail sofa UPVC Plug profile section of size30mmx 60mm and wall thickness 2mm ±0.2mm with inbuilt decorative molding edging on one side. The styles and rails with plastic brackets of size 75x220mm meter and welded at the corners. The- stiles of the shutter reinforced by inserting galvanized MS tube of size 25x20 mm and1mm±0.1mmwall thickness. The lock rail made up of ‘H’ section, a UPVC Plug profile section of size30mmx 100mmand 2mm±0.2mm wall thickness welded to the shutter style with a UPVC Plug profile section single panel of size not less than 620mm,having overall thickness of 20mm and 1mm±0.1 mm wall thickness with 20 mm panel beading of suitable size/Glass (4mm thick paling lass)/louver section, louver frame of suitable size, as per manufactures specification and direction of Engineering charge. (For WC and bathroom door Shutter | 2.34 | sqm | 1.00 | 3200.00 | 7488.00 | 3100.00 | 7254.00 | 2800.00 | 6552.00 | 6552.00 | M/s Sharma Electrical Works
12.00 | Providing and fixing in position C.P. Brass Auto close Pillar Cock of approved make (to the approval of Engineer-in-charge) | 2.00 | Each | 1.00 | 1500.00 | 3000.00 | 1450.00 | 2900.00 | 1100.00 | 2200.00 | 2200.00 | M/s Sharma Electrical Works
13.00 | Providing & Fixing in position 15 mm i/d bib cock of approved make (to the approval of Engineer-in-charge ) complete in all respect (ii) C.P. brass Bib cock foam flow without | 4.00 | Each | 1.00 | 1200.00 | 4800.00 | 1150.00 | 4600.00 | 950.00 | 3800.00 | 3800.00 | M/s Sharma Electrical Works
14.00 | Providing & Fixing in position 15 mm i/d bib cock of approved make (to the approval of Engineer-in-charge ) complete in all respect (viii) PTMT push cock | 11.00 | Each | 1.00 | 1200.00 | 13200.00 | 1150.00 | 12650.00 | 850.00 | 9350.00 | 9350.00 | M/s Sharma Electrical Works
15.00 | Providing & Fixing in position stop cock / Angle valve of approved make (to the approval of Engineer-in-charge ) complete in all respect. (b) C.P. brass 15mm Concealed stop cock with flange | 6.00 | Each | 1.00 | 980.00 | 5880.00 | 970.00 | 5820.00 | 800.00 | 4800.00 | 4800.00 | M/s Sharma Electrical Works
16.00 | Providing and laying, jointing, fixing, testing ISI Marked G.I. Pipe (as per IS 1239) BClass, including cost of Specials such as tees, bends, sockets elbow etc., cutting, hreading and testing in trenches in the ground complete. (a) 15mm i/d | 40.00 | Mtr | 1.00 | 320.00 | 12800.00 | 340.00 | 13600.00 | 150.00 | 6000.00 | 6000.00 | M/s Sharma Electrical Works
17.00 | Providing, fixing and jointing G.I Union Couplings (of approved make with the approval EIC) as per IS 1879 in G.I. Pipe lines complete in all respect. (a)15mm i/d G.I. Union | 10.00 | Each | 1.00 | 90.00 | 900.00 | 87.00 | 870.00 | 75.00 | 750.00 | 750.00 | M/s Sharma Electrical Works
18.00 | Providing and fixing H.C.I. Floor traps conforming to I.S.I. Specification of reputed firm of the self cleaning design with S.S. grating with frame with or without vent arm and including cement concrete 1:2:4 under and around the floor trap where required upto floor level complete in all respects including cutting and making good the walls and floors,etc. (b) With 100mm x 75mm i/d Floor Trap (weighing 5.8 Kg) | 3.00 | Each | 1.00 | 90.00 | 270.00 | 87.00 | 261.00 | 80.00 | 240.00 | 240.00 | M/s Sharma Electrical Works
19.00 | Providing, Laying , fixing & jointing of P.V.C. Pipes as per ISI-4985 (ISI marked with the prior approval of Engineer-in-Charge) along the Trenches and laying the same in Trenches to correct alignment and gradients, cutting, jointing and testing complete as per specifications. (iv) 110mm o/d pipe of 10 Kgf. / sqcm | 20.00 | Mtr. | 1.00 | 650.00 | 13000.00 | 640.00 | 12800.00 | 300.00 | 6000.00 | 6000.00 | M/s Sharma Electrical Works
20.00 | Providing, Laying , fixing & jointing of P.V.C. Pipes as per ISI-4985 (ISI marked with the prior approval of Engineer-in-Charge) along the Trenches and laying the same in Trenches to correct alignment and gradients, cutting, jointing and testing complete as per specifications. (ii) 75 mm o/d pipe of 10 Kgf. / sqcm | 10.00 | Mtr. | 1.00 | 500.00 | 5000.00 | 450.00 | 4500.00 | 350.00 | 3500.00 | 3500.00 | M/s Sharma Electrical Works
21.00 | Providing & fixing in position C.P. copper tube connection of approved make (to the approval of Engineer-in-charge ) complete in all respect. ( c) C.P. copper tube connection of Size 15 mm x 600 mm with C.P. Brass Nut | 6.00 | Each | 1.00 | 300.00 | 1800.00 | 300.00 | 1800.00 | 200.00 | 1200.00 | 1200.00 | M/s Sharma Electrical Works
22.00 | Providing & Fixing in position 5mm thick bevelled edge mirror of superior glass (of approved make) complete with 4mm thick hard board backing fixed in with rawl plugs 50mm, C.P. brass screws and washers and S/S Studs on top complete in all respect (as required by the Engineer-in- Charge) (a ) Size 600mmx450mm | 2.00 | Each | 1.00 | 1200.00 | 2400.00 | 1199.00 | 2398.00 | 900.00 | 1800.00 | 1800.00 | M/s Sharma Electrical Works
23.00 | Providing and fixing in position C.P. brass soap dish of approved make (to the approval of Engineer-in-charge ) fixed into wall with rawl plugs and C.P brass screws complete in all respect | 2.00 | Each | 1.00 | 800.00 | 1600.00 | 750.00 | 1500.00 | 650.00 | 1300.00 | 1300.00 | M/s Sharma Electrical Works
24.00 | Providing and fixing in position vitreous chinaware white lavatory suites of approved make (to the approval of Engineer-in-charge) including Rack Bolt Screw Pair 115mm long without CP fittings complete in all respect. (ii) Size 550 mm x 400 mm x 815 mm | 2.00 | Each | 1.00 | 5800.00 | 11600.00 | 5500.00 | 11000.00 | 4000.00 | 8000.00 | 8000.00 | M/s Sharma Electrical Works
25.00 | Providing and fixing in position Chinaware Indian Orisa water closet size 580x440 mm of approved make (to the approval of the Engineer-in-charge) consisting of 10 ltr. PVC flushing cistern ISI marked including cost of PVC long bend 32 mm dia complete in all respect and to the entire satisfaction of Engineer-in-charge | 3.00 | Each | 1.00 | 5500.00 | 16500.00 | 5500.00 | 16500.00 | 3700.00 | 11100.00 | 11100.00 | M/s Sharma Electrical Works
26.00 | Providing and fixing in position Chinaware European type water closet P trapor S trap of approved make (to the approval of the Engineer-in-charge) consisting of 10ltr. PVC flushing cistern ISI marked, PVC short bend 32mmdia including cost of seat cover complete in all respect and to the entire satisfaction of Engineer-in-charge | 1.00 | Each | 1.00 | 5000.00 | 5000.00 | 4900.00 | 4900.00 | 4200.00 | 4200.00 | 4200.00 | M/s Sharma Electrical Works
27.00 | ERECTION OF FANS: Erection of Ceiling/ Cabin/ Exhaust fan having connection with PVC insulated PVC sheathed two single core copper conductor (FR) cable 0.75sq.mm complete:- (c ) Erection of Exhaust fan with louver shutter on the wall/ window grill | 2.00 | No. | 1.00 | 1700.00 | 3400.00 | 1500.00 | 3000.00 | 1100.00 | 2200.00 | 2200.00 | M/s Sharma Electrical Works
28.00 | Electric Exhaust Fan 300mm | 1.00 | No. | 1.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 1500.00 | 1500.00 | 500.00 | LEKH RAJ
29.00 | RECESSED PVC CONDUIT PIPE WIRING SYSTEM WITH MODULAR SWITCHES: Wiring in PVC insulated copper conductor single core FR cable (ISI marked) overall 1.5sq. mm, 1100volts grade to be laid in heavy gauge PVC conduit pipe 20mm/ 25mm dia. (ISI Marked) recessed in wall etc., complete with powder coated/anodized concealed metal boxes (1.6mm thick with Brass lugs) required for suitable number of modules (Modular accessories) for having Step type electronic fan regulators (two module) 100watts, bell push, 6Amp. 2/3 universal socket (shuttered), 16/20Amp. combined/ universal Socket (shuttered), 6/10Amp. Switches, 16/20Amp. switches with indicator etc. and covered with Frame Plate etc., PVC connector (For Fan Box and Call Bell), Steel Hooks, Sheet metal fan box (1.6mm thick shape hexagonal), Circular junction Boxes (Four way PVC 1½" deep for walls and CI 3" deep for ceiling), bonding to earth with PVC insulated copper conductor single core FR cable (ISI marked) 1sq. mm, 1100volts grade (For 6Amp. wall socket & plug control point) and other petty material etc., including the cost of above material, cutting and filling up of chases (with finishing the surface):- Wiring light point | 5.00 | Each | 1.00 | 1100.00 | 5500.00 | 1100.00 | 5500.00 | 950.00 | 4750.00 | 4750.00 | M/s Sharma Electrical Works
30.00 | Wiring 6Amp. Plug control comprising wall socket point | 3.00 | Each | 1.00 | 600.00 | 1800.00 | 600.00 | 1800.00 | 500.00 | 1500.00 | 1500.00 | M/s Sharma Electrical Works
| Total in Figures |  |  |  |  | 293787.30 |  | 286255.37 |  | 220851.20
Lowest Amount Quoted BY: M/s Sharma Electrical Works(220851.20)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of girls toilets of Punjab School at BBMB Sundernagar,BSL Colony. Tender ID: 2026_BBMB_269772_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Sharma Electrical Works (BID ID -1006876) | 220851.20 | L1
| 2 | LEKH RAJ (BID ID -1007060) | 286255.37 | L2
| 3 | SHIV KUMAR (BID ID -1006830) | 293787.30 | L3