## BoQ1
Government eProcurement System Created By: GULSHAN MANN Created Date/Time: 22-May-2026 02:50 PM Tender Title: Execution of replacement and installation of paver blocks, chequered tiles and stone pitching including surface preparation and associated works at link sadan in BBMB Colony, Sundernagar Tender ID: 2026_BBMB_274797_1
Tender Inviting Authority: Addl Superintending Engineer, Township Division, BBMB, Sundernagar (H.P).
Name of Work: Execution of replacement & installation of paver blocks, chequered tiles and stone pitching including surface preparation and associated works at link sadan in BBMB Colony, Sundernagar
Contract No: NIT No.1/2026-27.
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Kashmir Singh (GSTN-NA) BID ID -1022043 |  | Rajat Soni (GSTN-NA) BID ID -1022073 |  | JMM INFRACON (GSTN-NA) BID ID -1021704 |  | SHIV KUMAR (GSTN-NA) BID ID -1022141
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling concrete Cement concrete plain 1:4:8 or 1:5:10 | 131.54 | cum | 1.00 | 900.00 | 118386.00 | 850.00 | 111809.00 | 850.00 | 111809.00 | 850.00 | 111809.00 | 111809.00 | JMM INFRACON, Rajat Soni, SHIV KUMAR
2.00 | Dismantling pucca grouted pitching | 24.75 | Cum | 1.00 | 650.00 | 16087.50 | 600.00 | 14850.00 | 550.00 | 13612.50 | 650.00 | 16087.50 | 13612.50 | JMM INFRACON
3.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge/pavement, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in- Charge. | 140.64 | Sqm | 1.00 | 150.00 | 21096.00 | 180.00 | 25315.20 | 750.00 | 105480.00 | 200.00 | 28128.00 | 21096.00 | Kashmir Singh
4.00 | Earth work in excavation in foundations trenches etc. in all kinds of soil where Pick-Jumper work is not involved and not exceeding 2.0 metres depth including dressing of bottom and sides of trenches, stacking the excavated soil clear from the edge of excavation and subsequent filling around masonry in 15 cm, layers with compaction including disposal of all surplus soil as directed within lead of 30 metres. | 144.51 | cum | 1.00 | 250.00 | 36127.50 | 250.00 | 36127.50 | 350.00 | 50578.50 | 300.00 | 43353.00 | 36127.50 | Kashmir Singh, Rajat Soni
5.00 | Cement concrete 1:5:10 With stone aggregate 40mm gauge mixing by mechanical means using concrete mixer volumetric type | 144.51 | cum | 1.00 | 4800.00 | 693648.00 | 3923.00 | 566912.73 | 5800.00 | 838158.00 | 4700.00 | 679197.00 | 566912.73 | Rajat Soni
6.00 | Providing and laying 60 mm thick factory made cement concrete interlocking Paving blocks of M-35 grade manufactured by block making machine equipped with steel mould clamped to a strong vibratory table with hydraulic pressure for compaction of concrete as per IRC SP 63 -2014 and of approved size and design / shape laid in Ordinary Grey Colour and pattern over and including 40 mm thick compacted bed of coarse sand, filling the joints with fine sand etc, all complete as per directions of Engineer-in- Charge. | 542.28 | sqm | 1.00 | 850.00 | 460938.00 | 850.00 | 460938.00 | 1400.00 | 759192.00 | 900.00 | 488052.00 | 460938.00 | Kashmir Singh, Rajat Soni
7.00 | Extra Cost for using darker fast shade for interlocking pavers Tiles of any shape & thickness instead of grey colours. | 542.28 | sqm | 1.00 | 100.00 | 54228.00 | 80.00 | 43382.40 | 1250.00 | 677850.00 | 90.00 | 48805.20 | 43382.40 | Rajat Soni
8.00 | Providing and Laying Out Door precast designer chequered tiles of any size & any shape 25mm thickness having top layer of white cement mixed with pigment, laid on 20mm thick bed of ordinary cement mortar 1:3 (1 ordinary cement: 3 fine sand), joints grouted with white cement slurry containing pigment to match the shade complete in all respect as per specifications and to the entire satisfaction of engineer-in-charge. | 552.24 | sqm | 1.00 | 1200.00 | 662688.00 | 1220.00 | 673732.80 | 3200.00 | 1767168.00 | 1250.00 | 690300.00 | 662688.00 | Kashmir Singh
9.00 | Stone or Kankar block pitching:- On slopes of guide bandh andprotection works | 49.51 | cum | 1.00 | 2200.00 | 108922.00 | 2600.00 | 128726.00 | 600.00 | 29706.00 | 2200.00 | 108922.00 | 29706.00 | JMM INFRACON
10.00 | Fine grassing including uprooting rank vegetation and weeds by digging the area to a depth of 30 cm, removing all weeds and other growth with roots by forking repeatedly, breaking clods, rough dressing, flooding with water, uprooting fresh growth after 10 to 15 days, mixing fertilizer and then fine dressing for planting new grass, including disposal of all rubbish with all leads and lifts, watering, weeding and maintenance for 30 days or till thick lawn is formed. Planting Selection no. 1 grass roots in rows 5 cm apart in both directions. | 807.68 | Sqm | 1.00 | 180.00 | 145382.40 | 89.00 | 71883.52 | 450.00 | 363456.00 | 85.00 | 68652.80 | 68652.80 | SHIV KUMAR
11.00 | Renovating lawns including weeding, cheeling the grass, forking the ground, top dressing with mixture of good earth and manure 1:1, mixing the same with forked soil, watering and maintaining the lawn for 30 days or more till the grass forms a thick lawn free from weeds and fit for mowing and disposal of rubbish as directed | 1108.20 | Sqm | 1.00 | 80.00 | 88656.00 | 75.00 | 83115.00 | 550.00 | 609510.00 | 55.00 | 60951.00 | 60951.00 | SHIV KUMAR
12.00 | Supply and installation of pop up sprinklers Pop up Impact Rotors 3/4" inlet and radius ranging from 7-12 m with interchangeable nozzles and all accessories complete and setting flow rate as directed. | 4.00 | no. | 1.00 | 1800.00 | 7200.00 | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 1350.00 | 5400.00 | 5400.00 | SHIV KUMAR
13.00 | Supply and installation of Rain Gun. Rain Gun with throw radius of 14-22 m, with interchangeable nozzles and arc adjustment and all accessories complete | 4.00 | no. | 1.00 | 15000.00 | 60000.00 | 14000.00 | 56000.00 | 7000.00 | 28000.00 | 11500.00 | 46000.00 | 28000.00 | JMM INFRACON
14.00 | Providing cement pots at site of work, filling 2/3rd volume with mixture of good earth and screened manure and cocopeat in the ratio 2:1:1. 45 cm size of pots | 40.00 | no. | 1.00 | 350.00 | 14000.00 | 350.00 | 14000.00 | 2000.00 | 80000.00 | 380.00 | 15200.00 | 14000.00 | Kashmir Singh, Rajat Soni
15.00 | Providing cement pots at site of work, filling 2/3rd volume with mixture of good earth and screened manure and cocopeat in the ratio 2:1:1. 60 cm size of pots | 25.00 | no. | 1.00 | 800.00 | 20000.00 | 750.00 | 18750.00 | 2500.00 | 62500.00 | 790.00 | 19750.00 | 18750.00 | Rajat Soni
16.00 | Supply and installation of filters/ pressure relief valve for drip/ sprinkler system Hydrocyclone/ Sand separator 20-40cum/hr, with flush valve | 4.00 | no. | 1.00 | 16000.00 | 64000.00 | 16000.00 | 64000.00 | 2000.00 | 8000.00 | 15000.00 | 60000.00 | 8000.00 | JMM INFRACON
17.00 | Providing and fixing of white river (Stone) pebbles size of 2" to 2.50" dia in natural colour at site of work including loading, unloading and carriage | 105.89 | sqm | 1.00 | 950.00 | 100595.50 | 850.00 | 90006.50 | 1200.00 | 127068.00 | 875.00 | 92653.75 | 90006.50 | Rajat Soni
18.00 | Providing and laying vitrified floor tiles of different sizes in light colour shades made using Double Charge technology (thickness to be specified by the manufacturer) with water absorption’s less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement: 4 fine sand), complete. Size 600x600 mm | 81.81 | Sqm | 1.00 | 1500.00 | 122715.00 | 1350.00 | 110443.50 | 1400.00 | 114534.00 | 1250.00 | 102262.50 | 102262.50 | SHIV KUMAR
19.00 | Black Granite stone tiles 15mm to 20mm thick in skirting, risers of steps, dado walls and pillars laid in 12.5mm thick cement mortar 1:3 (1 cement 3 coarse sand) and jointed with neat cement slurry mixed with pigment to match the shade of stone, including rubbing and polishing including labour for fixing dowel pins and cramps. | 5.67 | Sqm | 1.00 | 4500.00 | 25515.00 | 3800.00 | 21546.00 | 3500.00 | 19845.00 | 4000.00 | 22680.00 | 19845.00 | JMM INFRACON
20.00 | Wrought iron & Mild steel ladders, framed grills, gratings etc. with ends of bars riveted or molded forged framed window guards, barred iron doors stair case iron railing etc. including cost of bolts and nuts, screws, welding rod complete fixing in position | 3.95 | Qtl | 1.00 | 11000.00 | 43450.00 | 10600.00 | 41870.00 | 12500.00 | 49375.00 | 11000.00 | 43450.00 | 41870.00 | Rajat Soni
21.00 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of size 50 mm x 1.6 mm complete, all as per direction of Engineer -in-charge. | 138.00 | No. | 1.00 | 1500.00 | 207000.00 | 1500.00 | 207000.00 | 2000.00 | 276000.00 | 1500.00 | 207000.00 | 207000.00 | Kashmir Singh, Rajat Soni, SHIV KUMAR
22.00 | First class burnt brick work laid in cement sand mortar 1:5 in foundation and plinth | 140.93 | cum | 1.00 | 8500.00 | 1197905.00 | 7500.00 | 1056975.00 | 6500.00 | 916045.00 | 6500.00 | 916045.00 | 916045.00 | JMM INFRACON, SHIV KUMAR
23.00 | 12.5 mm thick cement plaster 1:5 | 153.18 | Sqm | 1.00 | 250.00 | 38295.00 | 220.00 | 33699.60 | 450.00 | 68931.00 | 300.00 | 45954.00 | 33699.60 | Rajat Soni
24.00 | Repairs to plaster in patches of Area 2.5 sqm and under including cutting the patch in proper shape and preparing and plastering the surface of the walls complete including disposal of rubbish to the dumping ground within 50 Metres lead With cement mortar 1:4 (1 cement:4 sand) Taking area 2.5 sqm | 176.84 | Sqm | 1.00 | 210.00 | 37136.40 | 195.00 | 34483.80 | 450.00 | 79578.00 | 250.00 | 44210.00 | 34483.80 | Rajat Soni
25.00 | Finishing walls with cement based water soluble exterior paint such as snowcem, robbiacem etc. two or more coats to give an even shade | 355.10 | Sqm | 1.00 | 95.00 | 33734.50 | 95.00 | 33734.50 | 100.00 | 35510.00 | 95.00 | 33734.50 | 33734.50 | Kashmir Singh, Rajat Soni, SHIV KUMAR
26.00 | Applying priming coat with metal primer on new steel or iron work including preparation of surface. | 11.20 | Sqm | 1.00 | 35.00 | 392.00 | 35.00 | 392.00 | 120.00 | 1344.00 | 45.00 | 504.00 | 392.00 | Kashmir Singh, Rajat Soni
27.00 | Painting two or more coats excluding priming coat with synthetic enamel paint in all shades on wood work, metallic or plastered, concrete surface to give an even shade. | 258.72 | Sqm | 1.00 | 90.00 | 23284.80 | 96.00 | 24837.12 | 350.00 | 90552.00 | 90.00 | 23284.80 | 23284.80 | Kashmir Singh, SHIV KUMAR
28.00 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats) | 176.84 | Sqm | 1.00 | 120.00 | 21220.80 | 125.00 | 22105.00 | 400.00 | 70736.00 | 200.00 | 35368.00 | 21220.80 | Kashmir Singh
29.00 | Providing and laying, jointing, fixing, testing ISI Marked G.I. Pipe (as per IS 1239) B- Class, including cost of Specials such as tees, bends, sockets elbow etc., cutting, threading and testing in trenches in the ground complete. 20mm i/d | 266.00 | mtr | 1.00 | 350.00 | 93100.00 | 325.00 | 86450.00 | 320.00 | 85120.00 | 350.00 | 93100.00 | 85120.00 | JMM INFRACON
30.00 | Providing, fixing and jointing ISI Marked Gun- Metal peet valves (Heavy Pattern) as per IS 778 with hand wheels, on G.I. Pipe lines laid in the ground or inside buildings including all carriages complete. 20mm i/d Gun Metal peet valve heavy pattern. | 5.00 | No. | 1.00 | 650.00 | 3250.00 | 698.00 | 3490.00 | 2000.00 | 10000.00 | 700.00 | 3500.00 | 3250.00 | Kashmir Singh
31.00 | Construction of masonary Sluice Valve Chamber excluding Sluice valve cover as per standard design & drawings of public health department. Size 0.6 m. x 0.6 m. | 5.00 | No. | 1.00 | 7000.00 | 35000.00 | 6900.00 | 34500.00 | 5000.00 | 25000.00 | 6500.00 | 32500.00 | 25000.00 | JMM INFRACON
32.00 | Providing and applying Anti Termite Treatment using post constructional chemical treatment measures as per IS - 6313 - 2001 (Part 3) & using Chemical containing chloropyrifos systemic insecticide diluted to manufacturer's specifications by drilling holes in the floor slab & along skirting 300 mm apart & 12 mm dia, drilling holes along all possible entry points such as junctions of floor and walls, door frames, sewage lines, entry points , etc. & injecting them with the chemical solution. Note :- The Engineer in Charge will ensure consumption of chemical as per manufacturer's specifications & minimum 5 years warranty from the concerned dealer. | 308.00 | Ltr | 1.00 | 1500.00 | 462000.00 | 1295.00 | 398860.00 | 400.00 | 123200.00 | 1500.00 | 462000.00 | 123200.00 | JMM INFRACON
| Total in Figures |  |  |  |  | 5015953.40 |  | 4575935.17 |  | 7605858.00 |  | 4648854.05
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words (Iteration 0)
|  |  | Bidder Price | Amount in Words
1 | JMM INFRACON (BID ID -1021704) | 4575935.00 | Not Quoted | Not Quoted
2 | Rajat Soni (BID ID -1022073) | 4575935.00 | 4209855.00 | Forty Two Lakh Nine Thousand Eight Hundred and Fifty Five
3 | SHIV KUMAR (BID ID -1022141) | 4575935.00 | 3180255.00 | Thirty One Lakh Eighty Thousand Two Hundred and Fifty Five
4 | Kashmir Singh (BID ID -1022043) | 4575935.00 | 3088735.00 | Thirty Lakh Eighty Eight Thousand Seven Hundred and Thirty Five
Lowest Amount Quoted BY: Kashmir Singh(3088735.00)

## BOQ Summary
BOQ Summary Details Tender Title: Execution of replacement and installation of paver blocks, chequered tiles and stone pitching including surface preparation and associated works at link sadan in BBMB Colony, Sundernagar Tender ID: 2026_BBMB_274797_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rajat Soni (BID ID -1022073) | 4575935.17 | L1
| 2 | SHIV KUMAR (BID ID -1022141) | 4648854.05 | L2
| 3 | Kashmir Singh (BID ID -1022043) | 5015953.40 | L3
| 4 | JMM INFRACON (BID ID -1021704) | 7605858.00 | L4