## BoQ1
Government eProcurement System Created By: GULSHAN MANN Created Date/Time: 13-Jul-2026 03:52 PM Tender Title: Upgradation of STP at Bharjawanoo BBMB Sundernagar Tender ID: 2026_BBMB_275079_1
Tender Inviting Authority: Addl Superintending Engineer, Township Division, BBMB, Sundernagar (H.P).
Name of Work: Upgradation of STP at Bharjawanoo BBMB Sundernagar.
Contract No: NIT No.2/2026-27.
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OZONE RESEARCH AND APPLICATIONS (INDIA) PRIVATE LIMITED (GSTN-NA) BID ID -1026045 |  | M/s Eco Paryavaran Engineers and Consultants Private Limited (GSTN-NA) BID ID -1026109 |  | S.R.Paryavaran Engineers Pvt. Ltd. (GSTN-NA) BID ID -1029586
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation in foundations trenches etc. in all kinds of soil where Pick-Jumper work is not involved and not exceeding 2.0 metres depth including dressing of bottom and sides of trenches, stacking the excavated soil clear from the edge of excavation and subsequent filling around masonry in 15 cm, layers with compaction including disposal of all surplus soil as directed within lead of 30 metres. | 351.74 | Cum | 1.00 | 550.00 | 193457.00 | 550.00 | 193457.00 | 575.00 | 202250.50 | 193457.00 | OZONE RESEARCH AND APPLICATIONS (INDIA) PRIVATE LIMITED, M/s Eco Paryavaran Engineers and Consultants Private Limited
2.00 | Cement concrete 1:4:8 (b) With stone aggregate 40mm gauge (ii) mixing by mechanical means using concrete mixer volumetric type | 47.32 | Cum | 1.00 | 8500.00 | 402220.00 | 8000.00 | 378560.00 | 8900.00 | 421148.00 | 378560.00 | M/s Eco Paryavaran Engineers and Consultants Private Limited
3.00 | Reinforced cement concrete M-25 mechanically batch mixed using batch type concrete mixer as per IS:1791 and vibrated by needle vibrator but excluding steel reinforcement centring and shuttering in superstructure. | 150.93 | Cum | 1.00 | 11800.00 | 1780974.00 | 12500.00 | 1886625.00 | 12100.00 | 1826253.00 | 1780974.00 | OZONE RESEARCH AND APPLICATIONS (INDIA) PRIVATE LIMITED
4.00 | Centering and shuttering for faces of walls, partitions, retaining walls and the like (vertical or battering) including. Attached pilasters, buttresses etc when curved. | 1241.21 | Sqm | 1.00 | 700.00 | 868847.00 | 750.00 | 930907.50 | 650.00 | 806786.50 | 806786.50 | S.R.Paryavaran Engineers Pvt. Ltd.
5.00 | Cold twisted detormed (Ribbed/ Tor steel) Bars (Fe 500 grade as per IS 1786-2008) , for R.C.Cworks, where not including in the complete rate of RCC including bending and binding placing in position complete | 167.53 | Qtl. | 1.00 | 10500.00 | 1759065.00 | 12500.00 | 2094125.00 | 12300.00 | 2060619.00 | 1759065.00 | OZONE RESEARCH AND APPLICATIONS (INDIA) PRIVATE LIMITED
6.00 | Supply, installation and commissioning of sewerage treatment plant as per technical specification & scope of supply . | 1.00 | Job | 1.00 | 14400000.00 | 14400000.00 | 14000000.00 | 14000000.00 | 14600000.00 | 14600000.00 | 14000000.00 | M/s Eco Paryavaran Engineers and Consultants Private Limited
7.00 | Supply of equipment’s of UF of capacity 41.2 m3/hr. as per technical specification which is required to achieve the revised parameter as per PCB. | 1.00 | Job | 1.00 | 4000000.00 | 4000000.00 | 3700000.00 | 3700000.00 | 4200000.00 | 4200000.00 | 3700000.00 | M/s Eco Paryavaran Engineers and Consultants Private Limited
8.00 | Consultancy charges (Design Drawings of STP vetting from Independent Institute) | 1.00 | L.S | 1.00 | 300000.00 | 300000.00 | 500000.00 | 500000.00 | 650000.00 | 650000.00 | 300000.00 | OZONE RESEARCH AND APPLICATIONS (INDIA) PRIVATE LIMITED
9.00 | 5 year contract agreement for smooth operation & maintenance of STP (Annuxure-I) | 5.00 | Year | 1.00 | 1800000.00 | 9000000.00 | 1700000.00 | 8500000.00 | 1900000.00 | 9500000.00 | 8500000.00 | M/s Eco Paryavaran Engineers and Consultants Private Limited
10.00 | Online Water Quality Analyser: Advance Analytic (Insertion Type Water Quality Analyser) Online EQMS System Parameters: BOD, COD, TSS & PH “Viz-Eco-Duo” Dual Channel Universal Controller Display: 128*64 Graphic Dot matrix LCD with LED strong backlight Main material: Glass-filled nylon synthetic polyamide thermoplastic (top cover): Aluminum powder dusting (lower shell ) Output: 2 x 4-20mA analog output Relay: Two relays SPDT contact Communication protocol: Equipped with MODBUS RS485 Power supply: AC power supply: 80-265 VAC (50/60Hz): DC power supply: 9-36VDC Enclosure: IP65/Nerma4xDimensions:145*125*162mm (L*W*H) “VizSens UV COD: Digital sensor with RS-485 output, supporting MODBUS protocol. Capable of measuring: COD: 0 to 1000 ppm BOD: 0 to 750 ppm TSS: 0 to 500 ppm.”VizSens-pH (A )Analog pH Sensor. Measuring range-0-14 having. | 1.00 | No. | 1.00 | 700000.00 | 700000.00 | 900000.00 | 900000.00 | 830000.00 | 830000.00 | 700000.00 | OZONE RESEARCH AND APPLICATIONS (INDIA) PRIVATE LIMITED
11.00 | Data Transmission with SCADA Package Datalogger with Scada automation and 5 Year Data Transmission to CPCB and SPCB | 5.00 | No. | 1.00 | 50000.00 | 250000.00 | 80000.00 | 400000.00 | 90000.00 | 450000.00 | 250000.00 | OZONE RESEARCH AND APPLICATIONS (INDIA) PRIVATE LIMITED
12.00 | Internet charges for 05 year | 5.00 | No. | 1.00 | 15000.00 | 75000.00 | 15000.00 | 75000.00 | 14750.00 | 73750.00 | 73750.00 | S.R.Paryavaran Engineers Pvt. Ltd.
| Total in Figures |  |  |  |  | 33729563.00 |  | 33558674.50 |  | 35620807.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words (Iteration 0)
|  |  | Bidder Price | Amount in Words
1 | OZONE RESEARCH AND APPLICATIONS (INDIA) PRIVATE LIMITED (BID ID -1026045) | 33558675.00 | Not Quoted | Not Quoted
2 | M/s Eco Paryavaran Engineers and Consultants Private Limited (BID ID -1026109) | 33558675.00 | 33223089.00 | Three Crore Thirty Two Lakh Twenty Three Thousand Eighty Nine
3 | S.R.Paryavaran Engineers Pvt. Ltd. (BID ID -1029586) | 33558675.00 | 33390882.00 | Three Crore Thirty Three Lakh Ninety Thousand Eight Hundred and Eighty Two
Lowest Amount Quoted BY: M/s Eco Paryavaran Engineers and Consultants Private Limited(33223089.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upgradation of STP at Bharjawanoo BBMB Sundernagar Tender ID: 2026_BBMB_275079_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Eco Paryavaran Engineers and Consultants Private Limited (BID ID -1026109) | 33558674.50 | L1
| 2 | OZONE RESEARCH AND APPLICATIONS (INDIA) PRIVATE LIMITED (BID ID -1026045) | 33729563.00 | L2
| 3 | S.R.Paryavaran Engineers Pvt. Ltd. (BID ID -1029586) | 35620807.00 | L3