## BoQ1
Government eProcurement System Created By: Sandeep Maan Created Date/Time: 08-Jun-2026 04:14 PM Tender Title: Supply, testing, installation and commissioning of 3 Nos. 8.5 Ton Ductable Air Conditioners at 220kV Sub Station, BBMB, Kurukshetra Tender ID: 2026_BBMB_277469_1
Tender Inviting Authority: Addl. SE, O&M Division, BBMB, Kurukshetra
Name of Work: Supply, testing, installation & commissioning of 3 Nos. 8.5 Ton Ductable Air Conditioners at 220kV Sub Station, BBMB, Kurukshetra
Contract No: 44/2026-27/BBMB/Kurukshetra
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Phool Kumar (GSTN-NA) BID ID -1028293 |  | Mashaal Enterprises (GSTN-NA) BID ID -1028102 |  | TradeMighty/Tabish Rashid Shaikh (GSTN-NA) BID ID -1028326
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, testing, installation & commissioning of Ductable Air Conditioner Units equipped with highly efficient scroll compressors(s) with special pre coated heat exchanger, low noise condenser fan housed in compact housing duly powder coated. Outdoor units shall have both cooing only mode, and environment friendly refrigerant R-410A. ODU should have 100% capacity at 43 Degree Celsius and Nonstop cooling up to 56 Degree Celsius. The Duct able air conditioners system is well-suited for part load operation, which allows great functionally completed in all respect. Make:- Hitachi
1.01 | Ductable Air Conditioner, Capacity 8.5 Ton | 3.00 | Nos | 1.25 | 185000.00 | 555000.00 | 174300.00 | 522900.00 | 195250.00 | 585750.00 | 522900.00 | Mashaal Enterprises
2.00 | Installation, testing and commissioning of Ductable Air Conditioners units, with Nitrogen Reprocessing, vacuuming, charging and Top-up of R410A Gas as per requirement at site complete as per specifications and drawings
2.01 | Installation, testing and commissioning of Ductable unit capacity 8.5 Ton | 3.00 | Job | 0.00 | 25000.00 | 75000.00 | 10000.00 | 30000.00 | 25000.00 | 75000.00 | 30000.00 | Mashaal Enterprises
3.00 | Providing & fixing of inter connecting 22/18G copper piping between indoor & outdoor units as per manufacturer specifications duly insulated with closed cell nitrile foam tabular insulation of 13/19mm thickness
3.01 | 1.1/8 hard copper (insulation 19mm) | 20.00 | Rmt | 100.00 | 2500.00 | 50000.00 | 2500.00 | 50000.00 | 2500.00 | 50000.00 | 50000.00 | Mashaal Enterprises, Phool Kumar, TradeMighty/Tabish Rashid Shaikh
3.02 | 1/2 hard copper (insulation 19mm) | 20.00 | Rmt | 53.00 | 1500.00 | 30000.00 | 1440.00 | 28800.00 | 1500.00 | 30000.00 | 28800.00 | Mashaal Enterprises
4.00 | Supplying, installing and testing of UPVC pipe (heavy duty) with 6mm thick nitrile rubber insulation with protective coating as per the approved shop drawings and specification. Tube insulation shall be covered with fiber glass cloth with acrylic compound
4.01 | 25 mm | 15.00 | Rmt | 10.00 | 450.00 | 6750.00 | 350.00 | 5250.00 | 500.00 | 7500.00 | 5250.00 | Mashaal Enterprises
5.00 | Providing & fixing of shielded control cum transmission flexible copper wiring of in 25mm dia PVC conduits between indoor units & outdoor units | 20.00 | Rmt | 11.00 | 1000.00 | 20000.00 | 890.00 | 17800.00 | 1060.00 | 21200.00 | 17800.00 | Mashaal Enterprises
6.00 | Supply and fixing of MS stand for ODU | 2.00 | Nos | 10.00 | 4500.00 | 9000.00 | 4500.00 | 9000.00 | 6000.00 | 12000.00 | 9000.00 | Mashaal Enterprises, Phool Kumar
7.00 | Loading and unloading of indoor and outdoor unit | 1.00 | Lot | 22.00 | 5500.00 | 5500.00 | 3500.00 | 3500.00 | 7500.00 | 7500.00 | 3500.00 | Mashaal Enterprises
8.00 | SITC of refrigerant R-410 A | 25.00 | Kg | 0.00 | 1000.00 | 25000.00 | 4850.00 | 121250.00 | 4500.00 | 112500.00 | 25000.00 | Phool Kumar
9.00 | SITC of GI seat fabricated ducting for ductable Nitrile insulation unit | 70.00 | Sqft | 1.00 | 1500.00 | 105000.00 | 550.00 | 38500.00 | 390.00 | 27300.00 | 27300.00 | TradeMighty/Tabish Rashid Shaikh
10.00 | SITC of canvass connection | 2.00 | Nos | 1.00 | 4500.00 | 9000.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 5000.00 | Mashaal Enterprises
| Total in Figures |  |  |  |  | 890250.00 |  | 832000.00 |  | 937750.00
Lowest Amount Quoted BY: Mashaal Enterprises(832000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, testing, installation and commissioning of 3 Nos. 8.5 Ton Ductable Air Conditioners at 220kV Sub Station, BBMB, Kurukshetra Tender ID: 2026_BBMB_277469_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mashaal Enterprises (BID ID -1028102) | 832000.00 | L1
| 2 | Phool Kumar (BID ID -1028293) | 890250.00 | L2
| 3 | TradeMighty/Tabish Rashid Shaikh (BID ID -1028326) | 937750.00 | L3