## BoQ1
Government eProcurement System Created By: GULSHAN MANN Created Date/Time: 21-Aug-2026 04:07 PM Tender Title: Retrofitting of public toilets in colony area at BBMB Sundernagar Tender ID: 2026_BBMB_283533_1
Tender Inviting Authority: Addl Superintending Engineer, Township Division, BBMB, Sundernagar (H.P).
Name of Work: Retrofitting of public toilets in colony area at BBMB Sundernagar.
Contract No: NIT No.10/2026-27.
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHIV KUMAR (GSTN-NA) BID ID -1059163 |  | Ranjeet Singh (GSTN-NA) BID ID -1059150 |  | Chuni Lal (GSTN-NA) BID ID -1054905
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling of floor tiles at any floor of the building, laid in cement mortar including dismantling of cement concrete base and disposal of malba at a suitable place within a distance of 100 Mtrs. of the complex complete in all respect. | 2.58 | Sqm | 1.00 | 135.00 | 348.30 | 155.00 | 399.90 | 150.00 | 387.00 | 348.30 | SHIV KUMAR
2.00 | Dismantling brick work tile, masonry or tile lining. (b ) In cement | .29 | Cum | 1.00 | 650.00 | 188.50 | 755.00 | 218.95 | 750.00 | 217.50 | 188.50 | SHIV KUMAR
3.00 | Earth work in excavation in foundations trenches etc. in all kinds of soil where Pick-Jumper work is not involved and not exceeding 2.0 metres depth including dressing of bottom and sides of trenches, stacking the excavated soil clear from the edge of excavation and subsequent filling around masonry in 15 cm, layers with compaction including disposal of all surplus soil as directed within lead of 30 metres | 22.39 | Cum | 1.00 | 220.00 | 4925.80 | 255.00 | 5709.45 | 200.00 | 4478.00 | 4478.00 | Chuni Lal
4.00 | Cement concrete 1:2:4 a) With stone ballast or shingle (ii) mixing by mechanical means using concrete mixer volumetric type | 4.77 | Cum | 1.00 | 4500.00 | 21465.00 | 6055.00 | 28882.35 | 6000.00 | 28620.00 | 21465.00 | SHIV KUMAR
5.00 | Providing and laying Anti skid Ceramic floor tiles of size 300x300 mm x 10 mm thick of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on flooring skirting and dado in 12.5mm thick cement plaster 1:3 in base and jointed with @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete white cement slurry in joints including corners angles and beading | 2.58 | Sqm | 1.00 | 700.00 | 1806.00 | 1255.00 | 3237.90 | 1200.00 | 3096.00 | 1806.00 | SHIV KUMAR
6.00 | Providing and fixing in position C.P. Brass Auto close Pillar Cock of approved make (to the approval of Engineer-in-charge) | 16.00 | Each | 1.00 | 2100.00 | 33600.00 | 2755.00 | 44080.00 | 2650.00 | 42400.00 | 33600.00 | SHIV KUMAR
7.00 | Providing and fixing aluminum work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate z sections and other sections conforming to Is: 733 and IS : 1285 of Jindal, Hindalco, Mahavir or equivalent make approved by Engineer in Charge , fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC Plug/neoprene felt etc. aluminum sections shall be smooth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle, aluminum snap beading for glazing/ paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-In- Charge. (Glazing and paneling to be paid for separately) : (a) For fixed portion and chawkhats | 41.85 | Kg. | 1.00 | 210.00 | 8788.50 | 855.00 | 35781.75 | 700.00 | 29295.00 | 8788.50 | SHIV KUMAR
8.00 | Providing and fixing aluminum work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate z sections and other conforming to Is: 733 and IS : 1285 of Jindal, Hindalco, Mahavir or equivalent make approved by Engineer in Charge , fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC Plug/neoprene felt etc. aluminum sections shall be smooth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle, aluminum snap beading for glazing/paneling, C.P.brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-In- Charge. (Glazing and paneling to be paid for separately) : (b)For shutters of doors, windows & ventilators including providing and fixing hinges/pivots and labour for fixing of fittings wherever required including the cost of PVC Plug /neoprene gasket required | 46.80 | Kg. | 1.00 | 230.00 | 10764.00 | 955.00 | 44694.00 | 900.00 | 42120.00 | 10764.00 | SHIV KUMAR
9.00 | Providing & Fixing in position 15 mm i/d bib cock of approved make (to the approval of Engineer-in-charge )complete in all respect (i) C.P. brass Bib cock long nose/long bod | 30.00 | Each | 1.00 | 1090.00 | 32700.00 | 1355.00 | 40650.00 | 1220.00 | 36600.00 | 32700.00 | SHIV KUMAR
10.00 | Providing & Fixing in position stop cock / Angle valve of approved make (to the approval of Engineer-in-charge ) complete in all respect. (b) C.P. brass 15mm Concealed stop cock with flange | 24.00 | Each | 1.00 | 1010.00 | 24240.00 | 1310.00 | 31440.00 | 1280.00 | 30720.00 | 24240.00 | SHIV KUMAR
11.00 | Providing and fixing in position vitreous Chinaware white Senso urinal size 37 x 39 x 61 cm of approved make (to the approval of Engineer-in-charge) consisting of C.P. brass Urinal waste Coupling dome type 32mmouter length 75 mm complete in all respect | 12.00 | Each | 1.00 | 13500.00 | 162000.00 | 21055.00 | 252660.00 | 20500.00 | 246000.00 | 162000.00 | SHIV KUMAR
12.00 | Providing and fixing partition for different type of urinals. (iii) Toughned Glass Partition 8mm thickness size 450 x 900 mm C/S | 7.00 | Each | 1.00 | 4900.00 | 34300.00 | 6055.00 | 42385.00 | 6370.00 | 44590.00 | 34300.00 | SHIV KUMAR
13.00 | Providing & Fixing in position liquid soap container of approved make (to the approval of Engineer-in-charge ) complete in all respect. (a) C.P. brass liquid soap container | 2.00 | Each | 1.00 | 1800.00 | 3600.00 | 1855.00 | 3710.00 | 1960.00 | 3920.00 | 3600.00 | SHIV KUMAR
14.00 | Providing and fixing C.P. brass Urinal Spreader Ocular-Regular complete with fittings for urinals complete | 12.00 | Each | 1.00 | 440.00 | 5280.00 | 555.00 | 6660.00 | 470.00 | 5640.00 | 5280.00 | SHIV KUMAR
15.00 | Providing and fixing Stainless steel health faucet complete in all respect | 7.00 | Each | 1.00 | 1100.00 | 7700.00 | 1255.00 | 8785.00 | 1210.00 | 8470.00 | 7700.00 | SHIV KUMAR
16.00 | Providing and laying, jointing, fixing, testing ISI Marked G.I. Pipe (as per IS 1239) BClass, including cost of Specials such as tees, bends, sockets elbow etc., cutting, hreading and testing in trenches in the ground complete. (a) 15mm i/d | 49.00 | Mtr | 1.00 | 190.00 | 9310.00 | 255.00 | 12495.00 | 230.00 | 11270.00 | 9310.00 | SHIV KUMAR
17.00 | Providing, fixing and jointing G.I Union Couplings (of approved make with the approval EIC) as per IS 1879 in G.I. Pipe lines complete in all respect. (b)20mm i/d G.I. Union | 30.00 | Each | 1.00 | 155.00 | 4650.00 | 155.00 | 4650.00 | 160.00 | 4800.00 | 4650.00 | Ranjeet Singh, SHIV KUMAR
18.00 | Providing, fixing and jointing ISI Marked Gun- Metal peet valves (Heavy Pattern) as per IS 778 with hand wheels, on G.I. Pipe lines laid in the ground or inside buildings including all carriages complete. (b)20mm i/d Gun Metal peet valve heavy pattern | 2.00 | Each | 1.00 | 500.00 | 1000.00 | 655.00 | 1310.00 | 595.00 | 1190.00 | 1000.00 | SHIV KUMAR
19.00 | Providing and fixing H.C.I. Floor traps conforming to I.S.I. Specification of reputed firm of the self cleaning design with S.S. grating with frame with or without vent arm and including cement concrete 1:2:4 under and around the floor trap where required upto floor level complete in all respects including cutting and making good the walls and floors, etc. (b) With 100mm x 75mm i/d Floor Trap (weighing 5.8 Kg) | 6.00 | Each | 1.00 | 990.00 | 5940.00 | 1055.00 | 6330.00 | 1050.00 | 6300.00 | 5940.00 | SHIV KUMAR
20.00 | Providing, Laying , fixing & jointing of P.V.C. Pipes as per ISI-4985 (ISI marked with the prior approval of Engineer-in-Charge) along the Trenches and laying the same in Trenches to correct alignment and gradients, cutting, jointing and testing complete as per specifications. (iv) 110mm o/d pipe of 10 Kgf. / sqcm | 20.00 | Mtr | 1.00 | 650.00 | 13000.00 | 755.00 | 15100.00 | 720.00 | 14400.00 | 13000.00 | SHIV KUMAR
21.00 | Providing, Laying , fixing & jointing of P.V.C. Pipes as per ISI-4985 (ISI marked with the prior approval of Engineer-in-Charge) along the Trenches and laying the same in Trenches to correct alignment and gradients, cutting, jointing and testing complete as per specifications. (ii) 75 mm o/d pipe of 10 Kgf. / sqcm | 10.00 | Mtr | 1.00 | 300.00 | 3000.00 | 455.00 | 4550.00 | 345.00 | 3450.00 | 3000.00 | SHIV KUMAR
22.00 | Providing & fixing in position C.P. copper tube connection of approved make (to the approval of Engineer-in-charge ) complete in all respect. ( c) C.P. copper tube connection of Size 15 mm x 600 mm with C.P. Brass Nut | 30.00 | Each | 1.00 | 400.00 | 12000.00 | 555.00 | 16650.00 | 450.00 | 13500.00 | 12000.00 | SHIV KUMAR
23.00 | Providing & Fixing in position 5mm thick bevelled edge mirror of superior glass (of approved make) complete with 4mm thick hard board backing fixed in with rawl plugs 50mm, C.P. brass screws and washers and S/S Studs on top complete in all respect (as required by the Engineer-in- Charge) (a ) Size 600mmx450mm | 10.00 | Each | 1.00 | 1200.00 | 12000.00 | 1355.00 | 13550.00 | 1295.00 | 12950.00 | 12000.00 | SHIV KUMAR
24.00 | Providing and fixing in position C.P. brass soap dish of approved make (to the approval of Engineer-in-charge ) fixed into wall with rawl plugs and C.P brass screws complete in all respect. | 2.00 | Each | 1.00 | 800.00 | 1600.00 | 999.00 | 1998.00 | 900.00 | 1800.00 | 1600.00 | SHIV KUMAR
25.00 | Providing and fixing in position C.P. Brass Urinal button flusher 15 mm of approved make (to the approval of Engineer-in-charge) | 12.00 | Each | 1.00 | 1750.00 | 21000.00 | 3055.00 | 36660.00 | 2525.00 | 30300.00 | 21000.00 | SHIV KUMAR
26.00 | Providing and fixing in position vitreous chinaware white lavatory suites of approved make (to the approval of Engineer-in-charge) including Rack Bolt Screw Pair 115mm long without CP fittings complete in all respect. (ii) Size 550 mm x 400 mm x 815 mm | 12.00 | Each | 1.00 | 1550.00 | 18600.00 | 2055.00 | 24660.00 | 2100.00 | 25200.00 | 18600.00 | SHIV KUMAR
27.00 | Providing and fixing vitreous chinaware pedestal of approved make (to the approval of Engineer-in-charge) for wash hand basin complete in all respect. (i) Vitreous chinaware standard white pedestal for wash hand basin. | 12.00 | Each | 1.00 | 1620.00 | 19440.00 | 2055.00 | 24660.00 | 2120.00 | 25440.00 | 19440.00 | SHIV KUMAR
28.00 | 115mm thick brick wall in cement sand mortar 1:4 without reinforcement in superstructure | 1.95 | Sqm | 1.00 | 695.00 | 1355.25 | 855.00 | 1667.25 | 700.00 | 1365.00 | 1355.25 | SHIV KUMAR
29.00 | 12.5 mm thick cement plaster 1:5 | 3.91 | Sqm | 1.00 | 305.00 | 1192.55 | 355.00 | 1388.05 | 200.00 | 782.00 | 782.00 | Chuni Lal
30.00 | Scraping (a) White wash and colour wash | 46.81 | Sqm | 1.00 | 9.00 | 421.29 | 10.00 | 468.10 | 9.00 | 421.29 | 421.29 | Chuni Lal, SHIV KUMAR
31.00 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | 46.81 | Sqm | 1.00 | 90.00 | 4212.90 | 93.00 | 4353.33 | 90.00 | 4212.90 | 4212.90 | Chuni Lal, SHIV KUMAR
32.00 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats) | 46.81 | Sqm | 1.00 | 100.00 | 4681.00 | 155.00 | 7255.55 | 100.00 | 4681.00 | 4681.00 | Chuni Lal, SHIV KUMAR
33.00 | Providing and fixing in position Chinaware Indian Orisa water closet size 580x440 mm of approved make (to the approval of the Engineer-in-charge) consisting of 10 ltr. PVC flushing cistern ISI marked including cost of PVC long bend 32 mm dia complete in all respect and to the entire satisfaction of Engineer-in-charge. | 1.00 | Each | 1.00 | 5200.00 | 5200.00 | 5755.00 | 5755.00 | 5770.00 | 5770.00 | 5200.00 | SHIV KUMAR
34.00 | Providing, laying in trenches and jointing of HDPE pipes having ISI specification IS:14333, PE100, class PN-6 marked on them, make Reliance/ Hasti / Dura-Line ,laying the same in trenches to correct alignment and gradients, cutting and jointing testing for water tightness and making good the leakages and defects including cost of specials complete in all respects. (c ) 160 mm o/d pipe | 20.00 | Mtr. | 1.00 | 1000.00 | 20000.00 | 1455.00 | 29100.00 | 1340.00 | 26800.00 | 20000.00 | SHIV KUMAR
35.00 | Providing & placing in position on terrace (at all floor levels) HDPE water storage tanks of approved make (to the approval of Engineer -incharge) with cover with suitable locking arrangement and making necessary holes for inlet, outlet and over flow pipes but without fittings and base support for tank. (i) Triple Layer Tanks | 500.00 | Ltr. | 1.00 | 10.00 | 5000.00 | 12.00 | 6000.00 | 11.00 | 5500.00 | 5000.00 | SHIV KUMAR
36.00 | RECESSED PVC CONDUIT PIPE WIRING SYSTEM WITH MODULAR SWITCHES: Wiring in PVC insulated copper conductor single core FR cable (ISI marked) overall 1.5sq. mm, 1100volts grade to be laid in heavy gauge PVC conduit pipe 20mm/ 25mm dia. (ISI Marked) recessed in wall etc., complete with powder coated/anodized concealed metal boxes (1.6mm thick with Brass lugs) required for suitable number of modules (Modular accessories) for having Step type electronic fan regulators (two module) 100watts, bell push, 6Amp. 2/3 universal socket (shuttered), 16/20Amp. Combined/ universal Socket (shuttered), 6/10Amp. Switches, 16/20Amp. Switches with indicator etc. and covered with Frame Plate etc., PVC connector (For Fan Box and Call Bell), Steel Hooks, Sheet metal fan box (1.6mm thick shape hexagonal), Circular junction Boxes (Four way PVC 1½” deep for walls and CI 3” deep for ceiling), bonding to earth with PVC insulated copper conductor single core FR cable (ISI marked) 1sq. mm, 1100volts grade (For 6Amp. Wall socket & plug control point) and other petty material etc., including the cost of above material, cutting and filling up of chases (with finishing the surface):- ii) Wiring light point | 6.00 | Each | 1.00 | 750.00 | 4500.00 | 855.00 | 5130.00 | 780.00 | 4680.00 | 4500.00 | SHIV KUMAR
37.00 | (v) Wiring 6Amp. Plug control comprising wall socket point | 2.00 | Each | 1.00 | 350.00 | 700.00 | 455.00 | 910.00 | 385.00 | 770.00 | 700.00 | SHIV KUMAR
38.00 | (vi) Wiring 16/20Amp. Power plug control point | 2.00 | Each | 1.00 | 220.00 | 440.00 | 555.00 | 1110.00 | 490.00 | 980.00 | 440.00 | SHIV KUMAR
39.00 | ERECTION OF FANS: Erection of Ceiling/ Cabin/ Exhaust fan having connection with PVC insulated PVC sheathed two single core copper conductor (FR) cable 0.75sq.mm complete:- (c ) Erection of Exhaust fan with louver shutter on the wall/ window grill | 2.00 | No. | 1.00 | 1550.00 | 3100.00 | 355.00 | 710.00 | 260.00 | 520.00 | 520.00 | Chuni Lal
40.00 | Electric Exhaust Fan 300mm | 2.00 | No. | 1.00 | 1600.00 | 3200.00 | 1755.00 | 3510.00 | 1650.00 | 3300.00 | 3200.00 | SHIV KUMAR
41.00 | MINIATURE CIRCUIT BREAKERS: Supply and erection of Miniature Circuit Breaker MCB’s for circuit protection against overload and short circuit current fault suitable for 240/ 415 volts 50cycles AC supply with breaking capacity of 10kA, Curve-C and low watt losses as per IS/IEC 60898-1, energy limitation class-3, true contact indication, label holder facility in the existing MCB distribution board as per PWD General Specifications including connections with suitable size of thimbles/lugs:- i) MCB Single Pole 0.5-4amp. (10kA, Curve-C) | 1.00 | Each | 1.00 | 300.00 | 300.00 | 355.00 | 355.00 | 330.00 | 330.00 | 300.00 | SHIV KUMAR
42.00 | ii) MCB Single Pole 6-32amp. (10kA, Curve-C) | 1.00 | Each | 1.00 | 200.00 | 200.00 | 255.00 | 255.00 | 210.00 | 210.00 | 200.00 | SHIV KUMAR
43.00 | iv) MCB Double Pole 6-32amp. (10kA, Curve-C) | 1.00 | Each | 1.00 | 600.00 | 600.00 | 755.00 | 755.00 | 640.00 | 640.00 | 600.00 | SHIV KUMAR
44.00 | SHEET METAL DOUBLE DOORDISTRIBUTION BOARD FOR MCB’s/RCBO’s/ RCCB’s: Supply and erection of sheet metal Double Door Distribution Boards IP 43- IK09 metal door (dust protected) as per IS 8623-1&3, IEC 61439-1&3 suitable for flush mounting with fully insulated copper busbars, shrouded neutral bars, earth bars, cement spill protector, colorcoded interconnecting wire set, cable ties, blanking plates and circuit identifications label and of required no. of ways for mounting miniature circuit breakers/ RCBO’s/ RCCB’s in the distribution board (For SP&N distribution board with provision DP MCB’s/ RCCB’s/ RCBO’s as incomer and SP MCB’s as outgoings and for TP&N horizontal distribution board with provision TPN/ FP MCB’s/ RCCB’s/ RCBO’s as incomer and SP MCB’s as outgoings) as per PWD General specifications including connections with suitable size of thimbles and bonding to existing earth etc:-ii) SP&N Double Door Distribution Board 8 way each | 1.00 | Each | 1.00 | 1300.00 | 1300.00 | 1555.00 | 1555.00 | 1400.00 | 1400.00 | 1300.00 | SHIV KUMAR
45.00 | LED Tube Light (Retrofit Type) 20 Watts | 5.00 | Each | 1.00 | 500.00 | 2500.00 | 655.00 | 3275.00 | 585.00 | 2925.00 | 2500.00 | SHIV KUMAR
| Total in Figures |  |  |  |  | 532149.09 |  | 785459.58 |  | 742440.69
Lowest Amount Quoted BY: SHIV KUMAR(532149.09)

## BOQ Summary
BOQ Summary Details Tender Title: Retrofitting of public toilets in colony area at BBMB Sundernagar Tender ID: 2026_BBMB_283533_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHIV KUMAR (BID ID -1059163) | 532149.09 | L1
| 2 | Chuni Lal (BID ID -1054905) | 742440.69 | L2
| 3 | Ranjeet Singh (BID ID -1059150) | 785459.58 | L3