## BoQ1
Government eProcurement System Created By: CHANDERMANI SHARMA Created Date/Time: 01-Sep-2026 12:51 PM Tender Title: Construction of 01 nos public toilet for men women and divyang at Jaral colony BBMB Pandoh Tender ID: 2026_BBMB_285780_1
Tender Inviting Authority: Addl.Superintending Engineer, Pandoh Dam Division,BBMB, Pandoh (H.P).
Name of Work: Construction of 01 nos. public toilet (for men, women and divyang) at Jaral colony BBMB Pandoh.
Contract No: NIT No. 07/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sajan govt cont (GSTN-NA) BID ID -1058172 |  | KAMAL CONTRACTOR (GSTN-NA) BID ID -1058495 |  | V9 INFRA PRIVATE LIMITED (GSTN-NA) BID ID -1062436
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling of 8 inch hollow block masonry in cement mortar. | 1.08 | Cum | 1.00 | 397.95 | 429.79 | 300.00 | 324.00 | 400.00 | 432.00 | 324.00 | KAMAL CONTRACTOR
2.00 | Earth work in excavation in foundations trenches etc. in all kinds of soil where Pick-Jumper work is not involved and not exceeding 2.0 metres depth including dressing of bottom and sides of trenches, stacking the excavated soil clear from the edge of excavation and subsequent filling around masonry in 15 cm, layers with compaction including disposal of all surplus soil as directed within lead of 30 metres. | 9.02 | Cum | 2.00 | 210.70 | 1900.51 | 190.00 | 1713.80 | 211.00 | 1903.22 | 1713.80 | KAMAL CONTRACTOR
3.00 | Earth filling under floors with surplus soil containing more than 40% gravel or kankar excavated from foundation & taken only from outside the building plinth in 15 cm layers including ramming watering and consolidation lead upto 30 metres | 5.06 | Cum | 3.00 | 130.63 | 660.99 | 100.00 | 506.00 | 130.00 | 657.80 | 506.00 | KAMAL CONTRACTOR
4.00 | Cement concrete 1:8:16 b) With stone aggregates 40mm gauge ii) Mixing by mechanical means using concrete mixer volumetric type | 3.03 | Cum | 4.00 | 3433.35 | 10403.05 | 3500.00 | 10605.00 | 3435.00 | 10408.05 | 10403.05 | Sajan govt cont
5.00 | First class burnt brick laid in cement sand mortar 1:6 in foundation and plinth | 7.10 | Cum | 5.00 | 4038.08 | 28670.37 | 6000.00 | 42600.00 | 5500.00 | 39050.00 | 28670.37 | Sajan govt cont
6.00 | First class burnt brick work laid in cement sand mortar 1:6 in first storey up to 4 metres above plinth level. | 15.92 | Cum | 6.00 | 5096.10 | 81129.91 | 6100.00 | 97112.00 | 5500.00 | 87560.00 | 81129.91 | Sajan govt cont
7.00 | Damp proof course 4cm thick of cement concrete 1:2:4 with 2 coats of bitumen 20/30 penetration at 1.65 Kg per sqm laid hot and sanded. | 5.82 | Sqm. | 7.00 | 359.24 | 2090.78 | 300.00 | 1746.00 | 360.00 | 2095.20 | 1746.00 | KAMAL CONTRACTOR
8.00 | Making soak pit 2.5 m outer Diameter 3.0 metre deep 230mm thick 1:5 brick work honey comb with bricks of Ist Class and S.W. drain pipe 100 mm Diameter, 1.8 m long complete as per standard design.With F.P.S. Bricks | 1.00 | 1 Soak Pit | 8.00 | 18960.80 | 18960.80 | 30000.00 | 30000.00 | 24000.00 | 24000.00 | 18960.80 | Sajan govt cont
9.00 | 12.5 mm thick cement plaster 1:5 | 184.86 | Sqm. | 9.00 | 190.11 | 35143.73 | 190.00 | 35123.40 | 200.00 | 36972.00 | 35123.40 | KAMAL CONTRACTOR
10.00 | Reinforced cement concrete M-20 mechanically batch mixed using batch type concrete mixer as per IS:1791 and vibrated by needle vibrator but excluding steel reinforcement centring and shuttering in superstructure. | 3.99 | Cum | 10.00 | 5486.39 | 21890.70 | 6000.00 | 23940.00 | 6500.00 | 25935.00 | 21890.70 | Sajan govt cont
11.00 | Cold twisted deformed (Ribbed/ Tor steel) Bars (Fe 415 grade as per IS 1786-2008) , for R.C.C works, where not including in the complete rate of RCC including binding & bending and placing in position complete. | 1.35 | Qtl. | 11.00 | 6711.84 | 9060.98 | 6300.00 | 8505.00 | 6700.00 | 9045.00 | 8505.00 | KAMAL CONTRACTOR
12.00 | Centering and shuttering for flat surfaces such as suspended floors, roofs, landings, chajjas, shelves etc. | 26.61 | Sqm. | 12.00 | 550.29 | 14643.22 | 350.00 | 9313.50 | 500.00 | 13305.00 | 9313.50 | KAMAL CONTRACTOR
13.00 | Base course of floor consisting of 100mm thick cement concrete 1:8:16 with stone aggregate 40mm gauge and 100 mm fine sand filling using mechanical mixer for mixing of material | 20.25 | Sqm | 13.00 | 439.09 | 8891.57 | 390.00 | 7897.50 | 440.00 | 8910.00 | 7897.50 | KAMAL CONTRACTOR
14.00 | Floating coat of 1:5mm thick neat cement laid in one operation to the topping (For flooring) | 20.25 | Sqm | 14.00 | 32.02 | 648.41 | 29.00 | 587.25 | 32.00 | 648.00 | 587.25 | KAMAL CONTRACTOR
15.00 | Providing and laying Anti-skid Ceramic floor tiles of size 300x300 mm x 10 mm thick of 1st quality conforming to IS: 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on flooring skirting and dado in 12.5mm thick cement plaster 1:3 in base and jointed with @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete white cement slurry in joints including corners angles and beading. | 20.25 | Sqm | 15.00 | 540.08 | 10936.62 | 600.00 | 12150.00 | 800.00 | 16200.00 | 10936.62 | Sajan govt cont
16.00 | Providing and fixing M.S. angle iron 40x40x6mm chowkhat including iron hold fasts butt hinges fixed in position, finished with red lead non setting primer complete in all respect. A) For single rebate. | 50.41 | Kg. | 16.00 | 96.92 | 4885.74 | 95.00 | 4788.95 | 96.00 | 4839.36 | 4788.95 | KAMAL CONTRACTOR
17.00 | Factory manufactured solid flush door fixed in position iron hinges, etc (excluding the cost of any fittings other than specified above but including labour for fixing the same in position (Code : IS 2202-1(1999) a) Commercial with elm or gurjan facing on both \ Sides with laminated core and lipped edges: iv) 35 mm thick | 4.80 | Sqm. | 17.00 | 2458.86 | 11802.53 | 2500.00 | 12000.00 | 2400.00 | 11520.00 | 11520.00 | V9 INFRA PRIVATE LIMITED
18.00 | Providing and fixing M.S. round or square bars at required spacing in wooden frames of windows and clearstory windows | 8.37 | Kg. | 18.00 | 81.11 | 678.89 | 95.00 | 795.15 | 82.00 | 686.34 | 678.89 | Sajan govt cont
19.00 | Applying pink primer or aluminum priming coat on wood work including preparation of surface knotting and stopping etc. | 9.60 | Sqm. | 19.00 | 31.60 | 303.36 | 30.00 | 288.00 | 30.00 | 288.00 | 288.00 | KAMAL CONTRACTOR, V9 INFRA PRIVATE LIMITED
20.00 | Cost of aluminum fittings complete for doors, windows such as tower bolts, handles, Stoppers and screw etc. for these fittings (Excluding sliding bolt) (ii) For shutter area above 0.50 sqm | 9.60 | Sqm. | 20.00 | 116.93 | 1122.53 | 100.00 | 960.00 | 115.00 | 1104.00 | 960.00 | KAMAL CONTRACTOR
21.00 | Painting two or more coats excluding priming coat with synthetic enamel paint in all shades on wood work, metallic or plastered, concrete surface to give an even shade. | 9.60 | Sqm. | 21.00 | 73.74 | 707.90 | 71.00 | 681.60 | 74.00 | 710.40 | 681.60 | KAMAL CONTRACTOR
22.00 | Preparation of plastered surfaces for distempering including surface, applying filling with approved quality filler consisting of plaster of paris and chalk mitti including finishing the surface to the required finish complete | 184.86 | Sqm. | 22.00 | 70.78 | 13084.39 | 63.00 | 11646.18 | 70.00 | 12940.20 | 11646.18 | KAMAL CONTRACTOR
23.00 | Distempering with Acrylic washable oil bound distemper (of approved manufacture) two or more coats over one priming coat to give an even shade. | 184.86 | Sqm. | 23.00 | 85.33 | 15774.10 | 80.00 | 14788.80 | 84.00 | 15528.24 | 14788.80 | KAMAL CONTRACTOR
24.00 | Providing and fixing in position set of EWC and WHB size 46x36 cm for Handicapped person of approved make (to the approval of the Engineer-in-charge) consisting of matching cistern, one pair mounting brackets, seat cover, one no. hinges rail 76cm and 4 no. grab rails 60cm complete in all respect and to the entire satisfaction of Engineer-in-charge. | 1.00 | Each | 24.00 | 58744.00 | 58744.00 | 65000.00 | 65000.00 | 67500.00 | 67500.00 | 58744.00 | Sajan govt cont
25.00 | Providing and fixing in position Chinaware European type water closet P trap or S trap of approved make (to the approval of the Engineer-in-charge) consisting of 10 ltr. PVC flushing cistern ISI marked, PVC short bend 32 mm dia including cost of seat cover complete in all respect and to the entire satisfaction of Engineer-in-charge. | 2.00 | Each | 25.00 | 5192.70 | 10385.40 | 5000.00 | 10000.00 | 5200.00 | 10400.00 | 10000.00 | KAMAL CONTRACTOR
26.00 | Providing and fixing in position vitreous Chinaware white indian make large flat back or angular lipped front urinal 375 x 390 x 590 mm of approved make (to the approval of the Engineer-in-charge) consisting of C.P. brass Urinal waste Coupling dome type 32mm outer length 75 mm , C.P. brass Urinal Spreader Ocular-Regular and C.P. brass tube connection 300 mm long complete. | 2.00 | Each | 26.00 | 5025.79 | 10051.58 | 7000.00 | 14000.00 | 7000.00 | 14000.00 | 10051.58 | Sajan govt cont
27.00 | Providing and fixing in position vitreous chinaware white lavatory suites of approved make (to the approval of Engineer-in-charge) including Rack Bolt Screw Pair 115mm long without CP fittings complete in all respect. Iv) Size 500 mm x 400 mm x 820 mm. | 3.00 | Each | 27.00 | 1940.54 | 5821.62 | 2000.00 | 6000.00 | 1950.00 | 5850.00 | 5821.62 | Sajan govt cont
28.00 | Providing & Fixing in position 15 mm i/d bib cock of approved make (to the approval of Engineer-in-charge ) complete in all respect. (iv) Brass Bib cock/Stop cock 15mm x 400gm. | 3.00 | Each | 28.00 | 449.84 | 1349.52 | 450.00 | 1350.00 | 450.00 | 1350.00 | 1349.52 | Sajan govt cont
29.00 | Providing & Fixing in postion stop cock / Angle valve of approved make (to the approval of Engineer-in-charge ) complete in all respect. © C.P.brass 15mm Angle valve without flang. | 5.00 | Each | 29.00 | 847.61 | 4238.05 | 800.00 | 4000.00 | 870.00 | 4350.00 | 4000.00 | KAMAL CONTRACTOR
30.00 | Providing & fixing in position PVC flexible tube connection of approved make (to the approval of Engineer-in-charge ) complete in all respect. (b) PVC tube connection of size 15 mm x 450 mm with C.P. Brass nut | 8.00 | Each | 30.00 | 198.05 | 1584.40 | 150.00 | 1200.00 | 200.00 | 1600.00 | 1200.00 | KAMAL CONTRACTOR
31.00 | Providing and fixing P.V.C Waste Pipe Collapsiable 32mm complete in all respect. For wash basin | 3.00 | Each | 31.00 | 125.36 | 376.08 | 121.00 | 363.00 | 120.00 | 360.00 | 360.00 | V9 INFRA PRIVATE LIMITED
32.00 | Providing and fixing Centrifugally cast iron Floor traps conforming to I.S.I. Specification (IS:3989) of approved make (to the approval of Engineer-in-charge) of the self-cleaning design with C.P. brass hinged grating with frame with or without vent arm and including cement concrete 1:2:4 under and around the floor trap where required up-to floor level complete in all respects including cutting and making good the walls and floors, etc. minimum depth of water should be 150mm with a minimum seal 50mm. (c) 100mm x 75mm i/d 600 mm long | 3.00 | Each | 32.00 | 1722.47 | 5167.41 | 1900.00 | 5700.00 | 1800.00 | 5400.00 | 5167.41 | Sajan govt cont
33.00 | Providing and fixing jet spray with 2'-6" long PVC pipe. a) With C.P. Brass nut | 3.00 | Each | 33.00 | 514.10 | 1542.30 | 505.00 | 1515.00 | 500.00 | 1500.00 | 1500.00 | V9 INFRA PRIVATE LIMITED
34.00 | Providing and fixing plastic hygenic seat cover with lid complete. a) Plastic Seat Cover Premium star white/pastel/special colour | 2.00 | Each | 34.00 | 814.35 | 1628.70 | 800.00 | 1600.00 | 800.00 | 1600.00 | 1600.00 | KAMAL CONTRACTOR, V9 INFRA PRIVATE LIMITED
35.00 | Providing and fixing partition for different type of urinals. ii) 19 to 20 mm thick Granite stone partition size 375mm x 750mm | 2.00 | Each | 35.00 | 1168.33 | 2336.66 | 1100.00 | 2200.00 | 1200.00 | 2400.00 | 2200.00 | KAMAL CONTRACTOR
36.00 | Providing ,laying, jointing, fixing and testing ISI Marked G.I. Pipe (as per IS 1239) B-Class including cost of specials (such as tees, bends, sockets, elbows etc.) ,painting with anti corrosive bitumastic paint, testing, cutting, threading Inside building complete. (a) 15 mm i/d | 20.00 | Mtr. | 36.00 | 321.58 | 6431.60 | 315.00 | 6300.00 | 330.00 | 6600.00 | 6300.00 | KAMAL CONTRACTOR
37.00 | Providing ,laying, jointing, fixing and testing ISI Marked G.I. Pipe (as per IS 1239) BClass including cost of specials (such as tees, bends, sockets, elbows etc.) ,painting with anti corrosive bitumastic paint, testing, cutting, threading Inside building complete. (b) 20 mm i/d | 60.00 | Mtr. | 37.00 | 320.00 | 19200.00 | 350.00 | 21000.00 | 400.00 | 24000.00 | 19200.00 | Sajan govt cont
38.00 | Providing & placing in position on terrace (at all floor levels) HDPE water storage tanks of approved make (to the approval of Engineer in-charge) with cover with suitable locking arrangement and making necessary holes for inlet, outlet and over flo pipes but without fittings and base support for tank. (ii) Double layer tanks | 1000.00 | Litre | 38.00 | 6.48 | 6480.00 | 8.50 | 8500.00 | 9.00 | 9000.00 | 6480.00 | Sajan govt cont
39.00 | Providing and fixing in position gully traps fixed in cement concrete 1:4:8 complete with Grating 150mm x 150mm, cover and frame clear opening 300mm x 300mm and out of side size 330mm x 330mm and chamber including cost of all bricks work in cement morter 1:5 cement concrete 1:2:4 in coping around cover and frame etc. as per standard design minimum depth of water should be 150 mm with a minimum seal 50mm c) 150mm internal Diametre S.W.gully trap with H.C.I. grating and cast iron cover weighing approximately 7.26 kg. and frame clear opening 300mm x 300mm and out of side size 330mm x 330mm | 4.00 | Each | 39.00 | 1370.04 | 5480.16 | 2000.00 | 8000.00 | 1800.00 | 7200.00 | 5480.16 | Sajan govt cont
40.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement: 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:2 (1 cement : 2 coarse sand) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete. (a) For pipes 100 to 250 mm Diametre Combine for all | 1.00 | One Conn. | 40.00 | 384.52 | 384.52 | 360.00 | 360.00 | 380.00 | 380.00 | 360.00 | KAMAL CONTRACTOR
41.00 | Providing, Laying , fixing & jointing of P.V.C. Pipes as per ISI-4985 (ISI marked with the prior approval of Engineer-in-Charge) along the Trenches and laying the same in Trenches to correct alignment and gradients, cutting, jointing and testing complete as per specifications. (ii) 75mm o/d pipe of 10 Kgf. / sqc | 20.00 | Mtr. | 41.00 | 345.68 | 6913.60 | 330.00 | 6600.00 | 350.00 | 7000.00 | 6600.00 | KAMAL CONTRACTOR
42.00 | Providing and fixing in position H.C.I special for soil waste vent or anti syphonage pipes to I.S.I specifications of E.L.C manufacture or any other reputed firm including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition but excluding cost of lead joining. (B) For 75 mm i/d pipes (i) 75mm i/d H.C.I. Heal Rest Bend | 1.00 | Each | 42.00 | 552.03 | 552.03 | 550.00 | 550.00 | 550.00 | 550.00 | 550.00 | KAMAL CONTRACTOR, V9 INFRA PRIVATE LIMITED
43.00 | Providing & Fixing in position 5mm thick bevelled edge mirror of superior glass (of approved make) complete with 4mm thick hard board backing fixed in with rawl plugs 50mm, C.P. brass screws and washers and S/S Studs on top complete in all respect (as required by the Engineer-in- Charge) (a) Size 600mmx450mm | 3.00 | Each | 43.00 | 1294.75 | 3884.25 | 1100.00 | 3300.00 | 1250.00 | 3750.00 | 3300.00 | KAMAL CONTRACTOR
44.00 | Providing, fixing and jointing ISI Marked GunMetal peet valves (Heavy Pattern) as per IS 778 with hand wheels, on G.I. Pipe lines laid in the ground or inside buildings including all carriages complete. (a) 15mm i/d Gun Metal peet valve heavy pattern | 2.00 | Each | 44.00 | 427.95 | 855.90 | 350.00 | 700.00 | 430.00 | 860.00 | 700.00 | KAMAL CONTRACTOR
45.00 | Providing, fixing and jointing ISI Marked GunMetal peet valves (Heavy Pattern) as per IS 778 with hand wheels, on G.I. Pipe lines laid in the ground or inside buildings including all carriages complete. (b) 20mm i/d Gun Metal peet valve heavy pattern | 1.00 | Each | 45.00 | 596.39 | 596.39 | 515.00 | 515.00 | 600.00 | 600.00 | 515.00 | KAMAL CONTRACTOR
46.00 | Providing and fixing aluminum sliding door bolts ISI marked anodized (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete. A 300mm X 16 mm | 3.00 | No. | 46.00 | 212.80 | 638.40 | 210.00 | 630.00 | 200.00 | 600.00 | 600.00 | V9 INFRA PRIVATE LIMITED
47.00 | Providing and fixing in position C.P. Acrylic shelf with C.P.bracket and guard rails of approved make (to the approval of Engineerin-charge ) fixed in with rawl plugs and C.P brass screws complete in all respect. (a) CP brass Acrylic Shelf size 560mmx130mm | 3.00 | Each | 47.00 | 1768.82 | 5306.46 | 1600.00 | 4800.00 | 1800.00 | 5400.00 | 4800.00 | KAMAL CONTRACTOR
48.00 | Providing and fixing in position towel rails / ring of approved make (to the approval of Engineer-in-charge ) fixed in with rawl plugs embedded in walls with brass screws complete in all respect (a) C.P. brass towel Rails size 15mm dia 610mm long | 3.00 | Each | 48.00 | 1640.29 | 4920.87 | 1550.00 | 4650.00 | 1700.00 | 5100.00 | 4650.00 | KAMAL CONTRACTOR
49.00 | RECESSED PVC CONDUIT PIPE WIRING SYSTEM WITH MODULAR SWITCHES:Wiring in PVC insulated copper conductor single core FR cable (ISI marked) overall 1.5sq. mm, 1100volts grade to be laid in heavy gauge PVC conduit pipe 20mm/ 25mm dia. (ISI Marked) recessed in wall etc., complete with powder coated/anodized concealed metal boxes (1.6mm thick with Brass lugs) required for suitable number of modules (Modular accessories) for having Step type electronic fan regulators (two module) 100watts, bell push, 6Amp. 2/3 universal socket (shuttered), 16/20Amp. combined/ universal Socket (shuttered), 6/10Amp. Switches, 16/20Amp. switches with indicator etc. and covered with Frame Plate etc., PVC connector (For Fan Box and Call Bell), Steel Hooks, Sheet metal fan box (1.6mm thick shape hexagonal), Circular junction Boxes (Four way PVC 1½" deep for walls and CI 3" deep for ceiling), bonding to earth with PVC insulated copper conductor single core FR cable (ISI marked) 1sq. mm, 1100volts grade (For 6Amp. wall socket & plug control point) and other petty material etc., including the cost of above material, cutting and filling up of chases (with finishing the surface):(ii) Wiring light point | 4.00 | Each | 49.00 | 782.88 | 3131.52 | 750.00 | 3000.00 | 800.00 | 3200.00 | 3000.00 | KAMAL CONTRACTOR
50.00 | (vi) Wiring 16/20Amp. power plug control point | 1.00 | Each | 50.00 | 495.14 | 495.14 | 450.00 | 450.00 | 500.00 | 500.00 | 450.00 | KAMAL CONTRACTOR
51.00 | (iv) Wiring 6Amp. wall socket point | 4.00 | Each | 51.00 | 636.05 | 2544.20 | 625.00 | 2500.00 | 650.00 | 2600.00 | 2500.00 | KAMAL CONTRACTOR
52.00 | MINIATURE CIRCUIT BREAKERS/ RCBO's/ RCCB's: MINIATURE CIRCUIT BREAKERS Supply and erection of Miniature Circuit Breaker MCB's for circuit protection against overload and short circuit current fault suitable for 240/ 415 volts 50cycles AC supply with breaking capacity of 10kA, Curve-C and low watt losses as per IS/IEC 60898-1, energy limitation class-3, true contact indication, label holder facility in the existing MCB distribution board as per PWD General Specifications including connections with suitable size of thimbles/lugs: (ii) MCB Single Pole 6-32amp. (10kA, Curve-C) | 1.00 | Each | 52.00 | 231.64 | 231.64 | 200.00 | 200.00 | 200.00 | 200.00 | 200.00 | KAMAL CONTRACTOR, V9 INFRA PRIVATE LIMITED
53.00 | PVC INSULATED FR COPPER CONDUCTOR CABLES: Supply and erection of PVC insulated FR single core Unsheathed copper conductor cable (ISI marked) suitable upto 1100 volts grade confirm to IS:694/1990 left bare in pipe or casing of suitable size complete in all respect as desired by the Engineer-in-charge:(ii) Overall size 1.5sq.mm (Un-sheathed) | 100.00 | Mtr. | 53.00 | 31.35 | 3135.00 | 35.00 | 3500.00 | 32.00 | 3200.00 | 3135.00 | Sajan govt cont
54.00 | (iii) Overall size 2.5sq.mm (Un-sheathed) | 50.00 | Mtr. | 54.00 | 46.69 | 2334.50 | 51.00 | 2550.00 | 50.00 | 2500.00 | 2334.50 | Sajan govt cont
| Total in Figures |  |  |  |  | 470562.77 |  | 519105.13 |  | 524287.81
Lowest Amount Quoted BY: Sajan govt cont(470562.77)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of 01 nos public toilet for men women and divyang at Jaral colony BBMB Pandoh Tender ID: 2026_BBMB_285780_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sajan govt cont (BID ID -1058172) | 470562.77 | L1
| 2 | KAMAL CONTRACTOR (BID ID -1058495) | 519105.13 | L2
| 3 | V9 INFRA PRIVATE LIMITED (BID ID -1062436) | 524287.81 | L3