## BoQ1
Government eProcurement System Created By: AMAN DAHIYA Created Date/Time: 01-Oct-2026 03:58 PM Tender Title: Replacement of old /providing fire hydrant pipe line in switch yard at 220kV sub-station, BBMB, Delhi Tender ID: 2026_BBMB_287296_1
Tender Inviting Authority: Executive Eng., Operation & Maintenance Division at 220 KV S/Stn. BBMB, Punjabi Bagh Delhi-35
Name of Work:Replacement of old /providing fire hydrant pipe line in switch yard at 220kV sub-station, BBMB, Delhi.
Contract No: 10/OMD/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ramesh Kumar Rodhia (GSTN-NA) BID ID -1067304 |  | kumar brothers constructions co. (GSTN-NA) BID ID -1067185 |  | ABS Infra (GSTN-NA) BID ID -1067046
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply and fixing of weather proof standard hose cabinet (900mm X 750mm X 400mm) outdoor type suitable for accommodating yard hydrants made of 1.5mm thick M.S. sheet having central opening glazed door including necessary locking arrangement, painting one coat of primer and two coats of postal red enamel paint and housing 2 nos. canvas hose pipe and branch pipe as required. (The cabinet shall be floor mounted on suitable raised platform). The shutters are to be lockable type. The words “Hose Cabinet” to be painted on the box. | 6.00 | Nos. | 0.00 | 8000.00 | 48000.00 | 7300.00 | 43800.00 | 4850.00 | 29100.00 | 29100.00 | ABS Infra
2.00 | Providing Stainless steel ISI MARKED 63mm Dia male instantaneous pattern short branch pipes with 15 mm dia Nozzle as per IS: 903, suitable for hydrostatic test pressure 21kg/sqcm and suitable for interconnections to hose pipe coupling as required. | 6.00 | Nos. | 0.00 | 5000.00 | 30000.00 | 4300.00 | 25800.00 | 1750.00 | 10500.00 | 10500.00 | ABS Infra
3.00 | Supply and installation of ISI marked single headed 63mm dia stainless steel hydrant valve (Type A) suitable for hydrostatic test pressure of 21kg/sqcm, 80mm dia flanged inlet with 63 mm female instantaneous outlet confirming to IS:5290 on the fire wet riser/down corner, including making 80NB pipe flange connection with riser, fixing the landing valves in proper positions including supply of nuts ,bolts, gaskets, caps, chains etc .testing the hydrant and completing the work in all respect as per directions of the engineer-in-charge. | 6.00 | Nos. | 0.00 | 8000.00 | 48000.00 | 7300.00 | 43800.00 | 7500.00 | 45000.00 | 43800.00 | kumar brothers constructions co.
4.00 | Providing 63mm(2.5)” dia 15m long reinforced rubber lined hose pipe conforming to IS: 636-1992 Part -II with stainless steel male & female coupling stainless steel wire wound with pipe as required. | 6.00 | Nos. | 0.00 | 4000.00 | 24000.00 | 5300.00 | 31800.00 | 4350.00 | 26100.00 | 24000.00 | Ramesh Kumar Rodhia
5.00 | Providing and laying double flanged (screwed/welded) centrifugally (spun) cast iron, Class B (IS:1536): 100mm Dia C.I. Double flanged pipe. | 289.60 | Mtr. | 0.00 | 2050.00 | 593680.00 | 1833.00 | 530836.80 | 1750.00 | 506800.00 | 506800.00 | ABS Infra
6.00 | Excavating trenches of required width for pipes, cables etc including excavation for sockets and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil and then returning the soil as required in layers not exceeding 20 Cm in depth, including consolidating each deposited layer by ramming, watering etc and disposing of surplus excavated soil as directed within a lead of 50m.Pipes, cables etc exceeding 80 mm dia but not exceeding 300 mm dia | 177.08 | Mtr. | 0.00 | 350.00 | 61978.00 | 303.00 | 53655.24 | 450.00 | 79686.00 | 53655.24 | kumar brothers constructions co.
7.00 | Butterfly Valve ( Manual) with C I body SS Disc, Nitrile rubber Seal & O- Ring PN 16 pressure rating for chilled water/hot water circulation as specified 100mm dia. | 6.00 | Nos. | 0.00 | 7450.00 | 44700.00 | 5573.00 | 33438.00 | 4500.00 | 27000.00 | 27000.00 | ABS Infra
8.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : Above 40 mm nominal bore | 147.82 | Mtr. | 0.00 | 150.00 | 22173.00 | 153.00 | 22616.46 | 235.00 | 34737.70 | 22173.00 | Ramesh Kumar Rodhia
9.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 6.47 | Sqm | 0.00 | 50.00 | 323.50 | 53.00 | 342.91 | 50.00 | 323.50 | 323.50 | ABS Infra, Ramesh Kumar Rodhia
10.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix : 1:4 (1 cement: 4 fine sand) | 17.04 | Sqm | 0.00 | 425.00 | 7242.00 | 413.00 | 7037.52 | 320.00 | 5452.80 | 5452.80 | ABS Infra
11.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. 15.2.1 Nominal concrete 1:3:6 or richer mix (including equivalent design mix). | .56 | Cum | 0.00 | 2400.00 | 1344.00 | 2133.00 | 1194.48 | 2500.00 | 1400.00 | 1194.48 | kumar brothers constructions co.
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | .56 | Cum | 0.00 | 7150.00 | 4004.00 | 6993.00 | 3916.08 | 6500.00 | 3640.00 | 3640.00 | ABS Infra
13.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : 19.7.1 Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 3.00 | Nos. | 0.00 | 12700.00 | 38100.00 | 11713.00 | 35139.00 | 13500.00 | 40500.00 | 35139.00 | kumar brothers constructions co.
| Total in Figures |  |  |  |  | 923544.50 |  | 833376.49 |  | 810240.00
Lowest Amount Quoted BY: ABS Infra(810240.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of old /providing fire hydrant pipe line in switch yard at 220kV sub-station, BBMB, Delhi Tender ID: 2026_BBMB_287296_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABS Infra (BID ID -1067046) | 810240.00 | L1
| 2 | kumar brothers constructions co. (BID ID -1067185) | 833376.49 | L2
| 3 | Ramesh Kumar Rodhia (BID ID -1067304) | 923544.50 | L3