## BoQ1
eProcurement System Government of India Created By: Govindarajan Ganesan Created Date/Time: 12-Oct-2026 01:32 PM Tender Title: Improvement of 02 nos toilet block near adm block 02 BN BSF(Now 110 Bn BSF) kurdha under SHQ BSF Chennai.(Providing and Fixing of Electrical Items and Fixtures). Tender ID: 2026_BSF_926154_1
Tender Inviting Authority: The Assistant Commandant (Electrical), SHQ BSF Chennai
Name of Work: Improvement of 02 nos toilet block near adm block 02 BN BSF(Now 110 Bn BSF) kurdha under SHQ BSF Chennai.(PROVIDING AND FIXING OF ELECTRICAL ITEMS AND FIXTURES)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KALINGA CONSTRUCTIONS (GSTN-NA) BID ID -3485376 |  | KISLAY KUMAR (GSTN-NA) BID ID -3485355
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and fixing following piano type switch/socket on the existing switch box/cover including connections etc. as required.(5/6 amps switch) ( by removing the existing fittings.) | 20.00 | Each |  | 100.00 | 2000.00 | 100.00 | 2000.00 | 2000.00 | KISLAY KUMAR, KALINGA CONSTRUCTIONS
2.00 | Supplying and fixing brass batten/ angle holder including connection etc. as required.( by removing the existing fittings.) | 15.00 | Each |  | 210.00 | 3150.00 | 210.00 | 3150.00 | 3150.00 | KISLAY KUMAR, KALINGA CONSTRUCTIONS
3.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.(i)Single pole ( by removing the existing fittings.) | 10.00 | Each |  | 340.00 | 3400.00 | 323.00 | 3230.00 | 3230.00 | KISLAY KUMAR
4.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.(i)Double pole( by removing the existing fittings.) | 3.00 | Each |  | 925.00 | 2775.00 | 900.00 | 2700.00 | 2700.00 | KISLAY KUMAR
5.00 | LED Batten light (System lumen efficacy >135 lm/Watt) Supplying, installation, Testing & Commissioning of LED surface mounted Batten light of following body material and construction as per IS : 10322 with driver (Replaceable) as per the requirement with Driver efficiency >85% ,Operating voltage AC 140- 270 Volt, frequency 50/60 hz, Operating temp range -5 0C to 40 0C, internal surge protection of 2.5 KV with Short & Open circuit protection ,THD < 10% , P. F.≥0.95, IP20, CRI >80, Flicker free (flicker should be below 5 %), life time (LED, Driver & electrical circuitry), of minimum 50000 Burning Hours with 70% of initial Lumen maintained till life ends, CCT 3000°K / 4000°K / 5700°K /6500°K (As per ANSI Bin), SDCM(Standard Deviation Color Matching) <3, Maximum power consumption should not more than the specified rating and Fixture shall be of relevant BIS standard. Manufactures Word Mark/ Name Engraved/ Embossing/ Screen printing on housing complete in all respect i/c external connections with 1.5 sq mm FRLS/HFFR, PVC insulated copper conductor single core cable and earthing etc. as required with Minimum 5 year OEM warranty. System lumen efficacy >135 lm/Watt output . LM79 & LM80 Test report and all testing required for LED fixtures as per BIS shall be submitted.. Shape size and CCT shall be as approved by Engineer-in-Charge as per requirement. (Thermal management: heat sink of aluminium housing such that LED junction temperature shall not rise above 90°C).Powder coated die cast /Extruded aluminium Body (Thickness > 1.20 mm) by removing the existing fittings. | 15.00 | Each |  | 910.00 | 13650.00 | 893.00 | 13395.00 | 13395.00 | KISLAY KUMAR
6.00 | Supplying, Installation, Testing & Commissioning of Street light LED fixture, powder coated pressure die cast aluminium body with built in orseparate driver as per the requirement with Driver efficiency >85%, Input voltage: 140-270 Volt AC, frequency 50/60 hz, Operating temp range -5 0C to 50 0C, internal surge protection of 5 KV L,N,E as per IEC 61000-4-5, Driver efficiency >85%,THD < 10% as per IEC 61000-3-2, P. F.≥0.95, IP-66,IK-10, CRI >70, under voltage and over voltage protection, EMI-EMC as per CISPR-15, lenses for beam angle as per IESNA type I/II/III as per the width of the road and the project requirement., suitable to fit in up to 65mm dia pipe, life time (LED,Driver & electrical circuitary) of minimum 50000 Burning Hours with 70% of initial Lumen maintained till life ends as per LM80 extrapolation IES TM-21-11 report, CCT 3000°K / 4000°K / 5700°K /6500°K (As per ANSI Bin), SDCM(Standard Deviation Color Matching) <5, Maximum power consumption should not more than the specified rating and Fixture shall be of relevant BIS standard complete in all respect i/c external connections with 1.5 sq mm FRLS/HFFR, PVC insulated copper conductor single core cable and earthing etc. as required with Minimum 5 year OEM warranty. System lumen efficacy >135 lm/Watt output . LM79 & LM80 Test report and all testing required for LED fixtureS as per BIS shall be submitted. Shape size and CCT shall be as approved by Engineer-in-Charge as per requirement. (Thermal management: heat sink of aluminium housing such that LED junction temperature shall not rise above 90°C). by removing the existing fittings. | 8.00 | Each |  | 2250.00 | 18000.00 | 2230.00 | 17840.00 | 17840.00 | KISLAY KUMAR
7.00 | Supplying, installing, testing and commissioning of pre wired 10 watts LED mirror fittings complete with electronic driver and all accessories directly on existing wall including connection etc. as required Crompton item Code : CCS-103-10-65-SL-DP-NWH or equivalent specifications makes from ( Wipro/Havells/Philips) by removing the existing fittings. | 5.00 | Each |  | 850.00 | 4250.00 | 825.00 | 4125.00 | 4125.00 | KISLAY KUMAR
8.00 | Supplying, installing, testing and commissioning of 300 mm Metallic exhaust fan on the existinng opening including connection etc. as required .( Havells item code no.Havells Ventil Air Air DB FHVVEMTDBB12 or equivalent specifications frrom any other make i.e CG/Wipro/Philips/Jaguar) by removing the existing fittings. | 6.00 | Each |  | 4400.00 | 26400.00 | 4200.00 | 25200.00 | 25200.00 | KISLAY KUMAR
9.00 | Supplying, installing, testing and commissioning of 230 mm Metallic exhaust fan on the existinng opening including connection etc. as required .( Havells item code no.Havells Ventil Air DS FHVVEMTDSB09 or equivalent specifications frrom any other make i.e CG/Wipro/Philips/Jaguar ) by removing the existing fittings. | 9.00 | Each |  | 2450.00 | 22050.00 | 2380.00 | 21420.00 | 21420.00 | KISLAY KUMAR
10.00 | Supplying, installing, testing and commissioning of pre wired 9/10 WATT LED Lamp complete with all accessories directly on existing holder on ceiling/wall including connection etc. as required ( Havells item code no LHLDDDBNL5R009 or equivalent specifications frrom any other make i.e CG/Wipro/Philips/Jaguar ) by removing the existing fittings. | 15.00 | Each |  | 180.00 | 2700.00 | 155.00 | 2325.00 | 2325.00 | KISLAY KUMAR
11.00 | Supplying, installing, testing and commissioning of 10 watt LED bulk head all accessories directly on existing wall including connection etc. as required .( Havells Item Code RUGBYGENXFTS10WLED865SSYMBOPC or equivalent specifications from any other make i.e CG/Wipro/Philips/Jaguar) by removing the existing fittings. | 6.00 | Each |  | 1750.00 | 10500.00 | 1690.00 | 10140.00 | 10140.00 | KISLAY KUMAR
| Total in Figures |  |  |  |  | 108875.00 |  | 105525.00
Lowest Amount Quoted BY: KISLAY KUMAR(105525.00)

## BOQ Summary
BOQ Summary Details Tender Title: Improvement of 02 nos toilet block near adm block 02 BN BSF(Now 110 Bn BSF) kurdha under SHQ BSF Chennai.(Providing and Fixing of Electrical Items and Fixtures). Tender ID: 2026_BSF_926154_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KISLAY KUMAR (BID ID -3485355) | 105525.00 | L1
| 2 | KALINGA CONSTRUCTIONS (BID ID -3485376) | 108875.00 | L2