## BoQ1
Government eProcurement System Created By: RAMLAKHAN MEENA Created Date/Time: 21-Jul-2026 11:30 AM Tender Title: item rate Tender ID: 2026_BSNL_283657_1
Tender Inviting Authority: Executive Engineer (C) , BSNL CD, Jodhpur.
Name of work:- Installation of 18M / 15M roof top tower at Mandal Dstt Bhilwara including its carriage .
Contract No: 18/EE(C)/BSNL-Civil/JDR/2026-2027
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RAJ ENTERPRISES (GSTN-NA) BID ID -1044866
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement :
1.01 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 1.00 | One Cum | 10852.95 | 14000.00 | 14000.00 | 14000.00 | RAJ ENTERPRISES
2.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 4.50 | One Cum | 11505.50 | 13500.00 | 60750.00 | 60750.00 | RAJ ENTERPRISES
3.00 | Centering and shuttering including strutting, propping etc. and removal of form for :
3.01 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 30.00 | One Sqm | 736.40 | 500.00 | 15000.00 | 15000.00 | RAJ ENTERPRISES
3.02 | Columns, Pillars, Piers, Abutments, Posts and Struts | 2.00 | One Sqm | 961.30 | 600.00 | 1200.00 | 1200.00 | RAJ ENTERPRISES
3.03 | Edges of slabs and breaks in floors and walls
3.04 | Under 20 cm wide | 12.00 | One RM | 208.55 | 500.00 | 6000.00 | 6000.00 | RAJ ENTERPRISES
4.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
4.01 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 800.00 | One Kg | 107.85 | 130.00 | 104000.00 | 104000.00 | RAJ ENTERPRISES
5.00 | Smooth finishing of the exposed surface of R.C.C. work with 6 mm thick cement mortar 1:3 (1 Cement : 3 fine sand). | 30.00 | One Sqm | 300.45 | 400.00 | 12000.00 | 12000.00 | RAJ ENTERPRISES
6.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq. meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground within 50 metres lead
6.01 | With cement mortar 1:4 (1cement: 4 coarse sand). | 10.00 | One Sqm | 560.50 | 300.00 | 3000.00 | 3000.00 | RAJ ENTERPRISES
7.00 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for 50 m lead and all lifts all complete as per direction of Engineer-In-Charge
7.01 | 25 mm average thickness | 5.00 | One Sqm | 104.60 | 600.00 | 3000.00 | 3000.00 | RAJ ENTERPRISES
8.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). | 5.00 | One Sqm | 510.50 | 600.00 | 3000.00 | 3000.00 | RAJ ENTERPRISES
9.00 | Carriage of tower material from T.E. Building, Bhilwara to BSNL new RTT site at Mandal including loading, unloading,lifting up to three storied height , stacking in countable position. The rates includes the cost of providing sufficient labour and experience supervisor at the time of transportation for smoothly stacking, sorting, storing etc., dismantled material of 15M/ 18 M three legs RTT tower approximate weight 2..00 MT and lead upto 20 KM approximately. | 1.00 | Each Job | 17941.42 | 10000.00 | 10000.00 | 10000.00 | RAJ ENTERPRISES
10.00 | Making of precise diagram of the plan of the foundation bolts for the existing tower material (centre to centre distances and making of templates as per existing position of similar BSNL tower). The skilled labour will search and match the existing tower material to the already installed BSNL tower precisely for making precise diagram for templates of foundation bolts including cnetre to centre distances. . | 1.00 | Each Job | 10000.00 | 10000.00 | 10000.00 | 10000.00 | RAJ ENTERPRISES
11.00 | Extra for number painting on each member of dismantled members (of above item No.1) tower material etc. as per schedule nomenclature.
11.01 | 15M/18 M Three leg angle tower. | 1.00 | Each job | 1500.00 | 1000.00 | 1000.00 | 1000.00 | RAJ ENTERPRISES
12.00 | Making and supplying at site anchor bolts for fixing base of tower manufactured from 25 mm dia mild steel bars of required length and threaded at top upto 150 mm length and welded with lugs made from 100mmx100mmx 10 mm thick mild steel plate at 50 mm from bottom including suitable hexagonal nuts 2 nos (Nuts & Checknuts)and MS spring washer etc all complete as per drected by the Engineer- in -charge. | 130.00 | One Kg | 196.64 | 130.00 | 16900.00 | 16900.00 | RAJ ENTERPRISES
13.00 | Placing and embedding in position required number of foundation anchor bolts, nuts and template in each leg of RCC Column and beam of 3 -legged tower as per the structural drawing and agreement maintaining the levelling and verticality centre to entre distances accurately all complete as directed by Engineer In Charge. | 1.00 | One Job | 4104.68 | 2000.00 | 2000.00 | 2000.00 | RAJ ENTERPRISES
14.00 | Erection of Roof Top Tower upto 18M height at desired location and floor as decided by competent authority. This includes all labour and works involed in erection of tower, including shorting ,numbering etc. all complete as per direction of Engineer in Charge. | 1.00 | Each Job | 46210.73 | 55000.00 | 55000.00 | 55000.00 | RAJ ENTERPRISES
15.00 | Welding plant at site i/c welding of new column bars to existing slab/ beam & column reinforcement bars as directed by engineer incharge.( New reiforcement to be paid separately) | 1.00 | Each Job | 2500.00 | 2500.00 | 2500.00 | 2500.00 | RAJ ENTERPRISES
16.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical/manual means with tractor trolley including laying down the material from 2nd floor roof to ground floor outside building in gunny/juite bags including all loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 2.00 | Per trolly | 1456.50 | 1000.00 | 2000.00 | 2000.00 | RAJ ENTERPRISES
17.00 | Providing parts of aviation light as necessary so as to satisfy aviation requirements.
17.01 | (a) Supplying, installing, testing & comissioning of Single dome Aviation obstruction light (AOL) fixture having base made of aluminium die cast / fibre body and top cover of red polycarbonate dome & 230 V AC LED Aviation obstruction lamp with 300 & more Nos. clear LED's having light intensity of minimum 1200 LUX & necessary auto on-off scanner photo cell unit with tranformer in built in dome light of make from Vijay, Binoy, Altrox or equivalent etc. with necessary clamp for fixing arrangement etc. all complete as per the direction of Engineer-in-charge.
17.02 | (b) Providing and fixing MCB of range 6-32 Amp of Havells, Merlin Gerin or equivalent make.
17.03 | (c) Providing and fixing PVC double insulated 2 core x 1.5 Sq.mm. copper conducter / unarmoured power cable of apprx length 50m (Finolax,Polycab or equivalent) including removing damaged power cable and encasing new power cable in existing PVC conduit pipe.
17.04 | (d) Providing and fixing PVC conduit pipe of 20 mm dia of approved brand and manufacture all complete as per direction of Engineer -In-Charge.
17.05 | The rate includes for all the meterials, labour and T&P etc required for all the works as mentioned above. | 1.00 | One No | 12500.00 | 10000.00 | 10000.00 | 10000.00 | RAJ ENTERPRISES
18.00 | Supplying at site galvanised steel tower material with average mass of zinc coating of 610 gm/Sqm ( Apprx. 85 micron) consisting of Nuts & bolts and washers etc. for erection of tower structure. | 50.00 | One Kg. | 170.00 | 150.00 | 7500.00 | 7500.00 | RAJ ENTERPRISES
19.00 | Scaffolding required for plastering work of outer face of beams etc complete. | 1.00 | Eone Job | 7000.00 | 5000.00 | 5000.00 | 5000.00 | RAJ ENTERPRISES
| Total in Figures |  |  |  |  | 343850.00
Lowest Amount Quoted BY: RAJ ENTERPRISES(343850.00)

## BOQ Summary
BOQ Summary Details Tender Title: item rate Tender ID: 2026_BSNL_283657_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RAJ ENTERPRISES (BID ID -1044866) | 343850.00 | L1