## BoQ1
Government eProcurement System Created By: Suresh Kumar Created Date/Time: 21-Jul-2026 12:34 PM Tender Title: Repair and Renovation works in toilet block of TE Building, Bahadurgarh, District Jhajjar Tender ID: 2026_BSNL_283670_1
Tender Inviting Authority: Executive Engineer (C), BSNL Civil Division, Ambala
Name of Work:- Repair and Renovation works in toilet block of TE Building, Bahadurgarh, District Jhajjar.
NIT No. : 08/EE/BSNL/CD/RTK/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | satpal juneja (GSTN-NA) BID ID -1046043
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
1.01 | In cement mortar | .50 | Cum |  | 1820.00 | 910.00 | 910.00 | satpal juneja
2.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
2.01 | For thickness of tiles 10 mm to 25 mm | 5.00 | Sqm |  | 75.00 | 375.00 | 375.00 | satpal juneja
3.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
3.01 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 1.00 | Cum |  | 2150.00 | 2150.00 | 2150.00 | satpal juneja
4.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 30.00 | Sqm |  | 48.00 | 1440.00 | 1440.00 | satpal juneja
5.00 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge
5.01 | 25 mm average thickness | 20.00 | Sqm |  | 116.00 | 2320.00 | 2320.00 | satpal juneja
6.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
6.01 | Cement mortar 1:6 (1 cement : 6 coarse sand) | .50 | Cum |  | 9500.00 | 4750.00 | 4750.00 | satpal juneja
7.00 | Providing and fixing panelled or panelled and glazed shutters for doors, windows and clerestory windows, fixing with butt hinges of required size with necessary screws, excluding panelling which will be paid for separately, all complete as per direction of Engineer-in-charge. (Note: Butt hinges and necessary screws shall be paid separately)
7.01 | Kiln seasoned and chemically treated hollock wood
7.02 | 35 mm thick shutters | 3.50 | Sqm |  | 3200.00 | 11200.00 | 11200.00 | satpal juneja
8.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 2.00 | Nos. |  | 1000.00 | 2000.00 | 2000.00 | satpal juneja
9.00 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.
9.01 | Using flats 30x6mm for diagonal braces and central cross piece | 1.50 | Sqm |  | 5200.00 | 7800.00 | 7800.00 | satpal juneja
10.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
10.01 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 20.00 | Kg |  | 155.00 | 3100.00 | 3100.00 | satpal juneja
11.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm(thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc. complete. | 5.00 | Sqm |  | 1200.00 | 6000.00 | 6000.00 | satpal juneja
12.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.
12.01 | Single socketed pipes.
12.02 | 110 mm diameter | 12.00 | Metre |  | 365.00 | 4380.00 | 4380.00 | satpal juneja
13.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.
13.01 | Single tee without door
13.02 | 110x110x110 mm | 4.00 | Nos. |  | 220.00 | 880.00 | 880.00 | satpal juneja
13.03 | Bend 87.5°
13.04 | 110 mm bend | 2.00 | Nos. |  | 150.00 | 300.00 | 300.00 | satpal juneja
14.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 120.00 | Sqm |  | 22.00 | 2640.00 | 2640.00 | satpal juneja
15.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer, of required shade and colour all complete :
15.01 | New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 200.00 | Sqm |  | 160.00 | 32000.00 | 32000.00 | satpal juneja
16.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content.
16.01 | With ready mixed pink or grey primer on wood work (hard and soft wood) having VOC content less than 50 grams/ litre. | 10.00 | Sqm |  | 76.00 | 760.00 | 760.00 | satpal juneja
17.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
17.01 | Two or more coats on new work. | 15.00 | Sqm |  | 155.00 | 2325.00 | 2325.00 | satpal juneja
17.02 | One or more coats on old work. | 35.00 | Sqm |  | 100.00 | 3500.00 | 3500.00 | satpal juneja
18.00 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty:
18.01 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm). | 1.00 | Sqm |  | 1290.00 | 1290.00 | 1290.00 | satpal juneja
19.00 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | 6.00 | Nos. |  | 390.00 | 2340.00 | 2340.00 | satpal juneja
20.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after. The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspectionof work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge. The elevational area of the scaffolding shall be measured for payment purpose. The payment shall be made once irrespective of duration of scaffolding. | 30.00 | Sqm |  | 300.00 | 9000.00 | 9000.00 | satpal juneja
21.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 2.00 | Nos. |  | 130.00 | 260.00 | 260.00 | satpal juneja
22.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
22.01 | Of area 3 sq. metres and below | 1.00 | Nos. |  | 365.00 | 365.00 | 365.00 | satpal juneja
23.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead:
23.01 | Of area 3 sq. metres and below | 2.00 | Nos. |  | 200.00 | 400.00 | 400.00 | satpal juneja
24.00 | 12 mm cement plaster of mix :
24.01 | 1:6 (1 cement: 6 coarse sand) | 30.00 | Sqm |  | 300.00 | 9000.00 | 9000.00 | satpal juneja
25.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq. meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground , all complete as per directions of Engineer-In-Charge.
25.01 | With cement mortar 1:4 (1cement: 4 coarse sand). | 20.00 | Sqm |  | 500.00 | 10000.00 | 10000.00 | satpal juneja
26.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 3.00 | Cum |  | 300.00 | 900.00 | 900.00 | satpal juneja
27.00 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:
27.01 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 1.00 | No. |  | 6800.00 | 6800.00 | 6800.00 | satpal juneja
28.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls and floors wherever required :
28.01 | W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | No. |  | 9000.00 | 9000.00 | 9000.00 | satpal juneja
29.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 1.00 | No. |  | 400.00 | 400.00 | 400.00 | satpal juneja
30.00 | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete.
30.01 | 10 litre capacity - White | 1.00 | No. |  | 1300.00 | 1300.00 | 1300.00 | satpal juneja
31.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing :
31.01 | Rectangular shape 453x357 mm | 4.00 | Nos. |  | 1200.00 | 4800.00 | 4800.00 | satpal juneja
32.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge : External work
32.01 | 20 mm nominal outer dia. Pipes. | 10.00 | Metre |  | 260.00 | 2600.00 | 2600.00 | satpal juneja
32.02 | 25 mm nominal outer dia. Pipes. | 5.00 | Metre |  | 330.00 | 1650.00 | 1650.00 | satpal juneja
33.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. : Internal work – Exposed on wall.
33.01 | 40 mm dia. nominal bore | 5.00 | Metre |  | 820.00 | 4100.00 | 4100.00 | satpal juneja
34.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :
34.01 | 45 cm length
34.02 | 15 mm nominal bore | 18.00 | Nos. |  | 95.00 | 1710.00 | 1710.00 | satpal juneja
35.00 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball.
35.01 | 20 mm nominal bore, 120 mm long. Weighing not less than 198 gms. | 2.00 | Nos. |  | 260.00 | 520.00 | 520.00 | satpal juneja
36.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 :
36.01 | 15mm nominal bore | 18.00 | Nos. |  | 760.00 | 13680.00 | 13680.00 | satpal juneja
37.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
37.01 | Flexible pipe
37.02 | 32 mm dia | 12.00 | Nos. |  | 115.00 | 1380.00 | 1380.00 | satpal juneja
38.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931:
38.01 | 15 mm nominal bore. | 6.00 | Nos. |  | 730.00 | 4380.00 | 4380.00 | satpal juneja
39.00 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
39.01 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 20.00 | Sqm |  | 150.00 | 3000.00 | 3000.00 | satpal juneja
40.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge.
40.01 | 25 mm average thickness in 2 layers. | 20.00 | Sqm |  | 600.00 | 12000.00 | 12000.00 | satpal juneja
41.00 | Providing and fixing PTMT pillar cock of approved quality and colour .
41.01 | 15mm nominal bore, 107 mm long. Weighing not less than 110 gms. | 6.00 | Nos. |  | 230.00 | 1380.00 | 1380.00 | satpal juneja
42.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality L D- 2.5
42.01 | Rectangular shape 600x450mm internal dimensions | 1.00 | Nos. |  | 1400.00 | 1400.00 | 1400.00 | satpal juneja
43.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
43.01 | For fixed portion
43.02 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 20.00 | Kg |  | 670.00 | 13400.00 | 13400.00 | satpal juneja
43.03 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately).
43.04 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 7.00 | Kg |  | 750.00 | 5250.00 | 5250.00 | satpal juneja
44.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
44.01 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 1.50 | Sqm |  | 1490.00 | 2235.00 | 2235.00 | satpal juneja
45.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick :
45.01 | 12mm thick ply wood | 2.50 | Sqm |  | 2000.00 | 5000.00 | 5000.00 | satpal juneja
46.00 | Removing blockage from bath/kitchen WC traps including removal blockage from bends for its proper function to use i/c opening door of Tee and re-fixing the same after removal of leakage. Complete as per the direction of the Engineer –in-Charge.( Item including at the cost for provide T & P, ladder etc.) | 5.00 | Nos. |  | 350.00 | 1750.00 | 1750.00 | satpal juneja
47.00 | Removing blockage of existing sewer line by desludging , making arrangement of rodding , pumping , cleaning the sludge and disposal of the same beyond the municipal limits in prescribed environment friendly manner by mechanical transport then cleaning the sewer line with fresh water complete as per the site condition & as per direction of Engineer-in-Charge including pre-monsoon precautionary measures. . | 30.00 | Metre |  | 47.00 | 1410.00 | 1410.00 | satpal juneja
48.00 | Cleaning of existing manholes by desludging & making arrangement of rodding , pumping & cleaning the sludge and disposal of the same beyond the municipal limits in prescribed environment friendly manner by mechanical transport then cleaning the walls & floors with fresh water complete as per the site condition & as per direction of Engineer-in-Charge .(Circular or rectangular manhole of any depth or size) | 5.00 | Nos. |  | 350.00 | 1750.00 | 1750.00 | satpal juneja
49.00 | Cleaning of Toilet/WC wall & floor tiles with tile cleaning chemical and soap solution etc all complete as per direction of Engineer-in-Charge. | 200.00 | Sqm |  | 20.00 | 4000.00 | 4000.00 | satpal juneja
50.00 | Providing and fixing PVC floor trap in position all complete as per direction of Engineer-in-charge.
50.01 | 100 mm inlet and 100 mm outlet | 6.00 | Nos. |  | 260.00 | 1560.00 | 1560.00 | satpal juneja
51.00 | Credit on account of unserviceable material received from dismantling, demolishing or lying at site issued to agency:-
51.01 | Brass bib cock/stop cook / pillar cock / gate valves/waste couplings/angle valve/ball valve etc and like scrap. | 8.50 | Kg |  | 200.00 | -1700.00 | -1700.00 | satpal juneja
| Total in Figures |  |  |  |  | 227140.00
Lowest Amount Quoted BY: satpal juneja(227140.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair and Renovation works in toilet block of TE Building, Bahadurgarh, District Jhajjar Tender ID: 2026_BSNL_283670_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | satpal juneja (BID ID -1046043) | 227140.00 | L1