## BoQ1
Government eProcurement System Created By: EDUKONDALU BASVANI Created Date/Time: 26-Sep-2026 02:23 PM Tender Title: Attending Electrical Maintenance or Breakdown works at BSNL Bhavan Compound and BSNL Staff Quarters compounds at Machavaram, TIkkle Road and GandhiColony , Vijayawada Tender ID: 2026_BSNL_290487_1
Tender Inviting Authority: Executive Engineer (Electrical), BSNL, VIJAYAWADA
Name of Work: Attending Electrical Maintenance/Breakdown works at BSNL Bhavan Compound and BSNL Staff Quarters compounds @ Machavaram, TIkkle Road & GandhiColony , Vijayawada.( 06 Months in FY 2026-27 )( Recall)
NIT No. 51/BSNL/EDV/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | K SRINIVASA RAO (GSTN-NA) BID ID -1069050 |  | P Purushshotham (GSTN-NA) BID ID -1069071
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
2.00 | Arranging one skilled Electrician in general shift for trouble shooting / attending various day-to-day electrical faults at various Electrical Installations like LT Panels, Pump sets, power cables, Distribution Boards,switch boards etc in the BSNL Bhavan Compound and BSNL Staff Quarters @ Machavaram, TIkkle Road & GandhiColony and restoration of electrical faults and furnishing feed back on the repairs needed etc., complete as required. | 6.00 | Months | item1 | 190800.00 | 225144.00 | 192000.00 | 226560.00 | 190800.00 | K SRINIVASA RAO | 225144.00 | K SRINIVASA RAO
3.00 | Trouble shooting /Break down Maintenance of 11KV HT Electrical Installations like HT Panel, OCBs, 11KV Out Door structure Yard by arranging skilled/Qualified Electrical service( having valid 11 KV license ) personnel at site and for immediate restoration /temporary restoration of the supply , furnishing feed back on the repairs needed etc as required. | 3.00 | Jobs | item2 | 11400.00 | 13452.00 | 11700.00 | 13806.00 | 11400.00 | K SRINIVASA RAO | 13452.00 | K SRINIVASA RAO
4.00 | Trouble shooting of the 3 HP / 5 HP mono block sump submersible pump sets including lifting from the sump with chain /ropes arrangement , disconnecting pipe lines, removing of the impellar cover, cleaning of the deposited mud from the impellar , making free rotation of the shaft , tetsing and re insertion in the sump testing etc involving minor faults as required. | 2.00 | Job | item3 | 7600.00 | 8968.00 | 7800.00 | 9204.00 | 7600.00 | K SRINIVASA RAO | 8968.00 | K SRINIVASA RAO
5.00 | Trouble shooting of the 3 HP / 5 HP mono block sump submersible pump sets including lifting from the sump with chain /ropes arrangement , disconnecting pipe lines, removing of the impellar cover, cleaning of the deposited mud from the impellar , making free rotation of the shaft , tetsing and re insertion in the sump testing etc involving minor faults as required. | 3.00 | Job | item4 | 11850.00 | 13983.00 | 12300.00 | 14514.00 | 11850.00 | K SRINIVASA RAO | 13983.00 | K SRINIVASA RAO
6.00 | Attending repairs to the 1.5 HP submersible pump set on needy basis includig removing from the borewell , identifying the faults, repairing the pump set at work shop rewinding, replacing bushes, impellars, bearings , necssary shaft foundry work , re conditioning of the motor and pump shaft locking gear wheel etc to and fro transportaion , installation of the pump set at Quarters premises testing and commissioning complete as required. | 1.00 | Job | item5 | 13200.00 | 15576.00 | 13200.00 | 15576.00 | 13200.00 | K SRINIVASA RAO, P Purushshotham | 15576.00 | K SRINIVASA RAO, P Purushshotham
7.00 | Supplying of the following electrical accessories suitable for operation on 230V/415V AC supply including removing faulty items , testing and commissioning etc as required.
8.00 | (i) 6W/9W LED Bulbs | 6.00 | Nos | item6 | 1140.00 | 1345.20 | 1500.00 | 1770.00 | 1140.00 | K SRINIVASA RAO | 1345.20 | K SRINIVASA RAO
9.00 | (ii) 4', 20W LED batten type fitting etc | 20.00 | Nos | item7 | 10400.00 | 12272.00 | 10400.00 | 12272.00 | 10400.00 | K SRINIVASA RAO, P Purushshotham | 12272.00 | K SRINIVASA RAO, P Purushshotham
10.00 | (iii) 2.5 MFD Ceiling Fan Capacitors | 10.00 | Nos | item8 | 0.00 | 649.00 | 0.00 | 649.00 | 0.00 | K SRINIVASA RAO, P Purushshotham | 649.00 | K SRINIVASA RAO, P Purushshotham
11.00 | (iv) 6A- 20A SP MCBs | 10.00 | Nos | item9 | 3250.00 | 3835.00 | 3250.00 | 3835.00 | 3250.00 | K SRINIVASA RAO, P Purushshotham | 3835.00 | K SRINIVASA RAO, P Purushshotham
12.00 | (v) 63A FP Isolator | 2.00 | Nos | item10 | 3000.00 | 3540.00 | 3200.00 | 3776.00 | 3000.00 | K SRINIVASA RAO | 3540.00 | K SRINIVASA RAO
13.00 | (vi) 63A Porcelian Fuse cutouts | 2.00 | Nos | item11 | 1400.00 | 1652.00 | 1600.00 | 1888.00 | 1400.00 | K SRINIVASA RAO | 1652.00 | K SRINIVASA RAO
14.00 | (vii) 100A Porcelain Fuse Cutouts | 2.00 | Nos | item12 | 3200.00 | 3776.00 | 3400.00 | 4012.00 | 3200.00 | K SRINIVASA RAO | 3776.00 | K SRINIVASA RAO
15.00 | (viii) Electronic type ceiling fan regulator | 5.00 | Nos | item13 | 2500.00 | 2950.00 | 3000.00 | 3540.00 | 2500.00 | K SRINIVASA RAO | 2950.00 | K SRINIVASA RAO
16.00 | Attending faults in ceiling fans by replacing set of faulty bearings, rewinding including removing , taking to work shop, re fixing testing and commissioning as required. | 10.00 | Jobs | item14 | 9300.00 | 10974.00 | 9800.00 | 11564.00 | 9300.00 | K SRINIVASA RAO | 10974.00 | K SRINIVASA RAO
17.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
18.00 | a) 20 mm | 10.00 | Mtrs | item15 | 0.00 | 1534.00 | 0.00 | 1888.00 | 0.00 | K SRINIVASA RAO, P Purushshotham | 1534.00 | K SRINIVASA RAO
19.00 | b) 25 mm | 10.00 | Mtrs | item16 | 0.00 | 1652.00 | 0.00 | 1888.00 | 0.00 | K SRINIVASA RAO, P Purushshotham | 1652.00 | K SRINIVASA RAO
20.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in existing PVC Cassing capping/PVC conduit etc as required
21.00 | a) 3 X 1.5 sq. mm | 5.00 | Mts | item17 | 675.00 | 796.50 | 800.00 | 944.00 | 675.00 | K SRINIVASA RAO | 796.50 | K SRINIVASA RAO
22.00 | b)3 X 2.5 sq. mm | 20.00 | Mts | item18 | 3500.00 | 4130.00 | 3800.00 | 4484.00 | 3500.00 | K SRINIVASA RAO | 4130.00 | K SRINIVASA RAO
23.00 | c) 3 X 4 sq. mm | 10.00 | Mts | item19 | 2600.00 | 3068.00 | 2800.00 | 3304.00 | 2600.00 | K SRINIVASA RAO | 3068.00 | K SRINIVASA RAO
| Total in Figures |  |  |  | 275815.00 | 329296.70 | 280550.00 | 335474.00

## BOQ Summary
BOQ Summary Details Tender Title: Attending Electrical Maintenance or Breakdown works at BSNL Bhavan Compound and BSNL Staff Quarters compounds at Machavaram, TIkkle Road and GandhiColony , Vijayawada Tender ID: 2026_BSNL_290487_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | K SRINIVASA RAO (BID ID -1069050) | 329296.70 | L1
| 2 | P Purushshotham (BID ID -1069071) | 335474.00 | L2