## BoQ1
Government eProcurement System Created By: NIRAJ KUMAR SHUKLA Created Date/Time: 24-Sep-2026 04:50 PM Tender Title: Shifting, transporting from Lko, reinstallation of DG set in canopy with minor repairing and other associated work at TE Jamunaha, Bahraich Tender ID: 2026_BSNL_290556_1
Tender Inviting Authority: Executive Engineer (E), LUCKNOW.
Name of Work: Shifting, transporting (from Lko), reinstallation of DG set in canopy with minor repairing and other associated work at TE Jamunaha, Bahraich.
Contract No: 18/TEDL/BSNL/2026-27, Dated 20/07/2026 Estimated Cost Rs, 2,06,677.00
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | M/S SANJAY ELECTRICAL COMPANY (GSTN-NA) BID ID -1070828
[5 empty] | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.01 | Safely, Dismantalling of existing 15KVA capacity EA set in canopy (already installed at TE Jamunanah on approx 3' raised foundation) i/c disconnection of cable, panel, fuel tank , silencer etc i/c shifting the complete DG to suitable location within premises complete as required. | 1.00 | job | item1 | 8700.00 | 10266.00 | 8700.00 | M/S SANJAY ELECTRICAL COMPANY | 10266.00 | M/S SANJAY ELECTRICAL COMPANY
1.02 | Safely shifting of 15KVA capacity DG set in canopy from store, Lucknow to TE Jamunanh (approx 150Km) i/c dismantling , loading / unloading of DG set on both location etc. complete as reqd. | 1.00 | job | item2 | 17000.00 | 20060.00 | 17000.00 | M/S SANJAY ELECTRICAL COMPANY | 20060.00 | M/S SANJAY ELECTRICAL COMPANY
1.03 | ITC of above 15KVA capacity DG set i/c fixing of silencer, fuel tank etc. complete as reqd . | 1.00 | job | item3 | 5000.00 | 5900.00 | 5000.00 | M/S SANJAY ELECTRICAL COMPANY | 5900.00 | M/S SANJAY ELECTRICAL COMPANY
1.04 | Earthing with G.I. earth pipe 4.5 Meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | job | item4 | 15200.00 | 17936.00 | 15200.00 | M/S SANJAY ELECTRICAL COMPANY | 17936.00 | M/S SANJAY ELECTRICAL COMPANY
1.05 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 10.00 | Mtr | item5 | 2500.00 | 2950.00 | 2500.00 | M/S SANJAY ELECTRICAL COMPANY | 2950.00 | M/S SANJAY ELECTRICAL COMPANY
1.06 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 5.00 | Mtr | item6 | 225.00 | 265.50 | 225.00 | M/S SANJAY ELECTRICAL COMPANY | 265.50 | M/S SANJAY ELECTRICAL COMPANY
1.07 | Providing of 88 AH 12 Volt maintenance free New Lead acid Batteries of complete with first fill of electrolyte & first charging i/c testing and commissioning at site complete as reqd. (Exide or approved make) | 1.00 | Job | item7 | 10950.00 | 12921.00 | 10950.00 | M/S SANJAY ELECTRICAL COMPANY | 12921.00 | M/S SANJAY ELECTRICAL COMPANY
1.08 | Replacement of faulty / defective spare parts / components/ accessories of existing DG sets i/c dismantling / disconnecting the faulty /defective ones, fixing and connection of new ones, ftesting and commissioning etc. complete as required.( Make- Recommended by manufacturer/ BSNL makes only). (a) 1x25 sqmm flexible Multi core cu conductor PVC insulated Battery Leads (Flexible) of length not less than 0.6 Meters with two nos terminals . | 2.00 | job | item8 | 1100.00 | 1298.00 | 1100.00 | M/S SANJAY ELECTRICAL COMPANY | 1298.00 | M/S SANJAY ELECTRICAL COMPANY
1.09 | (b) Flexible wire braided fuel pipe of 19 mm dia for the connection of fuel line connection ( inlet and outlet ) complete as required at site. | 2.00 | job | item9 | 720.00 | 849.60 | 720.00 | M/S SANJAY ELECTRICAL COMPANY | 849.60 | M/S SANJAY ELECTRICAL COMPANY
1.10 | © Suitable size belt | 3.00 | job | item10 | 1515.00 | 1787.70 | 1515.00 | M/S SANJAY ELECTRICAL COMPANY | 1787.70 | M/S SANJAY ELECTRICAL COMPANY
1.11 | Repairing of starting self for 15KVA DG set i/c replacement of faulty parts, making connection, testing etc complete as reqd | 1.00 | job | item11 | 5950.00 | 7021.00 | 5950.00 | M/S SANJAY ELECTRICAL COMPANY | 7021.00 | M/S SANJAY ELECTRICAL COMPANY
1.12 | S/F of 63Amp rating four pole on Load change over switch in steel enclosure capable of working 415/500 V ,AC 23 Duty i/c drilling hole on the board, making connection, earthing the body etc. as reqd. (M/s HPL / SS approved make) | 1.00 | job | item12 | 12600.00 | 14868.00 | 12600.00 | M/S SANJAY ELECTRICAL COMPANY | 14868.00 | M/S SANJAY ELECTRICAL COMPANY
1.13 | Making arrangement of fuel for minimum 30 minutes run of EA set (Not less than 5.00 Ltrs) i/c cartage, container and filling the fuel in existing tank etc as complete as required at site. (This item executed only those sites where fuel not made available by the BSNL authorities) | 1.00 | job | item13 | 500.00 | 590.00 | 500.00 | M/S SANJAY ELECTRICAL COMPANY | 590.00 | M/S SANJAY ELECTRICAL COMPANY
1.14 | Carrying out ' B' Check General Servicing of above 15KVA capacity of diesel Engine Alternator set including replacement of complete old lubricant oil, fuel filter, lubricant oil filter i/c Transportation charges, Tools and plants, testing etc complete as required at site. | 1.00 | job | item14 | 5500.00 | 6490.00 | 5500.00 | M/S SANJAY ELECTRICAL COMPANY | 6490.00 | M/S SANJAY ELECTRICAL COMPANY
1.15 | S/Fixing of SMPS battery charger in conrol panel of 15 KVA DG set i/c connection, tranportation, testing etc complete as reqd. | 1.00 | job | item15 | 4200.00 | 4956.00 | 4200.00 | M/S SANJAY ELECTRICAL COMPANY | 4956.00 | M/S SANJAY ELECTRICAL COMPANY
1.16 | Pdg of 4 x 16 Sqmm al conductor armoured cable size of pvc insulated pvc sheathed 1.1 kv grade Aluminium conductor cable confirming to relevant IS-Specification etc complete as reqd. (Make -Polycab/havells/finolex/ SS make) | 80.00 | Mtrs | item16 | 40800.00 | 48144.00 | 40800.00 | M/S SANJAY ELECTRICAL COMPANY | 48144.00 | M/S SANJAY ELECTRICAL COMPANY
1.17 | Pdg of 2 x 6 Sqmm weather proof cable pvc insulated pvc sheathed 1.1 kv grade Aluminium conductor cable i/c fixing on wall surface etc complete as reqd. | 80.00 | Mtrs | item17 | 6800.00 | 8024.00 | 6800.00 | M/S SANJAY ELECTRICAL COMPANY | 8024.00 | M/S SANJAY ELECTRICAL COMPANY
1.18 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface/ tray as required. (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 80.00 | Mtr | item18 | 4000.00 | 4720.00 | 4000.00 | M/S SANJAY ELECTRICAL COMPANY | 4720.00 | M/S SANJAY ELECTRICAL COMPANY
1.19 | S/F of following electrical items in existing Electrical Installation ,Compound light I/c dismantling of existing faulty items (if required ) and connection, testing etc. as reqd. ( Note- All spare of lighting systen should be of Make -Bajaj/crompton/philips /havells /wipro ). (a) 20 Watt LED Batten | 10.00 | Nos | item19 | 3500.00 | 4130.00 | 3500.00 | M/S SANJAY ELECTRICAL COMPANY | 4130.00 | M/S SANJAY ELECTRICAL COMPANY
1.20 | (b) GI Bracket for Street Light | 6.00 | Nos | item20 | 5100.00 | 6018.00 | 5100.00 | M/S SANJAY ELECTRICAL COMPANY | 6018.00 | M/S SANJAY ELECTRICAL COMPANY
1.21 | © 45/50 watt street light fitting | 6.00 | Nos | item21 | 25500.00 | 30090.00 | 25500.00 | M/S SANJAY ELECTRICAL COMPANY | 30090.00 | M/S SANJAY ELECTRICAL COMPANY
| Total in Figures |  |  |  | 177360.00 | 209284.80

## BOQ Summary
BOQ Summary Details Tender Title: Shifting, transporting from Lko, reinstallation of DG set in canopy with minor repairing and other associated work at TE Jamunaha, Bahraich Tender ID: 2026_BSNL_290556_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S SANJAY ELECTRICAL COMPANY (BID ID -1070828) | 209284.80 | L1