## BoQ1
Government eProcurement System Created By: SANDEEP SHRIVASTAVA Created Date/Time: 29-Sep-2026 10:55 AM Tender Title: Replacement of old rusted worn out GI pipe line from pump room to existing pipe line at TE compound wall at Naranpura, Ahemedabad Tender ID: 2026_BSNL_290576_1
Tender Inviting Authority: EXECUTIVE ENGINEER (CIVIL), BSNL CIVIL DIVISION, AHMEDABAD.
Name of Work: Replacement of old rusted worn out GI pipe line from pump room to existing pipe line at TE compund wall at Naranpura, Ahemedabad.
Contract No: 36/BSNL/EE/CD/AHD/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | mahalaxmi enterprise (GSTN-NA) BID ID -1068689 |  | AJAY CONSTRUCTION (GSTN-NA) BID ID -1070123
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. (a) Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 1.50 | Cum | 1.00 | 2500.00 | 3750.00 | 2000.00 | 3000.00 | 3000.00 | AJAY CONSTRUCTION
2.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.. (a) In cement mortar | 1.25 | Cum | 1.00 | 2100.00 | 2625.00 | 1500.00 | 1875.00 | 1875.00 | AJAY CONSTRUCTION
3.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 40.00 | Sqm | 1.00 | 80.00 | 3200.00 | 100.00 | 4000.00 | 3200.00 | mahalaxmi enterprise
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : (a) 1:2:4 (1 cement : 2 coarse sand(zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.25 | Cum | 1.00 | 9800.00 | 12250.00 | 8000.00 | 10000.00 | 10000.00 | AJAY CONSTRUCTION
5.00 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections | 21.00 | Metre | 1.00 | 175.00 | 3675.00 | 150.00 | 3150.00 | 3150.00 | AJAY CONSTRUCTION
6.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : (a) For fixed portion (i) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 8.00 | Kg | 1.00 | 980.00 | 7840.00 | 900.00 | 7200.00 | 7200.00 | AJAY CONSTRUCTION
7.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): (a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 3.00 | Sqm | 1.00 | 1800.00 | 5400.00 | 1200.00 | 3600.00 | 3600.00 | AJAY CONSTRUCTION
8.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : (a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 52.00 | Sqm | 1.00 | 180.00 | 9360.00 | 160.00 | 8320.00 | 8320.00 | AJAY CONSTRUCTION
9.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: (a) Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 11.00 | Sqm | 1.00 | 165.00 | 1815.00 | 180.00 | 1980.00 | 1815.00 | mahalaxmi enterprise
10.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 52.00 | Sqm | 1.00 | 51.00 | 2652.00 | 25.00 | 1300.00 | 1300.00 | AJAY CONSTRUCTION
11.00 | Finishing walls with water proofing cement paint of required shade : (a) Old work (one or more coats applied @ 2.20 kg/10 sqm) over priming coat of primer applied @ 0.80 litrs/10 sqm complete including cost of Priming coat. | 160.00 | Sqm | 1.00 | 148.00 | 23680.00 | 175.00 | 28000.00 | 23680.00 | mahalaxmi enterprise
12.00 | Cleaning of under ground sump, Over Head R.C.C. Tank (independent staging) including disposal of slit and rubbish, all as per direction of Engineer-in-Charge. The cleaning shall consist following operations:- (i) Tank shall be emptied of water by pumping & bottom shall be cleaned of slit and other deposits. (ii) Entire surface area of the sump shall then scrubbed thoroughly with wire brush etc. and pressure washed with water. (iii) Chlorination of RCC internal surface by liquid chlorine. (iv) The treated surface shall be dried using air jetting and all loose particles shall be removal from the surface. (v) Finally the surface shall be treated with ultraviolet radiation etc. as per direction of Engineer-in-Charge. | 300.00 | Sqm | 1.00 | 52.00 | 15600.00 | 100.00 | 30000.00 | 15600.00 | mahalaxmi enterprise
13.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. : Internal work - Exposed on wall (a) 25 mm nominal outer dia .Pipes. | 30.00 | Metre | 1.00 | 285.00 | 8550.00 | 700.00 | 21000.00 | 8550.00 | mahalaxmi enterprise
13.01 | 40 mm nominal outer dia. Pipes. | 45.00 | Metre | 1.00 | 580.00 | 26100.00 | 725.00 | 32625.00 | 26100.00 | mahalaxmi enterprise
14.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge : External work (a) 25 mm nominal outer dia. Pipes. | 45.00 | Metre | 1.00 | 275.00 | 12375.00 | 750.00 | 33750.00 | 12375.00 | mahalaxmi enterprise
14.01 | 40 mm nominal outer dia. Pipes. | 75.00 | Metre | 1.00 | 515.00 | 38625.00 | 775.00 | 58125.00 | 38625.00 | mahalaxmi enterprise
15.00 | Providing and fixing CPVC Ball valve of approve quality, colour and make as per the direction of Engineer in charge. (a) 25 mm nominal dia Pipes | 3.00 | Nos. | 1.00 | 1100.00 | 3300.00 | 300.00 | 900.00 | 900.00 | AJAY CONSTRUCTION
15.01 | 40 mm nominal dia Pipes | 4.00 | Nos. | 1.00 | 2100.00 | 8400.00 | 400.00 | 1600.00 | 1600.00 | AJAY CONSTRUCTION
16.00 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge (a) 25 mm average thickness | 80.00 | Sqm | 1.00 | 190.00 | 15200.00 | 100.00 | 8000.00 | 8000.00 | AJAY CONSTRUCTION
17.00 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. (a) Bars upto 12 mm diameter | 400.00 | Metre | 1.00 | 35.00 | 14000.00 | 10.00 | 4000.00 | 4000.00 | AJAY CONSTRUCTION
18.00 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. (a) SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 80.00 | Sqm | 1.00 | 195.00 | 15600.00 | 250.00 | 20000.00 | 15600.00 | mahalaxmi enterprise
19.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). (a) 12 mm average thickness. | 80.00 | Sqm | 1.00 | 475.00 | 38000.00 | 400.00 | 32000.00 | 32000.00 | AJAY CONSTRUCTION
| Total in Figures |  |  |  |  | 271997.00 |  | 314425.00
Lowest Amount Quoted BY: mahalaxmi enterprise(271997.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of old rusted worn out GI pipe line from pump room to existing pipe line at TE compound wall at Naranpura, Ahemedabad Tender ID: 2026_BSNL_290576_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | mahalaxmi enterprise (BID ID -1068689) | 271997.00 | L1
| 2 | AJAY CONSTRUCTION (BID ID -1070123) | 314425.00 | L2