## BoQ1
Government eProcurement System Created By: Anil kumar Sharma Created Date/Time: 12-Oct-2026 01:44 PM Tender Title: Construction of Administrative Building including site development for HP State Pollution Control Board at Sauli Khad Distt Mandi HP Civil and Electrical Work Tender ID: 2026_BSNL_292038_1
Tender Inviting Authority: Executive Engineer ( Civil), BSNL Civil Division Sunder Nagar
Name of Work: Construction of Administrative Building including site development for HP State Pollution Control Board at Sauli Khad, Distt. Mandi (HP) [Civil & Electrical Work].
NIT No: 14/EE/BSNL/CD/SNR/2026-27 Dated 24.09.2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HEM RAJ (GSTN-NA) BID ID -1075135 |  | M/S N.K. AGGARWAL (GSTN-NA) BID ID -1075218 |  | ANIL KUMAR (GSTN-NA) BID ID -1075486 |  | BABALU KUMAR (GSTN-NA) BID ID -1075232
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub-Head : Earth Work
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth, 1.5m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth, lead up to 50m and lift up to 1.5m,as directed by Engineer-in-Charge.
1.02 | All kinds of soil | 1475.00 | Cum | 177.50 | 150.00 | 221250.00 | 100.00 | 147500.00 | 110.00 | 162250.00 | 100.00 | 147500.00 | 147500.00 | M/S N.K. AGGARWAL, BABALU KUMAR
1.03 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30 cm in depth, 1.5m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth, lead up to 50 m and lift up to 1.5m, as directed by Engineer-in-Charge.
1.04 | Ordinary rock | 369.00 | Cum | 498.90 | 200.00 | 73800.00 | 150.00 | 55350.00 | 250.00 | 92250.00 | 300.00 | 110700.00 | 55350.00 | M/S N.K. AGGARWAL
1.05 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
1.06 | All kinds of soil. | 662.00 | Cum | 260.30 | 200.00 | 132400.00 | 150.00 | 99300.00 | 200.00 | 132400.00 | 100.00 | 66200.00 | 66200.00 | BABALU KUMAR
1.07 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50m.
1.08 | Ordinary rock | 166.00 | Cum | 632.95 | 300.00 | 49800.00 | 400.00 | 66400.00 | 300.00 | 49800.00 | 320.00 | 53120.00 | 49800.00 | HEM RAJ, ANIL KUMAR
1.09 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.10 | All kinds of soil
1.11 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 40.00 | m | 352.15 | 250.00 | 10000.00 | 250.00 | 10000.00 | 150.00 | 6000.00 | 280.00 | 11200.00 | 6000.00 | ANIL KUMAR
1.12 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m. | 1975.00 | cim | 196.00 | 80.00 | 158000.00 | 50.00 | 98750.00 | 75.00 | 148125.00 | 60.00 | 118500.00 | 98750.00 | M/S N.K. AGGARWAL
1.13 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials.
1.14 | All kinds of soil. | 140.00 | Cum | 126.80 | 80.00 | 11200.00 | 50.00 | 7000.00 | 80.00 | 11200.00 | 65.00 | 9100.00 | 7000.00 | M/S N.K. AGGARWAL
1.15 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 29.00 | Cum | 2123.75 | 1500.00 | 43500.00 | 1000.00 | 29000.00 | 1500.00 | 43500.00 | 500.00 | 14500.00 | 14500.00 | BABALU KUMAR
2.00 | Sub-Head : Concrete Work
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.02 | 1:2:4 (1 cement : 2 coarse sand(zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.00 | Cum | 7878.50 | 7000.00 | 35000.00 | 6000.00 | 30000.00 | 7000.00 | 35000.00 | 6500.00 | 32500.00 | 30000.00 | M/S N.K. AGGARWAL
2.03 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 235.00 | Cum | 6518.60 | 4000.00 | 940000.00 | 5000.00 | 1175000.00 | 4500.00 | 1057500.00 | 3900.00 | 916500.00 | 916500.00 | BABALU KUMAR
2.04 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor, etc., up to floor five level, excluding the cost of centering, shuttering and finishing :
2.05 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 2.00 | Cum | 9895.20 | 7500.00 | 15000.00 | 6250.00 | 12500.00 | 7500.00 | 15000.00 | 6500.00 | 13000.00 | 12500.00 | M/S N.K. AGGARWAL
2.06 | 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources). | 4.00 | Cum | 9311.40 | 5000.00 | 20000.00 | 5800.00 | 23200.00 | 7000.00 | 28000.00 | 5000.00 | 20000.00 | 20000.00 | HEM RAJ, BABALU KUMAR
2.07 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources). | 5.00 | cum | 8519.20 | 5000.00 | 25000.00 | 5000.00 | 25000.00 | 5000.00 | 25000.00 | 4500.00 | 22500.00 | 22500.00 | BABALU KUMAR
2.08 | Centering and shuttering including strutting, propping etc. and removal of form work for :
2.09 | Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses fillets, kerbs and steps etc.. | 1567.00 | Sqm | 842.50 | 300.00 | 470100.00 | 250.00 | 391750.00 | 200.00 | 313400.00 | 300.00 | 470100.00 | 313400.00 | ANIL KUMAR
2.10 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation leveling & dressing & finishing the top smooth. | 69.00 | Sqm | 749.30 | 400.00 | 27600.00 | 650.00 | 44850.00 | 300.00 | 20700.00 | 450.00 | 31050.00 | 20700.00 | ANIL KUMAR
2.11 | Providing and laying in position cement concrete 1:3:6 (1cement:3 coarse sand: 6 graded stone aggregate 20mm nominal size) with 40% plums/stone boulders of specified grade and size and curing complete excluding the cost of centring & shuttering in retaining walls/ breast walls. The size of plums shall usually be 150mm to 300mm as per the directions of the Engineer-in-charge. | 993.00 | cum | 6354.84 | 5500.00 | 5461500.00 | 3900.00 | 3872700.00 | 4250.00 | 4220250.00 | 4300.00 | 4269900.00 | 3872700.00 | M/S N.K. AGGARWAL
2.12 | Providing and fixing 110 mm dia P.V.C pipe (working pressure 4Kg/Sqcm) confirming to IS:13592 Type-A in retaining/breast walls for use as weep holes, laid to required slope complete as per the directions of the Engineer in charge. | 485.00 | Meters | 153.68 | 160.00 | 77600.00 | 300.00 | 145500.00 | 150.00 | 72750.00 | 350.00 | 169750.00 | 72750.00 | ANIL KUMAR
2.13 | Back filling with available stone boulders / ordinary rock recovered from excavation behind retaining walls complete as per directions of Engineer-in-charge[Note:-Stone boulders shall be supplied by the department free of cost]. | 103.00 | cum | 916.94 | 500.00 | 51500.00 | 700.00 | 72100.00 | 500.00 | 51500.00 | 550.00 | 56650.00 | 51500.00 | HEM RAJ, ANIL KUMAR
3.00 | Sub-Head : Reinforced Cement Concrete
3.01 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :
3.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 156.00 | Cum | 9045.75 | 7500.00 | 1170000.00 | 7250.00 | 1131000.00 | 7500.00 | 1170000.00 | 6900.00 | 1076400.00 | 1076400.00 | BABALU KUMAR
3.03 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement :
3.04 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III)derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 29.00 | Cum | 10852.95 | 8000.00 | 232000.00 | 7255.00 | 210395.00 | 7500.00 | 217500.00 | 7100.00 | 205900.00 | 205900.00 | BABALU KUMAR
3.05 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III)derived from natural sources : 3 graded stone aggregate 20 mm nominal sizederived from natural sources). | 110.00 | Cum | 11505.50 | 7800.00 | 858000.00 | 7250.00 | 797500.00 | 7500.00 | 825000.00 | 7100.00 | 781000.00 | 781000.00 | BABALU KUMAR
3.06 | Centering and shuttering including strutting, propping etc. and removal of form for :
3.07 | Foundations, footings, bases of columns, etc. for mass concrete | 186.00 | Sqm | 392.15 | 200.00 | 37200.00 | 200.00 | 37200.00 | 150.00 | 27900.00 | 150.00 | 27900.00 | 27900.00 | BABALU KUMAR, ANIL KUMAR
3.08 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 63.00 | Sqm | 842.50 | 400.00 | 25200.00 | 350.00 | 22050.00 | 300.00 | 18900.00 | 450.00 | 28350.00 | 18900.00 | ANIL KUMAR
3.09 | Suspended floors, roofs, landings, balconies and access platform | 442.00 | Sqm | 927.25 | 600.00 | 265200.00 | 400.00 | 176800.00 | 300.00 | 132600.00 | 400.00 | 176800.00 | 132600.00 | ANIL KUMAR
3.10 | LintShelves (Cast in situ) | 10.00 | Sqm | 927.25 | 700.00 | 7000.00 | 350.00 | 3500.00 | 450.00 | 4500.00 | 450.00 | 4500.00 | 3500.00 | M/S N.K. AGGARWAL
3.11 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 700.00 | Sqm | 736.40 | 500.00 | 350000.00 | 400.00 | 280000.00 | 430.00 | 301000.00 | 400.00 | 280000.00 | 280000.00 | M/S N.K. AGGARWAL, BABALU KUMAR
3.12 | Columns, Pillars, Piers, Abutments, Posts and Struts | 300.00 | Sqm | 961.30 | 700.00 | 210000.00 | 300.00 | 90000.00 | 300.00 | 90000.00 | 400.00 | 120000.00 | 90000.00 | M/S N.K. AGGARWAL, ANIL KUMAR
3.13 | Stairs, (excluding landings) except spiral-staircases | 30.00 | Sqm | 764.95 | 700.00 | 21000.00 | 350.00 | 10500.00 | 500.00 | 15000.00 | 500.00 | 15000.00 | 10500.00 | M/S N.K. AGGARWAL
3.14 | Weather shade, Chajjas, corbels etc., including edges | 30.00 | Sqm | 951.10 | 600.00 | 18000.00 | 300.00 | 9000.00 | 500.00 | 15000.00 | 500.00 | 15000.00 | 9000.00 | M/S N.K. AGGARWAL
3.15 | Small lintels not exceeding 1.5 m clear span, moulding as in cornices, window sills, string courses, bands, copings, bed plates, anchor blocks and the like | 20.00 | Sqm | 392.15 | 300.00 | 6000.00 | 300.00 | 6000.00 | 500.00 | 10000.00 | 650.00 | 13000.00 | 6000.00 | HEM RAJ, M/S N.K. AGGARWAL
3.16 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete in all levels.
3.17 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 46900.00 | Kg | 107.85 | 87.90 | 4122510.00 | 85.00 | 3986500.00 | 90.00 | 4221000.00 | 83.00 | 3892700.00 | 3892700.00 | BABALU KUMAR
3.18 | Smooth finishing of the exposed surface of R.C.C. work with 6 mm thick cement mortar 1:3 (1 Cement : 3 fine sand). | 500.00 | Sqm | 300.45 | 350.00 | 175000.00 | 300.00 | 150000.00 | 300.00 | 150000.00 | 250.00 | 125000.00 | 125000.00 | BABALU KUMAR
4.00 | Sub-Head :Masonry Work
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 85.00 | Cum | 7132.25 | 7000.00 | 595000.00 | 7000.00 | 595000.00 | 9500.00 | 807500.00 | 7500.00 | 637500.00 | 595000.00 | HEM RAJ, M/S N.K. AGGARWAL
4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 94.00 | Cum | 9105.95 | 8500.00 | 799000.00 | 7500.00 | 705000.00 | 9500.00 | 893000.00 | 8400.00 | 789600.00 | 705000.00 | M/S N.K. AGGARWAL
4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
4.06 | Cement mortar 1:4 (1 cement :4 coarse sand) | 216.00 | Sqm | 1123.80 | 960.00 | 207360.00 | 800.00 | 172800.00 | 1000.00 | 216000.00 | 1000.00 | 216000.00 | 172800.00 | M/S N.K. AGGARWAL
4.07 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry.ird course of half brick masonry. | 216.00 | Sqm | 104.80 | 850.00 | 183600.00 | 80.00 | 17280.00 | 80.00 | 17280.00 | 85.00 | 18360.00 | 17280.00 | M/S N.K. AGGARWAL, ANIL KUMAR
5.00 | Sub-Head Stone Work
5.01 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20mm nominal size) upto plinth level with :
5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand). | 32.00 | Cum | 7311.25 | 5000.00 | 160000.00 | 6000.00 | 192000.00 | 5000.00 | 160000.00 | 4500.00 | 144000.00 | 144000.00 | BABALU KUMAR
6.00 | Sub-Cladding Work
6.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size,approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
6.02 | Granite stone slab colour black, Cherry/Ruby red
6.03 | Area of slab upto 0.50 sqm | 4.00 | Sqm | 5413.50 | 4500.00 | 18000.00 | 5400.00 | 21600.00 | 4500.00 | 18000.00 | 3500.00 | 14000.00 | 14000.00 | BABALU KUMAR
6.04 | Area of slab over 0.50 sqm | 19.00 | Sqm | 5136.30 | 4800.00 | 91200.00 | 5000.00 | 95000.00 | 4200.00 | 79800.00 | 3800.00 | 72200.00 | 72200.00 | BABALU KUMAR
6.05 | Extra for providing opening of required size & shape for wash basin/kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete | 4.00 | Nos. | 978.70 | 800.00 | 3200.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 250.00 | 1000.00 | 1000.00 | BABALU KUMAR
6.06 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinalpartitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth.
6.07 | Granite Stone of approved shade | 2.00 | Sqm | 4051.85 | 4000.00 | 8000.00 | 4500.00 | 9000.00 | 6000.00 | 12000.00 | 4500.00 | 9000.00 | 8000.00 | HEM RAJ
6.08 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approvedmake, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 106.00 | Sqm | 1267.95 | 1000.00 | 106000.00 | 1000.00 | 106000.00 | 1200.00 | 127200.00 | 1000.00 | 106000.00 | 106000.00 | HEM RAJ, M/S N.K. AGGARWAL, BABALU KUMAR
7.00 | Sub-Head : Wood and P.V.C. Work
7.01 | Deduct for not providing hinges in doors, windows or clerestory window shutters with :
7.02 | ISI marked Stainless steel butt hinges with stainless steel screws :
7.03 | For 2nd class teak wood and other class of wood shutters | 26.00 | Sqm | 253.30 | 250.00 | -6500.00 | 250.00 | -6500.00 | 200.00 | -5200.00 | 50.00 | -1300.00 | -6500.00 | HEM RAJ, M/S N.K. AGGARWAL
7.04 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:
7.05 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 26.00 | Sqm | 2392.65 | 2500.00 | 65000.00 | 3000.00 | 78000.00 | 3500.00 | 91000.00 | 3500.00 | 91000.00 | 65000.00 | HEM RAJ
7.06 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 26.00 | Sqm | 462.35 | 450.00 | 11700.00 | 250.00 | 6500.00 | 500.00 | 13000.00 | 2000.00 | 52000.00 | 6500.00 | M/S N.K. AGGARWAL
7.07 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessaryaccessories and screws etc. complete. | 13.00 | Nos | 983.15 | 950.00 | 12350.00 | 1100.00 | 14300.00 | 1000.00 | 13000.00 | 2000.00 | 26000.00 | 12350.00 | HEM RAJ
7.08 | Providing and fixing special quality chromium plated brass cupboard locks with six levers of approved quality including necessary screws etc. complete.
7.09 | Size 50 mm | 40.00 | Nos | 333.95 | 300.00 | 12000.00 | 300.00 | 12000.00 | 500.00 | 20000.00 | 400.00 | 16000.00 | 12000.00 | HEM RAJ, M/S N.K. AGGARWAL
7.10 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
7.11 | Twin rubber stopper | 14.00 | Nos | 72.35 | 90.00 | 1260.00 | 70.00 | 980.00 | 100.00 | 1400.00 | 100.00 | 1400.00 | 980.00 | M/S N.K. AGGARWAL
7.12 | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete.
7.13 | Triple strip vertical type | 40.00 | Nos. | 52.50 | 60.00 | 2400.00 | 50.00 | 2000.00 | 200.00 | 8000.00 | 80.00 | 3200.00 | 2000.00 | M/S N.K. AGGARWAL
7.14 | Providing and fixing to existing door frames.
7.15 | 30 mm thick Glass Fibre Reinforced Plastic (FRP) panelled door shutter of required colour and approved brand and manufacture, made with fire - retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate for forming hollow rails and styles, with wooden frame and suitable blocks of seasoned wood inside at required places for fixing of fittings, cast monolithically with 5 mm thick FRP laminate for panels conforming to IS: 14856, including fixing to frames. | 6.00 | sqm | 3720.75 | 3500.00 | 21000.00 | 3500.00 | 21000.00 | 3000.00 | 18000.00 | 4000.00 | 24000.00 | 18000.00 | ANIL KUMAR
7.16 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4mm in both directions with wire of dia. 0.50 mm all complete.
7.17 | With 12 mm mild steel U beading. | 50.00 | Sqm | 1228.00 | 950.00 | 47500.00 | 1100.00 | 55000.00 | 1000.00 | 50000.00 | 1200.00 | 60000.00 | 47500.00 | HEM RAJ
7.18 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc.
7.19 | After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod pf approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge.
7.20 | Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS:16231 shall be paid separately.
7.21 | Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for:
7.22 | (i) Sites with basic wind speed > 45 m/sec as per IS 875 - Part 3
7.23 | (ii) Sites with structure height more than 20m for all wind speeds.
7.24 | Using R3 series with frame (98mm & above) x (40mm & above) & both glazed and fly screen sash (30mm & above) x (55mm & above) with zinc alloy (zamak) powder coated handle on every glazed panel along with multi-point locking system, (Height upto 1.8m). | 51.00 | Sqm | 10874.20 | 9850.00 | 502350.00 | 9000.00 | 459000.00 | 8000.00 | 408000.00 | 10000.00 | 510000.00 | 408000.00 | ANIL KUMAR
7.25 | Fixed window / ventilator without mullion / transom
7.26 | Using R1 series with frame (33mm & above ) x (35mm & above). (Height upto 0.90 meter) | 55.00 | Sqm | 8247.25 | 8200.00 | 451000.00 | 8000.00 | 440000.00 | 7800.00 | 429000.00 | 8000.00 | 440000.00 | 429000.00 | ANIL KUMAR
7.27 | Casement Window with Double Rebate Frame with one Side Hung Glazed Panel and one Side Hung wire mesh Panel with S.S. 304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy (zamak) powder coated handles on both glazed and fly screen panel
7.28 | Using R3 series with frame (110mm & above ) x (45mm & above) & glazed sash (55mm & above) x (65mm & above) & fly screen sash (30mm & above) x (55mm & above) & metal grill (if required to be paid separately). (Height upto 1.8 meter) | 8.00 | Sqm | 22785.35 | 20000.00 | 160000.00 | 18000.00 | 144000.00 | 15000.00 | 120000.00 | 8500.00 | 68000.00 | 68000.00 | BABALU KUMAR
7.29 | Casement Door with Double Rebate Frame with one Side Hung Glazed Panel and one Side Hung wire mesh Panel with zinc alloy (zamak) 3D hinges, multi- point locking system with cylinder, zinc alloy (zamak) powder coated handles on both sides of glazed panel and zinc alloy (Zamak) powder coated handle along with multi-point locking system on one side of fly screen panel.
7.30 | Using R3 series with frame (110mm & above) x (45mm & above) & glazed sash (55mm & above) x (85mm & above) & fly screen sash (55mm & above) x (65mm & above). (Height upto 2.5 meter). | 5.00 | Sqm | 19994.40 | 17500.00 | 87500.00 | 16000.00 | 80000.00 | 15000.00 | 75000.00 | 10000.00 | 50000.00 | 50000.00 | BABALU KUMAR
7.31 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete.
7.32 | 125mm | 36.00 | Nos. | 119.20 | 120.00 | 4320.00 | 125.00 | 4500.00 | 150.00 | 5400.00 | 120.00 | 4320.00 | 4320.00 | HEM RAJ, BABALU KUMAR
7.33 | 100mm | 20.00 | Nos. | 90.45 | 100.00 | 2000.00 | 115.00 | 2300.00 | 110.00 | 2200.00 | 100.00 | 2000.00 | 2000.00 | HEM RAJ, BABALU KUMAR
7.34 | Providing and fixing cuboard shutter with 19 mm thick one side decorative and other side balancing lamination factory pressed BWP grade marine ply as per IS 710 of approved brand including 2 mm thick PVC edege banding tape with hot glue by edege bending machine etc. with auto closing spring loaded hinges (hydraulic type) etc. complete as per direction of Engineer-in-charge. (Payment of providing and fixing auto closing hinges shall be paid separately) | 72.00 | Sqm | 2829.25 | 2000.00 | 144000.00 | 2600.00 | 187200.00 | 2000.00 | 144000.00 | 3000.00 | 216000.00 | 144000.00 | HEM RAJ, ANIL KUMAR
7.35 | Providing and fixing 19 mm thick both side balancing lamination factory pressed BWP grade marine ply as per IS 710 of approved brand boxes, shelves, racks, almirah, cupboard and drawer etc. including necessary nails, screws etc. complete as per direction of Engineer-in-charge. | 112.00 | Sqm | 2593.15 | 1850.00 | 207200.00 | 2500.00 | 280000.00 | 2000.00 | 224000.00 | 3200.00 | 358400.00 | 207200.00 | HEM RAJ
7.36 | Providing and fixing stainless steel soft closing spring hinges at 0 degree hinges (hydrarlic type) of approved make/brand to cupboard shutters with full threaded steel screws including making necessary recess in board and finished etc. complete as per direction of Engineer-in-charge. | 40.00 | Nos. | 272.00 | 250.00 | 10000.00 | 255.00 | 10200.00 | 300.00 | 12000.00 | 400.00 | 16000.00 | 10000.00 | HEM RAJ
7.37 | Providing and fixing glazing in uPVC windows, all complete with uPVC beading as per manufacturer's specification and direction of of Engineer-in-charge. ( Note :- uPVC beading to be paid in basic frame item). (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured).
7.38 | 5 mm thick toughned glass | 70.00 | Sqm | 2294.22 | 2250.00 | 157500.00 | 1800.00 | 126000.00 | 2000.00 | 140000.00 | 1500.00 | 105000.00 | 105000.00 | BABALU KUMAR
7.39 | Providing and fixing bright /matt finished Stainless Steel sliding door bolts of approved quality & make with necessary screws etc all complete as per direction of Engineer-in-Charge.
7.40 | 300x16 mm | 14.00 | Nos | 449.04 | 450.00 | 6300.00 | 425.00 | 5950.00 | 550.00 | 7700.00 | 250.00 | 3500.00 | 3500.00 | BABALU KUMAR
7.41 | 250x16 mm | 4.00 | Nos | 382.83 | 400.00 | 1600.00 | 250.00 | 1000.00 | 500.00 | 2000.00 | 220.00 | 880.00 | 880.00 | BABALU KUMAR
7.42 | Providing and fixing bright /matt finished Stainless Steel tower bolt of approved quality & make with necessary screws etc all complete as per direction of Engineer-in-Charge..
7.43 | 250X10 mm | 36.00 | Nos | 330.53 | 300.00 | 10800.00 | 300.00 | 10800.00 | 150.00 | 5400.00 | 150.00 | 5400.00 | 5400.00 | BABALU KUMAR, ANIL KUMAR
8.00 | Sub-Head : Steel Work
8.01 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mm size, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm dia steel pulleys, complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. | 9.00 | Sqm | 11439.60 | 9500.00 | 85500.00 | 8000.00 | 72000.00 | 9000.00 | 81000.00 | 8500.00 | 76500.00 | 72000.00 | M/S N.K. AGGARWAL
8.02 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge:
8.03 | Profile B
8.04 | Fixing with adjustable lugs with split end tail to each jamb. | 99.00 | Metre | 583.30 | 500.00 | 49500.00 | 550.00 | 54450.00 | 500.00 | 49500.00 | 600.00 | 59400.00 | 49500.00 | HEM RAJ, ANIL KUMAR
8.05 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
8.06 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 3805.00 | Kg | 172.60 | 130.00 | 494650.00 | 125.00 | 475625.00 | 120.00 | 456600.00 | 115.00 | 437575.00 | 437575.00 | BABALU KUMAR
8.07 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer.
8.08 | M.S. tube. | 175.00 | Kg | 196.80 | 170.00 | 29750.00 | 135.00 | 23625.00 | 125.00 | 21875.00 | 115.00 | 20125.00 | 20125.00 | BABALU KUMAR
8.09 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 1348.00 | Kg | 772.40 | 650.00 | 876200.00 | 550.00 | 741400.00 | 550.00 | 741400.00 | 600.00 | 808800.00 | 741400.00 | M/S N.K. AGGARWAL, ANIL KUMAR
9.00 | Sub-Head : Flooring
9.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
9.02 | 40 mm thick with 20 mm nominal size stone aggregate | 20.00 | Sqm | 614.20 | 600.00 | 12000.00 | 600.00 | 12000.00 | 400.00 | 8000.00 | 550.00 | 11000.00 | 8000.00 | ANIL KUMAR
9.03 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300mm or more (thickness to be specified by the manufacturer), of 1stquality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4(1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. | 17.00 | Sqm | 1330.00 | 1200.00 | 20400.00 | 1000.00 | 17000.00 | 1450.00 | 24650.00 | 1200.00 | 20400.00 | 17000.00 | M/S N.K. AGGARWAL
9.04 | Providing and laying Full Body Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.
9.05 | Full Body vitrified tile polished finish of size
9.06 | Size of Tile 600 x 600 mm | 263.00 | Sqm | 1453.65 | 1200.00 | 315600.00 | 1250.00 | 328750.00 | 1400.00 | 368200.00 | 1500.00 | 394500.00 | 315600.00 | HEM RAJ
9.07 | Providing and laying Full Body Vitrified tiles in different sizes (thickness to be specified by manufacturer) with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make in all colours & shade in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete.
9.08 | Size of Tile 600x600 mm | 39.00 | Sqm | 1623.05 | 1250.00 | 48750.00 | 1150.00 | 44850.00 | 1500.00 | 58500.00 | 1600.00 | 62400.00 | 44850.00 | M/S N.K. AGGARWAL
9.09 | Providing and laying GVT Vitrified tiles of approved make and design (thickness to be specified by manufacturer) in all colours & shade in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete.
9.10 | Size of Tile 600x1200 mm | 163.00 | Sqm | 1623.05 | 1250.00 | 203750.00 | 1250.00 | 203750.00 | 1500.00 | 244500.00 | 1550.00 | 252650.00 | 203750.00 | HEM RAJ, M/S N.K. AGGARWAL
9.11 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade(0.10 kg of hardener and 0.20 kg of resin per kg), including filling/grouting and finishing complete as per direction of Engineer-in-charge.
9.12 | Size of Tile 600 x 600mm | 302.00 | Sqm | 309.05 | 300.00 | 90600.00 | 250.00 | 75500.00 | 200.00 | 60400.00 | 175.00 | 52850.00 | 52850.00 | BABALU KUMAR
9.13 | Size of Tile 600 X 1200 mm | 163.00 | Sqm | 244.75 | 250.00 | 40750.00 | 250.00 | 40750.00 | 200.00 | 32600.00 | 175.00 | 28525.00 | 28525.00 | BABALU KUMAR
9.14 | Deduct for not grouting the joints with white cement and matching pigment in the items of fixing of vitrified tiles | 465.00 | Sqm | 13.30 | 15.00 | -6975.00 | 13.00 | -6045.00 | 10.00 | -4650.00 | 50.00 | -23250.00 | -23250.00 | BABALU KUMAR
9.15 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge.
9.16 | Polished Granite stone slab jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent | 207.00 | Sqm | 4481.30 | 4000.00 | 828000.00 | 4002.00 | 828414.00 | 4000.00 | 828000.00 | 4000.00 | 828000.00 | 828000.00 | HEM RAJ, BABALU KUMAR, ANIL KUMAR
9.17 | Providing and fixing Polished Granite stone for wall lining (veneer work) including dado, skirting, risers of steps etc., in required design and pattern wherever required, stones of different finished surface texture, on 12 mm (average) thick cement mortar 1:3 (1 cement : 3 coarse sand) laid and jointed with white cement slurry @ 3.3 kg/sqm including pointing with white cement slurry admixed with pigment of matching shade, including rubbing, curing, polishing etc. all complete as per Architectural drawings, and as directed by the Engineer-in-Charge.
9.18 | 18 mm thickPolished Granite stone slab jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent | 25.00 | Sqm | 4450.54 | 4100.00 | 102500.00 | 4400.00 | 110000.00 | 4500.00 | 112500.00 | 4500.00 | 112500.00 | 102500.00 | HEM RAJ
10.00 | Sub-Head : Roofing
10.01 | Making khurras 45x45 cm with average minimum thickness of5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 10.00 | No. | 298.25 | 250.00 | 2500.00 | 250.00 | 2500.00 | 260.00 | 2600.00 | 550.00 | 5500.00 | 2500.00 | HEM RAJ, M/S N.K. AGGARWAL
10.02 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.
10.03 | Single socketed pipes.
10.04 | 110 mm diameter | 60.00 | m | 377.40 | 350.00 | 21000.00 | 300.00 | 18000.00 | 300.00 | 18000.00 | 400.00 | 24000.00 | 18000.00 | M/S N.K. AGGARWAL, ANIL KUMAR
10.05 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.
10.06 | Coupler
10.07 | 110mm | 8.00 | Nos | 136.15 | 130.00 | 1040.00 | 130.00 | 1040.00 | 200.00 | 1600.00 | 250.00 | 2000.00 | 1040.00 | HEM RAJ, M/S N.K. AGGARWAL
10.08 | Bend 87.5°
10.09 | 110 mm bend | 10.00 | Nos | 150.35 | 150.00 | 1500.00 | 140.00 | 1400.00 | 350.00 | 3500.00 | 380.00 | 3800.00 | 1400.00 | M/S N.K. AGGARWAL
10.10 | Shoe (Plain)
10.11 | 110 mm Shoe | 10.00 | Nos | 131.85 | 130.00 | 1300.00 | 130.00 | 1300.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 1300.00 | HEM RAJ, M/S N.K. AGGARWAL
10.12 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete.
10.13 | 110 mm | 10.00 | Nos | 371.30 | 350.00 | 3500.00 | 350.00 | 3500.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 3500.00 | HEM RAJ, M/S N.K. AGGARWAL
11.00 | Sub-Head : Finishing
11.01 | 12 mm cement plaster of mix :
11.02 | 1:6 (1 cement: 6 coarse sand) | 900.00 | Sqm | 343.65 | 350.00 | 315000.00 | 300.00 | 270000.00 | 200.00 | 180000.00 | 240.00 | 216000.00 | 180000.00 | ANIL KUMAR
11.03 | 15 mm cement plaster on rough side of single or half brick wall of mix :
11.04 | 1:6 (1 cement: 6 coarse sand) | 1225.00 | Sqm | 395.35 | 450.00 | 551250.00 | 350.00 | 428750.00 | 250.00 | 306250.00 | 250.00 | 306250.00 | 306250.00 | BABALU KUMAR, ANIL KUMAR
11.05 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 900.00 | Sqm | 262.70 | 150.00 | 135000.00 | 100.00 | 90000.00 | 90.00 | 81000.00 | 80.00 | 72000.00 | 72000.00 | BABALU KUMAR
11.06 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer, of required shade and colour all complete :
11.07 | New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 1300.00 | Sqm | 185.65 | 150.00 | 195000.00 | 150.00 | 195000.00 | 90.00 | 117000.00 | 110.00 | 143000.00 | 117000.00 | ANIL KUMAR
11.08 | Finishing walls with Acrylic Smooth exterior paint of required shade :
11.09 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 900.00 | Sqm | 160.60 | 140.00 | 126000.00 | 150.00 | 135000.00 | 100.00 | 90000.00 | 125.00 | 112500.00 | 90000.00 | ANIL KUMAR
11.10 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
11.11 | Two or more coats on new work. | 20.00 | Sqm | 155.90 | 150.00 | 3000.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 125.00 | 2500.00 | 2000.00 | ANIL KUMAR
11.12 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade:
11.13 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 43.00 | Sqm | 226.25 | 220.00 | 9460.00 | 175.00 | 7525.00 | 95.00 | 4085.00 | 145.00 | 6235.00 | 4085.00 | ANIL KUMAR
11.14 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1300.00 | Sqm | 156.05 | 90.00 | 117000.00 | 100.00 | 130000.00 | 90.00 | 117000.00 | 90.00 | 117000.00 | 117000.00 | HEM RAJ, BABALU KUMAR, ANIL KUMAR
12.00 | Sub-Head :Road Work
12.01 | Providing and laying factory made chamfered edge Cement Concrete paver blocks In foot path, park & lawns driveway or light & traffic parking etc. of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of course sand, compacting and proper embedding/ laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, all complete as per manufacturer's specifications & direction of Engineer in-Charge.
12.02 | 60 mm thick Cement concrete paver block of M-30 grade with approved colour, design & pattern | 950.00 | Sqm | 1091.50 | 800.00 | 760000.00 | 900.00 | 855000.00 | 900.00 | 855000.00 | 1200.00 | 1140000.00 | 760000.00 | HEM RAJ
13.00 | Sub-Head: Sanitary Installation
13.01 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls and floors wherever required :
13.02 | W.C. pan with ISI marked white solid plastic seat and lid | 4.00 | Nos. | 6515.55 | 6500.00 | 26000.00 | 5500.00 | 22000.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 20000.00 | BABALU KUMAR
13.03 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required :
13.04 | Range of two half stall urinals with 5 litre P.V.C. automatic flushing cistern | 1.00 | Nos. | 18008.75 | 16000.00 | 16000.00 | 13500.00 | 13500.00 | 15000.00 | 15000.00 | 9000.00 | 9000.00 | 9000.00 | BABALU KUMAR
13.05 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:-
13.06 | White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer. | 4.00 | Nos. | 3960.55 | 4000.00 | 16000.00 | 3500.00 | 14000.00 | 7000.00 | 28000.00 | 4500.00 | 18000.00 | 14000.00 | M/S N.K. AGGARWAL
13.07 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :
13.08 | Kitchen sink without drain board
13.09 | 610x510 mm bowl depth 200 mm. | 3.00 | Nos. | 4940.80 | 4500.00 | 13500.00 | 4500.00 | 13500.00 | 5500.00 | 16500.00 | 6500.00 | 19500.00 | 13500.00 | HEM RAJ, M/S N.K. AGGARWAL
13.10 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 4.00 | Nos. | 349.15 | 350.00 | 1400.00 | 350.00 | 1400.00 | 500.00 | 2000.00 | 200.00 | 800.00 | 800.00 | BABALU KUMAR
13.11 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
13.12 | Semi rigid pipe
13.13 | 32 mm dia | 7.00 | Nos. | 103.90 | 100.00 | 700.00 | 105.00 | 735.00 | 500.00 | 3500.00 | 120.00 | 840.00 | 700.00 | HEM RAJ
13.14 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 4.00 | Nos. | 1607.95 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 900.00 | 3600.00 | 3600.00 | BABALU KUMAR
13.15 | Providing and laying UPVC SWR pipes 110mm dia. [Type-B category] conforming to IS:13592-2013 of Supreme/ Diplast /Finolax make, including jointing with suitable PVC adhesive complete as per the direection of Engineer in Charge.
13.16 | 110mm Dia Single Socketed Pipes | 72.00 | Metre | 711.70 | 700.00 | 50400.00 | 550.00 | 39600.00 | 400.00 | 28800.00 | 550.00 | 39600.00 | 28800.00 | ANIL KUMAR
13.17 | Providing and laying UPVC SWR pipes fittings ( Type B category) of Supreme/ Diplast /Finolex make including jointing with suitable PVC adhesive complete as per the direection of engineer in Charge.
13.18 | Plain (Without door) Bend 87.5 degree: 110 mm | 25.00 | Nos. | 290.80 | 300.00 | 7500.00 | 250.00 | 6250.00 | 280.00 | 7000.00 | 350.00 | 8750.00 | 6250.00 | M/S N.K. AGGARWAL
13.19 | Door Bend 87.5 degree: 110 mm . | 6.00 | Nos. | 310.65 | 300.00 | 1800.00 | 265.00 | 1590.00 | 250.00 | 1500.00 | 450.00 | 2700.00 | 1500.00 | ANIL KUMAR
13.20 | Single tee without door: 110 x 110 x 110 mm. | 6.00 | Nos. | 317.10 | 300.00 | 1800.00 | 275.00 | 1650.00 | 350.00 | 2100.00 | 400.00 | 2400.00 | 1650.00 | M/S N.K. AGGARWAL
13.21 | Single tee with door: 110 x 110 x 110 mm. | 4.00 | Nos. | 343.55 | 340.00 | 1360.00 | 325.00 | 1300.00 | 350.00 | 1400.00 | 500.00 | 2000.00 | 1300.00 | M/S N.K. AGGARWAL
13.22 | Coupler : 110mm | 12.00 | Nos. | 237.85 | 240.00 | 2880.00 | 225.00 | 2700.00 | 200.00 | 2400.00 | 300.00 | 3600.00 | 2400.00 | ANIL KUMAR
13.23 | Vent Cowl : 110mm | 8.00 | Nos. | 147.60 | 140.00 | 1120.00 | 140.00 | 1120.00 | 150.00 | 1200.00 | 300.00 | 2400.00 | 1120.00 | HEM RAJ, M/S N.K. AGGARWAL
13.24 | Nahani/Floor Trap 110x110mm with steel grating | 12.00 | Nos. | 515.90 | 500.00 | 6000.00 | 500.00 | 6000.00 | 1000.00 | 12000.00 | 500.00 | 6000.00 | 6000.00 | HEM RAJ, M/S N.K. AGGARWAL, BABALU KUMAR
13.25 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour.
13.26 | 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 4.00 | Nos. | 708.95 | 650.00 | 2600.00 | 700.00 | 2800.00 | 1000.00 | 4000.00 | 600.00 | 2400.00 | 2400.00 | BABALU KUMAR
13.27 | Providing and fixing PTMT shelf 440 mm long, 124 mm width and 36 mm height of approved quality and colour, weighing not less than 300 gms. | 8.00 | Nos. | 713.20 | 650.00 | 5200.00 | 700.00 | 5600.00 | 800.00 | 6400.00 | 850.00 | 6800.00 | 5200.00 | HEM RAJ
14.00 | Sub-Head: Water supply
14.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. : Internal work – Exposed on wall.
14.02 | 15 mm dia. nominal bore | 50.00 | m | 366.40 | 350.00 | 17500.00 | 300.00 | 15000.00 | 300.00 | 15000.00 | 300.00 | 15000.00 | 15000.00 | M/S N.K. AGGARWAL, BABALU KUMAR, ANIL KUMAR
14.03 | 20 mm dia. nominal bore | 50.00 | m | 437.30 | 400.00 | 20000.00 | 375.00 | 18750.00 | 400.00 | 20000.00 | 350.00 | 17500.00 | 17500.00 | BABALU KUMAR
14.04 | 25 mm dia. nominal bore | 84.00 | m | 551.70 | 450.00 | 37800.00 | 475.00 | 39900.00 | 450.00 | 37800.00 | 410.00 | 34440.00 | 34440.00 | BABALU KUMAR
14.05 | 40 mm dia. nominal bore | 56.00 | m | 811.90 | 700.00 | 39200.00 | 725.00 | 40600.00 | 500.00 | 28000.00 | 500.00 | 28000.00 | 28000.00 | BABALU KUMAR, ANIL KUMAR
14.06 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anticorrosive bitumastic paint, cutting chases and making good the wall:
14.07 | 15 mm dia. nominal bore | 138.00 | m | 322.15 | 350.00 | 48300.00 | 310.00 | 42780.00 | 300.00 | 41400.00 | 350.00 | 48300.00 | 41400.00 | ANIL KUMAR
14.08 | 20 mm dia. nominal bore | 36.00 | m | 368.60 | 370.00 | 13320.00 | 350.00 | 12600.00 | 400.00 | 14400.00 | 350.00 | 12600.00 | 12600.00 | M/S N.K. AGGARWAL, BABALU KUMAR
14.09 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. : External work
14.10 | 20 mm dia. nominal bore | 30.00 | m | 368.60 | 370.00 | 11100.00 | 350.00 | 10500.00 | 400.00 | 12000.00 | 375.00 | 11250.00 | 10500.00 | M/S N.K. AGGARWAL
14.11 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
14.12 | 25 to 40 mm nominal bore | 1.00 | No. | 911.90 | 900.00 | 900.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 800.00 | 800.00 | 800.00 | BABALU KUMAR
14.13 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
14.14 | 25 mm nominal bore | 8.00 | Nos. | 622.40 | 650.00 | 5200.00 | 600.00 | 4800.00 | 1000.00 | 8000.00 | 1200.00 | 9600.00 | 4800.00 | M/S N.K. AGGARWAL
14.15 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :
14.16 | 25 mm nominal bore | 4.00 | Nos. | 464.05 | 450.00 | 1800.00 | 450.00 | 1800.00 | 1500.00 | 6000.00 | 1250.00 | 5000.00 | 1800.00 | HEM RAJ, M/S N.K. AGGARWAL
14.17 | Providing and fixing uplasticised PVC connection pipe with brass unions :
14.18 | 45 cm length
14.19 | 15 mm nominal bore | 38.00 | Nos. | 97.75 | 100.00 | 3800.00 | 100.00 | 3800.00 | 150.00 | 5700.00 | 120.00 | 4560.00 | 3800.00 | HEM RAJ, M/S N.K. AGGARWAL
14.20 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work)
14.21 | 15 mm nominal bore | 6.00 | Nos. | 318.35 | 250.00 | 1500.00 | 300.00 | 1800.00 | 100.00 | 600.00 | 200.00 | 1200.00 | 600.00 | ANIL KUMAR
14.22 | 20 mm nominal bore | 6.00 | Nos. | 346.80 | 300.00 | 1800.00 | 320.00 | 1920.00 | 200.00 | 1200.00 | 250.00 | 1500.00 | 1200.00 | ANIL KUMAR
14.23 | 25 mm nominal bore | 6.00 | Nos. | 439.25 | 400.00 | 2400.00 | 385.00 | 2310.00 | 250.00 | 1500.00 | 350.00 | 2100.00 | 1500.00 | ANIL KUMAR
14.24 | 40 mm nominal bore | 6.00 | Nos. | 631.30 | 600.00 | 3600.00 | 550.00 | 3300.00 | 2000.00 | 12000.00 | 400.00 | 2400.00 | 2400.00 | BABALU KUMAR
14.25 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 4000.00 | Ltr | 11.00 | 10.00 | 40000.00 | 10.00 | 40000.00 | 10.00 | 40000.00 | 10.00 | 40000.00 | 40000.00 | HEM RAJ, M/S N.K. AGGARWAL, BABALU KUMAR, ANIL KUMAR
14.26 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931:
14.27 | 15 mm nominal bore. | 10.00 | Nos. | 506.80 | 550.00 | 5500.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 1100.00 | 11000.00 | 5000.00 | M/S N.K. AGGARWAL
14.28 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
14.29 | 15 mm nominal bore | 4.00 | Nos. | 798.95 | 800.00 | 3200.00 | 750.00 | 3000.00 | 1200.00 | 4800.00 | 1250.00 | 5000.00 | 3000.00 | M/S N.K. AGGARWAL
14.30 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.
14.31 | 15 mm nominal bore. | 6.00 | Nos. | 670.45 | 700.00 | 4200.00 | 650.00 | 3900.00 | 800.00 | 4800.00 | 1100.00 | 6600.00 | 3900.00 | M/S N.K. AGGARWAL
14.32 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 :
14.33 | 15mm nominal bore | 28.00 | Nos. | 574.30 | 600.00 | 16800.00 | 550.00 | 15400.00 | 3500.00 | 98000.00 | 1000.00 | 28000.00 | 15400.00 | M/S N.K. AGGARWAL
14.34 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 45.00 | Nos. | 74.80 | 60.00 | 2700.00 | 350.00 | 15750.00 | 250.00 | 11250.00 | 100.00 | 4500.00 | 2700.00 | HEM RAJ
14.35 | P/F circular CP Brass grating 100 mm nominal dia of approved quality as per the direction of the Engineer-in-charge. | 16.00 | Nos | 133.75 | 130.00 | 2080.00 | 100.00 | 1600.00 | 250.00 | 4000.00 | 200.00 | 3200.00 | 1600.00 | M/S N.K. AGGARWAL
14.36 | Providing and fixing G.I. tank nipple including cutting and threading the pipe and making long screws etc. complete (New work)
14.37 | 15 mm nominal bore | 4.00 | Nos | 280.56 | 270.00 | 1080.00 | 250.00 | 1000.00 | 280.00 | 1120.00 | 125.00 | 500.00 | 500.00 | BABALU KUMAR
14.38 | 20 mm nominal bore | 4.00 | Nos | 373.25 | 370.00 | 1480.00 | 350.00 | 1400.00 | 350.00 | 1400.00 | 150.00 | 600.00 | 600.00 | BABALU KUMAR
14.39 | 25 mm nominal bore | 4.00 | Nos | 492.42 | 470.00 | 1880.00 | 490.00 | 1960.00 | 500.00 | 2000.00 | 200.00 | 800.00 | 800.00 | BABALU KUMAR
14.40 | 40 mm nominal bore | 6.00 | Nos | 664.55 | 650.00 | 3900.00 | 650.00 | 3900.00 | 600.00 | 3600.00 | 300.00 | 1800.00 | 1800.00 | BABALU KUMAR
15.00 | Sub-Head: Drainage
15.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
15.02 | 150 mm diameter | 40.00 | m | 695.80 | 500.00 | 20000.00 | 600.00 | 24000.00 | 450.00 | 18000.00 | 500.00 | 20000.00 | 18000.00 | ANIL KUMAR
15.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
15.04 | 150 mm diameter S.W. pipe | 40.00 | m | 1179.85 | 800.00 | 32000.00 | 650.00 | 26000.00 | 750.00 | 30000.00 | 700.00 | 28000.00 | 26000.00 | M/S N.K. AGGARWAL
15.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
15.06 | 150 x 100 mm size P type.
15.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 8.00 | Nos. | 2734.20 | 2500.00 | 20000.00 | 2100.00 | 16800.00 | 2000.00 | 16000.00 | 3000.00 | 24000.00 | 16000.00 | ANIL KUMAR
15.08 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :
15.09 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :
15.10 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 10.00 | Nos. | 12770.55 | 9000.00 | 90000.00 | 10000.00 | 100000.00 | 10000.00 | 100000.00 | 12000.00 | 120000.00 | 90000.00 | HEM RAJ
15.11 | Extra for depth for manholes
15.12 | Size 90x80 cm
15.13 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 4.00 | m | 8825.40 | 7000.00 | 28000.00 | 5000.00 | 20000.00 | 1000.00 | 4000.00 | 5000.00 | 20000.00 | 4000.00 | ANIL KUMAR
15.14 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design.
15.15 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Nos. | 26861.90 | 18000.00 | 18000.00 | 25000.00 | 25000.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 15000.00 | ANIL KUMAR
16.00 | Sub-Head: Water Proofing
16.01 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of:
16.02 | (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface.
16.03 | (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface.
16.04 | (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area.
16.05 | (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). | 20.00 | Sqm | 769.60 | 600.00 | 12000.00 | 700.00 | 14000.00 | 500.00 | 10000.00 | 550.00 | 11000.00 | 10000.00 | ANIL KUMAR
16.06 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations:
16.07 | (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment.
16.08 | (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs.
16.09 | (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge.
16.10 | (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep.
16.11 | (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge :
16.12 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 245.00 | Sqm | 1684.60 | 1050.00 | 257250.00 | 1000.00 | 245000.00 | 400.00 | 98000.00 | 400.00 | 98000.00 | 98000.00 | BABALU KUMAR, ANIL KUMAR
17.00 | ELECTRICAL PORTION SUB HEAD-I (Wiring)
17.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
17.02 | Group C | 102.00 | Points | 1452.00 | 1452.00 | 148104.00 | 850.00 | 86700.00 | 1200.00 | 122400.00 | 1000.00 | 102000.00 | 86700.00 | M/S N.K. AGGARWAL
17.03 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required | 4.00 | Points | 1546.00 | 1546.00 | 6184.00 | 1200.00 | 4800.00 | 1300.00 | 5200.00 | 1250.00 | 5000.00 | 4800.00 | M/S N.K. AGGARWAL
17.04 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required | 200.00 | Meters | 331.00 | 331.00 | 66200.00 | 280.00 | 56000.00 | 300.00 | 60000.00 | 310.00 | 62000.00 | 56000.00 | M/S N.K. AGGARWAL
17.05 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 2 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required | 120.00 | Meters | 532.00 | 532.00 | 63840.00 | 450.00 | 54000.00 | 500.00 | 60000.00 | 550.00 | 66000.00 | 54000.00 | M/S N.K. AGGARWAL
17.06 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
17.07 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 150.00 | Meters | 231.00 | 231.00 | 34650.00 | 200.00 | 30000.00 | 200.00 | 30000.00 | 225.00 | 33750.00 | 30000.00 | M/S N.K. AGGARWAL, ANIL KUMAR
17.08 | 4 X 1.5 sq. mm + 2 X 1.5 sq. mm earth wire | 100.00 | Meters | 322.00 | 322.00 | 32200.00 | 300.00 | 30000.00 | 300.00 | 30000.00 | 300.00 | 30000.00 | 30000.00 | M/S N.K. AGGARWAL, BABALU KUMAR, ANIL KUMAR
17.09 | 2 X 10 sq. mm + 1 X 6 sq. mm earth wire | 50.00 | Meters | 564.00 | 564.00 | 28200.00 | 250.00 | 12500.00 | 500.00 | 25000.00 | 700.00 | 35000.00 | 12500.00 | M/S N.K. AGGARWAL
17.10 | 4 X 10 sq. mm + 2 X 6 sq. mm earth wire | 50.00 | Meters | 995.00 | 995.00 | 49750.00 | 650.00 | 32500.00 | 800.00 | 40000.00 | 1250.00 | 62500.00 | 32500.00 | M/S N.K. AGGARWAL
17.11 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
17.12 | 20 mm | 20.00 | Meters | 127.00 | 127.00 | 2540.00 | 75.00 | 1500.00 | 100.00 | 2000.00 | 50.00 | 1000.00 | 1000.00 | BABALU KUMAR
17.13 | 25 mm | 20.00 | Meters | 143.00 | 143.00 | 2860.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 50.00 | 1000.00 | 1000.00 | BABALU KUMAR
17.14 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit as required.
17.15 | 2x1.5 sq. mm | 20.00 | Meters | 69.00 | 69.00 | 1380.00 | 40.00 | 800.00 | 50.00 | 1000.00 | 100.00 | 2000.00 | 800.00 | M/S N.K. AGGARWAL
17.16 | 3x1.5 sq. mm | 20.00 | Meters | 94.00 | 94.00 | 1880.00 | 70.00 | 1400.00 | 75.00 | 1500.00 | 120.00 | 2400.00 | 1400.00 | M/S N.K. AGGARWAL
17.17 | 4x1.5 sq. mm | 50.00 | Meters | 119.00 | 119.00 | 5950.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 140.00 | 7000.00 | 5000.00 | M/S N.K. AGGARWAL, ANIL KUMAR
17.18 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 13.00 | NoS | 472.00 | 472.00 | 6136.00 | 450.00 | 5850.00 | 400.00 | 5200.00 | 400.00 | 5200.00 | 5200.00 | BABALU KUMAR, ANIL KUMAR
17.19 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 19.00 | Nos. | 580.00 | 580.00 | 11020.00 | 400.00 | 7600.00 | 500.00 | 9500.00 | 600.00 | 11400.00 | 7600.00 | M/S N.K. AGGARWAL
17.20 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 2 nos. of 3 pin 5/6 A modular socket outlet and 2 nos. of 5/6 A modular switch, connections etc. as required. | 15.00 | Nos | 669.00 | 669.00 | 10035.00 | 450.00 | 6750.00 | 600.00 | 9000.00 | 750.00 | 11250.00 | 6750.00 | M/S N.K. AGGARWAL
17.21 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
17.22 | 5/6 amps switch | 5.00 | Nos. | 102.00 | 102.00 | 510.00 | 110.00 | 550.00 | 80.00 | 400.00 | 50.00 | 250.00 | 250.00 | BABALU KUMAR
17.23 | 3 pin 5/6 amp socket outlet | 5.00 | Nos. | 121.00 | 121.00 | 605.00 | 150.00 | 750.00 | 100.00 | 500.00 | 85.00 | 425.00 | 425.00 | BABALU KUMAR
17.24 | S/Fixing hexagonal fan box of size 150 mm dia made outof 16 SWG MS sheet including 12mm dia MS rod in the U shape with its vertical legs bent horizontally at the top at least 19 cm on either side and bound to the top reinforcement of the roof at the time of casting i/c S/F 3 mm thick phenolic laminated sheet at the bottom complete as reqd. | 23.00 | Nos. | 206.00 | 206.00 | 4738.00 | 200.00 | 4600.00 | 200.00 | 4600.00 | 150.00 | 3450.00 | 3450.00 | BABALU KUMAR
17.25 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 23.00 | Nos. | 365.00 | 365.00 | 8395.00 | 365.00 | 8395.00 | 300.00 | 6900.00 | 500.00 | 11500.00 | 6900.00 | ANIL KUMAR
18.00 | SUB HEAD-II (Distribution System)
18.01 | Supplying and fixing following way, vertical type TPN, sheet steel, MCB distribution board, 415 volts having provision for MCCB as incomer, on surface/ recess, complete with metal door, tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCCB/ RCCB/ Isolator)
18.02 | 4WAY (4+4+4) Double Door (Model:-DTVTL004DD of Lauritz & Knudsen) | 1.00 | Nos | 11648.00 | 11648.00 | 11648.00 | 8000.00 | 8000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 8000.00 | M/S N.K. AGGARWAL
18.03 | Supplying and Fixing Four pole, 100A rating MCCB with Fixed Thermal-Fixed Magnetic Release, breaking capacity 10KA at 415V with Spreader Links for interconnection in the existing vertical DB i/c making interconnection etc as required. (M/s Lauritz & Knudsen , Model-DY125U 100A 10kA FTFM -EM90984OOKO or equivalent similar superior make) | 1.00 | Nos | 4060.00 | 4060.00 | 4060.00 | 5000.00 | 5000.00 | 3800.00 | 3800.00 | 5000.00 | 5000.00 | 3800.00 | ANIL KUMAR
18.04 | Supplying and fixing following way, horizontal type SPN / TPN, sheet steel, MCB distribution board, 240/ 415 volts, on surface/ recess, complete with metal door, tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator)
18.05 | 16Way SPN (2+14) Double Door Glazed (Make & Model- Lauritz & Knudsen Model-DTTPN004GD-Tripbox NXT) | 2.00 | Nos. | 3930.00 | 3930.00 | 7860.00 | 18000.00 | 36000.00 | 3500.00 | 7000.00 | 9000.00 | 18000.00 | 7000.00 | ANIL KUMAR
18.06 | 4 Way TPN (8+12) Double Door Glazed (Make & Model- Lauritz & Knudsen Model-DTTPN004GD-Tripbox NXT) | 2.00 | Nos. | 5403.00 | 5403.00 | 10806.00 | 4000.00 | 8000.00 | 4500.00 | 9000.00 | 4500.00 | 9000.00 | 8000.00 | M/S N.K. AGGARWAL
18.07 | Supplying and fixing following rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
18.08 | 5 amps to 32 amps, 240 volts Single pole. | 55.00 | Nos. | 253.00 | 253.00 | 13915.00 | 250.00 | 13750.00 | 250.00 | 13750.00 | 240.00 | 13200.00 | 13200.00 | BABALU KUMAR
18.09 | 5 amps to 32 amps, 240 volts double pole. | 2.00 | Nos. | 649.00 | 649.00 | 1298.00 | 700.00 | 1400.00 | 500.00 | 1000.00 | 350.00 | 700.00 | 700.00 | BABALU KUMAR
18.10 | 63 amps, 415 volts Four pole. | 2.00 | Nos. | 2487.00 | 2487.00 | 4974.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1800.00 | 3600.00 | 3000.00 | M/S N.K. AGGARWAL
18.11 | 63 amps, TP MCB | 3.00 | Nos. | 2049.00 | 2049.00 | 6147.00 | 1500.00 | 4500.00 | 1800.00 | 5400.00 | 2100.00 | 6300.00 | 4500.00 | M/S N.K. AGGARWAL
18.12 | S/F Following rating MCB power protected unit suitable for operation on 230V single phase AC supply complete with all accessories i/c making interconnection etc as required.
18.13 | 20A | 2.00 | Nos. | 1502.00 | 1502.00 | 3004.00 | 1100.00 | 2200.00 | 750.00 | 1500.00 | 2000.00 | 4000.00 | 1500.00 | ANIL KUMAR
18.14 | Supplying and fixing 63 Amps., four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current up to 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Nos. | 2843.00 | 2843.00 | 2843.00 | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 6500.00 | 6500.00 | 2500.00 | ANIL KUMAR
18.15 | Supplying and fixing Adaptor Box(s) fabricated out of 16 SWG M.S. sheet complete with cutting, welding, painting, sign writing etc. all as required. | 2.00 | Sq. Meters | 4594.00 | 4594.00 | 9188.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 5000.00 | M/S N.K. AGGARWAL
18.16 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | 3.00 | Nos | 266.00 | 266.00 | 798.00 | 350.00 | 1050.00 | 200.00 | 600.00 | 450.00 | 1350.00 | 600.00 | ANIL KUMAR
19.00 | SUB HEAD-III (Earthing )
19.01 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories,and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 2.00 | Set | 7395.00 | 7395.00 | 14790.00 | 6000.00 | 12000.00 | 6500.00 | 13000.00 | 6000.00 | 12000.00 | 12000.00 | M/S N.K. AGGARWAL, BABALU KUMAR
19.02 | Supplying and laying 25 mm X 5 mm G.I strip on surface or in recess etc as required. | 20.00 | Meters | 241.00 | 241.00 | 4820.00 | 275.00 | 5500.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 4000.00 | BABALU KUMAR, ANIL KUMAR
19.03 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc.as reqd | 10.00 | Meters | 699.00 | 699.00 | 6990.00 | 475.00 | 4750.00 | 450.00 | 4500.00 | 200.00 | 2000.00 | 2000.00 | BABALU KUMAR
| Total in Figures |  |  |  |  | 26353393.00 |  | 23599999.00 |  | 24035435.00 |  | 23999455.00
Lowest Amount Quoted BY: M/S N.K. AGGARWAL(23599999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Administrative Building including site development for HP State Pollution Control Board at Sauli Khad Distt Mandi HP Civil and Electrical Work Tender ID: 2026_BSNL_292038_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S N.K. AGGARWAL (BID ID -1075218) | 23599999.00 | L1
| 2 | BABALU KUMAR (BID ID -1075232) | 23999455.00 | L2
| 3 | ANIL KUMAR (BID ID -1075486) | 24035435.00 | L3
| 4 | HEM RAJ (BID ID -1075135) | 26353393.00 | L4