## BoQ1
Government eProcurement System Created By: SELVAM M Created Date/Time: 08-Oct-2026 03:11 PM Tender Title: Attending structural repair work, cleaning manholes in A block, fixing available ANG partition, providing EWC, wash basins, toilet repairs in CGHS R O portion at CTMX main exchange, Coimbatore Tender ID: 2026_BSNL_292124_1
Tender Inviting Authority: Executive Engineer ( c ), BSNL,CD.Coimbatore.
Name of Work: Attending Structural Repair work, Cleaning Manholes in A-Block, fixing avaialable ANG partition, Providing EWC, Wash basins, Toilet repairs in CGHS R/O portion at CTMX Main Exchange, Coimbatore.
Contract No: 017/BSNL/CD/CBE/26-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | K SUDHAKAR (GSTN-NA) BID ID -1073767 |  | DANI ENGINEERS (GSTN-NA) BID ID -1073660
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
1.01 | 1:2:4 (1 cement : 2 coarse sand(zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | .90 | CUM | 7878.50 | 9200.00 | 8280.00 | 8600.00 | 7740.00 | 7740.00 | DANI ENGINEERS
2.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in foundation and plinth in:
2.01 | Cement mortar 1:6 (1 cement : 6 coarse sand) | .30 | CUM | 6321.20 | 7500.00 | 2250.00 | 6900.00 | 2070.00 | 2070.00 | DANI ENGINEERS
3.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessaryaccessories and screws etc. complete. | 4.00 | NOS | 983.15 | 1200.00 | 4800.00 | 1070.00 | 4280.00 | 4280.00 | DANI ENGINEERS
4.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete :
4.01 | 250x10 mm | 4.00 | NOS | 115.15 | 135.00 | 540.00 | 125.00 | 500.00 | 500.00 | DANI ENGINEERS
5.00 | Providing and fixing aluminium handles ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete :
5.01 | 125 mm | 2.00 | NOS | 66.25 | 120.00 | 240.00 | 72.00 | 144.00 | 144.00 | DANI ENGINEERS
6.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
6.01 | Twin rubber stopper | 4.00 | NOS | 72.35 | 105.00 | 420.00 | 80.00 | 320.00 | 320.00 | DANI ENGINEERS
7.00 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with a wall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineer-in-Charge. | 4.80 | M | 492.70 | 550.00 | 2640.00 | 535.00 | 2568.00 | 2568.00 | DANI ENGINEERS
8.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture. M.S. frame covered with 5 mm thick heat moulded PVC ‘C’ channel of size 30mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the ‘C’ Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer’s specification & drawing.
8.01 | 30 mm thick plain PVC door shutters. | 1.50 | SQM | 3182.95 | 3500.00 | 5250.00 | 3440.00 | 5160.00 | 5160.00 | DANI ENGINEERS
9.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm(thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @3.3kg/sqm including pointing the joints with white cement and matching pigments etc., complete. | 4.20 | SQM | 1315.30 | 1530.00 | 6426.00 | 1440.00 | 6048.00 | 6048.00 | DANI ENGINEERS
10.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :
10.01 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 31.00 | SQM | 160.60 | 180.00 | 5580.00 | 170.00 | 5270.00 | 5270.00 | DANI ENGINEERS
11.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
11.01 | One or more coats on old work. | 54.00 | SQM | 102.80 | 145.00 | 7830.00 | 120.00 | 6480.00 | 6480.00 | DANI ENGINEERS
12.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :
12.01 | Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface). | 96.00 | SQM | 120.75 | 165.00 | 15840.00 | 131.00 | 12576.00 | 12576.00 | DANI ENGINEERS
13.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after. The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspectionof work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge. The elevational area of the scaffolding shall be measured for payment purpose. The payment shall be made once irrespective of duration of scaffolding.Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | 299.00 | SQM | 338.25 | 355.00 | 106145.00 | 365.00 | 109135.00 | 106145.00 | K SUDHAKAR
14.00 | Removing and refixing the existing wooden door,window shutters including attending repairs & renewing necessary hinges etc., complete as directed by the Engineer-in-charge. | 1.60 | SQM | 586.60 | 1000.00 | 1600.00 | 640.00 | 1024.00 | 1024.00 | DANI ENGINEERS
15.00 | Removing the trees and plants grown over the building by rooting out and treating with acid to prevent the growth and setting the portion with necessary concrete or plastering and finishing with cement primer complete as directed by the Engineer-in-charge. | 4.00 | NOS | 513.10 | 1000.00 | 4000.00 | 560.00 | 2240.00 | 2240.00 | DANI ENGINEERS
16.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 28.00 | SQM | 56.35 | 180.00 | 5040.00 | 150.00 | 4200.00 | 4200.00 | DANI ENGINEERS
17.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 3.00 | CUM | 263.95 | 1000.00 | 3000.00 | 500.00 | 1500.00 | 1500.00 | DANI ENGINEERS
18.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls and floors wherever required :
18.01 | W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | NOS | 6515.55 | 7500.00 | 15000.00 | 7120.00 | 14240.00 | 14240.00 | DANI ENGINEERS
19.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. A)Flexible pipe
19.01 | 32 mm dia | 2.00 | NOS | 119.55 | 150.00 | 300.00 | 130.00 | 260.00 | 260.00 | DANI ENGINEERS
20.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2.00 | NOS | 1607.95 | 1650.00 | 3300.00 | 1750.00 | 3500.00 | 3300.00 | K SUDHAKAR
21.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
21.01 | Parryware Flair or Equivalent White Vitreous China Flat back wash basin size 550x400 mm with Parryware single 15 mm C.P. brass pillar tap | 2.00 | NOS | 3806.80 | 4500.00 | 9000.00 | 4150.00 | 8300.00 | 8300.00 | DANI ENGINEERS
22.00 | Dismantling the damaged Indian water closet and Flush tank including demolishing the P trap and removing the depression portion concrete including disposal of unserviceable materials within 50m lead all complete as directed by the Engineer-in-charge. | 2.00 | NOS | 1291.00 | 1500.00 | 3000.00 | 1400.00 | 2800.00 | 2800.00 | DANI ENGINEERS
23.00 | Providing and fixing PVC Wall Mount Cabinet with Mirror Door Soap/Toothbrush Holder/Rack/Organizer 12 inch 4 Bar Towel Rod all complete as directed by the Engineer-in-charge.
23.01 | Overall Size 30cm x 56cm x 10cm | 1.00 | NO | 1734.60 | 2200.00 | 2200.00 | 1800.00 | 1800.00 | 1800.00 | DANI ENGINEERS
24.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. : Internal work - Exposed on wall
24.01 | 25 mm nominal outer dia .Pipes. | 18.00 | M | 401.55 | 450.00 | 8100.00 | 435.00 | 7830.00 | 7830.00 | DANI ENGINEERS
25.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipes including all UPVC plain threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step UPVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Internal work - Exposed on wall
25.01 | 80 mm nominal outer dia pipes | 19.00 | NOS | 1028.40 | 1200.00 | 22800.00 | 1100.00 | 20900.00 | 20900.00 | DANI ENGINEERS
26.00 | Cleaning the existing Septic Tank by removing the sludge along with sewage accumulated inside by flushing with jet of water using compressor and making clean etc.,complete all as directed by the Engineer-in-charge
26.01 | Capacity of tank of upto 5000 litres. | 1.00 | NO | 5958.40 | 10000.00 | 10000.00 | 8500.00 | 8500.00 | 8500.00 | DANI ENGINEERS
27.00 | Flushing the manholes by removing the sludge along with settled silt and debris accumulated inside the chamber channels and in the inlet and outlet pipe lines connecting the adjacent chambers by making functional all complete as directed by the Engineer-in-charge
27.01 | Normal Manhole of Inside size 90x80 cm and upto 60 cm deep. | 5.00 | NOS | 1456.50 | 1800.00 | 9000.00 | 1600.00 | 8000.00 | 8000.00 | DANI ENGINEERS
28.00 | Refixing old aluminium work for doors, windows, ventilators and partitions fixed with rawl plugs, screws or with fixing clips including necessary filling up of gaps at junctions, at top , bottom and sides with required PVC/Neoprene felt etc., and cost of fixing with available Prelaminated partle board, Glass panes and Aluminium sections including sorting out the required materials from the store to the required site, cutting to required shapes and sizes and fixing with necessary new C.P.brass screws including cleaning and making good etc. complete as directed by the Engineer-in-charge ( Cost inclusive of PVC Felt, Screws, Aluminium snap beadings but excluding the Aluminium sections, Prelaminated Particle board and Glass panes).
28.01 | For fixed/ Shutters portition : | 21.10 | SQM | 667.40 | 750.00 | 15825.00 | 730.00 | 15403.00 | 15403.00 | DANI ENGINEERS
29.00 | Providing and fixing bright finished CP brass 100mm mortice lock with 4 levers without pair of handles of aproved quality with necessary brass screws as per the direction of Engineer-in-charge. | 3.00 | NOS | 387.30 | 450.00 | 1350.00 | 450.00 | 1350.00 | 1350.00 | DANI ENGINEERS, K SUDHAKAR
30.00 | Conveyance of available Aluminium sections, Prelaminated particle board from TE, Saibaba Colony to CTMX A-block, Near Railway station including loading, unloading charges etc., all as directed by the Engineer-in-charge. | 1.00 | JOB | 2879.90 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 4000.00 | DANI ENGINEERS
31.00 | Providing and fixing Synthetic nylon insect screen for window/Ventilator/Grill opening fixed with Aluminium Tubular frame etc. all complete as directed by the Engineer-in-charge. | 2.00 | sqm | 1469.30 | 1600.00 | 3200.00 | 1650.00 | 3300.00 | 3200.00 | K SUDHAKAR
32.00 | Providing and fixing Factory made Fiber Glass Mesh 145 Gsm 150mm wide Fiber Mesh For Plastering, For Waterproof Of Roof,Cracks, wall Patch Repair all complete as per the maufacturers specification and as directed by the Engineer-in-charge. | 63.00 | sqm | 130.00 | 123.00 | 7749.00 | 120.00 | 7560.00 | 7560.00 | DANI ENGINEERS
33.00 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge
33.01 | 25 mm average thickness | 23.70 | sqm | 126.75 | 150.00 | 3555.00 | 138.00 | 3270.60 | 3270.60 | DANI ENGINEERS
34.00 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge.
34.01 | Bars upto 12 mm diameter | 494.00 | M | 8.25 | 15.00 | 7410.00 | 10.00 | 4940.00 | 4940.00 | DANI ENGINEERS
34.02 | Bars above 12 mm diameter | 202.00 | M | 16.45 | 15.00 | 3030.00 | 15.00 | 3030.00 | 3030.00 | DANI ENGINEERS, K SUDHAKAR
35.00 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
35.01 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 66.00 | SQM | 141.20 | 165.00 | 10890.00 | 150.00 | 9900.00 | 9900.00 | DANI ENGINEERS
36.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2).
36.01 | 25 mm average thickness in 2 layers. | 66.00 | SQM | 587.35 | 620.00 | 40920.00 | 640.00 | 42240.00 | 40920.00 | K SUDHAKAR
| Total in Figures |  |  |  |  | 361510.00 |  | 342378.60
Lowest Amount Quoted BY: DANI ENGINEERS(342378.60)

## BOQ Summary
BOQ Summary Details Tender Title: Attending structural repair work, cleaning manholes in A block, fixing available ANG partition, providing EWC, wash basins, toilet repairs in CGHS R O portion at CTMX main exchange, Coimbatore Tender ID: 2026_BSNL_292124_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DANI ENGINEERS (BID ID -1073660) | 342378.60 | L1
| 2 | K SUDHAKAR (BID ID -1073767) | 361510.00 | L2