## BoQ1
Government eProcurement System Created By: NIRAJ KUMAR SHUKLA Created Date/Time: 13-Oct-2026 03:51 PM Tender Title: Dismantling, Shifting, reinstallation and minor repairing of DG sets and misc associated work for varius sites BA Lucknow Tender ID: 2026_BSNL_292444_1
Tender Inviting Authority: Executive Engineer (E), LUCKNOW.
Name of Work: Dismantling, Shifting, reinstallation & minor repairing of DG sets and misc associated work for varius sites BA Lucknow ..
Contract No: 28/TEDL/BSNL/2026-27, Dated 25/09/2026 Estimated Cost Rs, 5,80,750.00
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | M/S SANJAY ELECTRICAL COMPANY (GSTN-NA) BID ID -1076459
[5 empty] | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.01 | SH-I (Shifting & ITC of DG set) Dismantalling of following capacity EA set i/c disconnection of cable, panel, fuel tank , silencer etc complete as required. (a) 15 kva to 40 kva EA set | 5.00 | job | item1 | 15000.00 | 17700.00 | 15000.00 | M/S SANJAY ELECTRICAL COMPANY | 17700.00 | M/S SANJAY ELECTRICAL COMPANY
1.02 | Transportation of following capacity EA set i/c Loading, unloading etc complete as required. (a) 15 kva to 40 kva EA set up to 50 km | 5.00 | job | item2 | 65000.00 | 76700.00 | 65000.00 | M/S SANJAY ELECTRICAL COMPANY | 76700.00 | M/S SANJAY ELECTRICAL COMPANY
1.03 | Safely dismantling & shifting the existing DG set with canopy from existing plinth to nearby location in same premises i/c Loading, unloading etc complete as required. | 4.00 | job | item3 | 12000.00 | 14160.00 | 12000.00 | M/S SANJAY ELECTRICAL COMPANY | 14160.00 | M/S SANJAY ELECTRICAL COMPANY
1.04 | ITC of following capacity EA set i/c connection of cable, testing on exchange load etc complete as required. (a) 15 kva to 40 kva EA set | 5.00 | Job | item4 | 20000.00 | 23600.00 | 20000.00 | M/S SANJAY ELECTRICAL COMPANY | 23600.00 | M/S SANJAY ELECTRICAL COMPANY
1.05 | SH-III (Servicing, battery, minor Repairing in DG & Misc work) Servicing of following EA sets i/c replacement of Lube oil, Fuel filter & Lube Oil filter etc,i/c cleaning of EA set, testing complete as reqd. (a) 10 KVA / 15 KVA EA Set (Eicher- 322-ES/ ESCORT/ Ashoka Lelyand/ Mahindra etc) | 4.00 | job | item5 | 22000.00 | 25960.00 | 22000.00 | M/S SANJAY ELECTRICAL COMPANY | 25960.00 | M/S SANJAY ELECTRICAL COMPANY
1.06 | (b) 32.5 /40KVA EA set ( Kirloskar-- HA494-Air Cooled) | 2.00 | job | item6 | 15600.00 | 18408.00 | 15600.00 | M/S SANJAY ELECTRICAL COMPANY | 18408.00 | M/S SANJAY ELECTRICAL COMPANY
1.07 | Supplying of diesel for testing of EA set etc. | 6.00 | job | item7 | 3000.00 | 3540.00 | 3000.00 | M/S SANJAY ELECTRICAL COMPANY | 3540.00 | M/S SANJAY ELECTRICAL COMPANY
1.08 | Replacement following faulty parts/ accessories in control panel , connection , testing etc comp as reqd. (a) Battery charger ( Electronic Type) | 6.00 | Nos | item8 | 25200.00 | 29736.00 | 25200.00 | M/S SANJAY ELECTRICAL COMPANY | 29736.00 | M/S SANJAY ELECTRICAL COMPANY
1.09 | (b) Electronic Hour Meter | 4.00 | Job | item9 | 4200.00 | 4956.00 | 4200.00 | M/S SANJAY ELECTRICAL COMPANY | 4956.00 | M/S SANJAY ELECTRICAL COMPANY
1.10 | © ON/OFF Key | 4.00 | Job | item10 | 3400.00 | 4012.00 | 3400.00 | M/S SANJAY ELECTRICAL COMPANY | 4012.00 | M/S SANJAY ELECTRICAL COMPANY
1.11 | (d) Cu lead for Battery 12v | 14.00 | Job | item11 | 9240.00 | 10903.20 | 9240.00 | M/S SANJAY ELECTRICAL COMPANY | 10903.20 | M/S SANJAY ELECTRICAL COMPANY
1.12 | (e )AVR for alternator | 5.00 | Job | item12 | 29000.00 | 34220.00 | 29000.00 | M/S SANJAY ELECTRICAL COMPANY | 34220.00 | M/S SANJAY ELECTRICAL COMPANY
1.13 | (f) Battery terminal/ lugs | 14.00 | Nos | item13 | 2100.00 | 2478.00 | 2100.00 | M/S SANJAY ELECTRICAL COMPANY | 2478.00 | M/S SANJAY ELECTRICAL COMPANY
1.14 | Supply & fixing of following Lead acid semi-maintenance free battery for EA set i/c first charging etc (make- Exide- GOLD) or similar superior make as per approved list. (a) 12 V, 88/90 AH | 4.00 | Nos | item14 | 42000.00 | 49560.00 | 42000.00 | M/S SANJAY ELECTRICAL COMPANY | 49560.00 | M/S SANJAY ELECTRICAL COMPANY
1.15 | (b) 12V, 130 AH Battery (MHD1300 or approved make) | 2.00 | Nos | item15 | 27000.00 | 31860.00 | 27000.00 | M/S SANJAY ELECTRICAL COMPANY | 31860.00 | M/S SANJAY ELECTRICAL COMPANY
1.16 | Repairing of following items of EA set i/c replacement of faulty parts ,making connection, testing etc complete as reqd. (a)Starting Self 12v up to 40 kva | 4.00 | Job | item16 | 22000.00 | 25960.00 | 22000.00 | M/S SANJAY ELECTRICAL COMPANY | 25960.00 | M/S SANJAY ELECTRICAL COMPANY
1.17 | (b) Repairing of pump | 3.00 | Job | item17 | 29700.00 | 35046.00 | 29700.00 | M/S SANJAY ELECTRICAL COMPANY | 35046.00 | M/S SANJAY ELECTRICAL COMPANY
1.18 | © Repairing and Cleaning of Engine Radiator up to 62.5 KVA EA Set | 1.00 | Job | item18 | 4500.00 | 5310.00 | 4500.00 | M/S SANJAY ELECTRICAL COMPANY | 5310.00 | M/S SANJAY ELECTRICAL COMPANY
1.19 | S/fixing of wire braded fuel pipe complete for i/c connection, testing etc complete as required | 14.00 | Nos | item19 | 10640.00 | 12555.20 | 10640.00 | M/S SANJAY ELECTRICAL COMPANY | 12555.20 | M/S SANJAY ELECTRICAL COMPANY
1.20 | S/fixing of V-Belt for up to 40 kva EA set i/c connection, testing etc complete as required | 10.00 | Nos | item20 | 5900.00 | 6962.00 | 5900.00 | M/S SANJAY ELECTRICAL COMPANY | 6962.00 | M/S SANJAY ELECTRICAL COMPANY
1.21 | Disconnection and dismentalling of alternator coupled with 15 KVA EA set i/c disconnection from coupling and cables etc complete as required. | 1.00 | Job | item21 | 2000.00 | 2360.00 | 2000.00 | M/S SANJAY ELECTRICAL COMPANY | 2360.00 | M/S SANJAY ELECTRICAL COMPANY
1.22 | To and fro cartage of faulty 15 KVA alternator from TE Sisendi, Lucknow to workshop i/c loading , unloading etc complete as reqd. | 1.00 | Job | item22 | 4000.00 | 4720.00 | 4000.00 | M/S SANJAY ELECTRICAL COMPANY | 4720.00 | M/S SANJAY ELECTRICAL COMPANY
1.23 | Rewinding of 15 KVA Alternator with suitable size winding wire i/c winding of rotor coil, stator coil and exicetor coil complete with insulation paper, warnish testing etc complete as required. (The old burnt winding wire is handed over to contactor, rate should quote accordingly). | 1.00 | Job | item23 | 22000.00 | 25960.00 | 22000.00 | M/S SANJAY ELECTRICAL COMPANY | 25960.00 | M/S SANJAY ELECTRICAL COMPANY
1.24 | Installation of above alternator after repairing with the existing Engine making coupling, alignment and making all terminations, testing at suitable load for one hour etc complete as required. | 1.00 | Job | item24 | 4000.00 | 4720.00 | 4000.00 | M/S SANJAY ELECTRICAL COMPANY | 4720.00 | M/S SANJAY ELECTRICAL COMPANY
1.25 | Visitng charges i/c to & fro transportation charges of technician on Call basis for DGs repairing in exchanges/BTSs i/c analysis of fault, minor repiring , replacement of faulty items as given in schedule of work etc comp as reqd.(a) Visit Charge per site | 4.00 | job | item25 | 7200.00 | 8496.00 | 7200.00 | M/S SANJAY ELECTRICAL COMPANY | 8496.00 | M/S SANJAY ELECTRICAL COMPANY
1.26 | SH-III (Cut out board, changeover, cabling & Misc work), Pdg of 4 x 16 Sqmm al conductor armoured cable size of pvc insulated pvc sheathed 1.1 kv grade Aluminium conductor cable confirming to relevant IS-Specification etc complete as reqd. (Make -Polycab/ havells/ finolex/ SS make) | 100.00 | Mtrs | item26 | 53500.00 | 63130.00 | 53500.00 | M/S SANJAY ELECTRICAL COMPANY | 63130.00 | M/S SANJAY ELECTRICAL COMPANY
1.27 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface/ tray as required. (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 100.00 | Mtr | item27 | 4500.00 | 5310.00 | 4500.00 | M/S SANJAY ELECTRICAL COMPANY | 5310.00 | M/S SANJAY ELECTRICAL COMPANY
1.28 | (b) Supplying and laying of 2 x 6 Sqmm weather proof pvc insulated pvc sheathed 1.1 kv grade Aluminium conductor cable confirming to relevant IS i/c fixing on wall surface with suitable clamps/ Saddle in air/in pipe /in recess etc complete as reqd. (Make - Polycab/ havells/ finolex/ SS make)- | 50.00 | Mtrs | item28 | 4500.00 | 5310.00 | 4500.00 | M/S SANJAY ELECTRICAL COMPANY | 5310.00 | M/S SANJAY ELECTRICAL COMPANY
1.29 | S/F of 63 amps four pole off load change over switch in sheet steel enclosure capable of working 415/500 V i/c fixing the same on wall /pole with suitable clamp/fastner i/c drilling hole , making connection, earthing the body etc. complete as reqd. (HPL or SS Make) | 2.00 | Nos | item29 | 25800.00 | 30444.00 | 25800.00 | M/S SANJAY ELECTRICAL COMPANY | 30444.00 | M/S SANJAY ELECTRICAL COMPANY
1.30 | Supplying and fixing of 10mm thick bakelite sheet on existing MS frame etc complete as reqd. | 6.00 | SqFt | item30 | 2250.00 | 2655.00 | 2250.00 | M/S SANJAY ELECTRICAL COMPANY | 2655.00 | M/S SANJAY ELECTRICAL COMPANY
1.31 | Supply & fixing of following items on existing bakelite sheet i/c making connection, testing etc complete as reqd. (a) Kit Kat 100A Porcelain Fuse carrier & Base | 3.00 | Nos | item31 | 4500.00 | 5310.00 | 4500.00 | M/S SANJAY ELECTRICAL COMPANY | 5310.00 | M/S SANJAY ELECTRICAL COMPANY
1.32 | (b) Neutral link | 1.00 | job | item32 | 200.00 | 236.00 | 200.00 | M/S SANJAY ELECTRICAL COMPANY | 236.00 | M/S SANJAY ELECTRICAL COMPANY
1.33 | Repairing of water pump in existing 15KVA water cooled engine i/c to & fro to workshop, reassembling i/c testing, commissioning etc complete as reqd | 1.00 | Job | item33 | 3500.00 | 4130.00 | 3500.00 | M/S SANJAY ELECTRICAL COMPANY | 4130.00 | M/S SANJAY ELECTRICAL COMPANY
1.34 | Supplying and fixing of 35x35x5 mm angle iron frame suitable for above board i/c cutting, welding, grouting and making good the damages etc complete as reqd | 4.00 | Mtr | item34 | 1800.00 | 2124.00 | 1800.00 | M/S SANJAY ELECTRICAL COMPANY | 2124.00 | M/S SANJAY ELECTRICAL COMPANY
| Total in Figures |  |  |  | 507230.00 | 598531.40

## BOQ Summary
BOQ Summary Details Tender Title: Dismantling, Shifting, reinstallation and minor repairing of DG sets and misc associated work for varius sites BA Lucknow Tender ID: 2026_BSNL_292444_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S SANJAY ELECTRICAL COMPANY (BID ID -1076459) | 598531.40 | L1