## BoQ1
Government eProcurement System Created By: satya deo arya Created Date/Time: 16-Oct-2026 06:30 PM Tender Title: Construction of attached washroom with the office of DC CISF addition alteration to existing wash room housing 4 Nos urinal pots 2 Nos WC Seats One No bath room and construction of separate female wash room at west side Ground Floor in Sancha Tender ID: 2026_BSNL_292731_4
Tender Inviting Authority: Executive Engineer (C), BSNL Civil Division II, New Delhi
Name of the work : Construction of attached washroom with the office of DC, CISF, addition & alteration to existing wash room housing 4 Nos urinal pots, 2 Nos. WC Seats, One No. bath room and construction of separate female wash room at west side Ground Floor in Sanchar Bhawan Building, 20 Ashoka Road, New Delhi.
NIT No: -15………………………………………
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHEHZAD KHAN (GSTN-NA) BID ID -1078617 |  | ARIF ZAIDI (GSTN-NA) BID ID -1078522 |  | M/S NAZIR & COMPANY (GSTN-NA) BID ID -1078564
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
1.01 | 1:2:4 (1 cement : 2 coarse sand(zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 2.50 | Cum |  | 5000.00 | 12500.00 | 4000.00 | 10000.00 | 5000.00 | 12500.00 | 10000.00 | ARIF ZAIDI
1.02 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 2.50 | Cum |  | 4000.00 | 10000.00 | 3000.00 | 7500.00 | 5000.00 | 12500.00 | 7500.00 | ARIF ZAIDI
2.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
2.01 | Cement mortar 1:4 (1 cement : 4 coarse sand) | 14.00 | Cum |  | 5000.00 | 70000.00 | 4700.00 | 65800.00 | 6100.00 | 85400.00 | 65800.00 | ARIF ZAIDI
3.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricksof class designation 7.5 in foundations and plinth in :
3.01 | Cement mortar 1:3 (1 cement : 3 coarse sand) | 15.00 | Sqm |  | 900.00 | 13500.00 | 700.00 | 10500.00 | 750.00 | 11250.00 | 10500.00 | ARIF ZAIDI
4.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry.ird course of half brick masonry. | 15.00 | Sqm |  | 50.00 | 750.00 | 200.00 | 3000.00 | 90.00 | 1350.00 | 750.00 | SHEHZAD KHAN
5.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
5.01 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 150.00 | Kg |  | 130.00 | 19500.00 | 90.00 | 13500.00 | 140.00 | 21000.00 | 13500.00 | ARIF ZAIDI
6.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.
6.01 | Hot finished welded type tubes. | 300.00 | Kg |  | 150.00 | 45000.00 | 90.00 | 27000.00 | 130.00 | 39000.00 | 27000.00 | ARIF ZAIDI
7.00 | Providing and laying rectified Ceramic floor tiles of size 300x300mm or more (thickness to be specified by the manufacturer), of 1stquality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4(1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. | 20.00 | Sqm |  | 900.00 | 18000.00 | 750.00 | 15000.00 | 750.00 | 15000.00 | 15000.00 | ARIF ZAIDI, M/S NAZIR & COMPANY
8.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approvedmake, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 60.00 | Sqm |  | 900.00 | 54000.00 | 800.00 | 48000.00 | 850.00 | 51000.00 | 48000.00 | ARIF ZAIDI
9.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer) with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make in all colours & shade in walls, skirting, riser of steps etc., over 12 mm thick bed of cement mortar 1:3 (1cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete.
9.01 | Size of Tile 600x1200 mm | 45.00 | Sqm |  | 400.00 | 18000.00 | 1200.00 | 54000.00 | 1200.00 | 54000.00 | 18000.00 | SHEHZAD KHAN
10.00 | 12 mm cement plaster of mix :
10.01 | 1:4 (1 cement: 4 fine sand) | 10.00 | Sqm |  | 300.00 | 3000.00 | 200.00 | 2000.00 | 275.00 | 2750.00 | 2000.00 | ARIF ZAIDI
11.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade:
11.01 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 25.00 | Sqm |  | 150.00 | 3750.00 | 100.00 | 2500.00 | 150.00 | 3750.00 | 2500.00 | ARIF ZAIDI
12.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).
12.01 | Sal wood | .20 | Cum |  | 70000.00 | 14000.00 | 10000.00 | 2000.00 | 116520.00 | 23304.00 | 2000.00 | ARIF ZAIDI
13.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters.
13.01 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 8.00 | Sqm |  | 1100.00 | 8800.00 | 1500.00 | 12000.00 | 2000.00 | 16000.00 | 8800.00 | SHEHZAD KHAN
14.00 | Providing and fixing wooden moulded beading to door and window frames with iron screws, plugs and priming coat on unexposed surface etc. complete :
14.01 | 2nd class teak wood
14.02 | 50 x 20 mm | 25.00 | m |  | 70.00 | 1750.00 | 60.00 | 1500.00 | 70.00 | 1750.00 | 1500.00 | ARIF ZAIDI
15.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
15.01 | Twin rubber stopper | 5.00 | No. |  | 150.00 | 750.00 | 60.00 | 300.00 | 45.00 | 225.00 | 225.00 | M/S NAZIR & COMPANY
16.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 4.00 | No. |  | 1500.00 | 6000.00 | 1200.00 | 4800.00 | 1000.00 | 4000.00 | 4000.00 | M/S NAZIR & COMPANY
17.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 4.00 | No. |  | 500.00 | 2000.00 | 450.00 | 1800.00 | 600.00 | 2400.00 | 1800.00 | ARIF ZAIDI
18.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete :
18.01 | 300x10 mm | 4.00 | No. |  | 450.00 | 1800.00 | 90.00 | 360.00 | 60.00 | 240.00 | 240.00 | M/S NAZIR & COMPANY
19.00 | Providing & fixing white vitreous china water less urinal of size 600 x 330 x 315 mm having antibacterial /germs free ceramic surface, fixed with cartridge having debris catcher and hygiene seal. | 4.00 | No. |  | 2000.00 | 8000.00 | 12000.00 | 48000.00 | 8500.00 | 34000.00 | 8000.00 | SHEHZAD KHAN
20.00 | Providing and fixing floor mounted, white vitreous china single piece, double traps syphonic water closet of approved brand/make, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. | 3.00 | No. |  | 15000.00 | 45000.00 | 8500.00 | 25500.00 | 8000.00 | 24000.00 | 24000.00 | M/S NAZIR & COMPANY
21.00 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:-
21.01 | (a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer. | 3.00 | No. |  | 4000.00 | 12000.00 | 1500.00 | 4500.00 | 2500.00 | 7500.00 | 4500.00 | ARIF ZAIDI
22.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube up to 1 metre long with S.S. triangular plate to European type W.C. of quality and make as approved by Engineer-in-charge. | 3.00 | No. |  | 700.00 | 2100.00 | 350.00 | 1050.00 | 250.00 | 750.00 | 750.00 | M/S NAZIR & COMPANY
23.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
23.01 | Semi rigid pipe
23.02 | 32 mm dia | 3.00 | Nos. |  | 700.00 | 2100.00 | 100.00 | 300.00 | 80.00 | 240.00 | 240.00 | M/S NAZIR & COMPANY
24.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 3.00 | No. |  | 70.00 | 210.00 | 500.00 | 1500.00 | 600.00 | 1800.00 | 210.00 | SHEHZAD KHAN
25.00 | Providing and fixing toilet paper holder :
25.01 | C.P. brass | 3.00 | No. |  | 1000.00 | 3000.00 | 700.00 | 2100.00 | 650.00 | 1950.00 | 1950.00 | M/S NAZIR & COMPANY
26.00 | Providing and fixing soil, waste and vent pipes :
26.01 | 100 mm dia.
26.02 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989. | 20.00 | m |  | 500.00 | 10000.00 | 800.00 | 16000.00 | 780.00 | 15600.00 | 10000.00 | SHEHZAD KHAN
27.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
27.01 | 100 mm dia
27.02 | Sand cast iron S&S as per IS - 3989 | 6.00 | Nos. |  | 300.00 | 1800.00 | 500.00 | 3000.00 | 400.00 | 2400.00 | 1800.00 | SHEHZAD KHAN
28.00 | Providing and fixing plain bend of required degree.
28.01 | 100 mm dia
28.02 | Sand cast iron S&S as per IS : 3989 | 6.00 | Nos. |  | 300.00 | 1800.00 | 400.00 | 2400.00 | 350.00 | 2100.00 | 1800.00 | SHEHZAD KHAN
29.00 | Providing and fixing collar:
29.01 | 100 mm
29.02 | Sand cast iron S&S as per IS - 3989 | 6.00 | Nos. |  | 100.00 | 600.00 | 400.00 | 2400.00 | 400.00 | 2400.00 | 600.00 | SHEHZAD KHAN
30.00 | Providing and fixing trap of self cleaning design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
30.01 | 100 mm inlet and 100 mm outlet
30.02 | Sand cast iron S&S as per IS: 3989. | 3.00 | Nos. |  | 400.00 | 1200.00 | 1000.00 | 3000.00 | 900.00 | 2700.00 | 1200.00 | SHEHZAD KHAN
31.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 3.00 | No. |  | 500.00 | 1500.00 | 200.00 | 600.00 | 200.00 | 600.00 | 600.00 | ARIF ZAIDI, M/S NAZIR & COMPANY
32.00 | Providing and fixing PTMT towel ring trapezoidal shape 215 mm long, 200 mm wide with a minimum distances of 37 mm from wall face with concealed fittings arrangement of approved quality and colour, weighing not less than 88 gms. | 3.00 | No. |  | 300.00 | 900.00 | 400.00 | 1200.00 | 80.00 | 240.00 | 240.00 | M/S NAZIR & COMPANY
33.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour.
33.01 | 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 3.00 | No. |  | 600.00 | 1800.00 | 600.00 | 1800.00 | 450.00 | 1350.00 | 1350.00 | M/S NAZIR & COMPANY
34.00 | Providing and fixing PTMT shelf 440 mm long, 124 mm width and 36 mm height of approved quality and colour, weighing not less than 300 gms. | 3.00 | Nos. |  | 700.00 | 2100.00 | 600.00 | 1800.00 | 550.00 | 1650.00 | 1650.00 | M/S NAZIR & COMPANY
35.00 | Extra for providing and fixing 100 mm Dia stainless steel grating with frame (with or without hole) instead of screwed down or hinged SCI grating. | 6.00 | No. |  | 100.00 | 600.00 | 300.00 | 1800.00 | 200.00 | 1200.00 | 600.00 | SHEHZAD KHAN
36.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. :Concealed work, including cutting chases and making good the walls etc.
36.01 | 15 mm nominal outer dia .Pipes. | 30.00 | m |  | 100.00 | 3000.00 | 120.00 | 3600.00 | 210.00 | 6300.00 | 3000.00 | SHEHZAD KHAN
37.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
37.01 | 25 to 40 mm nominal bore | 1.00 | No. |  | 400.00 | 400.00 | 250.00 | 250.00 | 550.00 | 550.00 | 250.00 | ARIF ZAIDI
38.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :
38.01 | 45 cm length
38.02 | 15 mm nominal bore | 4.00 | No. |  | 50.00 | 200.00 | 60.00 | 240.00 | 60.00 | 240.00 | 200.00 | SHEHZAD KHAN
39.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931:
39.01 | 15 mm nominal bore. | 3.00 | No. |  | 600.00 | 1800.00 | 600.00 | 1800.00 | 450.00 | 1350.00 | 1350.00 | M/S NAZIR & COMPANY
40.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.
40.01 | 15 mm nominal bore. | 2.00 | No. |  | 700.00 | 1400.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 1000.00 | ARIF ZAIDI, M/S NAZIR & COMPANY
41.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
41.01 | 15mm nominal bore | 12.00 | No. |  | 700.00 | 8400.00 | 500.00 | 6000.00 | 350.00 | 4200.00 | 4200.00 | M/S NAZIR & COMPANY
42.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.
42.01 | GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness60 microns (minimum), including factory painted after bending and perforation and backed with a black Glass fiber acoustical fleece. | 54.50 | Sqm |  | 900.00 | 49050.00 | 1400.00 | 76300.00 | 1188.00 | 64746.00 | 49050.00 | SHEHZAD KHAN
43.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /seIf tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 20.00 | Sqm |  | 750.00 | 15000.00 | 600.00 | 12000.00 | 450.00 | 9000.00 | 9000.00 | M/S NAZIR & COMPANY
| Total in Figures |  |  |  |  | 477060.00 |  | 499700.00 |  | 545285.00
Lowest Amount Quoted BY: SHEHZAD KHAN(477060.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of attached washroom with the office of DC CISF addition alteration to existing wash room housing 4 Nos urinal pots 2 Nos WC Seats One No bath room and construction of separate female wash room at west side Ground Floor in Sancha Tender ID: 2026_BSNL_292731_4
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHEHZAD KHAN (BID ID -1078617) | 477060.00 | L1
| 2 | ARIF ZAIDI (BID ID -1078522) | 499700.00 | L2
| 3 | M/S NAZIR & COMPANY (BID ID -1078564) | 545285.00 | L3