## BoQ1
Government eProcurement System Created By: Anil Kumar Created Date/Time: 08-Oct-2026 01:04 PM Tender Title: Renovation works at Fire Research Lab in the CBRI Institute Tender ID: 2026_CSIR_291779_1
Tender Inviting Authority: DIRECTOR CSIR-CBRI ROORKEE
Name of Work :Renovation works at Fire Research Lab in the CBRI Institute..
Contract No: 193(699)EST-2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S MOHMMED AKHLAK (GSTN-05BYIPK9787M2ZF) BID ID -1074670 |  | JAGPAL SINGH (GSTN-NA) BID ID -1073191
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar | 1.00 | Cum | 2060.20 | 300.00 | 300.00 | 50.00 | 50.00 | 50.00 | JAGPAL SINGH
2.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 Fine sand) | 1.00 | Sqm | 333.35 | 405.00 | 405.00 | 200.00 | 200.00 | 200.00 | JAGPAL SINGH
3.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth completed) | 58.00 | Sqm | 156.05 | 60.00 | 3480.00 | 50.00 | 2900.00 | 2900.00 | JAGPAL SINGH
4.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content.With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 58.00 | Sqm | 73.95 | 55.00 | 3190.00 | 30.00 | 1740.00 | 1740.00 | JAGPAL SINGH
5.00 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : Old work (one or more coats) | 58.00 | Sqm | 62.70 | 50.00 | 2900.00 | 30.00 | 1740.00 | 1740.00 | JAGPAL SINGH
6.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 29.00 | Sqm | 25.15 | 5.00 | 145.00 | 5.00 | 145.00 | 145.00 | JAGPAL SINGH, M/S MOHMMED AKHLAK
7.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade one or more coat on old work. | 7.00 | Sqm | 102.80 | 50.00 | 350.00 | 90.00 | 630.00 | 350.00 | M/S MOHMMED AKHLAK
8.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600x600 mm | 40.00 | Sqm | 1553.45 | 1100.00 | 44000.00 | 900.00 | 36000.00 | 36000.00 | JAGPAL SINGH
9.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion :Powder coated aluminium (minimum thickness of powder coating 50 micron) | 482.00 | Kg | 530.90 | 550.00 | 265100.00 | 550.00 | 265100.00 | 265100.00 | JAGPAL SINGH, M/S MOHMMED AKHLAK
10.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 60.00 | Kg | 634.45 | 560.00 | 33600.00 | 500.00 | 30000.00 | 30000.00 | JAGPAL SINGH
11.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge :Pre-laminated particle board with decorative lamination on both sides | 10.00 | Sqm | 1115.40 | 650.00 | 6500.00 | 700.00 | 7000.00 | 6500.00 | M/S MOHMMED AKHLAK
12.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 8 mm thickness (weight not less than 20 kg/sqm) | 26.00 | Sqm | 1685.40 | 900.00 | 23400.00 | 1300.00 | 33800.00 | 23400.00 | M/S MOHMMED AKHLAK
13.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 1.00 | Each | 983.15 | 800.00 | 800.00 | 700.00 | 700.00 | 700.00 | JAGPAL SINGH
14.00 | Providing and fixing aluminium tower bolts, ISI marked, Powder coated,required colour or shade, with necessary screws etc. complete : 200x10 mm. | 3.00 | Each | 99.70 | 100.00 | 300.00 | 30.00 | 90.00 | 90.00 | JAGPAL SINGH
15.00 | Providing and fixing aluminium sliding door bolts, ISI marked, Powder coated , required colour or shade, with nuts and screws etc. complete : 250x16 mm | 4.00 | Each | 260.60 | 150.00 | 600.00 | 50.00 | 200.00 | 200.00 | JAGPAL SINGH
16.00 | Providing and fixing aluminium handles, ISI marked, Powder coated, with necessary screws etc. complete : 125 mm | 4.00 | Each | 66.25 | 150.00 | 600.00 | 50.00 | 200.00 | 200.00 | JAGPAL SINGH
17.00 | Wiring for light Point /fan point /exhaust fan /call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit with modular switch of Legrand Myrius/ Havells crabtree Athena make ISI marked, modular plate suitable G.I Box and earthing the point with 1.5 sq mm FRLS PVC insulated copper conductor single core cable Havell’s/ Finolex/Polycab/ KEI make including ceiling rose,etc as required. Group C | 5.00 | Point | 2101.00 | 1200.00 | 6000.00 | 800.00 | 4000.00 | 4000.00 | JAGPAL SINGH
18.00 | Wiring for circuit /sub-main wiring along with earthwire with the following size of FRLS PVC Insulated copper conductor single core cable of Havell’s/ Finolex / Polycab make ISI Marked in surface/ recessed steel conduit as required
18.10 | 2x2.5 Sq mm + 1x2.5 Sq mm earth wire | 30.00 | Meter | 414.00 | 280.00 | 8400.00 | 300.00 | 9000.00 | 8400.00 | M/S MOHMMED AKHLAK
18.20 | 2 x 4 sq mm + 1 x 4 sq mm earth wire | 110.00 | Meter | 476.00 | 380.00 | 41800.00 | 400.00 | 44000.00 | 41800.00 | M/S MOHMMED AKHLAK
18.30 | 2 x 6 sq mm + 1 x 6 sq mm earth wire | 20.00 | Meter | 652.00 | 480.00 | 9600.00 | 400.00 | 8000.00 | 8000.00 | JAGPAL SINGH
19.00 | Supplying & Fixing of modular blanking plate on the existing modular plate & switch box excluding modular plate. As required. | 5.00 | Each | 47.00 | 20.00 | 100.00 | 10.00 | 50.00 | 50.00 | JAGPAL SINGH
20.00 | Supplying & Fixing Suitable size GI box with modular plate and cover in front on surface or in recess , including providing & Fixing 3pin 5/6 A modular socket outlet and 5/6 AmModular switch of ISI marked , connections etc as required. | 3.00 | Each | 545.00 | 450.00 | 1350.00 | 20.00 | 60.00 | 60.00 | JAGPAL SINGH
21.00 | Supplying & Fixing Suitable size GI box with modular plate and cover in front on surface or in recess , including providing & Fixing 6pin 5/6 and 15/16 A modular socket outlet and 15/16A modular switch of ISI marked , connections etc as required. | 6.00 | Each | 659.00 | 550.00 | 3300.00 | 30.00 | 180.00 | 180.00 | JAGPAL SINGH
22.00 | Supplying and fixing 5A to 32A rating, 240V/415V , 10kA,"C" curve , miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
22.10 | 32A SP MCB | 6.00 | Each | 285.00 | 210.00 | 1260.00 | 1500.00 | 9000.00 | 1260.00 | M/S MOHMMED AKHLAK
23.00 | Supplying and fixing 8 way,Double Door single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Each | 2773.00 | 1950.00 | 1950.00 | 500.00 | 500.00 | 500.00 | JAGPAL SINGH
24.00 | Supplying and fixing of Wall Mounted Fan 400mm sweep for Orient/ Havells/ Bajaj/ Philips or its equivalent make. | 3.00 | Each | 2400.00 | 2800.00 | 8400.00 | 2500.00 | 7500.00 | 7500.00 | JAGPAL SINGH
25.00 | Supplying and fixing of 30W LED batten square light of Havells/ Orient/ Philips or its equivalent make. | 3.00 | Each | 484.00 | 400.00 | 1200.00 | 300.00 | 900.00 | 900.00 | JAGPAL SINGH
26.00 | Supplying and fixing 32 A, 240 V, SPN Industrial typesocket outlet, with 2 pole and earth, metal enclosedplug top along with 32 A "C" curve, SP, MCB, in sheetsteel enclosure, on surface or in recess, with chainedmetal cover for the socket out let and complete withconnections, testing and commissioning etc. as required. | 2.00 | Each | 1806.00 | 900.00 | 1800.00 | 1500.00 | 3000.00 | 1800.00 | M/S MOHMMED AKHLAK
27.00 | Supplying & Fixing of 230mm sweep double ball bearing type metal body four blade Exhaust Fan make of Havells/ Crompton / Bajaj / Orient or its equivalent in all respect as required and directed by engineer incharge | 1.00 | Each | 2310.00 | 4500.00 | 4500.00 | 2500.00 | 2500.00 | 2500.00 | JAGPAL SINGH
28.00 | Supplying and fixing 63A, double pole, 240 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each | 569.00 | 900.00 | 900.00 | 500.00 | 500.00 | 500.00 | JAGPAL SINGH
29.00 | Supplying , Installation, Testing and Commissioning of Air Cooled Hi Wall split type Air conditioners complete with Indoor unit(IDU), Out door unit (ODU), surface / concealed copper Refrigerant piping with insulation (closed cell elastomeric nitrile rubber tubular pipe section) upto 3 Mtr (IDU to ODU), copper power cable upto 3.5 Mtr (IDU to ODU) i/c drain pipe R-32/R-410/ R-407 Green Refrigerant, wireless Remote control, suitable for working between 180- 260V with low & high voltage cutoff and 50 hz ,1 phase AC supply capable of performing cooling, dehumidification, air circulation of following capacity with Scroll / rotary compressor. The system shall be able to deliver 100% of the rated capacity upto 42 0C. Min 5 year Original Equipment Manufacturer (OEM) warranty both compressor and Printed Circuit Board (PCB). Must comply : Electrical cable IS 694 or IS 9968 temperature sensingcontrol IS/ International Electro technical Commission (IEC) 60730, hermetic compressor IS 10617, heat exchanger IS 11329, capacitor IS 2993 and motor IS 12615. Complete as per CPWD specification and IS : 1391 Part II 2023. The system shall be able to operate up to 50 0C (out door ambient temperature)with wall mounted stabilizer of 130-280V Input & Output 210-230 range of capacity 5KVA or Sutaible Upto 2T AC:-Inverter Type Cooling Only(make LG/ Voltas/ Samsaung/Hitachi ot its equivalent) 1.5 TR with 5 Star BEE Rating | 2.00 | Each | 43539.00 | 62000.00 | 124000.00 | 50000.00 | 100000.00 | 100000.00 | JAGPAL SINGH
| Total in Figures |  |  |  |  | 600230.00 |  | 569685.00
Lowest Amount Quoted BY: JAGPAL SINGH(569685.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation works at Fire Research Lab in the CBRI Institute Tender ID: 2026_CSIR_291779_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAGPAL SINGH (BID ID -1073191) | 569685.00 | L1
| 2 | M/S MOHMMED AKHLAK (BID ID -1074670) | 600230.00 | L2