## BoQ1
Government eProcurement System Created By: Mahendra Kumar Sahoo Created Date/Time: 21-Oct-2026 04:06 PM Tender Title: Day to day maintenance and making habitable of Staff qtrs. for FY 2026-27 at CSIR-IMMT, Bhubaneswar Tender ID: 2026_CSIR_292447_1
Tender Inviting Authority: CSIR-IMMT, Bhubaneswar-13
Name of Work: Day to day maintenance & making habitable of Staff qtrs. for FY 2026-27 at CSIR-IMMT, Bhubaneswar
NIT No:10/2026-27/ESD(Civil)/IMMT/BBSR
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SASANKA SEKHAR SAMANTASINGHAR (GSTN-21AGAPS4652G1ZN) BID ID -1077062 |  | Greenwey Creation Pvt Ltd (GSTN-NA) BID ID -1076884
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil at IMMT dumping yard .All kinds of soil. | 25.00 | Cum | 1.00 | 200.00 | 5000.00 | 217.00 | 5425.00 | 5000.00 | SASANKA SEKHAR SAMANTASINGHAR
2.00 | Supplying and filling in plinth with sand under floors,includingwatering,ramming, consolidating and dressing complete. | 5.00 | Cum | 2.00 | 1700.00 | 8500.00 | 950.00 | 4750.00 | 4750.00 | Greenwey Creation Pvt Ltd
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering;1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 15.00 | Cum | 3.00 | 6400.00 | 96000.00 | 4800.00 | 72000.00 | 72000.00 | Greenwey Creation Pvt Ltd
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering1:4:8 (1 Cement : 4 coarse sand (zone-III)derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 5.00 | Cum | 4.00 | 5500.00 | 27500.00 | 4456.00 | 22280.00 | 22280.00 | Greenwey Creation Pvt Ltd
5.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering,shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III)derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 1.00 | Cum | 5.00 | 9500.00 | 9500.00 | 6700.00 | 6700.00 | 6700.00 | Greenwey Creation Pvt Ltd
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Suspended floors, roofs, landings, balconies and access platform. | 10.00 | Sqm | 6.00 | 750.00 | 7500.00 | 350.00 | 3500.00 | 3500.00 | Greenwey Creation Pvt Ltd
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete above plinth level.Therrmo-Mechanically Treated bars of grade Fe-500D or more | 100.00 | Kg | 7.00 | 88.00 | 8800.00 | 89.00 | 8900.00 | 8800.00 | SASANKA SEKHAR SAMANTASINGHAR
8.00 | Brick work with non modular fly ash bricks conforming to IS:12894,class designation 7.5 average compressive strength in super structure above plinth level up to floor V level in :Cement mortar 1:6 (1 cement : 6 Coarse sand) | 10.00 | Cum | 8.00 | 7200.00 | 72000.00 | 5234.00 | 52340.00 | 52340.00 | Greenwey Creation Pvt Ltd
9.00 | Half brick masonry with non modular fly ash bricks of class designation 7.5, conformingio IS :12894, in super structure above plinth and upto floor V level.Cement mortar 1 : 4 (1 cement : 4 coarse sand) | 30.00 | Sqm | 9.00 | 800.00 | 24000.00 | 826.75 | 24802.50 | 24000.00 | SASANKA SEKHAR SAMANTASINGHAR
10.00 | Providing and fixing 16 mm thick gang saw cut,mirrorpolished,premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.Granite stone slab of Lakha red.Area of slab upto 0.50 sqm | 30.00 | Sqm | 10.00 | 4700.00 | 141000.00 | 4978.00 | 149340.00 | 141000.00 | SASANKA SEKHAR SAMANTASINGHAR
11.00 | Providing and fixing Ist quality ceramic glazed wall tiles of 300x600mm size or more conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm,including pointing in white cement mixed with pigment of matching shade complete. | 300.00 | Sqm | 11.00 | 1100.00 | 330000.00 | 1055.00 | 316500.00 | 316500.00 | Greenwey Creation Pvt Ltd
12.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Sal wood | 1.00 | Cum | 12.00 | 107198.40 | 107198.40 | 98750.00 | 98750.00 | 98750.00 | Greenwey Creation Pvt Ltd
13.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part -I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 70.00 | Sqm | 13.00 | 1900.00 | 133000.00 | 1870.00 | 130900.00 | 130900.00 | Greenwey Creation Pvt Ltd
14.00 | Providing and fixing nickel plated M.S. pipe curtain rods with nickel plated brackets :25 mm dia (heavy type) | 400.00 | Mtr | 14.00 | 160.00 | 64000.00 | 177.00 | 70800.00 | 64000.00 | SASANKA SEKHAR SAMANTASINGHAR
15.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.Fixed to openings /wooden frames with rawl plugs screws etc. | 500.00 | Kg | 15.00 | 210.00 | 105000.00 | 165.00 | 82500.00 | 82500.00 | Greenwey Creation Pvt Ltd
16.00 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 30.00 | Each | 16.00 | 190.00 | 5700.00 | 198.00 | 5940.00 | 5700.00 | SASANKA SEKHAR SAMANTASINGHAR
17.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws etc complete. | 20.00 | Each | 17.00 | 110.00 | 2200.00 | 88.00 | 1760.00 | 1760.00 | Greenwey Creation Pvt Ltd
18.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :300x16 mm | 50.00 | Each | 18.00 | 280.00 | 14000.00 | 263.00 | 13150.00 | 13150.00 | Greenwey Creation Pvt Ltd
19.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :150x10 mm | 200.00 | Each | 19.00 | 75.00 | 15000.00 | 52.55 | 10510.00 | 10510.00 | Greenwey Creation Pvt Ltd
20.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :100 mm | 200.00 | Each | 20.00 | 50.00 | 10000.00 | 59.55 | 11910.00 | 10000.00 | SASANKA SEKHAR SAMANTASINGHAR
21.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.Twin rubber stopper | 50.00 | Each | 21.00 | 65.00 | 3250.00 | 72.35 | 3617.50 | 3250.00 | SASANKA SEKHAR SAMANTASINGHAR
22.00 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with awall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineerin-Charge. | 30.00 | Mtr | 22.00 | 430.00 | 12900.00 | 492.70 | 14781.00 | 12900.00 | SASANKA SEKHAR SAMANTASINGHAR
23.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture.M.S. frame covered with 5 mm thick heat moulded PVC 'C' channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top,bottom and lock rails shall be provided both side of the panel. 10 mm (5mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm(5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C'Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer's specification & drawing.30 mm thick plain PVC door shutters. | 15.00 | Sqm | 23.00 | 2700.00 | 40500.00 | 2250.00 | 33750.00 | 33750.00 | Greenwey Creation Pvt Ltd
24.00 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm complete.With local hard wood beading 62X19 mm. | 20.00 | Sqm | 24.00 | 1400.00 | 28000.00 | 1087.00 | 21740.00 | 21740.00 | Greenwey Creation Pvt Ltd
25.00 | Providing and fixing fly proof stainless steel grade 304 wire gauge,to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. With 12 mm aluminium U beading. | 40.00 | Sqm | 25.00 | 1100.00 | 44000.00 | 1087.00 | 43480.00 | 43480.00 | Greenwey Creation Pvt Ltd
26.00 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including pointing the joints with white cement and matching pigments etc., complete. | 60.00 | Sqm | 26.00 | 1200.00 | 72000.00 | 1094.00 | 65640.00 | 65640.00 | Greenwey Creation Pvt Ltd
27.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Double charge vitrified tile polished finish of size. Size of Tile 600 x 600 mm | 400.00 | Sqm | 27.00 | 1200.00 | 480000.00 | 1087.00 | 434800.00 | 434800.00 | Greenwey Creation Pvt Ltd
28.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water/waste water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i)Single socketed pipes.110 mm diameter | 180.00 | Mtr | 28.00 | 350.00 | 63000.00 | 377.65 | 67977.00 | 63000.00 | SASANKA SEKHAR SAMANTASINGHAR
29.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.Single tee with door.110x110x110 mm | 30.00 | Each | 29.00 | 210.00 | 6300.00 | 234.15 | 7024.50 | 6300.00 | SASANKA SEKHAR SAMANTASINGHAR
30.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.110mm bend | 80.00 | Each | 30.00 | 130.00 | 10400.00 | 150.35 | 12028.00 | 10400.00 | SASANKA SEKHAR SAMANTASINGHAR
31.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete.110 mm | 50.00 | Each | 31.00 | 340.00 | 17000.00 | 278.30 | 13915.00 | 13915.00 | Greenwey Creation Pvt Ltd
32.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 300.00 | Sqm | 32.00 | 280.00 | 84000.00 | 277.00 | 83100.00 | 83100.00 | Greenwey Creation Pvt Ltd
33.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix :1:6 (1 cement: 6 fine sand) | 1000.00 | Sqm | 33.00 | 320.00 | 320000.00 | 265.00 | 265000.00 | 265000.00 | Greenwey Creation Pvt Ltd
34.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 150.00 | Sqm | 34.00 | 250.00 | 37500.00 | 224.80 | 33720.00 | 33720.00 | Greenwey Creation Pvt Ltd
35.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 2500.00 | Sqm | 35.00 | 150.00 | 375000.00 | 129.00 | 322500.00 | 322500.00 | Greenwey Creation Pvt Ltd
36.00 | Finishing walls with Acrylic Smooth exterior paint (Apex of Asian paint or equivalent )of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied@ 2.20 kg/10 sqm). | 500.00 | Sqm | 36.00 | 130.00 | 65000.00 | 156.00 | 78000.00 | 65000.00 | SASANKA SEKHAR SAMANTASINGHAR
37.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work (Asian paint or equivalent ) | 40.00 | Sqm | 37.00 | 130.20 | 5208.00 | 147.00 | 5880.00 | 5208.00 | SASANKA SEKHAR SAMANTASINGHAR
38.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture.( Asian paint or equivalent ) | 150.00 | Sqm | 38.00 | 180.00 | 27000.00 | 180.25 | 27037.50 | 27000.00 | SASANKA SEKHAR SAMANTASINGHAR
39.00 | Providing and applying white cement based putty (Birla, JK or eqivalent) of average thickness 1mm, of approved brand and manufacture, over the plastered wall surface to prepare the surface even and smooth complete. | 300.00 | Sqm | 39.00 | 130.00 | 39000.00 | 126.05 | 37815.00 | 37815.00 | Greenwey Creation Pvt Ltd
40.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC (Volatile Organic Compound ) content less than 50 gram/ litre, of approved brand and manufacturer including applying additional coats wherever required to achieve even shade and colour : Old work (One or more coats, Asian paint or equivalent ) | 10000.00 | Sqm | 40.00 | 50.00 | 500000.00 | 77.00 | 770000.00 | 500000.00 | SASANKA SEKHAR SAMANTASINGHAR
41.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour.One coat (Asian paint or equivalent). | 1000.00 | Sqm | 41.00 | 75.00 | 75000.00 | 77.00 | 77000.00 | 75000.00 | SASANKA SEKHAR SAMANTASINGHAR
42.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content.With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre.( Asian paint or equivalent ) | 1500.00 | Sqm | 42.00 | 60.00 | 90000.00 | 54.25 | 81375.00 | 81375.00 | Greenwey Creation Pvt Ltd
43.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 500.00 | Sqm | 43.00 | 20.00 | 10000.00 | 25.15 | 12575.00 | 10000.00 | SASANKA SEKHAR SAMANTASINGHAR
44.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work.( Asian paint or equivalent ) | 2500.00 | Sqm | 44.00 | 80.00 | 200000.00 | 68.00 | 170000.00 | 170000.00 | Greenwey Creation Pvt Ltd
45.00 | French spirit polishing : One or more coats on old work | 50.00 | Sqm | 45.00 | 170.00 | 8500.00 | 142.45 | 7122.50 | 7122.50 | Greenwey Creation Pvt Ltd
46.00 | Finishing walls with Acrylic Smooth exterior paint (Apex of Asian paint or equivalent) of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface. | 5000.00 | Sqm | 46.00 | 100.80 | 504000.00 | 84.00 | 420000.00 | 420000.00 | Greenwey Creation Pvt Ltd
47.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape,raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, allcomplete as per direction of Engineer-in-Charge.With cement mortar 1:4 (1 cement : 4 fine sand) | 100.00 | Sqm | 47.00 | 460.00 | 46000.00 | 357.00 | 35700.00 | 35700.00 | Greenwey Creation Pvt Ltd
48.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in Charge. | 20.00 | Each | 48.00 | 110.00 | 2200.00 | 142.65 | 2853.00 | 2200.00 | SASANKA SEKHAR SAMANTASINGHAR
49.00 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 500.00 | Sqm | 49.00 | 2.52 | 1260.00 | 24.22 | 12110.00 | 1260.00 | SASANKA SEKHAR SAMANTASINGHAR
50.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within IMMT dump yard as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix). | 8.00 | Cum | 50.00 | 2000.00 | 16000.00 | 2130.00 | 17040.00 | 16000.00 | SASANKA SEKHAR SAMANTASINGHAR
51.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within IMMT dump yard as per direction of Engineer - in- charge. | 3.00 | Cum | 51.00 | 2900.00 | 8700.00 | 2879.00 | 8637.00 | 8637.00 | Greenwey Creation Pvt Ltd
52.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within IMMT dump yard as per direction of Engineer-in-charge.In cement mortar | 5.00 | Cum | 52.00 | 1700.00 | 8500.00 | 1863.20 | 9316.00 | 8500.00 | SASANKA SEKHAR SAMANTASINGHAR
53.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within IMMT store yard :Of area 3 sq. metres and below. | 100.00 | Each | 53.00 | 300.00 | 30000.00 | 245.00 | 24500.00 | 24500.00 | Greenwey Creation Pvt Ltd
54.00 | Dismantling tile work in floors ,walls and roofs laid in cement mortar including stacking material within IMMT dumping yard. For thickness of tiles 10 mm to 25 mm. | 300.00 | Sqm | 54.00 | 60.00 | 18000.00 | 100.65 | 30195.00 | 18000.00 | SASANKA SEKHAR SAMANTASINGHAR
55.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within IMMT dump yard. | 1500.00 | Sqm | 55.00 | 40.00 | 60000.00 | 38.90 | 58350.00 | 58350.00 | Greenwey Creation Pvt Ltd
56.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading,transporting, unloading within IMMT dump yard. or as directed by Engineer-in-charge for all leads including all lifts involved. | 50.00 | Cum | 56.00 | 215.00 | 10750.00 | 225.00 | 11250.00 | 10750.00 | SASANKA SEKHAR SAMANTASINGHAR
57.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests. | 5.00 | Each | 57.00 | 6220.00 | 31100.00 | 5679.00 | 28395.00 | 28395.00 | Greenwey Creation Pvt Ltd
58.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid. | 10.00 | Each | 58.00 | 5990.00 | 59900.00 | 6589.00 | 65890.00 | 59900.00 | SASANKA SEKHAR SAMANTASINGHAR
59.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Flat back wash basin size 550x400 mm with single 15 mm C.P. brass pillar tap. | 10.00 | Each | 59.00 | 1700.00 | 17000.00 | 2967.00 | 29670.00 | 17000.00 | SASANKA SEKHAR SAMANTASINGHAR
60.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm,including painting of fittings and brackets, cutting and making good the walls wherever required :Kitchen sink without drain board.610x460 mm bowl depth 200 mm. | 10.00 | Each | 60.00 | 3560.00 | 35600.00 | 2845.00 | 28450.00 | 28450.00 | Greenwey Creation Pvt Ltd
61.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.Flexible pipe. 32 mm dia | 20.00 | Each | 61.00 | 109.48 | 2189.60 | 171.35 | 3427.00 | 2189.60 | SASANKA SEKHAR SAMANTASINGHAR
62.00 | Providing and fixing 100 mm C.P grating circular type of hole or without hole. | 40.00 | Each | 62.00 | 48.76 | 1950.40 | 191.45 | 7658.00 | 1950.40 | SASANKA SEKHAR SAMANTASINGHAR
63.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing :Rectangular shape 453x357 mm. | 5.00 | Each | 63.00 | 1224.90 | 6124.50 | 568.25 | 2841.25 | 2841.25 | Greenwey Creation Pvt Ltd
64.00 | Providing and fixing 600x120x5 mm glass shelf with edges round off, supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete. | 5.00 | Each | 64.00 | 974.70 | 4873.50 | 531.25 | 2656.25 | 2656.25 | Greenwey Creation Pvt Ltd
65.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls etc.20 mm nominal outer dia Pipes. | 60.00 | Mtr | 65.00 | 494.04 | 29642.40 | 374.00 | 22440.00 | 22440.00 | Greenwey Creation Pvt Ltd
66.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.External work.25 mm nominal dia Pipes | 80.00 | Mtr | 66.00 | 326.60 | 26128.00 | 369.80 | 29584.00 | 26128.00 | SASANKA SEKHAR SAMANTASINGHAR
67.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :25 mm nominal bore | 10.00 | Each | 67.00 | 440.80 | 4408.00 | 1019.20 | 10192.00 | 4408.00 | SASANKA SEKHAR SAMANTASINGHAR
68.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :45 cm length.15 mm nominal bore | 30.00 | Each | 68.00 | 91.18 | 2735.40 | 111.25 | 3337.50 | 2735.40 | SASANKA SEKHAR SAMANTASINGHAR
69.00 | Providing and fixing C.P. brass shower rose with arm 15 or 20 mm inlet :100 mm diameter | 10.00 | Each | 69.00 | 177.56 | 1775.60 | 193.95 | 1939.50 | 1775.60 | SASANKA SEKHAR SAMANTASINGHAR
70.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.15 mm nominal bore | 40.00 | Each | 70.00 | 750.12 | 30004.80 | 615.45 | 24618.00 | 24618.00 | Greenwey Creation Pvt Ltd
71.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.15 mm nominal bore | 10.00 | Each | 71.00 | 629.80 | 6298.00 | 591.50 | 5915.00 | 5915.00 | Greenwey Creation Pvt Ltd
72.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931:15mm nominal bore | 40.00 | Each | 72.00 | 539.56 | 21582.40 | 472.70 | 18908.00 | 18908.00 | Greenwey Creation Pvt Ltd
73.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P.brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately).Powder coated aluminium (minimum thickness of powder coating 50 micron).Hindalco,Jindal or equivalent make. | 600.00 | Kg | 73.00 | 602.30 | 361380.00 | 448.00 | 268800.00 | 268800.00 | Greenwey Creation Pvt Ltd
74.00 | Providing and fixing glazing in aluminium door,window,ventilator shutters and partitionsetc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With pin headed black glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm). | 50.00 | Sqm | 74.00 | 1414.70 | 70735.00 | 1116.45 | 55822.50 | 55822.50 | Greenwey Creation Pvt Ltd
75.00 | Grading roof for water proofing treatment with Cement mortar 1:4 (1cement : 4 coarse sand) | 20.00 | Cum | 75.00 | 13033.30 | 260666.00 | 5227.20 | 104544.00 | 104544.00 | Greenwey Creation Pvt Ltd
76.00 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out afterscrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineerin-harge. | 500.00 | Sqm | 76.00 | 484.18 | 242090.00 | 474.00 | 237000.00 | 237000.00 | Greenwey Creation Pvt Ltd
77.00 | Not providing and fixing IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. complete :(Minus item) | 100.00 | Each | 77.00 | 94.16 | 9416.00 | 104.65 | 10465.00 | 9416.00 | SASANKA SEKHAR SAMANTASINGHAR
78.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. 110mm P-trap | 20.00 | Each | 78.00 | 375.82 | 7516.40 | 456.25 | 9125.00 | 7516.40 | SASANKA SEKHAR SAMANTASINGHAR
79.00 | Providing and fixing 16 mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters and similar locations of required size of approved shade, colour and texture including rubbing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. Granite stone slab of colour Lakha red. Area of slab over 0.5 sqm | 30.00 | Sqm | 79.00 | 4158.70 | 124761.00 | 4774.15 | 143224.50 | 124761.00 | SASANKA SEKHAR SAMANTASINGHAR
80.00 | Provinding and fixing 2-way angle stop cock of approved make including all fitting and fixures complete. as per the direction of EIC. | 15.00 | Nos | 80.00 | 1011.08 | 15166.20 | 908.20 | 13623.00 | 13623.00 | Greenwey Creation Pvt Ltd
81.00 | Provinding and fixing health faucet of approved make including all fitting and fixures complete as per the direction of EIC | 15.00 | Nos | 81.00 | 1125.16 | 16877.40 | 877.35 | 13160.25 | 13160.25 | Greenwey Creation Pvt Ltd
| Total in Figures |  |  |  |  | 5894787.00 |  | 5554272.25
Lowest Amount Quoted BY: Greenwey Creation Pvt Ltd(5554272.25)

## BOQ Summary
BOQ Summary Details Tender Title: Day to day maintenance and making habitable of Staff qtrs. for FY 2026-27 at CSIR-IMMT, Bhubaneswar Tender ID: 2026_CSIR_292447_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Greenwey Creation Pvt Ltd (BID ID -1076884) | 5554272.25 | L1
| 2 | SASANKA SEKHAR SAMANTASINGHAR (BID ID -1077062) | 5894787.00 | L2