## BoQ1
Government eProcurement System Created By: Dipti Ranjan Nayak Created Date/Time: 15-Oct-2026 05:17 PM Tender Title: Repairing, renovating of lab premises including civil work for installation of equipments and sitting room of Scientist and staffs and other miscellaneous civil work at CSIR-IMMT, Bhubaneswar (FY 2026-27) Tender ID: 2026_CSIR_292500_1
Tender Inviting Authority: CSIR-IMMT, Bhubaneswar-13
Name of Work: Repairing , renovating of lab premises including civil work for installation of equipments & sitting room of Scientist and staffs & other miscallaneous civil work at CSIR- IMMT, Bhubaneswar (FY-2026-27)
NIT No: 09/2026-27/ESD(Civil)/IMMT/BBSR
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Greenwey Creation Pvt Ltd (GSTN-NA) BID ID -1076883 |  | SACHIDANANDA JENA (GSTN-NA) BID ID -1077155 |  | SWADHIN JENA (GSTN-NA) BID ID -1077188
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed,at CSIR-IMMT dumping yard.All kinds of soil. | 60.00 | Cum | 1.00 | 242.00 | 14520.00 | 205.00 | 12300.00 | 200.00 | 12000.00 | 12000.00 | SWADHIN JENA
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 20.00 | Cum | 2.00 | 4800.00 | 96000.00 | 6050.00 | 121000.00 | 6000.00 | 120000.00 | 96000.00 | Greenwey Creation Pvt Ltd
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 20.00 | Cum | 3.00 | 4500.00 | 90000.00 | 5050.00 | 101000.00 | 5000.00 | 100000.00 | 90000.00 | Greenwey Creation Pvt Ltd
4.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 10.00 | Cum | 4.00 | 6700.00 | 67000.00 | 6550.00 | 65500.00 | 6500.00 | 65000.00 | 65000.00 | SWADHIN JENA
5.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 10.00 | Cum | 5.00 | 7500.00 | 75000.00 | 6550.00 | 65500.00 | 6500.00 | 65000.00 | 65000.00 | SWADHIN JENA
6.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 15.00 | Cum | 6.00 | 6800.00 | 102000.00 | 7050.00 | 105750.00 | 7000.00 | 105000.00 | 102000.00 | Greenwey Creation Pvt Ltd
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 10.00 | Sqm | 7.00 | 238.00 | 2380.00 | 310.00 | 3100.00 | 300.00 | 3000.00 | 2380.00 | Greenwey Creation Pvt Ltd
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 50.00 | Sqm | 8.00 | 340.00 | 17000.00 | 305.00 | 15250.00 | 300.00 | 15000.00 | 15000.00 | SWADHIN JENA
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floor s,roof,landing ,balconies and access platform | 100.00 | Sqm | 9.00 | 400.00 | 40000.00 | 310.00 | 31000.00 | 300.00 | 30000.00 | 30000.00 | SWADHIN JENA
10.00 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all completeThermo-Mechanically Treated bars | 500.00 | Kg | 10.00 | 107.85 | 53925.00 | 90.00 | 45000.00 | 85.00 | 42500.00 | 42500.00 | SWADHIN JENA
11.00 | Half brick masonry with non modular fly ash bricks of class designation 7.5 conformingio IS :12894, in in foundation and plinth in : cement mortar 1:4 (1 cement:4 coarse sand ) | 100.00 | Sqm | 11.00 | 787.00 | 78700.00 | 855.00 | 85500.00 | 850.00 | 85000.00 | 78700.00 | Greenwey Creation Pvt Ltd
12.00 | Half brick masonry with non modular fly ash bricks of class designation 7.5, conformingio IS :12894, in super structure above plinth and upto floor V level. Cement mortar 1 : 4 (1 cement : 4 coarse sand) | 100.00 | Sqm | 12.00 | 785.00 | 78500.00 | 855.00 | 85500.00 | 850.00 | 85000.00 | 78500.00 | Greenwey Creation Pvt Ltd
13.00 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 7.5 average compressive strength in foundation and plinth in: :Cement mortar 1:6 (1 cement : 6 coarse sand) | 25.00 | Cum | 13.00 | 4700.00 | 117500.00 | 5520.00 | 138000.00 | 5500.00 | 137500.00 | 117500.00 | Greenwey Creation Pvt Ltd
14.00 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 7.5 average compressive strength in super structure above plinth level up to floor V level in :Cement mortar 1:6 (1 cement : 6 Coarse sand) | 20.00 | Cum | 14.00 | 4700.00 | 94000.00 | 5520.00 | 110400.00 | 5500.00 | 110000.00 | 94000.00 | Greenwey Creation Pvt Ltd
15.00 | Providing and fixing 16 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour /lakha red Area of slab over 0.50 sqm | 100.00 | Sqm | 15.00 | 3350.00 | 335000.00 | 3860.00 | 386000.00 | 3850.00 | 385000.00 | 335000.00 | Greenwey Creation Pvt Ltd
16.00 | Providing and fixing 16 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid without cement mortar moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, /lakha red Area of slab over 0.50 sqm | 20.00 | Sqm | 16.00 | 3100.00 | 62000.00 | 3510.00 | 70200.00 | 3500.00 | 70000.00 | 62000.00 | Greenwey Creation Pvt Ltd
17.00 | Providing and fixing glazed vitrified tiles (600X1200 mm)conforming to IS : 15622 (thickness to be specified by the manufacturer) of approved make in all colours, as approved by Eningeer-in-Charge in walls skirting, risers of steps and dados over 12 mm thick bed of Cement Mortar 1:3 (1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. (Somany/Johnshon/Kajaria) | 50.00 | Sqm | 17.00 | 1282.00 | 64100.00 | 1320.00 | 66000.00 | 1300.00 | 65000.00 | 64100.00 | Greenwey Creation Pvt Ltd
18.00 | Providing and laying glazed Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry@3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.Glazed Vitrified tiles polished finish of Size of Tile 600 x 1200 mm (Somany/Johnshon/Kajaria) | 100.00 | Sqm | 18.00 | 1225.00 | 122500.00 | 1320.00 | 132000.00 | 1300.00 | 130000.00 | 122500.00 | Greenwey Creation Pvt Ltd
19.00 | Providing and laying Ceramic glazed floor tiles of size 395x395 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (Somany/Johnshon/Kajaria) | 50.00 | Sqm | 19.00 | 1350.00 | 67500.00 | 855.00 | 42750.00 | 850.00 | 42500.00 | 42500.00 | SWADHIN JENA
20.00 | Providing and laying vitrified floor tiles(Double charge) in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm(Somany/Johnshon/Kajaria) | 250.00 | Sqm | 20.00 | 1250.00 | 312500.00 | 1110.00 | 277500.00 | 1100.00 | 275000.00 | 275000.00 | SWADHIN JENA
21.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand).Dark shade pigment using ordinary cement (GICO/Ultra) | 100.00 | Sqm | 21.00 | 750.00 | 75000.00 | 855.00 | 85500.00 | 850.00 | 85000.00 | 75000.00 | Greenwey Creation Pvt Ltd
22.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.40 mm thick with 20 mm nominal size stone aggregate | 5.00 | Sqm | 22.00 | 530.00 | 2650.00 | 500.00 | 2500.00 | 490.00 | 2450.00 | 2450.00 | SWADHIN JENA
23.00 | 12 mm cement plaster of mix :1:6 (1 cement : 6 coarse sand) | 300.00 | Sqm | 23.00 | 240.00 | 72000.00 | 230.00 | 69000.00 | 220.00 | 66000.00 | 66000.00 | SWADHIN JENA
24.00 | 15 mm cement plaster on rough side of single or half brick wall of mix1:6 (1 cement : 6 coarse sand) | 300.00 | Sqm | 24.00 | 285.00 | 85500.00 | 320.00 | 96000.00 | 310.00 | 93000.00 | 85500.00 | Greenwey Creation Pvt Ltd
25.00 | 6mm cement plaster to ceiling of mix: 1:3 (1 cement : 3 fine sand) | 100.00 | Sqm | 25.00 | 235.00 | 23500.00 | 250.00 | 25000.00 | 240.00 | 24000.00 | 23500.00 | Greenwey Creation Pvt Ltd
26.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix : 1:4 (1 cement: 4 fine sand) | 20.00 | Sqm | 26.00 | 245.00 | 4900.00 | 330.00 | 6600.00 | 320.00 | 6400.00 | 4900.00 | Greenwey Creation Pvt Ltd
27.00 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : 1:4 (1 cement: 4 fine sand) | 20.00 | Sqm | 27.00 | 275.00 | 5500.00 | 360.00 | 7200.00 | 350.00 | 7000.00 | 5500.00 | Greenwey Creation Pvt Ltd
28.00 | Finishing walls with Acrylic Smooth exterior paint of required shade (Apex,Asian paint):New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer(Smart care, Asian Paint) applied @ 2.20 kg/10 sqm) (Agency shall bring colour container at a time & make signature of EE (Civil),before start the work and keep the container till final bill is passed) | 4000.00 | Sqm | 28.00 | 137.00 | 548000.00 | 125.00 | 500000.00 | 120.00 | 480000.00 | 480000.00 | SWADHIN JENA
29.00 | Finishing walls with Acrylic Smooth exterior paint of required shade (Apex,Asian paint):Old work (One or more coat applied @ 0.90 ltr/10 sqm). (Agency shall bring colour container at a time & before start the work and keep the container till final bill is passed) | 2000.00 | Sqm | 29.00 | 80.00 | 160000.00 | 82.00 | 164000.00 | 80.00 | 160000.00 | 160000.00 | Greenwey Creation Pvt Ltd, SWADHIN JENA
30.00 | Painting with synthetic enamel paint of approved brand (Apcolite premium,Asian paint)and manufacture to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (Agency shall bring colour container at a time before start the work and keep the container till final bill is passed) | 200.00 | Sqm | 30.00 | 147.34 | 29468.00 | 125.00 | 25000.00 | 120.00 | 24000.00 | 24000.00 | SWADHIN JENA
31.00 | Painting with synthetic enamel paint of approved brand (Apcolite premium,Asian paint) and manufacture of required colour to give an even shade One or more coats on old work (Agency shall bring colour container at a time & make signature of EE (Civil),before start the work and keep the container till final bill is passed) | 300.00 | Sqm | 31.00 | 125.00 | 37500.00 | 85.00 | 25500.00 | 80.00 | 24000.00 | 24000.00 | SWADHIN JENA
32.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (Birla wallcare) | 500.00 | Sqm | 32.00 | 95.00 | 47500.00 | 120.00 | 60000.00 | 115.00 | 57500.00 | 47500.00 | Greenwey Creation Pvt Ltd
33.00 | Distempering with 1st quality acrylic distemper (Asian UNO) (ready mixed) of required shade and colour all complete to achieve even shade and colour :New work (two or more coats) over and including water thinnable priming coat with cement primer. | 500.00 | Sqm | 33.00 | 110.00 | 55000.00 | 105.00 | 52500.00 | 100.00 | 50000.00 | 50000.00 | SWADHIN JENA
34.00 | Distempering with 1st quality acrylic distemper (Asian UNO )(ready mixed) of approved brand and manufacturer including applying additional coats wherever required to achieve even shade and colour Old work (one or more coats) | 1500.00 | Sqm | 34.00 | 85.00 | 127500.00 | 65.00 | 97500.00 | 60.00 | 90000.00 | 90000.00 | SWADHIN JENA
35.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material at CSIR-IMMT dumping yard as per direction of Engineer - in - charge Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 15.00 | Cum | 35.00 | 900.00 | 13500.00 | 810.00 | 12150.00 | 800.00 | 12000.00 | 12000.00 | SWADHIN JENA
36.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material at CSIR- IMMT dumping yard as per direction of Engineer - in- charge | 10.00 | Cum | 36.00 | 2150.00 | 21500.00 | 1520.00 | 15200.00 | 1500.00 | 15000.00 | 15000.00 | SWADHIN JENA
37.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish at CSIR-IMMT dumping yard as per direction of the EIC | 300.00 | Sqm | 37.00 | 90.00 | 27000.00 | 45.00 | 13500.00 | 40.00 | 12000.00 | 12000.00 | SWADHIN JENA
38.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material at CSIR-IMMT dumping yard as per direction of Engineer-in-charge. In cement mortar as per direction of the EIC | 5.00 | Cum | 38.00 | 1300.00 | 6500.00 | 1260.00 | 6300.00 | 1250.00 | 6250.00 | 6250.00 | SWADHIN JENA
39.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking at CSIR -IMMT store yard :Of area 3 sq. metres and below as per direction of the EIC | 20.00 | Each | 39.00 | 300.00 | 6000.00 | 160.00 | 3200.00 | 150.00 | 3000.00 | 3000.00 | SWADHIN JENA
40.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material at CSIR-IMMT Dumping yard. For thickness of tiles 10 mm to 25 mm as per direction of the EIC | 300.00 | Sqm | 40.00 | 120.00 | 36000.00 | 65.00 | 19500.00 | 60.00 | 18000.00 | 18000.00 | SWADHIN JENA
41.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading as approved by Engineer-in-charge, at CSIR-IMMT dumping yard, for all leads including all lifts involved as per direction of the EIC. | 100.00 | Cum | 41.00 | 800.00 | 80000.00 | 155.00 | 15500.00 | 150.00 | 15000.00 | 15000.00 | SWADHIN JENA
42.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron (Hindalco make/Jindal) | 500.00 | Kg | 42.00 | 457.00 | 228500.00 | 630.00 | 315000.00 | 620.00 | 310000.00 | 228500.00 | Greenwey Creation Pvt Ltd
43.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately Powder coated aluminium (minimum thickness of powder coating 50 micron) (Hindalco make/Jindal) | 500.00 | Kg | 43.00 | 457.00 | 228500.00 | 630.00 | 315000.00 | 620.00 | 310000.00 | 228500.00 | Greenwey Creation Pvt Ltd
44.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 100.00 | Sqm | 44.00 | 1300.00 | 130000.00 | 1260.00 | 126000.00 | 1250.00 | 125000.00 | 125000.00 | SWADHIN JENA
45.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg),including filling / grouting and finishing complete as per direction of Engineer-in-charge.(latecrete/Johnson) | 150.00 | Sqm | 45.00 | 200.00 | 30000.00 | 150.00 | 22500.00 | 140.00 | 21000.00 | 21000.00 | SWADHIN JENA
46.00 | Deduct for not grouting the joints with white cement and matching pigment in the items of fixing of vitrified tiles. | 150.00 | Sqm | 46.00 | 40.00 | 6000.00 | 6.00 | 900.00 | 5.00 | 750.00 | 750.00 | SWADHIN JENA
47.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:30mm thick including ISI marked Stainless Steel butt hinges with necessary screws (Century/Green) | 16.00 | Sqm | 47.00 | 2950.00 | 47200.00 | 1760.00 | 28160.00 | 1750.00 | 28000.00 | 28000.00 | SWADHIN JENA
48.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (Century/Green) | 10.00 | Sqm | 48.00 | 3600.00 | 36000.00 | 2550.00 | 25500.00 | 2500.00 | 25000.00 | 25000.00 | SWADHIN JENA
49.00 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with awall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineerin-Charge. (Rajashree) | 20.00 | Mtr | 49.00 | 600.00 | 12000.00 | 410.00 | 8200.00 | 400.00 | 8000.00 | 8000.00 | SWADHIN JENA
50.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture. M.S. frame covered with 5 mm thick heat moulded PVC 'C' channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer's specification & drawing. 30 mm thick pre laminated PVC door shutters (Rajashree) | 10.00 | Sqm | 50.00 | 2900.00 | 29000.00 | 3050.00 | 30500.00 | 3000.00 | 30000.00 | 29000.00 | Greenwey Creation Pvt Ltd
51.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodiccoating not less than grade AC 10 as per IS : 1868 ) transparent or dyedto required colour or shade, with necessary screws etc. complete :150x10 mm | 15.00 | Each | 51.00 | 165.00 | 2475.00 | 70.00 | 1050.00 | 66.00 | 990.00 | 990.00 | SWADHIN JENA
52.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :250x16 mm | 15.00 | Each | 52.00 | 275.00 | 4125.00 | 205.00 | 3075.00 | 200.00 | 3000.00 | 3000.00 | SWADHIN JENA
53.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :100 mm | 30.00 | Each | 53.00 | 190.00 | 5700.00 | 55.00 | 1650.00 | 48.00 | 1440.00 | 1440.00 | SWADHIN JENA
54.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screwsetc. complete.Twin rubber stopper | 20.00 | Each | 54.00 | 170.00 | 3400.00 | 65.00 | 1300.00 | 60.00 | 1200.00 | 1200.00 | SWADHIN JENA
55.00 | Providing and fixing M.S. grills of required pattern with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete Fixed to openings with rawl plugs screws etc | 500.00 | Kg | 55.00 | 120.00 | 60000.00 | 195.00 | 97500.00 | 190.00 | 95000.00 | 60000.00 | Greenwey Creation Pvt Ltd
56.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/ opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/ mK. | 150.00 | Sqm | 56.00 | 1380.00 | 207000.00 | 1520.00 | 228000.00 | 1500.00 | 225000.00 | 207000.00 | Greenwey Creation Pvt Ltd
57.00 | Providing & fixing false ceiling at all height including providing & fixing of framework made of special section, power pressed from M.S. sheets and galvanised with zinc coating of 120 gms/ sqm (both side inclusive) as per IS : 277 and consisting of angle cleat of size 25mm wide x 1.6mm thick with flanges of 27mm and 37mm, at 1200mm c/c, one flange fixed to the ceiling with dash fastener 12.5mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25 x10 x0.50mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I chanels 45 x15 x 0.90mm running at the spacing of 1200 mm c/c, to which the ceiling section 0.5mm thick bottom wedge of 80mm with tapered flanges of 26 mm each having lips of 10.5mm, at 450mm c/c, shall be fixed in a direction perpendicular to G.I intermediate channel with connecting clip made out of 2.64mm dia x 230mm long G.I wire at every junction, including fixing perimeter channels 0.50mm thick 27mm high having flanges of 20mm and 30mm long, the perimeter of ceiling fixed to wall/ partitions with the help of Rawl plugs at 450mm centre, with 25mm long dry wall screws @ 230mm interval, including fixing of Calcium Silicate Board to ceiling section and perimeter channels with the help of dry wall screws of size 3.5 x25mm at 230mm c/c, including jointing & finishing to a flush finish of tapered and square edges of the board with recommended jointing compounds, jointing tapes,finishing with jointing compounds in three layers covering up to 150mm on both sides of joints and two coats of primer suitable for boards, all as per manufacture's specification and also including the cost of making opening for light fittings, grills, diffusers, cut outs made with frame of perimeter channels suitably fixed, all complete as per drawings, specificaton and direction of the Engineer in charge but excluding the cost of painting with: 8 mm thick Calcium Silicate Board made with Calcareous & Siliceous materials reinforced with cellulose fiber manufactured through autoclaving process. | 50.00 | Sqm | 57.00 | 1200.00 | 60000.00 | 1260.00 | 63000.00 | 1250.00 | 62500.00 | 60000.00 | Greenwey Creation Pvt Ltd
58.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes (Nizon/Tata) | 600.00 | Kg | 58.00 | 115.00 | 69000.00 | 160.00 | 96000.00 | 155.00 | 93000.00 | 69000.00 | Greenwey Creation Pvt Ltd
59.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 100.00 | Sqm | 59.00 | 750.00 | 75000.00 | 660.00 | 66000.00 | 650.00 | 65000.00 | 65000.00 | SWADHIN JENA
60.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall . 20 mm nominal outer dia Pipes(Supreme/Ashirbad) | 20.00 | Mtr | 60.00 | 200.00 | 4000.00 | 280.00 | 5600.00 | 270.00 | 5400.00 | 4000.00 | Greenwey Creation Pvt Ltd
61.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.External work.25 mm nominal outer dia Pipes (Supreme/Ashirbad) | 15.00 | Mtr | 61.00 | 275.00 | 4125.00 | 290.00 | 4350.00 | 280.00 | 4200.00 | 4125.00 | Greenwey Creation Pvt Ltd
62.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge External work. 50 mm nominal outer dia Pipes (Supreme/Ashirbad) | 15.00 | Mtr | 62.00 | 600.00 | 9000.00 | 510.00 | 7650.00 | 500.00 | 7500.00 | 7500.00 | SWADHIN JENA
63.00 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required :Size 600x450x200 mm | 5.00 | Each | 63.00 | 5050.00 | 25250.00 | 4050.00 | 20250.00 | 4000.00 | 20000.00 | 20000.00 | SWADHIN JENA
64.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible 40 mm dia | 6.00 | Each | 64.00 | 200.00 | 1200.00 | 95.00 | 570.00 | 90.00 | 540.00 | 540.00 | SWADHIN JENA
65.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 3989 | 20.00 | Each | 65.00 | 2000.00 | 40000.00 | 1220.00 | 24400.00 | 1200.00 | 24000.00 | 24000.00 | SWADHIN JENA
66.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls etc.20 mm nominal dia Pipes (Supreme/Ashirbad) | 50.00 | Mtr | 66.00 | 240.00 | 12000.00 | 360.00 | 18000.00 | 350.00 | 17500.00 | 12000.00 | Greenwey Creation Pvt Ltd
67.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms.15 mm nominal bore | 5.00 | Each | 67.00 | 700.00 | 3500.00 | 660.00 | 3300.00 | 650.00 | 3250.00 | 3250.00 | SWADHIN JENA
68.00 | Hacking of CC flooring/roof slab including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 300.00 | Sqm | 68.00 | 85.00 | 25500.00 | 4.00 | 1200.00 | 3.00 | 900.00 | 900.00 | SWADHIN JENA
69.00 | Providing & fixing 8 mm thick Non -asbestos multipurpose cement board reinforced with cellulose fibre manufactured through autoclaving process (high pressure steam cured ) as per IS 14862 with suitable fibre cement screw in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | 75.00 | Sqm | 69.00 | 855.00 | 64125.00 | 475.00 | 35625.00 | 470.00 | 35250.00 | 35250.00 | SWADHIN JENA
70.00 | Providing and fixing of Roller blind( SERENE OPAQUE,Black out) of VISTA make and colour as per the direction of EIC. | 150.00 | Sqm | 70.00 | 2000.00 | 300000.00 | 2010.00 | 301500.00 | 2000.00 | 300000.00 | 300000.00 | Greenwey Creation Pvt Ltd, SWADHIN JENA
71.00 | Supplying and filling in plinth with local sand under floors including, watering, ramming consolidating and dressing complete. | 10.00 | Cum | 71.00 | 1750.00 | 17500.00 | 860.00 | 8600.00 | 850.00 | 8500.00 | 8500.00 | SWADHIN JENA
72.00 | Providing and fixing CP three-way swan neck tap of approved quality as per the direction of EIC. | 5.00 | Each | 72.00 | 1350.00 | 6750.00 | 2560.00 | 12800.00 | 2550.00 | 12750.00 | 6750.00 | Greenwey Creation Pvt Ltd
73.00 | Providing and fixing of SS roller for alluminum window of approved make | 150.00 | Each | 73.00 | 150.00 | 22500.00 | 60.00 | 9000.00 | 50.00 | 7500.00 | 7500.00 | SWADHIN JENA
74.00 | Providing and fixing of star lock for alluminum window of approved make | 150.00 | Each | 74.00 | 80.00 | 12000.00 | 60.00 | 9000.00 | 50.00 | 7500.00 | 7500.00 | SWADHIN JENA
| Total in Figures |  |  |  |  | 5135993.00 |  | 5152080.00 |  | 5052770.00
Lowest Amount Quoted BY: SWADHIN JENA(5052770.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairing, renovating of lab premises including civil work for installation of equipments and sitting room of Scientist and staffs and other miscellaneous civil work at CSIR-IMMT, Bhubaneswar (FY 2026-27) Tender ID: 2026_CSIR_292500_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SWADHIN JENA (BID ID -1077188) | 5052770.00 | L1
| 2 | Greenwey Creation Pvt Ltd (BID ID -1076883) | 5135993.00 | L2
| 3 | SACHIDANANDA JENA (BID ID -1077155) | 5152080.00 | L3