## BoQ1
eProcurement System Government of India Created By: PRASOBH VENU Created Date/Time: 09-Oct-2026 03:17 PM Tender Title: MISCELLANEOUS ELECTRICAL WORKS IN FACT PETROCHEMICAL PLANTS 2026 27 Tender ID: 2026_FACT_925967_1
Tender Inviting Authority: The Fertilisers and Chemicals Travancore ltd., Udyogamandal, Kochi-683501
Name of Work: MISCELLANEOUS ELECTRICAL WORKS IN FACT PETROCHEMICAL PLANTS 2026-27
Contract No: 5062/2026-2027/E34166
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | V V ELECTRICALS (GSTN-32AFWPC6824R1ZR) BID ID -3486956 |  | PEEJESS ELECTRICALS (GSTN-NA) BID ID -3487322
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | MISCELLANEOUS ELECTRICAL WORKS IN FACT PETROCHEMICAL PLANTS 2026-27
1.01 | Servicing of Aviation warning lighting fixtures of various types and ratings in flue/flare stack. The scope of work includes replacing damaged components (LED cluster, PCB etc. for LED Aviation fitting & lamp, holder, igniter, transformer etc. for Neon fitting) and rectification of wiring faults. The rate shall include the charges for fitting of a new, LED/ Neon/ similar fixture in place of the damaged one, if repair of components is not feasible. All materials required for work will be supplied by FACT. The replaced components shall be returned to FACT. | 2.00 | NO | item1 | 7000.00 | 8260.00 | 7000.00 | 8260.00 | 7000.00 | V V ELECTRICALS, PEEJESS ELECTRICALS | 8260.00 | V V ELECTRICALS, PEEJESS ELECTRICALS
1.02 | Repair / replacing of defective single / double tube light fittings in various buildings including administration building, yard rooms and control rooms of Petrochemical plants. Repair scope includes disconnection of the fitting and accessories as per site requirements, cleaning, replacing damaged parts and assembling back, refixing / reconnecting and servicing of all lamps in the fitting. All materials required for work will be supplied by FACT. | 80.00 | NO | item2 | 22800.00 | 26904.00 | 30400.00 | 35872.00 | 22800.00 | V V ELECTRICALS | 26904.00 | V V ELECTRICALS
1.03 | Servicing of lighting fixtures of various types and ratings without control gear fitted on ceiling/ wall reachable up to a height of 6 m from the standing floor/ rack. The scope of work includes replacing damaged components such as lamp, holder, fuse etc., and rectification of wiring faults or replacing the damaged lighting fixture/control gear unit with a similar one or a junction box, if repair of components is not feasible. All materials required for work will be supplied by FACT. | 220.00 | NO | item3 | 110000.00 | 129800.00 | 127600.00 | 150568.00 | 110000.00 | V V ELECTRICALS | 129800.00 | V V ELECTRICALS
1.04 | Servicing of lighting fixtures of various types including LED well glass fittings and other fittings with control gear fitted on ceiling/ wall reachable up to a height of 6m from the standing floor/ rack. The scope of work includes replacing damaged components such as lamp, holder, fuse etc., and rectification of wiring faults and /or replacing the damaged lighting fixture/control gear unit with a similar one or a junction box, if repair of components is not feasible. All materials required for work will be supplied by FACT. | 150.00 | NO | item4 | 87750.00 | 103545.00 | 93750.00 | 110625.00 | 87750.00 | V V ELECTRICALS | 103545.00 | V V ELECTRICALS
1.05 | Servicing of high-bay lighting fixtures of various types including LED well glass and other fittings (with or without control gear) fitted on ceiling/ wall reachable at a height of 6 m or above from the standing floor/ rack. The scope of work includes replacing damaged components such as lamp, holder, fuse etc., and rectification of wiring faults and /or replacing the damaged lighting fixture/control gear unit with a similar one or a junction box, if repair of components is not feasible. All materials required for work will be supplied by FACT. Crane facility will not be available and hence use of appropriate ladder will have to be resorted to for attending to the work. The replaced components shall be returned to FACT. | 100.00 | NO | item5 | 60000.00 | 70800.00 | 63000.00 | 74340.00 | 60000.00 | V V ELECTRICALS | 70800.00 | V V ELECTRICALS
1.06 | Transporting of AC Sets (Split and Window type), water coolers, Deep freezers, Bottle coolers etc. inside the company premises. Hand cart for transporting AC sets and fork lift for transporting water Coolers will be provided by FACT free of cost. | 15.00 | NO | item6 | 6000.00 | 7080.00 | 14700.00 | 17346.00 | 6000.00 | V V ELECTRICALS | 7080.00 | V V ELECTRICALS
1.07 | Servicing of street lights/tower lights of various types and ratings (with integrated/separate control gear) fitted on lighting posts/ towers reachable at a height of 9 m or above from the standing floor. The scope of work includes replacing damaged components such as lamp, holder, igniter, choke, capacitor, fuse etc., and rectification of wiring faults and /or replacing the damaged lighting fixture/control gear unit with a similar one or a junction box, if repair of components is not feasible. The rate quoted shall be for repairing of all lamps in each fitting (i.e. a double lamp fitting will be considered as repaired only if both the lamps are working after repair). All materials required for work will be supplied by FACT. Crane facility will not be available and hence use of appropriate ladder will have to be resorted to for attending to the work. | 150.00 | NO | item7 | 120000.00 | 141600.00 | 138000.00 | 162840.00 | 120000.00 | V V ELECTRICALS | 141600.00 | V V ELECTRICALS
1.08 | Retrofitting and servicing of LED flameproof well glass fitting after disconnection and removal of existing HPMV wellglass fitting mounted at a height more than 5 metres on street light poles/ compound walls/ building walls/ parapets/ structures/ roof etc. Scope of work also includes necessary wiring modification in control gear for changeover from HPMV to LED and strengthening of mounting brackets if required, cable glanding and terminationis etc. LED light fittings with neccesary cable glands will be supplied by FACT. | 100.00 | NO | item8 | 70000.00 | 82600.00 | 62500.00 | 73750.00 | 62500.00 | PEEJESS ELECTRICALS | 73750.00 | PEEJESS ELECTRICALS
1.09 | Cutting concrete/ tar road, laying pipe of suitable diameter, back filling and concreting the cut portion of the road back to normal condition. GI pipe and materials required for concreting will be supplied by FACT. | 10.00 | M3 | item9 | 20000.00 | 23600.00 | 8000.00 | 9440.00 | 8000.00 | PEEJESS ELECTRICALS | 9440.00 | PEEJESS ELECTRICALS
1.10 | Excavation of soil for burying cables. The scope of work includes backfilling of the trench after putting a layer of river sand/ quarry sand and placing bricks over the cable. Cables shall be laid directly in the excavated trench on the sand bed. Separate rate will be applicable for laying of the cable. All materials required will be issued by FACT as free issue. | 10.00 | M3 | item10 | 10000.00 | 11800.00 | 7000.00 | 8260.00 | 7000.00 | PEEJESS ELECTRICALS | 8260.00 | PEEJESS ELECTRICALS
1.11 | Charges for providing services such as transporting and rearranging of electrical equipment’s/ items, sorting, re rolling & shifting of cables, cleaning of Power Control Centres, Transformers, Electrical equipment’s, rearranging of Electrical store rooms, assisting Departmental Craftsmen in Electrical Maintenance works, re-clamping of detached cables in cable trays etc., on 8 hours shift basis (Unskilled /semi-skilled Labour supply) as directed by Engineer in charge. | 80.00 | NO | item11 | 160000.00 | 188800.00 | 158400.00 | 186912.00 | 158400.00 | PEEJESS ELECTRICALS | 186912.00 | PEEJESS ELECTRICALS
1.12 | Charges for supplying skilled and experienced Craftsmen having qualification of ITI/ Diploma/ valid Wireman license in Electrical Engineering issued from Kerala State Electricity Licensing Board to carry out Electrical works on 8-hour shift basis as directed by Engineer in charge. | 100.00 | NO | item12 | 210000.00 | 247800.00 | 200000.00 | 236000.00 | 200000.00 | PEEJESS ELECTRICALS | 236000.00 | PEEJESS ELECTRICALS
1.13 | Replacement of faulty Ceiling fans/ wall mounted man coolers/ wall mounted fans or fixing of new one as per direction of Engineer In-Charge. Any modification/ changes in fixing point are also under scope of vendor. | 40.00 | NO | item13 | 18000.00 | 21240.00 | 22000.00 | 25960.00 | 18000.00 | V V ELECTRICALS | 21240.00 | V V ELECTRICALS
| Total in Figures |  |  |  | 901550.00 | 1063829.00 | 932350.00 | 1100173.00

## BOQ Summary
BOQ Summary Details Tender Title: MISCELLANEOUS ELECTRICAL WORKS IN FACT PETROCHEMICAL PLANTS 2026 27 Tender ID: 2026_FACT_925967_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | V V ELECTRICALS (BID ID -3486956) | 1063829.00 | L1
| 2 | PEEJESS ELECTRICALS (BID ID -3487322) | 1100173.00 | L2