## BoQ1
eProcurement System Government of India Created By: PRASOBH VENU Created Date/Time: 16-Oct-2026 01:04 PM Tender Title: Cable laying for fire alarm system at FACT UC Tender ID: 2026_FACT_926575_1
Tender Inviting Authority: The Fertilisers and Chemicals Travancore ltd., Udyogamandal, Kochi-683501
Name of Work: Cable laying for fire alarm system at FACT UC
Contract No: 3017/2026-2027/E34194
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | V V ELECTRICALS (GSTN-32AFWPC6824R1ZR) BID ID -3489599 |  | PEEJESS ELECTRICALS (GSTN-NA) BID ID -3488604
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Cable laying for fire alarm system at FACT UC
1.01 | Laying and clamping of 2Cx2.5 Sq.mm Unshielded Armoured FRLS cable, Scope of work includes : 1) Laying cable through MS cable trays/walls/trenches 2) The cable shall be properly clamped at distance not exceedding 50 cm with aluminium clamps/ GI metal saddles while laying on walls. 2) Required holes through walls shall be made by the contractor All the materials including clamps, fasteners etc. required for this work are under the scope of contractor. | 4000.00 | M | item1 | 128000.00 | 151040.00 | 200000.00 | 236000.00 | 128000.00 | V V ELECTRICALS | 151040.00 | V V ELECTRICALS
1.02 | Glanding and termination of armoured cables of size 2Cx2.5 sq.mm using suitable single/double compression glands. All the materials including cable glands of required sizes, lugs, fasteners etc. required for this work is under the scope of contractor. | 70.00 | NO | item2 | 140000.00 | 165200.00 | 35000.00 | 41300.00 | 35000.00 | PEEJESS ELECTRICALS | 41300.00 | PEEJESS ELECTRICALS
1.03 | Fixing of Manual call points or detectors on to the wall/ ceiling using required fasteners. The devices has to be fixed on to a back box before mounting. The Manual call points, detectors and back boxes will be supplied by FACT. | 30.00 | NO | item3 | 30000.00 | 35400.00 | 14400.00 | 16992.00 | 14400.00 | PEEJESS ELECTRICALS | 16992.00 | PEEJESS ELECTRICALS
| Total in Figures |  |  |  | 298000.00 | 351640.00 | 249400.00 | 294292.00

## BOQ Summary
BOQ Summary Details Tender Title: Cable laying for fire alarm system at FACT UC Tender ID: 2026_FACT_926575_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PEEJESS ELECTRICALS (BID ID -3488604) | 294292.00 | L1
| 2 | V V ELECTRICALS (BID ID -3489599) | 351640.00 | L2