## BoQ1
eProcurement System Government of India Created By: Sruthy Janardhanan Created Date/Time: 09-Oct-2026 02:20 PM Tender Title: OVERHAULING OF 11000/3300/440V, POWER TRANSORMERS IN TOWNSHIP AND THERMAL PLANT AT FACT CD. Tender ID: 2026_FACT_927114_1
Tender Inviting Authority : AGM (P&P), FACT (CD), AMBALAMEDU
Name of Work :OVERHAULING OF 11000/3300/440V, POWER TRANSORMERS IN TOWNSHIP AND THERMAL PLANT AT FACT CD
Tender Ref :04026/2026-2027/E34189 dated 16-09-2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | Powertech Equipments and Services (GSTN-32AADFP3154B1ZW) BID ID -3482007 |  | Excel Electrical Equipment LLP (GSTN-32AAKFE9822G1ZF) BID ID -3487390
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | OVERHAULING OF 11000/3300/440V, POWER TRANSORMERS IN TOWNSHIP AND THERMAL PLANT AT FACT CD
1.01 | Leak rectification of 500KVA 11000/440V Transformer in Thermal plant. The scope of work includes dismantling of HT and LT cables and busbars draining oil from the main tank, dismantiling and lifting up the top cover, dismantling LT & HT bushings, replacing the all gaskets of transformer with new one, servicing the buchhols relay, replacing of explosion vent diaphram, supply and installation of of new oil level guage, replacing silica gel of breather, assembling all the dismantled integrals with suitable new gaskets (RC70C grade), filtration of drained oil and refill the same to transformer with BDV more than 40KV, painting of the transformer and its accessories with epoxy primer and paint, connecting all power & control cables and busbars, conducting routine test and commissioning. | 6.00 | NO | CDE-LEAKRECT-PT-01 | 897120.00 | 897120.00 | 276000.00 | 276000.00 | 276000.00 | Excel Electrical Equipment LLP | 276000.00 | Excel Electrical Equipment LLP
1.02 | Leak rectification of 1000KVA 11000/440V Transformer in Thermal plant. The scope of work includes dismantling of HT and LT cables and busbars draining oil from the main tank, dismantiling and lifting up the top cover, dismantling LT & HT bushings, replacing the all gaskets of transformer with new one, servicing the buchhols relay, replacing of explosion vent diaphram, supply and installation of of new oil level guage, replacing silica gel of breather, assembling all the dismantled integrals with suitable new gaskets (RC70C grade), filtration of drained oil and refill the same to transformer with BDV more than 40KV, painting of the transformer and its accessories with epoxy primer and paint, connecting all power & control cables and busbars, conducting routine test and commissioning. | 1.00 | NO | CDE-LEAKRECT-PT-02 | 185600.00 | 185600.00 | 48500.00 | 48500.00 | 48500.00 | Excel Electrical Equipment LLP | 48500.00 | Excel Electrical Equipment LLP
1.03 | Leak rectification of 2.75 MVA 11000/3300/440V Transformer in Thermal plant. The scope of work includes dismantling of HT and LT cables and busbars draining oil from the main tank, dismantiling and lifting up the top cover, dismantling LT & HT bushings, replacing the all gaskets of transformer with new one, servicing the buchhols relay, replacing of explosion vent diaphram, supply and installation of of new oil level guage, replacing silica gel of breather, assembling all the dismantled integrals with suitable new gaskets (RC70C grade), filtration of drained oil and refill the same to transformer with BDV more than 40KV, painting of the transformer and its accessories with epoxy primer and paint, connecting all power & control cables and busbars, conducting routine test and commissioning. | 1.00 | NO | CDE-LEAKRECT-PT-03 | 451750.00 | 451750.00 | 54700.00 | 54700.00 | 54700.00 | Excel Electrical Equipment LLP | 54700.00 | Excel Electrical Equipment LLP
1.04 | Transformer oil filtering as per IS 1866 | 7800.00 | L | CDE-TRANS-FILTRNG | 39000.00 | 39000.00 | 66300.00 | 66300.00 | 39000.00 | Powertech Equipments and Services | 39000.00 | Powertech Equipments and Services
| Total in Figures |  |  |  | 1573470.00 | 1573470.00 | 445500.00 | 445500.00

## BOQ Summary
BOQ Summary Details Tender Title: OVERHAULING OF 11000/3300/440V, POWER TRANSORMERS IN TOWNSHIP AND THERMAL PLANT AT FACT CD. Tender ID: 2026_FACT_927114_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Excel Electrical Equipment LLP (BID ID -3487390) | 445500.00 | L1
| 2 | Powertech Equipments and Services (BID ID -3482007) | 1573470.00 | L2