## BoQ1
Government eProcurement System Created By: SANJAY SINGH Created Date/Time: 13-May-2026 11:27 AM Tender Title: TURNKEY WORKS OF SUPPLY INSTALLATION AND ASSOCIATED CABLING OF RACKS PANELS ENCLOSURE FOR DEVELOPMENT OF NEW NOCC SERVER ROOM INFRASTRUCTURE ALONG WITH THE ASSOCIATED JOBS OF SHIFTING OF GAILTEL SERVER ROOM NOCC MUX ROOM EQUIPMENT Tender ID: 2026_GAIL_262968_1
Tender Inviting Authority: GAIL (India) Limited
Name of Work: TURNKEY WORK FOR SUPPLY INSTALLATION AND ASSOCIATED CABLING OF RACKS PANELS ENCLOSURE FOR DEVELOPMENT OF NEW NOCC SERVER ROOM INFRASTRUCTURE ALONG WITH THE ASSOCIATED JOBS OF SHIFTING OF GAILTEL SERVER ROOM NOCC MUX ROOM EQUIPMENT
Tender ID: 2026_GAIL_262968_1 (BID NO GAIL/NDA25179SS/C&P/GT)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CCS Computers Pvt. Ltd. (GSTN-07AAACC4246KK1Z) BID ID -979308 |  | Ishan Infotech Limited (GSTN-NA) BID ID -985629 |  | Team Computers Private Limited (GSTN-NA) BID ID -985038 |  | Teleindia Networks Private Limited (GSTN-NA) BID ID -975678 |  | Eratronics Pvt Ltd (GSTN-NA) BID ID -969536 |  | BLACK BOX LIMITED (GSTN-NA) BID ID -972841
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
0.00 | TURNKEY WORKS OF SUPPLY INSTALLATION AND ASSOCIATED CABLING OF RACKS /PANELs/ENCLOSURE FOR DEVELOPMENT OF NEW NOCC SERVER ROOM INFRASTRUCTURE ALONG WITH THE ASSOCIATED JOBS OF SHIFTING OF GAILTEL SERVER ROOM, NOCC & MUX ROOM EQUIPMENT.
1.00 | SITC
1.01 | SITC of Server Panel 42U 800 mm Wide x 2000mm (42U) Height x 1000mm Deep. Colour RAL 7035 light grey ,As per technical in SOW. Rack should have base frame of 100mm height for stability and PDU and Monitoring as per technical in SOW..As per technical in SOW. Along with Installation of Panels on stands/base frame of suitable thickness including all accessories for proper dressing and labelling and marking such as CABLE WRAP FOR DRESSING OF PATCH CORDs 12mm dia, cable ties cable glands, cable clamps etc. All the internal panel dressing shall be included in this SOR (As per technical specifications and functionalities defined in SOW) | 37.00 | AU |  | 240000.00 | 8880000.00 | 238918.25 | 8839975.25 | 185262.00 | 6854694.00 | 252885.00 | 9356745.00 | 195670.95 | 7239825.15 | 187867.78 | 6951107.86 | 6854694.00 | Team Computers Private Limited
1.02 | SITC of Telecom panels 42U 600 mm Wide x 2000mm (42U) Height x 600mm Deep. Colour RAL 7035 light grey.As per technical in SOW.Rack should have base frame of 100mm height for stability. Rack should have base frame of 100mm height for stability and PDU and Monitoring as per technical in SOW. Along with Installation of Panels on stands/baseframe of suitable thickness including all acessories for proper dressing and labelling and marking such as CABLE WRAP FOR DRESSING OF PATCH CORDs 12mm dia, cable ties cable glands,cable clamps etc.All the internal panel dressing shall be included in this SOR (As per technical specifications and functionalities defined in SOW) | 12.00 | AU |  | 230000.00 | 2760000.00 | 221317.50 | 2655810.00 | 172485.00 | 2069820.00 | 242503.75 | 2910045.00 | 172310.85 | 2067730.20 | 178897.07 | 2146764.84 | 2067730.20 | Eratronics Pvt Ltd
1.03 | SITC of 42U 800 mm Wide x 2000mm (42U) Height x 1000mm Deep outdoor Rack with accessories with IP 55 rated enclosure Colour RAL 7035 light grey. Rack should have base frame of 100mm height for stability along with suitable stand . (As per technical specifications in SOW). Along with Installation of Panels on stands/baseframe of suitable thickness including all acessories for proper dressing and labelling and marking such as CABLE WRAP FOR DRESSING OF PATCH CORDs 12mm dia, cable ties cable glands,cable clamps etc.All the internal panel dressing shall be included in this SOR(As per technical specifications in SOW).The ODU(outdoor unit) shall be provided with suitable PCC platform (atleast 100 mm on three sides along 600 mm front and back for working) | 1.00 | AU |  | 180000.00 | 180000.00 | 194600.70 | 194600.70 | 73218.00 | 73218.00 | 189713.75 | 189713.75 | 210511.84 | 210511.84 | 955322.59 | 955322.59 | 73218.00 | Team Computers Private Limited
1.04 | SITC of CAT6 STP 23 AWG Cable , (STP Cable) including services of termination along with dressing ,cable management etc.(As per technical specifications in SOW) | 25000.00 | Meters |  | 80.00 | 2000000.00 | 97.68 | 2442000.00 | 71.00 | 1775000.00 | 56.56 | 1414000.00 | 39.67 | 991750.00 | 62.56 | 1564000.00 | 991750.00 | Eratronics Pvt Ltd
1.05 | SITC of CAT6 STP 24-26 AWG Stranded Cordage Patch Cord, LSZH, 3 Mtr including services of termination along with dressing ,cable management etc.(As per technical specifications in SOW) | 500.00 | AU |  | 230.00 | 115000.00 | 204.35 | 102175.00 | 210.00 | 105000.00 | 500.00 | 250000.00 | 1056.62 | 528310.00 | 477.68 | 238840.00 | 102175.00 | Ishan Infotech Limited
1.06 | SITC of CAT6 STP 24-26 AWG Stranded Cordage Patch Cord, LSZH, 5 Mtr including services of termination along with dressing ,cable management etc.(As per technical specifications in SOW) | 500.00 | AU |  | 440.00 | 220000.00 | 426.30 | 213150.00 | 437.00 | 218500.00 | 562.50 | 281250.00 | 1478.07 | 739035.00 | 611.30 | 305650.00 | 213150.00 | Ishan Infotech Limited
1.07 | SITC of CAT6 STP 24 PORT JACK PANEL fully loaded with all accessories for installation and put to use including services of termination along with dressing ,cable management etc. .(As per technical specifications in SOW) | 150.00 | AU |  | 9500.00 | 1425000.00 | 13274.10 | 1991115.00 | 11473.00 | 1720950.00 | 13475.00 | 2021250.00 | 20409.99 | 3061498.50 | 12836.15 | 1925422.50 | 1425000.00 | CCS Computers Pvt. Ltd.
1.08 | SITC of 24-Core Single-Mode Armoured Fibre Optic Cable including accessories for installation Clamps, Bullet Fastners, L-Angle etc. .(As per technical specifications in SOW) | 2000.00 | Meters |  | 550.00 | 1100000.00 | 100.45 | 200900.00 | 89.00 | 178000.00 | 206.25 | 412500.00 | 139.32 | 278640.00 | 226.42 | 452840.00 | 178000.00 | Team Computers Private Limited
1.09 | SITC of 96-Core Single-Mode Armoured Fibre Optic Cable including accessories for installation Clamps, Bullet Fastners, L-Angle etc. .(As per technical specifications in SOW) | 2000.00 | Meters |  | 650.00 | 1300000.00 | 245.85 | 491700.00 | 227.00 | 454000.00 | 287.50 | 575000.00 | 597.92 | 1195840.00 | 388.60 | 777200.00 | 454000.00 | Team Computers Private Limited
1.10 | SITC of , Fiber Patch Cord, Duplex,suitable for use with LIU,, 3 m including services of termination along with dressing ,cable management etc. .(As per technical specifications in SOW) | 300.00 | AU |  | 2500.00 | 750000.00 | 785.10 | 235530.00 | 801.00 | 240300.00 | 1625.00 | 487500.00 | 3913.42 | 1174026.00 | 1365.87 | 409761.00 | 235530.00 | Ishan Infotech Limited
1.11 | SITC of FIBER PATCH CORD 3 m suitable for use with LIU PATCHING including services of termination along with dressing ,cable management etc. .(As per technical specifications in SOW) | 500.00 | AU |  | 2500.00 | 1250000.00 | 785.10 | 392550.00 | 801.00 | 400500.00 | 1625.00 | 812500.00 | 3913.42 | 1956710.00 | 570.84 | 285420.00 | 285420.00 | BLACK BOX LIMITED
1.12 | SITC of min 4U 96F SC SM LIU FULLY loaded with Pigtails, Adapters, Splice trays, fiber management rings and splice sleeves,cable glands,suitable holes for 96F cable . .(As per technical specifications in SOW) | 8.00 | AU |  | 69000.00 | 552000.00 | 103334.50 | 826676.00 | 81839.00 | 654712.00 | 57425.00 | 459400.00 | 82783.86 | 662270.88 | 25392.68 | 203141.44 | 203141.44 | BLACK BOX LIMITED
1.13 | SITC of min 1U 24F SC SM LIU FULLY loaded with Pigtails, Adapters, Splice trays, fiber management rings and splice sleeves.(As per technical specifications in SOW) | 16.00 | AU |  | 10000.00 | 160000.00 | 21591.85 | 345469.60 | 15650.00 | 250400.00 | 18125.00 | 290000.00 | 29501.16 | 472018.56 | 8104.05 | 129664.80 | 129664.80 | BLACK BOX LIMITED
1.14 | SITC of 32MM HDPE Pipe with accessories including accessories for installation Clamps, Bullet Fastners, L-Angle etc. . | 1000.00 | Meters |  | 190.00 | 190000.00 | 64.50 | 64500.00 | 67.00 | 67000.00 | 52.39 | 52390.00 | 138.47 | 138470.00 | 156.68 | 156680.00 | 52390.00 | Teleindia Networks Private Limited
1.15 | SITC of 25MM Reinforced Flexible Conduit with accessories including accessories for installation Clamps,ties etc. | 1000.00 | Meters |  | 175.00 | 175000.00 | 64.50 | 64500.00 | 67.00 | 67000.00 | 44.85 | 44850.00 | 105.36 | 105360.00 | 81.04 | 81040.00 | 44850.00 | Teleindia Networks Private Limited
1.16 | SITC of MS Perforated Cable Tray (300mm x 50mm x 2mm) including all acessories for installation Cover, Iron Bars, Clamps, Bullet Fastners, L-Angle etc. | 300.00 | Meters |  | 1800.00 | 540000.00 | 2046.50 | 613950.00 | 1585.00 | 475500.00 | 1748.50 | 524550.00 | 1806.19 | 541857.00 | 2026.01 | 607803.00 | 475500.00 | Team Computers Private Limited
1.17 | SITC of MS Perforated Cable Tray (150mm x 50mm x 2mm) including all acessories for installation Cover, Iron Bars, Clamps, Bullet Fastners, L-Angle etc. | 100.00 | Meters |  | 1500.00 | 150000.00 | 1290.50 | 129050.00 | 1038.00 | 103800.00 | 1066.00 | 106600.00 | 1655.68 | 165568.00 | 1555.98 | 155598.00 | 103800.00 | Team Computers Private Limited
1.18 | SITC of MS Perforated Cable Tray (100mm x 50mm x 2mm) including all acessories for installation Cover, Iron Bars, Clamps, Bullet Fastners, L-Angle etc. | 100.00 | Meters |  | 1200.00 | 120000.00 | 1021.50 | 102150.00 | 868.00 | 86800.00 | 845.00 | 84500.00 | 1354.65 | 135465.00 | 1458.73 | 145873.00 | 84500.00 | Teleindia Networks Private Limited
1.19 | SITC of 3C x 6 Sq.mm Cu Armoured FRLSH cable ( Server Racks + SPN DB Cabling) PVC Sheathed/XLPE copper conductor cable of 1.1KV grade with GI Armour.along with suitable brass Glands | 2000.00 | Meters |  | 1200.00 | 2400000.00 | 322.50 | 645000.00 | 340.00 | 680000.00 | 441.17 | 882340.00 | 351.20 | 702400.00 | 950.87 | 1901740.00 | 645000.00 | Ishan Infotech Limited
1.20 | SITC of 3C x 4 Sq.mm Cu Armoured FRLSH cable ( Server Racks + SPN DB Cabling)PVC Sheathed/XLPE copper conductor cable of 1.1KV grade with GI Armour along with suitable brass Glands | 3000.00 | Meters |  | 1200.00 | 3600000.00 | 282.25 | 846750.00 | 245.00 | 735000.00 | 305.40 | 916200.00 | 242.84 | 728520.00 | 848.22 | 2544660.00 | 728520.00 | Eratronics Pvt Ltd
1.21 | SITC of 1C X 10sq mm Cu EARTING CABLE along with suitable Glands | 4000.00 | Meters |  | 100.00 | 400000.00 | 167.25 | 669000.00 | 179.00 | 716000.00 | 210.65 | 842600.00 | 148.03 | 592120.00 | 372.79 | 1491160.00 | 400000.00 | CCS Computers Pvt. Ltd.
2.01 | Lift and Shift of Server size 1U from existing racks to new rack including mouse & Keyboard | 6.00 | AU |  | 20000.00 | 120000.00 | 7000.00 | 42000.00 | 1668.00 | 10008.00 | 5500.00 | 33000.00 | 20161.29 | 120967.74 | 4862.43 | 29174.58 | 10008.00 | Team Computers Private Limited
2.02 | Lift and Shift of Server size 2U from existing racks to new rack including mouse & Keyboard | 6.00 | AU |  | 30000.00 | 180000.00 | 7000.00 | 42000.00 | 1668.00 | 10008.00 | 5500.00 | 33000.00 | 20161.29 | 120967.74 | 5942.97 | 35657.82 | 10008.00 | Team Computers Private Limited
2.03 | Lift and Shift of Server size 4U from existing racks to new rack including mouse & Keyboard | 10.00 | AU |  | 40000.00 | 400000.00 | 9000.00 | 90000.00 | 1668.00 | 16680.00 | 10500.00 | 105000.00 | 20161.29 | 201612.90 | 7023.51 | 70235.10 | 16680.00 | Team Computers Private Limited
2.04 | Lift and Shift of NAS of size upto size 4U from existing racks to new rack including mouse & Keyboard | 6.00 | AU |  | 50000.00 | 300000.00 | 9000.00 | 54000.00 | 1668.00 | 10008.00 | 10500.00 | 63000.00 | 20161.29 | 120967.74 | 7023.51 | 42141.06 | 10008.00 | Team Computers Private Limited
2.05 | Lift and Shift of KVM of size upto 2U from existing racks to new rack including mouse & Keyboard | 8.00 | AU |  | 30000.00 | 240000.00 | 5000.00 | 40000.00 | 1112.00 | 8896.00 | 5500.00 | 44000.00 | 20161.29 | 161290.32 | 2647.32 | 21178.56 | 8896.00 | Team Computers Private Limited
2.06 | Lift and Shift of Panel mounted Monitor size upto 26 inch from existing racks to new rack including mouse & Keyboard | 5.00 | AU |  | 30000.00 | 150000.00 | 4000.00 | 20000.00 | 779.00 | 3895.00 | 15000.00 | 75000.00 | 20161.29 | 100806.45 | 2647.32 | 13236.60 | 3895.00 | Team Computers Private Limited
2.07 | Lift and Shift of PC based workstation along with monitor of size upto 32 inch from existing control desk to new control desk provided by GAIL in new NOCC location. | 15.00 | AU |  | 30000.00 | 450000.00 | 5000.00 | 75000.00 | 1668.00 | 25020.00 | 10500.00 | 157500.00 | 20161.29 | 302419.35 | 2701.35 | 40520.25 | 25020.00 | Team Computers Private Limited
2.08 | Lift and Shift of Telecom Node size upto 4U from existing racks to new rack including cabling | 6.00 | AU |  | 50000.00 | 300000.00 | 9000.00 | 54000.00 | 1668.00 | 10008.00 | 10500.00 | 63000.00 | 20161.29 | 120967.74 | 4862.43 | 29174.58 | 10008.00 | Team Computers Private Limited
421.00 | Applicable GST Rate for above SOR items | 1.00 | Percentage |  | 18.00 | 5473260.00 | 18.00 | 4047039.28 | 18.00 | 3243729.06 | 18.00 | 4227738.08 | 18.00 | 4488826.70 | 18.00 | 4267981.36 | 3243729.06 | Team Computers Private Limited
| Total in Figures |  |  |  |  | 35880260.00 |  | 26530590.83 |  | 21264446.06 |  | 27715171.83 |  | 29426752.81 |  | 27978988.94
Lowest Amount Quoted BY: Team Computers Private Limited(21264446.06)

## BOQ Summary
BOQ Summary Details Tender Title: TURNKEY WORKS OF SUPPLY INSTALLATION AND ASSOCIATED CABLING OF RACKS PANELS ENCLOSURE FOR DEVELOPMENT OF NEW NOCC SERVER ROOM INFRASTRUCTURE ALONG WITH THE ASSOCIATED JOBS OF SHIFTING OF GAILTEL SERVER ROOM NOCC MUX ROOM EQUIPMENT Tender ID: 2026_GAIL_262968_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Team Computers Private Limited (BID ID -985038) | 21264446.06 | L1
| 2 | Ishan Infotech Limited (BID ID -985629) | 26530590.83 | L2
| 3 | Teleindia Networks Private Limited (BID ID -975678) | 27715171.83 | L3
| 4 | BLACK BOX LIMITED (BID ID -972841) | 27978988.94 | L4
| 5 | Eratronics Pvt Ltd (BID ID -969536) | 29426752.81 | L5
| 6 | CCS Computers Pvt. Ltd. (BID ID -979308) | 35880260.00 | L6