## BoQ1
Government eProcurement System Created By: Ramavatar Gocher Created Date/Time: 19-Mar-2026 11:38 AM Tender Title: RENOVATION OF CENTRAL WORKSHOP FACILITY AT GAIL HAZIRA COMPRESSOR STATION Tender ID: 2026_GAIL_263253_1
Tender Inviting Authority: GAIL (India) Limited Hazira Compressor Station, Icchapore Magdalla Road, PO-ONGC, Dist. Surat-394518, Gujarat
Name of Work: Renovation of Central Workshop Facility at GAIL Hazira Compressor Station
Tender No: 2026_GAIL_263253_1 dated. 16.01.2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NAMRATA ENGINEERING (GSTN-NA) BID ID -974161 |  | ARTNUMA INFRA PRIVATE LIMITED (GSTN-NA) BID ID -972333 |  | SWANIP INFRACON PRIVATE LIMITED (GSTN-NA) BID ID -974257
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | MECHANICAL ITEMS
1.10 | Rack-1 Design, Engineering, Manufacturing / Fabrication, Assembly, powder Coating Inspection & Testing, Insurance, Delivery & Storage at site, Installation & Erection, Testing and Commissioning of Deck Racking System ( Type ‘D’ as per drawing) Structural Work etc. as per Tender Specification. (Brief TS of Racks are given below) Steel Deck Racks with Slots of Size : 3000mm (w) x1200mm (d) x 1000mm (h) of 3T capacity One Rack Module Comprises of: No. of Rows :1 No. of Slot Locations per Row : 5 Load per Slot: 3T No. of Levels : 4 No. of Locations (Slots) in One (1) Module: 40 Storage Capacity of One Module : 120 Tons Please refer Detail specification and drawing mentioned in SOW. Unit of measurement -1EA = 1 Module | 5.00 | Module | 0.00 | 296000.00 | 1746400.00 | 48000.00 | 283200.00 | 496300.00 | 2928170.00 | 283200.00 | ARTNUMA INFRA PRIVATE LIMITED
1.20 | Rack-2 Design, Engineering, Manufacturing / Fabrication, Assembly, Powder Coating Inspection & Testing, Insurance, Delivery &Storage at site, Installation & Erection, Testing and Commissioning of Slot Racking System ( Type ‘S’ as per drawing) Structural Work etc., as per Tender Specification (Brief TS of Racks is given below) Steel Racks with Slots of Size : 835mm (w) x 450mm (d) x 250mm (h) of 50 Kg Capacity for Storage of 2 Nos. Box Type HDPE Pallets of 25 kg Capacity each & Size: 400/410mm {w} x 435/450mm {d} x 215mm {h} One Rack Module Comprises of: No. of Rows :1 No. of Slots per Row : 8 Load per Slot: 50 kg No. of Levels : 8 No. of Slots in One (1) Rack Module: 64 No. of Bins/ Slots in One (1) Rack Module: 2 Storage Capacity of One Module: 64 Slots {128 HDPE Pallets} / 3.2 Tons ) Please refer Detail specification and drawing mentioned in SOW. Unit of measurement -1EA = 1 Module | 15.00 | Module | 0.00 | 127118.00 | 2249988.60 | 48000.00 | 849600.00 | 395700.00 | 7003890.00 | 849600.00 | ARTNUMA INFRA PRIVATE LIMITED
1.30 | Rack-3 Design, Engineering, Manufacturing / Fabrication, Assembly Testing, Painting, Insurance, Delivery and Storage at Site, Storage, Erection and Commissioning of Cantilever Racks Structural Work etc. as per Tender Specification. One Cantilever Rack Module comprising of: Cantilever Arm Length : 750 mm Clear Level Height : 900 mm Load Capacity per Arm : 500 Kg No. of Uprights / Posts : 7 Nos. No. of Levels: G + 3 = 4 Nos. Arm Pitch : 1000 mm Please refer Detail specification and drawing mentioned in SOW. Unit of measurement -1EA = 1 Module | 1.00 | Module | 0.00 | 317796.00 | 374999.28 | 48000.00 | 56640.00 | 375000.00 | 442500.00 | 56640.00 | ARTNUMA INFRA PRIVATE LIMITED
1.40 | Rack-4 Design, Engineering, Manufacturing / Fabrication, Assembly, Inspection & Testing, Insurance, Delivery & Storage at site, Installation & Erection, Testing and Commissioning of 18 compartment of Industrial Lockers shall be made from min. 1 mm thickness of CRCA sheet with inside loacking arrangement make of Godrej/ harisson , over all size(min) : 1140 mm (w) x 457 mm (d) x 1830 mm (h). | 8.00 | No | 0.00 | 63559.00 | 599996.96 | 38000.00 | 358720.00 | 315650.00 | 2979736.00 | 358720.00 | ARTNUMA INFRA PRIVATE LIMITED
1.50 | Rack-5 Design, Engineering, Manufacturing / Fabrication, Assembly, Inspection & Testing, Insurance, Delivery & Storage at site, Installation & Erection, Testing and Commissioning of 48 compartment of Industrial Lockers shall be made from min. 1 mm thickness of CRCA sheet with inside loacking arrangement make of Godrej/ harisson,over all size (min): 900 mm (w) x 350 mm (d) x 1830 mm (h) | 8.00 | No | 0.00 | 72033.00 | 679991.52 | 33000.00 | 311520.00 | 245000.00 | 2312800.00 | 311520.00 | ARTNUMA INFRA PRIVATE LIMITED
1.60 | HDPE-1 Design, Engineering, Manufacturing / Fabrication, Assembly, Inspection & Testing, Insurance, Delivery & Storage at site, Installation & Erection, Testing and Commissioning of Front Partially Open HDPE Pallets with Solid Side Walls and with Provision of removable type partition each of capacity 25 kg and size 400/410mm (w) x 435/450 mm (d) x 215mm (h) (type ‘S’ &’C’ as per drawing). | 628.00 | No | 0.00 | 932.00 | 690649.28 | 350.00 | 259364.00 | 3250.00 | 2408380.00 | 259364.00 | ARTNUMA INFRA PRIVATE LIMITED
1.70 | HDPE-2 Design, Engineering, Manufacturing / Fabrication, Assembly, Inspection & Testing, Insurance, Delivery & Storage at site, Installation & Erection, Testing and Commissioning of Four way entry HDPE Flat Pallets each of capacity 1 T and size 1200 mm (w) x 1200 mm (d) x 140 /150 mm (h). | 30.00 | No | 0.00 | 14406.00 | 509972.40 | 350.00 | 12390.00 | 4750.00 | 168150.00 | 12390.00 | ARTNUMA INFRA PRIVATE LIMITED
1.80 | Supply, Fabrication and fixing of Fencing Supply, fabrication and erection of fencing structures such as angle iron post, Channel post,Strainer and strut, Angle frame etc. fabrication as per drawings,site assembly and finally erection of structures at appropriate location with painting as per specification,including 4.0m high welded wire mesh size 75x50x4 mm dia as per IS:4948 welded with angle frame complete in all respects as per drawings.All work as per Specification and drawings and as direction of the Engineer-In-Charge | 1000.00 | KG | 0.00 | 148.00 | 174640.00 | 500.00 | 590000.00 | 265.00 | 312700.00 | 174640.00 | NAMRATA ENGINEERING
1.90 | Dismantling of existing Machine without damaging any of the parts of the installed Machine (disassembling ,if required is also in the scope of contractor) and relocating at new proposed location in workshop. Dismantling and removing the Machine from foundation including removing anchor bolts and/or base frame. Preparation and submission of drawings for Base frame layout i.e. bolt to bolt distance, dia & length of anchor bolts, size of base frame, electrical conduit layout, level of machine base frame with respect to floor level and any other detail required for fixing the machine in new location. The drawing shall be made and submitted by the Contractor for designing of foundations by consultant. Work shall also include transportation from existing location to new location , loading unloading in safe condition,( re‐assembling of machine if required) Installation at new location, Levelling and alignment of machine, fixing of base frame or grouting of anchor bolts, providing and installation of vibration pads (if required), electrical conduting, cabling works upto the respective PDB , etc. complete in all respects. Work shall include all Civil, electrical, mechanical and associates works for relocating, recommissioning the machine at new location. (Payment of RCC foundation works, grouting, electrical conduting and cabling works external to machine shall be paid as per respective SOR item). The responsibility of dismantling (disassembling if required) of existing machine, transportation, installation ,reassembling (if required) and commissioning of Machine at new location shall be of the Contractor Scope. All work shall be completed as per as per drawing and direction of Engineer‐in‐charge. The detail of the Existing machines are as given below Machines:
1.91 | Lathe Machine Small Approx. Weight of machine 1 Tonnes | 1.00 | Lot | 0.00 | 21186.00 | 24999.48 | 5500.00 | 6490.00 | 125000.00 | 147500.00 | 6490.00 | ARTNUMA INFRA PRIVATE LIMITED
1.92 | Bench Grinder Approx. Weight 1 Tonnes | 2.00 | Lot | 0.00 | 12711.00 | 29997.96 | 6000.00 | 14160.00 | 135000.00 | 318600.00 | 14160.00 | ARTNUMA INFRA PRIVATE LIMITED
1.93 | Drilling Machine, Approx. Weight 1 Tonnes | 1.00 | Lot | 0.00 | 16949.00 | 19999.82 | 6000.00 | 7080.00 | 105000.00 | 123900.00 | 7080.00 | ARTNUMA INFRA PRIVATE LIMITED
2.00 | CIVIL ITEMS
2.10 | Providing and Laying in position cement concerete of specified grade including the cost of centering and shuttering - all work up to plinth level
2.11 | 1:1.5:3 (1 Cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | 5.00 | M3 | 0.00 | 6799.00 | 40114.10 | 6300.00 | 37170.00 | 10250.00 | 60475.00 | 37170.00 | ARTNUMA INFRA PRIVATE LIMITED
2.12 | 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 5.00 | M3 | 0.00 | 6864.00 | 40497.60 | 6300.00 | 37170.00 | 9750.00 | 57525.00 | 37170.00 | ARTNUMA INFRA PRIVATE LIMITED
2.13 | 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | 77.50 | M3 | 0.00 | 5932.00 | 542481.40 | 6800.00 | 621860.00 | 10750.00 | 983087.50 | 542481.40 | NAMRATA ENGINEERING
2.14 | 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | 172.50 | M3 | 0.00 | 5932.00 | 1207458.60 | 7200.00 | 1465560.00 | 12680.00 | 2581014.00 | 1207458.60 | NAMRATA ENGINEERING
2.20 | Supplying and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, screed, bed blocks anchor block plain window sills fillets etc upto floor five level including the cost of centering, shuttering and finishing : 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 37.50 | M3 | 0.00 | 8474.00 | 374974.50 | 6500.00 | 287625.00 | 13500.00 | 597375.00 | 287625.00 | ARTNUMA INFRA PRIVATE LIMITED
2.30 | Steel work welded in built up sections/framed work including cutting hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc.as required
2.31 | In stringers, treads, landings, etc. of staircases, trenches, pits including use of chequered plate wherever required, all complete. | 412.50 | KG | 0.00 | 110.00 | 53542.50 | 450.00 | 219037.50 | 245.00 | 119253.75 | 53542.50 | NAMRATA ENGINEERING
2.32 | In gratings, frames, guard bar, ladders, brackets, inserts, gates and similar works. | 4125.00 | KG | 0.00 | 152.00 | 739860.00 | 480.00 | 2336400.00 | 190.00 | 924825.00 | 739860.00 | NAMRATA ENGINEERING
2.40 | 12 mm cement plaster finished with a floating coat of neat cement of mix: 1:4 (1 cement : 4 fine sand) | 100.00 | M2 | 0.00 | 296.00 | 34928.00 | 450.00 | 53100.00 | 425.00 | 50150.00 | 34928.00 | NAMRATA ENGINEERING
2.50 | Providing and fixing in position 40mm thick bitumen impregnated fibre board conforming to IS: 1838 including cost of primer, sealing compound in expansion joints and in floors. | 50.00 | M2 |  | 2288.00 | 134992.00 | 450.00 | 26550.00 | 625.00 | 36875.00 | 26550.00 | ARTNUMA INFRA PRIVATE LIMITED
2.60 | Flooring Work
2.61 | Providing and laying high strength trowelled epoxy screed floor of minimum 3mm thickness having a compressive strength of minimum 60mpa after 7 days, over cemented Floor.The surface of epoxy screed shall be sealed using an epoxy putty. The epoxy screed shall be MasterTop 1240 from BASF or equivalent. All the application shall be as per manufacturers specification. Item also includes preparing of surface by grinding,air blower cleaning and removal of all dust by industrial vaccume cleaner,application of primer etc. A sample of 1mtr x 1 mtr. shall be prepared for Approval by EIC before application. | 1300.00 | M2 | 0.00 | 847.00 | 1299298.00 | 450.00 | 690300.00 | 1750.00 | 2684500.00 | 690300.00 | ARTNUMA INFRA PRIVATE LIMITED
2.62 | Providing and laying Non-metallic Surface hardener of approved make @ 5 Kg/Sqm in flooring complete as per manufacturers specification and direction of EIC. | 1850.00 | KG | 0.00 | 42.00 | 91686.00 | 450.00 | 982350.00 | 45.00 | 98235.00 | 91686.00 | NAMRATA ENGINEERING
2.63 | Cutting and providing 5mm X 12mm (Deep) groove in concrete flooring with groove cutting machine and providing and filling the groove with Polysulphide sealent in a grid of 4mX4m in floors. All complete as per specifications and drawings and instruction of Engineer In Charge Unit of measurement i.e. ZRM = Running Meter | 120.00 | ZRM | 0.00 | 105.00 | 14868.00 | 400.00 | 56640.00 | 600.00 | 84960.00 | 14868.00 | NAMRATA ENGINEERING
2.70 | Providing & laying approved make and colour heavy duty vitrified tiles in floors over 20 mm cement mortar bed 1:4 including cutting of tiles wherever required pointing the joints in neat white cement with matching pigment, cleaning, washing, curing, etc., complete as per specification and direction of the engineer. Size of Tile 300x300 mm and minimum thickness 12 mm | 130.00 | M2 | 0.00 | 2711.00 | 415867.40 | 400.00 | 61360.00 | 1680.00 | 257712.00 | 61360.00 | ARTNUMA INFRA PRIVATE LIMITED
2.80 | Cement plaster skirting with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement. 18 mm thick | 90.00 | M2 | 0.00 | 635.00 | 67437.00 | 400.00 | 42480.00 | 380.00 | 40356.00 | 40356.00 | SWANIP INFRACON PRIVATE LIMITED
2.90 | Providing 6 mm thick cement plaster 1:4 (1 cement : 4 sand) to ceiling of slabs, chajjas including drip course, bands, beams, columns, loft slabs, staircases, and any other location at all heights wherever required with all bye works dabbing, curing, scaffolding, including providing chicken mesh at junction of columns,beams etc.,complete at all heights and levels as per specification and drawings. | 325.00 | M2 | 0.00 | 254.00 | 97409.00 | 400.00 | 153400.00 | 295.00 | 113132.50 | 97409.00 | NAMRATA ENGINEERING
3.00 | White washing with lime to give an even shade: New work (three or more coats) | 50.00 | M2 | 0.00 | 42.00 | 2478.00 | 400.00 | 23600.00 | 90.00 | 5310.00 | 2478.00 | NAMRATA ENGINEERING
3.10 | Finishing walls with water proofing cement paint of required shade: New work (Two or more coats applied @ 3.84 kg/10 sqm) | 50.00 | M2 | 0.00 | 110.00 | 6490.00 | 400.00 | 23600.00 | 120.00 | 7080.00 | 6490.00 | NAMRATA ENGINEERING
3.20 | Finishing walls with ready mixed premium acrylic emulsion paint (Company Depet Tinted) having VOC less than 50gm/litre and UV resistances as per IS 15489:2004, alkali & Fungal resistancee, dirt resistance exterior paint of required shade with silicon additives. New Work (Two of more coats applied @ 1.43 L/10 sqm over and including priming coat of exterior primer applied @ 0.90 L/10 sqm) | 2000.00 | M2 | 0.00 | 169.00 | 398840.00 | 400.00 | 944000.00 | 145.00 | 342200.00 | 342200.00 | SWANIP INFRACON PRIVATE LIMITED
3.30 | Finishing with Epoxy paint (Two or more coats) at all locations prepared and applied as per manufacturers specification including appropirate priming coat, preparation of surface etc. complete |  |  | 0.00
3.31 | On steel work | 1000.00 | M2 | 0.00 | 296.00 | 349280.00 | 450.00 | 531000.00 | 210.00 | 247800.00 | 247800.00 | SWANIP INFRACON PRIVATE LIMITED
3.32 | On Concrete Work | 1000.00 | M2 | 0.00 | 296.00 | 349280.00 | 450.00 | 531000.00 | 190.00 | 224200.00 | 224200.00 | SWANIP INFRACON PRIVATE LIMITED
3.40 | Providing and applying wallcare Putty on plastered surfaces on internal walls for smooth and dry surface essential for painting, after removing all loosely adhering material from the wall surface The substrate should be clean free from dust grease and loose materials. Dry and absorbent surfaces should be moistened with sufficient quantity of clean water. Apply the first coat on already moistened wall surface from bottom to upward direction uniformly. After drying of first coat of putty just rub the surface gently with west sponge or rub the surface very gently with the putty blade in order to remove the loose particles. Allow the surface to dry for atleast 3 hours and then apply second coat of putty. Leave the surface to dry completely. After drying of second coat remove marks if any with the help of moist sponge or rub the surface very gently with the putty blade. Leave the surface to dry preferably for overnight.The total thickness of the coats should be limited to maximum 1.5mm. | 50.00 | M2 | 0.00 | 169.00 | 9971.00 | 450.00 | 26550.00 | 170.00 | 10030.00 | 9971.00 | NAMRATA ENGINEERING
| Total in Figures |  |  |  |  | 13373388.40 |  | 11899916.50 |  | 28672421.75
Lowest Amount Quoted BY: ARTNUMA INFRA PRIVATE LIMITED(11899916.50)

## BOQ Summary
BOQ Summary Details Tender Title: RENOVATION OF CENTRAL WORKSHOP FACILITY AT GAIL HAZIRA COMPRESSOR STATION Tender ID: 2026_GAIL_263253_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ARTNUMA INFRA PRIVATE LIMITED (BID ID -972333) | 11899916.50 | L1
| 2 | NAMRATA ENGINEERING (BID ID -974161) | 13373388.40 | L2
| 3 | SWANIP INFRACON PRIVATE LIMITED (BID ID -974257) | 28672421.75 | L3

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: RENOVATION OF CENTRAL WORKSHOP FACILITY AT GAIL HAZIRA COMPRESSOR STATION Tender ID: 2026_GAIL_263253_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | ARTNUMA INFRA PRIVATE LIMITED (BID ID -972333) | 11899916.50 |  |  | 20.00% | Make in India
| 2 | NAMRATA ENGINEERING (BID ID -974161) | 13373388.40
| 3 | SWANIP INFRACON PRIVATE LIMITED (BID ID -974257) | 28672421.75