## BoQ1
Government eProcurement System Created By: RAJEEV KUMAR Created Date/Time: 07-Apr-2026 04:36 PM Tender Title: REPLACEMENT OF HVAC SYSTEM INSTALLED AT CONTROL ROOM BUILDING AND ADMINISTRATIVE BUILDING OF HAZIRA COMPRESSOR STATION WITH NEW AIR CONDITIONING SYSTEM UNDER BUY-BACK Tender ID: 2026_GAIL_267340_1
Tender Inviting Authority: GAIL (India) Limited Hazira Compressor Station, Icchapore Magdalla Road, PO-ONGC, Dist. Surat-394518, Gujarat
Name of Work: REPLACEMENT OF HVAC SYSTEM INSTALLED AT CONTROL ROOM BUILDING AND ADMINISTRATIVE BUILDING OF HAZIRA COMPRESSOR STATION WITH NEW AIR CONDITIONING SYSTEM UNDER BUY-BACK
Contract No: GAIL/HZR/C&P/136061/FL-66C/25-26 (GePNIC Tender No: 2026_GAIL_267340_1) dt. 16/02/2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BRITE INDUSTRIES (GSTN-24AAKFM6551E1ZC) BID ID -990601 |  | Blue Star Limited (GSTN-27AAACB4487D1ZS) BID ID -991187 |  | M/s. PRANAM HVAC ENGINEERING PVT. LTD. (GSTN-24AAHCP2093C1ZP) BID ID -991316
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part-A (SITC of Both building)
1.01 | SITC of HVAC OF CONTROL ROOM BUILDING
1.02 | SITC of Water Cooled Screw compressor SITC of Water-Cooled Screw compressor for Control Room Building Supply, Installation, Testing and Commissioning of Water Cooled Screw compressor, Capacity Minimum 110TR (upto+10%) , With Eco-friendly refrig R134a). Complete with Motor, Water cooled Condenser, Water Chiller with standard accessories refrigerant piping, fittings, valves, etc. as required For further details, refer technical specifications and scope of work. | 3.00 | EA |  | 3298320.00 | 11676052.80 | 2725525.00 | 9648358.50 | 2800000.00 | 9912000.00 | 9648358.50 | Blue Star Limited
1.03 | SITC of Condensor Water Pump Set for CB SITC of Condensor Water Pump Set for Control Room Building Head: Mininmum 36 Mtrs Each Unit Shall be capable of delivering complete with Gate valves, NRV, Y-Type Strainer, Mechanical seal, Motor, Pressure gauges with isolation valve, Mounting frame with antivibration pads, RCC/ cement concrete foundation For further details, refer technical specifications and scope of work. | 3.00 | EA |  | 285969.00 | 1012330.26 | 257710.00 | 912293.40 | 250000.00 | 885000.00 | 885000.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
1.04 | SITC of Chiller Water Pump Set for CB SITC of Chiller Water Pump Set for Control Room Building Head: Mininmum 27 Mtrs Each Unit Shall be complete with Gate valves, NRV, Y-Type Strainer, Mechanical seal, Motor, Pressure gauges with isolation valve, Mounting frame with antivibration pads, RCC foundation, Insulation cladded with Aluminium sheet For further details, refer technical specifications and scope of work. | 3.00 | EA |  | 236759.00 | 838126.86 | 211105.00 | 747311.70 | 190000.00 | 672600.00 | 672600.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
1.05 | SITC of FRP Cooling Tower for CB SITC of FRP Cooling Tower designed for Control Room Building, Capacity: Minimum 150 TR Each unit shall be complete with FRP water basin, PVC fillings with integral louvers and drift eliminators complete with hot water basin either fitted with dynamically balanced axial flow type fan-direct driven or driven through reduction gear box with TEFC induction motor, suction screen, make up quick fill arrangement, overflow and drain connections with necessary valves and suitable inspection ladder, motor, access arrangement for cooling tower interior, cement concrete foundation, steel/ masonry supporting structure, anti-vibration mountings etc. complete as per specifications and as required. Each shall be provided with MCB isolator in weather proof, 16SWG CRCA sheet steel enclosure Powder coated For further details, refer technical specifications and scope of work. | 2.00 | EA |  | 844171.00 | 1992243.56 | 308110.00 | 727139.60 | 650000.00 | 1534000.00 | 727139.60 | Blue Star Limited
1.06 | SITC of Air Handling Unit for CB SITC of Air Handling Unit designed for Control Room Capacity: 25000 cfm Each unit shall be complete with the Pre filter, Fine filter, Cooling coil section of copper tubes, aluminum fins, Fan section with DIDW Centrifugal fan, High efficiency 'IE3' squirrel cage induction motor, V-Belt drive package, Supporting arrangement comprising of supporting GI rods, GI channels, dash fasteners & vibration isolators, Connection to be provided with Existing duct for Control Room and Fresh air duct. Three (3) set of filters shall be provided by contractor separately along with 25000 CFM AHU Three (3) set of Belts shall be provided by contractor separately along with 25000 CFM AHU For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 1438227.00 | 1697107.86 | 1141225.00 | 1346645.50 | 1040000.00 | 1227200.00 | 1227200.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
1.07 | SITC of AHU designed for Office Room CB SITC of Air Handling Unit designed for Office rooms in Control Room Building Capacity: 7000 cfm Each unit shall be complete with the Pre filter, Fine filter, Cooling coil section of copper tubes, aluminum fins, Fan section with DIDW Centrifugal fan, High efficiency 'IE3' squirrel cage induction motor, V-Belt drive package, Supporting arrangement comprising of supporting GI rods, GI channels, dash fasteners & vibration isolators, Connection to be provided with Existing duct for Office space in Control Room Building and fresh air duct. Three (3) set of filters shall be provided by contractor separately along with 7000 CFM AHU Three (3) set of Belts shall be provided by contractor separately along with 7000 CFM AHU For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 484722.00 | 571971.96 | 378125.00 | 446187.50 | 358282.00 | 422772.76 | 422772.76 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
1.08 | SITC of Condenser & Chilled Water Pipe<4 SITC of Condenser and Chilled Water Piping for Control Room Building Supplying, laying/ fixing, testing and commissioning of Condenser and Chilled Water Piping of following nominal sizes inside & outside the building (with required painting, necessary supports, clamps, vibration isolators and fittings but excluding valves, strainers, gauges etc.) Upto 4 Inch piping For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 1918.00 | 339486.00 | 1955.00 | 346035.00 | 1420.00 | 251340.00 | 251340.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
1.09 | SITC of Condenser & Chilled Water Pipe>4 SITC of Condenser and Chilled Water Piping for Control Room Building Supplying, laying/ fixing, testing and commissioning of Condenser and Chilled Water Piping of following nominal sizes inside & outside the building (with required painting, necessary supports, clamps, vibration isolators and fittings but excluding valves, strainers, gauges etc.) above 4 Inch piping For further details, refer technical specifications and scope of work. | 250.00 | ZR1 |  | 1918.00 | 565810.00 | 4245.00 | 1252275.00 | 3340.00 | 985300.00 | 565810.00 | BRITE INDUSTRIES
1.10 | SITC of Chilled Water Piping Insulation SITC of Chilled Water Piping Insulation for Control Room Building For chilled water line, providing and fixing with Nitrile Insulation complete with adhesive and to be seal with Alu cladding (UoM in sq mtr of pipe surface area) For further details, refer technical specifications and scope of work. | 200.00 | ZR1 |  | 1264.00 | 298304.00 | 1620.00 | 382320.00 | 977.00 | 230572.00 | 230572.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
1.11 | SITC of Balancing Valve for Control Room SITC of Balancing Valve for Control Room Building SITC of 2-way pressure induced balancing and control valves for chilled water control at AHU. For further details, refer technical specifications and scope of work. | 2.00 | EA |  | 411946.00 | 972192.56 | 76665.00 | 180929.40 | 58115.00 | 137151.40 | 137151.40 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
1.12 | SITC of Stainless Steel Expansion Tank SITC of Stainless Steel Expansion Tank Capacity: 1000 Liters for Control Room Building Complete with outlet for system connection, overflow, make-up connection, overflow connection , drain connection, vent connection, valves and fittings as required. For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 307507.00 | 362858.26 | 172895.00 | 204016.10 | 286300.00 | 337834.00 | 204016.10 | Blue Star Limited
1.13 | SITC fof Electrical Panel for CB Supply Installation Testing and Commissioning of Electrical Panel for Control Room Building Cubical type main LT panel board suitable for 3 phase, 415 V, 50Hz AC supply, Common electrical panel shall be provided containg minimum following feeders: a) 02 nos. of incomer of 1000A each, 4P with Air Circuit Breaker (ACB) b) 01 no. of Bus Coupler of 1000A, 4P with Air Circuit Breaker (ACB) c) 04 nos. of outgoing for Compressor motors of suitable rating as per design, d) 03 nos. of outgoing for condenser water pumps of suitable rating as per design, e) 03 nos. of outgoing for chilled water pumps of suitable rating as per design, f) 03 nos. of outgoing for cooling tower of suitable rating as per design, g) 02 nos. of outgoing for AHU-1 of suitable rating as per design, h) 02 nos. of outgoing for AHU-2 of suitable rating as per design, i) 07 nos. of outgoing for existing Split AC Unit of 10 KW rating, j) 04 no. of outgoing for existing strip heater of 12 KW rating, k) 02 no. of outgoing for existing Fresh Air Fan of 1.1 KW rating, l) 04 nos. of outgoing for existing Exhaust fan of 1.0 KW rating, m) 03 nos. of outgoing for existing Pan humidifier of 2.3 KW rating, n) 01 no. of outgoing for capacitor bank of suitable rating as per design for maintaining the power factor >0.95, o) 01 no. of compartment for Capacitor Bank (APFC) as per design for maintaining the power factor >0.95, p) 230 V AC to 24 V DC converter with suitable feeder of suitable rating as per design For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 3804018.00 | 4488741.24 | 3892570.00 | 4593232.60 | 2987500.00 | 3525250.00 | 3525250.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
1.14 | SITC of Cable work (3.5C X 150 sqmm) SITC of Cable Works for Control Room Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 3.5C X 150 sqmm For further details, refer technical specifications and scope of work. | 100.00 | ZR1 |  | 1184.00 | 139712.00 | 1145.00 | 135110.00 | 1155.00 | 136290.00 | 135110.00 | Blue Star Limited
1.15 | SITC of Cable work (3.5C X 120 sqmm) SITC of Cable Works for Control Room Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays / supports as required including connections on both sides as per specifications and as required. 3.5C X 120 sqmm For further details, refer technical specifications and scope of work. | 100.00 | ZR1 |  | 1011.00 | 119298.00 | 965.00 | 113870.00 | 990.00 | 116820.00 | 113870.00 | Blue Star Limited
1.16 | SITC of Cable work (3.5C X 50 sqmm) SITC of Cable Works for Control Room Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 3.5C X 50 sqmm. For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 514.00 | 90978.00 | 510.00 | 90270.00 | 520.00 | 92040.00 | 90270.00 | Blue Star Limited
1.17 | SITC of Cable work (4C X 25 sqmm) SITC of Cable Works for Control Room Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 4C X 25 sqmm For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 361.00 | 63897.00 | 350.00 | 61950.00 | 380.00 | 67260.00 | 61950.00 | Blue Star Limited
1.18 | SITC of Cable work (4C X 10 sqmm) SITC of Cable Works for Control Room Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 4C X 10 sqmm For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 279.00 | 49383.00 | 245.00 | 43365.00 | 290.00 | 51330.00 | 43365.00 | Blue Star Limited
1.19 | SITC of Cable work (2Cx 1.5 sqmm) SITC of Cable Works for Control Room Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 2C X 1.5 sqmm Flexible control wiring For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 193.00 | 34161.00 | 100.00 | 17700.00 | 110.00 | 19470.00 | 17700.00 | Blue Star Limited
1.20 | SITC Perforated MS cable tray 150x50x1.6 SITC Perforated MS cable trays for Control Room Building 150mm (W) x 50mm (D) x 1.6 mm thickness For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 324.00 | 57348.00 | 725.00 | 128325.00 | 425.00 | 75225.00 | 57348.00 | BRITE INDUSTRIES
1.21 | SITC Perforated MS cable tray 300x50x1.6 SITC Perforated MS cable trays for Control Room Building 300mm (W) x 50mm (D) x 1.6 m thickness For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 487.00 | 86199.00 | 1255.00 | 222135.00 | 690.00 | 122130.00 | 86199.00 | BRITE INDUSTRIES
1.22 | SITC Perforated MS cable trays 600x50x2 SITC Perforated MS cable trays for Control Room Building 600mm (W) x 50mm (D) x 2.0 mm thickness For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 1003.00 | 177531.00 | 1730.00 | 306210.00 | 1400.00 | 247800.00 | 177531.00 | BRITE INDUSTRIES
1.23 | SITC of GI Strip, 25x4 mm SITC of GI Strip, 25mm x 4mm For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 174.00 | 30798.00 | 200.00 | 35400.00 | 200.00 | 35400.00 | 30798.00 | BRITE INDUSTRIES
1.24 | SITC of PLC Based Control Unit for CB SITC of PLC Based Control Unit for Control Room Building For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 539213.00 | 636271.34 | 455565.00 | 537566.70 | 1268500.00 | 1496830.00 | 537566.70 | Blue Star Limited
1.25 | SITC of Civil work for CB SITC of Civil work during the execuation for Control Room Building For further details, refer technical specifications and scope of work. | 1.00 | LTO |  | 128000.00 | 151040.00 | 76815.00 | 90641.70 | 230000.00 | 271400.00 | 90641.70 | Blue Star Limited
1.26 | Providing temporary cooling arrangement Providing of temporary cooling arrangement for Office space in Control Room Building as per SOW For further details, refer technical specifications and scope of work. | 1.00 | LTO |  | 158400.00 | 186912.00 | 29545.00 | 34863.10 | 100000.00 | 118000.00 | 34863.10 | Blue Star Limited
2.00 | SITC of HVAC OF ADMINISTRATIVE BUILDING
2.01 | SITC of Water Cooled Screw compressor AB SITC of Water Cooled Screw compressor for Administrative Building Supply, Installation, Testing and Commissioning of Water Cooled Screw compressor,Capacity 110TR (upto+10%), With Eco-friendly refrigerant (like R134a). Each Unit Shall be complete with motor, Water cooled Condenser, Water chiller with standard accessories refrigerant piping, fittings, valves, etc. as required For further details, refer technical specifications and scope of work. | 2.00 | EA |  | 3296970.00 | 7780849.20 | 2653385.00 | 6261988.60 | 2800000.00 | 6608000.00 | 6261988.60 | Blue Star Limited
2.02 | SITC of Condensor Water Pump Set for AB SITC of Condensor Water Pump Set for Administrative building, Head: Mininmum 36 Mtrs Each Unit Shall be capable of delivering complete with Gate valves, NRV, Y-Type Strainer, Mechanical seal, Motor, Pressure gauges with isolation valve, Mounting frame with antivibration pads, RCC/ cement concrete foundation For further details, refer technical specifications and scope of work. | 2.00 | EA |  | 285969.00 | 674886.84 | 251760.00 | 594153.60 | 250000.00 | 590000.00 | 590000.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
2.03 | SITC of Chiller Water Pump Set for AB SITC of Chiller Water Pump Set for Administrative building, Head: Minimum 27 Mtrs Each Unit Shall be complete with Gate valves, NRV, Y-Type Strainer, Mechanical seal, Motor, Pressure gauges with isolation valve, Mounting frame with antivibration pads, RCC/ cement concrete foundation, Insulation cladded with Aluminium sheet, For further details, refer technical specifications and scope of work. | 2.00 | EA |  | 236759.00 | 558751.24 | 188895.00 | 445792.20 | 190000.00 | 448400.00 | 445792.20 | Blue Star Limited
2.04 | SITC of FRP Cooling Tower designed fr AB SITC of FRP Cooling Tower designed for Administrative building Capaicty: Minimum 150 TR. Unit shall be complete with FRP water basin, PVC fillings with integral louvers and drift eliminators complete with hot water basin either fitted with dynamically balanced axial flow type fan-direct driven or driven through reduction gear box with TEFC induction motor, suction screen, make up quick fill arrangement, overflow and drain connections with necessary valves and suitable inspection ladder, motor, access arrangement for cooling tower interior, cement concrete foundation, steel/ masonry supporting structure, anti-vibration mountings etc. complete as per specifications and as required. Each shall be provided with MCB isolator in weather proof, 16SWG CRCA sheet steel enclosure Powder coated For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 844171.00 | 996121.78 | 272810.00 | 321915.80 | 380668.00 | 449188.24 | 321915.80 | Blue Star Limited
2.05 | SITC of Air Handling Unit designed fr AB SITC of Air Handling Unit designed for Administrative building, Capacity: 18000 cfm Each unit shall be complete with the Pre filter, Fine filter, Cooling coil section of copper tubes, aluminum fins, Fan section with DIDW Centrifugal fan, High efficiency 'IE3' squirrel cage induction motor, V-Belt drive package, Supporting arrangement comprising of supporting GI rods, GI channels, dash fasteners & vibration isolators, Connection to be provided with Existing duct used for Administrative Building Office space Three (3) set of filters shall be provided by contractor separately along with 18000 CFM AHU Three (3) set of Belts shall be provided by contractor separately along with 18000 CFM AHU For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 1061945.00 | 1253095.10 | 766110.00 | 904009.80 | 755300.00 | 891254.00 | 891254.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
2.06 | SITC of Condenser&Chilled Water Pipe<4 SITC of Condenser and Chilled Water Piping for Administrative building Supplying, laying/ fixing, testing and commissioning of Condenser and Chilled Water Piping of following nominal sizes inside & outside the building (with required painting, necessary supports, clamps, vibration isolators and fittings but excluding valves, strainers, gauges etc.) Upto 4 Inch piping For further details, refer technical specifications and scope of work. | 140.00 | ZR1 |  | 1918.00 | 316853.60 | 1955.00 | 322966.00 | 1420.00 | 234584.00 | 234584.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
2.07 | SITC of Condenser&Chilled Water Pipe>4 SITC of Condenser and Chilled Water Piping for Administrative building Supplying, laying/ fixing, testing and commissioning of Condenser and Chilled Water Piping of following nominal sizes inside & outside the building (with required painting, necessary supports, clamps, vibration isolators and fittings but excluding valves, strainers, gauges etc.) above 4 Inch piping For further details, refer technical specifications and scope of work. | 180.00 | ZR1 |  | 1918.00 | 407383.20 | 3890.00 | 826236.00 | 2380.00 | 505512.00 | 407383.20 | BRITE INDUSTRIES
2.08 | SITC of Chilled Water Piping Insulation SITC of Chilled Water Piping Insulation for Administrative building For chilled water line, providing and fixing with Nitrile Insulation complete with adhesive and to be seal with Alu cladding (UoM in sq mtr of pipe surface area) For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 1264.00 | 223728.00 | 1815.00 | 321255.00 | 957.00 | 169389.00 | 169389.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
2.09 | SITC of Balancing Valve for AB SITC of Balancing Valve for Administrative building SITC of 2-way pressure induced balancing and control valves for chilled water control at AHU. For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 550618.00 | 649729.24 | 76960.00 | 90812.80 | 68500.00 | 80830.00 | 80830.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
2.10 | SITC of Stainless Steel Expansion Tank SITC of Stainless Steel Expansion Tank, Capacity: 1000 Liters for Administrative building Complete with outlet for system connection, overflow, make-up connection, overflow connection, drain connection, vent connection, valves and fittings as required. For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 307507.00 | 362858.26 | 212720.00 | 251009.60 | 286300.00 | 337834.00 | 251009.60 | Blue Star Limited
2.11 | SITC of Electrical Panel for AB Supply Installation Testing and Commissioning of Electrical Panel for Administrative Building Cubical type main LT panel board suitable for 3 phase, 415 V, 50Hz AC supply, Common electrical panel shall be provided containg minimum following feeders: a) 02 nos. of incomer of 1000A each, 4P with Air Circuit Breaker (ACB) b) 01 no. of Bus Coupler of 1000A, 4P with Air Circuit Breaker (ACB) c) 03 nos. of outgoing for Compressor motors of suitable rating as per design, d) 03 nos. of outgoing for condenser water pumps of suitable rating as per design, e) 03 nos. of outgoing for chilled water pumps of suitable rating as per design, f) 02 nos. of outgoing for cooling tower of suitable rating as per design, g) 02 nos. of outgoing for AHU of suitable rating as per design, i) 02 nos. of outgoing for existing Split AC Unit of 10 KW rating, j) 08 no. of outgoing for existing strip heater of 12 KW rating, k) 02 no. of outgoing for existing Fresh Air Fan of 1.1 KW rating, l) 02 nos. of outgoing for existing Pan humidifier of 2.3 KW rating, m) 02 nos. of outgoing for existing Exhaust fan of 5 KW rating, n) 01 no. of outgoing for existing Solar PV System of 30 KW rating, o) 01 no. of outgoing for capacitor bank of suitable rating as per design for maintaining the power factor >0.95, p) 01 no. of compartment for Capacitor Bank (APFC) as per design for maintaining the power factor >0.95, q) 230 V AC to 24 V DC converter with suitable feeder of suitable rating as per design For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 3804018.00 | 4488741.24 | 3525495.00 | 4160084.10 | 2987500.00 | 3525250.00 | 3525250.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
2.12 | SITC of Cable Works (3.5Cx150sqmm) SITC of Cable Works for Administrative Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 3.5C X 150 sqmm For further details, refer technical specifications and scope of work. | 100.00 | ZR1 |  | 1184.00 | 139712.00 | 1260.00 | 148680.00 | 1155.00 | 136290.00 | 136290.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
2.13 | SITC of cable work (3.5Cx120sqmm) SITC of Cable Works for Administrative Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 3.5C X 120 sqmm For further details, refer technical specifications and scope of work. | 100.00 | ZR1 |  | 1011.00 | 119298.00 | 1060.00 | 125080.00 | 990.00 | 116820.00 | 116820.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
2.14 | SITC of Cable work (3.5C X 50 sqmm) SITC of Cable Works for Control Room Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 3.5C X 50 sqmm For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 514.00 | 90978.00 | 615.00 | 108855.00 | 520.00 | 92040.00 | 90978.00 | BRITE INDUSTRIES
2.15 | SITC of Cable work (4C X 25 sqmm) SITC of Cable Works for Administrative Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 4C X 25 sqmm For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 361.00 | 63897.00 | 460.00 | 81420.00 | 380.00 | 67260.00 | 63897.00 | BRITE INDUSTRIES
2.16 | SITC of Cable work (4C X 10 sqmm) SITC of Cable Works for Administrative Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 4C X 10 sqmm For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 279.00 | 49383.00 | 360.00 | 63720.00 | 290.00 | 51330.00 | 49383.00 | BRITE INDUSTRIES
2.17 | SITC of Cable work (2C x 1.5 sqmm) SITC of Cable Works for Administrative Building Complete cable work using XLPE insulated PVC sheathed steel tape/wire armored underground aluminum conductor cables of following sizes for electric Supply from main panel in AC Plant Room, to various loads including interconnections from starters to motors on suitable cable trays/supports as required including connections on both sides as per specifications and as required. 2C X 1.5 sqmm Flexible control wiring For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 193.00 | 34161.00 | 100.00 | 17700.00 | 110.00 | 19470.00 | 17700.00 | Blue Star Limited
2.18 | SITC Perforated MS cable tray 150x50x1.6 SITC Perforated MS cable trays for Administrative Building 150mm (W) x 50mm (D) x 1.6 mm thickness For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 324.00 | 57348.00 | 725.00 | 128325.00 | 425.00 | 75225.00 | 57348.00 | BRITE INDUSTRIES
2.19 | SITC Perforated MS cable tray 300x50x1.6 SITC Perforated MS cable trays for Administrative Building 300mm (W) x 50mm (D) x 1.6 m thickness For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 487.00 | 86199.00 | 1255.00 | 222135.00 | 690.00 | 122130.00 | 86199.00 | BRITE INDUSTRIES
2.20 | SITC Perforated MS cable trays 600x50x2 SITC Perforated MS cable trays for Administrative Building 600mm (W) x 50mm (D) x 2.0 mm thickness For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 1003.00 | 177531.00 | 1730.00 | 306210.00 | 1400.00 | 247800.00 | 177531.00 | BRITE INDUSTRIES
2.21 | SITC of GI Strip, 25x4 mm SITC of GI Strip, 25mm x 4mm For further details, refer technical specifications and scope of work. | 150.00 | ZR1 |  | 174.00 | 30798.00 | 200.00 | 35400.00 | 200.00 | 35400.00 | 30798.00 | BRITE INDUSTRIES
2.22 | SITC of PLC Based Control Unit for AB SITC of PLC Based Control Unit for Administrative Building For further details, refer technical specifications and scope of work. | 1.00 | EA |  | 539213.00 | 636271.34 | 478610.00 | 564759.80 | 1268500.00 | 1496830.00 | 564759.80 | Blue Star Limited
2.23 | SITC of Civil work during the execut AB SITC of Civil work during the execuation for Administrative Building For further details, refer technical specifications and scope of work. | 1.00 | LTO |  | 128000.00 | 151040.00 | 47270.00 | 55778.60 | 150000.00 | 177000.00 | 55778.60 | Blue Star Limited
2.24 | Providing temporary cooling arrangement Providing of temporary cooling arrangement for Office space in Administrative Building For further details, refer technical specifications and scope of work. | 1.00 | LTO |  | 158400.00 | 186912.00 | 112265.00 | 132472.70 | 360000.00 | 424800.00 | 132472.70 | Blue Star Limited
3.00 | Part-B (Service Visit During Warranty Period)
3.01 | Monthly Service visit during Warranty AB Monthly Service visit during Warranty Period for Administartive Building For further details, refer technical specifications and scope of work. | 12.00 | EA |  | 12800.00 | 181248.00 | 1065.00 | 15080.40 | 5000.00 | 70800.00 | 15080.40 | Blue Star Limited
3.02 | Monthly Service visit during Warranty Monthly Service visit during Warranty Period for Control Room Building For further details, refer technical specifications and scope of work. | 12.00 | EA |  | 12800.00 | 181248.00 | 1065.00 | 15080.40 | 5000.00 | 70800.00 | 15080.40 | Blue Star Limited
4.00 | Part-C (AMC for both buildings)
4.01 | AMC for 3 years for Administartive Build Quaterly Service visit during Comprehensive AMC for 3 years for Administartive Building For further details, refer technical specifications and scope of work. | 12.00 | EA |  | 203185.00 | 2877099.60 | 50835.00 | 719823.60 | 75000.00 | 1062000.00 | 719823.60 | Blue Star Limited
4.02 | AMC for 3 years for Control Room Building Quaterly Service visit during Comprehensive AMC for 3 years for Control Room Building For further details, refer technical specifications and scope of work. | 12.00 | EA |  | 304688.00 | 4314382.08 | 75660.00 | 1071345.60 | 90000.00 | 1274400.00 | 1071345.60 | Blue Star Limited
5.00 | Part-D (Buy-back for both equipment’s)
5.01 | Buy back value for Old Equipment of Administrative Building For further details, refer technical specifications and scope of work. | 1.00 | Nos |  | 448000.00 | -528640.00 | 1398305.00 | -1649999.90 | 720000.00 | -849600.00 | -1649999.90 | Blue Star Limited
5.02 | Buy back value for Old Equipment of Control Room Building For further details, refer technical specifications and scope of work. | 1.00 | Nos |  | 576000.00 | -679680.00 | 1398305.00 | -1649999.90 | 900000.00 | -1062000.00 | -1649999.90 | Blue Star Limited
6.00 | The Bid will be further evaluated in accordance with clause 28 of SCC as per the following Formula: The Bid will be evaluated as per the following Formula: Quoted Rate for SOR Item Part-A (SITC of Both buildings) + SOR Item Part-B (Service Visit During Warranty Period) + SOR Item Part-C (AMC for both buildings) + (-) SOR Item Part-D (Buy-back for both equipment’s) + Differential operating cost for control Room Building (E1) + Differential operating cost for Administrative Building (E2) 1) E1= Differential operating cost for control Room Building; as defined hereunder E1= F1 x C x Y1, Where: F1 = Total Equipment load for equipment’s installed in Control Room Building at Full load (i.e. at 110 TR) in kw to be declared by the bidder C = Cost of Energy, Rupees 10.00 per kw-hr Y 1= Number of hours for which loading is to be done for Control room building i.e. in 5 Years considering 24 hours operation i.e. 5X365X24 =43800 hours 2) E2= Differential operating cost for Administrative Building; as defined hereunder E2= F2 x C x Y2, Where: F2 = Total Equipment load for equipment’s installed in Administrative Building at Full load (i.e. at 110 TR) in kw to be declared by the bidder C = Cost of Energy, Rupees 10.00 per kw-hr Y 2= Number of hours for which loading is to be done for Administrative building i.e. in 5 Years considering 8 Hrs. operation (office time) and Total working days [365 (Total days in a year)-[52 (Sundays) +24 (Saturdays) +13 (Holidays)]=276 days i.e. 5X276X8 = 11040 hours Total Equipment load at Full load (i.e. at 110 TR) (F1): Note: In case during site performance test, total equipment load exceeds the stipulated guaranteed value (individual equipment load) at then prevailing condition /given conditions, the subject package or part of it will get rejected and amount will be recovered from CPBG.
6.01 | Control Room Building: Screw Compressor (110TR) | 2.00 | Nos |  | 72.60 | 75045168.00 | 68.89 | 60347640.00 | 67.00 | 58692000.00 | 58692000.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
6.02 | Control Room Building: Condenser Water Pump (36 Mfs) | 2.00 | Nos |  | 22.00 | 22740960.00 | 15.00 | 13140000.00 | 14.00 | 12264000.00 | 12264000.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
6.03 | Control Room Building: Chilled Water Pump (27 Mfs) | 1.00 | Nos |  | 9.30 | 4806612.00 | 7.50 | 3285000.00 | 7.00 | 3066000.00 | 3066000.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
6.04 | Control Room Building: Cooling Tower (150TR) | 1.00 | Nos |  | 11.00 | 5685240.00 | 3.75 | 1642500.00 | 7.00 | 3066000.00 | 1642500.00 | Blue Star Limited
6.05 | Control Room Building: AHU-1 (700 cfm) | 1.00 | Nos |  | 5.50 | 2842620.00 | 3.75 | 1642500.00 | 3.30 | 1445400.00 | 1445400.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
6.06 | Control Room Building: AHU-2 (25000 cfm) | 1.00 | Nos |  | 15.00 | 7752600.00 | 15.00 | 6570000.00 | 11.00 | 4818000.00 | 4818000.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
6.07 | Administrative Building: Screw Compressor (110TR) | 1.00 | Nos |  | 72.60 | 9457747.20 | 68.89 | 7605456.00 | 67.00 | 7396800.00 | 7396800.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
6.08 | Administrative Building: Condenser Water Pump (36 Mfs) | 1.00 | Nos |  | 22.00 | 2865984.00 | 15.00 | 1656000.00 | 14.00 | 1545600.00 | 1545600.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
6.09 | Administrative Building: Chilled Water Pump (27 Mfs) | 1.00 | Nos |  | 9.30 | 1211529.60 | 7.50 | 828000.00 | 7.00 | 772800.00 | 772800.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
6.10 | Administrative Building: Cooling Tower (150TR) | 1.00 | Nos |  | 11.00 | 1432992.00 | 3.75 | 414000.00 | 5.00 | 552000.00 | 414000.00 | Blue Star Limited
6.11 | Administrative Building: AHU (18000 cfm) | 1.00 | Nos |  | 11.00 | 1432992.00 | 11.00 | 1214400.00 | 7.50 | 828000.00 | 828000.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
| Total in Figures |  |  |  |  | 187795382.22 |  | 135961736.60 |  | 134886651.40
Lowest Amount Quoted BY: M/s. PRANAM HVAC ENGINEERING PVT. LTD.(134886651.40)

## BOQ Summary
BOQ Summary Details Tender Title: REPLACEMENT OF HVAC SYSTEM INSTALLED AT CONTROL ROOM BUILDING AND ADMINISTRATIVE BUILDING OF HAZIRA COMPRESSOR STATION WITH NEW AIR CONDITIONING SYSTEM UNDER BUY-BACK Tender ID: 2026_GAIL_267340_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s. PRANAM HVAC ENGINEERING PVT. LTD. (BID ID -991316) | 134886651.40 | L1
| 2 | Blue Star Limited (BID ID -991187) | 135961736.60 | L2
| 3 | BRITE INDUSTRIES (BID ID -990601) | 187795382.22 | L3

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: REPLACEMENT OF HVAC SYSTEM INSTALLED AT CONTROL ROOM BUILDING AND ADMINISTRATIVE BUILDING OF HAZIRA COMPRESSOR STATION WITH NEW AIR CONDITIONING SYSTEM UNDER BUY-BACK Tender ID: 2026_GAIL_267340_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | M/s. PRANAM HVAC ENGINEERING PVT. LTD. (BID ID -991316) | 134886651.40
| 2 | Blue Star Limited (BID ID -991187) | 135961736.60
| 3 | BRITE INDUSTRIES (BID ID -990601) | 187795382.22