## BoQ1
Government eProcurement System Created By: SAURABH KUMAR Created Date/Time: 08-Jul-2026 09:35 AM Tender Title: TELECOM PACKAGE Tender ID: 2026_GAIL_273682_1
Tender Inviting Authority:
Name of Work: TELECOM PACKAGE
Bidding Doc No: MKK/ C007-000-EH-T-1556/12
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Commtel Networks Limited (GSTN-27AAACC8966G1ZD) BID ID -1015648 |  | Eratronics Pvt Ltd (GSTN-NA) BID ID -1014282
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART 1 - PS-Supply
2.00 | Project Management, Survey, Design, engineering, manufacture, procurement of bought out items/components, assembly at shop, inspection, testing at manufacturer's works, documentation, supply, packing, delivery of Telecommunication System including Warrantee and Commissioning spares, consumables, construction materials and all related items as per enclosed job specification, drawing, standards, enclosed EIL standard specifications, instructions to vendors, data sheet etc. attached or referred
3.00 | TELECOMMUNICATION SYSTEM FOR MADHYA PRADESH STATE AS PER MR
4.00 | MPLS-TP (10G) equipment with various interfaces, internal clock ,EOW phone, cabinet etc. as per tender | 16.00 | Set |  | 3234000.00 | 61114560.00 | 3323866.45 | 63314850.08 | 61114560.00 | Commtel Networks Limited
5.00 | MPLS-TP NMS/EMS Client Workstation with hardware, software, licenses, Monitor(24" LED), laser jet printer(A4) as per tender | 1.00 | nos |  | 645000.00 | 764640.00 | 896453.29 | 1074965.53 | 764640.00 | Commtel Networks Limited
6.00 | Local Craft Terminal with required software for MPLS-TP system as per tender | 1.00 | nos |  | 400000.00 | 475540.00 | 334546.90 | 411915.99 | 411915.99 | Eratronics Pvt Ltd
7.00 | Industrial Grade PoE Ethernet LAN Switch (8 Ports) for MPLS-TP system | 1.00 | nos |  | 109906.00 | 133229.08 | 99452.32 | 134504.39 | 133229.08 | Commtel Networks Limited
8.00 | Router with Firewall for MPLS-TP system | 1.00 | nos |  | 945000.00 | 1118640.00 | 1467345.98 | 1760452.95 | 1118640.00 | Commtel Networks Limited
9.00 | EDFA Amplifier (Pre & Booster) with accessories | 1.00 | Lot |  | 90000.00 | 109740.00 | 296745.89 | 379144.84 | 109740.00 | Commtel Networks Limited
10.00 | IP Phone with license, power supply adaptor and patch cord | 16.00 | nos |  | 28000.00 | 585280.00 | 37546.73 | 983292.64 | 585280.00 | Commtel Networks Limited
11.00 | Explosion proof VoIP telephone (with acoustic hood, howler & flashing beacon) with accessories | 16.00 | nos |  | 395000.00 | 7514240.00 | 456453.98 | 9249506.56 | 7514240.00 | Commtel Networks Limited
12.00 | Industrial Grade PoE Ethernet LAN Switch (8 Ports) for IP Phones | 5.00 | nos |  | 109906.00 | 666145.40 | 99452.32 | 672521.95 | 666145.40 | Commtel Networks Limited
13.00 | IP based Weather-proof CCTV Camera (Fixed) along with all housing & mounting accessories, IR illuminator etc. as per tender | 3.00 | nos |  | 425000.00 | 1515120.00 | 498564.34 | 1870609.20 | 1515120.00 | Commtel Networks Limited
14.00 | IP based Ex-proof CCTV cameras (PTZ) along with ex-proof JB, inbuilt IR illuminator, housing & mounting accessories etc. | 23.00 | nos |  | 1438000.00 | 39108740.00 | 1374578.89 | 38838211.70 | 38838211.70 | Eratronics Pvt Ltd
15.00 | NVR server hardware including Management & Recording Server with storage, cabinet, KVM monitor (19"), Video Management & Recording Software with licenses, switch etc. as per tender | 1.00 | Set |  | 4500000.00 | 5313540.00 | 7345231.56 | 8720877.86 | 5313540.00 | Commtel Networks Limited
16.00 | CCTV Client workstation with monitor (32" LED), software, license, Joystick, keyboards, Color printer(A4) etc. as per tender | 1.00 | nos |  | 398000.00 | 473180.00 | 896453.29 | 1074965.53 | 473180.00 | Commtel Networks Limited
17.00 | Industrial Grade PoE Ethernet LAN Switch (8 Ports) for Cameras | 15.00 | nos |  | 109906.00 | 1998436.20 | 99452.32 | 2017565.85 | 1998436.20 | Commtel Networks Limited
18.00 | Managed, POE+, Layer-2 Ethernet LAN Switch (24 Ports) | 1.00 | nos |  | 398000.00 | 473180.00 | 273451.56 | 336423.62 | 336423.62 | Eratronics Pvt Ltd
19.00 | Viewing Monitor (65" LED) along with accessories as per tender | 1.00 | nos |  | 95000.00 | 115640.00 | 65438.45 | 87772.82 | 87772.82 | Eratronics Pvt Ltd
20.00 | Total end-to-end solution for leased line (20 Mbps) b/w Vijaipur DT - GAIL Mumbai, including Router, firewall, installation and annual charges etc. as per tender | 1.00 | Lot |  | 600000.00 | 711540.00 | 1423178.57 | 1686965.49 | 711540.00 | Commtel Networks Limited
21.00 | Total end-to-end solution for leased line (10 Mbps) b/w Vijaipur DT - GAIL Noida, including Router, firewall, installation and annual charges etc. as per tender | 1.00 | Lot |  | 500000.00 | 593540.00 | 1423178.57 | 1686965.49 | 593540.00 | Commtel Networks Limited
22.00 | Total end-to-end solution for leased line (2 Mbps) b/w Vijaipur DT - GAIL Noida, including Router, firewall, installation and annual charges etc. as per tender | 1.00 | Lot |  | 500000.00 | 593540.00 | 1423178.57 | 1686965.49 | 593540.00 | Commtel Networks Limited
23.00 | OTDR with necessary interfaces, connector, cable, patch cord, jumpers, batteries etc. | 1.00 | nos |  | 646000.00 | 765820.00 | 589764.34 | 705166.39 | 705166.39 | Eratronics Pvt Ltd
24.00 | Laser Source (Hand held) with necessary interfaces, connector, cable, patchcord, batteries etc. | 1.00 | nos |  | 390000.00 | 463740.00 | 283456.34 | 343722.95 | 343722.95 | Eratronics Pvt Ltd
25.00 | Power Meter (Hand held)with necessary interfaces, connector, cable, patchcord, batteries etc. | 1.00 | nos |  | 245000.00 | 292640.00 | 193456.76 | 237523.45 | 237523.45 | Eratronics Pvt Ltd
26.00 | Ethernet/ IP Tester with necessary interfaces, connector, cable, patchcord, batteries etc. | 1.00 | nos |  | 646000.00 | 765820.00 | 589764.34 | 705166.39 | 705166.39 | Eratronics Pvt Ltd
27.00 | Fibre optic cleaning kit for cleaning Pig Tail (non - alcoholic) | 1.00 | nos |  | 30000.00 | 38940.00 | 23785.32 | 37311.15 | 37311.15 | Eratronics Pvt Ltd
28.00 | Furniture as per tender | 1.00 | Lot |  | 45000.00 | 56640.00 | 32674.56 | 43665.18 | 43665.18 | Eratronics Pvt Ltd
29.00 | Installation materials & accessories i.e. all types of signal & power cables, telephone cables, Cat-6A cables, media & power converters/rectifiers, SPD, JB, LIU, MCB, Patch Panel, I/O, Patch Cord, GI/HDPE Pipe, pig tails, OFC & accessories, etc. as per tender | 1.00 | Lot |  | 7900000.00 | 9325540.00 | 5643289.45 | 6676232.20 | 6676232.20 | Eratronics Pvt Ltd
30.00 | TELECOMMUNICATION SYSTEM FOR UTTAR PRADESH STATE AS PER MR
31.00 | MPLS-TP (10G) equipment with various interfaces, internal clock ,EOW phone, cabinet etc. as per tender | 13.00 | Set |  | 3234000.00 | 49655580.00 | 3323866.45 | 51443315.69 | 49655580.00 | Commtel Networks Limited
32.00 | MPLS-TP EMS Server complete with hardware, software, licenses, KVM monitor(19"), Cabinet as per tender | 1.00 | Set |  | 2640000.00 | 3118740.00 | 3943268.32 | 4670207.27 | 3118740.00 | Commtel Networks Limited
33.00 | MPLS-TP NMS/EMS Client Workstation with hardware, software, licenses, Monitor(24" LED), laser jet printer(A4) as per tender | 2.00 | nos |  | 645000.00 | 1529280.00 | 896453.29 | 2149931.06 | 1529280.00 | Commtel Networks Limited
34.00 | Industrial Grade PoE Ethernet LAN Switch (8 Ports) for MPLS-TP system | 2.00 | nos |  | 109906.00 | 266458.16 | 99452.32 | 269008.78 | 266458.16 | Commtel Networks Limited
35.00 | Router with Firewall for MPLS-TP system | 2.00 | nos |  | 945000.00 | 2237280.00 | 1467345.98 | 3520905.90 | 2237280.00 | Commtel Networks Limited
36.00 | EDFA Amplifier (Pre & Booster) with accessories | 1.00 | Lot |  | 90000.00 | 109740.00 | 296745.89 | 379144.84 | 109740.00 | Commtel Networks Limited
37.00 | Adequacy check, Up-gradation & reconfiguration of existing MPLS-TP NMS Server for adding new nodes OR New MPLS-TP NMS Server complete with hardware, software, licenses, KVM monitor (19"), switch etc. as per tender | 1.00 | nos |  | 2640000.00 | 3118740.00 | 3943268.32 | 4670207.27 | 3118740.00 | Commtel Networks Limited
38.00 | Adequacy check, Up-gradation & reconfiguration of existing MPLS-TP NMS Client Workstation for adding new nodes OR New MPLS-TP NMS Client Workstation with hardware, software, licenses, Monitor (24" LED), printer | 1.00 | nos |  | 645000.00 | 764640.00 | 896453.29 | 1074965.53 | 764640.00 | Commtel Networks Limited
39.00 | Local Craft Terminal with required software for MPLS-TP system as per tender | 1.00 | nos |  | 400000.00 | 475540.00 | 334546.90 | 411915.99 | 411915.99 | Eratronics Pvt Ltd
40.00 | IP Phone with license, power supply adaptor and patch cord | 13.00 | nos |  | 28000.00 | 475540.00 | 37546.73 | 798925.27 | 475540.00 | Commtel Networks Limited
41.00 | Explosion proof VoIP telephone (with acoustic hood, howler & flashing beacon) with accessories | 11.00 | nos |  | 395000.00 | 5166040.00 | 456453.98 | 6359035.76 | 5166040.00 | Commtel Networks Limited
42.00 | Industrial Grade PoE Ethernet LAN Switch (8 Ports) for IP Phones | 8.00 | nos |  | 109906.00 | 1065832.64 | 99452.32 | 1076035.12 | 1065832.64 | Commtel Networks Limited
43.00 | IP based Weather-proof CCTV Camera (Fixed) along with all housing & mounting accessories, IR illuminator etc. as per tender | 4.00 | nos |  | 425000.00 | 2020160.00 | 498564.34 | 2494145.60 | 2020160.00 | Commtel Networks Limited
44.00 | IP based Ex-proof CCTV cameras (PTZ) along with ex-proof JB, inbuilt IR illuminator, housing & mounting accessories etc. | 23.00 | nos |  | 1438000.00 | 39108740.00 | 1374578.89 | 38838211.70 | 38838211.70 | Eratronics Pvt Ltd
45.00 | NVR server hardware including including Management & Recording Server with storage, cabinet, KVM monitor (19"), Video Management & Recording Software with licenses, switch etc. as per tender | 1.00 | Set |  | 4500000.00 | 5313540.00 | 7345231.56 | 8720877.86 | 5313540.00 | Commtel Networks Limited
46.00 | CCTV Client workstation with monitor (32" LED), software, license, Joystick, keyboards, Color printer(A4) etc. as per tender | 1.00 | nos |  | 398000.00 | 473180.00 | 896453.29 | 1074965.53 | 473180.00 | Commtel Networks Limited
47.00 | Industrial Grade PoE Ethernet LAN Switch (8 Ports) for Cameras | 12.00 | nos |  | 109906.00 | 1598748.96 | 99452.32 | 1614052.68 | 1598748.96 | Commtel Networks Limited
48.00 | Managed, POE+, Layer-2 Ethernet LAN Switch (24 Ports) | 1.00 | nos |  | 398000.00 | 473180.00 | 273451.56 | 336423.62 | 336423.62 | Eratronics Pvt Ltd
49.00 | Viewing Monitor (65" LED) along with accessories as per tender | 1.00 | nos |  | 95000.00 | 115640.00 | 65438.45 | 87772.82 | 87772.82 | Eratronics Pvt Ltd
50.00 | Total end-to-end solution for leased line (20 Mbps) b/w SV-24 Auraiya - GAIL Noida, including Router, firewall, installation and annual charges etc. as per tender | 1.00 | Lot |  | 600000.00 | 711540.00 | 1423178.57 | 1686965.49 | 711540.00 | Commtel Networks Limited
51.00 | Total end-to-end solution for leased line (10 Mbps) b/w SV-24 Auraiya - GAIL Jaipur, including Router, firewall, installation and annual charges etc. as per tender | 1.00 | Lot |  | 500000.00 | 593540.00 | 1423178.57 | 1686965.49 | 593540.00 | Commtel Networks Limited
52.00 | Total end-to-end solution for leased line (2 Mbps) b/w SV-24 Auraiya - GAIL Jaipur, including Router, firewall, installation and annual charges etc. as per tender | 1.00 | Lot |  | 500000.00 | 593540.00 | 1423178.57 | 1686965.49 | 593540.00 | Commtel Networks Limited
53.00 | OTDR with necessary interfaces, connector, cable, patch cord, jumpers, batteries etc. | 1.00 | nos |  | 646000.00 | 765820.00 | 589764.34 | 705166.39 | 705166.39 | Eratronics Pvt Ltd
54.00 | Laser Source (Hand held) with necessary interfaces, connector, cable, patchcord, batteries etc. | 1.00 | nos |  | 390000.00 | 463740.00 | 283456.34 | 343722.95 | 343722.95 | Eratronics Pvt Ltd
55.00 | Power Meter (Hand held)with necessary interfaces, connector, cable, patchcord, batteries etc. | 1.00 | nos |  | 245000.00 | 292640.00 | 193456.76 | 237523.45 | 237523.45 | Eratronics Pvt Ltd
56.00 | Ethernet/ IP Tester with necessary interfaces, connector, cable, patchcord, batteries etc. | 1.00 | nos |  | 646000.00 | 765820.00 | 589764.34 | 705166.39 | 705166.39 | Eratronics Pvt Ltd
57.00 | Fibre optic cleaning kit for cleaning Pig Tail (non - alcoholic) | 1.00 | nos |  | 30000.00 | 38940.00 | 23785.32 | 37311.15 | 37311.15 | Eratronics Pvt Ltd
58.00 | Furniture as per tender | 1.00 | Lot |  | 45000.00 | 56640.00 | 32674.56 | 43665.18 | 43665.18 | Eratronics Pvt Ltd
59.00 | Installation materials & accessories i.e. all types of signal & power cables, telephone cables, Cat-6A cables, media & power converters/rectifiers, SPD, JB, LIU, MCB, Patch Panel, I/O, Patch Cord, GI/HDPE Pipe, pig tails, OFC & accessories, etc. as per tender | 1.00 | Lot |  | 7900000.00 | 9325540.00 | 5643289.45 | 6676232.20 | 6676232.20 | Eratronics Pvt Ltd
60.00 | TELECOMMUNICATION SYSTEM FOR MAHARASHTRA STATE AS PER MR
61.00 | MPLS-TP EMS Server complete with hardware, software, licenses, KVM monitor(19"), Cabinet as per tender | 1.00 | Set |  | 2640000.00 | 3118740.00 | 3943268.32 | 4658407.27 | 3118740.00 | Commtel Networks Limited
62.00 | MPLS-TP NMS/EMS Client Workstation with hardware, software, licenses, Monitor (24" LED), laser jet printer (A4) as per tender | 1.00 | nos |  | 645000.00 | 764640.00 | 896453.29 | 1063165.53 | 764640.00 | Commtel Networks Limited
63.00 | Industrial Grade PoE Ethernet LAN Switch (8 Ports) for MPLS-TP system | 1.00 | nos |  | 109906.00 | 133229.08 | 99452.32 | 122704.39 | 122704.39 | Eratronics Pvt Ltd
64.00 | Router with Firewall for MPLS-TP system | 1.00 | nos |  | 945000.00 | 1118640.00 | 1467345.98 | 1736818.91 | 1118640.00 | Commtel Networks Limited
65.00 | Adequacy check, Up-gradation & reconfiguration of existing MPLS-TP NMS Server for adding new nodes OR New MPLS-TP NMS Server complete with hardware, software, licenses, KVM monitor(19"), switch etc. as per tender | 1.00 | nos |  | 2640000.00 | 3118740.00 | 3943268.32 | 4658407.27 | 3118740.00 | Commtel Networks Limited
66.00 | Adequacy check, Up-gradation & reconfiguration of existing MPLS-TP NMS Client Workstation for adding new nodes OR New MPLS-TP NMS Client Workstation with hardware, software, licenses, Monitor(24" LED), printer | 1.00 | nos |  | 645000.00 | 764640.00 | 896453.29 | 1063165.53 | 764640.00 | Commtel Networks Limited
67.00 | Furniture as per tender | 1.00 | Lot |  | 45000.00 | 56640.00 | 32674.56 | 43906.63 | 43906.63 | Eratronics Pvt Ltd
68.00 | Installation materials & accessories i.e. all types of signal & power cables, telephone cables, Cat-6A cables, media & power converters/rectifiers, SPD, JB, LIU, MCB, Patch Panel, I/O, Patch Cord, GI/HDPE Pipe, pig tails, OFC & accessories, etc. as per tender | 1.00 | Lot |  | 3900000.00 | 4605540.00 | 645389.25 | 766909.97 | 766909.97 | Eratronics Pvt Ltd
69.00 | Supply of Mandatory Spares as per clause 6.7.1 of Job Specification
70.00 | Mandatory Spares for item 01II.1000.MA1.1 | 1.00 | Lot |  | 3000000.00 | 3543540.00 | 1834536.45 | 2172529.01 | 2172529.01 | Eratronics Pvt Ltd
71.00 | Mandatory Spares for item 01II.1000.MA1.2 | 1.00 | Lot |  | 3000000.00 | 3543540.00 | 1456372.45 | 1726295.49 | 1726295.49 | Eratronics Pvt Ltd
72.00 | Mandatory Spares for item 01II.1000.MA1.3 | 1.00 | Lot |  | 900000.00 | 1065540.00 | 193456.43 | 234743.73 | 234743.73 | Eratronics Pvt Ltd
73.00 | Total price including all costs, freight, insurance till commissioning, GST etc.
74.00 | PART 2 - Site work, Extended Warranty, Extended storage, Training, Supervision etc.
75.00 | Unloading, handling, transportation from site store to work sites, storage at site, assembly at site, panel erection, installation and mounting of all equipments, minor civil works, trenching & excavations, restoration of land, interfacings, inter - intra panel wiring, installation of Telecom cables and CAT-6A outlets, power and signal cable termination, earthing, mounting arrangements, integration with third party equipments including liaisoning as applicable, integration of all services and cross connections with other Pipeline Telecommunication systems, identification & rectification of the fault, OFC fault rectification, integration, pre-commissioning, painting, insulation, commissioning, Site Acceptance Testing, Trial Run, handing over to client for fully functional Telecommunication System and other field works including civil-structural and Electrical works for the following as per the enclosed EIL standardn specifications, Instructions to vendors, job specification etc.
76.00 | For Item 01II.1000.MA1.1 | 1.00 | Lot |  | 783000.00 | 923940.00 | 2716745.45 | 3205759.63 | 923940.00 | Commtel Networks Limited
77.00 | For Item 01II.1000.MA1.2 | 1.00 | Lot |  | 783000.00 | 923940.00 | 2716745.45 | 3205759.63 | 923940.00 | Commtel Networks Limited
78.00 | For Item 01II.1000.MA1.3 | 1.00 | Lot |  | 150000.00 | 177000.00 | 956453.84 | 1128615.53 | 177000.00 | Commtel Networks Limited
79.00 | Training Charges at Vendor's Works as per clause 6.1 of Job Specification (C007-000-16-51-SP-1556) attached with tender
80.00 | For Item 01II.1000.MA1 | 10.00 | Per Diem |  | 10000.00 | 118000.00 | 17954.83 | 211867.00 | 118000.00 | Commtel Networks Limited
81.00 | Training Charges at Site as per clause 6.1 of Job Specification (C007-000-16-51-SP-1556) attached with tender
82.00 | For Item 01II.1000.MA1.1 | 2.00 | Per Diem |  | 25000.00 | 59000.00 | 18954.83 | 44733.40 | 44733.40 | Eratronics Pvt Ltd
83.00 | For Item 01II.1000.MA1.2 | 4.00 | Per Diem |  | 25000.00 | 118000.00 | 18954.83 | 89466.80 | 89466.80 | Eratronics Pvt Ltd
84.00 | For Item 01II.1000.MA1.3 | 2.00 | Per Diem |  | 25000.00 | 59000.00 | 12675.77 | 29914.82 | 29914.82 | Eratronics Pvt Ltd
85.00 | Charges of Extended Warranty as per tender (Refer clause 6.6 of Job Specification (C007-000-16-51-SP-1556) attached with tender) (It shall be part of evaluation but ordering /applicability of the same shall be separate) (The Extended Warranty is applicable only if completion of trial run/ acceptance of system by owner / handing over of system are delayed beyond 12 months from Supply (Date of receipt of Last material at site) and the delay is not attributed to contractor. Decision of start date & no of month extension of extended warranty will be as per instruction of client/ EIC)
86.00 | For Item 01II.1000.MA1.1 | 12.00 | Per Month |  | 12000.00 | 169920.00 | 2989.45 | 42330.60 | 42330.60 | Eratronics Pvt Ltd
87.00 | For Item 01II.1000.MA1.2 | 12.00 | Per Month |  | 12000.00 | 169920.00 | 2989.45 | 42330.60 | 42330.60 | Eratronics Pvt Ltd
88.00 | For Item 01II.1000.MA1.3 | 12.00 | Per Month |  | 12000.00 | 169920.00 | 2989.45 | 42330.60 | 42330.60 | Eratronics Pvt Ltd
89.00 | Charges for Extended Storage as per tender (Refer clause 6.6 of Job Specification (C007-000-16-51-SP-1556) attached with tender) (It shall be part of evaluation but ordering /applicability of the same shall be separate)
90.00 | For Item 01II.1000.MA1.1 | 12.00 | Per Month |  | 10000.00 | 141600.00 | 2989.45 | 42330.60 | 42330.60 | Eratronics Pvt Ltd
91.00 | For Item 01II.1000.MA1.2 | 12.00 | Per Month |  | 10000.00 | 141600.00 | 2989.45 | 42330.60 | 42330.60 | Eratronics Pvt Ltd
92.00 | Charges for all inclusive Man-day rates for services such as (all or less) installation/ supervision/configuration/ integration/ testing & commissioning of Telecommunication Equipment valid for the next 7 years from FOA within Vijaipur Pata C2-C3 Pipeline region applicable as & when required. The rates shall be valid for the next 7 year with the escalation from 3rd year (from FOA) of 6 % of unit rate per year (date of FOA) (Refer clause 6.9 of Job Specification (C007-000-16-51-SP-1556) attached with tender) (It shall be part of evaluation but ordering /applicability of the same shall be separate)
93.00 | For Item 01II.1000.MA1.1 | 15.00 | Per Diem |  | 5000.00 | 88500.00 | 7956.55 | 140830.95 | 88500.00 | Commtel Networks Limited
94.00 | For Item 01II.1000.MA1.2 | 15.00 | Per Diem |  | 5000.00 | 88500.00 | 7956.55 | 140830.95 | 88500.00 | Commtel Networks Limited
95.00 | Total price including all costs including GST for Site Works, Extended Warranty, Extended storage, Training, Supervision etc.
96.00 | PART 3 - Post Warranty Maintenance Contract
97.00 | Comprehensive Post Warranty Maintenance Contract (CPWMC) for complete Telecommunication System for 3 years after completion of warranty period, with year wise break-up as specified in the job specification. (CPWMC shall be considered for evaluation but ordering for the same will be separate from the main system order).
98.00 | Charges for 1st year of CPWMC for Item 01II.1000.MA1.1 | 1.00 | Lot |  | 200000.00 | 236000.00 | 956478.38 | 1128644.49 | 236000.00 | Commtel Networks Limited
99.00 | Charges for 2nd year of CPWMC for Item 01II.1000.MA1.1 | 1.00 | Lot |  | 275000.00 | 324500.00 | 1054329.94 | 1244109.33 | 324500.00 | Commtel Networks Limited
100.00 | Charges for 3rd year of CPWMC for Item 01II.1000.MA1.1 | 1.00 | Lot |  | 325000.00 | 383500.00 | 1456438.94 | 1718597.95 | 383500.00 | Commtel Networks Limited
101.00 | Charges for 1st year of CPWMC for Item 01II.1000.MA1.2 | 1.00 | Lot |  | 200000.00 | 236000.00 | 956478.38 | 1128644.49 | 236000.00 | Commtel Networks Limited
102.00 | Charges for 2nd year of CPWMC for Item 01II.1000.MA1.2 | 1.00 | Lot |  | 275000.00 | 324500.00 | 1054329.94 | 1244109.33 | 324500.00 | Commtel Networks Limited
103.00 | Charges for 3rd year of CPWMC for Item 01II.1000.MA1.2 | 1.00 | Lot |  | 325000.00 | 383500.00 | 1456438.94 | 1718597.95 | 383500.00 | Commtel Networks Limited
104.00 | Charges for 1st year of CPWMC for Item 01II.1000.MA1.3 | 1.00 | Lot |  | 200000.00 | 236000.00 | 856345.67 | 1010487.89 | 236000.00 | Commtel Networks Limited
105.00 | Charges for 2nd year of CPWMC for Item 01II.1000.MA1.3 | 1.00 | Lot |  | 275000.00 | 324500.00 | 1054329.94 | 1244109.33 | 324500.00 | Commtel Networks Limited
106.00 | Charges for 3rd year of CPWMC for Item 01II.1000.MA1.3 | 1.00 | Lot |  | 325000.00 | 383500.00 | 1456438.94 | 1718597.95 | 383500.00 | Commtel Networks Limited
107.00 | NOTE: 1. The offer shall be evaluated on package wise basis ( Supply + Mandatory Spares + Site Works + Post warranty maintenance contract + Training at Works + Training at Site + Extended Storage+ Extended Warranty + Supervision). 2.The above shall be read in conjunction with notes of MR .
| Total in Figures |  |  |  |  | 293796239.52 |  | 327349382.31
Lowest Amount Quoted BY: Commtel Networks Limited(293796239.52)

## BOQ Summary
BOQ Summary Details Tender Title: TELECOM PACKAGE Tender ID: 2026_GAIL_273682_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Commtel Networks Limited (BID ID -1015648) | 293796239.52 | L1
| 2 | Eratronics Pvt Ltd (BID ID -1014282) | 327349382.31 | L2