## BoQ1
Government eProcurement System Created By: Deepak Tantuway Created Date/Time: 05-Jun-2026 11:57 AM Tender Title: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs) Tender ID: 2026_GAIL_277666_1
Tender Inviting Authority: GAIL (INDIA) LTD / PMC: B AND R
Name of Work: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs)
TENDER REFERENCE NO : GAIL/BNR/PROJ/PROC/26-27/43 [Tender ID: 2026_GAIL_277666_1]
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | Flow Metering Technology Private Limited (GSTN-NA) BID ID -1024339 |  | Pietro Fiorentini DB India Private Limited (GSTN-NA) BID ID -1025049 |  | Honeywell Automation India Limited (GSTN-NA) BID ID -1024561
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | RPD METER WITH EVC and AMR/MIU
2.00 | Design (as per standard EN-12480), Engineering, Manufacturing, Testing, Nameplate marking, Painting, Inspection, Calibration (from a reputed calibration agency accredited to ISO 17025), Packaging, Forwarding, Transportation, Transit Insurances, Shipment, Unloading at GAIL store, Calibration and Supply of of Natural Gas RPD Meters with EVC and AMR/MIU for Commercial/ Industrial customers of GAIL(India). Note: The actual delivery locations will be mentioned at the time of the Release Order/P.O/ Dispatch Clearance. GA locations are Varanasi, Patna, Ranchi, Jamshedpur, Cuttack, and Bhubaneswar
3.00 | NATURAL GAS RPD METERS WITH EVC and AMR/MIU CAPACITY G16
4.00 | Supply and Inland transportation of Smart Gas Meter capacity G 16 with EVC and AMR/MIU | 40.00 | Nos | A.1.1 | 5080000.00 | 5994400.00 | 9759960.00 | 11516752.80 | 5128000.00 | 6051040.00 | 5080000.00 | Flow Metering Technology Private Limited | 5994400.00 | Flow Metering Technology Private Limited
5.00 | Services for Installation, testing & Commissioning for meter Size/G Rating: G-16 All Services for Installation and commissioning: Services for Installation, testing & Commissioning of Smart Commercial/Industrial Gas Metering system ( Meter + EVC+ AMR ) along with supplied accessories at consumer locations. Installation, testing and commissioning of only the items supplied (METER, EVC and AMR along with Accessories etc) by bidder is in bidder's scope. This also includes operational training to client site personals at consumer locations. All supplied Smart Commercial/Industrial Meter with EVC and AMR/MIU shall have open communication protocol for interfacing with GAIL (India) HES and MDM system. All the compatible hardware/software required at meter end for enabling the communication s and their user license for interfacing are in bidder’s scope. The communication protocol should be open like DLMS, ICE for communication with GAIL (India)’ HES/MDM. The bidder shall provide all communication address/passcodes/register address for communicating the meter data with GAIL (India) HES/MDM. Further, at least one modbus port should be provided for communicating with SCADA/RTU as required by GAIL (INDIA), bidder shall provide modbus address and other data to enable the communication. These details shall be provided to GAIL (INDIA) along with the supply. Note. The quoted rates should not be less than 4.0 % of rates of quoted (EX GST) supply of meters under respective part. | 40.00 | Nos | A.1.2 | 212000.00 | 250160.00 | 4000000.00 | 4720000.00 | 205120.00 | 242041.60 | 205120.00 | Honeywell Automation India Limited | 242041.60 | Honeywell Automation India Limited
6.00 | Services for Interfacing for meter Size/G Rating: G-16 All Services related to Interfacing of the EVC and Smart Automatic Meter Reader (AMR) to MDM Server/ portal of GAIL (India)/GAIL (India) Authorized agency. The bidder to carry out the configuration, testing and interfacing of the EVC and AMR/MIU to MDM Server/ portal of GAIL (India)/GAIL (India) Authorized agency. NOTE: Providing the Metering data management (MDM ) services is not in Bidder's Scope. The quoted rates should not be less than 0.30% of rates of quoted (EX GST)supply of meters under respective part. | 40.00 | Nos | A.1.3 | 18000.00 | 21240.00 | 1680000.00 | 1982400.00 | 15400.00 | 18172.00 | 15400.00 | Honeywell Automation India Limited | 18172.00 | Honeywell Automation India Limited
| Total in Figures |  |  |  | 5310000.00 | 6265800.00 | 15439960.00 | 18219152.80 | 5348520.00 | 6311253.60

## BoQ2
Government eProcurement System Created By: Deepak Tantuway Created Date/Time: 05-Jun-2026 11:57 AM Tender Title: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs) Tender ID: 2026_GAIL_277666_1
Tender Inviting Authority: GAIL (INDIA) LTD / PMC: B AND R
Name of Work: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs)
TENDER REFERENCE NO : GAIL/BNR/PROJ/PROC/26-27/43 [Tender ID: 2026_GAIL_277666_1]
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | Flow Metering Technology Private Limited (GSTN-NA) BID ID -1024339 |  | Pietro Fiorentini DB India Private Limited (GSTN-NA) BID ID -1025049 |  | Honeywell Automation India Limited (GSTN-NA) BID ID -1024561
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | RPD METER WITH EVC and AMR/MIU
2.00 | Design (as per standard EN-12480), Engineering, Manufacturing, Testing, Nameplate marking, Painting, Inspection, Calibration (from a reputed calibration agency accredited to ISO 17025), Packaging, Forwarding, Transportation, Transit Insurances, Shipment, Unloading at GAIL store, Calibration and Supply of of Natural Gas RPD Meters with EVC and AMR/MIU for Commercial/ Industrial customers of GAIL(India). Note: The actual delivery locations will be mentioned at the time of the Release Order/P.O/ Dispatch Clearance. GA locations are Varanasi, Patna, Ranchi, Jamshedpur, Cuttack, and Bhubaneswar
3.00 | NATURAL GAS RPD METERS WITH EVC and AMR/MIU CAPACITY G25
4.00 | Supply and Inland transportation of Smart Gas Meter capacity G 25 with EVC and AMR/MIU | 60.00 | Nos | A.2.1 | 7620000.00 | 8991600.00 | 15587400.00 | 18393132.00 | 7722000.00 | 9111960.00 | 7620000.00 | Flow Metering Technology Private Limited | 8991600.00 | Flow Metering Technology Private Limited
5.00 | Services for Installation, testing & Commissioning for meter Size/G Rating: G-25 All Services for Installation and commissioning: Services for Installation, testing & Commissioning of Smart Commercial/Industrial Gas Metering system ( Meter + EVC+ AMR ) along with supplied accessories at consumer locations. Installation, testing and commissioning of only the items supplied (METER, EVC and AMR along with Accessories etc) by bidder is in bidder's scope. This also includes operational training to client site personals at consumer locations. All supplied Smart Commercial/Industrial Meter with EVC and AMR/MIU shall have open communication protocol for interfacing with GAIL (India) HES and MDM system. All the compatible hardware/software required at meter end for enabling the communication s and their user license for interfacing are in bidder’s scope. The communication protocol should be open like DLMS, ICE for communication with GAIL (India)’ HES/MDM. The bidder shall provide all communication address/passcodes/register address for communicating the meter data with GAIL (India) HES/MDM. Further, at least one modbus port should be provided for communicating with SCADA/RTU as required by GAIL (INDIA), bidder shall provide modbus address and other data to enable the communication. These details shall be provided to GAIL (INDIA) along with the supply. Note. The quoted rates should not be less than 4.0 % of rates of quoted (EX GST) supply of meters under respective part. | 60.00 | Nos | A.2.2 | 318000.00 | 375240.00 | 4000020.00 | 4720023.60 | 308880.00 | 364478.40 | 308880.00 | Honeywell Automation India Limited | 364478.40 | Honeywell Automation India Limited
6.00 | Services for Interfacing for meter Size/G Rating: G-25 All Services related to Interfacing of the EVC and Smart Automatic Meter Reader (AMR) to MDM Server/ portal of GAIL (India)/GAIL (India) Authorized agency. The bidder to carry out the configuration, testing and interfacing of the EVC and AMR/MIU to MDM Server/ portal of GAIL (India)/GAIL (India) Authorized agency. NOTE: Providing the Metering data management (MDM ) services is not in Bidder's Scope. The quoted rates should not be less than 0.30% of rates of quoted (EX GST)supply of meters under respective part. | 60.00 | Nos | A.2.3 | 27000.00 | 31860.00 | 2520000.00 | 2973600.00 | 23220.00 | 27399.60 | 23220.00 | Honeywell Automation India Limited | 27399.60 | Honeywell Automation India Limited
| Total in Figures |  |  |  | 7965000.00 | 9398700.00 | 22107420.00 | 26086755.60 | 8054100.00 | 9503838.00

## BoQ3
Government eProcurement System Created By: Deepak Tantuway Created Date/Time: 05-Jun-2026 11:57 AM Tender Title: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs) Tender ID: 2026_GAIL_277666_1
Tender Inviting Authority: GAIL (INDIA) LTD / PMC: B AND R
Name of Work: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs)
TENDER REFERENCE NO : GAIL/BNR/PROJ/PROC/26-27/43 [Tender ID: 2026_GAIL_277666_1]
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | Flow Metering Technology Private Limited (GSTN-NA) BID ID -1024339 |  | Pietro Fiorentini DB India Private Limited (GSTN-NA) BID ID -1025049 |  | Honeywell Automation India Limited (GSTN-NA) BID ID -1024561
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | RPD METER WITH EVC and AMR/MIU
2.00 | Design (as per standard EN-12480), Engineering, Manufacturing, Testing, Nameplate marking, Painting, Inspection, Calibration (from a reputed calibration agency accredited to ISO 17025), Packaging, Forwarding, Transportation, Transit Insurances, Shipment, Unloading at GAIL store, Calibration and Supply of of Natural Gas RPD Meters with EVC and AMR/MIU for Commercial/ Industrial customers of GAIL(India). Note: The actual delivery locations will be mentioned at the time of the Release Order/P.O/ Dispatch Clearance. GA locations are Varanasi, Patna, Ranchi, Jamshedpur, Cuttack, and Bhubaneswar
3.00 | NATURAL GAS RPD METERS WITH EVC and AMR/MIU CAPACITY G40
4.00 | Supply and Inland transportation of Smart Gas Meter capacity G 40 with EVC and AMR/MIU | 45.00 | Nos | A.3.1 | 5760000.00 | 6796800.00 | 11739690.00 | 13852834.20 | 5800500.00 | 6844590.00 | 5760000.00 | Flow Metering Technology Private Limited | 6796800.00 | Flow Metering Technology Private Limited
5.00 | Services for Installation, testing & Commissioning for meter Size/G Rating: G-40 All Services for Installation and commissioning: Services for Installation, testing & Commissioning of Smart Commercial/Industrial Gas Metering system ( Meter + EVC+ AMR ) along with supplied accessories at consumer locations. Installation, testing and commissioning of only the items supplied (METER, EVC and AMR along with Accessories etc) by bidder is in bidder's scope. This also includes operational training to client site personals at consumer locations. All supplied Smart Commercial/Industrial Meter with EVC and AMR/MIU shall have open communication protocol for interfacing with GAIL (India) HES and MDM system. All the compatible hardware/software required at meter end for enabling the communication s and their user license for interfacing are in bidder’s scope. The communication protocol should be open like DLMS, ICE for communication with GAIL (India)’ HES/MDM. The bidder shall provide all communication address/passcodes/register address for communicating the meter data with GAIL (India) HES/MDM. Further, at least one modbus port should be provided for communicating with SCADA/RTU as required by GAIL (INDIA), bidder shall provide modbus address and other data to enable the communication. These details shall be provided to GAIL (INDIA) along with the supply. Note. The quoted rates should not be less than 4.0 % of rates of quoted (EX GST) supply of meters under respective part. | 45.00 | Nos | A.3.2 | 238500.00 | 281430.00 | 4000005.00 | 4720005.90 | 232020.00 | 273783.60 | 232020.00 | Honeywell Automation India Limited | 273783.60 | Honeywell Automation India Limited
6.00 | Services for Interfacing for meter Size/G Rating: G-40 All Services related to Interfacing of the EVC and Smart Automatic Meter Reader (AMR) to MDM Server/ portal of GAIL (India)/GAIL (India) Authorized agency. The bidder to carry out the configuration, testing and interfacing of the EVC and AMR/MIU to MDM Server/ portal of GAIL (India)/GAIL (India) Authorized agency. NOTE: Providing the Metering data management (MDM ) services is not in Bidder's Scope. The quoted rates should not be less than 0.30% of rates of quoted (EX GST)supply of meters under respective part. | 45.00 | Nos | A.3.3 | 20250.00 | 23895.00 | 1890000.00 | 2230200.00 | 17415.00 | 20549.70 | 17415.00 | Honeywell Automation India Limited | 20549.70 | Honeywell Automation India Limited
| Total in Figures |  |  |  | 6018750.00 | 7102125.00 | 17629695.00 | 20803040.10 | 6049935.00 | 7138923.30

## BoQ4
Government eProcurement System Created By: Deepak Tantuway Created Date/Time: 05-Jun-2026 11:57 AM Tender Title: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs) Tender ID: 2026_GAIL_277666_1
Tender Inviting Authority: GAIL (INDIA) LTD / PMC: B AND R
Name of Work: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs)
TENDER REFERENCE NO : GAIL/BNR/PROJ/PROC/26-27/43 [Tender ID: 2026_GAIL_277666_1]
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | Flow Metering Technology Private Limited (GSTN-NA) BID ID -1024339 |  | Pietro Fiorentini DB India Private Limited (GSTN-NA) BID ID -1025049 |  | Honeywell Automation India Limited (GSTN-NA) BID ID -1024561
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | RPD METER WITH EVC and AMR/MIU
2.00 | Design (as per standard EN-12480), Engineering, Manufacturing, Testing, Nameplate marking, Painting, Inspection, Calibration (from a reputed calibration agency accredited to ISO 17025), Packaging, Forwarding, Transportation, Transit Insurances, Shipment, Unloading at GAIL store, Calibration and Supply of of Natural Gas RPD Meters with EVC and AMR/MIU for Commercial/ Industrial customers of GAIL(India). Note: The actual delivery locations will be mentioned at the time of the Release Order/P.O/ Dispatch Clearance. GA locations are Varanasi, Patna, Ranchi, Jamshedpur, Cuttack, and Bhubaneswar
3.00 | NATURAL GAS RPD METERS WITH EVC and AMR/MIU CAPACITY G65
4.00 | Supply and Inland transportation of Smart Gas Meter capacity G 65 with EVC and AMR/MIU | 35.00 | Nos | A.4.1 | 4550000.00 | 5369000.00 | 9399320.00 | 11091197.60 | 4756500.00 | 5612670.00 | 4550000.00 | Flow Metering Technology Private Limited | 5369000.00 | Flow Metering Technology Private Limited
5.00 | Services for Installation, testing & Commissioning for meter Size/G Rating: G-65 All Services for Installation and commissioning: Services for Installation, testing & Commissioning of Smart Commercial/Industrial Gas Metering system ( Meter + EVC+ AMR ) along with supplied accessories at consumer locations. Installation, testing and commissioning of only the items supplied (METER, EVC and AMR along with Accessories etc) by bidder is in bidder's scope. This also includes operational training to client site personals at consumer locations. All supplied Smart Commercial/Industrial Meter with EVC and AMR/MIU shall have open communication protocol for interfacing with GAIL (India) HES and MDM system. All the compatible hardware/software required at meter end for enabling the communication s and their user license for interfacing are in bidder’s scope. The communication protocol should be open like DLMS, ICE for communication with GAIL (India)’ HES/MDM. The bidder shall provide all communication address/passcodes/register address for communicating the meter data with GAIL (India) HES/MDM. Further, at least one modbus port should be provided for communicating with SCADA/RTU as required by GAIL (INDIA), bidder shall provide modbus address and other data to enable the communication. These details shall be provided to GAIL (INDIA) along with the supply. Note. The quoted rates should not be less than 4.0 % of rates of quoted (EX GST) supply of meters under respective part. | 35.00 | Nos | A.4.2 | 196000.00 | 231280.00 | 4000010.00 | 4720011.80 | 190260.00 | 224506.80 | 190260.00 | Honeywell Automation India Limited | 224506.80 | Honeywell Automation India Limited
6.00 | Services for Interfacing for meter Size/G Rating: G-65 All Services related to Interfacing of the EVC and Smart Automatic Meter Reader (AMR) to MDM Server/ portal of GAIL (India)/GAIL (India) Authorized agency. The bidder to carry out the configuration, testing and interfacing of the EVC and AMR/MIU to MDM Server/ portal of GAIL (India)/GAIL (India) Authorized agency. NOTE: Providing the Metering data management (MDM ) services is not in Bidder's Scope. The quoted rates should not be less than 0.30% of rates of quoted (EX GST)supply of meters under respective part. | 35.00 | Nos | A.4.3 | 15750.00 | 18585.00 | 1470000.00 | 1734600.00 | 14280.00 | 16850.40 | 14280.00 | Honeywell Automation India Limited | 16850.40 | Honeywell Automation India Limited
| Total in Figures |  |  |  | 4761750.00 | 5618865.00 | 14869330.00 | 17545809.40 | 4961040.00 | 5854027.20

## BoQ5
Government eProcurement System Created By: Deepak Tantuway Created Date/Time: 05-Jun-2026 11:57 AM Tender Title: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs) Tender ID: 2026_GAIL_277666_1
Tender Inviting Authority: GAIL (INDIA) LTD / PMC: B AND R
Name of Work: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs)
TENDER REFERENCE NO : GAIL/BNR/PROJ/PROC/26-27/43 [Tender ID: 2026_GAIL_277666_1]
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | Flow Metering Technology Private Limited (GSTN-NA) BID ID -1024339 |  | Pietro Fiorentini DB India Private Limited (GSTN-NA) BID ID -1025049 |  | Honeywell Automation India Limited (GSTN-NA) BID ID -1024561
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | RPD METER WITH EVC and AMR/MIU
2.00 | Design (as per standard EN-12480), Engineering, Manufacturing, Testing, Nameplate marking, Painting, Inspection, Calibration (from a reputed calibration agency accredited to ISO 17025), Packaging, Forwarding, Transportation, Transit Insurances, Shipment, Unloading at GAIL store, Calibration and Supply of of Natural Gas RPD Meters with EVC and AMR/MIU for Commercial/ Industrial customers of GAIL(India). Note: The actual delivery locations will be mentioned at the time of the Release Order/P.O/ Dispatch Clearance. GA locations are Varanasi, Patna, Ranchi, Jamshedpur, Cuttack, and Bhubaneswar
3.00 | NATURAL GAS RPD METERS WITH EVC and AMR/MIU CAPACITY G100
4.00 | Supply and Inland transportation of Smart Gas Meter capacity G 100 with EVC and AMR/MIU | 30.00 | Nos | A.5.1 | 4710000.00 | 5557800.00 | 8709000.00 | 10276620.00 | 4422000.00 | 5217960.00 | 4422000.00 | Honeywell Automation India Limited | 5217960.00 | Honeywell Automation India Limited
5.00 | Services for Installation, testing & Commissioning for meter Size/G Rating: G-100 All Services for Installation and commissioning: Services for Installation, testing & Commissioning of Smart Commercial/Industrial Gas Metering system ( Meter + EVC+ AMR ) along with supplied accessories at consumer locations. Installation, testing and commissioning of only the items supplied (METER, EVC and AMR along with Accessories etc) by bidder is in bidder's scope. This also includes operational training to client site personals at consumer locations. All supplied Smart Commercial/Industrial Meter with EVC and AMR/MIU shall have open communication protocol for interfacing with GAIL (India) HES and MDM system. All the compatible hardware/software required at meter end for enabling the communication s and their user license for interfacing are in bidder’s scope. The communication protocol should be open like DLMS, ICE for communication with GAIL (India)’ HES/MDM. The bidder shall provide all communication address/passcodes/register address for communicating the meter data with GAIL (India) HES/MDM. Further, at least one modbus port should be provided for communicating with SCADA/RTU as required by GAIL (INDIA), bidder shall provide modbus address and other data to enable the communication. These details shall be provided to GAIL (INDIA) along with the supply. Note. The quoted rates should not be less than 4.0 % of rates of quoted (EX GST) supply of meters under respective part. | 30.00 | Nos | A.5.2 | 204000.00 | 240720.00 | 3999990.00 | 4719988.20 | 176880.00 | 208718.40 | 176880.00 | Honeywell Automation India Limited | 208718.40 | Honeywell Automation India Limited
6.00 | Services for Interfacing for meter Size/G Rating: G-100 All Services related to Interfacing of the EVC and Smart Automatic Meter Reader (AMR) to MDM Server/ portal of GAIL (India)/GAIL (India) Authorized agency. The bidder to carry out the configuration, testing and interfacing of the EVC and AMR/MIU to MDM Server/ portal of GAIL (India)/GAIL (India) Authorized agency. NOTE: Providing the Metering data management (MDM ) services is not in Bidder's Scope. The quoted rates should not be less than 0.30% of rates of quoted (EX GST)supply of meters under respective part. | 30.00 | Nos | A.5.3 | 16500.00 | 19470.00 | 1260000.00 | 1486800.00 | 13290.00 | 15682.20 | 13290.00 | Honeywell Automation India Limited | 15682.20 | Honeywell Automation India Limited
| Total in Figures |  |  |  | 4930500.00 | 5817990.00 | 13968990.00 | 16483408.20 | 4612170.00 | 5442360.60

## BOQ Summary
BOQ Summary Details Tender Title: PROCUREMENT OF RPD METER WITH EVC AND AMR/MIU FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs) Tender ID: 2026_GAIL_277666_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Flow Metering Technology Private Limited (BID ID -1024339) | 6265800.00 | L1
| 2 | Honeywell Automation India Limited (BID ID -1024561) | 6311253.60 | L2
| 3 | Pietro Fiorentini DB India Private Limited (BID ID -1025049) | 18219152.80 | L3
BoQ2 | 1 | Flow Metering Technology Private Limited (BID ID -1024339) | 9398700.00 | L1
| 2 | Honeywell Automation India Limited (BID ID -1024561) | 9503838.00 | L2
| 3 | Pietro Fiorentini DB India Private Limited (BID ID -1025049) | 26086755.60 | L3
BoQ3 | 1 | Flow Metering Technology Private Limited (BID ID -1024339) | 7102125.00 | L1
| 2 | Honeywell Automation India Limited (BID ID -1024561) | 7138923.30 | L2
| 3 | Pietro Fiorentini DB India Private Limited (BID ID -1025049) | 20803040.10 | L3
BoQ4 | 1 | Flow Metering Technology Private Limited (BID ID -1024339) | 5618865.00 | L1
| 2 | Honeywell Automation India Limited (BID ID -1024561) | 5854027.20 | L2
| 3 | Pietro Fiorentini DB India Private Limited (BID ID -1025049) | 17545809.40 | L3
BoQ5 | 1 | Honeywell Automation India Limited (BID ID -1024561) | 5442360.60 | L1
| 2 | Flow Metering Technology Private Limited (BID ID -1024339) | 5817990.00 | L2
| 3 | Pietro Fiorentini DB India Private Limited (BID ID -1025049) | 16483408.20 | L3