## BoQ1
Government eProcurement System Created By: Rahul S Created Date/Time: 15-Oct-2026 02:29 PM Tender Title: Civil and MEP works for setting up of HINDLABS Diagnostic Centre at Govt Taluk Headquarters Hospital, Parassala Tender ID: 2026_HLL_291880_1
Tender Inviting Authority: Projects Division, HLL Lifecare Ltd, HLL Bhavan Poojappura
Name of Work: Civil and MEP works for setting up of HINDLABS Diagnostic Centre at Govt Taluk Headquarters Hospital, Parassala- Reg
Contract No: HLL/CHO/PROJ/HCS/HINDLAB/DC-PRSLA/2026-27 dated 23-09-2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | FabEngineering Services (GSTN-NA) BID ID -1074906 |  | MASTERCELL TELECOM SERVICES (P) LTD (GSTN-NA) BID ID -1074359
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-Charge.In cement mortar | 5.00 | cum | 2177.17 | 4500.00 | 22500.00 | 2000.00 | 10000.00 | 10000.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.02 | Dismantling doors, windows and clerestory windows (steel or wood ) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead:Of area 3 sq. metres and below | 4.00 | each | 387.99 | 1000.00 | 4000.00 | 350.00 | 1400.00 | 1400.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.03 | Demolishing R.C.C. work manually / by mechanical means including stacking of steel bars and disposal of unserviceable material with in 50 metres lead as per direction of Engineer -in-Charge. | 2.00 | cum | 3753.49 | 4500.00 | 9000.00 | 3200.00 | 6400.00 | 6400.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.04 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles above 25 mm and up to 40 mm | 30.00 | sqm | 119.72 | 1350.00 | 40500.00 | 85.00 | 2550.00 | 2550.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.05 | Supplying and laying polyester, washable and stain free cloth- curtain stitching with stifiner tape, pleats, ironing and laying around each bed using PVC runner with hooks &amp; stopper for hanging/sliding etc. as per the direction of engineer in charge including rail ,conveyance to site,including railing and accessories etc | 20.00 | sq.m. | 2903.75 | 550.00 | 11000.00 | 2200.00 | 44000.00 | 11000.00 | FabEngineering Services
1.06 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS : 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminnium snap beading for glazing /paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge.(Glazing, paneling and dash fasteners to be paid for separately): For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 110.00 | kg | 584.72 | 675.00 | 74250.00 | 600.00 | 66000.00 | 66000.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.07 | For shutters of doors, windows &amp; ventilators including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber/ neoprene gasket required (Fittings shall be paid for separately)Powder coated aluminium (minimum thickness of powder coating 50 micron) | 20.00 | kg | 708.24 | 750.00 | 15000.00 | 660.00 | 13200.00 | 13200.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.08 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS : 12823 Grade I Type II, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer - in- Charge.Pre- laminated particle board with decorative lamination on both sides | 75.00 | sq.m. | 1192.65 | 1200.00 | 90000.00 | 1200.00 | 90000.00 | 90000.00 | MASTERCELL TELECOM SERVICES (P) LTD, FabEngineering Services
1.09 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer - in -Charge. ( Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 20.00 | sq.m. | 1278.82 | 950.00 | 19000.00 | 1300.00 | 26000.00 | 19000.00 | FabEngineering Services
1.10 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete:125 mm | 12.00 | No. | 75.30 | 100.00 | 1200.00 | 100.00 | 1200.00 | 1200.00 | MASTERCELL TELECOM SERVICES (P) LTD, FabEngineering Services
1.11 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.Single rubber stopper | 6.00 | No. | 44.52 | 250.00 | 1500.00 | 100.00 | 600.00 | 600.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.12 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in- charge. | 6.00 | Each | 905.04 | 750.00 | 4500.00 | 560.00 | 3360.00 | 3360.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.13 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 6.00 | No. | 1286.15 | 2100.00 | 12600.00 | 1100.00 | 6600.00 | 6600.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.14 | Providing and fixing aluminium tower bolts, ISI marked, anodised(anodic coating not less than grade AC 10 as per : 1868), transparent or dyed to required colour or shade, with necessary screws complete: 300x10 mm | 12.00 | No. | 147.54 | 150.00 | 1800.00 | 160.00 | 1920.00 | 1800.00 | FabEngineering Services
1.15 | Solid masonry using pre cast solid blocks (factory made) of size 30x20x15cm or nearest available size confirming to IS 2185 part I of 1979 for super structure up to floor two level with thickness 15cm in : CM 1:6 ( 1 cement : 6 coarse sand) etc complete | 1.50 | cu.m. | 7713.54 | 10200.00 | 15300.00 | 8700.00 | 13050.00 | 13050.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.16 | 12 mm cement plaster of mix:1:4 ( 1 cement : 4 fine sand) | 11.00 | sq.m. | 369.76 | 550.00 | 6050.00 | 400.00 | 4400.00 | 4400.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.17 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface:Water thinnable cement primer | 80.00 | sq.m. | 80.85 | 100.00 | 8000.00 | 80.00 | 6400.00 | 6400.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.18 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 70.00 | sq.m. | 155.33 | 130.00 | 9100.00 | 180.00 | 12600.00 | 9100.00 | FabEngineering Services
1.19 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade:Two or more coats on new work | 80.00 | sq.m. | 172.88 | 130.00 | 10400.00 | 160.00 | 12800.00 | 10400.00 | FabEngineering Services
1.20 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade:Two or more coats on new work | 10.00 | sq.m. | 164.86 | 240.00 | 2400.00 | 140.00 | 1400.00 | 1400.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.21 | Providing and fixing Fiber Glass Reinforced plastic (FRP) Door Frames of cross- section 90 mm x 45 mm having single rebate of 32 mm x 15 mm to receive shutter of 30 mm thickness. The laminated shall be moulded with fire resistant grade unsaturated polyester resin and chopped mat. Door frame laminate shall be 2 mm thick and shall be filled with suitable wooden block in all the three legs. The frame shall be covered with fiber glass from all sides. M.S. stay shall be provided at the bottom to steady the frame. | 11.60 | metre | 881.06 | 750.00 | 8700.00 | 600.00 | 6960.00 | 6960.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.22 | Providing and fixing to existing door frames.30 mm thick Fiberglass Reinforced Plastic (F.R.P) flush door shutter in different plain and wood finish made with fire retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate all around, with suitable wooden blocks inside at required places for fixing of fittings and polyurethane foam (PUF) / Polystyrene foam to be used all filler material throughout the hollow panel, casted monoolithically with testing parameters of F.R.P. laminate conforming to table - 3 of IS : 14856, complete as per direction of Engineer- in-charge. | 3.36 | sq.m. | 4970.54 | 4500.00 | 15120.00 | 3200.00 | 10752.00 | 10752.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.23 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete:250x10 mm | 2.00 | No. | 469.46 | 300.00 | 600.00 | 230.00 | 460.00 | 460.00 | MASTERCELL TELECOM SERVICES (P) LTD
1.24 | Providing and fixing 3M Fasara frosted etching film of thickness 25 microns self- adhesive of approved colour, shade, and quality with cutting as per approved design and pattern, including cleaning of glass and making surface smooth for fixing of film to the surface, all completed as per the direction of the engineer in charge. | 5.00 | sq.m. | 1463.49 | 350.00 | 1750.00 | 1200.00 | 6000.00 | 1750.00 | FabEngineering Services
2.00 | Flooring
2.01 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4(1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600 x 600 mm. | 30.00 | sq.m. | 1816.00 | 1250.00 | 37500.00 | 1600.00 | 48000.00 | 37500.00 | FabEngineering Services
2.02 | Providing and laying Anti Skid matt vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4(1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600 x 600 mm. | 13.00 | sq.m. | 1850.00 | 1350.00 | 17550.00 | 1700.00 | 22100.00 | 17550.00 | FabEngineering Services
2.03 | Providing and laying vitrified bathroom wall tile in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours &amp; shade, in skirting, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), including grouting the joint with white cement &amp; matching pigments etc. complete.Size of Tile 600 x 600 mm. | 20.00 | sq.m. | 1850.00 | 1200.00 | 24000.00 | 1400.00 | 28000.00 | 24000.00 | FabEngineering Services
2.04 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg). including filling /grouting and finishing complete as per direction of Engineer-in-charge. Size of Tile 1200x600mm | 63.00 | sq.m. | 289.15 | 150.00 | 9450.00 | 180.00 | 11340.00 | 9450.00 | FabEngineering Services
3.00 | Plumbing
3.01 | Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing &amp; fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/6 litre (adjustable to 4 litre /8 litres), including seat cover, and cistern fittings, nuts bolts and gasket etc complete. | 2.00 | Each | 16347.94 | 17500.00 | 35000.00 | 11500.00 | 23000.00 | 23000.00 | MASTERCELL TELECOM SERVICES (P) LTD
3.02 | Supplying and fixing CP Health Faucet superior quality ( Jagur or equvalent make ) including cost of materials and labour charges etc complete as per the direction of site Engineer-in-charge. | 2.00 | No. | 1281.20 | 1450.00 | 2900.00 | 1100.00 | 2200.00 | 2200.00 | MASTERCELL TELECOM SERVICES (P) LTD
3.03 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Flat back wash basin size 450x300 mm with single 15 mm C.P. brass pillar tap | 1.00 | Each | 1653.23 | 4200.00 | 4200.00 | 3300.00 | 3300.00 | 3300.00 | MASTERCELL TELECOM SERVICES (P) LTD
3.04 | Providing and fixing uplasticised PVC connection pipe with brass unions: 45 cm length15 mm nominal bore | 2.00 | Each | 106.82 | 100.00 | 200.00 | 200.00 | 400.00 | 200.00 | FabEngineering Services
3.05 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe32 mm dia | 2.00 | Each | 130.86 | 80.00 | 160.00 | 100.00 | 200.00 | 160.00 | FabEngineering Services
3.06 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS: 893115 mm nominal bore | 2.00 | Each | 627.46 | 950.00 | 1900.00 | 650.00 | 1300.00 | 1300.00 | MASTERCELL TELECOM SERVICES (P) LTD
3.07 | Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 spacing. This includes jointing of pipes & fittings with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge Concealed work, including cutting chases and making good the wall etc. 15 mm pipe 10kgf/cm2 | 15.00 | metre | 450.08 | 220.00 | 3300.00 | 230.00 | 3450.00 | 3300.00 | FabEngineering Services
3.08 | Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work,including cutting chased and making good the wall etc. 20 mm pipe 12 Kgf/cm2 | 30.00 | metre | 470.47 | 230.00 | 6900.00 | 250.00 | 7500.00 | 6900.00 | FabEngineering Services
3.09 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.15 mm nominal bore | 2.00 | Each | 888.37 | 1200.00 | 2400.00 | 850.00 | 1700.00 | 1700.00 | MASTERCELL TELECOM SERVICES (P) LTD
3.10 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank :ISI 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 500.00 | Litre | 12.15 | 10.00 | 5000.00 | 10.00 | 5000.00 | 5000.00 | MASTERCELL TELECOM SERVICES (P) LTD, FabEngineering Services
3.11 | Providing and fixing SS grating of approved quality and colour. Rectangular type with openable lid150 mm nominal size square 100 mm diameter of the inner hinged grating. | 2.00 | Each | 371.39 | 250.00 | 500.00 | 200.00 | 400.00 | 400.00 | MASTERCELL TELECOM SERVICES (P) LTD
3.12 | Supplying and fixing PVC Floor Trap 100mmx75mm size without Jali including cutting open, boring through RCC slabs and making good the damage | 2.00 | Each | 305.18 | 450.00 | 900.00 | 350.00 | 700.00 | 700.00 | MASTERCELL TELECOM SERVICES (P) LTD
3.13 | Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing . This includes jointing of pipes &amp; fittings with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge 50 mm dia 6 Kgf/cm2 - Internal work- Exposed on wall | 20.00 | metre | 424.14 | 320.00 | 6400.00 | 320.00 | 6400.00 | 6400.00 | MASTERCELL TELECOM SERVICES (P) LTD, FabEngineering Services
3.14 | Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chased and making good the wall etc. 110 mm pipe 6kgf/cm2 | 5.00 | metre | 803.62 | 480.00 | 2400.00 | 360.00 | 1800.00 | 1800.00 | MASTERCELL TELECOM SERVICES (P) LTD
3.15 | Providing and fixing PVC pipes including fixing the pipe with clamps/clips at 1.00 m spacing. This included jointing of pipes with one step PVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge 75 mm dia 6Kgf/cm2 - External work- Exposed on wall | 25.00 | metre | 304.76 | 410.00 | 10250.00 | 380.00 | 9500.00 | 9500.00 | MASTERCELL TELECOM SERVICES (P) LTD
3.16 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) with C.P. brass Mirror holder with washers complete | 2.00 | Each | 1645.64 | 800.00 | 1600.00 | 1000.00 | 2000.00 | 1600.00 | FabEngineering Services
4.00 | Furniture
4.01 | Supply of phlebotomy chair with optimum design made up of MS Power coated frame and up upholstery type seat,back rest and arm rests.Both side arm rest should be with height and position adjustable system and all as per the instruction of Engineer in charge. | 1.00 | Each | 9292.00 | 6500.00 | 6500.00 | 12000.00 | 12000.00 | 6500.00 | FabEngineering Services
4.02 | Revolving Chair: Medium back ergonomic chair with five nos. star shaped Nylon base. Castor: 50mm diameter nylon twin wheel, gas lift height adjustment, back angle adjustment , Fixed armrest providing natural resting for arms. Seat with PU coated foam backed fabric, back rest with mesh type fabric, upholstery: Heavy duty rubber backed fabric in BLACK | 6.00 | Each | 7549.75 | 5500.00 | 33000.00 | 6000.00 | 36000.00 | 33000.00 | FabEngineering Services
4.03 | Cabinet/Wardrobe: Providing and fixing Cabinet/Wardrobe unit with 18 mm thick pre-laminated medium density fibre board exterior grade (Grade-I) IS: 14587:1998 marked with one side decorative and other side balancing lamination. cupboard shutters edge to be sealed with PVC edge bending tape 2.00 mm thick of approved brand including ISI marked nickel plated bright finishing M.S. piano hinges conforming to IS:3818 marked with fixing chromium plated brass 50 mm cupboard or wardrobe knobs, special quality chromium plated brass cupboard locks with six levers of approved quality including necessary screws etc. complete. Depth of shelves to be 300-600mm and shelves to be fix with proper support and bracket holders. as per layout drawing approved by Engineer in charge. Make laminate/: Greenlam - 283 Sky blue / Merino / Century. Only front elevation will be measured. | 3.00 | sq.m. | 8500.00 | 6800.00 | 20400.00 | 5500.00 | 16500.00 | 16500.00 | MASTERCELL TELECOM SERVICES (P) LTD
4.04 | Slotted Angle Racks : Supply and errection of Powder coated slotted angle metalic rack having min 8 shelfs made up of min 40 X 40 X 2 mm size rolled steel angle posts shall have 8-mm diameter holes provided at 50-mm centre to centre. Metal shelves shall be made from mild steel sheets not less than 1.0 mm in thickness and with sufficient stiffners. Shelves shall have lipped flanges width of flange being 30 mm and depth of lip 15 mm .Min size of rack 900mm Length X 300mm Depth X 2000mm Height. | 1.00 | Each | 5226.75 | 4500.00 | 4500.00 | 17000.00 | 17000.00 | 4500.00 | FabEngineering Services
4.05 | MS Powder-Coated Cushioned Airport Type Three-Seater Waiting Chair: Providing and supplying airport type three-seater waiting chair having main frame made of heavy duty mild steel (MS) tubular/rectangular section with central beam support, finished with epoxy powder coating of approved shade and thickness not less than 60 microns. Each seat shall be ergonomically designed with cushioned seat and back made of high-density PU foam upholstered with superior quality rexine/fabric, fixed securely to the frame. The chair shall be provided with MS armrests between seats, sturdy MS legs fitted with PVC/nylon bushes for floor protection, suitable for heavy- duty use in hospital waiting areas. The overall size shall not be less than 1500 mm length with minimum 450 mm seat depth and 430–450 mm seat height. The item shall include all materials, labour, fittings, transport, handling and placing at site complete as per the direction of the Engineer-in-Charge. | 3.00 | No. | 11615.00 | 9000.00 | 27000.00 | 13500.00 | 40500.00 | 27000.00 | FabEngineering Services
5.00 | Signages
5.01 | Providing and fixing 3M Fasara frosted etching film of thickness 25 microns self- adhesive of approved colour, shade, and quality with cutting as per approved design and pattern, including cleaning of glass and making surface smooth for fixing of film to the surface, all completed as per the direction of the engineer in charge. | 20.00 | sq.m. | 1463.49 | 650.00 | 13000.00 | 1200.00 | 24000.00 | 13000.00 | FabEngineering Services
5.02 | Providing and fixing in position the signage board made out of 3 mm opaque PVC foam board of computerised cut, PVC non reflective self adhesive vinyl painted foam board of required size and colour. | 3.00 | sq.m. | 1742.25 | 1250.00 | 3750.00 | 2500.00 | 7500.00 | 3750.00 | FabEngineering Services
5.03 | Vinyl Transparent Vision Glass Stickers: Supply and pasting of Vinyl Transparent Vision Glass Stickers in approved size and design in glass partition and door as per the instruction of Engineer in Charge. | 5.00 | sq.m. | 871.13 | 1600.00 | 8000.00 | 1200.00 | 6000.00 | 6000.00 | MASTERCELL TELECOM SERVICES (P) LTD
5.04 | Supplying, fabricating and fixing flex board signage of approved design and size, using high-quality flex media with opaque (black) back, suitable for indoor/outdoor application, including digital printing with minimum 8-pass solvent/eco-solvent printing to ensure colour uniformity and clarity, complete as directed by the Engineer- in-Charge. The flex shall be stretched and fixed on a rigid framework fabricated from G.I. square tubes of minimum size 25 mm × 25 mm (1 inch × 1 inch) of suitable thickness, properly welded, cleaned and treated with one coat of red oxide/zinc chromate primer and two coats of approved synthetic enamel paint. The board shall be securely fixed to wall or structure with required clamps, bolts, nuts, screws, anchors, drilling and finishing, complete in all respects. Measurement shall be in square metre of exposed flex area. | 6.00 | sq.m. | 1393.80 | 2300.00 | 13800.00 | 4200.00 | 25200.00 | 13800.00 | FabEngineering Services
5.05 | Water Dispenser: Supply and errection of water dispenser can hold 20 litre water bottle having normal standing design with 14 liter refrigerator at bottom and having 3 temperature taps hot, plain and cold. 3 liter cooling and 5 liter heating capacity per hour. Body made of ABS plastic and tank made of Food grade stainless steel. Heavy duty bottle piercer with bottle holder. with min 1 year warranty. (Make : voltas / Blue star/ equivalent) | 1.00 | each | 10000.00 | 14500.00 | 14500.00 | 12000.00 | 12000.00 | 12000.00 | MASTERCELL TELECOM SERVICES (P) LTD
6.00 | Wiring
6.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.Group C | 18.00 | Point | 1726.78 | 900.00 | 16200.00 | 1300.00 | 23400.00 | 16200.00 | FabEngineering Services
6.02 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.Group C | 1.00 | Point | 1009.95 | 1100.00 | 1100.00 | 1200.00 | 1200.00 | 1100.00 | FabEngineering Services
6.03 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required 2x1.5 sq.mm + 1x1.5 sq.mm earth wire | 175.00 | Metre | 274.36 | 210.00 | 36750.00 | 170.00 | 29750.00 | 29750.00 | MASTERCELL TELECOM SERVICES (P) LTD
6.04 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 180.00 | Metre | 323.96 | 290.00 | 52200.00 | 260.00 | 46800.00 | 46800.00 | MASTERCELL TELECOM SERVICES (P) LTD
6.05 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 80.00 | Metre | 393.42 | 550.00 | 44000.00 | 340.00 | 27200.00 | 27200.00 | MASTERCELL TELECOM SERVICES (P) LTD
6.06 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required2 X 6 Sq.mm + 1 x 6 sq.mm earth wire | 15.00 | Metre | 516.84 | 700.00 | 10500.00 | 460.00 | 6900.00 | 6900.00 | MASTERCELL TELECOM SERVICES (P) LTD
7.00 | Fixtures
7.01 | Supplying, conveyance and Installation of 150-250 mm sweep,1350 rpm, 3 - 5 blade BLDC Exhaust Fan including frames and all mounting accessories complete. Recommended Make: Atomberg Efficio/Crompton Brisk Air | 1.00 | Each | 2043.00 | 2200.00 | 2200.00 | 2200.00 | 2200.00 | 2200.00 | MASTERCELL TELECOM SERVICES (P) LTD, FabEngineering Services
7.02 | SITC of recessed/surface LED downlight fitting 15-18W complete with high efficiency SMD LEDs, aluminium housing with powder coated finish, polycarbonate diffuser, independent electronic driver, suitable for operation on 140–270V AC supply, having minimum 1450 lumens output, CCT 4000K, CRI ≥80, power factor ≥0.9, THD <10%, LED life ≥50,000 hours, including fixing in false ceiling with necessary accessories, wiring, interconnections, testing and commissioning, conforming to IS 10322 & IS 15885 as required of approved make such as Havells / Philips / Wipro / or as per approved list of makes in the Tender document and approved by Engineer-in-Charge, with prior approval and submission of technical datasheets, test certificates and samples as required, complete in all respects. | 8.00 | Each | 1196.92 | 350.00 | 2800.00 | 850.00 | 6800.00 | 2800.00 | FabEngineering Services
7.03 | Supplying, conveyance and Installation of BLDC Type Wall Fan having 3 blade, 400 mm sweep, Speed 1350 rpm, Air Delivery 70 CMM minimum, Wall Mount Fan including frames and all mounting accessories complete. Recommended Make: Atomberg Renesa/V-Guard ENVIRO WF BLDC/Havells Platina | 5.00 | Each | 3760.00 | 3500.00 | 17500.00 | 3900.00 | 19500.00 | 17500.00 | FabEngineering Services
7.04 | Supplying and fixing suitable size PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 8.00 | Each | 590.00 | 850.00 | 6800.00 | 550.00 | 4400.00 | 4400.00 | MASTERCELL TELECOM SERVICES (P) LTD
7.05 | Supplying and fixing suitable size PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings). | 25.00 | Each | 495.00 | 550.00 | 13750.00 | 450.00 | 11250.00 | 11250.00 | MASTERCELL TELECOM SERVICES (P) LTD
7.06 | Supply and installation of 5A, 230V AC angle type lamp holder made of high-quality heat-resistant insulating material, complete with brass contacts, terminals, screws and accessories. Make: Anchor/GM/Legrand | 3.00 | Each | 75.00 | 140.00 | 420.00 | 100.00 | 300.00 | 300.00 | MASTERCELL TELECOM SERVICES (P) LTD
7.07 | Supply, installation, testing and commissioning of 12W LED inverter bulb, B22 cap, 230V AC, 50Hz, with built-in rechargeable battery providing minimum 1 hours emergency backup, instant changeover during power failure, cool daylight, minimum 100 lm/W efficacy, suitable for domestic/commercial lighting applications, complete with all accessories. Make: Philips/Wipro/Havells/Orient | 3.00 | Each | 280.00 | 750.00 | 2250.00 | 600.00 | 1800.00 | 1800.00 | MASTERCELL TELECOM SERVICES (P) LTD
7.08 | Supply, Installation, Testing and Commissioning of 500 VA Online UPS, single-phase online double-conversion type, with minimum 400 W capacity, 230 V AC, 1 Phase, 50 Hz input/output, pure sine wave output, static bypass, built-in charger, LED/LCD display, USB/RS-232 communication, overload, short-circuit, surge and battery deep-discharge protection, complete with SMF/VRLA battery bank providing minimum 30 minutes backup at 50% load, including all necessary cables and accessories. The UPS shall comply with relevant IS/IEC standards and be suitable for continuous operation. Make: APC/Vertiv/Numeric | 1.00 | Set | 16500.00 | 2400.00 | 2400.00 | 28000.00 | 28000.00 | 2400.00 | FabEngineering Services
8.00 | Network System
8.01 | Supply, installation, testing and commissioning of 8-Port Gigabit Ethernet Network Switch with minimum 8 × 10/100/1000 Mbps RJ45 ports, auto-negotiation and auto MDI/MDIX, IEEE 802.3/802.3u/802.3ab/802.3x compliant, minimum 16 Gbps switching capacity, LED indications for power/link/activity, suitable for 230V AC, 50 Hz supply, complete with power adaptor, mounting accessories and all necessary accessories for data connectivity. The switch shall be suitable for LAN applications and compatible with the existing network infrastructure. | 1.00 | Each | 3200.00 | 7500.00 | 7500.00 | 5000.00 | 5000.00 | 5000.00 | MASTERCELL TELECOM SERVICES (P) LTD
8.02 | Supply, installation, testing and commissioning of 8-Port Cat6 UTP Patch Panel, 19-inch rack/wall-mount compatible, loaded with 8 Nos. RJ45 Cat6 ports, suitable for termination of Cat6 UTP cables, conforming to ANSI/TIA-568.2-D and ISO/IEC 11801 standards, with 110-type punch-down IDC termination, colour-coded T568A/T568B wiring arrangement, port identification labels and cable management provision, complete with mounting hardware and all necessary accessories. The patch panel shall be suitable for Gigabit Ethernet data connectivity and compatible with the proposed network switch. Make: D Link/Legrand/CommScope/AMP/Schneider or approved equivalent. | 1.00 | Each | 2600.00 | 3500.00 | 3500.00 | 3000.00 | 3000.00 | 3000.00 | MASTERCELL TELECOM SERVICES (P) LTD
8.03 | Supplying and drawn of UTP 4 pair CAT 6A LAN cable in the existing surface/recessed steel/PVC conduit as required1 run of Cable including termination in both sides. | 100.00 | Metre | 80.00 | 75.00 | 7500.00 | 90.00 | 9000.00 | 7500.00 | FabEngineering Services
8.04 | Supply, installation, testing and commissioning of 4U wall-mounting network rack, 19-inch standard, fabricated from minimum 1.0 mm CRCA sheet steel with powder-coated finish, suitable for mounting network switch, patch panel and other active/passive networking equipment. The rack shall be provided with lockable toughened glass/acrylic front door, removable/lockable side panels, 19-inch mounting rails, cable entry provisions at top/bottom, ventilation provisions with provision for cooling fan, earthing facility, and complete with mounting hardware, cage nuts, screws and all necessary accessories for proper installation. The rack shall be suitable for wall mounting and shall comply with applicable IEC/ISO standards. Make: Rittal/Valrack/Schneider/D-Link/CommScope | 1.00 | Each | 4100.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | MASTERCELL TELECOM SERVICES (P) LTD, FabEngineering Services
8.05 | Supply and Fixing suitable size modular GI/PVC box with cover in front on and providing and fixing 1 no RJ 45 including connections as required. | 8.00 | Each | 550.00 | 550.00 | 4400.00 | 540.00 | 4320.00 | 4320.00 | MASTERCELL TELECOM SERVICES (P) LTD
8.06 | Supply and laying of 1 metre long patch chord. | 6.00 | Each | 180.00 | 200.00 | 1200.00 | 180.00 | 1080.00 | 1080.00 | MASTERCELL TELECOM SERVICES (P) LTD
8.07 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.20 mm | 75.00 | Meter | 151.05 | 60.00 | 4500.00 | 80.00 | 6000.00 | 4500.00 | FabEngineering Services
9.00 | CCTV System
9.01 | Supply, Conveyance and Installing of 4/5MP IP Dome Camera having 1/3" Progressive Scan True Day and Night Colour IR Camera having effective pixel of 4/5 MP, Video frame rate of 4/5MP @30FPS, Minimum illumination of 0.01 lux@F1.2, 0 lux@IR On, 30-50 M IR Range, 24 IR LED, AWB, AGC, BLC, 2D Noise reduction, with 3.6mm board lense, 12 VDC, PoE IP67 rated weatherproof performance. 1 year warranty. Make: Bosch/CP Plus/Honeywell/Hikvision or equivalent | 3.00 | Each | 4600.00 | 5500.00 | 16500.00 | 4200.00 | 12600.00 | 12600.00 | MASTERCELL TELECOM SERVICES (P) LTD
9.02 | Supply, Installation and Integration of 8 channel embedded Linux PoE, NVR (Network Video Recorder), having dual core embedded processor, must connect 8 channel IP cameras , should support min 2 SATA HDD each of 6TB and must record video simultaneously, (Recording Type: Continuous, Motion Detection, Alarm, Smart Event, Event Motion Detection, Alarm, Smart Event), Video Compression H.265(HEVC)/H.264+/H.264, 2 Year Warranty, Image quality should be maintained throughout the warranty period. Make: Bosch/CP Plus/Honeywell or equivalent | 1.00 | No | 12700.00 | 9500.00 | 9500.00 | 8500.00 | 8500.00 | 8500.00 | MASTERCELL TELECOM SERVICES (P) LTD
9.03 | Supply, installation, testing and commissioning of 8-Port Unmanaged Gigabit PoE+ Network Switch suitable for IP CCTV camera applications, having minimum 8 × 10/100/1000 Mbps RJ-45 PoE ports with auto-sensing and IEEE 802.3af/802.3at PoE/PoE+ support, automatic speed and duplex negotiation, IEEE 802.3az Energy Efficient Ethernet, adequate PoE power budget suitable for connected IP cameras, LED indications for power, link/activity and PoE status, plug-and-play operation without requiring configuration, complete with power supply, mounting accessories and all necessary accessories for proper installation and commissioning. The switch shall be compatible with H.264/H.265 IP cameras and NVR systems. Make: CP Plus/TP-Link/Netgear/D-Link/Cisco | 1.00 | No | 6600.00 | 4500.00 | 4500.00 | 4000.00 | 4000.00 | 4000.00 | MASTERCELL TELECOM SERVICES (P) LTD
9.04 | Supply of 2TB internal hard disk for use in Network Video Recorder (NVR) systems for CCTV/video surveillance. The hard disk shall be of surveillance-grade, specifically designed for 24×7 continuous operation and capable of handling multi-camera recording without data loss. The drive shall be of 3.5 SATA form factor with SATA III (6Gb/s) interface and optimized firmware for sequential write operations, vibration tolerance, low power consumption, and error recovery suitable for NVR workloads. The hard disk shall have a workload rating appropriate for continuous surveillance applications and be compatible with the specified NVR model. The supply shall include all necessary mounting accessories, cables, and connectors required for proper installation. | 1.00 | No | 12500.00 | 5500.00 | 5500.00 | 12500.00 | 12500.00 | 5500.00 | FabEngineering Services
9.05 | Supply, installation, testing and commissioning of 4U wall-mounting network rack, 19-inch standard, fabricated from minimum 1.0 mm CRCA sheet steel with powder-coated finish, suitable for mounting network switch, patch panel and other active/passive networking equipment. The rack shall be provided with lockable toughened glass/acrylic front door, removable/lockable side panels, 19-inch mounting rails, cable entry provisions at top/bottom, ventilation provisions with provision for cooling fan, earthing facility, and complete with mounting hardware, cage nuts, screws and all necessary accessories for proper installation. The rack shall be suitable for wall mounting and shall comply with applicable IEC/ISO standards. Make: Rittal/Valrack/Schneider/D-Link/CommScope | 1.00 | Each | 4100.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 2500.00 | MASTERCELL TELECOM SERVICES (P) LTD
9.06 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required.20 mm | 50.00 | Meter | 151.05 | 60.00 | 3000.00 | 80.00 | 4000.00 | 3000.00 | FabEngineering Services
9.07 | Supply, installation, testing and commissioning of 21-inch LED monitor/display with Full HD resolution, HDMI and VGA input ports suitable for continuous display of CCTV/NVR output, complete with wall/desk mounting accessories, power cable and all necessary accessories for installation and commissioning. Make: Samsung/LG/Dell or equivalent. | 1.00 | No | 9500.00 | 10500.00 | 10500.00 | 4500.00 | 4500.00 | 4500.00 | MASTERCELL TELECOM SERVICES (P) LTD
9.08 | Supply and installation of 5 mtr HDMI cable. | 1.00 | No | 980.00 | 650.00 | 650.00 | 600.00 | 600.00 | 600.00 | MASTERCELL TELECOM SERVICES (P) LTD
9.09 | Supplying and drawn of UTP 4 pair CAT 6A LAN cable in the existing surface/recessed steel/PVC conduit as required1 run of Cable including termination in both sides. | 60.00 | Meter | 80.00 | 75.00 | 4500.00 | 90.00 | 5400.00 | 4500.00 | FabEngineering Services
9.10 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.Telephone socket outlet | 2.00 | No | 174.06 | 150.00 | 300.00 | 500.00 | 1000.00 | 300.00 | FabEngineering Services
10.00 | Air Conditioning System
10.01 | Supply, Installation, Testing, and Commissioning of 1.5 TR, 3-star rated Inverter type split AC units, hi-wall mounted, with anti-corrosive/powder coated outdoor units, fitted with hermetically sealed suction-cooled energy-efficient Scroll/Rotary compressor operating on R-32/HFC-134a/407C/410A refrigerant, suitable for 220V, 1 Ph, 50 Hz AC supply, inclusive of standard accessories like power & control cables, good quality copper tubing (minimum 3m length), elastomeric Nitrile rubber insulation, clamps, outdoor stand etc., with cordless remote for setting temperature, on/off time, power saving mode, auto mode operation, sleep mode,suitable stabilizer etc. Make: Blustar/Carrier/Daikin/Hitachi | 1.00 | Set | 47500.00 | 45000.00 | 45000.00 | 48000.00 | 48000.00 | 45000.00 | FabEngineering Services
11.00 | Earthing
11.01 | Supply and drawing bare earthing conductors of the following sizes along with wiring/ cables and giving connection as required3.15 mm copper conductor ( 10 SWG) | 25.00 | Meter | 67.06 | 180.00 | 4500.00 | 250.00 | 6250.00 | 4500.00 | FabEngineering Services
11.02 | Supply of superior quality copper earth socket for the following size of earth conductor including crimping etc. as required.3.15 mm (10 SWG) | 4.00 | Each | 30.46 | 350.00 | 1400.00 | 50.00 | 200.00 | 200.00 | MASTERCELL TELECOM SERVICES (P) LTD
12.00 | Dismantling , Reinstallation- Electrical Works
12.01 | Dismantling and removal of existing switch boxes, electrical fixtures, cables, and wires, including necessary disconnection and stacking as per the directed by the Engineer-in-Charge. | 1.00 | L.S | 2200.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 2000.00 | MASTERCELL TELECOM SERVICES (P) LTD
12.02 | Dismantling of existing 12 Way SPN DB including MCB and accessories necessary disconnection as per the direction of Engineer in charge. | 1.00 | Job | 400.00 | 1500.00 | 1500.00 | 500.00 | 500.00 | 500.00 | MASTERCELL TELECOM SERVICES (P) LTD
12.03 | Reinstallation of 12 Way SPN DB including MCB's and accessories necessary connection as per the direction of Engineer in charge. | 1.00 | Job | 800.00 | 2200.00 | 2200.00 | 1500.00 | 1500.00 | 1500.00 | MASTERCELL TELECOM SERVICES (P) LTD
12.04 | Reinstallation of 2 Nos. existing Split AC units, including dismantling and shifting of indoor/outdoor units as required, reinstallation of outdoor units at the designated location, reconnection of refrigerant piping, drain piping and electrical connections, vacuuming of refrigerant circuit, refrigerant gas charging/top-up as required, testing and commissioning of the AC units, complete in all respects as directed by the Engineer-in-Charge. | 2.00 | Nos | 4850.00 | 2500.00 | 5000.00 | 3000.00 | 6000.00 | 5000.00 | FabEngineering Services
| Total in Figures |  |  |  |  | 1063250.00 |  | 1083492.00
Lowest Amount Quoted BY: FabEngineering Services(1063250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Civil and MEP works for setting up of HINDLABS Diagnostic Centre at Govt Taluk Headquarters Hospital, Parassala Tender ID: 2026_HLL_291880_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | FabEngineering Services (BID ID -1074906) | 1063250.00 | L1
| 2 | MASTERCELL TELECOM SERVICES (P) LTD (BID ID -1074359) | 1083492.00 | L2