## BoQ1
eProcurement System Government of India Created By: MUHAMMED SUHAIL T Y Created Date/Time: 31-Oct-2026 11:35 AM Tender Title: MISCELLANEOUS CIVIL MAINTENANCE WORKS IN PLANT AND NON-PLANT AREAS 2026-2027 Tender ID: 2026_HOCL_927807_1
Tender Inviting Authority: HINDUSTAN ORGANIC CHEMICALS LIMITED, AMBALAMUGAL - 682302
Name of Work: MISCELLANEOUS CIVIL MAINTENACE WORKS IN PLANT AND NON-PLANT AREAS 2026-2027
Contract No: CIV10260/2026
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | Jose varghese (GSTN-32AHMPV3014C1ZP) BID ID -3493160 |  | K P RAJENDRAN (GSTN-32AHFPR7714Q1ZS) BID ID -3493207 |  | P T KRISHNAN ENGINEERING CONTRACTOR (GSTN-32AMWPK8587E1ZF) BID ID -3496171 |  | KURUVILLA KANJIRAKKATTU REJI (GSTN-NA) BID ID -3495289
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Earth work excavation Up to 1.50 m depth for drains,columns footings equipment foundations,fire water line leakage excavations etc not exceeding 1.5 m in width or 10 sq.m on plan in all classes of soil except hard rock requiring blasting including filling in basement , back filling the excavated portions of fire water lines and sides of foundation with the spoil earth in layers, breaking clods, watering, ramming, consolidating, conveying and depositing the excess spoil or filling in low lying area and levelling within an initial lea d of 50 m and lift upto 1.5 m | 88.00 | CUM | S4000468 | 39600.00 | 46728.00 | 45760.00 | 53996.80 | 88000.00 | 103840.00 | 52800.00 | 62304.00 | 39600.00 | Jose varghese | 46728.00 | Jose varghese
2.00 | Earth work excavation from 1.5 to 3.00 m depth for drains, column footings, equipment foundations, fire water line leakage excavations etc not exceeding 1.5 m in width or 10 sq.m on plan in all classes of soil except hard rock requiring blasting including filling in basement , back filling the excavated portions of fire water lines and sides of foundation with the spoil earth in layers, breaking clods, watering, ramming, consolidating, conveying and depositing the excess spoil or filling in low lying area and levelling within an initi al lead of 50 m and lift upto 1.5 m | 11.00 | CUM | S4000469 | 4950.00 | 5841.00 | 6380.00 | 7528.40 | 11451.00 | 13512.18 | 8250.00 | 9735.00 | 4950.00 | Jose varghese | 5841.00 | Jose varghese
3.00 | Transportation of surplus excavated earth, debrices, waste materials.etc and disposed any where within the company premises by mechanical transport including loading / unloading as directed.(The mode of measurement will be in cubic Meter and the size of truck will be taken.( 20% voids deduction will made to arrive at net quantity.) | 22.00 | CUM | S4000519 | 7700.00 | 9086.00 | 10560.00 | 12460.80 | 8228.00 | 9709.04 | 16500.00 | 19470.00 | 7700.00 | Jose varghese | 9086.00 | Jose varghese
4.00 | Supply of mechanical excavator (J.C.B) on hire basis including cost of all labour,oil etc | 33.00 | HR | S4000532 | 46200.00 | 54516.00 | 47850.00 | 56463.00 | 54978.00 | 64874.04 | 57750.00 | 68145.00 | 46200.00 | Jose varghese | 54516.00 | Jose varghese
5.00 | Earth work cutting / excavation in all classes of soil using mechanical excavator(JCB etc.) , conveying and depositng the same at places pointed out any where within the company premises including all charges for excavation,levelling and depositing in layers,loading and unloading etc as per the direction of Egineer -in-charge.((The mode of measurement will be in cubic Meter and the size of truck will be taken. 20% voids ded uction will made to arrive at net quantity.) | 44.00 | CUM | S4000973 | 15400.00 | 18172.00 | 17600.00 | 20768.00 | 25652.00 | 30269.36 | 24200.00 | 28556.00 | 15400.00 | Jose varghese | 18172.00 | Jose varghese
6.00 | Plain cement concrete work 1:4:8 mix using 40 mm nominal size hard granite broken stones including all charges for mixing concrete, laying, consolidating, curing, shuttering etc. for foundation levelling course, flooring, etc. | 11.00 | CUM | S4000470 | 90200.00 | 106436.00 | 66000.00 | 77880.00 | 48609.00 | 57358.62 | 82500.00 | 97350.00 | 48609.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 57358.62 | P T KRISHNAN ENGINEERING CONTRACTOR
7.00 | Plain cement concrete work 1:3:6 mix using 40mm nominal size hard granite broken stones including all charges for mixing concrete, laying, consolidating, curing, shuttering etc. for foundation levelling course, flooring, etc. | 2.20 | CUM | S4000471 | 18150.00 | 21417.00 | 14080.00 | 16614.40 | 11004.40 | 12985.19 | 17600.00 | 20768.00 | 11004.40 | P T KRISHNAN ENGINEERING CONTRACTOR | 12985.19 | P T KRISHNAN ENGINEERING CONTRACTOR
8.00 | Plain cement concrete work 1:2:4 mix using 20 mm nominal size hard granite broken stones including charges for mixing concrete, necessary form work,laying, consolidating, curing, etc. complete for foundation levelling course .etc | 44.00 | CUM | S4000472 | 429000.00 | 506220.00 | 316800.00 | 373824.00 | 275132.00 | 324655.76 | 385000.00 | 454300.00 | 275132.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 324655.76 | P T KRISHNAN ENGINEERING CONTRACTOR
9.00 | Reinforced cement concrete work 1:2:4 mix using 20 mm and down grade hard granite broken stones including all charges for mixing concrete, laying, vibrating, consolidating, curing,etc. complete but excluding cost of form work and reinforcement. | 16.50 | CUM | S4000473 | 156750.00 | 184965.00 | 146850.00 | 173283.00 | 110055.00 | 129864.90 | 151800.00 | 179124.00 | 110055.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 129864.90 | P T KRISHNAN ENGINEERING CONTRACTOR
10.00 | Reinforced cement concrete work 1:1.5:3 mix using 20 mm and down grade hard granite broken stones including all charges for mixing concrete, laying, vibrating, consolidating, curing, setting of templates & bolt assembly for foundations etc. complete but excluding cost of form work and reinforcement. | 20.00 | CUM | S4000474 | 195000.00 | 230100.00 | 188000.00 | 221840.00 | 141740.00 | 167253.20 | 190000.00 | 224200.00 | 141740.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 167253.20 | P T KRISHNAN ENGINEERING CONTRACTOR
11.00 | Reinforced Cement Concrete work 1:1.5:3 for Pre-Cast Slab, guard stones etc. using 20mm and down grade hard granite broken stones including all charges for mixing concrete, laying, cost of necessary form work, consolidating, curing, conveying and placing the slabs on places – in position in neat lines and levels, etc. complete b ut excluding cost of reinforcement. | 5.50 | CUM | S4000560 | 82500.00 | 97350.00 | 51700.00 | 61006.00 | 43565.50 | 51407.29 | 74250.00 | 87615.00 | 43565.50 | P T KRISHNAN ENGINEERING CONTRACTOR | 51407.29 | P T KRISHNAN ENGINEERING CONTRACTOR
12.00 | Providing centering, shuttering,including strutting ,propping , fixing and removing straight or curved shuttering in concrete during casting, for core holes, pockets, etc. of all sizes and shapes for building, equipment and machine foundations at all levels including hire for materials, cost of labour providing shuttering oil to surfaces in contact with concrete, etc. complete (Measurement to be made for the area of shuttering coming in contact with concrete only). | 88.00 | SqM | S4000475 | 36080.00 | 42574.40 | 36960.00 | 43612.80 | 88000.00 | 103840.00 | 30800.00 | 36344.00 | 30800.00 | KURUVILLA KANJIRAKKATTU REJI | 36344.00 | KURUVILLA KANJIRAKKATTU REJI
13.00 | Providing reinforcement to RCC works at all levels with MS or deformed bars including all charges for uncoiling and straightening rods, cutting rods, bending cold, placing in position and tying with black annealed tying wire of 22 gauge, cost of wire etc. complete(Reinforcements will be issued by HOCL at free of cost). | 1.10 | MTS | S4000476 | 22000.00 | 25960.00 | 26400.00 | 31152.00 | 27517.60 | 32470.77 | 33000.00 | 38940.00 | 22000.00 | Jose varghese | 25960.00 | Jose varghese
14.00 | Dewatering work during earth work excavation for fire water line leakage etc. using pump sets of suitable capacity including cost of all labour for operating, setting, De chocking, cleaning etc., inlet and outlet hoses, conveyance etc. complete. | 22.00 | HR | S4000880 | 11000.00 | 12980.00 | 8800.00 | 10384.00 | 45848.00 | 54100.64 | 9900.00 | 11682.00 | 8800.00 | K P RAJENDRAN | 10384.00 | K P RAJENDRAN
15.00 | Random rubble masonry in cement mortar 1:6 for foundation & basement, retaining walls, drains, etc. | 3.30 | CUM | S4000477 | 23100.00 | 27258.00 | 21450.00 | 25311.00 | 20634.90 | 24349.18 | 24750.00 | 29205.00 | 20634.90 | P T KRISHNAN ENGINEERING CONTRACTOR | 24349.18 | P T KRISHNAN ENGINEERING CONTRACTOR
16.00 | Brick masonry in cement mortar 1:6 using country burnt bricks,including raking joints, curing, , etc. complete. | 5.50 | CUM | S4000478 | 41250.00 | 48675.00 | 56100.00 | 66198.00 | 41272.00 | 48700.96 | 50600.00 | 59708.00 | 41250.00 | Jose varghese | 48675.00 | Jose varghese
17.00 | Dry rubble pitching to the slope of earth embankments/level surfaces and filling including packing with bigger stones filling with rubble chips and wedging tightly as directed at site .etc complete. | 2.20 | CUM | S4000493 | 11000.00 | 12980.00 | 11440.00 | 13499.20 | 11004.40 | 12985.19 | 13200.00 | 15576.00 | 11000.00 | Jose varghese | 12980.00 | Jose varghese
18.00 | Plastering with cement mortar 1:4, for an average thickness of 12 mm, one coat, floated hard and trowelled smooth at all levels to fair faces of brick masonry, etc. | 165.00 | SqM | S4000481 | 57750.00 | 68145.00 | 64350.00 | 75933.00 | 58245.00 | 68729.10 | 90750.00 | 107085.00 | 57750.00 | Jose varghese | 68145.00 | Jose varghese
19.00 | Plastering with cement mortar 1:4, for an average thickness of 15 mm , one coat, floated hard and trowelled smooth at all levels to rough faces of brick masonry, rubble masonry etc. | 77.00 | SqM | S4000482 | 26950.00 | 31801.00 | 30800.00 | 36344.00 | 28798.00 | 33981.64 | 50050.00 | 59059.00 | 26950.00 | Jose varghese | 31801.00 | Jose varghese
20.00 | Plastering with cement mortar 1:4,20 mm thick in one coat, floated hard and trowelled smooth for finishing top of C.C. floors, rough faces of brick work, surfaces of rubble masonry etc. | 33.00 | SqM | S4000483 | 12210.00 | 14407.80 | 13860.00 | 16354.80 | 12342.00 | 14563.56 | 24750.00 | 29205.00 | 12210.00 | Jose varghese | 14407.80 | Jose varghese
21.00 | Plastering with cement mortar 1:3 for an average thicknes of 6 mm,one coat, floated hard and trowelled smooth at all levels after chipping & making the surface rough to receive the plaster for finishing surfaces of R.C.C .work such as sunshade top and bottom, inside of R.C.C.tanks, beams, trenches, RCC.fins, facias, etc. | 33.00 | SqM | S4000484 | 12870.00 | 15186.60 | 11880.00 | 14018.40 | 12375.00 | 14602.50 | 14850.00 | 17523.00 | 11880.00 | K P RAJENDRAN | 14018.40 | K P RAJENDRAN
22.00 | Providing flushing coat of cement over plastered surface including finishing smooth in required lines and levels, curing etc.complete. | 55.00 | SqM | S4000485 | 5500.00 | 6490.00 | 9900.00 | 11682.00 | 4620.00 | 5451.60 | 24750.00 | 29205.00 | 4620.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 5451.60 | P T KRISHNAN ENGINEERING CONTRACTOR
23.00 | Providing flush pointing to rubble masonry with cement mortar 1:3 including watering curing etc. | 11.00 | SqM | S4000486 | 1540.00 | 1817.20 | 2200.00 | 2596.00 | 1408.00 | 1661.44 | 6050.00 | 7139.00 | 1408.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 1661.44 | P T KRISHNAN ENGINEERING CONTRACTOR
24.00 | Repair to RCC structures by plastering with cement mortar 1:3, 12 mm to 18 mm thickness including chipping and removing the damaged portion, cost of scaffolding etc.at all heights up to 12m. | 27.50 | SqM | S4000487 | 31625.00 | 37317.50 | 24750.00 | 29205.00 | 26345.00 | 31087.10 | 23375.00 | 27582.50 | 23375.00 | KURUVILLA KANJIRAKKATTU REJI | 27582.50 | KURUVILLA KANJIRAKKATTU REJI
25.00 | Cement grout washing over the RCC structures wherever required including cost of scaffolding etc. at all levels upto 12m. | 33.00 | SqM | S4000488 | 3630.00 | 4283.40 | 4620.00 | 5451.60 | 3003.00 | 3543.54 | 28050.00 | 33099.00 | 3003.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 3543.54 | P T KRISHNAN ENGINEERING CONTRACTOR
26.00 | Dismantling and removing Randam Rubble masonry works including disposal of debrices at places pointed out anywhere within the company premises. | 5.50 | CUM | S4000489 | 9625.00 | 11357.50 | 7700.00 | 9086.00 | 8481.00 | 10007.58 | 17875.00 | 21092.50 | 7700.00 | K P RAJENDRAN | 9086.00 | K P RAJENDRAN
27.00 | Dismantling and removing Brick masonry works including disposal of debrices at places pointed out any where within the company premises. | 5.50 | CUM | S4000490 | 9625.00 | 11357.50 | 8800.00 | 10384.00 | 8481.00 | 10007.58 | 12375.00 | 14602.50 | 8481.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 10007.58 | P T KRISHNAN ENGINEERING CONTRACTOR
28.00 | Dismantling and removing PCC works including disposal of debrices at places pointed out anywhere within the company premises. | 5.50 | CUM | S4000491 | 16500.00 | 19470.00 | 15400.00 | 18172.00 | 13755.50 | 16231.49 | 12375.00 | 14602.50 | 12375.00 | KURUVILLA KANJIRAKKATTU REJI | 14602.50 | KURUVILLA KANJIRAKKATTU REJI
29.00 | Dismantling and removing RCC works including disposal of debrices at places pointed out anywhere within the company premises. | 5.50 | CUM | S4000562 | 33000.00 | 38940.00 | 22000.00 | 25960.00 | 20630.50 | 24343.99 | 17875.00 | 21092.50 | 17875.00 | KURUVILLA KANJIRAKKATTU REJI | 21092.50 | KURUVILLA KANJIRAKKATTU REJI
30.00 | Dismantling and removing Weather-proof course over roof slab including disposal of debrices at places pointed out anywhere within the company premises. | 3.30 | CUM | S4000492 | 3960.00 | 4672.80 | 9240.00 | 10903.20 | 3847.80 | 4540.40 | 7425.00 | 8761.50 | 3847.80 | P T KRISHNAN ENGINEERING CONTRACTOR | 4540.40 | P T KRISHNAN ENGINEERING CONTRACTOR
31.00 | Dismatling and removing the existing mosaic tiles / vitrified tiles, tile lining and plastering the walls in lines and levels for daoding, including disposing the debrices pointed out any where within the company premises etc. complete. | 11.00 | SqM | S4001398 | 4950.00 | 5841.00 | 3190.00 | 3764.20 | 5489.00 | 6477.02 | 8250.00 | 9735.00 | 3190.00 | K P RAJENDRAN | 3764.20 | K P RAJENDRAN
32.00 | Painting with wood primer one coat to new/old wood work after rubbing with sand paper and cleaning the surface well using approved quality wood primer including cost of all labour,materials and scaffolding etc.at all heights. | 11.00 | SqM | S4000494 | 880.00 | 1038.40 | 1320.00 | 1557.60 | 902.00 | 1064.36 | 2750.00 | 3245.00 | 880.00 | Jose varghese | 1038.40 | Jose varghese
33.00 | Painting with Zinc chromate yellow primer one coat to structrural steel work steel windows, MS grills, MS guard bars, MS ladder etc.including rubbing with sand paper and cleaning the surfaces well including all labour,materials and scaffolding etc.at all heights | 55.00 | SqM | S4000495 | 5500.00 | 6490.00 | 6600.00 | 7788.00 | 8690.00 | 10254.20 | 5500.00 | 6490.00 | 5500.00 | Jose varghese, KURUVILLA KANJIRAKKATTU REJI | 6490.00 | Jose varghese, KURUVILLA KANJIRAKKATTU REJI
34.00 | Painting with synthetic enamel paint one coat of approved quality and colour to new/old surfaces of structural steel works doors ,windows of steel/wood etc.after rubbing with sand paper and cleaning well the surfaces including cost of all labour,materials and scaffolding etc.at all heights. | 55.00 | SqM | S4000563 | 8250.00 | 9735.00 | 7150.00 | 8437.00 | 9625.00 | 11357.50 | 7150.00 | 8437.00 | 7150.00 | K P RAJENDRAN, KURUVILLA KANJIRAKKATTU REJI | 8437.00 | K P RAJENDRAN, KURUVILLA KANJIRAKKATTU REJI
35.00 | Painting with syntheticc enamel paint two coats of approved quality and colour to new/old surfaces of structural steel works doors ,windows of steel/wood etc.after rubbing with sand paper and cleaning well the surfaces including cost of all labour,materials and scaffolding etc.at all heights. | 55.00 | SqM | S4000496 | 8800.00 | 10384.00 | 9900.00 | 11682.00 | 14190.00 | 16744.20 | 9350.00 | 11033.00 | 8800.00 | Jose varghese | 10384.00 | Jose varghese
36.00 | Painting two coats of approved quality Aluminium paint over priming coat already done at all heights. | 11.00 | SqM | S4000813 | 1100.00 | 1298.00 | 1980.00 | 2336.40 | 1727.00 | 2037.86 | 2420.00 | 2855.60 | 1100.00 | Jose varghese | 1298.00 | Jose varghese
37.00 | Painting to ceiling with ready mixed plastic emulsion paint (Ace, nippon) one coat over a coat of cement primer including washing and cleaning the surface etc complete at all heights. | 88.00 | SqM | S4001265 | 15840.00 | 18691.20 | 12320.00 | 14537.60 | 17160.00 | 20248.80 | 22000.00 | 25960.00 | 12320.00 | K P RAJENDRAN | 14537.60 | K P RAJENDRAN
38.00 | Painting with plastic emulsion paint one coat to walls after cleaning the surfaces including smoothening the surface with sand paper, cleaning including cost of all labour,materials and scaffolding etc.at all heights. | 88.00 | SqM | S4001257 | 11440.00 | 13499.20 | 16280.00 | 19210.40 | 12408.00 | 14641.44 | 14960.00 | 17652.80 | 11440.00 | Jose varghese | 13499.20 | Jose varghese
39.00 | Painting with plastic emulsion paint two coats to walls after cleaning the surfaces including smoothening the surface with sand paper, cleaning including cost of all labour,materials and scaffolding etc.at all heights. . | 165.00 | SqM | S4000502 | 31350.00 | 36993.00 | 26400.00 | 31152.00 | 32340.00 | 38161.20 | 41250.00 | 48675.00 | 26400.00 | K P RAJENDRAN | 31152.00 | K P RAJENDRAN
40.00 | Painting to outside walls with premium quality acrylic emulsion exterior paints(Excel, Apex,.etc) of approved quality and shade two coats over a coat of cement primer, including washing and cleaning the surface etc complete at all heights | 165.00 | SqM | S4000504 | 34650.00 | 40887.00 | 29700.00 | 35046.00 | 36135.00 | 42639.30 | 41250.00 | 48675.00 | 29700.00 | K P RAJENDRAN | 35046.00 | K P RAJENDRAN
41.00 | Painting the structural works old/new works with two coats epoxy finish over two coats of Epoxy Zinc Phosphate Primer of required specification and colour after the surface preparation using wire brushes, scrapers, and emery paper including removing the existing synthetic enamel paint wherever required etc.as per the instruction of the Engineer-in-Charge. | 22.00 | SqM | S4000930 | 7700.00 | 9086.00 | 5060.00 | 5970.80 | 7986.00 | 9423.48 | 5500.00 | 6490.00 | 5060.00 | K P RAJENDRAN | 5970.80 | K P RAJENDRAN
42.00 | Fabrication and erection of structural steel work for posts, trusses etc., with structural steel items, including conveying, fabrication and erection of structural steel work bolted or welded at all levels as per scope of drawing for trusses, purlins, louver brackets, runners, bracings, stair cases, platforms, hand rails,ladder, threaded sag rods, splices, etc. with M.S angles, channels, tees, flats, RSJs, rods, pipes and plates including cutting, welding, cleaning, erecting and painting with two coats of zinc chromate primer (one shop coat and one coat after erection) and two coats of chemical resistant enamel paint of approved quality and colour over the primer including supply of necessary MS bolts and nuts other than holding down bolts.(Structural steel required for the work except bolts and nuts w ill be supplied by the company at free of cost). | 1.10 | MTS | S4000506 | 35200.00 | 41536.00 | 71500.00 | 84370.00 | 54117.80 | 63859.00 | 99000.00 | 116820.00 | 35200.00 | Jose varghese | 41536.00 | Jose varghese
43.00 | Fabrication and erection of M.S.pipe work including Conveying, fabrication and erection of structural work bolted or welded at all levels as per scope of drawing for trusses,purlins, louver brackets, louver runners bracings, stair cases, platforms, hand rails ladder,threaded sag rods, splices, etc. with M.S angles, channels, tees, flats, RSJs, rods, pipes and plates including cutting, welding, cleaning, erecting and painting with two coats of zinc chromate primer (one shop coat and one coat after erection) and two coats of chemical resistant enamel paint of approved quality and colour over the primer including supply of necessary MS bolts and nuts other than holding down bolts.( MS PIPE required for the work except bolts and nuts will be supplied by the company at free of cost) | .28 | MTS | S4000507 | 9800.00 | 11564.00 | 19320.00 | 22797.60 | 13775.44 | 16255.02 | 26600.00 | 31388.00 | 9800.00 | Jose varghese | 11564.00 | Jose varghese
44.00 | Replacing the damaged window shutter glasses with 4mm thick plain glasses including removing the damaged glasses without disturbing the window shutter and frame including cost of glass,nails, putty, labour for replacing,scaffolding etc. complete at all heights. | 33.00 | SqM | S4000508 | 46200.00 | 54516.00 | 52800.00 | 62304.00 | 52239.00 | 61642.02 | 57750.00 | 68145.00 | 46200.00 | Jose varghese | 54516.00 | Jose varghese
45.00 | Providing roofing with 26 gauge aluminium corrugated sheet. including cost of nuts, bolts , washer etc. | 11.00 | SqM | S4000515 | 13200.00 | 15576.00 | 11550.00 | 13629.00 | 9075.00 | 10708.50 | 12100.00 | 14278.00 | 9075.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 10708.50 | P T KRISHNAN ENGINEERING CONTRACTOR
46.00 | Providing and fixing 26 gauge aluminium ridge capping. | 11.00 | M | S4000861 | 9900.00 | 11682.00 | 4950.00 | 5841.00 | 9075.00 | 10708.50 | 8250.00 | 9735.00 | 4950.00 | K P RAJENDRAN | 5841.00 | K P RAJENDRAN
47.00 | Providing and laying 9 mm thick or nearest size matt finished vitrified tile(Anti-skid) of size 600x600 mm having water absorption less than 0.5% laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & pattern, pointing the joints with matching colour epoxy,finishing neat to lines and level etc. complet e. | 11.00 | SqM | S4001362 | 20350.00 | 24013.00 | 20900.00 | 24662.00 | 23837.00 | 28127.66 | 19250.00 | 22715.00 | 19250.00 | KURUVILLA KANJIRAKKATTU REJI | 22715.00 | KURUVILLA KANJIRAKKATTU REJI
48.00 | Providing and laying 8 mm thick or nearest size first class light colured vitrified glazed tiles for walls of size 120x60 cm (Johnson, somany, khajaria or equivalant make) over special adhesive (cerabond, Ramco, khajaria or equivalent make) including pointing the joints with matching colour epoxy, levels for daoding, etc. complete. | 11.00 | SqM | S4001361 | 20350.00 | 24013.00 | 21450.00 | 25311.00 | 23837.00 | 28127.66 | 21450.00 | 25311.00 | 20350.00 | Jose varghese | 24013.00 | Jose varghese
49.00 | Providing and laying rubble stone soling (with contractor's own materials) using 150mm/200mm broken stones and blinding material to required thickness including hand packing and wedging them tightly so that the whole is formed as a solid mass,spreading blinding material and sweeping the same to fill the voids, watering profusely and consolidating with power roller of minimum 8 toonnes weight, etc.complete. | 5.50 | CUM | S4000517 | 12100.00 | 14278.00 | 26400.00 | 31152.00 | 34391.50 | 40581.97 | 24750.00 | 29205.00 | 12100.00 | Jose varghese | 14278.00 | Jose varghese
50.00 | Metalling the road way with 36 mm stone metal (contractor's material) and blinding material after bed rolling, spreading broken stones to template, rolling dry to compactness with power roller of minimum 8te. weight from side to centre, until movements of broken stones cease, then spreading 12mm thick blinding material and sweeping in to the joints watering and rerolling until the blinding material has worked in to all the crevices and only a thin coat of slurry remains , take off the roller and allow the surface to set to harden for 24 hours and continue rolling next day till any deformity in the formation is rectified , including fencing lighting, watching and maintaining the surface free of ruts for 15 days after ea ch 200 m is complete. | 5.50 | CUM | S4000518 | 19525.00 | 23039.50 | 23650.00 | 27907.00 | 21549.00 | 25427.82 | 17600.00 | 20768.00 | 17600.00 | KURUVILLA KANJIRAKKATTU REJI | 20768.00 | KURUVILLA KANJIRAKKATTU REJI
51.00 | Supplying and fixing steel doors of standard rolled steel sections, as per IS 1038 joints mitred and welded with 15x 3 mm M.S. lugs 10cm long embedded in cement concrete blocks 15x10x10cm in size with 1:3:6 mix with 20 mm metal or with wooden plug and screws or rawl plugs and screws or with fixing clips or with bolts and, nuts as required including necessary hinges or pivot and tower bolts providing and fixing of 4 mm thick plain glass panes with glazing clips and special metal sash putty of approved make complete, including applying two coats of approved quality iron primer(one shop coat and one coat after fixing)and two coats of approved quality and colour synthetic enamel paint, etc. complete | 5.50 | SqM | S4000521 | 24750.00 | 29205.00 | 40700.00 | 48026.00 | 33935.00 | 40043.30 | 192500.00 | 227150.00 | 24750.00 | Jose varghese | 29205.00 | Jose varghese
52.00 | Supplying and fixing steel windows and ventilators of standard rolled steel sections, joints mitred and welded with 15 x 3 mm MS plugs 10 cm long embedded in cement concrete blocks 15x10x10cm inside with 1:3:6 mix with 20 mm metal or with wooden plugs and screws or rawl plugs and screws or with fixing clips or with bolts and nuts as required including providing 12mm dia MS bars @ 120mm c/c and necessary hinges or pivots and providing and fixing 4 mm thick plain glass panes with glazing clips and special metal sash putty of approved make complete, including applying two coats of approved quality iron primer(one shop coat and one coat after fixing ) and two coats of appro ved quality and colour enamel paint,etc. complete | 2.20 | SqM | S4000522 | 8800.00 | 10384.00 | 16280.00 | 19210.40 | 13574.00 | 16017.32 | 77000.00 | 90860.00 | 8800.00 | Jose varghese | 10384.00 | Jose varghese
53.00 | Supplying and fixing rolling shutters/ rolling grills of approved make and painted with two coats of chemical resistant enamel paint of approved quality and colour over two coats of Zinc chromate primer including one shop coat,made of 80 x 1.25 mm MS laths inter locked together through their entire length and jointed together at the end by end locks mounted on specially designed pipe shafts, with brackets,side guides and arrangements for inside and outside locking with push and pull operation, and providing and fixing 27.5 cm long wire spring grade no.2, etc. complete. | 6.60 | SqM | S4000523 | 33000.00 | 38940.00 | 44880.00 | 52958.40 | 38517.60 | 45450.77 | 29700.00 | 35046.00 | 29700.00 | KURUVILLA KANJIRAKKATTU REJI | 35046.00 | KURUVILLA KANJIRAKKATTU REJI
54.00 | Supplying and Fixing Top cover for rolling shutters 1.5 mm thk including painting 2 coats of chemical resistant enamel paint of approved quality and colour over 2 coats of zinchromate primer including one shop coat.etc. | 5.50 | M | S4000524 | 22000.00 | 25960.00 | 9900.00 | 11682.00 | 22924.00 | 27050.32 | 9625.00 | 11357.50 | 9625.00 | KURUVILLA KANJIRAKKATTU REJI | 11357.50 | KURUVILLA KANJIRAKKATTU REJI
55.00 | Replacing the damaged particle board partition works with new 9mm exterior grade particle board of matching colour. | 5.50 | SqM | S4000527 | 19250.00 | 22715.00 | 11550.00 | 13629.00 | 20630.50 | 24343.99 | 10725.00 | 12655.50 | 10725.00 | KURUVILLA KANJIRAKKATTU REJI | 12655.50 | KURUVILLA KANJIRAKKATTU REJI
56.00 | Supplying and fitting 32mm thick Anjili wood fully panalled shutters ,single or double leaf,with 16mm thick panel planks to suit the door ,window and ventilator frames including cost of necessary hinges ,screws, labour charges for fixing all fit tings etc. | 3.30 | SqM | S4000529 | 5280.00 | 6230.40 | 13200.00 | 15576.00 | 10451.10 | 12332.30 | 20460.00 | 24142.80 | 5280.00 | Jose varghese | 6230.40 | Jose varghese
57.00 | Providing new barbed wire / Replacing the damaged barbed wire fencing with new GI barbed wire drawn through the holes provided in the fencing post or by buckling the pins provided in posts including dipping in hot asphalt 80/100,tightening to full rigidity without any sagging etc. complete with 2 strand 4 points type II barbed wire.including cost of all materials and labour etc.(2.5 mm dia line wire and point wire with barbs at a distance of 75mm) including disposal of debrices at places pointed out anywhere within the company premises.etc. | 88.00 | M | S4000530 | 5280.00 | 6230.40 | 7480.00 | 8826.40 | 5984.00 | 7061.12 | 17600.00 | 20768.00 | 5280.00 | Jose varghese | 6230.40 | Jose varghese
58.00 | Providing and fixing / replacing the GI chain link fencing as per IS 2721 (Diamond pattern 50 mm mesh with 10 g wire) including fixing to the fencing post by buckling the bar nibs inserting 1 number 6 mm dia MS vertical. | 11.00 | SqM | S4000531 | 8525.00 | 10059.50 | 9350.00 | 11033.00 | 8525.00 | 10059.50 | 24750.00 | 29205.00 | 8525.00 | Jose varghese, P T KRISHNAN ENGINEERING CONTRACTOR | 10059.50 | Jose varghese, P T KRISHNAN ENGINEERING CONTRACTOR
59.00 | Replacing the damaged fly proof mesh with stainless steel mesh 22 gauge of approved quality including cost of all labour,bolts,nails,nuts, epdm beeding etc. complete including disposal of debrices at places pointed out anywhere within the ccompany premises.etc. | 22.00 | SqM | S4000810 | 33000.00 | 38940.00 | 39600.00 | 46728.00 | 44000.00 | 51920.00 | 99000.00 | 116820.00 | 33000.00 | Jose varghese | 38940.00 | Jose varghese
60.00 | Providing & fixing PVC door with shutter consisting of shutter frame made of extruded plastic section having dimension of 60x24 mm panelling with multi chambered hollow plastics section of 200x20 mm with an average wall thickness of 1mm jointed with one another by a tongue and groove joints and outer frame of door made of extruded plastic section of 68x60 mm or nearest on all sides including providing and fixing all required fittings such as S.S butt hinges, tower bolts, handles with screws, screws & fishers for fixing door frames etc. complete as per manufacturer's specification. | 7.00 | SqM | S4000534 | 28000.00 | 33040.00 | 31500.00 | 37170.00 | 28889.00 | 34089.02 | 38500.00 | 45430.00 | 28000.00 | Jose varghese | 33040.00 | Jose varghese
61.00 | Providing and fixing sun control film for doors and windows as per direction using approved quality/make and colour reflective film including removing the existing films if any, cleaning the surface well, making free from dusts etc. complete | 11.00 | SqM | S4000535 | 8250.00 | 9735.00 | 6600.00 | 7788.00 | 8239.00 | 9722.02 | 13200.00 | 15576.00 | 6600.00 | K P RAJENDRAN | 7788.00 | K P RAJENDRAN
62.00 | Providing Anti termite treatment by injecting chemical emulsion with Chloropyrophos/Lindane with 20% E.C (1 %) or equivalent) for post-constructional anti-termite treatment and creating a chemical barrier under and all-round the column pits, wall trenches, basement excavations, top surface of plinth filling, junction of wall and floor, along the external perimeter of buildings, expansion joints, surrounding of pipes and conduits, etc. complete. Wooden cupboards, doors etc. shall be treated with oil based anti-termite chemical spray and injection method without making much damage to the wooden material. (Plinth area of the tr eated portion of the building at ground floor only shall be measured). | 22.00 | SqM | S4000795 | 4180.00 | 4932.40 | 20900.00 | 24662.00 | 4158.00 | 4906.44 | 3300.00 | 3894.00 | 3300.00 | KURUVILLA KANJIRAKKATTU REJI | 3894.00 | KURUVILLA KANJIRAKKATTU REJI
63.00 | Providing and fixing heavy duty aluminium framed partition work with 9mm thick exterior grade particle board including cost of all fittings . | 5.50 | SqM | S4000545 | 30250.00 | 35695.00 | 37950.00 | 44781.00 | 44022.00 | 51945.96 | 48125.00 | 56787.50 | 30250.00 | Jose varghese | 35695.00 | Jose varghese
64.00 | Providing and fixing with teak wood framed partition work with 9 mm thick exterior grade particle board including staining, polishing etc. complete to match with the existing partition work in administrative office building..etc | 4.40 | SqM | S4000546 | 13200.00 | 15576.00 | 21340.00 | 25181.20 | 14304.40 | 16879.19 | 77000.00 | 90860.00 | 13200.00 | Jose varghese | 15576.00 | Jose varghese
65.00 | Providing and laying 1.5 mm thick approved make shade and design PVC flooring sheets to floor /skirting by pasting with rubber adhesive as per manufactures specification including cost of all labour materials etc. | 27.50 | SqM | S4001178 | 24750.00 | 29205.00 | 26125.00 | 30827.50 | 27252.50 | 32157.95 | 34375.00 | 40562.50 | 24750.00 | Jose varghese | 29205.00 | Jose varghese
66.00 | Supplying and fixing 6” dia PVC eve gutter (supreme or equivalent make)and all required PVC specials such as tees, bends, elbows, unions, reducers, adapters, coupling, jointing materials like solvent cement, bolts, nuts, rubber wash ers,etc.at all heights. | 11.00 | M | S4000541 | 4950.00 | 5841.00 | 6600.00 | 7788.00 | 5489.00 | 6477.02 | 10450.00 | 12331.00 | 4950.00 | Jose varghese | 5841.00 | Jose varghese
67.00 | Supplying and fixing 4” dia PVC down water pipe (4kg/cm2 pressure pipe).of approved quality all required PVC specials such as tees,bends, elbows, unions, reducers, adapters, coupling ,jointing materials like solvent cement, bolts, nuts, rubber washers, chipping the roof slab, removing th exiting pipes if any, making a leak proof joint, plastering etc. complete at all heights. | 11.00 | M | S4000542 | 6050.00 | 7139.00 | 5280.00 | 6230.40 | 6413.00 | 7567.34 | 7150.00 | 8437.00 | 5280.00 | K P RAJENDRAN | 6230.40 | K P RAJENDRAN
68.00 | Supplying and laying 20 mm dia. PVC pipes (10kg/cm2 pressure pipes.) of approved quality including cost of all fittings. | 16.50 | M | S4000547 | 2475.00 | 2920.50 | 2310.00 | 2725.80 | 2871.00 | 3387.78 | 5280.00 | 6230.40 | 2310.00 | K P RAJENDRAN | 2725.80 | K P RAJENDRAN
69.00 | Supplying and laying 25 mm dia. PVC pipes (10kg/cm2 pressure pipes.) of approved quality for water line including cost of all fittings. | 44.00 | M | S4000548 | 7040.00 | 8307.20 | 8800.00 | 10384.00 | 10032.00 | 11837.76 | 15400.00 | 18172.00 | 7040.00 | Jose varghese | 8307.20 | Jose varghese
70.00 | Supplying and laying 32 mm dia PVC pipes (10kg/cm2 pressure pipes.) of approved quality for water line including cost of all fittings. | 11.00 | M | S4000549 | 1925.00 | 2271.50 | 2420.00 | 2855.60 | 3432.00 | 4049.76 | 4180.00 | 4932.40 | 1925.00 | Jose varghese | 2271.50 | Jose varghese
71.00 | Supplying and laying 40 mm dia PVC pipes (10kg/cm2 pressure pipes.) of approved quality for water line including cost of all fittings. | 11.00 | M | S4000550 | 2090.00 | 2466.20 | 3190.00 | 3764.20 | 4114.00 | 4854.52 | 4620.00 | 5451.60 | 2090.00 | Jose varghese | 2466.20 | Jose varghese
72.00 | Supplying and laying 50 mm dia PVC pipes (10kg/cm2 pressure pipes.) of approved quality for water line including cost of all fittings. | 11.00 | M | S4000551 | 2310.00 | 2725.80 | 3520.00 | 4153.60 | 5489.00 | 6477.02 | 4950.00 | 5841.00 | 2310.00 | Jose varghese | 2725.80 | Jose varghese
73.00 | Supplying and laying 63 mm dia PVC pipes (10kg/cm2 pressure pipes.) of approved quality for water line including cost of all fittings. | 11.00 | M | S4000552 | 2750.00 | 3245.00 | 3740.00 | 4413.20 | 7326.00 | 8644.68 | 6050.00 | 7139.00 | 2750.00 | Jose varghese | 3245.00 | Jose varghese
74.00 | Removal of blockages in the man holes, inspection chambers, sewer lines to the septic tanks as and when the block occurs, including removing the chamber cover,cleaning chambers and clearing the route,depositing the waste materials to an earth pit taken by the contractor,backfilling the same, watering and cleaning the surrounding area ,relaying the cover slabs etc.after completion of the work. | 6.00 | NOS | S4000554 | 21600.00 | 25488.00 | 20400.00 | 24072.00 | 25008.00 | 29509.44 | 45000.00 | 53100.00 | 20400.00 | K P RAJENDRAN | 24072.00 | K P RAJENDRAN
75.00 | Septic tank cleaning as and when required including removing and disposal of sewage at places anywhere outside the company premises at contractor's risk and cost (measurement shall be based on the capacity of the septic tank in cubic meters) including removing the septic tank cover slabs and cleaning the tank,clearing the route ,watering and cleaning the surrounding area ,relaying the cover slabs after completing the work including cost of all tools and tackles, labours and transportation charges etc. complete. | 22.00 | CUM | S4000571 | 92400.00 | 109032.00 | 77000.00 | 90860.00 | 110044.00 | 129851.92 | 165000.00 | 194700.00 | 77000.00 | K P RAJENDRAN | 90860.00 | K P RAJENDRAN
76.00 | Carrying out emergency works such as excavation under slushy condition for under ground pipe line repairs, urgent works of miscellaneous nature which are not covered under the schedule of work in mandays of 8 hours | 275.00 | NOS | S4000557 | 357500.00 | 421850.00 | 385000.00 | 454300.00 | 309375.00 | 365062.50 | 453750.00 | 535425.00 | 309375.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 365062.50 | P T KRISHNAN ENGINEERING CONTRACTOR
77.00 | Supply of labours - Skilled Labours - Skilled labours like mason, carpenter, plumber, fabricator for repairing rolling shutters, aluminium fabricator etc. with all hand tools and tackles like drill along bits, hand cutters, hammer, chisel etc. for carrying out works other than in the schedule of works (unit rate shall be for manday of 8 hrs.) | 165.00 | NOS | S4000556 | 280500.00 | 330990.00 | 247500.00 | 292050.00 | 240570.00 | 283872.60 | 305250.00 | 360195.00 | 240570.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 283872.60 | P T KRISHNAN ENGINEERING CONTRACTOR
78.00 | Providing, Laying Granular Sub-Base using graded material on the prepared surface in layers of 15 cm thick in accordance with the requirements, lines and levels, inlcuding compacting the layers using suitable size hand/ plate compactor etc. complete as per the direction of engieer in charge. | 22.00 | CUM | S4001047 | 83600.00 | 98648.00 | 77000.00 | 90860.00 | 82522.00 | 97375.96 | 78100.00 | 92158.00 | 77000.00 | K P RAJENDRAN | 90860.00 | K P RAJENDRAN
79.00 | Cement Concrete Solid Block Masonary Work In C M 1:6 using solid cement concrete blocks (As Per IS 2185) of approximate size 300 x 200 x 150 mm for superstucture walls, compound walls etc. including curing. | 40.00 | CUM | S4001048 | 320000.00 | 377600.00 | 352000.00 | 415360.00 | 330200.00 | 389636.00 | 368000.00 | 434240.00 | 320000.00 | Jose varghese | 377600.00 | Jose varghese
80.00 | Providing and fixing in position approved quality anjili/jack wood frame work of required size for doors ,windows,ventilators,air conditioners etc.panneled, framed,moulded etc. | 11.00 | DMC | S4001061 | 27500.00 | 32450.00 | 41800.00 | 49324.00 | 27511.00 | 32462.98 | 159500.00 | 188210.00 | 27500.00 | Jose varghese | 32450.00 | Jose varghese
81.00 | Supplying and fixing powder coated aluminium frame work of extruded sections, of approved brand ( Jindal/Hindalco or equivalent) and colour including mitring the joints, fixing the frame work with necessary screws, drilling holes in floors, walls and ceiling, providing plugs for fixing screws, finishing the sides of packing between frame work and wall/ceiling with plaster of Paris, cost of timber packing/ grips if necessary, rubber lining for air tightness, providing corner cleats, etc. complete as per standard practice for glazed doors, windows, side hung as well as sliding, ventilators, partitions, etc. including all hinges, pivots, tower bolts, peg stays, fixtures, and handles at all levels. | 27.50 | KG | S4001101 | 4125.00 | 4867.50 | 22000.00 | 25960.00 | 16060.00 | 18950.80 | 23375.00 | 27582.50 | 4125.00 | Jose varghese | 4867.50 | Jose varghese
82.00 | Replacing the damaged AC sheets of roofing/cladding with 6 mm thick NON AC corrugated sheets (procured by contactor) conforming to IS 14871 of approved make (everest or equivalent), including cost of 8 mm dia GI bolts and nuts, GI and bitumen washers etc. including disposal of debrices at places pointed out anywhere within the c ompany premises. etc. | 100.00 | SqM | S4001102 | 130000.00 | 153400.00 | 95000.00 | 112100.00 | 125000.00 | 147500.00 | 55000.00 | 64900.00 | 55000.00 | KURUVILLA KANJIRAKKATTU REJI | 64900.00 | KURUVILLA KANJIRAKKATTU REJI
83.00 | Replacing the damaged AC ridge caping with 6 mm thick NON AC ridge of approved make including cost of 8 mm dia.GI bolts and nuts, GI and bitumen washers and disposal of debrices at places pointed out anywhere within the c ompany premises etc. | 50.00 | M | S4001103 | 55000.00 | 64900.00 | 22500.00 | 26550.00 | 62500.00 | 73750.00 | 20000.00 | 23600.00 | 20000.00 | KURUVILLA KANJIRAKKATTU REJI | 23600.00 | KURUVILLA KANJIRAKKATTU REJI
84.00 | Supply and fix ceiling boards of Gyproc or other approved make boards of 600x600x12mm size over inter locking aluminium ceiling grids including painting with two coats of plastic emulsion paint over two coats of primer, on the both faces o f the ceiling board. | 11.00 | SqM | S4001104 | 19800.00 | 23364.00 | 26400.00 | 31152.00 | 20174.00 | 23805.32 | 21450.00 | 25311.00 | 19800.00 | Jose varghese | 23364.00 | Jose varghese
85.00 | Providing and laying NON AC barge board including cost of all fittings. | 5.50 | M | S4001106 | 4950.00 | 5841.00 | 2200.00 | 2596.00 | 5038.00 | 5944.84 | 3025.00 | 3569.50 | 2200.00 | K P RAJENDRAN | 2596.00 | K P RAJENDRAN
86.00 | Providing and laying 6" dia PVC Square Gutter of approved make with all required specials in lines and levels over the brackets already provided, making the joints of gutter leak proof, including cost of PVC gutter,specials and labour etc. complete. | 5.50 | M | S4001081 | 2750.00 | 3245.00 | 3850.00 | 4543.00 | 4119.50 | 4861.01 | 5225.00 | 6165.50 | 2750.00 | Jose varghese | 3245.00 | Jose varghese
87.00 | Supplying and fixing fly proof windows, openable type with stailness steel mesh ( 316 grade) in powder coated aluminum medium guage sections for outerframe, shutter frame & U channel of approved quality and sections (Jindal or equivalent make) including fixing in position, cost of neccessary hardwares like screws, rubber beading (EDPM), PVC latch, Detachable hinges, labour etc. complete. | 11.00 | SqM | S4001100 | 33000.00 | 38940.00 | 37400.00 | 44132.00 | 41261.00 | 48687.98 | 41250.00 | 48675.00 | 33000.00 | Jose varghese | 38940.00 | Jose varghese
88.00 | Dismantling and removing the bituminous roads including removing the soling and metaling, disposal of debrices at places pointed out anywhere within the company premises. | 11.00 | CUM | S4001109 | 27500.00 | 32450.00 | 26400.00 | 31152.00 | 26587.00 | 31372.66 | 23100.00 | 27258.00 | 23100.00 | KURUVILLA KANJIRAKKATTU REJI | 27258.00 | KURUVILLA KANJIRAKKATTU REJI
89.00 | Providing and laying 100 mm thick factory made cement concrete interlocking paver block of minimum strength M40, approved make,size and shape over 50 mm thick compacted bed of 6mm course aggregate, filling the joints, Compacting and finishing the blocks in lines and levels using suitable machines etc complete as per the direction of engineer- in - charge. | 11.00 | SqM | S4001057 | 19800.00 | 23364.00 | 15400.00 | 18172.00 | 22462.00 | 26505.16 | 17050.00 | 20119.00 | 15400.00 | K P RAJENDRAN | 18172.00 | K P RAJENDRAN
90.00 | Replacing the damaged AC sheet ceiling by providing new Non-AC plain sheets over the existing framework | 5.50 | SqM | S4001108 | 4950.00 | 5841.00 | 8250.00 | 9735.00 | 6413.00 | 7567.34 | 3025.00 | 3569.50 | 3025.00 | KURUVILLA KANJIRAKKATTU REJI | 3569.50 | KURUVILLA KANJIRAKKATTU REJI
91.00 | Brick masonry in cement mortar 1:4 for half brick walls using country burnt bricks,including raking joints etc.with or without reinforcement,(In case reinforced brick works,reinforcement will be paid seperately) | 5.50 | SqM | S4001099 | 13750.00 | 16225.00 | 8250.00 | 9735.00 | 16049.00 | 18937.82 | 6325.00 | 7463.50 | 6325.00 | KURUVILLA KANJIRAKKATTU REJI | 7463.50 | KURUVILLA KANJIRAKKATTU REJI
92.00 | Glazing the aluminium frame work of doors, windows, ventilators, and partitions with glass panes and anodized aluminium black matt finished approved brand beadings, with EPDM/NEOPRINE WEATHER SEALS, GASKETS O EPDM or PVC,etc. and screws as per standard practice at all levels. (Measurements shall be for the overall area ofdoor, windows, ventilators and partitions) 3 mm thick plain glass. | 5.50 | SqM | S4001148 | 41250.00 | 48675.00 | 35750.00 | 42185.00 | 41272.00 | 48700.96 | 7425.00 | 8761.50 | 7425.00 | KURUVILLA KANJIRAKKATTU REJI | 8761.50 | KURUVILLA KANJIRAKKATTU REJI
93.00 | Providing and fixing Fiber Glass Reinforced plastic (FRP) Door with Frames of cross-section 85 mmx 45 mm or nearest available size of having single rebate to receive shutter of 28 mm thickness. Door frame laminate shall be 2mm thick and shall be filled with suitable wooden block in all the three legs.30 mm thick Fiberglass Reinforced Plastic (F.R.P.) flush door shutter in different plain and wood finish design made with fire retardant grade unsaturated polyester resin, with suitable wooden blocks inside at required places for fixing of fittings monolithically, inlcuding all accesories like latch, hinges, towerbolts, removing the existing door & frame and finishing the walls, complete as per direction of Engineer-in-charge | 3.30 | SqM | S4001209 | 24750.00 | 29205.00 | 20460.00 | 24142.80 | 24763.20 | 29220.58 | 18150.00 | 21417.00 | 18150.00 | KURUVILLA KANJIRAKKATTU REJI | 21417.00 | KURUVILLA KANJIRAKKATTU REJI
94.00 | Core cutting 2 inch dia RCC wall including cost of all machineries, labour etc. (Depth upto 25cm) | 6.00 | NOS | S4001390 | 12000.00 | 14160.00 | 5700.00 | 6726.00 | 10002.00 | 11802.36 | 8100.00 | 9558.00 | 5700.00 | K P RAJENDRAN | 6726.00 | K P RAJENDRAN
95.00 | Core cutting 3 inch dia RCC wall including cost of all machineries, labour etc. (Depth upto 25cm) | 4.00 | NOS | S4001392 | 8800.00 | 10384.00 | 5200.00 | 6136.00 | 8336.00 | 9836.48 | 7000.00 | 8260.00 | 5200.00 | K P RAJENDRAN | 6136.00 | K P RAJENDRAN
96.00 | Core cutting 6 inch dia RCC wall including cost of all machineries, labour etc. (Depth upto 25cm) | 3.00 | NOS | S4001394 | 12000.00 | 14160.00 | 5400.00 | 6372.00 | 11253.00 | 13278.54 | 6300.00 | 7434.00 | 5400.00 | K P RAJENDRAN | 6372.00 | K P RAJENDRAN
97.00 | Supplying and fixing stailness steel door stopper, heavy duty, 5 inch with rubber grip including all accessories. | 11.00 | NOS | S4001205 | 5500.00 | 6490.00 | 4400.00 | 5192.00 | 6413.00 | 7567.34 | 9350.00 | 11033.00 | 4400.00 | K P RAJENDRAN | 5192.00 | K P RAJENDRAN
98.00 | Supplying and grouting pockets, base frames of equipment, etc. at all levels including necessary shuttering/ scafforlding using non shrink grout CONBEXTRA (GP2) of FOSROC or eqivalent make.(work shall be carried out strictly as per specification of the grout manufacturer) | 1.10 | CUM | S4001443 | 44000.00 | 51920.00 | 3740.00 | 4413.20 | 40359.00 | 47623.62 | 38500.00 | 45430.00 | 3740.00 | K P RAJENDRAN | 4413.20 | K P RAJENDRAN
99.00 | Supplying and fixing of M24 Bolts, (M24 X 500MM) 8.8 Grade of HILTI or equivalent make including,drilling, preparation of holes, fixing the bolt upto 400mm depth in existing concrete foundation by injecting with approved chemical in 28 mm hole. | 9.00 | NOS | S4001445 | 45000.00 | 53100.00 | 10800.00 | 12744.00 | 52524.00 | 61978.32 | 15750.00 | 18585.00 | 10800.00 | K P RAJENDRAN | 12744.00 | K P RAJENDRAN
100.00 | Supplying and fixing Regular colour European type water closet (HINDUSTAN or equivalent) with P/S trap, Duro Plastic seat of matching colour/pattern and lid with CP brass hinges & rubber buffers 1no: 15mm CP regulating valve,1no: 15mm PVC inlet connection heavy type CP learning nut, 32mm CP Brass flush bend,10 litre capacity low level PVC flushing cistern colour to match with the closet with all fittings, etc. complete including connecting the outlet to the existing sewer pipe with required specials and making goo d the walls, floors, etc. | 2.00 | NOS | S4000321 | 30000.00 | 35400.00 | 14800.00 | 17464.00 | 43360.00 | 51164.80 | 25000.00 | 29500.00 | 14800.00 | K P RAJENDRAN | 17464.00 | K P RAJENDRAN
101.00 | Providing roofing with 26 gauge GI colour coated Trafford sheets of Jindal make or equivalent including providing an overlap of min.150 mm at ends, cost of GI hooks/bolts and nuts GI/bitumen washers,labour and scaffolding etc. c omplete. | 50.00 | SqM | S4001083 | 42500.00 | 50150.00 | 45000.00 | 53100.00 | 40650.00 | 47967.00 | 37500.00 | 44250.00 | 37500.00 | KURUVILLA KANJIRAKKATTU REJI | 44250.00 | KURUVILLA KANJIRAKKATTU REJI
102.00 | Providing GI ridge capping/ valley with plain G.I sheets 26 gauge Jindal make or equivalent of approved colour including necessary crank G.I bolts, nuts, GI and bitumen washers etc. complete as per the direction of engineer in charge | 20.00 | M | S4001279 | 17000.00 | 20060.00 | 9800.00 | 11564.00 | 16240.00 | 19163.20 | 8000.00 | 9440.00 | 8000.00 | KURUVILLA KANJIRAKKATTU REJI | 9440.00 | KURUVILLA KANJIRAKKATTU REJI
103.00 | Supplying and fixing PVC/Polyethylene water storage tank of sintex or equivalant make cylindrical/vertical type, with cover and suitable locking arrangement with all necessary fittings for inlet, outlet and overflow pipe connections, handling, hoisting and fixing in position etc. complete as per the direction of Engineer-in-Charge. | 5000.00 | L | S4000536 | 75000.00 | 88500.00 | 65000.00 | 76700.00 | 80000.00 | 94400.00 | 55000.00 | 64900.00 | 55000.00 | KURUVILLA KANJIRAKKATTU REJI | 64900.00 | KURUVILLA KANJIRAKKATTU REJI
104.00 | Painting to walls, ceiling with cement primer one coats mixed with glue and blue after smoothering the surface and cleaning, including cost of all labours, materials, scaffolding etc. complete at all heights. all floors shall be cleaned and washed using suitable detergent after completion of the work. | 22.00 | SqM | S4001170 | 2420.00 | 2855.60 | 1760.00 | 2076.80 | 3102.00 | 3660.36 | 1980.00 | 2336.40 | 1760.00 | K P RAJENDRAN | 2076.80 | K P RAJENDRAN
105.00 | Replacing the damaged AC/Non-AC sheets of roofing/cladding with 6 mm thick AC corrugated sheets of approved make, including cost of 8 mm dia GI bolts and nuts, GI and bitumen washers etc. including providing necessary overlap of minimum 150 mm at ends and disposal of debrices at places pointed out any where within the company premises.etc | 50.00 | SqM | S4000509 | 65000.00 | 76700.00 | 60000.00 | 70800.00 | 24950.00 | 29441.00 | 27500.00 | 32450.00 | 24950.00 | P T KRISHNAN ENGINEERING CONTRACTOR | 29441.00 | P T KRISHNAN ENGINEERING CONTRACTOR
106.00 | Replacing the damaged AC/Non-AC ridge caping with 6 mm thick AC ridge of approved make including cost of 8 mm dia.GI bolts and nuts, GI and bitumen washers and disposal of debrices at places pointed out anywhere within the company premises etc | 20.00 | M | S4000510 | 25000.00 | 29500.00 | 13000.00 | 15340.00 | 9980.00 | 11776.40 | 9000.00 | 10620.00 | 9000.00 | KURUVILLA KANJIRAKKATTU REJI | 10620.00 | KURUVILLA KANJIRAKKATTU REJI
107.00 | Supplying and fixing SS floor drain grating 100 mm dia size of approved quality including removing the existing and finishing the floors neatly as per the satisfaction of engineer in charge | 1.00 | NOS | S4001172 | 2000.00 | 2360.00 | 700.00 | 826.00 | 2918.00 | 3443.24 | 350.00 | 413.00 | 350.00 | KURUVILLA KANJIRAKKATTU REJI | 413.00 | KURUVILLA KANJIRAKKATTU REJI
108.00 | Supply &fix PVC floor trap 100mm dia. of approved quality.including making connection to the drain line using 2" dia pvc pipe etc | 2.00 | NOS | S4000613 | 3000.00 | 3540.00 | 1300.00 | 1534.00 | 5836.00 | 6886.48 | 900.00 | 1062.00 | 900.00 | KURUVILLA KANJIRAKKATTU REJI | 1062.00 | KURUVILLA KANJIRAKKATTU REJI
109.00 | Supplying and fixing mortice door lock including removing the existing lock, making the door (wooden/steel) capable for the installing new lock, finishing for the smooth functioning including cost of all labours, screws etc. complete. | 1.00 | NOS | S4001173 | 3500.00 | 4130.00 | 1230.00 | 1451.40 | 3751.00 | 4426.18 | 2500.00 | 2950.00 | 1230.00 | K P RAJENDRAN | 1451.40 | K P RAJENDRAN
110.00 | Supplying and fixing aluminium framed door with heavy duty aluminium sections with glass portion on top and PVC laminated board on bottom of approved make including providing locking arrangements, hinges, handles, EDPM beadins, tower bolts etc. complete | 5.50 | SqM | S4001552 | 44000.00 | 51920.00 | 33550.00 | 39589.00 | 55033.00 | 64938.94 | 11550.00 | 13629.00 | 11550.00 | KURUVILLA KANJIRAKKATTU REJI | 13629.00 | KURUVILLA KANJIRAKKATTU REJI
111.00 | Supplying and fixing door closer godrej/dyna or equivalent make, including all screws, labour etc complete | 6.00 | NOS | S4001142 | 16500.00 | 19470.00 | 11700.00 | 13806.00 | 32514.00 | 38366.52 | 11700.00 | 13806.00 | 11700.00 | K P RAJENDRAN, KURUVILLA KANJIRAKKATTU REJI | 13806.00 | K P RAJENDRAN, KURUVILLA KANJIRAKKATTU REJI
| Total in Figures |  |  |  | 4087800.00 | 4823604.00 | 3861505.00 | 4556575.90 | 3998294.14 | 4717987.08 | 4849500.00 | 5722410.00

## BOQ Summary
BOQ Summary Details Tender Title: MISCELLANEOUS CIVIL MAINTENANCE WORKS IN PLANT AND NON-PLANT AREAS 2026-2027 Tender ID: 2026_HOCL_927807_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | K P RAJENDRAN (BID ID -3493207) | 4556575.90 | L1
| 2 | P T KRISHNAN ENGINEERING CONTRACTOR (BID ID -3496171) | 4717987.08 | L2
| 3 | Jose varghese (BID ID -3493160) | 4823604.00 | L3
| 4 | KURUVILLA KANJIRAKKATTU REJI (BID ID -3495289) | 5722410.00 | L4